## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-12 00:00:00 | 6.093 | 260.847 | 7.017 | 260.048 | 7.456 | 264.683 | 7.434 | 261.6 | 11.511 | 889.783 | 36.68 | 43.4618
2019-04-12 00:15:00 | 7.035 | 252.933 | 7.873 | 256.053 | 8.046 | 260.683 | 8.236 | 259.2 | 11.253 | 890.383 | 36.696 | 42.8308
2019-04-12 00:30:00 | 6.002 | 253.9 | 7.05 | 254.356 | 7.417 | 260.25 | 7.651 | 256.883 | 11.228 | 889.533 | 36.096 | 37.2053
2019-04-12 00:45:00 | 5.654 | 256.847 | 6.412 | 255.875 | 6.816 | 261.533 | 7.084 | 256.65 | 10.845 | 890.017 | 34.821 | 32.0963
2019-04-12 01:00:00 | 6.1 | 267.3 | 6.912 | 266.274 | 7.227 | 271.033 | 7.428 | 264.633 | 10.928 | 889.917 | 31.189 | 31.7503
2019-04-12 01:15:00 | 6.097 | 262.827 | 6.816 | 262.303 | 7.182 | 268 | 7.575 | 263.733 | 11.143 | 890.25 | 30.403 | 36.0904
2019-04-12 01:30:00 | 6.146 | 265.827 | 6.969 | 264.616 | 7.466 | 269.4 | 7.788 | 265.333 | 10.58 | 889.817 | 30.248 | 43.0902
2019-04-12 01:45:00 | 7.203 | 262.427 | 7.774 | 263.165 | 8.316 | 267.633 | 8.523 | 263.117 | 10.414 | 889.783 | 30.683 | 52.4888
2019-04-12 02:00:00 | 8.455 | 260.94 | 9.492 | 265.306 | 9.868 | 269.45 | 9.911 | 265.15 | 10.21 | 889.483 | 30.883 | 61.3851
2019-04-12 02:15:00 | 8.553 | 256.193 | 9.37 | 262.623 | 9.527 | 267.3 | 9.634 | 263.65 | 9.82 | 889.75 | 31.264 | 60.5936
2019-04-12 02:30:00 | 7.331 | 263.847 | 8.31 | 266.786 | 8.675 | 270.9 | 9.127 | 268.183 | 9.837 | 889.567 | 32.371 | 43.0127
2019-04-12 02:45:00 | 6.327 | 261.727 | 7.326 | 262.816 | 7.77 | 269.1 | 8.057 | 266.117 | 9.32 | 889.983 | 32.899 | 34.1804
2019-04-12 03:00:00 | 6.24 | 256.5 | 6.963 | 256.487 | 7.319 | 262.433 | 7.705 | 256.467 | 9.478 | 890.45 | 33.603 | 39.4592
2019-04-12 03:15:00 | 7.304 | 254.16 | 8.271 | 253.299 | 8.739 | 257.417 | 8.742 | 253 | 9.141 | 890.05 | 33.632 | 43.6529
2019-04-12 03:30:00 | 6.149 | 239.033 | 7.156 | 241.739 | 7.678 | 247.8 | 7.734 | 243.967 | 9.199 | 889.783 | 33.333 | 42.8813
2019-04-12 03:45:00 | 5.973 | 243.3 | 6.955 | 244.165 | 7.344 | 249 | 7.609 | 245.033 | 8.641 | 889.833 | 34.267 | 38.5937
2019-04-12 04:00:00 | 6.005 | 233.82 | 6.952 | 236.939 | 7.524 | 244.767 | 7.664 | 241.3 | 8.666 | 890.233 | 35.003 | 34.0091
2019-04-12 04:15:00 | 5.423 | 233.08 | 6.399 | 235.281 | 6.798 | 241.333 | 6.86 | 237.233 | 8.808 | 889.75 | 35.771 | 34.3531
2019-04-12 04:30:00 | 5.48 | 238.833 | 6.54 | 240.81 | 7.07 | 246.333 | 7.262 | 242.067 | 8.591 | 889.767 | 36.853 | 40.4334
2019-04-12 04:45:00 | 5.766 | 242.38 | 6.633 | 244.173 | 7.052 | 250.133 | 7.144 | 247 | 8.116 | 890.367 | 37.701 | 39.0122
2019-04-12 05:00:00 | 5.44 | 239.853 | 6.755 | 243.194 | 7.378 | 249.167 | 7.557 | 246.8 | 8.08 | 889.983 | 38.837 | 40.7602
2019-04-12 05:15:00 | 5.38 | 252.7 | 6.676 | 253.993 | 7.092 | 259.667 | 7.17 | 257.683 | 7.472 | 889.867 | 40.357 | 44.1816
2019-04-12 05:30:00 | 6.098 | 258.06 | 7.585 | 259.213 | 7.908 | 265.833 | 8.272 | 262.233 | 7.339 | 889.892 | 41.6 | 44.5603
2019-04-12 05:45:00 | 6.344 | 242.5 | 7.724 | 248.92 | 8.214 | 255.867 | 8.69 | 254.017 | 7.339 | 889.758 | 42.677 | 46.9201
2019-04-12 06:00:00 | 6.923 | 232.68 | 8.192 | 240.54 | 8.759 | 250.067 | 8.987 | 247.45 | 6.582 | 890.175 | 43.552 | 52.783
2019-04-12 06:15:00 | 6.52 | 230.067 | 8.286 | 236.52 | 8.733 | 244.433 | 8.858 | 241.8 | 6.31 | 889.875 | 43.851 | 55.7034
2019-04-12 06:30:00 | 6.374 | 238.5 | 7.709 | 244.914 | 8.108 | 253.267 | 8.373 | 249.617 | 5.862 | 889.6 | 45.963 | 47.2761
2019-04-12 06:45:00 | 5.929 | 237.84 | 7.188 | 245.626 | 7.374 | 254.2 | 7.795 | 253.617 | 5.649 | 889.817 | 46.475 | 42.4457
2019-04-12 07:00:00 | 5.598 | 235.54 | 6.926 | 250.063 | 7.1 | 262.767 | 7.715 | 264.3 | 5.418 | 890.067 | 47.333 | 30.845
2019-04-12 07:15:00 | 5.152 | 233.673 | 6.119 | 248.552 | 6.593 | 262.4 | 7.112 | 264.45 | 5.478 | 889.75 | 48.816 | 26.0551
2019-04-12 07:30:00 | 5.541 | 228.227 | 6.227 | 240.835 | 6.506 | 257.967 | 7.056 | 261.667 | 5.08 | 889.775 | 48.981 | 18.0612
2019-04-12 07:45:00 | 5.47 | 220.32 | 5.886 | 228.456 | 5.366 | 240.4 | 5.175 | 245.633 | 5.74 | 890.217 | 47.435 | 15.8535
2019-04-12 08:00:00 | 4.959 | 215.033 | 6.296 | 222.641 | 6.336 | 232.567 | 6.033 | 231.2 | 5.712 | 889.592 | 46.261 | 24.889
2019-04-12 08:15:00 | 5.797 | 218.9 | 6.864 | 222.641 | 7.134 | 229.433 | 7.116 | 228.367 | 6.872 | 889.7 | 43.904 | 35.1858
2019-04-12 08:30:00 | 6.254 | 215.26 | 7.152 | 216.159 | 7.754 | 221.8 | 8.054 | 219.6 | 8.126 | 890.033 | 40.987 | 36.5786
2019-04-12 08:45:00 | 6.379 | 235.92 | 6.803 | 235.78 | 7.226 | 241.067 | 7.352 | 238.733 | 8.828 | 889.617 | 37.584 | 42.6162
2019-04-12 09:00:00 | 7.937 | 263.36 | 8.676 | 271.042 | 8.659 | 273.767 | 8.672 | 268 | 9.183 | 889.733 | 32.331 | 50.922
2019-04-12 09:15:00 | 8.219 | 266.86 | 8.831 | 269.498 | 9.012 | 274.5 | 9.114 | 271.7 | 9.274 | 889.667 | 31.125 | 48.6461
2019-04-12 09:30:00 | 8.27 | 264.687 | 8.843 | 268.174 | 9.004 | 274.233 | 8.993 | 270.167 | 9.812 | 889.533 | 29.603 | 53.2364
2019-04-12 09:45:00 | 8.492 | 260.887 | 8.784 | 265.401 | 9.014 | 271.933 | 8.993 | 269 | 10.128 | 889.85 | 27.744 | 59.6997
2019-04-12 10:00:00 | 8.822 | 267.867 | 9.192 | 275.259 | 9.162 | 281.2 | 9.597 | 276.8 | 10.734 | 890.067 | 25.429 | 59.3721
2019-04-12 10:15:00 | 8.122 | 261.673 | 8.507 | 265.76 | 8.76 | 270.3 | 8.744 | 266.717 | 10.809 | 889.667 | 23.923 | 49.3794
2019-04-12 10:30:00 | 7.927 | 272.593 | 8.385 | 274.341 | 8.273 | 278.867 | 8.561 | 276.567 | 10.911 | 889.817 | 22.96 | 41.2228
2019-04-12 10:45:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 46.5855
2019-04-12 11:00:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 60.8948
2019-04-12 11:15:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 63.6845
2019-04-12 11:30:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 61.1784
2019-04-12 11:45:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 58.9728
2019-04-12 12:00:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 54.1224
2019-04-12 12:15:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 59.5462
2019-04-12 12:30:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 61.4562
2019-04-12 12:45:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 59.7182
2019-04-12 13:00:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 58.6765
2019-04-12 13:15:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 56.6592
2019-04-12 13:30:00 | 7.693 | 275.733 | 8.412 | 277.158 | 8.512 | 280.933 | 8.705 | 278.4 | 11.278 | 889.633 | 22.995 | 59.166
2019-04-12 13:45:00 | 9.534 | 300.182 | 10.182 | 296.782 | 10.42 | 303 | 10.88 | 301.636 | 15.04 | 889.546 | 18.106 | 63.4252
2019-04-12 14:00:00 | 10.212 | 291.687 | 10.778 | 294.94 | 11.1 | 298.533 | 11.304 | 297.8 | 14.208 | 889.433 | 17.425 | 53.6925
2019-04-12 14:15:00 | 10.892 | 297.8 | 11.175 | 294.234 | 11.379 | 300.333 | 11.928 | 297.867 | 14.874 | 889.467 | 15.515 | 55.7077
2019-04-12 14:30:00 | 8.219 | 288.18 | 9.243 | 287.084 | 9.391 | 291.067 | 9.807 | 289.867 | 14.441 | 889.4 | 16.488 | 47.085
2019-04-12 14:45:00 | 7.765 | 302.547 | 8.486 | 301.793 | 8.983 | 306.9 | 9.483 | 305.733 | 14.551 | 889.5 | 15.448 | 49.6309
2019-04-12 15:00:00 | 7.182 | 272.313 | 7.434 | 275.581 | 7.621 | 279.167 | 7.908 | 278.833 | 15.084 | 889.7 | 13.743 | 37.2081
2019-04-12 15:15:00 | 7.761 | 325.4 | 8.11 | 316.639 | 8.376 | 318.067 | 8.865 | 317.467 | 14.924 | 889.4 | 12.911 | 42.1991
2019-04-12 15:30:00 | 9.009 | 303.187 | 9.341 | 297.96 | 9.456 | 301.667 | 9.736 | 299.333 | 15.038 | 889.833 | 11.617 | 35.9042
2019-04-12 15:45:00 | 6.563 | 291.68 | 7.068 | 289.776 | 7.189 | 293.133 | 7.76 | 290.567 | 15.29 | 889.2 | 11.965 | 35.2427
2019-04-12 16:00:00 | 7.031 | 308.573 | 7.335 | 303.943 | 7.498 | 311.733 | 7.724 | 310.633 | 15.526 | 889.467 | 12.804 | 35.3933
2019-04-12 16:15:00 | 6.836 | 301.133 | 7.513 | 299.682 | 7.845 | 302.767 | 8.176 | 301.733 | 15.348 | 889.6 | 12.443 | 34.7559
2019-04-12 16:30:00 | 7.679 | 316.827 | 7.932 | 307.178 | 8.139 | 311.9 | 8.341 | 306.533 | 15.143 | 889.233 | 11.789 | 25.4845
2019-04-12 16:45:00 | 9.362 | 312.493 | 9.85 | 307.743 | 9.861 | 313.233 | 10.082 | 311.9 | 15.913 | 889.367 | 12.547 | 38.0665
2019-04-12 17:00:00 | 4.307 | 303.72 | 4.368 | 316.052 | 4.948 | 324.133 | 5.432 | 313.833 | 15.742 | 889.4 | 13.56 | 22.8682
2019-04-12 17:15:00 | 6.824 | 326.133 | 7.344 | 319.87 | 7.85 | 320.667 | 8.103 | 316.267 | 15.728 | 889.333 | 14.067 | 25.3559
2019-04-12 17:30:00 | 5.058 | 296.827 | 5.191 | 293.017 | 5.3 | 293.533 | 5.368 | 289.133 | 15.875 | 889.333 | 14.088 | 20.4011
2019-04-12 17:45:00 | 7.32 | 291.107 | 7.497 | 289.215 | 7.569 | 292.967 | 7.636 | 287.367 | 15.882 | 889.5 | 13.461 | 32.2974
2019-04-12 18:00:00 | 4.519 | 329.347 | 4.455 | 325.133 | 4.587 | 326.2 | 4.682 | 324.4 | 16.22 | 889.533 | 13.717 | 21.6382
2019-04-12 18:15:00 | 7.402 | 295.333 | 7.832 | 293.352 | 7.995 | 297.667 | 8.656 | 296.833 | 16.248 | 889.533 | 13.128 | 43.0639
2019-04-12 18:30:00 | 7.363 | 315.32 | 7.587 | 317.722 | 7.901 | 322.333 | 8.427 | 319.2 | 16.172 | 889.533 | 13.416 | 32.2796
2019-04-12 18:45:00 | 4.735 | 317.84 | 5.127 | 323.072 | 5.745 | 332.033 | 5.984 | 331.467 | 16.138 | 889.5 | 13.736 | 31.7566
2019-04-12 19:00:00 | 6.745 | 328.467 | 6.86 | 324.643 | 7.123 | 331.1 | 7.402 | 329.133 | 16.179 | 889.633 | 13.136 | 36.0563
2019-04-12 19:15:00 | 8.448 | 336.853 | 9.349 | 332.124 | 9.757 | 338.567 | 10.11 | 335.8 | 15.982 | 889.233 | 12.921 | 42.3803
2019-04-12 19:30:00 | 8.513 | 328.133 | 9.256 | 332.473 | 9.575 | 338.367 | 9.802 | 335.667 | 15.913 | 889.433 | 13.093 | 38.0061
2019-04-12 19:45:00 | 7.175 | 287.627 | 8.451 | 318.312 | 8.747 | 335.167 | 8.947 | 322.9 | 15.569 | 889.167 | 13.168 | 29.7635
2019-04-12 20:00:00 | 6.836 | 328.173 | 7.184 | 320.686 | 7.55 | 324.2 | 7.955 | 323.767 | 15.576 | 889.4 | 13.116 | 24.2218
2019-04-12 20:15:00 | 4.77 | 330.653 | 5.476 | 325.592 | 5.816 | 331.2 | 6.14 | 329.867 | 15.502 | 889.567 | 13.255 | 19.1071
2019-04-12 20:30:00 | 5.024 | 335.267 | 5.336 | 328.026 | 5.348 | 330.933 | 5.574 | 330.967 | 15.141 | 889.667 | 13.987 | 18.0321
2019-04-12 20:45:00 | 4.03 | 335.493 | 4.845 | 329.562 | 5.111 | 335.267 | 5.343 | 333.567 | 14.074 | 889.533 | 14.633 | 13.0581
2019-04-12 21:00:00 | 3.411 | 324.733 | 4.082 | 325.572 | 4.368 | 332.833 | 4.655 | 333.9 | 14.062 | 889.7 | 14.656 | 11.3996
2019-04-12 21:15:00 | 2.968 | 314.8 | 3.218 | 325.532 | 3.862 | 339.067 | 4.383 | 342.833 | 13.666 | 889.367 | 14.997 | 12.4562
2019-04-12 21:30:00 | 3.301 | 327.28 | 4.401 | 332.049 | 4.966 | 340.167 | 5.326 | 338.6 | 13.36 | 889.467 | 15.172 | 14.6114
2019-04-12 21:45:00 | 3.569 | 340.747 | 5.1 | 347.451 | 5.842 | 308.633 | 6.559 | 331.933 | 12.718 | 889.433 | 15.711 | 11.5147
2019-04-12 22:00:00 | 3.419 | 329.653 | 4.689 | 339.275 | 5.405 | 352.3 | 5.764 | 353.9 | 12.257 | 889.3 | 16.156 | 11.3207
2019-04-12 22:15:00 | 3.321 | 329.68 | 4.779 | 342.339 | 5.912 | 353.833 | 6.393 | 354.467 | 11.62 | 889.5 | 16.413 | 9.7163
2019-04-12 22:30:00 | 2.948 | 197.507 | 4.132 | 142.183 | 4.884 | 2.767 | 5.408 | 1.8 | 12.07 | 889.6 | 16.333 | 16.7672
2019-04-12 22:45:00 | 3.434 | 39.342 | 4.885 | 33.695 | 5.368 | 39.2 | 5.499 | 38.3 | 11.045 | 889.533 | 17.221 | 6.2658
2019-04-12 23:00:00 | 3.265 | 68.667 | 4.16 | 64.359 | 4.415 | 72.167 | 4.93 | 69.6 | 11.161 | 889.3 | 19.811 | 4.6698
2019-04-12 23:15:00 | 2.803 | 112.667 | 2.936 | 96.594 | 2.499 | 103.267 | 2.902 | 98.767 | 10.795 | 889.65 | 21.835 | 9.2445
2019-04-12 23:30:00 | 2.76 | 138.437 | 3.936 | 115.364 | 4.165 | 118.3 | 4.292 | 112.733 | 10.312 | 889.85 | 21.611 | 22.0468
2019-04-12 23:45:00 | 4.077 | 138.787 | 5.205 | 127.651 | 4.828 | 131.5 | 4.898 | 126.3 | 10.416 | 889.85 | 23.787 | 31.5619