## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-13 00:00:00 | 4.351 | 141.013 | 5.082 | 131.192 | 4.99 | 134.1 | 4.983 | 129.333 | 9.387 | 889.75 | 23.995 | 25.1065
2019-04-13 00:15:00 | 4.563 | 143.673 | 4.537 | 132.835 | 4.126 | 139.267 | 4.438 | 137.367 | 9.897 | 889.833 | 24.165 | 23.9361
2019-04-13 00:30:00 | 4.657 | 157.76 | 5.233 | 146.535 | 5.287 | 151.133 | 5.879 | 145.733 | 9.366 | 889.55 | 24.411 | 27.754
2019-04-13 00:45:00 | 4.396 | 152.34 | 5.634 | 141.113 | 5.412 | 144.633 | 5.22 | 138.4 | 8.933 | 889.3 | 24.971 | 29.0181
2019-04-13 01:00:00 | 4.628 | 145.607 | 5.128 | 138.118 | 4.863 | 142.3 | 4.655 | 135.667 | 9.208 | 889.667 | 25.131 | 21.9281
2019-04-13 01:15:00 | 2.76 | 141.02 | 3.593 | 127.559 | 3.428 | 132.667 | 3.413 | 128 | 9.208 | 890.033 | 25.413 | 14.2248
2019-04-13 01:30:00 | 1.874 | 140.467 | 3.544 | 119.58 | 3.84 | 122.967 | 4.161 | 118.433 | 8.574 | 889.567 | 25.877 | 8.8849
2019-04-13 01:45:00 | 0.74 | 131.753 | 3.596 | 113.399 | 3.76 | 112.9 | 3.589 | 106.067 | 7.853 | 889.717 | 26.896 | 7.942
2019-04-13 02:00:00 | 0.7 | 159.3 | 2.34 | 109.54 | 3.241 | 108.867 | 3.571 | 105.867 | 7.356 | 889.583 | 28.053 | 10.3679
2019-04-13 02:15:00 | 1.441 | 182.067 | 2.549 | 110.416 | 3.44 | 110.033 | 3.361 | 98.733 | 7.522 | 889.95 | 27.755 | 20.4274
2019-04-13 02:30:00 | 2.024 | 131.323 | 3.774 | 102.499 | 4.014 | 100.7 | 3.862 | 96.867 | 7.462 | 890.233 | 26.853 | 19.5832
2019-04-13 02:45:00 | 3.278 | 206.007 | 2.363 | 174.399 | 2.58 | 158.3 | 3.39 | 140.767 | 6.114 | 889.633 | 27.509 | 8.3662
2019-04-13 03:00:00 | 3.391 | 193.74 | 3.534 | 156.617 | 3.61 | 145.433 | 3.876 | 133.667 | 4.905 | 889.8 | 27.728 | 4.8276
2019-04-13 03:15:00 | 3.69 | 203.4 | 2.762 | 165.508 | 2.626 | 157.667 | 3.02 | 139.867 | 3.74 | 889.817 | 29.824 | 7.6123
2019-04-13 03:30:00 | 4.158 | 172.947 | 3.816 | 143.862 | 3.344 | 141.467 | 3.475 | 135.333 | 6.88 | 889.667 | 27.467 | 13.1718
2019-04-13 03:45:00 | 5.072 | 159.633 | 5.65 | 147.136 | 5.529 | 149.233 | 5.679 | 146.567 | 7.189 | 889.55 | 25.413 | 16.6926
2019-04-13 04:00:00 | 4.835 | 148.24 | 5.064 | 138.239 | 4.398 | 140.5 | 4.123 | 137.4 | 7.586 | 889.633 | 23.627 | 14.4778
2019-04-13 04:15:00 | 3.988 | 180.327 | 4.504 | 153.843 | 4.979 | 147.633 | 5.127 | 143.467 | 5.759 | 890.167 | 25.525 | 13.7218
2019-04-13 04:30:00 | 4.133 | 182.753 | 4.643 | 149.51 | 4.299 | 142.967 | 4.282 | 138.833 | 6.635 | 889.783 | 24.869 | 19.699
2019-04-13 04:45:00 | 4.838 | 167.953 | 6.416 | 144.765 | 6.194 | 146.7 | 5.849 | 142.467 | 5.971 | 890.117 | 25.408 | 20.2959
2019-04-13 05:00:00 | 4.209 | 147.133 | 4.204 | 130.613 | 3.829 | 135.4 | 3.98 | 129.7 | 7.172 | 889.817 | 23.211 | 20.232
2019-04-13 05:15:00 | 3.651 | 174.987 | 5.17 | 139.054 | 5.073 | 140.767 | 4.772 | 134.433 | 5.872 | 889.917 | 24.373 | 26.6455
2019-04-13 05:30:00 | 4.302 | 139.403 | 6.144 | 120.553 | 6.439 | 126 | 7.031 | 119.667 | 6.856 | 889.9 | 23.008 | 30.9317
2019-04-13 05:45:00 | 5.616 | 151.707 | 6.374 | 140.419 | 5.89 | 141.933 | 5.291 | 136.267 | 6.33 | 889.633 | 22.949 | 30.4236
2019-04-13 06:00:00 | 4.072 | 156.727 | 5.835 | 140.11 | 5.027 | 140.033 | 4.553 | 129.1 | 6.323 | 889.767 | 22.709 | 31.5847
2019-04-13 06:15:00 | 4.884 | 132.35 | 6.641 | 119.26 | 6.758 | 124.367 | 7.122 | 121.1 | 7.122 | 889.567 | 20.608 | 30.0605
2019-04-13 06:30:00 | 4.682 | 136.013 | 6.032 | 124.112 | 5.582 | 130.933 | 6.011 | 123.9 | 7.089 | 889.783 | 20.189 | 30.1074
2019-04-13 06:45:00 | 4.374 | 135.103 | 6.112 | 124.272 | 5.381 | 130.2 | 5.487 | 126.633 | 7.322 | 889.4 | 19.576 | 30.1884
2019-04-13 07:00:00 | 5.268 | 144.5 | 5.739 | 135.154 | 5.138 | 138.8 | 5.026 | 133.233 | 7.256 | 889.5 | 19.632 | 27.6204
2019-04-13 07:15:00 | 5.008 | 150.167 | 5.925 | 137.439 | 5.117 | 139.4 | 4.594 | 129.367 | 5.928 | 889.567 | 20.741 | 29.7159
2019-04-13 07:30:00 | 5.57 | 145.3 | 5.889 | 136.444 | 5.328 | 136.8 | 5.114 | 132.367 | 7.039 | 889.4 | 19.037 | 27.8691
2019-04-13 07:45:00 | 6.147 | 149.927 | 6.376 | 139.061 | 5.766 | 141 | 5.365 | 134 | 8.01 | 889.567 | 17.469 | 25.4447
2019-04-13 08:00:00 | 5.589 | 149.973 | 6.152 | 141.929 | 5.622 | 141.933 | 5.152 | 136.8 | 8.103 | 889.067 | 16.957 | 25.2692
2019-04-13 08:15:00 | 4.55 | 147.613 | 5.049 | 138.599 | 4.547 | 140.233 | 4.352 | 134.433 | 8.05 | 889.6 | 16.819 | 21.074
2019-04-13 08:30:00 | 4.378 | 137.427 | 4.659 | 131.203 | 4.274 | 133.9 | 4.382 | 130.2 | 9.108 | 889.333 | 15.877 | 18.6332
2019-04-13 08:45:00 | 4.596 | 138.84 | 4.476 | 134.015 | 3.994 | 138.167 | 4.163 | 132.233 | 9.737 | 889.2 | 15.288 | 12.4932
2019-04-13 09:00:00 | 4.148 | 127.043 | 4.416 | 123.922 | 4.313 | 129.333 | 4.682 | 125.3 | 10.064 | 889.567 | 15.024 | 6.6125
2019-04-13 09:15:00 | 3.594 | 126.93 | 3.772 | 119.028 | 3.832 | 124.867 | 4.133 | 120.767 | 10.316 | 889.2 | 15.347 | 4.0922
2019-04-13 09:30:00 | 3.276 | 123.363 | 3.466 | 118.416 | 3.325 | 123.9 | 3.564 | 118.767 | 10.732 | 889.267 | 15.224 | 1.1653
2019-04-13 09:45:00 | 2.556 | 125.433 | 2.57 | 122.039 | 2.778 | 122.967 | 2.842 | 120 | 11.061 | 889.4 | 15.139 | 0.13074
2019-04-13 10:00:00 | 2.334 | 134.4 | 2.563 | 125.737 | 2.717 | 133.067 | 3.088 | 131.267 | 11.303 | 889.733 | 14.763 | 0.15419
2019-04-13 10:15:00 | 2.55 | 113.678 | 2.604 | 106.718 | 2.572 | 116.7 | 2.929 | 113.8 | 12.099 | 889.567 | 14.109 | 0.23591
2019-04-13 10:30:00 | 2.585 | 118.557 | 2.62 | 121.302 | 2.537 | 132.767 | 2.786 | 131.633 | 12.057 | 889.7 | 13.648 | 0.19043
2019-04-13 10:45:00 | 2.386 | 125.917 | 1.955 | 120.959 | 2.24 | 133.067 | 2.437 | 129.167 | 12.27 | 889.433 | 13.136 | 0.16627
2019-04-13 11:00:00 | 1.578 | 178.62 | 1.034 | 183.989 | 1.214 | 159.367 | 1.414 | 146.067 | 14.874 | 889.533 | 12.355 | 0.17196
2019-04-13 11:15:00 | 2.078 | 78.257 | 1.769 | 78.37 | 1.712 | 96.3 | 2.26 | 103.033 | 13.845 | 889.633 | 11.867 | 0.17764
2019-04-13 11:30:00 | 3.144 | 117.727 | 3.456 | 115.372 | 3.826 | 118.567 | 3.891 | 112.867 | 14.224 | 889.467 | 11.912 | 0.17764
2019-04-13 11:45:00 | 5.809 | 97.307 | 5.983 | 93.225 | 5.902 | 98.633 | 6.083 | 94.2 | 14.024 | 889.167 | 12.811 | 0.19896
2019-04-13 12:00:00 | 5.158 | 94.99 | 5.243 | 89.257 | 5.589 | 91.967 | 5.813 | 85.867 | 14.133 | 889.733 | 12.891 | 0.18759
2019-04-13 12:15:00 | 3.37 | 81.76 | 3.981 | 88.462 | 4.068 | 98.4 | 4.68 | 95.8 | 14.708 | 889.5 | 13.584 | 0.18901
2019-04-13 12:30:00 | 6.557 | 102.427 | 6.808 | 98.525 | 6.795 | 103.333 | 7.065 | 100.667 | 15.034 | 889.567 | 12.645 | 0.19327
2019-04-13 12:45:00 | 6.071 | 103.947 | 6.286 | 97.852 | 6.496 | 101.667 | 6.905 | 98.133 | 15.851 | 889.733 | 12.291 | 0.20606
2019-04-13 13:00:00 | 5.228 | 122.107 | 5.399 | 115.601 | 5.723 | 117.233 | 5.951 | 108.367 | 15.74 | 889.633 | 11.501 | 0.21175
2019-04-13 13:15:00 | 6.593 | 88.513 | 6.931 | 81.401 | 7.297 | 86.033 | 7.518 | 80.3 | 16.314 | 889.367 | 11.139 | 0.21885
2019-04-13 13:30:00 | 4.322 | 86.007 | 4.413 | 86.204 | 4.756 | 90.167 | 4.872 | 93.933 | 16.398 | 889.5 | 11.133 | 0.54785
2019-04-13 13:45:00 | 5.26 | 122.6 | 5.881 | 117.099 | 5.731 | 121.267 | 5.841 | 118.333 | 17.098 | 889.7 | 11.083 | 2.8394
2019-04-13 14:00:00 | 3.425 | 170.06 | 3.12 | 167.965 | 2.893 | 164.167 | 3.391 | 148.967 | 17.152 | 889.8 | 10.989 | 2.1949
2019-04-13 14:15:00 | 2.645 | 71.88 | 3.034 | 87.217 | 3.669 | 98.967 | 4.36 | 95.567 | 17.548 | 889.233 | 11.173 | 0.2018
2019-04-13 14:30:00 | 4.721 | 67.457 | 5.005 | 65.131 | 5.167 | 73 | 5.686 | 69.433 | 17.627 | 889.633 | 10.773 | 0.20038
2019-04-13 14:45:00 | 5.906 | 137.237 | 5.99 | 125.744 | 5.881 | 127.133 | 5.932 | 122.567 | 17.923 | 889.467 | 10.888 | 6.609
2019-04-13 15:00:00 | 6.435 | 95.727 | 6.584 | 90.505 | 6.519 | 95 | 6.954 | 91.3 | 17.985 | 889.667 | 11.141 | 7.6556
2019-04-13 15:15:00 | 7.831 | 78.072 | 8.139 | 76.325 | 8.118 | 84.267 | 8.372 | 82.267 | 18.344 | 889.033 | 10.213 | 9.6836
2019-04-13 15:30:00 | 6.359 | 112.553 | 6.673 | 105.663 | 6.287 | 111 | 6.568 | 107.7 | 18.052 | 889.367 | 10.883 | 9.7753
2019-04-13 15:45:00 | 9.618 | 104.857 | 9.548 | 99.949 | 9.319 | 104.667 | 9.438 | 98.267 | 17.652 | 889.067 | 10.523 | 1.3266
2019-04-13 16:00:00 | 7.511 | 95.147 | 8.177 | 90.44 | 8.273 | 94.167 | 8.722 | 90.667 | 17.639 | 889.6 | 10.415 | 0.83492
2019-04-13 16:15:00 | 7.494 | 95.343 | 7.644 | 90.782 | 8.154 | 95.667 | 8.6 | 90.133 | 17.802 | 889.467 | 10.584 | 5.4031
2019-04-13 16:30:00 | 8.824 | 102.21 | 8.616 | 97.895 | 8.03 | 103.467 | 8.11 | 97.767 | 17.794 | 889.6 | 10.757 | 15.2736
2019-04-13 16:45:00 | 10.149 | 90.077 | 10.388 | 83.824 | 10.616 | 91.767 | 10.741 | 87.133 | 17.885 | 889.467 | 10.488 | 34.7552
2019-04-13 17:00:00 | 7.625 | 121.367 | 7.853 | 116.768 | 8.118 | 123.3 | 8.137 | 118.267 | 17.668 | 889.267 | 12.053 | 55.7461
2019-04-13 17:15:00 | 8.03 | 124.693 | 8.798 | 117.012 | 8.741 | 120.667 | 8.865 | 117.733 | 17.739 | 889.333 | 10.62 | 60.9204
2019-04-13 17:30:00 | 8.795 | 117.58 | 9.525 | 112.611 | 9.886 | 118.2 | 10.072 | 111.8 | 17.96 | 889.633 | 10.724 | 60.4429
2019-04-13 17:45:00 | 8.385 | 117.177 | 8.628 | 110.579 | 8.606 | 112.533 | 8.542 | 107.467 | 17.835 | 889.133 | 10.429 | 66.2539
2019-04-13 18:00:00 | 9.533 | 114.12 | 10.158 | 107.761 | 9.956 | 115.267 | 9.958 | 109.7 | 18.102 | 889.267 | 10.168 | 67.447
2019-04-13 18:15:00 | 11.328 | 110.857 | 11.534 | 104.348 | 11.767 | 110.933 | 11.838 | 106.067 | 18.194 | 889.067 | 10.115 | 60.2219
2019-04-13 18:30:00 | 7.17 | 112.13 | 7.997 | 105.556 | 7.913 | 115.067 | 8.109 | 110.4 | 17.635 | 889.533 | 11.175 | 65.7878
2019-04-13 18:45:00 | 9.658 | 105.98 | 10.045 | 102.198 | 9.691 | 107.633 | 9.66 | 101.767 | 17.193 | 889.7 | 10.488 | 55.0817
2019-04-13 19:00:00 | 6.518 | 99.153 | 6.406 | 94.7 | 6.127 | 100.433 | 6.201 | 99.167 | 17.873 | 889.8 | 10.632 | 63.3015
2019-04-13 19:15:00 | 8.691 | 107.697 | 9.07 | 103.256 | 9.075 | 106.9 | 9.25 | 103.633 | 17.302 | 889.267 | 10.269 | 74.2535
2019-04-13 19:30:00 | 9.785 | 110.08 | 10.25 | 106.863 | 10.213 | 111.233 | 10.265 | 109.867 | 16.764 | 889.733 | 10.263 | 64.982
2019-04-13 19:45:00 | 9.376 | 117.687 | 9.832 | 112.166 | 10.314 | 118.433 | 10.437 | 113.4 | 16.798 | 889.1 | 10.176 | 64.2615
2019-04-13 20:00:00 | 9.967 | 116.293 | 10.571 | 110.604 | 10.939 | 116.967 | 11.224 | 114.4 | 16.598 | 889.4 | 10.353 | 53.3579
2019-04-13 20:15:00 | 7.367 | 123.58 | 8.617 | 117.81 | 9.156 | 123.433 | 9.546 | 118.8 | 16.664 | 888.967 | 10.02 | 61.2189
2019-04-13 20:30:00 | 8.171 | 125.34 | 9.318 | 119.637 | 9.754 | 125.4 | 10.174 | 121.433 | 15.778 | 889.133 | 9.787 | 51.1686
2019-04-13 20:45:00 | 6.03 | 114.227 | 6.645 | 110.359 | 6.895 | 119.467 | 6.902 | 114.6 | 15.592 | 888.933 | 9.893 | 47.2193
2019-04-13 21:00:00 | 5.606 | 126.567 | 6.476 | 120.886 | 6.45 | 125.667 | 6.672 | 124.567 | 15.167 | 889.267 | 10.032 | 43.3495
2019-04-13 21:15:00 | 6.307 | 130.12 | 6.556 | 126.464 | 6.202 | 134.067 | 6.528 | 128.633 | 15.058 | 889.467 | 10.252 | 47.9789
2019-04-13 21:30:00 | 5.633 | 129.393 | 6.543 | 124.082 | 5.876 | 134.233 | 6.102 | 129.3 | 14.399 | 889 | 9.832 | 46.6316
2019-04-13 21:45:00 | 4.886 | 139.967 | 5.416 | 133.37 | 5.262 | 137 | 5.795 | 132.467 | 13.924 | 888.8 | 9.719 | 39.9296
2019-04-13 22:00:00 | 4.631 | 148.82 | 5.95 | 140.652 | 6.596 | 145.667 | 6.845 | 142.567 | 13.895 | 888.933 | 9.959 | 33.8493
2019-04-13 22:15:00 | 4.546 | 143.713 | 5.486 | 136.702 | 5.248 | 142.367 | 4.951 | 136.367 | 13.16 | 888.833 | 10.193 | 24.1806
2019-04-13 22:30:00 | 4.348 | 141.953 | 4.568 | 132.43 | 3.952 | 140.333 | 3.724 | 136.133 | 12.941 | 889.067 | 10.532 | 17.5155
2019-04-13 22:45:00 | 3.469 | 156.813 | 4.275 | 137.992 | 4.256 | 142.667 | 4.481 | 137.633 | 12.557 | 889.467 | 11.229 | 12.4932
2019-04-13 23:00:00 | 3.494 | 157.08 | 2.822 | 147.445 | 2.788 | 150.9 | 3.551 | 144.2 | 13.27 | 889.8 | 11.757 | 7.4169
2019-04-13 23:15:00 | 3.157 | 205.267 | 2.666 | 170.552 | 2.498 | 157.467 | 2.708 | 150.233 | 12.647 | 889.5 | 13.216 | 2.929
2019-04-13 23:30:00 | 3.227 | 203.873 | 2.157 | 175.569 | 1.82 | 169.567 | 1.992 | 158.767 | 11.845 | 889.733 | 15.371 | 0.19398
2019-04-13 23:45:00 | 4.152 | 216.453 | 3.438 | 187.926 | 2.974 | 179.433 | 2.991 | 172 | 11.374 | 889.367 | 16.411 | 0.11867