## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-14 00:00:00 | 4.843 | 221.647 | 2.87 | 211.628 | 2.625 | 209.733 | 2.587 | 200.967 | 12.074 | 889.667 | 19.216 | 0.16414
2019-04-14 00:15:00 | 5.538 | 220.74 | 3.733 | 222.931 | 3.101 | 227.2 | 2.958 | 220.8 | 10.972 | 889.433 | 19.485 | 1.2527
2019-04-14 00:30:00 | 5.96 | 222.5 | 4.566 | 217.407 | 3.944 | 221.967 | 3.447 | 219.1 | 9.926 | 889.367 | 20.765 | 1.6599
2019-04-14 00:45:00 | 6.004 | 219.58 | 4.271 | 215.504 | 3.775 | 219.633 | 3.26 | 215.9 | 11.076 | 889.617 | 20.453 | 2.4806
2019-04-14 01:00:00 | 6.072 | 217.193 | 4.625 | 210.845 | 4.294 | 212.9 | 4.274 | 208.633 | 10.58 | 889.667 | 20.901 | 4.8368
2019-04-14 01:15:00 | 6.137 | 209.8 | 5.299 | 201.652 | 5.086 | 202.433 | 5.277 | 196.067 | 9.699 | 890.2 | 21.659 | 4.7103
2019-04-14 01:30:00 | 5.216 | 211.273 | 4.69 | 206.545 | 4.63 | 211.8 | 5.025 | 211.9 | 10.595 | 889.617 | 22.299 | 1.743
2019-04-14 01:45:00 | 4.132 | 232.367 | 3.365 | 244.381 | 3.464 | 251.833 | 3.843 | 243 | 11.89 | 889.533 | 20.563 | 1.3494
2019-04-14 02:00:00 | 5.449 | 235.787 | 4.486 | 239.335 | 3.98 | 245.5 | 3.577 | 242.833 | 8.652 | 890.117 | 23.179 | 1.6627
2019-04-14 02:15:00 | 4.77 | 237.653 | 5.014 | 236.76 | 4.73 | 234.467 | 4.534 | 222.567 | 8.364 | 889.683 | 24.299 | 3.5692
2019-04-14 02:30:00 | 3.996 | 238.94 | 5.294 | 221.68 | 4.968 | 222.667 | 4.303 | 219.933 | 7.469 | 889.883 | 25.205 | 3.658
2019-04-14 02:45:00 | 4.455 | 258.933 | 5.074 | 235.318 | 5.772 | 228.933 | 5.1 | 225.533 | 6.585 | 889.95 | 26.816 | 2.914
2019-04-14 03:00:00 | 5.735 | 249.193 | 5.87 | 234.166 | 4.5 | 236.167 | 4.217 | 233 | 6.472 | 889.833 | 27.472 | 3.6203
2019-04-14 03:15:00 | 5.82 | 245.66 | 5.83 | 243.508 | 5.317 | 243.8 | 4.241 | 234.067 | 6.919 | 889.5 | 27.307 | 4.7381
2019-04-14 03:30:00 | 6.243 | 247.247 | 6.21 | 244.354 | 5.683 | 245.733 | 5.177 | 240.133 | 7.08 | 890.05 | 27.339 | 6.3184
2019-04-14 03:45:00 | 5.346 | 240.72 | 5.016 | 240.702 | 4.51 | 250.7 | 4.812 | 249.467 | 8.878 | 889.483 | 24.944 | 7.2194
2019-04-14 04:00:00 | 5.239 | 233.473 | 5.43 | 236.023 | 5.445 | 243.5 | 5.404 | 240.233 | 9.433 | 889.617 | 23.931 | 6.6147
2019-04-14 04:15:00 | 5.456 | 240.373 | 5.918 | 246.147 | 5.596 | 254.6 | 5.897 | 252.783 | 8.582 | 889.833 | 24.336 | 18.8343
2019-04-14 04:30:00 | 6.279 | 237.347 | 5.876 | 238.757 | 5.554 | 247.733 | 5.532 | 248.567 | 8.874 | 889.617 | 24.848 | 24.3
2019-04-14 04:45:00 | 5.942 | 222.913 | 5.905 | 226.778 | 5.968 | 237.3 | 6.075 | 236.2 | 9.149 | 889.583 | 24.944 | 30.0868
2019-04-14 05:00:00 | 5.455 | 221.88 | 7.616 | 230.122 | 7.468 | 240.367 | 7.073 | 236.533 | 8.501 | 889.9 | 26.155 | 29.885
2019-04-14 05:15:00 | 6.301 | 215.04 | 7.321 | 222.648 | 7.267 | 227.433 | 7.138 | 223.5 | 9.112 | 889.617 | 26.112 | 27.8741
2019-04-14 05:30:00 | 6.15 | 226.34 | 6.983 | 227.598 | 6.994 | 234.1 | 6.787 | 233.2 | 9.037 | 889.3 | 27.44 | 22.1732
2019-04-14 05:45:00 | 5.146 | 230.493 | 6.996 | 236.368 | 7.264 | 249.8 | 7.139 | 249.25 | 9.399 | 889.567 | 28.416 | 21.6041
2019-04-14 06:00:00 | 5.22 | 252.76 | 5.461 | 256.634 | 5.245 | 266.3 | 5.53 | 265.633 | 9.739 | 889.267 | 29.805 | 20.9766
2019-04-14 06:15:00 | 4.911 | 259.127 | 6.092 | 270.511 | 6.531 | 278.867 | 7.13 | 279.7 | 9.843 | 890.05 | 29.627 | 27.8357
2019-04-14 06:30:00 | 3.433 | 275.927 | 4.637 | 284.67 | 5.597 | 292.1 | 6.513 | 292.667 | 10.566 | 889.267 | 29.733 | 16.0382
2019-04-14 06:45:00 | 4.588 | 328.067 | 6.254 | 308.67 | 7.867 | 305.133 | 9.864 | 299.167 | 11.145 | 889.583 | 30.496 | 41.9021
2019-04-14 07:00:00 | 8.22 | 288.867 | 9.544 | 287.444 | 9.681 | 291.833 | 10.065 | 290.3 | 11.111 | 889.667 | 32.451 | 56.4112
2019-04-14 07:15:00 | 6.288 | 291.533 | 7.541 | 286.773 | 7.83 | 292.3 | 8.224 | 290.267 | 10.634 | 889.883 | 29.419 | 29.9269
2019-04-14 07:30:00 | 3.738 | 257.547 | 4.482 | 260.93 | 4.554 | 267.133 | 4.785 | 263.933 | 10.436 | 889.95 | 29.827 | 12.9927
2019-04-14 07:45:00 | 5.452 | 247.7 | 6.115 | 253.542 | 6.066 | 259.867 | 6.098 | 256.733 | 9.595 | 889.7 | 30.493 | 23.249
2019-04-14 08:00:00 | 5.079 | 250.62 | 6.082 | 256.8 | 6.387 | 263.633 | 6.723 | 258.35 | 9.299 | 889.65 | 30.645 | 20.9397
2019-04-14 08:15:00 | 4.655 | 255.933 | 6.164 | 261.03 | 6.609 | 267.067 | 7.078 | 263.533 | 9.633 | 889.9 | 29.904 | 21.4762
2019-04-14 08:30:00 | 4.662 | 256.04 | 5.803 | 258.694 | 6.111 | 264.933 | 6.593 | 262 | 10.001 | 889.85 | 29.005 | 17.1872
2019-04-14 08:45:00 | 4.079 | 253.947 | 4.933 | 257.242 | 5.231 | 265.867 | 5.648 | 263.733 | 10.075 | 889.617 | 28.216 | 13.8461
2019-04-14 09:00:00 | 4.198 | 242.447 | 4.878 | 245.924 | 5.452 | 254.567 | 5.927 | 253.067 | 11.224 | 889.667 | 26.965 | 10.9314
2019-04-14 09:15:00 | 3.95 | 256.833 | 4.442 | 256.74 | 4.527 | 263.1 | 4.963 | 261.4 | 11.228 | 889.833 | 27.336 | 4.6869
2019-04-14 09:30:00 | 2.731 | 261.48 | 2.878 | 259.264 | 2.918 | 268.933 | 3.349 | 264.267 | 11.911 | 889.7 | 27.157 | 2.2866
2019-04-14 09:45:00 | 1.991 | 259.413 | 2.082 | 257.492 | 2.136 | 262 | 2.748 | 259.6 | 12.714 | 889.567 | 26.44 | 0.89034
2019-04-14 10:00:00 | 2.778 | 267.493 | 2.596 | 260.754 | 2.562 | 262.45 | 2.816 | 258.267 | 13.112 | 889.7 | 26.517 | 2.1587
2019-04-14 10:15:00 | 2.8 | 282.88 | 2.76 | 278.04 | 2.854 | 282 | 3.217 | 279.533 | 13.235 | 889.617 | 26.309 | 2.8366
2019-04-14 10:30:00 | 3.636 | 273.913 | 3.655 | 271.484 | 3.652 | 276.9 | 3.818 | 274.733 | 13.137 | 889.917 | 25.968 | 3.2885
2019-04-14 10:45:00 | 3.921 | 280.56 | 4.029 | 274.19 | 4.084 | 276.267 | 4.498 | 269.467 | 13.108 | 889.567 | 26.163 | 13.2506
2019-04-14 11:00:00 | 5.568 | 294.733 | 5.839 | 286.533 | 5.968 | 287.167 | 6.502 | 284.2 | 13.499 | 889.7 | 28.061 | 36.705
2019-04-14 11:15:00 | 9.966 | 302.32 | 10.462 | 297.358 | 10.839 | 304.033 | 11.414 | 303.133 | 13.766 | 889.617 | 31.56 | 63.7591
2019-04-14 11:30:00 | 10.102 | 304.12 | 10.647 | 301.046 | 10.647 | 306.833 | 11.094 | 304.067 | 12.93 | 889.467 | 32.992 | 54.5637
2019-04-14 11:45:00 | 8.428 | 297.213 | 8.924 | 293.712 | 8.939 | 296.467 | 9.368 | 293.833 | 13.022 | 890.05 | 33.344 | 44.8375
2019-04-14 12:00:00 | 7.746 | 285.733 | 8.405 | 286.759 | 8.321 | 289.5 | 8.583 | 286.167 | 12.909 | 889.9 | 34.307 | 42.0755
2019-04-14 12:15:00 | 6.888 | 276.787 | 7.589 | 281.455 | 7.495 | 284.867 | 7.73 | 282.033 | 12.768 | 889.617 | 35.363 | 32.1027
2019-04-14 12:30:00 | 6.608 | 265.733 | 7.189 | 268.474 | 7.105 | 270.317 | 7.038 | 264.767 | 12.678 | 890.283 | 36.28 | 33.5473
2019-04-14 12:45:00 | 7.053 | 249.333 | 7.425 | 254.101 | 7.72 | 260.917 | 7.683 | 256.667 | 13.38 | 889.5 | 36.16 | 40.3168
2019-04-14 13:00:00 | 6.373 | 239.08 | 6.9 | 241.205 | 7.275 | 246.2 | 7.331 | 241.733 | 13.41 | 889.85 | 36.072 | 39.0144
2019-04-14 13:15:00 | 5.02 | 259.267 | 5.672 | 260.142 | 5.84 | 261.933 | 6.137 | 260.25 | 11.161 | 889.867 | 50.64 | 26.1936
2019-04-14 13:30:00 | 6.317 | 274.607 | 6.562 | 276.704 | 6.839 | 282.267 | 7.188 | 278.833 | 12.382 | 889.85 | 42.576 | 29.0245
2019-04-14 13:45:00 | 7.034 | 255.92 | 7.495 | 259.086 | 7.475 | 264.7 | 7.802 | 260.467 | 12.651 | 889.55 | 41.413 | 39.882
2019-04-14 14:00:00 | 7.971 | 255.487 | 8.435 | 260.145 | 8.505 | 264.433 | 8.433 | 260.8 | 12.582 | 889.758 | 44.133 | 34.3737
2019-04-14 14:15:00 | 6.156 | 277.507 | 6.458 | 272.301 | 6.614 | 274.5 | 6.733 | 270.35 | 12.37 | 890.125 | 46.315 | 23.9496
2019-04-14 14:30:00 | 7.717 | 329.32 | 8.036 | 322.139 | 8.029 | 325.133 | 8.15 | 324.667 | 12.053 | 890.417 | 44.229 | 16.9769
2019-04-14 14:45:00 | 3.224 | 320.307 | 3.565 | 316.1 | 3.368 | 323.233 | 3.971 | 306.433 | 12.699 | 890.017 | 36.885 | 8.2277
2019-04-14 15:00:00 | 5.763 | 281.533 | 6.616 | 279.246 | 6.94 | 280.667 | 7.278 | 273.283 | 13.672 | 890 | 33.496 | 54.0578
2019-04-14 15:15:00 | 6.962 | 275.387 | 7.381 | 276.546 | 7.315 | 280.733 | 7.505 | 276.767 | 12.393 | 890.033 | 43.051 | 28.9769
2019-04-14 15:30:00 | 8.672 | 267.687 | 9.615 | 272.205 | 9.916 | 275.567 | 10.173 | 271.333 | 12.54 | 889.725 | 42.272 | 56.0665
2019-04-14 15:45:00 | 6.33 | 321.047 | 6.89 | 315.597 | 7.276 | 320.267 | 7.686 | 317.533 | 13.041 | 889.383 | 34.72 | 29.1744
2019-04-14 16:00:00 | 7.664 | 276.533 | 7.843 | 275.323 | 8 | 278.667 | 8.202 | 273.267 | 13.345 | 890.15 | 32.757 | 37.7979
2019-04-14 16:15:00 | 7.383 | 247.227 | 7.79 | 247.16 | 8.006 | 252.383 | 7.973 | 248.133 | 13.841 | 889.867 | 33.773 | 36.3938
2019-04-14 16:30:00 | 7.122 | 272.687 | 7.529 | 275.472 | 7.706 | 276.333 | 7.904 | 268.533 | 13.812 | 889.333 | 34.168 | 39.8159
2019-04-14 16:45:00 | 7.004 | 268.12 | 7.387 | 265.6 | 7.541 | 269.917 | 7.715 | 263.6 | 14.128 | 889.967 | 34.315 | 28.0255
2019-04-14 17:00:00 | 5.547 | 288.42 | 6.197 | 285.691 | 6.627 | 287.4 | 6.6 | 284.533 | 14.616 | 890.117 | 33.243 | 24.0164
2019-04-14 17:15:00 | 5.084 | 255.28 | 5.49 | 256.584 | 5.525 | 262.8 | 5.78 | 260.5 | 14.658 | 890.033 | 30.821 | 19.8909
2019-04-14 17:30:00 | 7.994 | 268.113 | 8.659 | 266.59 | 8.692 | 272.033 | 8.96 | 265.017 | 15.143 | 889.75 | 29.813 | 24.7192
2019-04-14 17:45:00 | 5.676 | 274.04 | 6.384 | 272.234 | 6.481 | 278.7 | 6.667 | 274.433 | 14.808 | 889.633 | 31.133 | 24.943
2019-04-14 18:00:00 | 8.234 | 246.221 | 8.867 | 273.769 | 9.019 | 213.533 | 9.308 | 261.4 | 14.941 | 889.917 | 32.203 | 26.9596
2019-04-14 18:15:00 | 5.901 | 282.48 | 6.324 | 348.098 | 6.356 | 315.733 | 6.66 | 314.6 | 14.437 | 889.483 | 33.795 | 25.1619
2019-04-14 18:30:00 | 6.729 | 165.654 | 7.519 | 337.712 | 7.297 | 269.5 | 7.938 | 313.867 | 14.383 | 890.033 | 34.952 | 21.7931
2019-04-14 18:45:00 | 5.438 | 336.32 | 5.522 | 327.413 | 5.696 | 331.4 | 6.203 | 329.467 | 14.324 | 889.817 | 32.875 | 9.852
2019-04-14 19:00:00 | 3.944 | 324.067 | 4.127 | 317.604 | 4.318 | 322.933 | 4.496 | 320.667 | 14.591 | 889.917 | 30.053 | 4.3544
2019-04-14 19:15:00 | 2.163 | 288.653 | 2.597 | 315.642 | 2.83 | 324.167 | 3.319 | 324.1 | 14.924 | 889.9 | 28.693 | 11.0117
2019-04-14 19:30:00 | 7.242 | 321.333 | 7.611 | 316.811 | 7.652 | 320.533 | 8.035 | 315.967 | 15.554 | 889.817 | 25.523 | 32.8097
2019-04-14 19:45:00 | 9.57 | 298.76 | 10.47 | 297.528 | 10.885 | 302.233 | 11.635 | 301.433 | 16.136 | 889.617 | 22.605 | 61.0469
2019-04-14 20:00:00 | 10.206 | 278.707 | 11.615 | 280.056 | 12.098 | 283.9 | 12.688 | 282.667 | 15.545 | 889.933 | 23.851 | 65.4943
2019-04-14 20:15:00 | 9.433 | 276.773 | 11.077 | 279.506 | 11.512 | 283.5 | 12.265 | 280.333 | 15.248 | 890.05 | 26.837 | 64.5521
2019-04-14 20:30:00 | 8.583 | 285.387 | 9.848 | 284.184 | 10.508 | 289.833 | 11.103 | 286.867 | 14.891 | 889.55 | 28.267 | 66.6753
2019-04-14 20:45:00 | 7.002 | 279.107 | 8.405 | 279.292 | 8.796 | 283.867 | 9.238 | 282.4 | 14.449 | 889.8 | 27.888 | 44.0402
2019-04-14 21:00:00 | 7.07 | 277.667 | 8.274 | 282.156 | 8.818 | 286.133 | 9.184 | 282.567 | 14.149 | 889.517 | 28.013 | 44.453
2019-04-14 21:15:00 | 6.461 | 274.72 | 7.95 | 276.95 | 8.228 | 282.833 | 8.68 | 280.133 | 14.262 | 889.5 | 28.592 | 36.5388
2019-04-14 21:30:00 | 5.81 | 270.173 | 7.296 | 273.104 | 8.094 | 278.833 | 8.491 | 275.667 | 13.66 | 890.133 | 29.264 | 37.7737
2019-04-14 21:45:00 | 6.501 | 276.547 | 7.487 | 278.092 | 7.796 | 282.767 | 8.335 | 280.333 | 13.399 | 889.767 | 30.339 | 31.3964
2019-04-14 22:00:00 | 5.544 | 274.68 | 6.357 | 274.525 | 6.568 | 281.8 | 7.068 | 281.233 | 13.395 | 889.6 | 30.829 | 26.4452
2019-04-14 22:15:00 | 5.31 | 269.507 | 6.759 | 272.26 | 7.174 | 278.967 | 7.934 | 276.333 | 12.799 | 889.717 | 32.024 | 36.8884
2019-04-14 22:30:00 | 6.06 | 273.233 | 7.641 | 276.291 | 8.341 | 282.433 | 9.047 | 280.5 | 12.724 | 889.483 | 33.547 | 39.2283
2019-04-14 22:45:00 | 6.621 | 273.353 | 8.217 | 278.216 | 8.886 | 282.467 | 9.402 | 280.367 | 12.436 | 889.417 | 34.885 | 48.6198
2019-04-14 23:00:00 | 7.18 | 268.187 | 8.434 | 276.107 | 8.985 | 279.6 | 9.276 | 277.167 | 12.486 | 889.717 | 36.005 | 41.507
2019-04-14 23:15:00 | 6.037 | 263.78 | 7.619 | 268.121 | 7.95 | 274.6 | 8.445 | 272.5 | 12.182 | 889.767 | 36.976 | 38.8097
2019-04-14 23:30:00 | 5.129 | 253.353 | 6.736 | 255.35 | 7.217 | 264.667 | 7.52 | 262.967 | 11.295 | 889.75 | 38.264 | 35.8424
2019-04-14 23:45:00 | 6.019 | 260.993 | 7.519 | 269.436 | 7.946 | 276.567 | 8.471 | 273.3 | 10.728 | 890 | 38.971 | 39.9424