## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-15 00:00:00 | 6.212 | 264.427 | 7.693 | 267.159 | 8.297 | 275.133 | 8.651 | 272 | 11.095 | 889.817 | 38.424 | 39.6525
2019-04-15 00:15:00 | 6.049 | 262.3 | 7.797 | 266.85 | 8.389 | 274.867 | 8.783 | 272.133 | 10.578 | 889.783 | 39.267 | 43.6963
2019-04-15 00:30:00 | 5.898 | 264.467 | 7.314 | 268.599 | 7.691 | 276.233 | 8.103 | 273.767 | 10.978 | 890.05 | 39.045 | 36.8031
2019-04-15 00:45:00 | 5.045 | 247.66 | 6.284 | 257.368 | 6.593 | 265.3 | 6.825 | 264.2 | 10.36 | 889.583 | 40.363 | 29.0956
2019-04-15 01:00:00 | 4.56 | 243.96 | 5.744 | 255.195 | 6.139 | 267.6 | 6.649 | 266.7 | 10.032 | 890.1 | 41.125 | 31.9904
2019-04-15 01:15:00 | 5.042 | 264.547 | 6.506 | 266.871 | 6.816 | 272.9 | 7.171 | 271.267 | 10.386 | 889.758 | 40.267 | 37.6082
2019-04-15 01:30:00 | 5.994 | 268.267 | 7.044 | 269.166 | 7.143 | 275.867 | 7.438 | 272.867 | 10.928 | 889.917 | 38.691 | 40.0404
2019-04-15 01:45:00 | 6.404 | 270.847 | 7.487 | 271.2 | 7.656 | 276.667 | 8.033 | 275.367 | 10.795 | 889.383 | 39.003 | 48.8316
2019-04-15 02:00:00 | 6.935 | 266.013 | 8.229 | 266.548 | 8.357 | 273.267 | 8.581 | 269.633 | 10.628 | 889.65 | 39.608 | 53.0502
2019-04-15 02:15:00 | 7.583 | 255.753 | 8.828 | 263.53 | 9.002 | 268.967 | 9.25 | 266.533 | 10.447 | 889.667 | 40.072 | 36.2716
2019-04-15 02:30:00 | 5.683 | 258.593 | 7.379 | 263.117 | 7.515 | 269.3 | 7.663 | 265.267 | 9.826 | 889.917 | 40.504 | 14.5062
2019-04-15 02:45:00 | 4.525 | 237.16 | 5.346 | 248.796 | 5.519 | 258.433 | 5.705 | 256.083 | 9.008 | 889.958 | 42.443 | 14.131
2019-04-15 03:00:00 | 5.845 | 219.713 | 6.63 | 228.231 | 6.182 | 236.533 | 5.795 | 234.2 | 7.716 | 889.858 | 46.208 | 19.3288
2019-04-15 03:15:00 | 5.886 | 223.967 | 7.124 | 230.076 | 6.878 | 238.233 | 6.801 | 235.5 | 7.239 | 889.483 | 47.531 | 24.0342
2019-04-15 03:30:00 | 5.185 | 216.033 | 7.138 | 221.19 | 7.623 | 230.733 | 7.498 | 228.933 | 7.356 | 889.833 | 47.851 | 31.3246
2019-04-15 03:45:00 | 6.224 | 221.367 | 7.677 | 226.769 | 7.82 | 234.967 | 7.573 | 232.8 | 6.789 | 890.142 | 47.701 | 31.1001
2019-04-15 04:00:00 | 5.686 | 225.86 | 7.455 | 233.055 | 7.346 | 241.867 | 7.287 | 238.267 | 6.904 | 889.758 | 47.893 | 31.7559
2019-04-15 04:15:00 | 5.809 | 238.4 | 7.359 | 241.598 | 7.668 | 248.8 | 7.557 | 244.533 | 7.139 | 889.8 | 46.411 | 30.2367
2019-04-15 04:30:00 | 6.332 | 224.407 | 7.871 | 229.562 | 7.678 | 238.667 | 7.276 | 236.3 | 6.213 | 889.758 | 48.971 | 27.29
2019-04-15 04:45:00 | 6.192 | 228.6 | 7.736 | 231.409 | 7.633 | 238.4 | 7.447 | 235.267 | 5.795 | 889.658 | 51.083 | 27.5984
2019-04-15 05:00:00 | 5.514 | 221.827 | 7.604 | 225.606 | 7.7 | 232.8 | 7.591 | 229.567 | 5.544 | 890.125 | 52.779 | 36.2268
2019-04-15 05:15:00 | 5.574 | 216.593 | 8.45 | 217.29 | 8.643 | 224.6 | 8.768 | 220.9 | 5.561 | 889.925 | 53.803 | 40.6565
2019-04-15 05:30:00 | 5.778 | 216.48 | 8.458 | 216.131 | 8.825 | 221.467 | 8.694 | 218.667 | 5.505 | 889.567 | 54.037 | 49.7112
2019-04-15 05:45:00 | 7.261 | 219.1 | 8.97 | 220.549 | 8.817 | 225.5 | 8.966 | 222.067 | 5.978 | 889.75 | 52.736 | 53.3103
2019-04-15 06:00:00 | 6.604 | 219.207 | 8.777 | 223.784 | 9.001 | 231.933 | 8.995 | 228.733 | 6.18 | 889.808 | 51.349 | 44.5987
2019-04-15 06:15:00 | 6.173 | 212.4 | 8.431 | 218.682 | 9.124 | 225.2 | 9.111 | 222.867 | 5.763 | 889.542 | 52.011 | 46.5734
2019-04-15 06:30:00 | 6.365 | 216.967 | 8.397 | 218.727 | 8.286 | 224.8 | 7.836 | 224.067 | 5.333 | 888.808 | 52.256 | 41.8034
2019-04-15 06:45:00 | 7.077 | 216.733 | 8.92 | 218.826 | 9.051 | 222.1 | 8.98 | 219.2 | 5.398 | 890.042 | 52.064 | 46.9898
2019-04-15 07:00:00 | 6.658 | 216.367 | 9.333 | 217.926 | 9.48 | 222.3 | 9.338 | 218.567 | 5.383 | 889.533 | 51.968 | 44.0097
2019-04-15 07:15:00 | 5.846 | 214.253 | 9.074 | 212.634 | 8.894 | 216.6 | 8.776 | 214.867 | 5.491 | 890.358 | 51.403 | 38.9042
2019-04-15 07:30:00 | 6.737 | 213.7 | 8.246 | 215.531 | 8.183 | 220.933 | 8.339 | 218.333 | 5.762 | 889.917 | 49.184 | 33.4052
2019-04-15 07:45:00 | 5.728 | 208.22 | 8.141 | 209.42 | 7.929 | 213.267 | 7.788 | 212.1 | 6.254 | 889.533 | 46.773 | 26.9049
2019-04-15 08:00:00 | 5.761 | 211.733 | 7.257 | 206.025 | 6.944 | 210.967 | 7.27 | 211.5 | 7.372 | 889.667 | 44.277 | 19.2684
2019-04-15 08:15:00 | 4.051 | 214.1 | 5.549 | 208.24 | 6.001 | 211.4 | 6.32 | 209.3 | 8.624 | 890.017 | 41.301 | 13.5242
2019-04-15 08:30:00 | 4.654 | 215.033 | 6.444 | 211.977 | 6.914 | 214.367 | 7.058 | 212.167 | 9.716 | 890.05 | 39.147 | 20.1908
2019-04-15 08:45:00 | 4.913 | 215.467 | 5.959 | 213.193 | 6.611 | 214.8 | 7.411 | 211.133 | 11.045 | 890.267 | 36.891 | 20.4629
2019-04-15 09:00:00 | 6.274 | 220.133 | 6.539 | 217.65 | 7.052 | 219.467 | 7.492 | 214.6 | 12.48 | 889.567 | 34.459 | 18.1713
2019-04-15 09:15:00 | 5.582 | 219.093 | 5.91 | 215.83 | 6.073 | 217.433 | 6.602 | 213.4 | 12.759 | 889.717 | 32.539 | 12.5678
2019-04-15 09:30:00 | 5.718 | 216.087 | 5.717 | 213.882 | 5.862 | 216.4 | 6.018 | 213.033 | 13.824 | 889.983 | 29.899 | 5.7051
2019-04-15 09:45:00 | 3.898 | 217.873 | 3.967 | 217.177 | 4.143 | 219.033 | 4.267 | 214.967 | 14.817 | 889.583 | 26.171 | 1.8176
2019-04-15 10:00:00 | 2.753 | 244.4 | 2.803 | 240.509 | 2.779 | 247.317 | 3.197 | 244.883 | 16 | 889.75 | 22.72 | 1.0374
2019-04-15 10:15:00 | 3.71 | 249.733 | 3.776 | 251.281 | 3.925 | 255.933 | 4.216 | 252.367 | 16.481 | 889.467 | 19.283 | 2.5119
2019-04-15 10:30:00 | 4.339 | 282.48 | 4.449 | 277.39 | 4.552 | 281.1 | 4.766 | 274.383 | 15.53 | 889.6 | 17.519 | 2.7677
2019-04-15 10:45:00 | 2.803 | 294.68 | 2.858 | 288.268 | 3.028 | 294.767 | 3.388 | 287.767 | 15.34 | 889.733 | 19.108 | 1.9562
2019-04-15 11:00:00 | 2.178 | 274.987 | 2.47 | 287.378 | 2.393 | 292.467 | 2.586 | 284.633 | 16.631 | 889.633 | 17.739 | 1.0452
2019-04-15 11:15:00 | 3.745 | 306.253 | 3.67 | 298.05 | 3.828 | 303.9 | 3.989 | 299.467 | 16.614 | 889.667 | 16.356 | 3.1819
2019-04-15 11:30:00 | 3.536 | 331.093 | 3.788 | 329.629 | 3.723 | 334.1 | 4.067 | 333.733 | 16.498 | 889.633 | 16.773 | 4.3494
2019-04-15 11:45:00 | 4.349 | 313.08 | 4.442 | 307.197 | 4.32 | 312.683 | 4.705 | 311.467 | 16.764 | 889.367 | 15.372 | 1.5028
2019-04-15 12:00:00 | 3.003 | 78.938 | 2.774 | 123.715 | 2.84 | 230.167 | 2.946 | 244.667 | 17.223 | 889.5 | 15.288 | 0.24586
2019-04-15 12:15:00 | 2.561 | 309.4 | 2.583 | 313.717 | 2.376 | 323.767 | 2.95 | 312.501 | 17.589 | 889.167 | 15.887 | 0.18972
2019-04-15 12:30:00 | 2.653 | 134.896 | 2.298 | 126.651 | 1.968 | 194.133 | 2.57 | 180.102 | 17.994 | 889.533 | 15.757 | 0.22951
2019-04-15 12:45:00 | 2.345 | 92.42 | 2.542 | 169.148 | 2.363 | 199.433 | 2.786 | 183.1 | 18.089 | 889.033 | 16.4 | 0.16911
2019-04-15 13:00:00 | 2.849 | 75.998 | 2.461 | 69.86 | 1.723 | 78.9 | 1.966 | 77 | 18.573 | 889.533 | 15.371 | 0.10943
2019-04-15 13:15:00 | 2.732 | 88.378 | 2.957 | 62.401 | 2.682 | 55.567 | 3.158 | 41.4 | 19.239 | 889.9 | 14.843 | 0.080294
2019-04-15 13:30:00 | 2.549 | 78.822 | 2.493 | 81.411 | 2.141 | 76.867 | 2.5 | 77.533 | 19.352 | 889.867 | 14.884 | 0.2018
2019-04-15 13:45:00 | 2.431 | 76.283 | 2.263 | 61.51 | 2.347 | 65.167 | 2.832 | 60.3 | 19.394 | 889.567 | 14.989 | 0.28494
2019-04-15 14:00:00 | 3.046 | 273.137 | 2.997 | 274.84 | 2.836 | 289.533 | 2.821 | 334.733 | 19.835 | 889.433 | 14.411 | 0.21885
2019-04-15 14:15:00 | 0.92 | 153.387 | 0.737 | 155.972 | 1.055 | 122.004 | 2.225 | 85.9 | 20.302 | 889.567 | 14.097 | 0.32473
2019-04-15 14:30:00 | 1.37 | 131.057 | 1.46 | 157.307 | 1.474 | 309.5 | 1.994 | 320.15 | 20.339 | 889.667 | 13.388 | 0.40786
2019-04-15 14:45:00 | 2.547 | 243.767 | 2.122 | 257.07 | 1.64 | 271.417 | 2.546 | 266.65 | 21.26 | 889.5 | 12.743 | 1.6769
2019-04-15 15:00:00 | 3.879 | 263.577 | 3.958 | 270.773 | 3.841 | 252.433 | 3.82 | 241.233 | 21.023 | 889.2 | 12.893 | 1.2208
2019-04-15 15:15:00 | 3.829 | 142.531 | 3.623 | 168.45 | 3.967 | 113.534 | 3.972 | 88.067 | 21.344 | 889.367 | 12.611 | 0.93582
2019-04-15 15:30:00 | 3.367 | 82.285 | 2.803 | 42.607 | 2.45 | 33.971 | 2.764 | 24.3 | 22.018 | 889.4 | 12.445 | 0.2352
2019-04-15 15:45:00 | 3.105 | 52.369 | 3.042 | 84.059 | 2.81 | 63.067 | 2.785 | 54.402 | 21.61 | 889.533 | 12.375 | 0.20393
2019-04-15 16:00:00 | 3.43 | 65.633 | 3.674 | 163.188 | 3.668 | 131.138 | 3.683 | 130.234 | 22.514 | 889.567 | 11.905 | 0.67717
2019-04-15 16:15:00 | 3.062 | 48.974 | 3.029 | 62.201 | 2.881 | 37.3 | 3.076 | 30.233 | 22.089 | 889.4 | 11.727 | 0.24017
2019-04-15 16:30:00 | 1.492 | 186.47 | 0.773 | 132.491 | 0.941 | 149.676 | 1.238 | 198.433 | 22.244 | 889.433 | 11.649 | 0.23875
2019-04-15 16:45:00 | 1.302 | 117.858 | 0.84 | 117.465 | 0.633 | 105.35 | 1.633 | 174 | 23.814 | 889.5 | 10.867 | 0.76031
2019-04-15 17:00:00 | 1.282 | 79.322 | 0.667 | 81.517 | 0.446 | 85.4 | 0.63 | 70.5 | 23.098 | 889.267 | 11.28 | 0.68285
2019-04-15 17:15:00 | 3.912 | 95.547 | 4.019 | 86.529 | 4.168 | 93.333 | 4.352 | 88.5 | 23.823 | 889.767 | 10.976 | 0.58977
2019-04-15 17:30:00 | 0.997 | 54.903 | 0.65 | 149.443 | 0.913 | 23.133 | 2.086 | 27.933 | 23.314 | 889.233 | 10.801 | 1.1945
2019-04-15 17:45:00 | 1.635 | 290.68 | 0.777 | 257.739 | 0.3 | 258.392 | 0.88 | 254.133 | 23.481 | 889 | 10.381 | 0.35386
2019-04-15 18:00:00 | 4.547 | 292.947 | 5.03 | 287.871 | 4.956 | 288.967 | 5.236 | 285.267 | 24.339 | 889.067 | 7.175 | 0.7532
2019-04-15 18:15:00 | 4.009 | 199.626 | 4.057 | 187.459 | 3.758 | 95.933 | 3.672 | 49.167 | 24.16 | 889.067 | 10.144 | 0.6992
2019-04-15 18:30:00 | 3.18 | 152.17 | 3.113 | 233.026 | 3.135 | 204.467 | 3.381 | 248.667 | 24.373 | 888.933 | 9.552 | 0.491
2019-04-15 18:45:00 | 5.952 | 276.713 | 6.316 | 266.566 | 6.265 | 273.067 | 6.085 | 267.933 | 24.373 | 888.933 | 7.881 | 2.256
2019-04-15 19:00:00 | 4.948 | 324.333 | 5.203 | 319.969 | 5.294 | 318.9 | 5.585 | 315.167 | 24.056 | 889 | 8.428 | 4.0509
2019-04-15 19:15:00 | 1.366 | 70.051 | 1.077 | 116.799 | 1.517 | 53.633 | 2.035 | 53.233 | 23.789 | 889.267 | 10.287 | 4.4808
2019-04-15 19:30:00 | 3.148 | 78.3 | 3.134 | 72.925 | 3.209 | 82.167 | 3.357 | 78.433 | 23.298 | 889.6 | 10.691 | 2.5005
2019-04-15 19:45:00 | 0.113 | 69.273 | 0 | 72.731 | 0 | 78.633 | 0.08 | 71.867 | 22.814 | 889.7 | 11.325 | 3.5756
2019-04-15 20:00:00 | 4.366 | 261.96 | 4.499 | 259.173 | 4.815 | 263.583 | 5.09 | 256.95 | 22.914 | 889.367 | 12.333 | 8.104
2019-04-15 20:15:00 | 5.562 | 259.1 | 6.646 | 256.806 | 6.901 | 261.767 | 7.043 | 256.867 | 22.139 | 889.6 | 13.471 | 15.1628
2019-04-15 20:30:00 | 5.142 | 253.42 | 6.101 | 250.591 | 6.428 | 255.417 | 6.56 | 249.883 | 21.606 | 889.167 | 14.652 | 24.1891
2019-04-15 20:45:00 | 5.702 | 252.3 | 6.696 | 251.017 | 7.312 | 255.667 | 7.678 | 251.067 | 21.039 | 889.5 | 16.933 | 23.9987
2019-04-15 21:00:00 | 5.201 | 243.987 | 6.099 | 242.245 | 6.541 | 247.967 | 6.803 | 241.933 | 20.244 | 889.6 | 17.869 | 43.1676
2019-04-15 21:15:00 | 7.779 | 244.313 | 8.718 | 241.791 | 9.723 | 246.2 | 10.098 | 240.933 | 19.623 | 889.267 | 18.752 | 29.7877
2019-04-15 21:30:00 | 6.562 | 243.833 | 7.95 | 239.709 | 8.507 | 243.567 | 8.701 | 235.633 | 19.148 | 889.8 | 19.507 | 16.4674
2019-04-15 21:45:00 | 7.101 | 235.44 | 8.284 | 232.934 | 9.043 | 238.6 | 9.317 | 231.867 | 18.652 | 889.533 | 20.112 | 21.0996
2019-04-15 22:00:00 | 6.728 | 230.027 | 8.27 | 227.244 | 8.862 | 231.567 | 8.932 | 225.1 | 18.273 | 889.683 | 20.328 | 28.5555
2019-04-15 22:15:00 | 5.999 | 229.693 | 7.018 | 225.954 | 7.946 | 229.433 | 8.496 | 223.367 | 17.86 | 889.75 | 20.523 | 50.7757
2019-04-15 22:30:00 | 7.425 | 223.453 | 8.768 | 222.811 | 9.676 | 226.6 | 10.3 | 221.533 | 18.002 | 889.75 | 20.517 | 59.8951
2019-04-15 22:45:00 | 7.767 | 220.147 | 8.896 | 217.908 | 9.84 | 222.433 | 10.262 | 218.5 | 17.956 | 889.833 | 20.539 | 60.4735
2019-04-15 23:00:00 | 7.248 | 221.167 | 8.352 | 220.066 | 9.448 | 225.567 | 9.953 | 222.133 | 17.844 | 889.333 | 20.971 | 62.5334
2019-04-15 23:15:00 | 7.039 | 226.787 | 8.441 | 225.637 | 9.422 | 229.833 | 9.997 | 225.433 | 17.594 | 889.95 | 21.573 | 58.4995
2019-04-15 23:30:00 | 6.8 | 230.353 | 7.837 | 226.065 | 8.759 | 232.5 | 9.191 | 227.5 | 17.256 | 889.733 | 21.877 | 59.4666
2019-04-15 23:45:00 | 5.729 | 223.433 | 7.007 | 222.751 | 7.964 | 227.367 | 8.525 | 225.567 | 17.418 | 889.1 | 22.213 | 60.2454