## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-16 00:00:00 | 6.389 | 229.133 | 7.772 | 229.853 | 8.652 | 236.467 | 9.092 | 230.967 | 16.948 | 889.733 | 22.624 | 53.9974
2019-04-16 00:15:00 | 6.365 | 233.227 | 7.734 | 232.94 | 8.975 | 238.633 | 9.65 | 231.333 | 17.239 | 889.75 | 22.784 | 70.1905
2019-04-16 00:30:00 | 7.679 | 226.033 | 9.66 | 224.806 | 11.237 | 231.167 | 11.844 | 226.5 | 16.998 | 889.867 | 23.243 | 79.0335
2019-04-16 00:45:00 | 7.743 | 226.513 | 9.817 | 226.327 | 11.011 | 232.467 | 11.491 | 226.467 | 16.831 | 889.767 | 24.096 | 78.8004
2019-04-16 01:00:00 | 7.97 | 226.593 | 9.837 | 225.962 | 11.356 | 231.533 | 11.726 | 227.267 | 16.464 | 889.733 | 24.272 | 78.092
2019-04-16 01:15:00 | 7.509 | 224.913 | 9.57 | 224.14 | 10.976 | 229.633 | 11.71 | 225.267 | 16.464 | 889.55 | 24.768 | 79.4023
2019-04-16 01:30:00 | 8.044 | 223.947 | 9.95 | 222.842 | 11.307 | 228.233 | 11.779 | 223.733 | 16.176 | 890.083 | 25.003 | 78.1637
2019-04-16 01:45:00 | 8.4 | 226.313 | 10.26 | 225.161 | 11.702 | 229.467 | 12.172 | 224.367 | 16.21 | 890.25 | 25.067 | 78.0799
2019-04-16 02:00:00 | 8.163 | 228.927 | 10.087 | 228.864 | 11.028 | 233.467 | 11.531 | 228.567 | 16.564 | 889.85 | 24.981 | 78.4537
2019-04-16 02:15:00 | 7.915 | 229.02 | 10.044 | 227.661 | 11.325 | 232.433 | 11.903 | 227.233 | 15.956 | 889.883 | 25.685 | 79.646
2019-04-16 02:30:00 | 7.275 | 228.36 | 9.122 | 227.703 | 10.301 | 232.8 | 11.084 | 227.367 | 15.825 | 889.617 | 25.877 | 78.5318
2019-04-16 02:45:00 | 7.38 | 228.587 | 9.097 | 225.68 | 10.61 | 230.067 | 11.322 | 226 | 16.162 | 889.65 | 25.925 | 78.5354
2019-04-16 03:00:00 | 7.61 | 225.073 | 9.398 | 222.188 | 11.116 | 228.1 | 12.185 | 223.967 | 15.994 | 889.7 | 25.92 | 78.9717
2019-04-16 03:15:00 | 7.326 | 227.773 | 9.108 | 226.133 | 10.838 | 230.9 | 11.901 | 226.6 | 16.426 | 889.85 | 25.861 | 78.1062
2019-04-16 03:30:00 | 6.799 | 226.633 | 9.244 | 226.058 | 11.2 | 231.1 | 12.28 | 225.2 | 15.59 | 887.15 | 26.555 | 77.4468
2019-04-16 03:45:00 | 8.199 | 225.533 | 10.508 | 225.923 | 12.5 | 229.667 | 13.403 | 224.833 | 15.034 | 871.133 | 26.917 | 78.6562
2019-04-16 04:00:00 | 8.171 | 226.287 | 10.384 | 226.94 | 12.64 | 230.733 | 13.99 | 225.633 | 15.304 | 861.717 | 27.109 | 74.4923
2019-04-16 04:15:00 | 8.726 | 225.5 | 10.859 | 225.06 | 12.663 | 229.867 | 14.178 | 224.2 | 15.022 | 863.6 | 27.056 | 70.6744
2019-04-16 04:30:00 | 8.31 | 221.633 | 10.821 | 222.619 | 12.494 | 226.567 | 13.877 | 222.533 | 15.458 | 862.633 | 27.157 | 66.2518
2019-04-16 04:45:00 | 7.043 | 218.5 | 9.004 | 217.343 | 10.945 | 222.8 | 12.198 | 219.233 | 15.138 | 864.467 | 27.483 | 64.491
2019-04-16 05:00:00 | 7.921 | 220.153 | 10.061 | 220.357 | 12.06 | 224.567 | 13.389 | 220.267 | 15.254 | 861.317 | 27.173 | 64.5088
2019-04-16 05:15:00 | 6.796 | 215.387 | 9.458 | 215.24 | 11.458 | 220.9 | 12.772 | 217.867 | 15.756 | 863.067 | 26.32 | 62.6642
2019-04-16 05:30:00 | 5.553 | 219.147 | 8.401 | 217.55 | 10.777 | 220.9 | 12.276 | 217.5 | 15.62 | 861.883 | 26 | 53.6904
2019-04-16 05:45:00 | 1.122 | 179.093 | 1.274 | 329.871 | 1.524 | 324.9 | 2.099 | 284.583 | 15.123 | 861.983 | 27.237 | 37.8057
2019-04-16 06:00:00 | 1.824 | 301.853 | 2.075 | 300.29 | 2.449 | 301.033 | 2.823 | 299.733 | 15.056 | 861.8 | 27.677 | 32.7266
2019-04-16 06:15:00 | 3.368 | 308.573 | 3.354 | 303.84 | 3.316 | 308.033 | 2.93 | 305.9 | 15.078 | 861.767 | 27.187 | 23.4501
2019-04-16 06:30:00 | 3.687 | 299.48 | 3.692 | 292.026 | 3.745 | 289.95 | 3.697 | 281.067 | 15.636 | 862.15 | 26.387 | 6.1819
2019-04-16 06:45:00 | 2.832 | 249.94 | 2.927 | 309.478 | 3.076 | 316.067 | 3.322 | 308.767 | 15.806 | 861.7 | 26.117 | 0.64377
2019-04-16 07:00:00 | 2.323 | 239.513 | 2.222 | 233.878 | 3.024 | 240.183 | 3.555 | 241.25 | 15.376 | 861.667 | 26.699 | 3.8975
2019-04-16 07:15:00 | 1.598 | 289.147 | 0.76 | 246.107 | 1.77 | 288.717 | 3.065 | 266.783 | 15.294 | 861.433 | 27.395 | 5.1601
2019-04-16 07:30:00 | 3.778 | 278.12 | 4.575 | 273.434 | 4.773 | 275.917 | 5.02 | 267.267 | 15.917 | 862.05 | 26.285 | 5.2525
2019-04-16 07:45:00 | 4.995 | 255.393 | 5.478 | 250.296 | 5.783 | 256.483 | 6.039 | 250.15 | 16.43 | 861.75 | 25.179 | 7.0339
2019-04-16 08:00:00 | 3.764 | 235.52 | 4.11 | 238.257 | 4.438 | 249.133 | 4.743 | 248.633 | 17.132 | 873.833 | 24.117 | 12.7113
2019-04-16 08:15:00 | 4.018 | 232.047 | 4.366 | 232.778 | 4.594 | 242.2 | 4.792 | 242.55 | 17.989 | 889.583 | 22.784 | 12.766
2019-04-16 08:30:00 | 2.396 | 237.133 | 2.464 | 241.554 | 2.173 | 260.433 | 2.489 | 307.3 | 17.794 | 889.567 | 21.595 | 3.3404
2019-04-16 08:45:00 | 0.879 | 122.412 | 0.966 | 77.426 | 1.32 | 25.967 | 1.586 | 20.767 | 18.098 | 889.417 | 21.307 | 1.9555
2019-04-16 09:00:00 | 1.743 | 288.533 | 1.574 | 285.794 | 1.84 | 285.3 | 2.748 | 264.1 | 18.198 | 889.717 | 20.205 | 4.9882
2019-04-16 09:15:00 | 3.356 | 291.067 | 3.212 | 335.861 | 3.031 | 325.233 | 3.114 | 341.4 | 18.723 | 889.567 | 19.527 | 3.1272
2019-04-16 09:30:00 | 4.041 | 82.547 | 4.096 | 340.434 | 4.121 | 282 | 4.239 | 351.467 | 18.556 | 889.6 | 19.244 | 3.7497
2019-04-16 09:45:00 | 3.608 | 258.88 | 3.935 | 314.665 | 3.744 | 199.6 | 4.034 | 282.2 | 18.573 | 889.167 | 18.844 | 1.6968
2019-04-16 10:00:00 | 2.199 | 95.436 | 2.144 | 236.676 | 2.057 | 72.669 | 2.392 | 37.8 | 19.248 | 889.233 | 18.437 | 0.090242
2019-04-16 10:15:00 | 2.276 | 86.815 | 2.302 | 120.757 | 2.385 | 88.433 | 2.556 | 77.6 | 20.206 | 889.767 | 17.424 | 0.14211
2019-04-16 10:30:00 | 2.737 | 156.925 | 2.544 | 166.228 | 2.692 | 73.301 | 2.799 | 63.201 | 20.039 | 889.467 | 17.609 | 0.18972
2019-04-16 10:45:00 | 2.493 | 12.729 | 2.338 | 19.99 | 2.336 | 13.9 | 2.569 | 10.133 | 20.006 | 889.867 | 17.781 | 0.094505
2019-04-16 11:00:00 | 2.627 | 27.447 | 2.714 | 23.333 | 2.454 | 35.767 | 2.663 | 32.567 | 20.735 | 889.567 | 16.84 | 0.20393
2019-04-16 11:15:00 | 2.967 | 40.632 | 2.698 | 63.785 | 2.753 | 34.167 | 2.955 | 29.733 | 21.26 | 889.8 | 16.517 | 0.2892
2019-04-16 11:30:00 | 3.364 | 18.277 | 3.235 | 14.875 | 3.508 | 19.133 | 3.661 | 16.9 | 21.731 | 889.633 | 16.072 | 2.0045
2019-04-16 11:45:00 | 3.556 | 33.642 | 3.69 | 32.456 | 3.703 | 25 | 3.704 | 19.2 | 21.948 | 889.4 | 15.995 | 1.0346
2019-04-16 12:00:00 | 3.458 | 87.513 | 3.37 | 165.706 | 3.396 | 130.533 | 3.428 | 59.8 | 22.273 | 889.7 | 16.001 | 3.1116
2019-04-16 12:15:00 | 4.667 | 163.003 | 4.452 | 185.657 | 4.547 | 186.533 | 4.699 | 206.2 | 22.781 | 889.567 | 15.731 | 5.6376
2019-04-16 12:30:00 | 3.787 | 258.767 | 3.928 | 310.585 | 4.178 | 315.333 | 4.288 | 314.467 | 22.464 | 889.333 | 15.245 | 11.1587
2019-04-16 12:45:00 | 6.051 | 333.627 | 6.076 | 326.54 | 6.132 | 333.633 | 6.339 | 331.333 | 23.098 | 889.567 | 14.891 | 15.943
2019-04-16 13:00:00 | 6.803 | 307.333 | 6.964 | 324.307 | 7.155 | 319.833 | 7.298 | 318.967 | 22.614 | 889.633 | 14.735 | 11.8487
2019-04-16 13:15:00 | 4.058 | 305.3 | 4.31 | 311.69 | 4.411 | 280.467 | 4.722 | 306.3 | 22.948 | 889.5 | 14.532 | 16.3224
2019-04-16 13:30:00 | 6.184 | 253.157 | 6.294 | 256.088 | 6.286 | 268.6 | 6.562 | 257.1 | 23.081 | 889.333 | 14.569 | 20.6789
2019-04-16 13:45:00 | 5.633 | 279.239 | 5.75 | 305.741 | 5.632 | 306.933 | 5.731 | 327.867 | 23.131 | 889.4 | 14.847 | 16.7644
2019-04-16 14:00:00 | 5.077 | 316.933 | 5.191 | 310.737 | 5.304 | 316.633 | 5.43 | 319.033 | 23.702 | 889.667 | 14.061 | 19.1889
2019-04-16 14:15:00 | 7.34 | 291.487 | 7.808 | 288.521 | 8.199 | 294.1 | 8.695 | 290.667 | 24.535 | 889.867 | 13.313 | 40.7247
2019-04-16 14:30:00 | 13.406 | 285.747 | 14.06 | 284.913 | 14.468 | 288.1 | 15.01 | 283.6 | 24.814 | 889.5 | 13.549 | 55.0241
2019-04-16 14:45:00 | 12.18 | 284.427 | 13.115 | 278.394 | 13.322 | 284.033 | 13.601 | 280.533 | 24.452 | 888.933 | 13.113 | 53.0708
2019-04-16 15:00:00 | 11.646 | 280.067 | 13.16 | 275.26 | 13.393 | 279.467 | 13.799 | 276.8 | 24.814 | 889.333 | 13.097 | 51.9915
2019-04-16 15:15:00 | 10.667 | 278.093 | 11.533 | 275.812 | 11.928 | 279.4 | 11.97 | 275.867 | 25.018 | 889.6 | 12.667 | 52.464
2019-04-16 15:30:00 | 11.564 | 281.1 | 12.585 | 279.829 | 13.206 | 284.033 | 13.196 | 279.617 | 25.044 | 889.567 | 12.084 | 52.0845
2019-04-16 15:45:00 | 13.244 | 291.747 | 14.342 | 287.99 | 14.623 | 293.667 | 14.957 | 292.4 | 24.898 | 889.167 | 11.444 | 53.0779
2019-04-16 16:00:00 | 12.64 | 290.907 | 13.44 | 289.418 | 13.82 | 294.5 | 14.378 | 291.567 | 24.452 | 889.367 | 10.972 | 51.9595
2019-04-16 16:15:00 | 13.456 | 294.427 | 14.462 | 291.068 | 14.984 | 297.467 | 15.424 | 294.4 | 24.452 | 889.433 | 10.785 | 51.8934
2019-04-16 16:30:00 | 12.502 | 281.187 | 13.718 | 278.156 | 14.039 | 282.667 | 14.357 | 280.4 | 24.227 | 889.6 | 10.56 | 53.274
2019-04-16 16:45:00 | 15.627 | 303.333 | 17.164 | 298.37 | 17.482 | 304.667 | 18.485 | 302.1 | 24.735 | 889.667 | 10.605 | 56.6556
2019-04-16 17:00:00 | 15.246 | 298.627 | 16.774 | 293.809 | 17.02 | 298.867 | 17.542 | 298.233 | 23.827 | 889.333 | 11 | 59.2613
2019-04-16 17:15:00 | 16.067 | 297.573 | 17.473 | 291.668 | 18.061 | 296.6 | 18.849 | 292.8 | 24.01 | 889.167 | 13.129 | 64.3667
2019-04-16 17:30:00 | 15.529 | 285.04 | 16.969 | 284.212 | 17.44 | 289.267 | 18.008 | 285.1 | 23.518 | 888.833 | 15.604 | 66.3648
2019-04-16 17:45:00 | 15.262 | 292.44 | 17.279 | 286.578 | 17.788 | 291.2 | 18.282 | 289.1 | 23.281 | 889.3 | 15.041 | 68.0382
2019-04-16 18:00:00 | 12.58 | 319.347 | 13.388 | 315.026 | 13.953 | 321.1 | 14.176 | 320.333 | 22.123 | 889.233 | 20.099 | 61.6559
2019-04-16 18:15:00 | 13.846 | 324.36 | 14.716 | 318.505 | 15.152 | 322.933 | 15.637 | 323.5 | 21.031 | 889.9 | 22.939 | 67.1166
2019-04-16 18:30:00 | 13.495 | 316.147 | 14.672 | 311.51 | 15.117 | 317.7 | 15.589 | 316.5 | 20.948 | 889.767 | 23.693 | 67.7632
2019-04-16 18:45:00 | 12.594 | 316.853 | 13.696 | 311.733 | 14.231 | 316.967 | 14.779 | 315.667 | 20.327 | 889.733 | 24.349 | 68.5214
2019-04-16 19:00:00 | 11.33 | 310.8 | 12.855 | 304.495 | 13.298 | 309.667 | 14.137 | 308.033 | 20.274 | 888.6 | 24.307 | 69.1253
2019-04-16 19:15:00 | 9.915 | 311.747 | 11.07 | 307.059 | 11.493 | 312.467 | 12.11 | 310.967 | 19.718 | 889.717 | 25.608 | 69.8295
2019-04-16 19:30:00 | 11.032 | 308.987 | 11.467 | 306.045 | 12.045 | 310.633 | 12.494 | 310.033 | 19.202 | 889.733 | 26.96 | 70.0832
2019-04-16 19:45:00 | 12.246 | 307.933 | 13.265 | 305.664 | 13.678 | 310.967 | 14.226 | 307.833 | 18.423 | 890.167 | 28.261 | 70.6786
2019-04-16 20:00:00 | 14.086 | 286.067 | 16.043 | 285.632 | 16.861 | 290.233 | 17.79 | 289.033 | 18.418 | 889.617 | 30.317 | 70.2509
2019-04-16 20:15:00 | 14.198 | 277.42 | 15.781 | 280.543 | 16.095 | 285.467 | 16.634 | 283.567 | 17.76 | 889.633 | 33.301 | 70.7462
2019-04-16 20:30:00 | 12.059 | 274.373 | 13.597 | 274.522 | 14.01 | 277.6 | 14.668 | 276.2 | 17.314 | 889.717 | 34.805 | 70.7497
2019-04-16 20:45:00 | 11.29 | 268.653 | 12.906 | 271.501 | 13.246 | 275.433 | 13.922 | 273.6 | 16.814 | 889.65 | 35.856 | 70.7262
2019-04-16 21:00:00 | 11.362 | 263.447 | 13.256 | 267.204 | 14.021 | 273.2 | 14.429 | 268.1 | 16.414 | 889.533 | 35.955 | 70.5451
2019-04-16 21:15:00 | 10.739 | 265.073 | 12.496 | 269.44 | 13.061 | 272.267 | 13.554 | 268.733 | 16.115 | 889.767 | 36.469 | 70.1308
2019-04-16 21:30:00 | 10.756 | 262.967 | 12.574 | 266.921 | 13.26 | 271.733 | 13.906 | 268.783 | 15.68 | 889.9 | 37.317 | 70.2061
2019-04-16 21:45:00 | 12.002 | 263.573 | 14.046 | 266.575 | 14.598 | 271.433 | 14.943 | 268.1 | 15.462 | 889.783 | 38.059 | 70.2516
2019-04-16 22:00:00 | 11.68 | 266.167 | 13.038 | 267.684 | 13.735 | 273 | 14.197 | 270.533 | 15.371 | 890.067 | 38.909 | 68.6606
2019-04-16 22:15:00 | 7.83 | 262.433 | 8.822 | 262.848 | 9.589 | 266.883 | 10.041 | 262.533 | 14.741 | 890.15 | 39.283 | 66.6114
2019-04-16 22:30:00 | 7.466 | 263.1 | 8.434 | 263.01 | 8.815 | 269.033 | 9.234 | 265.867 | 15.188 | 889.567 | 39.915 | 68.8148
2019-04-16 22:45:00 | 7.608 | 248.76 | 8.508 | 253.981 | 8.762 | 258.8 | 9.096 | 253.417 | 14.691 | 889.567 | 40.341 | 70.096
2019-04-16 23:00:00 | 8.414 | 241.447 | 9.397 | 243.046 | 9.989 | 250.717 | 9.862 | 247.15 | 14.487 | 889.742 | 41.184 | 72.9468
2019-04-16 23:15:00 | 9.898 | 251.053 | 11.06 | 250.095 | 11.384 | 255.133 | 11.78 | 251.283 | 14.328 | 889.458 | 41.371 | 73.3013
2019-04-16 23:30:00 | 10.112 | 256.927 | 11.488 | 257.908 | 12.014 | 262.467 | 12.465 | 257.917 | 14.212 | 889.875 | 40.992 | 73.4676
2019-04-16 23:45:00 | 10.92 | 254.547 | 12.133 | 254.204 | 12.673 | 259.7 | 12.853 | 253.917 | 13.566 | 890.092 | 40.739 | 72.5446