## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-17 00:00:00 | 9.091 | 251.153 | 10.567 | 252.333 | 10.996 | 256.767 | 11.126 | 252.633 | 13.82 | 890.242 | 42.123 | 67.2175
2019-04-17 00:15:00 | 8.945 | 257.46 | 10.306 | 259.461 | 10.87 | 264.033 | 11.142 | 260.467 | 13.516 | 889.958 | 42.875 | 64.6083
2019-04-17 00:30:00 | 9.979 | 258.613 | 11.433 | 260.176 | 12.01 | 267.1 | 12.217 | 260.417 | 13.681 | 889.908 | 42.763 | 58.3382
2019-04-17 00:45:00 | 8.399 | 258.333 | 9.569 | 260.28 | 9.989 | 266.9 | 10.373 | 264.65 | 13.31 | 890.267 | 42.507 | 61.0604
2019-04-17 01:00:00 | 9.568 | 251.893 | 10.998 | 254.389 | 11.289 | 260 | 11.718 | 256.183 | 13.176 | 889.667 | 42.107 | 63.887
2019-04-17 01:15:00 | 8.682 | 245.76 | 10.242 | 252.189 | 10.815 | 258.633 | 11.397 | 255.8 | 13.053 | 889.708 | 42.021 | 56.8823
2019-04-17 01:30:00 | 8.137 | 240.8 | 9.158 | 245.753 | 9.806 | 253.433 | 9.955 | 249.617 | 12.58 | 889.55 | 42.171 | 50.4126
2019-04-17 01:45:00 | 7.384 | 232.227 | 8.533 | 236.921 | 8.876 | 245.333 | 8.817 | 241.217 | 12.67 | 889.642 | 42.891 | 43.2358
2019-04-17 02:00:00 | 5.351 | 227.36 | 6.365 | 227.549 | 6.94 | 235.9 | 7.331 | 233.067 | 12.24 | 889.517 | 44.395 | 48.8522
2019-04-17 02:15:00 | 7.029 | 235.607 | 7.956 | 240.252 | 8.239 | 246.867 | 8.34 | 244.183 | 11.724 | 889.808 | 44.811 | 54.3875
2019-04-17 02:30:00 | 6.312 | 236.66 | 7.472 | 242.055 | 8.072 | 247.767 | 8.195 | 244.717 | 11.678 | 889.808 | 45.056 | 54.951
2019-04-17 02:45:00 | 7.692 | 237.2 | 8.528 | 241.894 | 9.022 | 250.367 | 9.238 | 246.233 | 11.599 | 889.7 | 45.152 | 56.6421
2019-04-17 03:00:00 | 6.551 | 236.667 | 7.765 | 239.794 | 8.278 | 248.033 | 8.341 | 244.317 | 11.599 | 890.133 | 45.675 | 47.1802
2019-04-17 03:15:00 | 5.292 | 238.953 | 6.298 | 242.093 | 6.794 | 249.5 | 7.008 | 244.733 | 11.636 | 889.575 | 46.443 | 32.566
2019-04-17 03:30:00 | 3.657 | 249.893 | 4.092 | 249.08 | 4.457 | 255.983 | 4.86 | 250.3 | 11.616 | 889.567 | 47.659 | 32.2128
2019-04-17 03:45:00 | 4.544 | 247.567 | 5.137 | 249.131 | 5.432 | 256.533 | 5.792 | 254.817 | 11.611 | 889.908 | 48.869 | 34.9805
2019-04-17 04:00:00 | 5.406 | 260.2 | 6.467 | 256.436 | 6.704 | 262.117 | 6.88 | 256.117 | 11.611 | 890.117 | 50.128 | 40.896
2019-04-17 04:15:00 | 7.293 | 246.44 | 8.44 | 250.961 | 8.924 | 256 | 9.177 | 251.967 | 11.845 | 889.833 | 50.837 | 34.6032
2019-04-17 04:30:00 | 6.012 | 248.833 | 6.776 | 252.422 | 7.288 | 257.133 | 7.278 | 253.267 | 11.636 | 890.2 | 51.333 | 34.3225
2019-04-17 04:45:00 | 5.748 | 245.047 | 6.783 | 248.692 | 7.009 | 253.933 | 7.236 | 251.9 | 11.816 | 889.6 | 52.091 | 37.2564
2019-04-17 05:00:00 | 6.16 | 238.68 | 7.173 | 243.7 | 7.687 | 249.4 | 8.026 | 244.717 | 11.632 | 889.75 | 52.987 | 45.3221
2019-04-17 05:15:00 | 7.744 | 242.687 | 9.034 | 248.016 | 9.355 | 253.417 | 9.427 | 247.783 | 11.478 | 890.008 | 53.797 | 50.4247
2019-04-17 05:30:00 | 8.713 | 238.3 | 9.793 | 244.215 | 10.139 | 250.733 | 10.222 | 246.3 | 11.195 | 889.875 | 54.24 | 48.0379
2019-04-17 05:45:00 | 7.654 | 238.367 | 8.706 | 244.25 | 9.274 | 250.333 | 9.592 | 245.3 | 11.161 | 890.058 | 54.267 | 47.6982
2019-04-17 06:00:00 | 6.948 | 240.1 | 8.091 | 244.79 | 8.795 | 252.167 | 9.064 | 248.217 | 11.161 | 890.192 | 54.976 | 42.0343
2019-04-17 06:15:00 | 5.988 | 228 | 7.041 | 231.457 | 7.712 | 239.767 | 7.983 | 235.6 | 10.634 | 889.958 | 55.605 | 38.2406
2019-04-17 06:30:00 | 5.693 | 224.793 | 6.783 | 226.909 | 7.332 | 233.333 | 7.706 | 230.433 | 10.343 | 889.858 | 56.459 | 44.2306
2019-04-17 06:45:00 | 6.235 | 237.34 | 7.303 | 243.268 | 7.948 | 248.333 | 8.147 | 243.767 | 10.551 | 890.067 | 56.128 | 37.3346
2019-04-17 07:00:00 | 5.529 | 244.367 | 6.698 | 246.624 | 7.278 | 253.1 | 7.558 | 249.183 | 10.16 | 889.583 | 56.693 | 31.2443
2019-04-17 07:15:00 | 5.807 | 233.767 | 7.276 | 239.256 | 7.516 | 246.3 | 7.438 | 242.1 | 9.933 | 889.892 | 56.789 | 29.0643
2019-04-17 07:30:00 | 4.667 | 231.4 | 5.922 | 231.598 | 6.581 | 238.067 | 6.708 | 235.067 | 10.314 | 889.942 | 54.432 | 33.3746
2019-04-17 07:45:00 | 5.355 | 224.633 | 6.734 | 222.988 | 7.613 | 231.733 | 7.875 | 228.633 | 10.795 | 889.883 | 53.163 | 37.125
2019-04-17 08:00:00 | 5.696 | 215.74 | 6.925 | 217.918 | 7.565 | 224.433 | 7.921 | 223.167 | 11.607 | 889.983 | 50.763 | 36.4116
2019-04-17 08:15:00 | 6.021 | 223.167 | 6.834 | 223.288 | 7.414 | 228.6 | 7.86 | 224.967 | 12.403 | 889.75 | 48.672 | 30.3291
2019-04-17 08:30:00 | 5.97 | 228.867 | 6.569 | 229.813 | 6.986 | 234.767 | 7.237 | 229.633 | 12.941 | 889.875 | 46.219 | 23.863
2019-04-17 08:45:00 | 6.199 | 232.593 | 6.633 | 232.878 | 6.84 | 238.433 | 7.142 | 232.8 | 13.462 | 889.575 | 44.213 | 23.8502
2019-04-17 09:00:00 | 6.401 | 236.167 | 6.755 | 236.632 | 6.993 | 241.233 | 6.946 | 235.267 | 14.145 | 889.842 | 42.347 | 26.2178
2019-04-17 09:15:00 | 5.564 | 266.407 | 6.02 | 261.418 | 6.068 | 262.783 | 6.325 | 256.133 | 14.216 | 889.608 | 41.579 | 19.3928
2019-04-17 09:30:00 | 6.055 | 269.1 | 6.523 | 268.886 | 6.723 | 275.733 | 6.896 | 273.133 | 14.116 | 889.725 | 41.776 | 20.3272
2019-04-17 09:45:00 | 5.906 | 242.02 | 6.222 | 243.742 | 6.402 | 251.017 | 6.63 | 247.083 | 14.908 | 889.725 | 39.627 | 18.9664
2019-04-17 10:00:00 | 6.001 | 275.007 | 6.538 | 277.546 | 6.41 | 282.567 | 6.592 | 280.867 | 14.504 | 889.817 | 39.619 | 17.1076
2019-04-17 10:15:00 | 5.68 | 287.247 | 6.301 | 280.788 | 6.404 | 288.433 | 6.536 | 283.517 | 15.298 | 889.967 | 36.995 | 21.3163
2019-04-17 10:30:00 | 6.579 | 266.373 | 7.075 | 264.392 | 7.108 | 271.167 | 7.206 | 267.633 | 15.126 | 889.817 | 37.005 | 25.5705
2019-04-17 10:45:00 | 7.026 | 255.54 | 7.804 | 256.828 | 7.967 | 262.433 | 7.999 | 257.25 | 15.495 | 889.55 | 35.677 | 24.5103
2019-04-17 11:00:00 | 6.152 | 284.78 | 6.608 | 281.849 | 6.543 | 286.533 | 6.828 | 284.133 | 15.383 | 889.383 | 34.261 | 24.8741
2019-04-17 11:15:00 | 5.876 | 277.72 | 6.597 | 275.959 | 6.552 | 281.6 | 6.596 | 279.217 | 15.794 | 889.35 | 32.472 | 26.1268
2019-04-17 11:30:00 | 6.99 | 304.987 | 7.353 | 304.488 | 7.644 | 309.767 | 7.92 | 304.867 | 15.925 | 889.617 | 30.32 | 30.8109
2019-04-17 11:45:00 | 7.059 | 297.08 | 7.469 | 293.507 | 7.661 | 297.967 | 7.751 | 295.1 | 16.281 | 889.967 | 29.189 | 30.0314
2019-04-17 12:00:00 | 7.251 | 264.333 | 7.779 | 268.226 | 7.974 | 272.833 | 8.097 | 269.6 | 16.914 | 889.85 | 27.861 | 29.4338
2019-04-17 12:15:00 | 8.068 | 302.947 | 8.481 | 297.085 | 8.515 | 300.633 | 8.961 | 296.2 | 17.289 | 889.9 | 24.611 | 29.6377
2019-04-17 12:30:00 | 7.469 | 295.507 | 7.662 | 291.204 | 7.75 | 294 | 8.044 | 288.5 | 17.302 | 889.533 | 23.016 | 27.0555
2019-04-17 12:45:00 | 6.098 | 294.4 | 6.593 | 292.23 | 6.738 | 299.867 | 7.336 | 298.133 | 17.394 | 889.15 | 23.163 | 24.9025
2019-04-17 13:00:00 | 5.627 | 284.867 | 6.083 | 282.287 | 6.34 | 286.9 | 6.69 | 285.533 | 17.927 | 889.533 | 20.428 | 22.5164
2019-04-17 13:15:00 | 7.636 | 309.893 | 7.796 | 301.383 | 8.013 | 306.7 | 8.385 | 303.167 | 18.227 | 889.433 | 19.795 | 26.1346
2019-04-17 13:30:00 | 5.7 | 298.627 | 5.883 | 300.508 | 6.05 | 299.967 | 6.517 | 296.3 | 18.694 | 889.167 | 19.472 | 32.2292
2019-04-17 13:45:00 | 6.551 | 300.8 | 6.96 | 296.759 | 7.2 | 300.267 | 7.386 | 294 | 18.889 | 889.367 | 17.483 | 34.1477
2019-04-17 14:00:00 | 7.202 | 308.573 | 7.375 | 310.786 | 7.662 | 313.533 | 8.18 | 311.767 | 18.814 | 889.433 | 16.865 | 36.7889
2019-04-17 14:15:00 | 7.099 | 322.267 | 7.508 | 315.506 | 7.65 | 320.033 | 8.079 | 319.033 | 19.231 | 889.767 | 17.397 | 39.7235
2019-04-17 14:30:00 | 8.264 | 325.96 | 8.575 | 317.147 | 9.029 | 323.567 | 9.495 | 322.233 | 19.123 | 889.333 | 17.883 | 34.4881
2019-04-17 14:45:00 | 8.104 | 305.413 | 8.363 | 300.53 | 8.644 | 308.267 | 8.993 | 305.867 | 19.21 | 889.7 | 18.381 | 34.8746
2019-04-17 15:00:00 | 6.832 | 320.133 | 7.131 | 314.371 | 7.353 | 320.367 | 7.63 | 320.067 | 18.623 | 889.333 | 16.931 | 40.7524
2019-04-17 15:15:00 | 6.938 | 314.933 | 7.556 | 306.153 | 7.794 | 310.733 | 8.404 | 309.367 | 19.281 | 889.867 | 18.071 | 45.4677
2019-04-17 15:30:00 | 7.782 | 316.64 | 8.182 | 310.593 | 8.482 | 315.333 | 9.03 | 315.3 | 19.306 | 889.267 | 18.511 | 44.949
2019-04-17 15:45:00 | 9.297 | 307.187 | 9.745 | 301.671 | 9.931 | 307.933 | 10.225 | 307.333 | 19.048 | 889.667 | 17.821 | 44.6271
2019-04-17 16:00:00 | 7.867 | 303.307 | 8.369 | 300.728 | 8.475 | 305.7 | 8.501 | 302.633 | 19.439 | 889.467 | 16.66 | 43.9812
2019-04-17 16:15:00 | 8.35 | 291.287 | 8.935 | 288.967 | 9.141 | 292.967 | 9.297 | 289.467 | 19.373 | 889.5 | 16.84 | 39.2361
2019-04-17 16:30:00 | 7.7 | 295.92 | 8.054 | 290.672 | 8.341 | 296.233 | 8.448 | 293.3 | 19.694 | 889.9 | 17.547 | 39.6738
2019-04-17 16:45:00 | 7.256 | 307.107 | 7.841 | 301.961 | 7.988 | 304.467 | 8.177 | 299.833 | 19.985 | 889.733 | 17.624 | 37.94
2019-04-17 17:00:00 | 7.955 | 306.053 | 8.416 | 295.921 | 8.548 | 297.867 | 9.113 | 297.667 | 19.556 | 889.667 | 18.147 | 41.5113
2019-04-17 17:15:00 | 7.935 | 306.083 | 8.427 | 301.723 | 8.786 | 307.759 | 8.893 | 305.138 | 19.867 | 889.552 | 18.214 | 53.6336
2019-04-17 17:30:00 | 10.092 | 304.787 | 10.595 | 299.691 | 10.734 | 305.7 | 11.25 | 301 | 19.402 | 889.467 | 19.504 | 53.1305
2019-04-17 17:45:00 | 8.909 | 328.76 | 9.25 | 322.418 | 9.373 | 324.333 | 9.258 | 322.733 | 19.885 | 889.333 | 19.459 | 45.3221
2019-04-17 18:00:00 | 8.296 | 320.04 | 8.663 | 315.501 | 8.904 | 318.167 | 9.363 | 319.6 | 19.406 | 889.767 | 19.304 | 46.6714
2019-04-17 18:15:00 | 8.415 | 312.88 | 8.95 | 308.954 | 9.303 | 313.967 | 9.392 | 311.967 | 19.277 | 889.733 | 19.143 | 49.1819
2019-04-17 18:30:00 | 8.403 | 307.667 | 8.652 | 300.365 | 9.056 | 304.967 | 9.37 | 301.7 | 19.468 | 889.167 | 19.689 | 52.5322
2019-04-17 18:45:00 | 9.049 | 282.567 | 9.821 | 281.345 | 10.239 | 286.467 | 10.506 | 281.833 | 19.181 | 890.467 | 21.147 | 53.522
2019-04-17 19:00:00 | 9.787 | 300.387 | 10.534 | 293.993 | 11.067 | 299.267 | 11.446 | 297.5 | 19.031 | 889.1 | 20.688 | 55.9962
2019-04-17 19:15:00 | 9.382 | 295.893 | 10.012 | 292.809 | 10.224 | 297.633 | 10.598 | 295.2 | 19.056 | 889.867 | 20.444 | 58.3993
2019-04-17 19:30:00 | 11.734 | 305.72 | 12.592 | 299.34 | 13.129 | 303.933 | 13.696 | 303 | 19.114 | 889.767 | 19.217 | 61.83
2019-04-17 19:45:00 | 11.9 | 298.573 | 13.121 | 294.957 | 13.724 | 300.967 | 14.506 | 298.733 | 18.052 | 889.75 | 21.379 | 61.3702
2019-04-17 20:00:00 | 12.541 | 293.92 | 13.63 | 289.037 | 14.384 | 293.867 | 15.003 | 292.6 | 17.594 | 889.683 | 23.387 | 62.0431
2019-04-17 20:15:00 | 12.235 | 290.96 | 13.6 | 288.445 | 13.842 | 292.933 | 14.161 | 291.233 | 17.081 | 889.667 | 24.595 | 62.4062
2019-04-17 20:30:00 | 12.989 | 278.4 | 14.546 | 280.491 | 15.138 | 284.567 | 16.025 | 282.2 | 16.681 | 890.183 | 28.605 | 63.0464
2019-04-17 20:45:00 | 12.769 | 284.6 | 14.246 | 282.288 | 14.952 | 286.367 | 15.679 | 284.633 | 15.778 | 889.883 | 31.944 | 61.8662
2019-04-17 21:00:00 | 11.621 | 280.64 | 13.032 | 282.086 | 13.887 | 285.967 | 14.583 | 283.167 | 15.476 | 889.667 | 32.661 | 48.8841
2019-04-17 21:15:00 | 13.102 | 281.78 | 14.84 | 280.881 | 15.528 | 284.267 | 16.141 | 281.467 | 15.126 | 889.55 | 33.008 | 42.9275
2019-04-17 21:30:00 | 13.286 | 273.973 | 15.108 | 274.305 | 15.383 | 280.067 | 15.813 | 277.233 | 14.741 | 889.917 | 34.616 | 43.0376
2019-04-17 21:45:00 | 11.737 | 275.553 | 13.515 | 275.144 | 13.928 | 278.7 | 14.459 | 276.033 | 14.27 | 889.733 | 36.965 | 46.292
2019-04-17 22:00:00 | 12.547 | 284.173 | 13.947 | 281.152 | 14.651 | 284.467 | 15.396 | 283.367 | 13.895 | 890.017 | 40.235 | 49.3396
2019-04-17 22:15:00 | 11.936 | 276.467 | 13.618 | 278.234 | 14.091 | 282.633 | 14.778 | 280.767 | 13.645 | 889.7 | 43.248 | 51.9886
2019-04-17 22:30:00 | 11.699 | 273.9 | 13.17 | 275.441 | 13.707 | 280.467 | 14.157 | 278.167 | 13.595 | 889.5 | 44.064 | 52.0874
2019-04-17 22:45:00 | 12.222 | 270.687 | 14.013 | 275.075 | 14.517 | 278.733 | 15.193 | 275.533 | 13.37 | 889.883 | 47.003 | 52.5471
2019-04-17 23:00:00 | 11.91 | 268.873 | 13.845 | 270.544 | 14.548 | 274.767 | 14.793 | 272.5 | 12.597 | 890.092 | 49.861 | 52.562
2019-04-17 23:15:00 | 11.144 | 264.18 | 12.768 | 264.506 | 13.335 | 269.567 | 13.627 | 265.133 | 11.911 | 890.092 | 53.056 | 52.4469
2019-04-17 23:30:00 | 10.751 | 266.28 | 12.3 | 265.678 | 12.988 | 270.167 | 13.406 | 266.867 | 11.836 | 889.942 | 53.04 | 51.5182
2019-04-17 23:45:00 | 10.304 | 266.647 | 12.099 | 267.711 | 12.486 | 271.9 | 12.935 | 266.8 | 11.328 | 889.45 | 51.968 | 52.5656