## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-18 00:00:00 | 10.485 | 266.273 | 12.113 | 269.259 | 13.138 | 273.533 | 13.797 | 269.467 | 11.228 | 889.908 | 52.443 | 54.8181
2019-04-18 00:15:00 | 11.003 | 264.887 | 13.01 | 267.298 | 13.61 | 271.9 | 14.135 | 267.967 | 11.011 | 889.925 | 52.939 | 56.9988
2019-04-18 00:30:00 | 10.495 | 267.24 | 12.011 | 268.889 | 12.434 | 271.567 | 13.031 | 267.933 | 10.911 | 890.183 | 53.749 | 56.3579
2019-04-18 00:45:00 | 10.607 | 260.607 | 12.086 | 261.623 | 13.188 | 266.4 | 13.542 | 262.55 | 10.824 | 889.967 | 53.968 | 56.613
2019-04-18 01:00:00 | 11.009 | 252.687 | 12.594 | 260.122 | 13.171 | 264.6 | 13.594 | 259.883 | 10.505 | 890 | 53.685 | 57.5708
2019-04-18 01:15:00 | 10.26 | 251.46 | 11.356 | 257.434 | 12.291 | 263.467 | 12.882 | 258.45 | 10.035 | 889.983 | 53.269 | 57.8309
2019-04-18 01:30:00 | 9.69 | 256.433 | 11.348 | 260.276 | 12 | 264.633 | 12.184 | 260.783 | 9.749 | 890.125 | 53.355 | 55.3645
2019-04-18 01:45:00 | 10.421 | 264.373 | 11.65 | 264.607 | 12.215 | 270 | 13.103 | 267.6 | 9.868 | 890.25 | 53.84 | 53.1568
2019-04-18 02:00:00 | 8.657 | 259.873 | 10.022 | 263.751 | 10.658 | 268.8 | 11.113 | 263.867 | 10.037 | 889.775 | 53.941 | 52.6963
2019-04-18 02:15:00 | 9.924 | 260.133 | 11.335 | 265.535 | 11.748 | 269.55 | 11.745 | 267.817 | 9.783 | 889.95 | 54.149 | 56.0346
2019-04-18 02:30:00 | 8.322 | 256 | 9.782 | 260.191 | 10.218 | 266.7 | 10.499 | 262.8 | 9.666 | 889.633 | 54.203 | 58.825
2019-04-18 02:45:00 | 9.297 | 255.367 | 10.548 | 259.848 | 11.066 | 265.333 | 11.147 | 261.833 | 9.549 | 889.475 | 54.795 | 59.5696
2019-04-18 03:00:00 | 9.96 | 253.8 | 10.96 | 260.331 | 11.513 | 265.733 | 11.507 | 261.817 | 9.924 | 889.85 | 56.576 | 59.3224
2019-04-18 03:15:00 | 8.992 | 250.84 | 10.18 | 256.066 | 10.67 | 261.333 | 10.72 | 257.25 | 9.508 | 889.892 | 58.16 | 57.0677
2019-04-18 03:30:00 | 10.186 | 250.14 | 11.41 | 256.782 | 11.842 | 261.067 | 12.057 | 257.167 | 9.354 | 889.625 | 59.648 | 56.7125
2019-04-18 03:45:00 | 7.552 | 239.18 | 8.565 | 243.628 | 9.601 | 250.567 | 9.852 | 246.617 | 8.624 | 890.167 | 60.043 | 61.9799
2019-04-18 04:00:00 | 9.325 | 242.067 | 10.756 | 247.381 | 11.999 | 253.517 | 12.178 | 249.9 | 8.341 | 889.842 | 61.333 | 64.6751
2019-04-18 04:15:00 | 10.137 | 243.347 | 11.79 | 251.483 | 12.626 | 256.267 | 12.894 | 252.9 | 8.341 | 889.983 | 61.104 | 66.73
2019-04-18 04:30:00 | 10.104 | 248.853 | 11.895 | 252.209 | 12.507 | 257.383 | 12.88 | 253.983 | 8.561 | 890.117 | 60.619 | 65.4503
2019-04-18 04:45:00 | 9.85 | 253.187 | 11.174 | 253.822 | 11.877 | 259.133 | 12.037 | 255.05 | 7.8 | 889.542 | 60.661 | 66.9247
2019-04-18 05:00:00 | 9.747 | 249.613 | 11.534 | 257.874 | 12.068 | 261.883 | 12.324 | 258.3 | 7.809 | 890.508 | 60.309 | 65.2947
2019-04-18 05:15:00 | 8.94 | 257.52 | 10.355 | 256.739 | 10.828 | 261.567 | 10.945 | 256.483 | 8.237 | 890.158 | 58.88 | 52.3176
2019-04-18 05:30:00 | 9.644 | 247.173 | 10.898 | 253.695 | 11.775 | 258.9 | 12.024 | 254.45 | 8.147 | 890.267 | 57.547 | 52.1783
2019-04-18 05:45:00 | 9.517 | 257.007 | 10.889 | 260.548 | 11.401 | 266.567 | 11.869 | 261.933 | 8.481 | 889.483 | 56.368 | 53.7501
2019-04-18 06:00:00 | 9.224 | 250.167 | 10.718 | 255.761 | 11.148 | 263.033 | 10.912 | 257.667 | 8.728 | 889.742 | 55.755 | 54.325
2019-04-18 06:15:00 | 9.285 | 252.467 | 10.585 | 253.188 | 11.181 | 257.967 | 11.309 | 254.433 | 7.95 | 889.933 | 56.523 | 58.6352
2019-04-18 06:30:00 | 8.63 | 245.173 | 9.764 | 247.046 | 10.569 | 253.467 | 10.72 | 249.483 | 8.304 | 890.033 | 55.637 | 65.1739
2019-04-18 06:45:00 | 7.565 | 231.867 | 8.723 | 235.163 | 9.902 | 240.7 | 10.112 | 238.3 | 8.457 | 889.692 | 56.405 | 65.1796
2019-04-18 07:00:00 | 8.537 | 229.093 | 10.114 | 235.808 | 11.334 | 242.033 | 11.546 | 238.367 | 7.476 | 889.667 | 58.091 | 62.6478
2019-04-18 07:15:00 | 7.432 | 228.3 | 9.023 | 232.805 | 9.866 | 238.5 | 10.514 | 234.733 | 7.639 | 889.592 | 57.088 | 52.6835
2019-04-18 07:30:00 | 6.91 | 225.44 | 7.804 | 229.091 | 9.105 | 240.033 | 9.701 | 236.167 | 7.936 | 889.767 | 54.912 | 49.4377
2019-04-18 07:45:00 | 6.937 | 233.433 | 8.042 | 238.725 | 8.985 | 244.833 | 9.41 | 240.567 | 8.758 | 890.158 | 49.973 | 50.7558
2019-04-18 08:00:00 | 7.441 | 228.273 | 8.633 | 230.962 | 9.422 | 237.5 | 9.759 | 233.967 | 9.191 | 889.933 | 46.827 | 34.5684
2019-04-18 08:15:00 | 6.916 | 224.38 | 7.614 | 225.176 | 8.546 | 231.9 | 8.938 | 226.933 | 10.051 | 889.667 | 43.723 | 30.8578
2019-04-18 08:30:00 | 6.096 | 225.107 | 6.488 | 225.958 | 6.962 | 230.3 | 7.166 | 226.233 | 10.206 | 889.992 | 42.069 | 36.4734
2019-04-18 08:45:00 | 7.144 | 229.133 | 7.738 | 228.744 | 8.173 | 235.033 | 8.567 | 229.5 | 10.811 | 889.358 | 40.603 | 39.1956
2019-04-18 09:00:00 | 7.302 | 226.933 | 7.84 | 230.898 | 8.323 | 236.667 | 8.616 | 233 | 11.245 | 889.6 | 37.067 | 38.9788
2019-04-18 09:15:00 | 8.675 | 248.247 | 9.331 | 255.536 | 9.742 | 259.733 | 9.852 | 254.967 | 12.382 | 889.483 | 33.451 | 40.007
2019-04-18 09:30:00 | 6.772 | 255.06 | 7.313 | 257.173 | 7.352 | 256.467 | 7.376 | 249.95 | 12.44 | 889.717 | 33.016 | 31.0397
2019-04-18 09:45:00 | 6.757 | 256.02 | 7.151 | 258.843 | 7.277 | 261.8 | 7.101 | 255.383 | 12.968 | 889.317 | 33.157 | 25.0993
2019-04-18 10:00:00 | 6.042 | 262.18 | 6.2 | 262.293 | 6.31 | 264.967 | 6.472 | 262.383 | 13.051 | 889.667 | 31.651 | 16.3587
2019-04-18 10:15:00 | 5.874 | 266.493 | 6.257 | 264.715 | 6.172 | 270.367 | 6.422 | 265.283 | 13.214 | 889.333 | 29.552 | 15.6303
2019-04-18 10:30:00 | 6.461 | 292.16 | 6.543 | 290.58 | 6.838 | 293.933 | 7.35 | 290.233 | 12.899 | 889.617 | 29.373 | 17.5574
2019-04-18 10:45:00 | 5.457 | 300.427 | 5.389 | 292.946 | 5.534 | 298.733 | 5.819 | 293.667 | 13.16 | 889.667 | 27.565 | 17.3655
2019-04-18 11:00:00 | 6.603 | 309.187 | 7.024 | 301.91 | 7.012 | 307.067 | 7.412 | 304.333 | 13.074 | 889.683 | 27.408 | 18.5152
2019-04-18 11:15:00 | 5.923 | 292.16 | 6.166 | 290.45 | 6.391 | 296.533 | 6.567 | 296 | 13.616 | 890.067 | 27.312 | 20.4153
2019-04-18 11:30:00 | 5.458 | 322.04 | 5.969 | 310.121 | 6.32 | 313 | 6.646 | 310.667 | 13.554 | 890.067 | 27.141 | 21.717
2019-04-18 11:45:00 | 5.543 | 296.7 | 5.893 | 296.251 | 6.068 | 300.833 | 6.506 | 298.633 | 14.545 | 889.567 | 26.019 | 16.0254
2019-04-18 12:00:00 | 5.33 | 302.013 | 5.806 | 297.914 | 5.942 | 299.7 | 6.008 | 292.967 | 14.333 | 889.6 | 25.632 | 19.0716
2019-04-18 12:15:00 | 3.997 | 307.867 | 3.856 | 297.577 | 3.975 | 295.85 | 4.157 | 287.733 | 14.641 | 889.85 | 24.248 | 18.8478
2019-04-18 12:30:00 | 4.63 | 297.24 | 4.865 | 296.896 | 5.126 | 301.033 | 5.829 | 301.267 | 15.635 | 889.6 | 22.067 | 18.4349
2019-04-18 12:45:00 | 5.142 | 321.12 | 5.208 | 313.474 | 5.588 | 316.7 | 5.621 | 312.433 | 15.858 | 889.567 | 23.224 | 20.0593
2019-04-18 13:00:00 | 4.331 | 307.24 | 4.592 | 302.731 | 4.758 | 308.867 | 5.007 | 305.067 | 16.331 | 889.217 | 21.883 | 26.8481
2019-04-18 13:15:00 | 5.346 | 316.28 | 5.438 | 308.785 | 5.77 | 313.4 | 5.862 | 314 | 16.848 | 889.683 | 20.407 | 32.1709
2019-04-18 13:30:00 | 4.857 | 313.067 | 5.174 | 311.73 | 5.829 | 315.833 | 6.246 | 314.267 | 16.798 | 889.3 | 19.084 | 25.3829
2019-04-18 13:45:00 | 5.427 | 319.88 | 5.981 | 308.178 | 6.147 | 310.733 | 6.445 | 307.633 | 17.148 | 889.1 | 17.64 | 22.034
2019-04-18 14:00:00 | 5.327 | 284.627 | 5.681 | 283.656 | 5.719 | 288.4 | 5.93 | 287.9 | 17.327 | 889.3 | 18.116 | 26.4196
2019-04-18 14:15:00 | 6.92 | 327.973 | 7.015 | 317.915 | 7.034 | 323.7 | 7.332 | 320.333 | 17.868 | 889.8 | 18.165 | 26.038
2019-04-18 14:30:00 | 5.408 | 304.813 | 5.969 | 302.764 | 6.366 | 309.067 | 6.49 | 307.1 | 18.485 | 889.533 | 17.415 | 29.4757
2019-04-18 14:45:00 | 6.9 | 301.867 | 7.223 | 299.285 | 7.449 | 307.333 | 7.822 | 304.767 | 18.506 | 889.5 | 16.547 | 30.5537
2019-04-18 15:00:00 | 7.21 | 311.467 | 7.763 | 304.984 | 7.762 | 309.4 | 7.995 | 304.967 | 18.623 | 889.233 | 16.523 | 31.6813
2019-04-18 15:15:00 | 6.944 | 300.72 | 7.328 | 296.561 | 7.556 | 299.433 | 7.504 | 293.9 | 19.389 | 889.333 | 15.621 | 36.7697
2019-04-18 15:30:00 | 6.982 | 297.347 | 7.161 | 290.139 | 7.562 | 295.767 | 7.918 | 292.6 | 19.127 | 889.4 | 15.883 | 37.0354
2019-04-18 15:45:00 | 7.611 | 300.013 | 7.868 | 297.26 | 8.258 | 304.633 | 8.212 | 301.867 | 18.706 | 889.333 | 16.881 | 44.5426
2019-04-18 16:00:00 | 7.17 | 313.467 | 7.608 | 313.502 | 7.802 | 317.9 | 8 | 318.367 | 19.044 | 889.233 | 16.985 | 49.3652
2019-04-18 16:15:00 | 7.332 | 298.813 | 7.613 | 294.5 | 7.881 | 300.033 | 8.541 | 295.9 | 19.652 | 889.133 | 16.431 | 59.0644
2019-04-18 16:30:00 | 9.179 | 319.453 | 9.444 | 313.939 | 9.867 | 318.233 | 10.259 | 316.3 | 19.218 | 889.367 | 16.552 | 60.6248
2019-04-18 16:45:00 | 9.714 | 318.467 | 10.506 | 312.608 | 10.979 | 315.433 | 11.366 | 315.533 | 18.96 | 889.633 | 15.784 | 62.6073
2019-04-18 17:00:00 | 9.776 | 299.067 | 10.292 | 294.886 | 10.559 | 299.8 | 10.814 | 297.833 | 19.077 | 889.6 | 14.959 | 63.0322
2019-04-18 17:15:00 | 10.369 | 291.253 | 11.187 | 287.815 | 11.479 | 293.533 | 11.792 | 291.567 | 19.506 | 889.633 | 15.375 | 64.3006
2019-04-18 17:30:00 | 9.168 | 303.44 | 9.724 | 300.291 | 10.004 | 306.533 | 10.295 | 302.633 | 19.239 | 889.267 | 16.021 | 53.5305
2019-04-18 17:45:00 | 9.005 | 293.213 | 9.626 | 290.508 | 9.775 | 295.133 | 10.044 | 292.567 | 19.006 | 889.567 | 15.416 | 49.4185
2019-04-18 18:00:00 | 8.44 | 308.067 | 8.674 | 301.046 | 9.069 | 306.633 | 9.571 | 300.833 | 19.368 | 889.7 | 14.799 | 60.7925
2019-04-18 18:15:00 | 9.687 | 280.747 | 10.48 | 281.576 | 10.94 | 284.267 | 10.98 | 283.367 | 19.735 | 889.4 | 14.313 | 58.3787
2019-04-18 18:30:00 | 8.35 | 306.413 | 8.765 | 303.17 | 9.014 | 307.7 | 9.332 | 306.733 | 19.806 | 889.967 | 14.408 | 61.4818
2019-04-18 18:45:00 | 8.99 | 295.347 | 9.694 | 291.815 | 9.765 | 296.033 | 10.087 | 291.433 | 20.473 | 889.6 | 14.829 | 65.1796
2019-04-18 19:00:00 | 9.12 | 302.38 | 9.904 | 302.748 | 10.439 | 306.567 | 10.804 | 305.733 | 20.452 | 889.8 | 13.856 | 62.0168
2019-04-18 19:15:00 | 10.434 | 299.733 | 11.144 | 297.179 | 11.452 | 301.867 | 12.013 | 297.833 | 19.706 | 889.5 | 13.183 | 53.9825
2019-04-18 19:30:00 | 9.016 | 292.66 | 9.639 | 290.296 | 10.163 | 295.167 | 10.488 | 292.633 | 19.581 | 889.567 | 13.48 | 52.1719
2019-04-18 19:45:00 | 8.692 | 273.267 | 9.438 | 273.628 | 9.731 | 279.467 | 10.126 | 276.867 | 19.435 | 889.833 | 13.865 | 48.8237
2019-04-18 20:00:00 | 8.569 | 291.76 | 9.264 | 289.837 | 9.793 | 294.833 | 10.183 | 292.933 | 19.51 | 889.333 | 14.075 | 30.197
2019-04-18 20:15:00 | 8.93 | 298.387 | 10.071 | 293.378 | 10.696 | 297.967 | 11.309 | 296 | 19.373 | 889.8 | 14.344 | 34.1832
2019-04-18 20:30:00 | 8.019 | 286.787 | 8.73 | 285.578 | 9.369 | 289.433 | 9.62 | 285.467 | 19.031 | 889.467 | 15.241 | 44.0331
2019-04-18 20:45:00 | 9.055 | 285.913 | 10.115 | 283.886 | 10.185 | 288.733 | 10.61 | 285.433 | 18.589 | 889.4 | 16.192 | 47.2335
2019-04-18 21:00:00 | 6.917 | 276.193 | 8.09 | 279.724 | 8.606 | 284.867 | 8.998 | 280.167 | 17.998 | 889.767 | 17.269 | 56.7018
2019-04-18 21:15:00 | 7.731 | 279.107 | 9.15 | 277.109 | 9.942 | 280.1 | 10.386 | 278.167 | 17.652 | 889.767 | 17.908 | 65.8994
2019-04-18 21:30:00 | 8.012 | 277.953 | 9.775 | 279.243 | 10.408 | 281.967 | 10.855 | 279.7 | 17.527 | 889.267 | 18.928 | 58.7887
2019-04-18 21:45:00 | 7.39 | 264.667 | 8.718 | 267.479 | 9.437 | 273.5 | 9.735 | 268.8 | 16.664 | 889.6 | 19.525 | 48.3931
2019-04-18 22:00:00 | 6.45 | 260.84 | 7.772 | 261.399 | 8.367 | 267.933 | 8.915 | 263.833 | 16.581 | 889.7 | 20.051 | 49.5684
2019-04-18 22:15:00 | 6.921 | 254.06 | 8.109 | 258.576 | 8.801 | 264.233 | 9.011 | 263.767 | 16.088 | 889.583 | 20.424 | 51.4145
2019-04-18 22:30:00 | 6.84 | 256.653 | 8.326 | 259.532 | 8.741 | 266.267 | 8.996 | 262.267 | 16.15 | 889.667 | 20.513 | 45.1153
2019-04-18 22:45:00 | 6.593 | 253.48 | 8.103 | 258.555 | 8.588 | 264.167 | 9.087 | 258.417 | 16.162 | 889.8 | 20.832 | 43.773
2019-04-18 23:00:00 | 5.724 | 237.353 | 6.708 | 245.831 | 7.23 | 256.3 | 7.498 | 254.183 | 15.302 | 889.95 | 21.157 | 43.6061
2019-04-18 23:15:00 | 5.224 | 242.253 | 6.757 | 250.004 | 7.285 | 257.667 | 7.57 | 254.917 | 14.287 | 889.817 | 22.725 | 49.8583
2019-04-18 23:30:00 | 6.264 | 253.013 | 7.815 | 257.36 | 8.605 | 263.183 | 8.793 | 260.35 | 13.874 | 889.55 | 23.523 | 48.1466
2019-04-18 23:45:00 | 6.727 | 256.833 | 8.311 | 261.351 | 8.67 | 268.767 | 9.073 | 266 | 14.874 | 889.95 | 23.448 | 47.4552