## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-19 00:00:00 | 6.116 | 252.447 | 7.423 | 253.478 | 7.944 | 260.5 | 8.133 | 257.85 | 14.524 | 890.083 | 23.795 | 54.4308
2019-04-19 00:15:00 | 6.95 | 241.64 | 7.985 | 250.526 | 8.349 | 257.567 | 8.532 | 257.25 | 13.862 | 889.75 | 24.053 | 55.0249
2019-04-19 00:30:00 | 6.386 | 247.627 | 7.403 | 252.456 | 7.693 | 260.033 | 7.923 | 257.45 | 13.708 | 889.9 | 24.261 | 53.328
2019-04-19 00:45:00 | 5.973 | 238.513 | 6.947 | 244.612 | 7.382 | 253.233 | 7.528 | 254.417 | 14.041 | 889.25 | 24.48 | 50.8887
2019-04-19 01:00:00 | 6.062 | 240.093 | 7.233 | 245.53 | 7.586 | 254.733 | 7.829 | 253.65 | 13.545 | 889.217 | 24.875 | 50.8602
2019-04-19 01:15:00 | 6.375 | 247.2 | 7.539 | 254.642 | 7.918 | 262.967 | 8.345 | 260.333 | 13.055 | 889.833 | 25.507 | 54.428
2019-04-19 01:30:00 | 6.504 | 248.633 | 7.873 | 252.514 | 8.373 | 259.633 | 8.513 | 256.367 | 13.774 | 889.733 | 24.952 | 49.6004
2019-04-19 01:45:00 | 6.296 | 238.62 | 7.748 | 248.52 | 8.196 | 256.6 | 8.483 | 253.283 | 12.605 | 889.85 | 25.496 | 47.7487
2019-04-19 02:00:00 | 6.347 | 234.193 | 7.727 | 240.378 | 8.386 | 251.3 | 8.493 | 248.367 | 12.624 | 889.767 | 26.229 | 44.6421
2019-04-19 02:15:00 | 5.575 | 241.473 | 6.662 | 250.633 | 7.236 | 259.067 | 7.382 | 257.867 | 12.745 | 890.067 | 27.627 | 46.427
2019-04-19 02:30:00 | 5.747 | 235.947 | 7.093 | 249.204 | 7.58 | 259.333 | 7.856 | 257 | 12.532 | 889.883 | 28.696 | 45.3668
2019-04-19 02:45:00 | 6.393 | 236.12 | 7.698 | 248.058 | 8.048 | 258.567 | 8.204 | 258.933 | 11.824 | 889.9 | 30.245 | 42.6795
2019-04-19 03:00:00 | 5.664 | 236.913 | 7.364 | 248.617 | 7.952 | 258.133 | 8.192 | 256.083 | 11.682 | 890.133 | 31.144 | 43.5535
2019-04-19 03:15:00 | 6.342 | 237.133 | 7.763 | 247.377 | 8.151 | 255.633 | 8.26 | 253.183 | 11.411 | 889.45 | 32.629 | 46.0703
2019-04-19 03:30:00 | 6.646 | 232.767 | 8.064 | 241.417 | 8.324 | 249.8 | 8.059 | 247.7 | 11.703 | 889.95 | 33.728 | 47.4474
2019-04-19 03:45:00 | 6.6 | 237.78 | 7.987 | 243.547 | 8.084 | 251.567 | 8.069 | 250.533 | 11.786 | 889.767 | 34.928 | 49.8306
2019-04-19 04:00:00 | 6.857 | 231.9 | 8.165 | 237.199 | 8.242 | 245.6 | 8.328 | 244.4 | 11.411 | 889.9 | 36.28 | 50.4083
2019-04-19 04:15:00 | 7.18 | 232.193 | 8.54 | 236.747 | 8.732 | 244.933 | 8.664 | 242.133 | 11.628 | 889.583 | 37.003 | 58.8129
2019-04-19 04:30:00 | 6.627 | 231.467 | 7.754 | 233.637 | 8.191 | 242 | 8.15 | 239.5 | 11.411 | 890.017 | 37.083 | 66.465
2019-04-19 04:45:00 | 6.894 | 229.933 | 8.466 | 237.795 | 9.066 | 245.033 | 9.09 | 240.3 | 11.011 | 889.583 | 38.299 | 67.5841
2019-04-19 05:00:00 | 7.343 | 225.073 | 9.387 | 232.69 | 9.879 | 239.967 | 9.847 | 236.933 | 11.47 | 889.833 | 37.584 | 74.5015
2019-04-19 05:15:00 | 7.773 | 230.467 | 9.6 | 234.595 | 10.072 | 242.733 | 9.91 | 239.167 | 10.828 | 889.383 | 37.547 | 75.379
2019-04-19 05:30:00 | 7.877 | 227.567 | 9.658 | 229.951 | 10.145 | 236.967 | 10.012 | 234.7 | 10.928 | 889.183 | 36.859 | 74.24
2019-04-19 05:45:00 | 8.512 | 227.2 | 10.472 | 228.984 | 11.082 | 235.833 | 10.92 | 232.8 | 11.311 | 889.6 | 37.168 | 61.2658
2019-04-19 06:00:00 | 7.627 | 229.133 | 9.144 | 231.198 | 9.622 | 238.433 | 9.671 | 235.2 | 10.928 | 889.617 | 38.123 | 62.387
2019-04-19 06:15:00 | 6.604 | 229.393 | 8.127 | 236.872 | 8.643 | 245.033 | 8.738 | 242.3 | 10.757 | 890 | 39.68 | 69.8146
2019-04-19 06:30:00 | 7.603 | 234.32 | 9.259 | 246.941 | 9.68 | 253.367 | 9.782 | 248.6 | 10.62 | 890 | 41.109 | 66.4287
2019-04-19 06:45:00 | 6.793 | 247.867 | 8.366 | 252.044 | 8.672 | 257 | 8.847 | 253.417 | 10.447 | 889.8 | 41.509 | 52.4363
2019-04-19 07:00:00 | 6.585 | 254.907 | 7.8 | 258.163 | 8.092 | 264.167 | 8.417 | 258.75 | 9.98 | 889.717 | 42.075 | 41.6925
2019-04-19 07:15:00 | 5.832 | 236.9 | 6.756 | 249.168 | 7.029 | 255.767 | 7.34 | 253.167 | 9.733 | 889.717 | 43.392 | 57.0635
2019-04-19 07:30:00 | 6.662 | 227.94 | 8.134 | 233.998 | 8.464 | 242.767 | 8.487 | 239.733 | 9.704 | 889.833 | 44.053 | 69.3286
2019-04-19 07:45:00 | 6.796 | 229.547 | 8.56 | 235.678 | 9.056 | 241.9 | 9.174 | 237.767 | 10.185 | 890.142 | 43.819 | 71.8511
2019-04-19 08:00:00 | 7.278 | 233.353 | 8.818 | 240.152 | 9.59 | 245.3 | 9.74 | 241 | 11.116 | 889.775 | 43.243 | 63.1481
2019-04-19 08:15:00 | 7.235 | 230.48 | 8.114 | 238.684 | 8.612 | 246.7 | 8.942 | 243.967 | 12.495 | 890.017 | 40.075 | 61.1038
2019-04-19 08:30:00 | 9.292 | 229.607 | 9.973 | 234.045 | 10.562 | 242.7 | 10.671 | 240.767 | 13.166 | 889.833 | 38.235 | 61.4541
2019-04-19 08:45:00 | 8.544 | 231.6 | 9.022 | 235.036 | 9.627 | 241.3 | 9.869 | 236.067 | 14.416 | 889.733 | 35.819 | 59.9285
2019-04-19 09:00:00 | 7.912 | 230.9 | 8.423 | 234.29 | 8.669 | 238.467 | 8.791 | 233.3 | 14.674 | 889.683 | 34.181 | 54.2013
2019-04-19 09:15:00 | 7.656 | 233.633 | 8.003 | 237.343 | 8.289 | 242.45 | 8.192 | 237.517 | 15.317 | 889.667 | 33.347 | 53.5753
2019-04-19 09:30:00 | 7.12 | 270.533 | 7.769 | 271.098 | 7.76 | 274.933 | 7.826 | 268.183 | 15.83 | 889.9 | 33.589 | 56.1717
2019-04-19 09:45:00 | 8.093 | 272.38 | 8.638 | 271.698 | 8.768 | 277.867 | 9.156 | 271.133 | 15.787 | 890.367 | 33.949 | 57.9965
2019-04-19 10:00:00 | 8.271 | 263.447 | 8.943 | 263.633 | 9.248 | 268.65 | 9.295 | 262.917 | 15.697 | 889.9 | 33.144 | 61.982
2019-04-19 10:15:00 | 8.72 | 265.78 | 9.308 | 270.415 | 9.477 | 276.6 | 9.876 | 272.8 | 15.942 | 889.967 | 33.032 | 64.4505
2019-04-19 10:30:00 | 9.331 | 264.367 | 9.764 | 268.357 | 9.702 | 274.367 | 9.891 | 270.883 | 16.117 | 889.8 | 32.624 | 63.4749
2019-04-19 10:45:00 | 8.953 | 244.887 | 9.536 | 252.932 | 9.56 | 259.367 | 9.702 | 256.817 | 16.681 | 889.583 | 31.741 | 72.2391
2019-04-19 11:00:00 | 10.034 | 258.373 | 10.947 | 264.462 | 11.096 | 270.133 | 11.51 | 269.033 | 16.831 | 889.467 | 30.965 | 71.7544
2019-04-19 11:15:00 | 8.844 | 266.113 | 9.63 | 266.904 | 9.684 | 270.85 | 9.889 | 266.383 | 17.602 | 889.433 | 30.344 | 71.8447
2019-04-19 11:30:00 | 9.774 | 263.607 | 10.453 | 266.073 | 10.772 | 269.5 | 11.034 | 264.817 | 16.764 | 889.633 | 29.901 | 70.0853
2019-04-19 11:45:00 | 10.399 | 254.607 | 11.076 | 256.848 | 11.137 | 260.783 | 11.093 | 257.25 | 17.502 | 889.517 | 29.232 | 66.438
2019-04-19 12:00:00 | 8.889 | 277.867 | 10.009 | 272.786 | 10.319 | 275.867 | 10.601 | 270.15 | 16.864 | 889.75 | 29.917 | 65.5995
2019-04-19 12:15:00 | 9.316 | 280.607 | 9.976 | 277.254 | 10.483 | 281.317 | 10.534 | 282.533 | 17.573 | 889.683 | 28.811 | 67.5415
2019-04-19 12:30:00 | 10.844 | 268.847 | 11.78 | 267.78 | 11.635 | 269.767 | 11.738 | 265.617 | 17.123 | 889.783 | 28.189 | 72.3634
2019-04-19 12:45:00 | 9.364 | 277.173 | 9.818 | 276.616 | 10.197 | 280.033 | 10.319 | 277.633 | 17.723 | 889.967 | 27.509 | 70.1557
2019-04-19 13:00:00 | 10.48 | 283.213 | 11.179 | 283.39 | 11.59 | 288.433 | 12.094 | 285.4 | 17.823 | 889.4 | 26.736 | 70.6296
2019-04-19 13:15:00 | 10.224 | 266.567 | 10.507 | 268.834 | 10.601 | 273.383 | 11.062 | 270.617 | 18.118 | 889.75 | 26.539 | 69.2248
2019-04-19 13:30:00 | 9.462 | 272.813 | 10.17 | 275.701 | 10.499 | 282.533 | 10.606 | 281.4 | 17.802 | 889.583 | 27.389 | 57.4735
2019-04-19 13:45:00 | 8.101 | 276.433 | 8.511 | 277.178 | 8.475 | 281.6 | 8.978 | 277.2 | 18.256 | 890.133 | 26.888 | 56.7977
2019-04-19 14:00:00 | 9.159 | 268.633 | 9.836 | 268.956 | 10.125 | 272.333 | 10.093 | 268.9 | 18.689 | 890.133 | 26.333 | 55.4825
2019-04-19 14:15:00 | 9.483 | 271.24 | 10.256 | 272.835 | 10.416 | 276.65 | 10.739 | 271.933 | 18.506 | 889.917 | 26.12 | 57.7335
2019-04-19 14:30:00 | 9.658 | 266.88 | 10.352 | 267.533 | 10.661 | 271.783 | 10.755 | 270.233 | 18.518 | 889.55 | 26 | 51.9026
2019-04-19 14:45:00 | 9.202 | 289.787 | 9.536 | 286.806 | 9.717 | 292.267 | 10.025 | 290.467 | 19.027 | 889.633 | 24.539 | 48.7271
2019-04-19 15:00:00 | 7.916 | 280.8 | 7.981 | 281.413 | 7.912 | 284.967 | 8.217 | 279.25 | 18.881 | 889.65 | 23.939 | 46.292
2019-04-19 15:15:00 | 10.272 | 251.547 | 10.837 | 248.446 | 10.569 | 252.517 | 10.479 | 246.667 | 20.214 | 889.417 | 22.277 | 44.5014
2019-04-19 15:30:00 | 8.074 | 294.553 | 8.255 | 289.704 | 8.465 | 294.367 | 8.338 | 290.917 | 19.281 | 890.017 | 21.913 | 53.0694
2019-04-19 15:45:00 | 8.586 | 286.767 | 9.085 | 286.757 | 9.452 | 290.233 | 9.563 | 285.7 | 19.544 | 889.95 | 21.32 | 51.9076
2019-04-19 16:00:00 | 7.214 | 285.72 | 7.612 | 282.589 | 7.712 | 287.833 | 8.217 | 284.067 | 19.694 | 889.433 | 21.717 | 49.0206
2019-04-19 16:15:00 | 9.83 | 313.773 | 10.218 | 308.771 | 10.385 | 312.533 | 10.375 | 309.033 | 19.848 | 890.067 | 20.927 | 48.5814
2019-04-19 16:30:00 | 7.473 | 281.793 | 8.015 | 286.555 | 8.446 | 292.833 | 8.793 | 291.367 | 19.694 | 889.283 | 20.185 | 47.3287
2019-04-19 16:45:00 | 8.529 | 297.213 | 9.356 | 293.576 | 9.402 | 299.233 | 9.421 | 293.067 | 19.718 | 889.567 | 19.477 | 41.2043
2019-04-19 17:00:00 | 6.583 | 279.667 | 6.735 | 278.611 | 6.961 | 283.5 | 7.181 | 280.9 | 20.102 | 889.9 | 20.121 | 45.2816
2019-04-19 17:15:00 | 8.087 | 289.213 | 8.6 | 286.051 | 8.712 | 292.2 | 9.341 | 290.467 | 20.489 | 889.367 | 19.96 | 40.5918
2019-04-19 17:30:00 | 9.561 | 296.387 | 9.98 | 292.716 | 10.22 | 295.667 | 10.76 | 294.067 | 20.46 | 889.3 | 18.832 | 35.9106
2019-04-19 17:45:00 | 6.862 | 286.453 | 7.254 | 285.977 | 7.454 | 288.067 | 7.742 | 284.833 | 20.639 | 889.533 | 19.085 | 40.8057
2019-04-19 18:00:00 | 7.659 | 264.98 | 8.225 | 265.533 | 8.29 | 270.4 | 8.314 | 267.05 | 20.698 | 889.8 | 17.561 | 43.6487
2019-04-19 18:15:00 | 9.105 | 303.187 | 9.702 | 299.574 | 9.87 | 301.8 | 9.987 | 299.2 | 20.852 | 889.633 | 17.736 | 42.2737
2019-04-19 18:30:00 | 9.22 | 274.907 | 9.574 | 272.131 | 9.636 | 276.367 | 9.68 | 272.5 | 20.556 | 889.8 | 17.307 | 38.9298
2019-04-19 18:45:00 | 7.348 | 286.693 | 8.15 | 285.614 | 8.301 | 288.533 | 8.7 | 284.2 | 20.364 | 889.367 | 18.257 | 37.7126
2019-04-19 19:00:00 | 8.295 | 273.873 | 8.834 | 275.186 | 8.918 | 279.133 | 8.833 | 275.933 | 20.339 | 889.767 | 18.043 | 25.2578
2019-04-19 19:15:00 | 5.856 | 257.14 | 5.981 | 266.707 | 6.576 | 275.583 | 6.809 | 273.133 | 21.373 | 889.767 | 17.825 | 30.8301
2019-04-19 19:30:00 | 6.074 | 285.227 | 6.646 | 284.564 | 6.93 | 289.867 | 7.592 | 288.8 | 20.144 | 889.433 | 19.199 | 24.4271
2019-04-19 19:45:00 | 5.468 | 267.267 | 6.196 | 267.944 | 6.576 | 273.133 | 6.784 | 266.6 | 20.71 | 889.533 | 18.724 | 26.2931
2019-04-19 20:00:00 | 5.531 | 285.12 | 6.39 | 282.1 | 6.496 | 287.733 | 6.79 | 285.6 | 20.444 | 889.4 | 20.003 | 23.345
2019-04-19 20:15:00 | 5.375 | 281.293 | 5.635 | 277.939 | 6.027 | 281.867 | 6.53 | 277.267 | 19.444 | 889.5 | 20.503 | 21.9842
2019-04-19 20:30:00 | 6.15 | 276.02 | 6.706 | 271.736 | 6.778 | 275.667 | 6.858 | 270.9 | 19.789 | 890.15 | 21.669 | 19.7964
2019-04-19 20:45:00 | 6.129 | 282.087 | 6.912 | 280.84 | 6.995 | 284.8 | 7.379 | 281.133 | 18.981 | 889.533 | 23.155 | 19.8625
2019-04-19 21:00:00 | 5.39 | 285.507 | 6.619 | 280.973 | 6.878 | 286.1 | 7.266 | 283.433 | 18.764 | 889.667 | 23.445 | 15.7206
2019-04-19 21:15:00 | 4.318 | 286.333 | 4.959 | 283.139 | 5.133 | 288.033 | 5.591 | 286.2 | 18.606 | 889.717 | 24.048 | 15.8378
2019-04-19 21:30:00 | 4.387 | 284.253 | 5.389 | 283.79 | 5.62 | 289.367 | 6.133 | 286.067 | 18.073 | 889.883 | 25.075 | 12.8335
2019-04-19 21:45:00 | 4.18 | 288.747 | 4.949 | 287.955 | 5.293 | 292.8 | 5.759 | 291.167 | 17.223 | 889.933 | 25.547 | 7.7963
2019-04-19 22:00:00 | 3.792 | 282.427 | 4.328 | 282.742 | 4.787 | 287.267 | 5.174 | 285.9 | 17.214 | 890.1 | 25.933 | 8.5474
2019-04-19 22:15:00 | 3.938 | 274.867 | 3.976 | 276.865 | 4.156 | 282.067 | 4.753 | 281.333 | 16.781 | 890.033 | 26.261 | 19.3658
2019-04-19 22:30:00 | 4.618 | 277.387 | 5.281 | 285.929 | 5.548 | 293.833 | 6.187 | 291.767 | 16.331 | 889.633 | 26.256 | 19.1839
2019-04-19 22:45:00 | 4.298 | 282.32 | 6.296 | 291.238 | 6.496 | 300.067 | 7.393 | 297.133 | 15.725 | 890.067 | 27.531 | 21.8485
2019-04-19 23:00:00 | 4.566 | 276.48 | 5.591 | 285.871 | 5.813 | 292.667 | 6.247 | 291.667 | 15.416 | 890.117 | 28.112 | 21.5536
2019-04-19 23:15:00 | 4.798 | 287.467 | 5.766 | 290.845 | 6.092 | 296.733 | 6.497 | 293.967 | 14.724 | 889.9 | 28.731 | 20.1311
2019-04-19 23:30:00 | 5.07 | 291.933 | 5.696 | 294.844 | 6.076 | 301.7 | 6.671 | 298.5 | 15.504 | 890.083 | 28.72 | 9.1734
2019-04-19 23:45:00 | 5.088 | 299.4 | 6.157 | 300.735 | 6.33 | 306.667 | 6.813 | 304.667 | 15.008 | 889.333 | 29.355 | 5.6099