## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-20 00:00:00 | 6.098 | 211.8 | 5.481 | 215.449 | 4.939 | 230.2 | 4.499 | 244.133 | 13.474 | 889.767 | 30.512 | 3.734
2019-04-20 00:15:00 | 5.006 | 238.987 | 4.769 | 241.676 | 4.471 | 253.3 | 4.457 | 257 | 13.608 | 889.867 | 30.245 | 3.0867
2019-04-20 00:30:00 | 4.224 | 226.02 | 4.387 | 241.048 | 4.095 | 251.467 | 3.984 | 251.967 | 13.164 | 889.583 | 30.389 | 1.3444
2019-04-20 00:45:00 | 4.211 | 220.5 | 3.833 | 237.742 | 3.562 | 245.033 | 3.491 | 241 | 11.67 | 889.55 | 31.168 | 1.6307
2019-04-20 01:00:00 | 4.887 | 224.313 | 3.881 | 235.584 | 3.202 | 246 | 3.205 | 244 | 11.803 | 889.767 | 31.12 | 1.5249
2019-04-20 01:15:00 | 4.329 | 233.9 | 3.53 | 245.342 | 3.119 | 254.367 | 2.875 | 250.867 | 11.345 | 890.1 | 31.456 | 0.97135
2019-04-20 01:30:00 | 4.569 | 229.507 | 3.397 | 247.573 | 3.067 | 258.067 | 2.936 | 262.4 | 11.524 | 889.9 | 31.675 | 3.2238
2019-04-20 01:45:00 | 5.609 | 210.04 | 4.563 | 220.958 | 3.805 | 227.667 | 3.549 | 225.1 | 11.436 | 890.233 | 31.424 | 6.2565
2019-04-20 02:00:00 | 5.202 | 189.5 | 4.662 | 203.388 | 4.152 | 214.667 | 3.966 | 211.733 | 11.72 | 889.967 | 31.296 | 2.4536
2019-04-20 02:15:00 | 5.31 | 206.847 | 4.87 | 201.997 | 4.118 | 205.3 | 3.83 | 205.567 | 12.416 | 889.633 | 29.616 | 1.1788
2019-04-20 02:30:00 | 4.337 | 217.313 | 3.893 | 223.382 | 3.442 | 228.6 | 3.582 | 225.433 | 13.766 | 889.533 | 29.819 | 0.23022
2019-04-20 02:45:00 | 4.173 | 217.367 | 3.525 | 221.101 | 3.605 | 231.467 | 3.701 | 230.833 | 14.62 | 889.933 | 29.131 | 0.096637
2019-04-20 03:00:00 | 3.36 | 219 | 2.586 | 218.88 | 2.409 | 225.033 | 2.594 | 222.767 | 14.774 | 889.217 | 29.104 | 0.2217
2019-04-20 03:15:00 | 3.058 | 232.133 | 2.551 | 231.083 | 2.481 | 234.833 | 2.658 | 234.767 | 14.608 | 890.033 | 30.016 | 0.1549
2019-04-20 03:30:00 | 5.416 | 220.047 | 3.523 | 218.543 | 3.226 | 227.7 | 2.936 | 231.167 | 12.882 | 889.983 | 28.555 | 0.27144
2019-04-20 03:45:00 | 5.887 | 222.993 | 4.697 | 222.167 | 3.452 | 230.667 | 3.278 | 227.9 | 11.766 | 889.65 | 30.763 | 3.7497
2019-04-20 04:00:00 | 5.665 | 224.033 | 4.992 | 215.453 | 4.444 | 216.767 | 4.188 | 211.533 | 11.786 | 889.783 | 30.523 | 6.108
2019-04-20 04:15:00 | 5.68 | 213.76 | 6.147 | 204.989 | 5.895 | 205.567 | 5.563 | 205.967 | 10.697 | 889.517 | 31.813 | 4.1106
2019-04-20 04:30:00 | 4.765 | 215.473 | 4.388 | 212.057 | 4.292 | 216.967 | 4.446 | 210.067 | 10.218 | 889.817 | 32.549 | 9.0995
2019-04-20 04:45:00 | 6.032 | 209.927 | 7.12 | 202.849 | 6.097 | 210.033 | 5.475 | 209.3 | 10.243 | 889.85 | 33.013 | 7.6016
2019-04-20 05:00:00 | 6.034 | 205.6 | 7.228 | 199.988 | 6.478 | 202.8 | 6.269 | 200.1 | 10.237 | 889.6 | 32.891 | 8.7442
2019-04-20 05:15:00 | 5.365 | 207.567 | 6.807 | 201.852 | 6.111 | 205.533 | 5.829 | 201.3 | 10.845 | 890.2 | 31.605 | 7.2229
2019-04-20 05:30:00 | 4.343 | 212.827 | 6.559 | 204.062 | 6.45 | 207.167 | 5.833 | 203.633 | 10.47 | 889.933 | 32.128 | 5.9872
2019-04-20 05:45:00 | 4.5 | 223.193 | 5.921 | 211.132 | 5.574 | 214.033 | 5.766 | 210.967 | 10.116 | 890.133 | 32.747 | 3.0569
2019-04-20 06:00:00 | 5.707 | 216.093 | 5.176 | 211.28 | 5.135 | 214.767 | 5.246 | 213.567 | 10.59 | 889.6 | 32.187 | 0.65941
2019-04-20 06:15:00 | 6.454 | 216.633 | 5.59 | 210.841 | 5.118 | 214.2 | 4.544 | 216.433 | 10.778 | 889.867 | 31.36 | 0.19825
2019-04-20 06:30:00 | 5.102 | 222.707 | 3.313 | 209.921 | 2.306 | 210.767 | 2.488 | 204.167 | 11.37 | 889.55 | 30.629 | 0.10587
2019-04-20 06:45:00 | 4.966 | 218.733 | 2.741 | 207.064 | 2.24 | 204.967 | 2.68 | 199.1 | 12.857 | 890 | 28.715 | 0.21885
2019-04-20 07:00:00 | 3.863 | 224.54 | 3.02 | 223.372 | 2.469 | 219.233 | 2.724 | 207.967 | 14.049 | 889.683 | 27.029 | 0.20393
2019-04-20 07:15:00 | 3.322 | 142.175 | 2.237 | 95.586 | 1.47 | 209.836 | 2.055 | 318.767 | 10.591 | 889.533 | 29.635 | 0.19754
2019-04-20 07:30:00 | 2.951 | 299.693 | 2.086 | 314.141 | 1.917 | 326.233 | 1.881 | 330.533 | 11.495 | 890.017 | 30.579 | 0.17054
2019-04-20 07:45:00 | 2.624 | 256.82 | 1.031 | 268.704 | 0 | 306.133 | 0.027 | 355 | 12.403 | 890.033 | 29.48 | 0.1947
2019-04-20 08:00:00 | 2.799 | 220.933 | 1.309 | 212.864 | 0.914 | 223.067 | 0.591 | 252.567 | 12.353 | 889.667 | 28.581 | 0.16556
2019-04-20 08:15:00 | 3.472 | 166.46 | 2.342 | 140.139 | 2.062 | 132.833 | 2.67 | 127.9 | 12.947 | 889.9 | 27.819 | 0.85197
2019-04-20 08:30:00 | 2.579 | 179.207 | 1.354 | 132.496 | 1.258 | 116.133 | 1.94 | 99.833 | 12.201 | 889.517 | 27.867 | 0.30981
2019-04-20 08:45:00 | 1.477 | 169.993 | 1.566 | 129.319 | 1.417 | 111.2 | 1.837 | 97.6 | 14.054 | 889.717 | 25.525 | 1.0118
2019-04-20 09:00:00 | 0.852 | 172.153 | 0.493 | 134.805 | 0.837 | 132.033 | 1.7 | 103.367 | 15.062 | 889.95 | 24.181 | 0.73046
2019-04-20 09:15:00 | 1.637 | 111.767 | 1.29 | 109.698 | 1.199 | 122.833 | 1.7 | 128 | 16.298 | 890 | 23.611 | 0.14496
2019-04-20 09:30:00 | 1.691 | 141.107 | 1.409 | 140.466 | 1.404 | 144.567 | 2.059 | 132.567 | 16.581 | 889.85 | 22.944 | 0.21885
2019-04-20 09:45:00 | 1.25 | 90.733 | 0.843 | 75.613 | 0.943 | 77.767 | 1.779 | 86.267 | 16.948 | 890.067 | 22.587 | 0.16698
2019-04-20 10:00:00 | 2.213 | 54.025 | 1.778 | 49.892 | 1.964 | 52.133 | 2.367 | 50.333 | 17.581 | 889.283 | 22.016 | 0.12861
2019-04-20 10:15:00 | 2.736 | 38.433 | 2.64 | 32.97 | 2.53 | 37.533 | 2.822 | 34.867 | 17.61 | 889.867 | 22.789 | 0.13074
2019-04-20 10:30:00 | 2.26 | 77.578 | 1.989 | 66.983 | 2.014 | 32.471 | 2.277 | 19.7 | 18.131 | 889.75 | 22.573 | 0.29062
2019-04-20 10:45:00 | 2.753 | 88.861 | 2.61 | 109.994 | 2.671 | 98.867 | 3.02 | 131.533 | 18.152 | 889.633 | 21.643 | 2.5708
2019-04-20 11:00:00 | 3.606 | 264.321 | 3.636 | 317.05 | 3.894 | 294.4 | 4.193 | 305.1 | 17.91 | 889.667 | 21.504 | 12.3909
2019-04-20 11:15:00 | 5.282 | 257.241 | 5.488 | 313.208 | 5.561 | 304.733 | 5.883 | 316.6 | 17.564 | 889.417 | 24.285 | 7.77
2019-04-20 11:30:00 | 4.739 | 333.24 | 4.818 | 326.73 | 4.823 | 333.567 | 4.947 | 334.5 | 17.281 | 889.433 | 25.291 | 4.9505
2019-04-20 11:45:00 | 3.718 | 209.853 | 3.821 | 322.762 | 3.526 | 256.133 | 3.625 | 325.967 | 16.981 | 889.75 | 25.104 | 6.9799
2019-04-20 12:00:00 | 4.418 | 305.56 | 4.355 | 334.154 | 4.179 | 341.167 | 4.209 | 341.267 | 17.223 | 889.433 | 24.963 | 7.5462
2019-04-20 12:15:00 | 4.401 | 332.72 | 4.56 | 328.136 | 4.897 | 335.9 | 5.062 | 335.4 | 17.66 | 890.167 | 25.208 | 12.4903
2019-04-20 12:30:00 | 3.639 | 323.307 | 3.651 | 313.411 | 3.787 | 306.235 | 3.797 | 315.733 | 18.139 | 889.483 | 24.205 | 20.1389
2019-04-20 12:45:00 | 6.525 | 317.56 | 6.717 | 317.415 | 6.979 | 320.733 | 7.3 | 317.833 | 18.439 | 889.4 | 23.541 | 20.9773
2019-04-20 13:00:00 | 5.412 | 281.08 | 5.786 | 286.685 | 6.195 | 291.867 | 6.674 | 292.8 | 18.606 | 890.017 | 23.224 | 15.7959
2019-04-20 13:15:00 | 5.747 | 297.147 | 5.889 | 323.821 | 6.027 | 303.733 | 6.444 | 291.767 | 19.368 | 890.45 | 22.624 | 20.8956
2019-04-20 13:30:00 | 7.63 | 257.967 | 7.78 | 262.218 | 7.816 | 267.567 | 7.945 | 265.067 | 19.981 | 890.05 | 22 | 21.2928
2019-04-20 13:45:00 | 6.711 | 315.007 | 6.936 | 308.083 | 7.146 | 308.4 | 7.177 | 304.1 | 19.052 | 890.05 | 22.675 | 18.4072
2019-04-20 14:00:00 | 4.555 | 297.587 | 4.993 | 291.384 | 5.107 | 298.167 | 5.176 | 295.433 | 18.931 | 889.8 | 22.824 | 23.3677
2019-04-20 14:15:00 | 5.727 | 282.067 | 5.763 | 276.433 | 5.856 | 278.283 | 6.153 | 275.867 | 19.314 | 889.55 | 22.459 | 19.5903
2019-04-20 14:30:00 | 6.618 | 321.32 | 7.111 | 312.715 | 7.307 | 316.433 | 7.394 | 313.833 | 19.539 | 889.6 | 22.408 | 15.7874
2019-04-20 14:45:00 | 6.073 | 307.893 | 6.438 | 300.638 | 6.829 | 305.467 | 6.917 | 305.4 | 19.427 | 889.267 | 22.181 | 18.8336
2019-04-20 15:00:00 | 7.248 | 313.093 | 7.878 | 309.187 | 8.166 | 312.667 | 8.347 | 308.633 | 19.46 | 889.683 | 22.741 | 26.8935
2019-04-20 15:15:00 | 3.856 | 286.262 | 4.003 | 290.781 | 3.955 | 298.767 | 4.379 | 288.033 | 19.577 | 889.717 | 22.477 | 29.9184
2019-04-20 15:30:00 | 6.624 | 310.773 | 6.943 | 305.817 | 7.281 | 310.267 | 7.407 | 306.567 | 19.935 | 889.917 | 22.331 | 27.2282
2019-04-20 15:45:00 | 6.276 | 202.308 | 6.543 | 286.264 | 6.568 | 300.967 | 6.97 | 298.5 | 19.731 | 889.983 | 22.755 | 25.7346
2019-04-20 16:00:00 | 6.585 | 310.853 | 6.495 | 307.56 | 6.978 | 314.9 | 7.183 | 315 | 20.785 | 889.833 | 22.381 | 23.912
2019-04-20 16:15:00 | 7.73 | 286.04 | 8.049 | 285.65 | 8.317 | 291.767 | 8.535 | 288.333 | 20.702 | 889.967 | 22.107 | 20.0856
2019-04-20 16:30:00 | 7.805 | 309.84 | 7.943 | 303.629 | 8.028 | 307.433 | 8.365 | 304 | 21.248 | 889.6 | 21.941 | 20.8054
2019-04-20 16:45:00 | 7.59 | 298.16 | 7.921 | 296.941 | 7.948 | 302.9 | 8.431 | 299.433 | 21.389 | 889.65 | 21.693 | 12.9053
2019-04-20 17:00:00 | 4.243 | 266.76 | 4.106 | 265.009 | 4.489 | 232.95 | 4.668 | 220.567 | 22.081 | 889.717 | 21.6 | 20.4345
2019-04-20 17:15:00 | 5.513 | 314.133 | 5.682 | 313.357 | 5.982 | 318.767 | 6.396 | 320.3 | 21.431 | 889.85 | 22.104 | 18.8364
2019-04-20 17:30:00 | 6.089 | 278.08 | 6.374 | 285.419 | 6.458 | 242.7 | 6.61 | 276 | 21.131 | 889.783 | 22.568 | 21.3539
2019-04-20 17:45:00 | 6.643 | 333.28 | 7.17 | 325.959 | 7.519 | 329.9 | 8.14 | 324.967 | 20.727 | 890.133 | 22.821 | 15.9359
2019-04-20 18:00:00 | 5.456 | 269.08 | 5.839 | 335.851 | 6.039 | 334.833 | 6.197 | 325.1 | 20.864 | 889.633 | 22.109 | 15.4733
2019-04-20 18:15:00 | 5.988 | 318.8 | 6.151 | 324.426 | 6.538 | 328.6 | 6.905 | 329.133 | 21.394 | 889.95 | 21.669 | 12.1322
2019-04-20 18:30:00 | 5.418 | 312.92 | 5.618 | 311.498 | 5.922 | 307.033 | 5.866 | 315.433 | 21.481 | 890.15 | 21.216 | 11.4231
2019-04-20 18:45:00 | 5.575 | 314.547 | 5.689 | 307.759 | 5.92 | 310.167 | 5.94 | 305.933 | 21.189 | 889.767 | 21.168 | 9.1848
2019-04-20 19:00:00 | 4.46 | 306.88 | 4.498 | 306.746 | 4.676 | 309.6 | 4.834 | 305.467 | 21.377 | 889.633 | 21.192 | 7.5547
2019-04-20 19:15:00 | 5.087 | 319.093 | 5.24 | 317.837 | 5.395 | 323.467 | 5.389 | 323.233 | 21.185 | 889.683 | 22.048 | 8.0422
2019-04-20 19:30:00 | 4.469 | 333.053 | 4.496 | 328.761 | 4.59 | 334.6 | 4.616 | 333.367 | 21.431 | 890.183 | 22.312 | 6.4363
2019-04-20 19:45:00 | 3.792 | 301.107 | 3.784 | 300.967 | 3.93 | 306.667 | 4.354 | 304.633 | 20.906 | 889.95 | 22.616 | 8.1957
2019-04-20 20:00:00 | 4.574 | 320.347 | 4.588 | 318.117 | 4.76 | 320.133 | 4.724 | 319.233 | 21.173 | 889.65 | 22.043 | 7.9853
2019-04-20 20:15:00 | 4.218 | 286.92 | 4.574 | 285.537 | 4.829 | 290.233 | 4.922 | 289.733 | 20.731 | 889.967 | 22.936 | 3.8498
2019-04-20 20:30:00 | 4.195 | 304.587 | 4.467 | 300.155 | 4.478 | 307.767 | 4.535 | 304.867 | 20.818 | 889.383 | 23.589 | 1.5078
2019-04-20 20:45:00 | 3.624 | 315.093 | 3.853 | 310.651 | 3.957 | 315.167 | 4.085 | 313.067 | 20.177 | 890.083 | 23.683 | 0.22525
2019-04-20 21:00:00 | 2.536 | 312.787 | 3.188 | 307.426 | 3.53 | 314.7 | 3.836 | 314.2 | 20.239 | 889.4 | 24.187 | 0.21175
2019-04-20 21:15:00 | 0.712 | 213.463 | 0.814 | 284.303 | 1.93 | 288.233 | 2.718 | 291.133 | 19.502 | 889.85 | 24.677 | 0.32899
2019-04-20 21:30:00 | 3.199 | 108.853 | 3.179 | 95.973 | 3.238 | 96.767 | 3.442 | 96.167 | 19.281 | 889.533 | 26.096 | 0.21957
2019-04-20 21:45:00 | 1.196 | 100.053 | 1.554 | 89.701 | 2.33 | 93.9 | 2.632 | 87.2 | 19.364 | 889.6 | 26.08 | 0.20962
2019-04-20 22:00:00 | 1.941 | 133.157 | 2.126 | 124.884 | 2.486 | 113.133 | 2.35 | 88.233 | 18.606 | 889.633 | 26.731 | 0.20109
2019-04-20 22:15:00 | 2.347 | 142.033 | 2.261 | 116.881 | 2.343 | 108.7 | 2.723 | 98.167 | 18.489 | 889.983 | 27.429 | 0.17622
2019-04-20 22:30:00 | 3.138 | 159.04 | 2.617 | 138.078 | 1.972 | 129.567 | 1.946 | 101.8 | 18.385 | 889.967 | 27.717 | 0.16911
2019-04-20 22:45:00 | 2.04 | 147.933 | 1.664 | 97.658 | 1.413 | 86.967 | 1.978 | 77.067 | 17.727 | 890.15 | 28.469 | 0.19967
2019-04-20 23:00:00 | 0.07 | 115.24 | 0.8 | 37.704 | 1.288 | 34.067 | 1.941 | 28.8 | 17.548 | 889.917 | 28.667 | 0.1208
2019-04-20 23:15:00 | 0 | 25.1 | 0.29 | 10.033 | 1.237 | 0 | 2.549 | 0 | 17.264 | 889.517 | 29.259 | 0.2018
2019-04-20 23:30:00 | 1.085 | 262.573 | 0.543 | 349.166 | 1.614 | 346.2 | 2.538 | 358 | 17.264 | 890.017 | 29.488 | 0.17764
2019-04-20 23:45:00 | 3.116 | 205.58 | 1.96 | 205.519 | 1.218 | 223.533 | 1.253 | 244.967 | 16.243 | 890.1 | 30.069 | 0.16911