## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-21 00:00:00 | 2.349 | 200.613 | 1.111 | 192.97 | 0.623 | 199.5 | 0.934 | 202.967 | 15.416 | 890.267 | 30.709 | 0.16911
2019-04-21 00:15:00 | 1.986 | 222.787 | 0.214 | 224.192 | 0.43 | 258 | 1.501 | 226.733 | 16.564 | 889.733 | 30.443 | 0.17054
2019-04-21 00:30:00 | 3.375 | 231.46 | 1.472 | 261.992 | 1.206 | 258.8 | 1.993 | 268.433 | 15.942 | 889.833 | 30.291 | 0.16698
2019-04-21 00:45:00 | 5.214 | 224.793 | 2.991 | 226.381 | 1.972 | 258.067 | 2.279 | 268.367 | 13.335 | 889.583 | 31.845 | 0.2018
2019-04-21 01:00:00 | 5.491 | 234.053 | 3.453 | 242.932 | 2.611 | 257.867 | 2.813 | 268.667 | 12.566 | 889.783 | 32.944 | 0.40005
2019-04-21 01:15:00 | 5.414 | 227.367 | 4.25 | 236.905 | 3.13 | 248.067 | 2.956 | 256.8 | 12.316 | 889.567 | 33.616 | 1.3863
2019-04-21 01:30:00 | 5.413 | 226.007 | 4.668 | 243.986 | 3.823 | 252.067 | 3.406 | 256 | 12.27 | 889.9 | 33.653 | 3.2729
2019-04-21 01:45:00 | 5.892 | 223.52 | 5.225 | 235.402 | 4.305 | 247 | 3.773 | 248 | 12.203 | 889.717 | 34.096 | 5.3314
2019-04-21 02:00:00 | 5.762 | 223.92 | 5.237 | 240.145 | 4.541 | 251.667 | 3.964 | 254 | 12.12 | 889.733 | 34.101 | 7.824
2019-04-21 02:15:00 | 5.695 | 230.187 | 5.827 | 246.144 | 4.56 | 257.1 | 4.428 | 259.233 | 12.716 | 889.5 | 33.845 | 11.3712
2019-04-21 02:30:00 | 5.62 | 235.033 | 6.166 | 251.949 | 5.258 | 264.067 | 4.944 | 265.333 | 12.486 | 889.583 | 34.205 | 6.0647
2019-04-21 02:45:00 | 5.237 | 235.313 | 5.218 | 253.372 | 4.719 | 264 | 4.695 | 264.367 | 13.253 | 890.117 | 33.627 | 18.8911
2019-04-21 03:00:00 | 5.39 | 226.28 | 6.067 | 236.979 | 5.075 | 246.6 | 4.793 | 243.933 | 13.924 | 889.4 | 33.179 | 31.6344
2019-04-21 03:15:00 | 5.928 | 275.28 | 7.51 | 282.409 | 7.746 | 292.2 | 8.024 | 291.333 | 13.908 | 889.85 | 33.261 | 25.9016
2019-04-21 03:30:00 | 4.632 | 296.333 | 6.087 | 301.599 | 6.369 | 309.233 | 7.023 | 307.1 | 14.641 | 890.05 | 32.824 | 23.7827
2019-04-21 03:45:00 | 5.078 | 241.06 | 6.281 | 253.312 | 6.736 | 265.533 | 7.223 | 266.9 | 15.122 | 889.683 | 32.512 | 34.8092
2019-04-21 04:00:00 | 5.489 | 273.52 | 6.833 | 277.945 | 7.493 | 284.467 | 8.141 | 284.033 | 15.578 | 889.667 | 32.184 | 48.531
2019-04-21 04:15:00 | 7.037 | 278.773 | 8.537 | 280.95 | 9.023 | 285.567 | 9.426 | 281.933 | 16.531 | 889.833 | 30.643 | 56.365
2019-04-21 04:30:00 | 6.466 | 295.493 | 8.08 | 292.762 | 8.628 | 298.1 | 9.307 | 295.2 | 16.086 | 889.667 | 31.803 | 55.1243
2019-04-21 04:45:00 | 6.263 | 302.48 | 7.475 | 297.798 | 8.338 | 304 | 9.309 | 301.667 | 16.267 | 889.65 | 32.949 | 44.517
2019-04-21 05:00:00 | 5.223 | 313.12 | 6.4 | 307.79 | 7.116 | 313.333 | 7.794 | 310.467 | 15.875 | 889.65 | 34.632 | 49.3133
2019-04-21 05:15:00 | 5.865 | 317.6 | 6.76 | 311.939 | 7.368 | 316.533 | 7.968 | 315.967 | 15.868 | 889.683 | 35.773 | 64.8065
2019-04-21 05:30:00 | 7.704 | 301.36 | 8.569 | 296.49 | 9.121 | 304.433 | 10.18 | 302.333 | 15.79 | 889.767 | 37.541 | 53.3756
2019-04-21 05:45:00 | 8.458 | 291.733 | 9.631 | 291.86 | 10.21 | 295.867 | 10.643 | 292.533 | 15.388 | 889.883 | 39.155 | 25.8867
2019-04-21 06:00:00 | 5.095 | 276.82 | 5.772 | 273.272 | 6.009 | 279.233 | 6.242 | 276.2 | 14.874 | 889.892 | 42.331 | 18.7327
2019-04-21 06:15:00 | 4.705 | 268.973 | 5.504 | 269.86 | 5.662 | 275.533 | 5.883 | 273.1 | 14.549 | 889.717 | 44.864 | 18.6979
2019-04-21 06:30:00 | 4.946 | 249.66 | 5.528 | 252.953 | 5.616 | 259.217 | 5.843 | 256.9 | 14.441 | 889.492 | 43.659 | 16.5107
2019-04-21 06:45:00 | 4.598 | 227.667 | 5.183 | 228.917 | 5.286 | 236.3 | 5.408 | 232.7 | 14.266 | 889.817 | 42.795 | 18.3085
2019-04-21 07:00:00 | 5.374 | 217.313 | 6.414 | 216.386 | 6.692 | 221.533 | 6.783 | 218.633 | 14.124 | 890.192 | 43.253 | 21.1017
2019-04-21 07:15:00 | 4.984 | 231.753 | 6.086 | 233.323 | 6.454 | 237.933 | 6.531 | 232.367 | 14.387 | 889.975 | 45.739 | 21.349
2019-04-21 07:30:00 | 4.452 | 224.853 | 5.409 | 219.324 | 6.206 | 225.267 | 6.68 | 222.133 | 13.626 | 889.842 | 54.645 | 22.0951
2019-04-21 07:45:00 | 4.873 | 228.427 | 6.148 | 233.799 | 6.72 | 241.7 | 7.018 | 238.5 | 13.158 | 889.6 | 61.024 | 37.6124
2019-04-21 08:00:00 | 5.957 | 231.7 | 7.236 | 239.804 | 7.603 | 246.067 | 7.808 | 242.2 | 13.068 | 889.9 | 61.429 | 59.5654
2019-04-21 08:15:00 | 7.022 | 233.707 | 7.966 | 242.261 | 8.36 | 247.9 | 8.678 | 243.933 | 12.928 | 889.683 | 58.901 | 54.5275
2019-04-21 08:30:00 | 6.945 | 241.947 | 8.262 | 246.93 | 8.744 | 251.833 | 8.915 | 246.5 | 13.816 | 890.233 | 53.312 | 52.1478
2019-04-21 08:45:00 | 7.718 | 229.533 | 8.318 | 238.459 | 8.703 | 244.433 | 8.796 | 239.767 | 14.591 | 889.617 | 49.899 | 45.4407
2019-04-21 09:00:00 | 7.032 | 242.32 | 7.583 | 248.201 | 7.518 | 252.25 | 7.813 | 247.95 | 15.866 | 889.867 | 45.995 | 58.5919
2019-04-21 09:15:00 | 7.744 | 254.993 | 8.216 | 257.262 | 8.744 | 260.8 | 8.738 | 258.133 | 16.193 | 890.142 | 45.12 | 63.2674
2019-04-21 09:30:00 | 8.712 | 255.64 | 9.442 | 257.268 | 9.459 | 262.633 | 9.537 | 257.65 | 16.044 | 889.817 | 44.976 | 61.8541
2019-04-21 09:45:00 | 8.771 | 265.1 | 9.523 | 265.519 | 9.395 | 268.8 | 9.547 | 263.017 | 16.931 | 889.517 | 42.917 | 64.5287
2019-04-21 10:00:00 | 8.545 | 280.06 | 9.136 | 278.723 | 9.138 | 282.367 | 9.381 | 280.733 | 16.362 | 890.008 | 42.891 | 59.4233
2019-04-21 10:15:00 | 8.459 | 271.493 | 9.231 | 275.651 | 9.166 | 279.4 | 9.306 | 277.9 | 16.798 | 889.4 | 39.597 | 55.5038
2019-04-21 10:30:00 | 8.473 | 270.06 | 8.859 | 271.128 | 8.833 | 276.9 | 9.323 | 276.7 | 17.031 | 889.7 | 38.987 | 55.0924
2019-04-21 10:45:00 | 9.116 | 278.813 | 9.834 | 275.783 | 10.154 | 279.933 | 10.316 | 279.333 | 17.294 | 890.233 | 37.107 | 54.2653
2019-04-21 11:00:00 | 8.425 | 285.213 | 9.06 | 283.193 | 9.665 | 287.6 | 9.88 | 284.933 | 17.76 | 889.85 | 36.347 | 49.7184
2019-04-21 11:15:00 | 8.572 | 281.8 | 9.347 | 282.842 | 9.579 | 285.967 | 9.821 | 282.067 | 17.906 | 889.417 | 34.645 | 53.0815
2019-04-21 11:30:00 | 8.764 | 297.707 | 9.235 | 292.135 | 9.407 | 295.667 | 9.791 | 294.567 | 17.852 | 889.717 | 35.896 | 56.8865
2019-04-21 11:45:00 | 8.323 | 291.14 | 8.464 | 289.031 | 8.631 | 294.833 | 9.207 | 292.4 | 17.568 | 889.85 | 35.453 | 52.1769
2019-04-21 12:00:00 | 9.08 | 275.96 | 9.495 | 282.33 | 9.591 | 288.133 | 10.055 | 286.533 | 17.964 | 889.85 | 34.416 | 49.8505
2019-04-21 12:15:00 | 7.245 | 295.807 | 7.768 | 291.646 | 7.956 | 295.6 | 8.152 | 292.633 | 17.827 | 889.733 | 35.261 | 45.7413
2019-04-21 12:30:00 | 8.383 | 295.393 | 8.892 | 292.638 | 9.039 | 299.067 | 9.456 | 296.567 | 18.094 | 889.767 | 35.309 | 45.8074
2019-04-21 12:45:00 | 7.82 | 311.387 | 8.124 | 306.273 | 8.279 | 311.733 | 8.724 | 308.767 | 18.052 | 890.117 | 36.435 | 48.6774
2019-04-21 13:00:00 | 7.72 | 298.933 | 7.928 | 294.593 | 8.126 | 300.933 | 8.594 | 297.367 | 18.418 | 889.85 | 35.008 | 47.0857
2019-04-21 13:15:00 | 8.266 | 312.893 | 8.711 | 304.207 | 8.962 | 308.9 | 9.347 | 306.133 | 18.481 | 890.05 | 33.619 | 40.6245
2019-04-21 13:30:00 | 7.947 | 296.113 | 8.399 | 292.706 | 8.584 | 296.967 | 8.766 | 298.267 | 18.539 | 889.733 | 32.741 | 34.7311
2019-04-21 13:45:00 | 6.89 | 288.8 | 7.498 | 283.171 | 7.63 | 289 | 7.925 | 284.167 | 19.01 | 890 | 29.499 | 39.1359
2019-04-21 14:00:00 | 7.836 | 307.16 | 8.224 | 302.921 | 8.452 | 309.3 | 8.802 | 306.7 | 19.494 | 889.983 | 28.891 | 31.1299
2019-04-21 14:15:00 | 7.476 | 293.007 | 7.769 | 291.367 | 7.926 | 295.767 | 8.105 | 293.8 | 20.118 | 889.317 | 28.619 | 27.9494
2019-04-21 14:30:00 | 6.239 | 292.827 | 6.624 | 300.457 | 7.04 | 304.967 | 7.006 | 305.4 | 20.118 | 889.567 | 27.549 | 31.886
2019-04-21 14:45:00 | 8.153 | 328.787 | 8.346 | 320.221 | 8.64 | 324.067 | 8.988 | 320 | 19.844 | 889.617 | 28.056 | 41.9362
2019-04-21 15:00:00 | 8.122 | 314.28 | 8.466 | 310.364 | 8.441 | 314.933 | 8.942 | 311.933 | 19.839 | 889.883 | 28.635 | 43.0014
2019-04-21 15:15:00 | 8.069 | 303.433 | 8.576 | 297.855 | 8.659 | 304.1 | 8.986 | 301.667 | 19.994 | 889.983 | 27.472 | 35.8765
2019-04-21 15:30:00 | 6.946 | 298.167 | 7.484 | 296.598 | 7.772 | 300.3 | 8.292 | 301.467 | 20.123 | 889.9 | 27.816 | 41.0736
2019-04-21 15:45:00 | 8.076 | 299.973 | 8.326 | 296.837 | 8.685 | 299.767 | 9.149 | 298.2 | 20.16 | 889.5 | 27.811 | 40.7105
2019-04-21 16:00:00 | 8.558 | 277.033 | 9.213 | 280.256 | 9.169 | 283.667 | 9.216 | 281.1 | 20.398 | 889.617 | 26.301 | 41.6563
2019-04-21 16:15:00 | 8.537 | 288.573 | 9.023 | 289.807 | 9.246 | 294.4 | 9.347 | 292.467 | 20.527 | 889.917 | 25.939 | 42.6944
2019-04-21 16:30:00 | 7.387 | 287.053 | 8.07 | 286.879 | 8.241 | 292.433 | 8.58 | 287.767 | 21.314 | 890 | 25.131 | 40.81
2019-04-21 16:45:00 | 7.554 | 281.12 | 8.072 | 281.11 | 8.232 | 287.3 | 8.322 | 284.833 | 21.356 | 889.767 | 25.483 | 37.1392
2019-04-21 17:00:00 | 6.689 | 293.52 | 7.385 | 292.91 | 7.691 | 298.2 | 7.861 | 296.567 | 21.056 | 889.717 | 26.176 | 31.6984
2019-04-21 17:15:00 | 7.376 | 291.587 | 7.906 | 289.668 | 8.068 | 295.1 | 8.419 | 293.533 | 21.844 | 889.9 | 25.675 | 28.2543
2019-04-21 17:30:00 | 8.404 | 309.013 | 8.59 | 303.416 | 8.712 | 307.733 | 9.151 | 307.3 | 21.56 | 889.383 | 24.693 | 31.8
2019-04-21 17:45:00 | 6.998 | 293.173 | 7.457 | 293.91 | 7.818 | 299.767 | 7.975 | 296.867 | 21.198 | 889.65 | 25.805 | 36.0158
2019-04-21 18:00:00 | 8.572 | 316.44 | 9.218 | 311.054 | 9.487 | 315.067 | 9.729 | 313.333 | 21.489 | 889.917 | 25.245 | 44.571
2019-04-21 18:15:00 | 7.181 | 283.727 | 7.763 | 282.851 | 8.053 | 287.3 | 8.421 | 287.667 | 21.018 | 890.05 | 25.579 | 39.639
2019-04-21 18:30:00 | 7.744 | 306.227 | 8.136 | 301.118 | 8.476 | 307 | 9.006 | 305.167 | 21.081 | 889.533 | 24.619 | 46.0518
2019-04-21 18:45:00 | 7.514 | 308.28 | 7.891 | 305.431 | 8.275 | 310.067 | 8.578 | 308.833 | 21.135 | 889.583 | 24.283 | 33.8933
2019-04-21 19:00:00 | 7.979 | 302.653 | 8.228 | 299.92 | 8.551 | 304.5 | 8.898 | 302.667 | 20.973 | 890.05 | 23.845 | 35.8673
2019-04-21 19:15:00 | 6.913 | 296.92 | 7.366 | 293.796 | 7.497 | 301.2 | 7.628 | 300.2 | 20.818 | 889.917 | 24.589 | 26.7329
2019-04-21 19:30:00 | 6.706 | 297.107 | 7.449 | 293.001 | 7.547 | 298.9 | 7.937 | 296.667 | 20.535 | 889.733 | 26.16 | 37.0283
2019-04-21 19:45:00 | 6.805 | 308.907 | 7.247 | 303.488 | 7.729 | 308.833 | 8.297 | 307.7 | 20.006 | 890.233 | 27.491 | 44.2186
2019-04-21 20:00:00 | 7.24 | 306.573 | 7.698 | 301.714 | 7.938 | 306.1 | 8.329 | 304.9 | 19.727 | 889.833 | 28.381 | 42.6276
2019-04-21 20:15:00 | 6.764 | 302.293 | 7.536 | 301.464 | 7.912 | 305 | 8.388 | 304.133 | 19.631 | 889.633 | 28.789 | 39.4549
2019-04-21 20:30:00 | 5.813 | 296.12 | 6.61 | 291.914 | 6.771 | 297 | 7.201 | 294.1 | 19.135 | 890.033 | 29.373 | 20.9525
2019-04-21 20:45:00 | 5.101 | 282.493 | 5.948 | 281.362 | 6.292 | 286.533 | 6.681 | 284.567 | 18.735 | 890.167 | 30.141 | 17.4259
2019-04-21 21:00:00 | 4.68 | 287.933 | 5.645 | 284.079 | 6.088 | 288.1 | 6.542 | 286.933 | 18.506 | 889.883 | 30.789 | 17.3826
2019-04-21 21:15:00 | 5.897 | 281.173 | 7.134 | 281.862 | 7.234 | 288.5 | 7.842 | 286.633 | 18.227 | 889.717 | 31.456 | 27.2076
2019-04-21 21:30:00 | 5.563 | 280.38 | 6.868 | 281.002 | 7.321 | 285.767 | 7.641 | 284.167 | 18.073 | 890 | 32.216 | 29.6136
2019-04-21 21:45:00 | 5.192 | 286.787 | 6.406 | 282.779 | 6.705 | 288.6 | 7.153 | 286.2 | 17.389 | 889.633 | 32.723 | 29.961
2019-04-21 22:00:00 | 5.474 | 280.28 | 6.845 | 277.881 | 7.356 | 284.567 | 7.857 | 282.2 | 17.294 | 890.183 | 33.859 | 23.615
2019-04-21 22:15:00 | 5.205 | 271.007 | 6.176 | 272.75 | 6.382 | 277.767 | 6.862 | 275.5 | 16.914 | 889.5 | 34.459 | 18.1635
2019-04-21 22:30:00 | 4.307 | 268.08 | 5.604 | 272.142 | 5.847 | 279.3 | 6.142 | 277.467 | 16.614 | 889.867 | 35.189 | 20.0643
2019-04-21 22:45:00 | 4.984 | 269.867 | 6.034 | 275.464 | 6.323 | 282.233 | 6.736 | 279.7 | 16.348 | 889.533 | 35.571 | 18.1678
2019-04-21 23:00:00 | 4.269 | 260.873 | 5.643 | 269.308 | 5.916 | 277.067 | 6.263 | 275.133 | 16.039 | 889.9 | 36.448 | 17.8544
2019-04-21 23:15:00 | 4.718 | 275.34 | 6.104 | 278.397 | 6.608 | 285.033 | 7.074 | 283.667 | 15.562 | 889.65 | 37.344 | 12.0221
2019-04-21 23:30:00 | 4.063 | 273 | 5.631 | 274.658 | 6.136 | 280.533 | 6.673 | 279.8 | 16.018 | 889.983 | 37.856 | 13.866
2019-04-21 23:45:00 | 4.432 | 261.827 | 5.882 | 269.329 | 6.364 | 276.967 | 6.815 | 274.833 | 15.314 | 889.9 | 38.627 | 15.8733