## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-22 00:00:00 | 3.906 | 248.007 | 4.485 | 263.585 | 4.552 | 273.533 | 4.998 | 271.533 | 15.29 | 889.767 | 38.907 | 11.1296
2019-04-22 00:15:00 | 3.685 | 250.807 | 4.869 | 264.731 | 5.375 | 273.967 | 5.979 | 274.3 | 14.595 | 889.75 | 40.387 | 11.8338
2019-04-22 00:30:00 | 2.84 | 250.88 | 4.343 | 271.611 | 5.502 | 281.2 | 6.336 | 281.133 | 14.199 | 889.458 | 40.917 | 10.9079
2019-04-22 00:45:00 | 2.86 | 265.393 | 3.982 | 271.32 | 4.566 | 281.333 | 5.22 | 278.1 | 13.828 | 889.825 | 41.877 | 13.2919
2019-04-22 01:00:00 | 4.24 | 266.993 | 5.311 | 271.857 | 5.891 | 278.833 | 6.379 | 274.733 | 14.266 | 889.658 | 41.184 | 19.5633
2019-04-22 01:15:00 | 5.203 | 269.6 | 6.359 | 271.604 | 6.554 | 278.033 | 6.971 | 276.1 | 15.488 | 889.85 | 39.413 | 19.3878
2019-04-22 01:30:00 | 4.725 | 263.26 | 5.82 | 264.933 | 5.999 | 273.4 | 6.377 | 270.8 | 14.724 | 889.967 | 39.691 | 17.1787
2019-04-22 01:45:00 | 4.682 | 274.307 | 5.768 | 277.482 | 6.228 | 283.367 | 6.627 | 281.567 | 14.491 | 889.733 | 39.995 | 13.2236
2019-04-22 02:00:00 | 3.838 | 273.267 | 4.638 | 274.98 | 5.028 | 281.1 | 5.636 | 278.767 | 14.724 | 889.933 | 39.621 | 11.7002
2019-04-22 02:15:00 | 4.828 | 272.467 | 5.788 | 271.412 | 5.977 | 277.733 | 6.21 | 277.333 | 15.108 | 889.583 | 39.592 | 15.1379
2019-04-22 02:30:00 | 5.116 | 270.74 | 5.936 | 269.185 | 6.297 | 273.733 | 6.602 | 270.467 | 14.808 | 889.783 | 39.963 | 24.246
2019-04-22 02:45:00 | 7.15 | 261.707 | 8.219 | 262.921 | 8.533 | 268.317 | 8.726 | 264.267 | 14.941 | 889.992 | 42.075 | 36.0968
2019-04-22 03:00:00 | 6.701 | 258.667 | 7.453 | 259.758 | 7.727 | 265.4 | 8.006 | 261.967 | 14.268 | 889.717 | 44.16 | 39.4087
2019-04-22 03:15:00 | 7.435 | 253.953 | 8.496 | 259.245 | 9.036 | 265.05 | 8.956 | 260.35 | 14.191 | 890 | 44.672 | 40.9542
2019-04-22 03:30:00 | 6.21 | 251.42 | 7.142 | 254.413 | 7.727 | 258.25 | 7.953 | 253.2 | 13.995 | 889.967 | 45.472 | 34.5719
2019-04-22 03:45:00 | 6.258 | 246.82 | 7.136 | 251.742 | 7.602 | 255.267 | 7.729 | 249.883 | 13.799 | 890.167 | 46.101 | 33.5174
2019-04-22 04:00:00 | 6.142 | 249.72 | 7.041 | 252.343 | 7.298 | 259.217 | 7.634 | 254.1 | 13.778 | 890.233 | 46.373 | 35.1503
2019-04-22 04:15:00 | 5.375 | 256.947 | 6.269 | 257.365 | 6.657 | 263.133 | 6.997 | 258.8 | 13.337 | 889.858 | 46.805 | 40.1946
2019-04-22 04:30:00 | 8.994 | 254.34 | 10.365 | 256.472 | 10.72 | 261.867 | 11.1 | 258.4 | 13.055 | 890.042 | 47.413 | 41.8453
2019-04-22 04:45:00 | 7.191 | 258.127 | 8.472 | 260.773 | 8.72 | 267.367 | 8.898 | 264.067 | 13.093 | 890 | 47.691 | 41.6925
2019-04-22 05:00:00 | 5.386 | 265.76 | 6.422 | 263.562 | 6.93 | 268.017 | 7.464 | 265.267 | 13.068 | 889.65 | 46.837 | 39.9054
2019-04-22 05:15:00 | 6.173 | 257.233 | 7.334 | 258.811 | 7.83 | 264.033 | 8.228 | 259.1 | 12.851 | 890.217 | 46.064 | 32.3059
2019-04-22 05:30:00 | 5.504 | 261.293 | 6.456 | 262.475 | 7.006 | 268.1 | 7.414 | 264.233 | 13.034 | 890.033 | 45.856 | 24.7064
2019-04-22 05:45:00 | 4.271 | 264.18 | 5.116 | 261.81 | 5.653 | 266.333 | 5.906 | 262.517 | 12.578 | 890.025 | 46.731 | 18.4612
2019-04-22 06:00:00 | 2.513 | 222.593 | 3.534 | 230.531 | 4.218 | 242.767 | 4.494 | 239.983 | 12.311 | 889.783 | 49.44 | 23.7677
2019-04-22 06:15:00 | 4.039 | 225.373 | 4.856 | 231.089 | 5.189 | 238.433 | 5.442 | 233.4 | 11.336 | 890.008 | 51.115 | 26.3386
2019-04-22 06:30:00 | 3.087 | 248.58 | 4.413 | 246.546 | 5.241 | 254.583 | 5.734 | 251.717 | 11.361 | 890.267 | 50.112 | 24.5735
2019-04-22 06:45:00 | 3.881 | 249.607 | 5.49 | 246.501 | 5.91 | 252.433 | 6.081 | 248.583 | 11.395 | 889.417 | 49.397 | 30.5195
2019-04-22 07:00:00 | 5.243 | 238.14 | 6.444 | 245.976 | 6.707 | 253.5 | 6.818 | 250.35 | 11.724 | 890.025 | 47.371 | 29.6861
2019-04-22 07:15:00 | 4.852 | 270.587 | 6.483 | 265.618 | 6.892 | 269.7 | 7.109 | 265.233 | 12.211 | 889.917 | 46.149 | 29.3734
2019-04-22 07:30:00 | 5.666 | 259.393 | 6.709 | 259.876 | 6.943 | 264.633 | 7.095 | 257.417 | 12.616 | 889.008 | 45.008 | 24.1031
2019-04-22 07:45:00 | 4.827 | 241.567 | 5.583 | 243.357 | 6.144 | 250.067 | 6.236 | 244.017 | 13.322 | 890.133 | 43.04 | 17.7755
2019-04-22 08:00:00 | 2.966 | 250.373 | 3.668 | 246.581 | 4.25 | 252.65 | 4.477 | 246.967 | 14.162 | 889.283 | 40.843 | 17.6441
2019-04-22 08:15:00 | 3.686 | 260.4 | 4.071 | 253.765 | 4.541 | 254.583 | 4.951 | 251.017 | 14.979 | 889.983 | 38.608 | 14.4529
2019-04-22 08:30:00 | 3.223 | 272.873 | 3.414 | 265.335 | 3.588 | 267.8 | 3.793 | 264.217 | 14.941 | 890.117 | 38.285 | 11.7315
2019-04-22 08:45:00 | 4.61 | 264.787 | 5.053 | 262.503 | 5.145 | 266.8 | 5.176 | 260.633 | 15.158 | 889.583 | 38.389 | 18.2466
2019-04-22 09:00:00 | 6.882 | 254.247 | 7.16 | 256.337 | 7.303 | 260.217 | 7.312 | 257.733 | 15.355 | 889.583 | 37.555 | 28.9925
2019-04-22 09:15:00 | 7.136 | 252.893 | 7.682 | 259.759 | 8.073 | 266.683 | 8.058 | 265.8 | 15.723 | 889.533 | 37.725 | 32.7003
2019-04-22 09:30:00 | 6.887 | 269.433 | 7.379 | 270.15 | 7.506 | 272.8 | 7.332 | 265.833 | 16.053 | 889.983 | 37.853 | 36.3441
2019-04-22 09:45:00 | 5.875 | 287.8 | 6.405 | 283.45 | 6.638 | 285.433 | 6.717 | 282.367 | 15.431 | 889.65 | 37.277 | 26.4523
2019-04-22 10:00:00 | 6.707 | 278.267 | 7.162 | 277.509 | 7.175 | 282.7 | 7.144 | 282.967 | 15.49 | 889.517 | 37.365 | 20.8992
2019-04-22 10:15:00 | 6.34 | 273.753 | 6.712 | 276.632 | 6.798 | 285.567 | 7.096 | 281.433 | 16.015 | 889.917 | 37.171 | 21.2076
2019-04-22 10:30:00 | 6.217 | 270.933 | 6.796 | 273.929 | 6.965 | 276.033 | 7.026 | 272.4 | 16.798 | 890.033 | 36.096 | 23.6143
2019-04-22 10:45:00 | 5.02 | 282.053 | 5.213 | 277.463 | 5.397 | 280.967 | 5.722 | 276.767 | 16.764 | 889.617 | 35.757 | 14.519
2019-04-22 11:00:00 | 4.801 | 257.107 | 5.124 | 260.825 | 5.361 | 267.917 | 5.692 | 263.3 | 17.135 | 889.9 | 34.272 | 8.9318
2019-04-22 11:15:00 | 3.83 | 263.393 | 4.081 | 267.078 | 4.046 | 271.4 | 4.256 | 271.033 | 17.36 | 889.55 | 33.461 | 8.2781
2019-04-22 11:30:00 | 4.605 | 276.947 | 4.735 | 273.445 | 4.742 | 275.867 | 5.02 | 273.633 | 17.681 | 889.75 | 33.133 | 7.3309
2019-04-22 11:45:00 | 1.27 | 228.84 | 1.05 | 230.107 | 1.399 | 244.033 | 2.126 | 242.283 | 18.623 | 889.967 | 31.464 | 7.37
2019-04-22 12:00:00 | 3.277 | 304.76 | 3.312 | 305.138 | 3.789 | 306.767 | 4.39 | 304.317 | 17.644 | 889.867 | 31.835 | 9.4292
2019-04-22 12:15:00 | 6.218 | 302.107 | 6.599 | 297.759 | 6.834 | 304.967 | 7.237 | 303.067 | 17.881 | 889.917 | 32.355 | 18.5323
2019-04-22 12:30:00 | 6.268 | 317.453 | 6.575 | 311.344 | 6.501 | 316.2 | 6.938 | 314.2 | 18.644 | 889.7 | 30.603 | 17.4487
2019-04-22 12:45:00 | 5.287 | 286.053 | 5.756 | 280.333 | 5.764 | 284 | 5.714 | 280.15 | 19.118 | 889.85 | 30.237 | 25.8021
2019-04-22 13:00:00 | 7.233 | 307.16 | 7.665 | 310.028 | 8.161 | 312.067 | 8.81 | 309.2 | 19.344 | 889.817 | 29.648 | 33.8123
2019-04-22 13:15:00 | 6.126 | 304.56 | 6.491 | 299.719 | 6.824 | 302.267 | 7.112 | 296.667 | 18.935 | 889.95 | 30.648 | 37.4099
2019-04-22 13:30:00 | 8.108 | 310.093 | 8.222 | 298.696 | 8.384 | 301.933 | 8.709 | 299.667 | 19.239 | 889.967 | 30.408 | 38.4822
2019-04-22 13:45:00 | 7.469 | 295.6 | 8.017 | 290.698 | 7.934 | 296.033 | 8.247 | 292.2 | 19.231 | 889.533 | 30.264 | 34.9336
2019-04-22 14:00:00 | 8.888 | 293.92 | 9.317 | 290.72 | 9.487 | 296.1 | 9.709 | 296.467 | 19.456 | 889.75 | 29.987 | 36.6432
2019-04-22 14:15:00 | 9.144 | 309.88 | 9.569 | 307.868 | 9.876 | 311.467 | 9.893 | 309.4 | 19.739 | 889.867 | 28.907 | 39.2446
2019-04-22 14:30:00 | 7.177 | 305.4 | 7.642 | 301.925 | 8.121 | 307.567 | 8.385 | 303.933 | 19.777 | 889.85 | 27.992 | 40.0362
2019-04-22 14:45:00 | 7.768 | 285.42 | 7.982 | 283.451 | 8.1 | 290.433 | 8.271 | 287.1 | 20.202 | 889.767 | 26.656 | 40.719
2019-04-22 15:00:00 | 7.464 | 307.067 | 7.955 | 302.139 | 8.093 | 312.867 | 8.214 | 310.133 | 20.556 | 889.15 | 26.571 | 45.5281
2019-04-22 15:15:00 | 8.446 | 309.04 | 8.69 | 303.651 | 8.832 | 309.467 | 9.213 | 306.6 | 20.144 | 889.85 | 26.912 | 42.5303
2019-04-22 15:30:00 | 8.826 | 314.8 | 9.161 | 306.714 | 9.247 | 310.167 | 9.563 | 305.467 | 20.235 | 889.417 | 26.373 | 42.057
2019-04-22 15:45:00 | 7.51 | 297.733 | 7.809 | 298.425 | 7.813 | 300.367 | 8.22 | 300.733 | 20.268 | 889.85 | 26.101 | 39.106
2019-04-22 16:00:00 | 6.468 | 320.267 | 7.133 | 320.474 | 7.077 | 327.733 | 7.459 | 326.533 | 20.594 | 889.7 | 25.587 | 37.3872
2019-04-22 16:15:00 | 8.15 | 299.84 | 8.456 | 298.205 | 8.754 | 303.5 | 9.117 | 301 | 21.077 | 889.767 | 25.12 | 48.4415
2019-04-22 16:30:00 | 8.646 | 320.613 | 9.367 | 316.749 | 9.611 | 318.7 | 9.703 | 313.2 | 20.877 | 889.617 | 25.109 | 50.6925
2019-04-22 16:45:00 | 10.109 | 319.787 | 10.845 | 316.511 | 10.932 | 324.167 | 11.226 | 320.4 | 20.714 | 889.883 | 25.253 | 58.0298
2019-04-22 17:00:00 | 8.353 | 302.067 | 8.625 | 294.838 | 8.747 | 299.967 | 9.078 | 295.7 | 21.102 | 889.8 | 25.091 | 50.5632
2019-04-22 17:15:00 | 10.028 | 319.24 | 10.695 | 314.287 | 10.989 | 317.733 | 11.345 | 315.5 | 20.923 | 889.633 | 25.699 | 68.4617
2019-04-22 17:30:00 | 10.435 | 307.787 | 11.22 | 302.631 | 11.533 | 307.433 | 11.962 | 305.667 | 20.189 | 890.367 | 26.416 | 63.5623
2019-04-22 17:45:00 | 10.038 | 320.2 | 9.991 | 312.978 | 10.344 | 316.767 | 10.714 | 314.9 | 19.914 | 889.717 | 27 | 57.0571
2019-04-22 18:00:00 | 8.969 | 297.693 | 9.581 | 296.712 | 9.766 | 303.367 | 10.231 | 298.967 | 19.835 | 889.45 | 27.141 | 58.265
2019-04-22 18:15:00 | 9.042 | 314.667 | 9.403 | 306.891 | 9.683 | 311.767 | 10.09 | 308.6 | 20.068 | 889.567 | 27.84 | 58.9173
2019-04-22 18:30:00 | 10.124 | 298.48 | 10.874 | 298.654 | 11.317 | 301.867 | 11.716 | 300.1 | 20.077 | 889.6 | 28.485 | 62.9249
2019-04-22 18:45:00 | 8.381 | 297.093 | 9.264 | 294.26 | 9.625 | 300.067 | 10.263 | 296.833 | 19.902 | 889.75 | 28.653 | 63.941
2019-04-22 19:00:00 | 8.73 | 307.427 | 9.332 | 302.266 | 9.608 | 307.033 | 10.225 | 303.533 | 19.41 | 889.95 | 29.299 | 57.6113
2019-04-22 19:15:00 | 8.278 | 333.733 | 8.856 | 325.372 | 9.282 | 330.3 | 9.621 | 328.133 | 19.181 | 889.433 | 31.341 | 39.2823
2019-04-22 19:30:00 | 9.279 | 301.24 | 9.787 | 293.928 | 10.19 | 299.867 | 10.804 | 295.467 | 19.206 | 889.55 | 30.808 | 48.7719
2019-04-22 19:45:00 | 10.951 | 321.467 | 11.873 | 316.634 | 12.429 | 321.3 | 12.87 | 320 | 18.473 | 889.767 | 33.563 | 46.1328
2019-04-22 20:00:00 | 15.066 | 292.653 | 16.824 | 292.329 | 17.508 | 295.8 | 18.336 | 294.267 | 16.948 | 889.808 | 40.915 | 42.8664
2019-04-22 20:15:00 | 13.531 | 289.48 | 15.494 | 288.785 | 15.828 | 293.2 | 16.638 | 291.767 | 15.416 | 889.758 | 45.717 | 42.3746
2019-04-22 20:30:00 | 14.138 | 289.867 | 16.027 | 288.181 | 16.538 | 292.8 | 17.274 | 290 | 14.316 | 889.75 | 56.341 | 42.3306
2019-04-22 20:45:00 | 14.356 | 291.12 | 16.316 | 286.344 | 16.966 | 291.067 | 17.548 | 288.6 | 13.378 | 890.008 | 61.136 | 42.2851
2019-04-22 21:00:00 | 12.618 | 285.267 | 13.982 | 282.41 | 14.644 | 286 | 15.45 | 283.7 | 12.891 | 889.725 | 65.803 | 48.4393
2019-04-22 21:15:00 | 12.343 | 281.167 | 13.322 | 284.515 | 14.178 | 288.333 | 15.247 | 287.1 | 13.06 | 889.95 | 61.664 | 48.4024
2019-04-22 21:30:00 | 12.72 | 287.82 | 14.066 | 283.624 | 14.685 | 286.533 | 15.475 | 285.333 | 13.26 | 890.225 | 60.512 | 48.6433
2019-04-22 21:45:00 | 12.657 | 278.247 | 13.722 | 279.708 | 14.251 | 283.267 | 14.625 | 280.3 | 12.997 | 889.967 | 60.795 | 48.0933
2019-04-22 22:00:00 | 11.631 | 276.16 | 13.015 | 275.346 | 13.699 | 280.267 | 14.267 | 277.833 | 13.191 | 889.558 | 61.824 | 47.2946
2019-04-22 22:15:00 | 11.99 | 274.3 | 13.522 | 273.092 | 14.11 | 277.433 | 14.317 | 271.8 | 12.949 | 889.667 | 63.221 | 46.945
2019-04-22 22:30:00 | 10.842 | 262.207 | 11.754 | 264.11 | 12.046 | 268.7 | 12.055 | 264.9 | 12.582 | 889.933 | 65.024 | 47.8886
2019-04-22 22:45:00 | 10.499 | 269.367 | 11.677 | 270.515 | 11.892 | 275.333 | 12.259 | 271.4 | 12.641 | 890.083 | 66.448 | 47.5085
2019-04-22 23:00:00 | 10.891 | 272.16 | 11.762 | 273.387 | 12.303 | 277.1 | 12.699 | 274.233 | 12.464 | 890.108 | 66.699 | 49.6999
2019-04-22 23:15:00 | 10.596 | 269.373 | 11.811 | 269.629 | 12.262 | 275.433 | 12.616 | 271.967 | 12.432 | 890.033 | 66.219 | 49.7908
2019-04-22 23:30:00 | 10.32 | 261.98 | 11.768 | 261.384 | 12.278 | 267.6 | 12.446 | 262.767 | 12.203 | 889.85 | 65.403 | 49.6771
2019-04-22 23:45:00 | 10.227 | 267.393 | 11.449 | 269.087 | 11.85 | 273.233 | 12.052 | 268.767 | 12.34 | 889.992 | 64.277 | 50.0949