## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-23 00:00:00 | 9.483 | 271.927 | 10.493 | 270.4 | 10.842 | 276.733 | 11.497 | 272.233 | 12.22 | 889.55 | 66.4 | 52.5933
2019-04-23 00:15:00 | 9.638 | 259.647 | 11.085 | 262.279 | 11.84 | 265.717 | 11.844 | 262.617 | 11.757 | 889.825 | 68.261 | 52.5308
2019-04-23 00:30:00 | 10.471 | 258.133 | 11.517 | 257.514 | 11.781 | 263.783 | 12.059 | 258.517 | 11.69 | 889.933 | 69.952 | 48.7335
2019-04-23 00:45:00 | 10.563 | 263.347 | 11.773 | 264.569 | 12.193 | 268.1 | 12.355 | 265.2 | 11.195 | 889.8 | 69.648 | 49.0113
2019-04-23 01:00:00 | 10.414 | 267.42 | 11.728 | 263.454 | 12.348 | 269.433 | 12.805 | 265.233 | 11.453 | 889.775 | 69.461 | 47.7032
2019-04-23 01:15:00 | 10.473 | 259.76 | 11.814 | 262.585 | 12.064 | 268.133 | 12.224 | 263.633 | 11.028 | 889.958 | 72.795 | 47.2655
2019-04-23 01:30:00 | 11.045 | 265.947 | 12.819 | 265.811 | 13.023 | 271.167 | 13.358 | 268.567 | 11.128 | 889.908 | 68.853 | 49.6302
2019-04-23 01:45:00 | 12.256 | 269.847 | 13.738 | 268.993 | 14.308 | 273.3 | 14.496 | 270.233 | 11.261 | 889.833 | 67.893 | 46.422
2019-04-23 02:00:00 | 11.594 | 269.467 | 13.311 | 269.08 | 13.912 | 273.733 | 14.802 | 269.467 | 10.911 | 889.75 | 68.469 | 42.8571
2019-04-23 02:15:00 | 13.357 | 271.347 | 14.815 | 269.626 | 15.3 | 274.633 | 15.491 | 269.967 | 10.861 | 890.083 | 69.115 | 45.2368
2019-04-23 02:30:00 | 10.956 | 267.36 | 12.416 | 263.172 | 12.999 | 270.067 | 13.39 | 267.167 | 10.945 | 890.017 | 69.509 | 48.585
2019-04-23 02:45:00 | 12.024 | 276.02 | 13.6 | 273.279 | 14.302 | 277 | 14.789 | 273.2 | 10.597 | 889.3 | 70.661 | 47.7423
2019-04-23 03:00:00 | 12.571 | 279.893 | 13.654 | 278.255 | 13.77 | 282.9 | 14.404 | 279.933 | 10.345 | 889.833 | 70.709 | 46.6487
2019-04-23 03:15:00 | 11.987 | 286.507 | 13.435 | 283.563 | 13.869 | 288.233 | 14.334 | 283.967 | 10.316 | 889.633 | 69.643 | 50.3721
2019-04-23 03:30:00 | 10.711 | 280.367 | 12.353 | 279.1 | 12.905 | 283.767 | 13.33 | 279.967 | 10.093 | 889.642 | 70.661 | 50.1426
2019-04-23 03:45:00 | 10.887 | 278.547 | 12.025 | 276.683 | 12.44 | 279.833 | 13.129 | 276.8 | 9.997 | 889.958 | 70.907 | 50.8673
2019-04-23 04:00:00 | 11.188 | 276.6 | 12.852 | 275.43 | 13.201 | 277.767 | 13.602 | 273.3 | 10.247 | 889.667 | 70.944 | 46.5819
2019-04-23 04:15:00 | 10.434 | 268.473 | 11.814 | 270.51 | 12.468 | 273.267 | 12.796 | 270.267 | 9.812 | 889.583 | 72.144 | 45.6433
2019-04-23 04:30:00 | 10.507 | 274.647 | 11.923 | 272.417 | 12.192 | 275.7 | 12.321 | 272.167 | 10.003 | 890.075 | 72.587 | 51.1665
2019-04-23 04:45:00 | 9.77 | 268.753 | 10.735 | 268.68 | 11.071 | 272.8 | 11.494 | 268.733 | 9.508 | 889.808 | 72.576 | 52.7134
2019-04-23 05:00:00 | 6.693 | 262.58 | 7.531 | 259.301 | 7.821 | 265.317 | 7.967 | 261.067 | 9.487 | 889.742 | 71.792 | 44.2321
2019-04-23 05:15:00 | 6.678 | 265.873 | 7.327 | 264.266 | 7.498 | 271.833 | 7.632 | 267.567 | 9.537 | 889.767 | 72.325 | 29.1467
2019-04-23 05:30:00 | 7.48 | 280.733 | 8.347 | 280.209 | 8.528 | 282.8 | 8.758 | 278.433 | 9.099 | 889.808 | 76.005 | 18.8371
2019-04-23 05:45:00 | 9.331 | 277.64 | 10.525 | 275.033 | 10.793 | 279.267 | 11.192 | 276.3 | 9.328 | 889.883 | 73.659 | 32.3315
2019-04-23 06:00:00 | 8.725 | 260.253 | 9.906 | 258.574 | 10.212 | 262.883 | 10.5 | 258.483 | 9.754 | 890.167 | 76.747 | 50.6343
2019-04-23 06:15:00 | 8.698 | 246.18 | 9.604 | 245.768 | 10.414 | 251.817 | 10.598 | 245.95 | 9.495 | 889.775 | 78.571 | 70.2814
2019-04-23 06:30:00 | 7.641 | 248.827 | 8.788 | 251.486 | 9.386 | 258.017 | 9.568 | 253.75 | 9.128 | 890.1 | 77.152 | 64.1564
2019-04-23 06:45:00 | 7.757 | 254.833 | 9.266 | 255.101 | 9.741 | 260.267 | 9.746 | 256.183 | 9.195 | 890.042 | 74.549 | 61.9579
2019-04-23 07:00:00 | 7.998 | 251.16 | 8.916 | 250.655 | 9.405 | 256.25 | 9.695 | 249.683 | 9.054 | 889.867 | 73.541 | 60.7236
2019-04-23 07:15:00 | 7.711 | 253.447 | 8.645 | 250.666 | 9.155 | 255.95 | 9.516 | 249.583 | 9.12 | 889.958 | 73.179 | 64.2359
2019-04-23 07:30:00 | 8.304 | 258.94 | 9.343 | 256.599 | 9.454 | 261.317 | 9.476 | 257.467 | 8.954 | 889.617 | 71.669 | 47.5149
2019-04-23 07:45:00 | 7.13 | 257.947 | 8.049 | 257.199 | 8.299 | 261.667 | 8.545 | 257 | 9.195 | 889.85 | 71.237 | 38.4154
2019-04-23 08:00:00 | 6.553 | 263.633 | 7.597 | 259.84 | 7.77 | 264.3 | 8.184 | 259.133 | 9.083 | 890.058 | 69.893 | 35.1958
2019-04-23 08:15:00 | 7.557 | 251.147 | 8.273 | 252.558 | 8.526 | 257.433 | 8.515 | 254.317 | 8.954 | 889.467 | 69.099 | 34.5804
2019-04-23 08:30:00 | 6.724 | 248.693 | 7.374 | 248.044 | 7.581 | 253.783 | 7.746 | 249.7 | 9.149 | 889.867 | 68.496 | 40.5336
2019-04-23 08:45:00 | 6.481 | 246.613 | 7.057 | 245.498 | 7.466 | 250.2 | 8.001 | 244.95 | 9.439 | 889.742 | 66.891 | 51.0855
2019-04-23 09:00:00 | 7.296 | 246.073 | 7.783 | 244.123 | 8.091 | 251.033 | 8.212 | 245.633 | 9.704 | 889.808 | 65.675 | 51.4891
2019-04-23 09:15:00 | 7.474 | 252.513 | 8.278 | 253.776 | 8.602 | 259.433 | 8.827 | 252.617 | 10.13 | 889.95 | 61.808 | 43.8867
2019-04-23 09:30:00 | 7.033 | 255.14 | 7.364 | 254.53 | 7.628 | 259.817 | 7.593 | 254.867 | 10.58 | 889.717 | 59.723 | 32.1702
2019-04-23 09:45:00 | 7.21 | 258.133 | 8.022 | 258.675 | 8.364 | 265.15 | 8.42 | 259.117 | 10.761 | 889.775 | 56.571 | 34.1079
2019-04-23 10:00:00 | 8.841 | 275.66 | 9.752 | 275.351 | 10.044 | 280.033 | 10.236 | 276.067 | 10.828 | 889.908 | 52.869 | 37.1989
2019-04-23 10:15:00 | 9.368 | 286.067 | 10.133 | 283.004 | 10.38 | 286.4 | 10.578 | 284.233 | 10.978 | 889.85 | 51.547 | 61.9479
2019-04-23 10:30:00 | 9.796 | 276.627 | 10.634 | 274.489 | 10.827 | 278 | 11.033 | 274.233 | 11.161 | 889.95 | 51.685 | 65.1227
2019-04-23 10:45:00 | 9.069 | 283.327 | 9.729 | 279.37 | 9.9 | 282.467 | 10.017 | 279.767 | 11.507 | 889.733 | 47.787 | 55.626
2019-04-23 11:00:00 | 8.827 | 276.727 | 9.529 | 274.173 | 9.466 | 276.2 | 9.638 | 271.167 | 11.516 | 890.1 | 46.736 | 53.8801
2019-04-23 11:15:00 | 8.047 | 257.167 | 8.856 | 260.154 | 9.283 | 266.467 | 9.356 | 261.267 | 13.014 | 889.725 | 43.664 | 56.4048
2019-04-23 11:30:00 | 8.672 | 261.673 | 9.058 | 263.772 | 9.242 | 270 | 9.347 | 264.55 | 12.218 | 889.892 | 41.957 | 50.8737
2019-04-23 11:45:00 | 7.122 | 275.813 | 7.842 | 271.425 | 8.221 | 275.267 | 8.082 | 273.283 | 12.628 | 890.042 | 41.421 | 45.0791
2019-04-23 12:00:00 | 6.434 | 261.04 | 6.76 | 264.081 | 7.149 | 267.95 | 7.287 | 265.033 | 13.11 | 889.983 | 39.243 | 38.8261
2019-04-23 12:15:00 | 7.064 | 263.6 | 7.62 | 266.005 | 7.753 | 272.717 | 7.686 | 272.583 | 13.966 | 889.817 | 37.477 | 32.9284
2019-04-23 12:30:00 | 6.892 | 283.387 | 7.141 | 282.021 | 7.294 | 287.2 | 7.642 | 284.967 | 13.949 | 889.667 | 36.357 | 30.0015
2019-04-23 12:45:00 | 7.557 | 292.387 | 7.966 | 290.685 | 8.05 | 297.5 | 8.546 | 292.967 | 14.341 | 889.617 | 35.333 | 34.0205
2019-04-23 13:00:00 | 8.586 | 299.08 | 8.932 | 293.024 | 8.95 | 298.233 | 9.15 | 294.267 | 14.491 | 889.617 | 34.549 | 37.8462
2019-04-23 13:15:00 | 7.513 | 296.507 | 7.689 | 293.792 | 7.624 | 294.2 | 7.848 | 293.1 | 14.541 | 889.917 | 33.589 | 35.5788
2019-04-23 13:30:00 | 6.235 | 286.8 | 6.92 | 281.363 | 7.274 | 285.367 | 7.617 | 284.1 | 15.041 | 889.65 | 32.531 | 30.8677
2019-04-23 13:45:00 | 6.408 | 294.813 | 6.412 | 295.792 | 6.569 | 297.7 | 6.769 | 295.833 | 15.274 | 889.45 | 30.848 | 25.3416
2019-04-23 14:00:00 | 6.279 | 314.067 | 6.438 | 306.075 | 6.451 | 310.033 | 7.064 | 304.633 | 15.248 | 889.733 | 30.509 | 24.0491
2019-04-23 14:15:00 | 5.932 | 268.327 | 6.062 | 265.633 | 6.498 | 269.95 | 6.855 | 269.267 | 15.711 | 889.733 | 29.899 | 25.0738
2019-04-23 14:30:00 | 6.634 | 266.907 | 6.613 | 265.492 | 6.868 | 277.6 | 7.145 | 259.067 | 16.284 | 889.85 | 29.571 | 24.7163
2019-04-23 14:45:00 | 5.709 | 267.3 | 5.836 | 268.362 | 5.956 | 273.167 | 6.245 | 268.25 | 16.036 | 889.633 | 29.176 | 26.6846
2019-04-23 15:00:00 | 6.64 | 303.68 | 6.92 | 297.487 | 7.057 | 301.133 | 7.487 | 295 | 16.531 | 889.567 | 27.317 | 35.3564
2019-04-23 15:15:00 | 8.543 | 315.92 | 8.55 | 310.762 | 8.729 | 316.3 | 9.071 | 314.933 | 16.241 | 890.067 | 27.048 | 37.9961
2019-04-23 15:30:00 | 7.703 | 292.84 | 8.194 | 292.057 | 8.175 | 296.4 | 8.577 | 291.467 | 15.906 | 889.7 | 29.328 | 37.0944
2019-04-23 15:45:00 | 8.781 | 283.3 | 9.383 | 285.508 | 9.851 | 289 | 10.167 | 286.367 | 16.848 | 889.983 | 28.448 | 43.3304
2019-04-23 16:00:00 | 8.546 | 293.493 | 9.148 | 290.944 | 9.154 | 296.667 | 9.602 | 291.933 | 16.498 | 889.483 | 27.781 | 45.3818
2019-04-23 16:15:00 | 8.676 | 281.907 | 9.313 | 282.143 | 9.293 | 286.867 | 9.497 | 281.533 | 16.364 | 889.7 | 29.261 | 49.1513
2019-04-23 16:30:00 | 7.574 | 283.6 | 8.059 | 280.736 | 8.213 | 283.333 | 8.427 | 279 | 16.614 | 889.733 | 29.171 | 49.4156
2019-04-23 16:45:00 | 8.852 | 297.727 | 9.12 | 296.922 | 9.522 | 301.633 | 9.866 | 297.733 | 16.748 | 890.1 | 29.003 | 50.36
2019-04-23 17:00:00 | 9.031 | 277.027 | 9.781 | 275.514 | 9.789 | 280.233 | 9.836 | 277.933 | 16.362 | 889.383 | 30.379 | 47.7423
2019-04-23 17:15:00 | 9.078 | 287.547 | 9.746 | 286.748 | 10.183 | 291.1 | 10.898 | 289.833 | 16.514 | 890.2 | 30.44 | 43.8953
2019-04-23 17:30:00 | 8.406 | 282.44 | 9.393 | 282.51 | 9.457 | 287.6 | 9.783 | 284.533 | 16.376 | 889.5 | 30.453 | 44.662
2019-04-23 17:45:00 | 8.555 | 288.04 | 9.083 | 285.992 | 9.307 | 290.833 | 9.407 | 288.2 | 16.41 | 890 | 30.917 | 48.3647
2019-04-23 18:00:00 | 8.753 | 267.3 | 9.488 | 267.053 | 9.763 | 271.567 | 9.688 | 268.567 | 15.958 | 889.767 | 30.992 | 46.7794
2019-04-23 18:15:00 | 8.661 | 278.413 | 9.41 | 274.581 | 9.673 | 278.733 | 9.82 | 274.067 | 16.198 | 889.783 | 30.077 | 57.1686
2019-04-23 18:30:00 | 8.121 | 274.04 | 8.703 | 274.058 | 8.87 | 279.467 | 9.16 | 274.567 | 16.388 | 889.917 | 28.92 | 56.4623
2019-04-23 18:45:00 | 8.23 | 276.62 | 8.994 | 272.288 | 9.051 | 274.2 | 9.339 | 269.267 | 16.105 | 890.017 | 28.893 | 55.7376
2019-04-23 19:00:00 | 8.67 | 261.147 | 9.452 | 262.228 | 9.659 | 266.217 | 9.452 | 261.267 | 16.664 | 889.75 | 27.813 | 54.0002
2019-04-23 19:15:00 | 8.043 | 266.22 | 8.522 | 264.858 | 8.716 | 270.4 | 8.918 | 265.383 | 16.948 | 889.35 | 28.227 | 51.9879
2019-04-23 19:30:00 | 8.395 | 263.187 | 8.799 | 264.985 | 9.052 | 269.7 | 9.172 | 264.767 | 16.881 | 889.7 | 26.749 | 48.7754
2019-04-23 19:45:00 | 7.231 | 285.773 | 8.009 | 285.951 | 8.155 | 288.233 | 8.493 | 284.567 | 16.364 | 889.633 | 27.819 | 48.3953
2019-04-23 20:00:00 | 7.972 | 286.133 | 8.844 | 284.874 | 9.33 | 290.267 | 9.758 | 288.333 | 15.828 | 889.65 | 28.237 | 53.7451
2019-04-23 20:15:00 | 8.159 | 274.32 | 8.999 | 279.343 | 9.316 | 282.8 | 9.932 | 281.433 | 16.082 | 889.817 | 28.224 | 60.86
2019-04-23 20:30:00 | 8.25 | 272.447 | 8.896 | 275.601 | 8.874 | 281.433 | 9.162 | 278.8 | 15.326 | 889.9 | 29.08 | 56.9874
2019-04-23 20:45:00 | 9.259 | 263.633 | 10.21 | 262.212 | 10.521 | 269.433 | 10.836 | 264.667 | 14.996 | 889.767 | 31.584 | 61.3027
2019-04-23 21:00:00 | 7.694 | 264.927 | 8.575 | 265.207 | 8.518 | 272.267 | 8.602 | 269.4 | 14.874 | 889.533 | 33.539 | 45.9602
2019-04-23 21:15:00 | 7.292 | 262.687 | 8.312 | 264.866 | 8.478 | 270.767 | 8.381 | 268.233 | 14.349 | 890.067 | 34.568 | 32.1332
2019-04-23 21:30:00 | 4.447 | 276.067 | 5.685 | 278.56 | 6.397 | 283.433 | 7.043 | 280.467 | 14.016 | 889.617 | 35.635 | 26.4338
2019-04-23 21:45:00 | 5.405 | 289.92 | 6.603 | 285.646 | 7.333 | 292.233 | 8.184 | 289.133 | 13.833 | 889.65 | 36.016 | 23.0408
2019-04-23 22:00:00 | 5.96 | 290.2 | 7.251 | 284.796 | 7.621 | 288.933 | 8.09 | 286.8 | 13.566 | 889.817 | 36.683 | 30.6098
2019-04-23 22:15:00 | 7.292 | 287.76 | 8.473 | 282.773 | 8.582 | 287.567 | 9.013 | 285.4 | 13.185 | 889.617 | 37.069 | 31.0994
2019-04-23 22:30:00 | 6.224 | 266.853 | 7.596 | 270.212 | 8.15 | 276.7 | 8.438 | 273.233 | 12.958 | 888.95 | 37.435 | 27.9302
2019-04-23 22:45:00 | 5.665 | 271.013 | 6.976 | 269.174 | 7.375 | 275.733 | 7.896 | 272.167 | 13.012 | 889.883 | 38.128 | 27.29
2019-04-23 23:00:00 | 6.462 | 270.907 | 7.718 | 274.272 | 8.162 | 280.467 | 8.521 | 276.467 | 12.83 | 889.383 | 38.627 | 27.5131
2019-04-23 23:15:00 | 5.781 | 261.38 | 7.153 | 265.089 | 7.568 | 272 | 7.954 | 269.033 | 12.42 | 889.95 | 39.483 | 30.8244
2019-04-23 23:30:00 | 5.155 | 254.54 | 6.232 | 258.712 | 6.77 | 266.2 | 7.122 | 266.2 | 12.295 | 890.05 | 40.533 | 19.223
2019-04-23 23:45:00 | 4.19 | 249.02 | 5.242 | 254.385 | 5.672 | 261.5 | 6.114 | 263.017 | 11.816 | 889.925 | 41.525 | 20.4217