## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-24 00:00:00 | 5.133 | 253.407 | 6.299 | 257.77 | 7.062 | 262.9 | 7.211 | 261.883 | 11.574 | 890.025 | 42.357 | 24.84
2019-04-24 00:15:00 | 5.125 | 240.367 | 6.017 | 245.278 | 6.446 | 254.5 | 6.851 | 253.033 | 11.195 | 889.808 | 42.827 | 29.4182
2019-04-24 00:30:00 | 5.059 | 245.92 | 6.091 | 251.226 | 6.757 | 260.117 | 7.104 | 257.883 | 11.211 | 889.883 | 43.429 | 30.9139
2019-04-24 00:45:00 | 5.794 | 255.107 | 7.05 | 261.698 | 7.82 | 267.867 | 8.304 | 264.567 | 10.845 | 889.842 | 44.373 | 26.1517
2019-04-24 01:00:00 | 6.61 | 265.487 | 7.594 | 268.494 | 8.111 | 275.967 | 8.371 | 273.467 | 11.095 | 889.683 | 45.845 | 25.1057
2019-04-24 01:15:00 | 6.208 | 257.973 | 7.443 | 259.422 | 8.03 | 266.4 | 8.372 | 263.533 | 10.584 | 890.167 | 47.547 | 26.8751
2019-04-24 01:30:00 | 6.283 | 257.913 | 7.563 | 258.594 | 8.186 | 265.767 | 8.345 | 261.833 | 10.559 | 889.833 | 50.565 | 29.3954
2019-04-24 01:45:00 | 5.962 | 254.413 | 7.172 | 255.006 | 7.763 | 261 | 7.982 | 257.733 | 10.612 | 889.917 | 53.963 | 22.0205
2019-04-24 02:00:00 | 3.917 | 231.467 | 4.801 | 241.016 | 5.2 | 250.9 | 5.427 | 252.967 | 10.037 | 889.925 | 55.531 | 23.1801
2019-04-24 02:15:00 | 4.374 | 223.067 | 4.887 | 231.127 | 5.132 | 242.2 | 5.347 | 240.667 | 8.728 | 889.65 | 58.539 | 28.8717
2019-04-24 02:30:00 | 4.828 | 220.133 | 5.284 | 225.54 | 5.566 | 234.567 | 5.652 | 232.5 | 8.691 | 889.733 | 61.515 | 31.6557
2019-04-24 02:45:00 | 5.487 | 223.453 | 5.717 | 227.429 | 5.861 | 235.8 | 5.838 | 233.833 | 8.678 | 889.625 | 62.859 | 33.5274
2019-04-24 03:00:00 | 5.462 | 231.527 | 6.371 | 232.93 | 6.473 | 239.367 | 6.365 | 235.267 | 9.012 | 889.908 | 63.168 | 41.1176
2019-04-24 03:15:00 | 6.448 | 242.22 | 7.445 | 240.632 | 7.68 | 245.867 | 7.66 | 241.967 | 9.224 | 890.592 | 63.627 | 40.3723
2019-04-24 03:30:00 | 5.914 | 248.2 | 7.321 | 246.472 | 7.61 | 252 | 7.623 | 246.833 | 8.558 | 889.942 | 64.555 | 28.579
2019-04-24 03:45:00 | 5.297 | 249.827 | 6.637 | 250.384 | 6.857 | 256.117 | 6.812 | 252.383 | 8.434 | 890.1 | 65.451 | 19.5733
2019-04-24 04:00:00 | 4.936 | 248.673 | 6.233 | 247.906 | 6.495 | 253.067 | 6.461 | 248.1 | 8.287 | 890.025 | 65.867 | 18.2068
2019-04-24 04:15:00 | 5.106 | 245.88 | 6.138 | 246.053 | 6.314 | 252.567 | 6.227 | 249.117 | 7.849 | 889.817 | 66.624 | 21.7625
2019-04-24 04:30:00 | 4.78 | 233.787 | 6.177 | 235.645 | 6.809 | 244 | 6.748 | 240.8 | 7.963 | 889.608 | 67.168 | 26.3784
2019-04-24 04:45:00 | 5.488 | 229.593 | 6.556 | 230.772 | 6.9 | 237.8 | 6.815 | 233.767 | 7.342 | 890.158 | 67.893 | 35.3145
2019-04-24 05:00:00 | 6.352 | 229.847 | 7.681 | 229.796 | 8.092 | 235.8 | 7.955 | 231.267 | 7.699 | 890.008 | 67.211 | 38.49
2019-04-24 05:15:00 | 6.111 | 229.233 | 7.445 | 231.601 | 7.578 | 239.9 | 7.462 | 237.767 | 7.189 | 889.517 | 69.355 | 28.0404
2019-04-24 05:30:00 | 4.991 | 229.387 | 5.835 | 235.645 | 6.094 | 252 | 6.289 | 253.333 | 7.016 | 890.25 | 69.952 | 23.1616
2019-04-24 05:45:00 | 4.737 | 234.753 | 5.59 | 248.97 | 5.928 | 264.067 | 6.311 | 265.333 | 6.585 | 890.225 | 70.699 | 23.0636
2019-04-24 06:00:00 | 3.851 | 234.5 | 5.819 | 249.055 | 6.026 | 264.4 | 6.074 | 265.233 | 6.077 | 890.042 | 70.976 | 18.5366
2019-04-24 06:15:00 | 4.831 | 227.493 | 5.22 | 246.742 | 5.23 | 264.4 | 5.439 | 264.8 | 5.626 | 889.683 | 74.176 | 15.376
2019-04-24 06:30:00 | 5.749 | 230.24 | 6.002 | 241.69 | 5.761 | 256.9 | 5.671 | 257.467 | 5.799 | 889.492 | 74.549 | 15.5635
2019-04-24 06:45:00 | 5.471 | 224.427 | 6.382 | 230.809 | 5.957 | 240.4 | 5.417 | 242.167 | 5.675 | 889.542 | 73.845 | 16.6656
2019-04-24 07:00:00 | 5.336 | 216.96 | 6.304 | 226.728 | 6.109 | 234.867 | 5.846 | 231.733 | 6.156 | 889.983 | 73.045 | 18.0349
2019-04-24 07:15:00 | 5.384 | 215.04 | 6.47 | 222.655 | 6.523 | 231.667 | 6.281 | 228.933 | 6.314 | 889.792 | 71.893 | 21.0967
2019-04-24 07:30:00 | 4.975 | 216.6 | 6.769 | 220.775 | 6.605 | 228.833 | 6.579 | 226.5 | 6.856 | 889.45 | 68.939 | 20.7123
2019-04-24 07:45:00 | 5.221 | 221.633 | 6.49 | 223.666 | 6.509 | 230.867 | 6.479 | 228.033 | 7.556 | 890.1 | 66.016 | 20.6093
2019-04-24 08:00:00 | 4.973 | 219.733 | 6.626 | 219.852 | 6.379 | 227.2 | 6.24 | 225.2 | 8.812 | 889.958 | 61.408 | 18.096
2019-04-24 08:15:00 | 4.86 | 218.5 | 6.009 | 219.381 | 6.316 | 226.867 | 6.424 | 224.467 | 9.916 | 889.7 | 56.597 | 13.1519
2019-04-24 08:30:00 | 4.047 | 223.033 | 4.318 | 223.712 | 4.791 | 229.833 | 5.139 | 228.4 | 11.111 | 890.075 | 51.947 | 7.1298
2019-04-24 08:45:00 | 4.246 | 226.867 | 4.314 | 225.591 | 4.607 | 231.1 | 4.866 | 228.8 | 12.386 | 889.992 | 46.528 | 5.9702
2019-04-24 09:00:00 | 4.017 | 230.88 | 4.283 | 231.737 | 4.354 | 239.6 | 4.4 | 236.7 | 12.872 | 890.008 | 43.307 | 8.6618
2019-04-24 09:15:00 | 4.303 | 247.207 | 4.578 | 242.779 | 4.668 | 246.783 | 4.634 | 240.817 | 13.466 | 889.883 | 41.109 | 11.1786
2019-04-24 09:30:00 | 4.397 | 272.32 | 4.703 | 272.789 | 4.825 | 276.9 | 4.963 | 270.2 | 13.151 | 889.375 | 41.632 | 10.7871
2019-04-24 09:45:00 | 3.903 | 295.16 | 3.944 | 287.416 | 4.471 | 291.467 | 4.497 | 288.633 | 12.791 | 889.958 | 42.491 | 7.4062
2019-04-24 10:00:00 | 3.154 | 272.453 | 3.398 | 271.666 | 3.949 | 272.167 | 4.117 | 269.85 | 13.458 | 889.667 | 40.52 | 5.5708
2019-04-24 10:15:00 | 4.258 | 307.373 | 4.356 | 297.663 | 4.707 | 298.1 | 5.098 | 296.667 | 13.28 | 889.567 | 38.216 | 5.4444
2019-04-24 10:30:00 | 3.848 | 305.853 | 3.955 | 303.576 | 4.206 | 304.467 | 4.541 | 301.267 | 13.512 | 889.6 | 38.869 | 5.4451
2019-04-24 10:45:00 | 3.765 | 301.027 | 3.975 | 295.916 | 4.166 | 302.367 | 4.411 | 297.8 | 13.431 | 889.433 | 39.061 | 6.6523
2019-04-24 11:00:00 | 3.781 | 297.973 | 3.844 | 289.023 | 4.34 | 291.9 | 4.379 | 288.617 | 14.028 | 889.567 | 36.472 | 6.7276
2019-04-24 11:15:00 | 4.134 | 288.973 | 4.137 | 282.976 | 4.324 | 288.483 | 4.34 | 281.517 | 14.258 | 889.95 | 36.272 | 7.0836
2019-04-24 11:30:00 | 4.714 | 300.053 | 4.767 | 295.264 | 5.228 | 302 | 5.314 | 296.8 | 14.412 | 889.617 | 35.112 | 6.5258
2019-04-24 11:45:00 | 6.004 | 294.013 | 6.264 | 293.649 | 6.382 | 299.533 | 6.654 | 297.733 | 14.462 | 889.467 | 34.989 | 6.9493
2019-04-24 12:00:00 | 4.431 | 314 | 4.497 | 310.133 | 4.926 | 312.933 | 4.726 | 309.233 | 14.858 | 889.933 | 33.733 | 7.4268
2019-04-24 12:15:00 | 5.717 | 321.467 | 5.402 | 304.255 | 5.49 | 317.267 | 5.564 | 315.567 | 15.214 | 889.75 | 33.08 | 9.3688
2019-04-24 12:30:00 | 7.38 | 324.067 | 7.199 | 319.264 | 7.358 | 326.9 | 7.498 | 324.3 | 15.958 | 890.167 | 31.24 | 12.1081
2019-04-24 12:45:00 | 5.507 | 295.347 | 5.722 | 292.312 | 5.716 | 298.333 | 5.851 | 297.667 | 15.524 | 889.717 | 32 | 10.4723
2019-04-24 13:00:00 | 5.611 | 313.427 | 5.935 | 310.221 | 6.475 | 310.067 | 6.762 | 310.767 | 15.64 | 889.85 | 31.653 | 13.7438
2019-04-24 13:15:00 | 2.87 | 296.72 | 2.947 | 308.848 | 3.569 | 315.233 | 4.191 | 315.633 | 16.02 | 890.183 | 31.405 | 10.0183
2019-04-24 13:30:00 | 3.708 | 293.68 | 3.893 | 301.255 | 4.284 | 316.567 | 4.624 | 314.8 | 17.114 | 889.917 | 29.851 | 12.5621
2019-04-24 13:45:00 | 6.2 | 88.061 | 6.13 | 127.726 | 6.303 | 106.201 | 6.782 | 115.667 | 16.548 | 889.833 | 26.827 | 21.5387
2019-04-24 14:00:00 | 7.458 | 326.333 | 8.166 | 320.562 | 8.195 | 329.467 | 8.457 | 328.4 | 16.798 | 889.75 | 26.733 | 26.5205
2019-04-24 14:15:00 | 6.973 | 90.23 | 6.879 | 106.371 | 7.343 | 74.9 | 7.405 | 82.133 | 16.898 | 890.2 | 24.245 | 27.3128
2019-04-24 14:30:00 | 5.869 | 308.068 | 6.239 | 324.968 | 6.345 | 291.633 | 6.514 | 325.967 | 16.848 | 889.483 | 24.856 | 35.7358
2019-04-24 14:45:00 | 5.537 | 121.104 | 5.698 | 175.756 | 6.302 | 87.833 | 6.291 | 153.967 | 16.464 | 889.383 | 24.411 | 31.152
2019-04-24 15:00:00 | 7.255 | 229.495 | 7.394 | 219.912 | 7.708 | 244.668 | 7.908 | 221.133 | 16.981 | 889.333 | 22.4 | 31.4902
2019-04-24 15:15:00 | 6.346 | 319.08 | 6.485 | 312.011 | 6.78 | 319.5 | 7.047 | 318.5 | 17.168 | 889.817 | 21.349 | 21.6005
2019-04-24 15:30:00 | 5.82 | 322.52 | 6.014 | 305.902 | 6.124 | 311.533 | 6.236 | 321.533 | 17.064 | 889.35 | 19.601 | 31.7062
2019-04-24 15:45:00 | 7.35 | 242.584 | 7.678 | 250.662 | 7.765 | 195.7 | 7.748 | 196.633 | 17.131 | 889.733 | 16.288 | 31.5861
2019-04-24 16:00:00 | 8.044 | 320.8 | 8.138 | 314.477 | 8.559 | 321.633 | 8.518 | 319.667 | 17.048 | 889.533 | 16.311 | 25.6849
2019-04-24 16:15:00 | 7.201 | 252.554 | 7.641 | 305.52 | 7.949 | 228.167 | 7.982 | 333.833 | 17.373 | 889.333 | 14.421 | 29.5539
2019-04-24 16:30:00 | 7.054 | 212.763 | 7.883 | 228.426 | 7.887 | 188.7 | 8.067 | 181.4 | 16.764 | 889.133 | 16.743 | 27.9715
2019-04-24 16:45:00 | 6.29 | 63.2 | 6.33 | 153.141 | 6.428 | 80.567 | 6.414 | 85.667 | 16.298 | 889.367 | 19.629 | 14.9041
2019-04-24 17:00:00 | 4.011 | 25.898 | 3.745 | 17.714 | 4.209 | 23.533 | 4.565 | 21.167 | 15.647 | 889.5 | 20.136 | 4.0453
2019-04-24 17:15:00 | 3.975 | 64.789 | 4.105 | 97.272 | 4.465 | 65.7 | 4.585 | 87.967 | 15.837 | 889.867 | 19.747 | 1.8588
2019-04-24 17:30:00 | 3.392 | 45.693 | 3.475 | 52.193 | 3.389 | 17.801 | 3.373 | 16.867 | 16.598 | 889.767 | 18.144 | 2.4955
2019-04-24 17:45:00 | 3.024 | 75.577 | 2.834 | 87.975 | 3.347 | 50.567 | 3.293 | 34.667 | 17.014 | 889.467 | 17.467 | 0.23378
2019-04-24 18:00:00 | 3.657 | 141.165 | 3.746 | 188.748 | 3.59 | 95.667 | 3.466 | 96.467 | 16.76 | 889.867 | 16.921 | 1.5512
2019-04-24 18:15:00 | 4.832 | 195.853 | 4.948 | 314.229 | 5.296 | 301.167 | 5.295 | 276.933 | 17.264 | 889.533 | 16.825 | 3.8406
2019-04-24 18:30:00 | 4.687 | 345.533 | 4.863 | 339.254 | 4.857 | 331.967 | 4.963 | 330.833 | 16.848 | 889.6 | 17.679 | 5.1751
2019-04-24 18:45:00 | 3.283 | 29.717 | 3.034 | 26.746 | 3.026 | 28.1 | 3.308 | 25.267 | 16.948 | 889.233 | 17.619 | 2.4998
2019-04-24 19:00:00 | 3.177 | 231.568 | 3.281 | 266.561 | 3.638 | 257.134 | 3.903 | 267.667 | 17.198 | 889.633 | 17.407 | 2.1807
2019-04-24 19:15:00 | 3.531 | 118.368 | 3.736 | 222.203 | 3.938 | 204.633 | 3.991 | 269.167 | 16.814 | 889.7 | 17.936 | 2.3072
2019-04-24 19:30:00 | 2.368 | 60.117 | 2.224 | 61.365 | 2.346 | 70.767 | 2.275 | 92 | 17.239 | 889.433 | 18.263 | 0.53506
2019-04-24 19:45:00 | 3.548 | 306.52 | 3.626 | 302.15 | 3.858 | 306.033 | 3.851 | 300.9 | 17.081 | 889.467 | 18.484 | 0.088821
2019-04-24 20:00:00 | 1.937 | 198.63 | 1.756 | 263.067 | 2.114 | 248.733 | 2.231 | 206.833 | 16.798 | 889.5 | 19.589 | 0.15846
2019-04-24 20:15:00 | 2.045 | 24.873 | 1.834 | 15.47 | 2.086 | 18.7 | 2.196 | 12.933 | 16.614 | 889.3 | 19.835 | 0.78091
2019-04-24 20:30:00 | 3.367 | 15.903 | 3.366 | 12.034 | 3.404 | 13 | 3.435 | 8.567 | 16.648 | 889.733 | 20.379 | 0.44055
2019-04-24 20:45:00 | 2.781 | 12.093 | 2.944 | 343.109 | 3.098 | 333.733 | 3.375 | 317.9 | 15.732 | 889.667 | 21.517 | 0.15348
2019-04-24 21:00:00 | 1.754 | 11.575 | 1.884 | 13.108 | 2.143 | 17.233 | 2.384 | 15.3 | 16.01 | 889.35 | 22.32 | 1.3273
2019-04-24 21:15:00 | 3.72 | 55.91 | 3.777 | 47.909 | 3.942 | 50.2 | 4.214 | 43.133 | 15.158 | 889.833 | 24.56 | 1.1277
2019-04-24 21:30:00 | 2.774 | 72.473 | 2.502 | 61.68 | 2.13 | 61.667 | 2.248 | 49.5 | 14.654 | 889.8 | 25.136 | 1.3899
2019-04-24 21:45:00 | 2.829 | 65.4 | 2.948 | 61.066 | 3.013 | 64 | 2.999 | 59.9 | 14.741 | 889.533 | 25.936 | 0.25722
2019-04-24 22:00:00 | 1.101 | 55.107 | 0.546 | 46.983 | 1.234 | 47.7 | 1.986 | 49.4 | 14.616 | 889.517 | 26.363 | 0.21459
2019-04-24 22:15:00 | 1.833 | 31.73 | 1.962 | 29.856 | 2.24 | 21 | 2.491 | 23.6 | 14.116 | 889.567 | 27.125 | 0.12506
2019-04-24 22:30:00 | 1.37 | 7.016 | 2.178 | 6.048 | 2.48 | 6.9 | 2.506 | 3.3 | 14.416 | 890.05 | 26.848 | 0.090952
2019-04-24 22:45:00 | 0 | 38.052 | 0.516 | 22.77 | 2.78 | 24.533 | 3.203 | 17.933 | 13.376 | 889.55 | 27.749 | 0.1478
2019-04-24 23:00:00 | 0.386 | 252.873 | 0.037 | 220.092 | 1.652 | 210.133 | 3.058 | 20.217 | 12.774 | 889.617 | 29.443 | 0.27357
2019-04-24 23:15:00 | 0.196 | 245.293 | 0.027 | 326.492 | 1.225 | 25.433 | 2.654 | 8.867 | 11.849 | 889.6 | 29.92 | 0.11795
2019-04-24 23:30:00 | 0 | 251.28 | 0 | 37.656 | 0.985 | 114.9 | 2.066 | 54.233 | 12.261 | 889.767 | 30.672 | 0.1613
2019-04-24 23:45:00 | 0 | 24.062 | 0.117 | 358.701 | 1.207 | 1.9 | 2.005 | 24.733 | 11.745 | 889.75 | 31.333 | 0.12222