## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-25 00:00:00 | 0.133 | 338.64 | 0.067 | 332.89 | 0.842 | 352.733 | 1.519 | 0 | 12.099 | 889.583 | 30.715 | 0.20749
2019-04-25 00:15:00 | 1.29 | 274.447 | 0 | 327.125 | 0.18 | 352.1 | 1.276 | 11.933 | 12.299 | 889.583 | 29.877 | 0.17196
2019-04-25 00:30:00 | 2.427 | 228.08 | 0.834 | 285.561 | 0.667 | 335.4 | 1.245 | 0 | 11.428 | 889.95 | 30.573 | 0.17054
2019-04-25 00:45:00 | 2.925 | 214.467 | 1.227 | 246.244 | 1.096 | 278 | 1.033 | 293.067 | 11.395 | 889.6 | 30.875 | 0.17764
2019-04-25 01:00:00 | 2.535 | 238.567 | 1.928 | 247.071 | 1.668 | 268 | 1.733 | 292.133 | 11.245 | 889.067 | 30.693 | 0.15135
2019-04-25 01:15:00 | 2.391 | 261.987 | 2.289 | 279.542 | 2.156 | 295.5 | 2.417 | 299.367 | 11.345 | 889.5 | 31.267 | 1.3913
2019-04-25 01:30:00 | 3.236 | 302.92 | 3.118 | 317.102 | 3.399 | 330.4 | 3.471 | 333.567 | 12.34 | 889.6 | 29.957 | 2.7876
2019-04-25 01:45:00 | 3.475 | 290.467 | 3.611 | 325.396 | 3.788 | 338.5 | 3.868 | 345.533 | 10.911 | 890.1 | 30.192 | 0.33397
2019-04-25 02:00:00 | 3.037 | 229.873 | 2.099 | 248.888 | 1.87 | 278.033 | 2.236 | 315.733 | 9.399 | 889.6 | 32.781 | 0.16983
2019-04-25 02:15:00 | 2.657 | 228.147 | 2.086 | 241.607 | 1.801 | 255.2 | 1.865 | 261.4 | 9.958 | 889.483 | 33.963 | 0.091663
2019-04-25 02:30:00 | 3.524 | 256.793 | 3.068 | 275.151 | 2.95 | 289.267 | 3.03 | 303.6 | 10.251 | 889.433 | 33.875 | 0.18546
2019-04-25 02:45:00 | 4.829 | 217.827 | 3.086 | 225.708 | 2.487 | 235.133 | 2.196 | 230.733 | 7.692 | 889.75 | 37.541 | 0.21814
2019-04-25 03:00:00 | 3.708 | 233.7 | 2.077 | 240.659 | 1.566 | 252.433 | 1.451 | 243.15 | 8.883 | 889.9 | 37.003 | 0.16769
2019-04-25 03:15:00 | 3.874 | 217.32 | 1.493 | 219.667 | 0.748 | 233.067 | 0.973 | 241 | 8.645 | 889.5 | 37.301 | 0.1748
2019-04-25 03:30:00 | 5.091 | 211.38 | 2.53 | 210.312 | 1.851 | 200.033 | 1.656 | 200.3 | 6.963 | 889.75 | 40.832 | 0.15419
2019-04-25 03:45:00 | 4.881 | 201.593 | 3.025 | 213.833 | 2.108 | 208 | 1.707 | 186 | 7.052 | 890.083 | 42.037 | 0.19185
2019-04-25 04:00:00 | 4.479 | 193 | 3.385 | 187.809 | 3.001 | 193.933 | 2.803 | 186.067 | 7.039 | 889.975 | 41.355 | 0.18191
2019-04-25 04:15:00 | 4.08 | 200.947 | 2.559 | 153.829 | 1.954 | 150.767 | 2.123 | 156.9 | 6.763 | 889.658 | 40.789 | 0.2018
2019-04-25 04:30:00 | 3.7 | 197.933 | 2.708 | 160.281 | 2.11 | 161.733 | 2.155 | 148 | 7.139 | 889.683 | 39.627 | 0.19043
2019-04-25 04:45:00 | 3.827 | 206.42 | 2.416 | 153.503 | 2.209 | 158 | 2.314 | 148 | 7.229 | 889.533 | 39.611 | 0.18546
2019-04-25 05:00:00 | 4.901 | 209.173 | 4.074 | 176.79 | 3.026 | 163.933 | 3.026 | 148.433 | 7.653 | 889.65 | 39.291 | 0.19114
2019-04-25 05:15:00 | 4.285 | 215.54 | 3.43 | 194.116 | 2.8 | 172.167 | 2.47 | 160.1 | 6.628 | 889.9 | 43.168 | 0.23591
2019-04-25 05:30:00 | 4.401 | 226.127 | 2.587 | 206.787 | 2.32 | 190 | 2.064 | 171.833 | 8.227 | 889.717 | 41.755 | 0.1748
2019-04-25 05:45:00 | 3.336 | 229.013 | 1.294 | 206.978 | 0.882 | 189.967 | 1.111 | 172 | 9.287 | 889.8 | 39.755 | 0.17764
2019-04-25 06:00:00 | 5.402 | 224.847 | 2.182 | 218.992 | 1.283 | 191.8 | 1.598 | 171.933 | 7.349 | 889.992 | 41.248 | 0.20535
2019-04-25 06:15:00 | 5.218 | 214.613 | 4.027 | 219.593 | 2.809 | 215.533 | 2.365 | 183.933 | 5.786 | 890.108 | 45.579 | 0.16911
2019-04-25 06:30:00 | 5.559 | 219.513 | 3.76 | 216.275 | 3.253 | 209.033 | 3.259 | 193.2 | 6 | 889.758 | 45.867 | 0.33468
2019-04-25 06:45:00 | 6.08 | 218.52 | 3.796 | 216.454 | 3.434 | 212.967 | 3.463 | 199.5 | 7.746 | 889.4 | 41.024 | 1.6606
2019-04-25 07:00:00 | 6.13 | 222.927 | 4.617 | 219.788 | 4.185 | 217.033 | 4.066 | 205.567 | 6.373 | 889.508 | 43.371 | 2.2759
2019-04-25 07:15:00 | 5.233 | 217 | 4.758 | 215.743 | 4.13 | 217.4 | 3.705 | 202.9 | 6.26 | 889.9 | 43.861 | 1.2399
2019-04-25 07:30:00 | 4.95 | 219.833 | 4.082 | 214.344 | 3.394 | 213.567 | 3.196 | 199.433 | 7.189 | 889.883 | 42.261 | 0.24372
2019-04-25 07:45:00 | 4.646 | 223.793 | 3.889 | 223.756 | 3.488 | 224.467 | 2.982 | 212.8 | 7.659 | 889.592 | 41.008 | 0.14638
2019-04-25 08:00:00 | 3.951 | 228.547 | 2.963 | 232 | 2.283 | 230.5 | 2.086 | 216 | 8.674 | 889.767 | 39.376 | 0.21033
2019-04-25 08:15:00 | 3.669 | 230.387 | 3.065 | 238.423 | 2.591 | 240.467 | 1.912 | 217.733 | 10.155 | 889.65 | 36.917 | 0.17054
2019-04-25 08:30:00 | 2.853 | 225.5 | 3.133 | 231.08 | 2.563 | 244.633 | 1.75 | 233.367 | 11.566 | 889.617 | 34.507 | 0.17054
2019-04-25 08:45:00 | 2.884 | 227.453 | 2.697 | 233.483 | 2.631 | 244.067 | 2.082 | 232.467 | 13.295 | 889.9 | 31.429 | 0.18191
2019-04-25 09:00:00 | 2.342 | 245.073 | 2.044 | 235.641 | 2.069 | 238.5 | 1.934 | 232.133 | 14.495 | 889.733 | 28.736 | 0.17054
2019-04-25 09:15:00 | 0.941 | 180.18 | 0.093 | 186.991 | 0.153 | 206.167 | 0.5 | 220 | 15.673 | 889.5 | 25.264 | 0.17125
2019-04-25 09:30:00 | 1.888 | 155.52 | 1.307 | 155.108 | 1.714 | 172.933 | 2.032 | 173.667 | 14.454 | 889.55 | 25.253 | 0.17835
2019-04-25 09:45:00 | 1.81 | 181.807 | 1.4 | 174.03 | 1.42 | 162.433 | 1.783 | 159.933 | 16.243 | 889.9 | 23.877 | 0.1883
2019-04-25 10:00:00 | 1.3 | 138.533 | 1.098 | 137.402 | 1.063 | 136.767 | 1.366 | 140.767 | 15.609 | 889.883 | 23.195 | 0.16485
2019-04-25 10:15:00 | 0.359 | 152.587 | 0.573 | 171.264 | 0.386 | 175.067 | 0.638 | 141.8 | 16.376 | 889.633 | 22.704 | 0.16485
2019-04-25 10:30:00 | 1.212 | 199.88 | 1.1 | 170.089 | 0.876 | 112.086 | 1.344 | 97.067 | 17.064 | 889.817 | 21.483 | 0.16769
2019-04-25 10:45:00 | 1.939 | 133.873 | 1.874 | 130.878 | 2.256 | 137.467 | 2.392 | 140.667 | 16.448 | 889.767 | 22.379 | 0.16556
2019-04-25 11:00:00 | 2.158 | 73.187 | 1.941 | 78.754 | 2.097 | 85.1 | 2.249 | 76.9 | 16.531 | 889.433 | 23.157 | 0.14496
2019-04-25 11:15:00 | 2.265 | 56.696 | 1.839 | 56.708 | 1.71 | 56.567 | 1.95 | 52.667 | 17.31 | 889.717 | 21.952 | 0.084557
2019-04-25 11:30:00 | 0.452 | 231.042 | 0.176 | 303.913 | 0.26 | 205.906 | 0.376 | 36.984 | 17.227 | 889.6 | 22.733 | 0.13572
2019-04-25 11:45:00 | 2.098 | 90.549 | 2.135 | 100.499 | 2.137 | 110 | 2.174 | 105.267 | 18.227 | 889.883 | 21.483 | 0.16343
2019-04-25 12:00:00 | 2.725 | 79.842 | 2.79 | 82.412 | 3.018 | 78.633 | 3.339 | 72.167 | 18.294 | 889.9 | 20.907 | 0.14496
2019-04-25 12:15:00 | 2.633 | 65.958 | 2.317 | 43.042 | 2.523 | 20.84 | 2.812 | 22.467 | 18.431 | 889.75 | 21.448 | 0.17622
2019-04-25 12:30:00 | 0.522 | 236.747 | 0.406 | 153.25 | 0.486 | 176.85 | 0.685 | 185.1 | 19.135 | 889.583 | 20.824 | 0.16698
2019-04-25 12:45:00 | 2.7 | 66.388 | 2.489 | 42.208 | 2.904 | 46.7 | 2.743 | 48.133 | 18.952 | 889.5 | 18.899 | 0.1613
2019-04-25 13:00:00 | 2.274 | 119.72 | 2.309 | 282.518 | 2.333 | 206.7 | 2.418 | 248.902 | 18.96 | 889.267 | 19.228 | 0.11867
2019-04-25 13:15:00 | 3.238 | 46.663 | 3.114 | 49.602 | 3.405 | 55.033 | 3.442 | 51.667 | 19.702 | 889.633 | 17.933 | 0.1279
2019-04-25 13:30:00 | 1.394 | 34.656 | 1.21 | 57.492 | 1.47 | 80.734 | 1.861 | 68.934 | 20.573 | 889.633 | 17.44 | 0.092374
2019-04-25 13:45:00 | 1.763 | 76.998 | 1.236 | 70.35 | 1.23 | 106.167 | 1.472 | 91.2 | 20.123 | 889.6 | 17.352 | 0.12577
2019-04-25 14:00:00 | 2.149 | 179.987 | 1.582 | 164.561 | 1.197 | 185.433 | 1.246 | 200.267 | 21.506 | 889.6 | 16.435 | 0.11724
2019-04-25 14:15:00 | 3.844 | 38.429 | 3.861 | 41.933 | 3.775 | 34.867 | 3.464 | 28.533 | 20.76 | 889.767 | 16.06 | 0.28352
2019-04-25 14:30:00 | 1.321 | 216.607 | 0.5 | 205.415 | 0.49 | 214.996 | 0.981 | 197 | 20.906 | 889.633 | 15.232 | 0.14069
2019-04-25 14:45:00 | 1.576 | 169.83 | 1.086 | 152.113 | 1.07 | 139.533 | 1.159 | 127.538 | 21.456 | 889.733 | 15.097 | 0.67291
2019-04-25 15:00:00 | 4.479 | 265.333 | 4.318 | 329.754 | 4.42 | 316.967 | 4.491 | 311.267 | 20.844 | 889.7 | 15.064 | 0.94079
2019-04-25 15:15:00 | 0.576 | 280.487 | 0.65 | 286.612 | 1.242 | 271.483 | 1.699 | 266.233 | 20.998 | 889.1 | 15.361 | 0.60114
2019-04-25 15:30:00 | 2.406 | 95.155 | 1.552 | 99.228 | 0.986 | 87.033 | 1.57 | 64.867 | 21.61 | 889.867 | 14.98 | 0.15277
2019-04-25 15:45:00 | 2.633 | 53.689 | 2.702 | 76.869 | 3.053 | 32.367 | 3.099 | 65.567 | 21.814 | 889.267 | 14.688 | 0.54571
2019-04-25 16:00:00 | 3.666 | 141.82 | 4.025 | 203.97 | 4.094 | 163.233 | 4.14 | 129.9 | 21.785 | 889.5 | 14.196 | 0.58053
2019-04-25 16:15:00 | 4.327 | 249.093 | 4.142 | 251.303 | 4.367 | 258.133 | 4.316 | 256.55 | 22.081 | 889.533 | 14.068 | 2.3733
2019-04-25 16:30:00 | 1.838 | 246.032 | 1.603 | 253.093 | 2.259 | 257.1 | 2.612 | 290.05 | 22.006 | 889 | 13.66 | 2.5261
2019-04-25 16:45:00 | 1.852 | 100.648 | 1.76 | 78.568 | 2.139 | 27.9 | 2.553 | 37.433 | 21.585 | 889.767 | 14.08 | 1.5199
2019-04-25 17:00:00 | 4.538 | 283.973 | 4.986 | 309.015 | 5.325 | 319.733 | 5.227 | 319.833 | 22.164 | 889.933 | 14.172 | 3.54
2019-04-25 17:15:00 | 4.325 | 339.133 | 4.466 | 332.66 | 4.63 | 327.367 | 4.693 | 335.567 | 22.548 | 889.5 | 14.221 | 9.1791
2019-04-25 17:30:00 | 5.94 | 306.533 | 6.077 | 301.428 | 6.242 | 306.5 | 6.329 | 303.867 | 21.648 | 889.633 | 14.617 | 10.0559
2019-04-25 17:45:00 | 4.267 | 137.088 | 4.613 | 251.717 | 4.688 | 242.8 | 4.516 | 278.533 | 21.873 | 889.567 | 13.808 | 11.9588
2019-04-25 18:00:00 | 5.715 | 328.6 | 5.793 | 321.574 | 6.022 | 323.833 | 6.299 | 320.933 | 22.327 | 889.533 | 13.929 | 15.7923
2019-04-25 18:15:00 | 4.751 | 186.514 | 4.824 | 229.029 | 5.091 | 175.401 | 5.2 | 209.6 | 21.952 | 889.367 | 13.864 | 15.96
2019-04-25 18:30:00 | 5.252 | 330.213 | 5.499 | 335.819 | 5.43 | 340.767 | 5.338 | 338.767 | 21.81 | 889.267 | 12.865 | 13.451
2019-04-25 18:45:00 | 6.57 | 317.4 | 6.957 | 312.591 | 7.062 | 319.567 | 7.296 | 318.167 | 22.006 | 889.633 | 12.595 | 35.7195
2019-04-25 19:00:00 | 8.643 | 295.387 | 9.185 | 293.744 | 9.277 | 299.1 | 9.748 | 296.433 | 21.806 | 889.5 | 13.604 | 57.6085
2019-04-25 19:15:00 | 9.699 | 305.507 | 10.36 | 302.218 | 10.803 | 307.9 | 11.119 | 305.1 | 21.489 | 889.1 | 15.959 | 62.0474
2019-04-25 19:30:00 | 12.692 | 292.493 | 14.042 | 289.455 | 14.499 | 295 | 14.874 | 292.333 | 20.977 | 889.5 | 16.143 | 56.2158
2019-04-25 19:45:00 | 12.595 | 290.78 | 14.112 | 292.062 | 14.828 | 295.433 | 15.723 | 293.4 | 20.614 | 889.4 | 14.74 | 51.2617
2019-04-25 20:00:00 | 13.284 | 292.24 | 14.834 | 290.493 | 15.3 | 294.867 | 15.932 | 292.4 | 19.677 | 889.533 | 17.863 | 50.3664
2019-04-25 20:15:00 | 14.914 | 290.933 | 16.48 | 288.606 | 17.456 | 292.5 | 18.139 | 290.433 | 18.994 | 889.7 | 19.627 | 49.7716
2019-04-25 20:30:00 | 13.658 | 289.067 | 15.483 | 288.88 | 15.943 | 293.033 | 17.048 | 291.433 | 18.473 | 889.633 | 20.583 | 47.7657
2019-04-25 20:45:00 | 13.024 | 305.52 | 14.73 | 300.336 | 15.659 | 307.4 | 16.482 | 305.4 | 18.002 | 889.6 | 21.648 | 45.342
2019-04-25 21:00:00 | 16.142 | 290.307 | 18.068 | 289.493 | 18.837 | 293.1 | 20.265 | 292.333 | 16.262 | 889.233 | 25.024 | 45.1281
2019-04-25 21:15:00 | 13.556 | 293.32 | 15.431 | 291.322 | 15.982 | 296.567 | 16.972 | 292.433 | 15.618 | 889.867 | 26.285 | 44.9142
2019-04-25 21:30:00 | 15.623 | 288.987 | 18.074 | 288.52 | 19.051 | 292.367 | 20.377 | 289.4 | 15.138 | 889.733 | 29.096 | 46.189
2019-04-25 21:45:00 | 15.545 | 295.187 | 17.268 | 291.396 | 17.775 | 294.533 | 18.767 | 292.133 | 14.566 | 889.667 | 34.787 | 46.5428
2019-04-25 22:00:00 | 15.082 | 287.133 | 16.534 | 288.802 | 17.226 | 292.7 | 18.162 | 290.167 | 13.791 | 889.883 | 43.573 | 46.2032
2019-04-25 22:15:00 | 13.738 | 287.847 | 14.915 | 287.055 | 15.684 | 292.1 | 16.579 | 290.333 | 13.433 | 890.133 | 42.581 | 46.4476
2019-04-25 22:30:00 | 15.506 | 285.88 | 17.305 | 283.503 | 17.923 | 287.7 | 18.694 | 286.367 | 12.895 | 889.983 | 49.867 | 46.3339
2019-04-25 22:45:00 | 14.956 | 274.76 | 16.578 | 276.605 | 17.255 | 279.4 | 17.999 | 276.467 | 12.024 | 889.758 | 50.464 | 44.6307
2019-04-25 23:00:00 | 13.349 | 273.08 | 15.05 | 276.225 | 15.884 | 279.633 | 16.44 | 276.2 | 12.02 | 890.042 | 52.101 | 45.1281
2019-04-25 23:15:00 | 15.045 | 270.32 | 16.594 | 273.942 | 17.414 | 277.333 | 18.081 | 273.633 | 11.357 | 889.95 | 56.912 | 45.327
2019-04-25 23:30:00 | 16.725 | 267.333 | 18.483 | 273.357 | 19.337 | 275.833 | 19.792 | 273.2 | 11.078 | 889.867 | 59.259 | 45.1771
2019-04-25 23:45:00 | 15.716 | 265.913 | 17.678 | 268.668 | 18.34 | 273.033 | 18.88 | 269.267 | 10.493 | 890.125 | 61.968 | 45.4734