## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-26 00:00:00 | 14.568 | 265.787 | 16.146 | 267.012 | 16.44 | 272.2 | 16.553 | 267.5 | 10.401 | 890.192 | 63.157 | 32.1929
2019-04-26 00:15:00 | 12.335 | 266.413 | 13.483 | 265.626 | 13.863 | 270.9 | 14.134 | 268.2 | 10.595 | 889.75 | 62.256 | 30.9359
2019-04-26 00:30:00 | 11.215 | 266.967 | 12.378 | 268.73 | 12.397 | 273.017 | 12.813 | 269.467 | 10.566 | 889.958 | 60.597 | 46.5698
2019-04-26 00:45:00 | 11.416 | 260.733 | 13.041 | 265.834 | 13.666 | 271.067 | 13.939 | 265.667 | 10.414 | 889.892 | 61.056 | 43.098
2019-04-26 01:00:00 | 11.237 | 274.907 | 12.653 | 273.969 | 13.134 | 278.667 | 13.199 | 274.033 | 10.139 | 889.867 | 63.387 | 44.1219
2019-04-26 01:15:00 | 12.996 | 262.307 | 14.242 | 265.984 | 14.984 | 271.767 | 15.459 | 268.9 | 9.835 | 889.667 | 64.992 | 45.9147
2019-04-26 01:30:00 | 9.822 | 259.4 | 11.117 | 262.27 | 11.644 | 265.6 | 11.892 | 261.483 | 9.699 | 889.625 | 66.832 | 46.1058
2019-04-26 01:45:00 | 10.126 | 257.693 | 10.929 | 260.524 | 11.129 | 266.7 | 11.304 | 260.667 | 9.826 | 889.542 | 66.859 | 45.5999
2019-04-26 02:00:00 | 8.6 | 274.953 | 9.424 | 275.308 | 9.666 | 276.367 | 10.004 | 274.5 | 10.049 | 889.7 | 67.365 | 46.0632
2019-04-26 02:15:00 | 7.859 | 273.967 | 8.769 | 274.366 | 8.987 | 280.667 | 9.628 | 276.5 | 9.666 | 889.725 | 67.856 | 48.4216
2019-04-26 02:30:00 | 11.123 | 276.2 | 12.562 | 277.984 | 13.008 | 282.333 | 13.505 | 281.333 | 10.087 | 890.358 | 69.36 | 48.2603
2019-04-26 02:45:00 | 11.299 | 270.433 | 12.502 | 276.926 | 13.011 | 280.367 | 13.534 | 277.033 | 9.583 | 889.458 | 69.888 | 41.5731
2019-04-26 03:00:00 | 14.503 | 278.04 | 16.326 | 280.558 | 17.146 | 284.9 | 17.992 | 281.5 | 9.462 | 890.175 | 69.995 | 37.0589
2019-04-26 03:15:00 | 13.949 | 272.973 | 15.966 | 278.417 | 16.218 | 281.6 | 16.941 | 280.1 | 8.954 | 890 | 70.539 | 41.3578
2019-04-26 03:30:00 | 14.926 | 268.887 | 16.652 | 273.854 | 17.229 | 279.567 | 17.77 | 276 | 9.383 | 889.925 | 72.096 | 46.9749
2019-04-26 03:45:00 | 14.126 | 267.407 | 16.202 | 273.108 | 16.886 | 276.933 | 17.357 | 273.433 | 9.037 | 890.117 | 70.491 | 48.0528
2019-04-26 04:00:00 | 13.334 | 268.573 | 14.837 | 269.795 | 15.89 | 275.767 | 16.356 | 271.367 | 9.033 | 889.767 | 71.547 | 47.3223
2019-04-26 04:15:00 | 12.316 | 268.453 | 14.524 | 271.16 | 15.085 | 276 | 15.31 | 271.067 | 8.854 | 889.867 | 71.637 | 47.5028
2019-04-26 04:30:00 | 10.679 | 263.527 | 11.725 | 263.61 | 11.935 | 267.15 | 12.188 | 263.217 | 9.266 | 889.975 | 70.293 | 44.5483
2019-04-26 04:45:00 | 9.102 | 264.173 | 9.98 | 260.876 | 10.465 | 268.067 | 10.668 | 263.783 | 9.487 | 889.85 | 70.976 | 42.0016
2019-04-26 05:00:00 | 9.374 | 259.553 | 10.571 | 262.05 | 10.87 | 266.733 | 11.107 | 261.8 | 9.341 | 890.05 | 70.384 | 48.1139
2019-04-26 05:15:00 | 8.964 | 265.08 | 10.51 | 266.579 | 11.183 | 272.267 | 11.552 | 267.4 | 9.216 | 889.55 | 69.328 | 47.6037
2019-04-26 05:30:00 | 9.657 | 264.44 | 11.159 | 267.473 | 11.426 | 271.667 | 11.73 | 267.067 | 9.374 | 889.658 | 68.576 | 52.1122
2019-04-26 05:45:00 | 8.318 | 272.787 | 9.324 | 270.397 | 9.974 | 274.4 | 9.95 | 271.4 | 9.316 | 889.4 | 69.317 | 52.3943
2019-04-26 06:00:00 | 9.487 | 262.647 | 10.621 | 263.63 | 10.808 | 268.533 | 11.417 | 264.55 | 9.399 | 889.633 | 68.805 | 51.4067
2019-04-26 06:15:00 | 9.882 | 268.533 | 11.341 | 269.298 | 11.625 | 273.967 | 11.796 | 268.3 | 9.783 | 890.425 | 67.195 | 50.662
2019-04-26 06:30:00 | 9.291 | 266.6 | 10.703 | 268.284 | 11.195 | 272.7 | 11.68 | 269.433 | 9.533 | 889.483 | 67.168 | 50.0459
2019-04-26 06:45:00 | 8.965 | 267.78 | 10.278 | 267.744 | 10.641 | 272.2 | 11.073 | 269.367 | 9.554 | 890.258 | 68.155 | 49.4213
2019-04-26 07:00:00 | 9.232 | 262.627 | 10.335 | 262.318 | 10.9 | 267.133 | 11.122 | 262.6 | 8.87 | 890.217 | 67.797 | 50.6598
2019-04-26 07:15:00 | 9.53 | 265.107 | 10.933 | 261.41 | 11.901 | 266.967 | 11.994 | 262.383 | 8.97 | 889.942 | 67.483 | 47.36
2019-04-26 07:30:00 | 8.97 | 254.293 | 10.026 | 254.031 | 10.418 | 258.617 | 10.668 | 254.55 | 9.608 | 889.892 | 64.512 | 46.8057
2019-04-26 07:45:00 | 8.996 | 261.173 | 9.803 | 261.563 | 10.1 | 264.933 | 10.567 | 260.167 | 9.658 | 890.242 | 61.925 | 45.958
2019-04-26 08:00:00 | 10.86 | 266.393 | 12.311 | 269.045 | 12.604 | 273.467 | 13.118 | 269.883 | 9.937 | 889.975 | 60.848 | 50.9334
2019-04-26 08:15:00 | 10.112 | 269.773 | 10.949 | 271.28 | 11.36 | 273.667 | 11.331 | 270.567 | 10.205 | 889.858 | 61.557 | 47.2257
2019-04-26 08:30:00 | 8.391 | 279.98 | 9.4 | 279.8 | 9.724 | 284.233 | 10.206 | 282.733 | 9.93 | 889.767 | 60.443 | 52.4249
2019-04-26 08:45:00 | 9.561 | 286.04 | 10.903 | 280.803 | 11.2 | 285.5 | 11.337 | 282.567 | 10.349 | 890.142 | 58.187 | 48.2929
2019-04-26 09:00:00 | 10.639 | 276.053 | 11.945 | 275.209 | 12.12 | 278.867 | 12.323 | 275.9 | 10.382 | 889.767 | 56.741 | 50.6584
2019-04-26 09:15:00 | 11.349 | 273.427 | 12.683 | 275.458 | 12.765 | 277.933 | 13.109 | 276.067 | 10.334 | 890.025 | 58.437 | 47.8005
2019-04-26 09:30:00 | 11.336 | 261.04 | 12.272 | 261.556 | 12.664 | 267.4 | 12.889 | 262.733 | 10.318 | 889.808 | 60.709 | 50.0907
2019-04-26 09:45:00 | 11.792 | 260.18 | 12.438 | 261.834 | 12.427 | 268.867 | 12.403 | 263.3 | 10.501 | 889.45 | 57.387 | 50.0694
2019-04-26 10:00:00 | 10.691 | 266.72 | 11.231 | 269.132 | 11.289 | 273 | 11.429 | 271.733 | 11.407 | 890.217 | 54.096 | 50.6435
2019-04-26 10:15:00 | 10.732 | 270.587 | 11.142 | 274.14 | 11.164 | 277.3 | 11.157 | 273.667 | 11.828 | 889.875 | 50.027 | 55.9067
2019-04-26 10:30:00 | 10.254 | 272.36 | 10.723 | 275.819 | 10.552 | 280.167 | 10.723 | 277.5 | 11.807 | 889.85 | 47.771 | 57.0564
2019-04-26 10:45:00 | 9.655 | 273.16 | 10.207 | 276.972 | 10.857 | 282.767 | 10.963 | 280.833 | 12.257 | 889.792 | 46.16 | 56.6968
2019-04-26 11:00:00 | 9.003 | 293.547 | 9.482 | 292.696 | 9.512 | 298.067 | 9.863 | 293.433 | 12.649 | 889.942 | 44.117 | 57.0684
2019-04-26 11:15:00 | 9.369 | 297.133 | 9.703 | 294.186 | 9.927 | 297.433 | 10.336 | 296.967 | 12.386 | 889.792 | 44.539 | 61.5081
2019-04-26 11:30:00 | 9.355 | 289.94 | 9.891 | 288.21 | 9.991 | 294.433 | 10.438 | 295.167 | 13.149 | 890.158 | 42.827 | 56.3884
2019-04-26 11:45:00 | 9.058 | 282.98 | 9.816 | 285.685 | 9.912 | 290.233 | 9.89 | 286.667 | 12.907 | 890.033 | 43.696 | 51.9062
2019-04-26 12:00:00 | 8.158 | 275.313 | 8.818 | 276.621 | 9.307 | 281.4 | 9.318 | 282.333 | 13.614 | 889.575 | 40.781 | 50.5277
2019-04-26 12:15:00 | 9.077 | 280.273 | 9.582 | 281.826 | 9.783 | 287.6 | 10.058 | 283.333 | 13.662 | 889.7 | 39.288 | 54.6198
2019-04-26 12:30:00 | 10.06 | 298.96 | 10.352 | 296.217 | 10.401 | 301.133 | 10.756 | 300.1 | 13.53 | 889.633 | 38.84 | 60.4927
2019-04-26 12:45:00 | 9.32 | 289.933 | 9.662 | 290.071 | 10.107 | 293.167 | 10.357 | 291.233 | 13.287 | 889.833 | 38.52 | 55.9053
2019-04-26 13:00:00 | 9.612 | 292.88 | 10.563 | 291.568 | 10.43 | 296.167 | 10.739 | 293.233 | 13.508 | 889.817 | 40.008 | 55.7667
2019-04-26 13:15:00 | 10.927 | 288.507 | 11.739 | 284.855 | 11.868 | 288.633 | 12.177 | 286.9 | 13.039 | 889.683 | 42.453 | 56.3728
2019-04-26 13:30:00 | 9.813 | 283.653 | 10.626 | 284.062 | 10.85 | 286.567 | 11.14 | 284.8 | 12.643 | 890.158 | 43.36 | 55.3439
2019-04-26 13:45:00 | 10.855 | 269.76 | 11.644 | 276.555 | 11.715 | 282.467 | 11.935 | 278.5 | 12.951 | 889.958 | 44.213 | 55.0391
2019-04-26 14:00:00 | 11.513 | 283.927 | 12.613 | 287.106 | 12.904 | 292.967 | 13.191 | 291.3 | 12.864 | 890.142 | 45.392 | 54.8067
2019-04-26 14:15:00 | 11.022 | 291.853 | 12.148 | 290.651 | 12.43 | 297.067 | 13.025 | 293.667 | 12.578 | 889.933 | 47.392 | 54.4095
2019-04-26 14:30:00 | 13.701 | 276.9 | 14.916 | 284.438 | 15.171 | 288.167 | 15.588 | 286.367 | 12.324 | 889.892 | 47.179 | 54.1786
2019-04-26 14:45:00 | 13.977 | 287.373 | 15.41 | 286.168 | 15.836 | 292.567 | 16.418 | 290.733 | 12.488 | 889.967 | 48.944 | 54.3562
2019-04-26 15:00:00 | 13.153 | 279.433 | 14.854 | 281.745 | 15.18 | 285.8 | 15.766 | 283.933 | 12.17 | 890.008 | 49.621 | 53.365
2019-04-26 15:15:00 | 11.102 | 285.213 | 12.495 | 283.697 | 13.154 | 288.133 | 13.876 | 286.067 | 11.911 | 889.658 | 49.995 | 53.4062
2019-04-26 15:30:00 | 11.391 | 274.027 | 12.074 | 281.379 | 12.43 | 285.267 | 12.911 | 282.4 | 11.557 | 890 | 51.205 | 53.4282
2019-04-26 15:45:00 | 10.947 | 279.473 | 11.917 | 280.343 | 12.622 | 282.367 | 13.125 | 279.767 | 11.749 | 890.05 | 51.6 | 54.1935
2019-04-26 16:00:00 | 12.476 | 276.4 | 13.882 | 277.444 | 14.191 | 282.733 | 14.523 | 280.9 | 11.736 | 889.7 | 52.309 | 53.8325
2019-04-26 16:15:00 | 9.065 | 272.347 | 10.144 | 273.665 | 10.534 | 277.367 | 11.204 | 274.133 | 11.411 | 890.117 | 52.891 | 49.3545
2019-04-26 16:30:00 | 7.662 | 266.613 | 8.382 | 268.053 | 8.468 | 273.6 | 8.621 | 273.167 | 11.432 | 889.675 | 51.099 | 35.3791
2019-04-26 16:45:00 | 6.414 | 280.347 | 7.086 | 280.206 | 7.204 | 283.933 | 7.268 | 279.667 | 11.857 | 889.975 | 48.005 | 25.8064
2019-04-26 17:00:00 | 7.594 | 319.56 | 8.349 | 312.339 | 8.478 | 314.7 | 8.575 | 311.2 | 12.228 | 890.1 | 46.293 | 28.2237
2019-04-26 17:15:00 | 7.84 | 288.373 | 8.41 | 288.67 | 8.653 | 294.633 | 9.116 | 293.933 | 11.649 | 889.992 | 43.995 | 23.3357
2019-04-26 17:30:00 | 6.414 | 288.393 | 7.356 | 285.712 | 7.563 | 291.267 | 7.769 | 287.6 | 11.553 | 889.975 | 44.123 | 39.4677
2019-04-26 17:45:00 | 10.087 | 268.867 | 10.79 | 275.353 | 10.987 | 280.267 | 10.985 | 275.967 | 10.278 | 890.042 | 52.629 | 47.1262
2019-04-26 18:00:00 | 11.88 | 262.1 | 13.09 | 268.597 | 13.318 | 272.5 | 13.502 | 269.3 | 9.716 | 889.817 | 53.989 | 47.6151
2019-04-26 18:15:00 | 11.128 | 253.74 | 12.294 | 259.946 | 12.729 | 262.85 | 12.836 | 258.417 | 9.308 | 889.217 | 60.091 | 44.6989
2019-04-26 18:30:00 | 12.491 | 248.16 | 13.49 | 247.841 | 14.09 | 253.017 | 13.824 | 247.75 | 8.945 | 889.392 | 61.664 | 42.165
2019-04-26 18:45:00 | 9.697 | 248.68 | 10.947 | 246.16 | 11.335 | 250.75 | 11.381 | 245.667 | 8.645 | 890.3 | 60.971 | 37.9038
2019-04-26 19:00:00 | 9.298 | 251.353 | 10.495 | 251.149 | 10.881 | 255.733 | 10.689 | 248.9 | 8.916 | 889.908 | 59.579 | 38.9518
2019-04-26 19:15:00 | 8.128 | 247.247 | 9.225 | 244.507 | 9.652 | 249.833 | 9.685 | 242.85 | 9.216 | 890.1 | 57.6 | 36.1565
2019-04-26 19:30:00 | 5.628 | 247.087 | 5.72 | 248.738 | 5.804 | 253.017 | 5.885 | 250.45 | 9.262 | 889.75 | 57.147 | 24.2545
2019-04-26 19:45:00 | 6.038 | 252.32 | 6.646 | 248.485 | 7.157 | 254.1 | 7.36 | 246.25 | 9.474 | 890.283 | 56.8 | 30.6531
2019-04-26 20:00:00 | 7.618 | 256.073 | 8.284 | 255.706 | 8.311 | 260.55 | 8.288 | 254.65 | 9.337 | 889.958 | 57.589 | 37.3637
2019-04-26 20:15:00 | 6.292 | 262.66 | 6.863 | 265.912 | 7.063 | 270.8 | 7.168 | 265.567 | 9.016 | 890.033 | 57.877 | 41.9
2019-04-26 20:30:00 | 6.682 | 254.407 | 7.26 | 257.503 | 7.497 | 265.917 | 7.532 | 261.217 | 9.008 | 889.817 | 59.328 | 40.4192
2019-04-26 20:45:00 | 8.267 | 260.533 | 8.909 | 262.781 | 9.065 | 267.6 | 9.039 | 262.817 | 8.458 | 889.85 | 60.843 | 44.3394
2019-04-26 21:00:00 | 8.475 | 257.94 | 9.315 | 256.069 | 9.457 | 260.85 | 9.529 | 256.367 | 8.57 | 889.967 | 62.757 | 45.2503
2019-04-26 21:15:00 | 7.454 | 266.193 | 8.45 | 265.223 | 8.419 | 269.967 | 8.62 | 265.533 | 8.424 | 889.95 | 63.755 | 48.9147
2019-04-26 21:30:00 | 8.996 | 262.907 | 10.034 | 265.137 | 10.322 | 269.467 | 10.468 | 264.617 | 8.616 | 890.083 | 64.043 | 46.2245
2019-04-26 21:45:00 | 8.762 | 264.667 | 9.866 | 263.609 | 10.205 | 267.433 | 10.316 | 262.767 | 8.274 | 890.258 | 64.709 | 47.4317
2019-04-26 22:00:00 | 9.661 | 258.047 | 10.643 | 256.847 | 11.116 | 262.217 | 11.376 | 258.05 | 8.12 | 889.967 | 65.371 | 43.8633
2019-04-26 22:15:00 | 8.798 | 253.54 | 10.221 | 253.009 | 11.015 | 258.667 | 11.28 | 252.567 | 8.217 | 889.658 | 65.883 | 43.0198
2019-04-26 22:30:00 | 9.352 | 251.667 | 10.316 | 252.844 | 10.783 | 258.05 | 10.874 | 252.233 | 7.976 | 890.133 | 66.027 | 40.7609
2019-04-26 22:45:00 | 8.578 | 252.52 | 9.858 | 252.466 | 10.51 | 258.517 | 10.682 | 253.95 | 7.963 | 889.8 | 65.931 | 43.9059
2019-04-26 23:00:00 | 7.884 | 251.553 | 9.028 | 252.212 | 9.482 | 257.433 | 9.96 | 252.817 | 7.649 | 889.633 | 66.261 | 44.0253
2019-04-26 23:15:00 | 8.248 | 253.313 | 9.34 | 251.508 | 9.922 | 257.65 | 10.122 | 254.133 | 7.572 | 889.908 | 65.824 | 41.1944
2019-04-26 23:30:00 | 8.72 | 253.1 | 9.907 | 254.131 | 10.603 | 259.2 | 11.066 | 254.767 | 7.783 | 889.708 | 65.92 | 39.9665
2019-04-26 23:45:00 | 9.093 | 253.187 | 10.169 | 256.404 | 10.525 | 260.583 | 10.705 | 256.867 | 7.886 | 890.217 | 65.541 | 41.2377