## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-27 00:00:00 | 9.69 | 256.873 | 11.13 | 256.76 | 11.543 | 261.433 | 11.554 | 255.917 | 7.94 | 890.533 | 65.429 | 47.6307
2019-04-27 00:15:00 | 9.811 | 260.247 | 11.287 | 260.76 | 11.511 | 265.067 | 11.571 | 259.583 | 8.124 | 890.075 | 65.6 | 48.5431
2019-04-27 00:30:00 | 9.186 | 256.627 | 10.916 | 258.765 | 11.735 | 262.933 | 11.912 | 259.25 | 8.043 | 890.15 | 65.541 | 49.0589
2019-04-27 00:45:00 | 9.695 | 254.753 | 11.161 | 258.884 | 11.349 | 263.833 | 11.521 | 259.633 | 7.987 | 890.267 | 66.064 | 46.6899
2019-04-27 01:00:00 | 9.517 | 253.04 | 10.768 | 253.359 | 11.335 | 258.667 | 11.638 | 254.933 | 7.689 | 890.067 | 66.683 | 42.71
2019-04-27 01:15:00 | 9.154 | 254.127 | 10.378 | 255.993 | 11.098 | 259.367 | 11.218 | 256.95 | 7.542 | 889.708 | 67.525 | 43.6593
2019-04-27 01:30:00 | 9.362 | 252.38 | 10.568 | 250.977 | 11.066 | 254.917 | 10.854 | 250.717 | 7.072 | 890.108 | 67.616 | 48.7591
2019-04-27 01:45:00 | 7.764 | 251.54 | 9.257 | 252.17 | 9.761 | 256.933 | 9.987 | 252.483 | 7.056 | 890.008 | 68.469 | 56.009
2019-04-27 02:00:00 | 8.432 | 251.813 | 9.546 | 251.178 | 10.017 | 257.117 | 10.063 | 252.15 | 6.906 | 889.358 | 69.339 | 58.1236
2019-04-27 02:15:00 | 8.377 | 255.793 | 9.722 | 254.483 | 10.276 | 260.333 | 10.619 | 256.267 | 7.089 | 890.383 | 69.851 | 59.9647
2019-04-27 02:30:00 | 8.419 | 253.22 | 9.966 | 253.074 | 10.518 | 258.867 | 10.709 | 254.433 | 6.741 | 890.142 | 69.872 | 63.6533
2019-04-27 02:45:00 | 7.876 | 251.253 | 9.188 | 250.193 | 9.838 | 255.817 | 10.204 | 252.167 | 6.516 | 890.375 | 70.597 | 64.7383
2019-04-27 03:00:00 | 8.141 | 248 | 9.283 | 246.485 | 9.706 | 253.067 | 9.742 | 249.267 | 6.443 | 889.833 | 70.309 | 66.1822
2019-04-27 03:15:00 | 7.565 | 246 | 8.801 | 243.79 | 9.348 | 251.433 | 9.418 | 245.967 | 6.425 | 890.333 | 70.56 | 63.7897
2019-04-27 03:30:00 | 7.836 | 242.767 | 9.08 | 242.054 | 9.559 | 248.767 | 9.713 | 243.533 | 5.745 | 889.917 | 71.253 | 64.8051
2019-04-27 03:45:00 | 7.87 | 239.633 | 9.3 | 239.143 | 9.949 | 245.7 | 10.243 | 241.4 | 5.778 | 890.117 | 71.296 | 59.1113
2019-04-27 04:00:00 | 8.579 | 244.613 | 10.128 | 242.112 | 10.998 | 248.133 | 11.223 | 243.9 | 5.736 | 889.475 | 72.128 | 60.0436
2019-04-27 04:15:00 | 7.479 | 242.167 | 9.167 | 239.136 | 10.166 | 245.333 | 10.342 | 239.233 | 5.102 | 889.95 | 72.693 | 53.9391
2019-04-27 04:30:00 | 8.864 | 238.76 | 10.478 | 236.622 | 11.29 | 243.817 | 11.726 | 239.3 | 5.541 | 889.625 | 71.2 | 48.2759
2019-04-27 04:45:00 | 9.06 | 242.46 | 10.892 | 238.139 | 12.256 | 242.833 | 12.429 | 238.967 | 5.974 | 890.042 | 70.219 | 48.3668
2019-04-27 05:00:00 | 8.585 | 238.627 | 10.014 | 234.846 | 11.001 | 239.833 | 11.114 | 235.933 | 5.875 | 889.833 | 69.749 | 47.9391
2019-04-27 05:15:00 | 7.658 | 236.727 | 9.231 | 234.262 | 10.288 | 240.967 | 10.516 | 236.033 | 5.395 | 889.967 | 70.869 | 49.1613
2019-04-27 05:30:00 | 7.099 | 236.273 | 8.544 | 233.411 | 9.408 | 239.8 | 9.332 | 235.633 | 5.435 | 890.158 | 71.2 | 49.7937
2019-04-27 05:45:00 | 7.028 | 240.793 | 8.285 | 237.344 | 9.073 | 246.1 | 9.248 | 242.2 | 5.28 | 890.033 | 69.739 | 47.6172
2019-04-27 06:00:00 | 6.757 | 245.6 | 8.639 | 249.17 | 9.588 | 258.467 | 10.536 | 255.583 | 5.051 | 889.95 | 70.651 | 46.7034
2019-04-27 06:15:00 | 7.495 | 251.127 | 8.955 | 251.67 | 9.972 | 257.4 | 10.001 | 253.517 | 5.505 | 889.858 | 68.763 | 47.6506
2019-04-27 06:30:00 | 6.801 | 243.687 | 8.001 | 241.98 | 8.701 | 251.1 | 8.923 | 248.767 | 5.552 | 890.442 | 67.456 | 48.1899
2019-04-27 06:45:00 | 5.998 | 232.527 | 7.339 | 233.52 | 7.836 | 244.567 | 8.14 | 244.533 | 5.362 | 889.717 | 67.968 | 53.1653
2019-04-27 07:00:00 | 6.539 | 240.227 | 7.84 | 237.057 | 8.575 | 245.967 | 8.6 | 242.167 | 5.097 | 889.783 | 68.693 | 54.8323
2019-04-27 07:15:00 | 7.682 | 240.1 | 9.288 | 238.143 | 10.456 | 245.967 | 10.527 | 241.8 | 5.085 | 890.167 | 67.168 | 54.2489
2019-04-27 07:30:00 | 8.935 | 243.633 | 10.318 | 241.147 | 11.338 | 247.567 | 11.756 | 241.867 | 6.095 | 890.1 | 62.464 | 54.1224
2019-04-27 07:45:00 | 9.552 | 248.267 | 10.993 | 246.704 | 11.718 | 251.317 | 11.84 | 246.35 | 6.737 | 890.358 | 57.984 | 53.8233
2019-04-27 08:00:00 | 9.142 | 247.98 | 10.372 | 251.162 | 10.787 | 256.167 | 10.919 | 251.4 | 7.462 | 889.533 | 54.272 | 54.9026
2019-04-27 08:15:00 | 9.692 | 251.34 | 10.786 | 257.243 | 11.138 | 261.6 | 11.194 | 257.833 | 7.472 | 889.8 | 50.597 | 54.6284
2019-04-27 08:30:00 | 11.246 | 257.913 | 12.25 | 263.924 | 12.512 | 268 | 12.606 | 262.133 | 8.13 | 889.617 | 48.064 | 53.6975
2019-04-27 08:45:00 | 12.652 | 246.48 | 14.106 | 259.398 | 14.543 | 262.467 | 14.222 | 258.533 | 8.154 | 889.992 | 47.413 | 52.4142
2019-04-27 09:00:00 | 12.617 | 257.66 | 14.096 | 264.062 | 14.224 | 267.7 | 13.696 | 262.667 | 8.13 | 890.125 | 47.451 | 51.3896
2019-04-27 09:15:00 | 13.03 | 256.927 | 14.606 | 268.486 | 14.997 | 272.467 | 14.985 | 268.767 | 8.574 | 889.8 | 46.821 | 50.4509
2019-04-27 09:30:00 | 12.93 | 262.313 | 14.448 | 269.174 | 14.86 | 273.567 | 15.043 | 269.167 | 8.995 | 890.158 | 45.872 | 49.7247
2019-04-27 09:45:00 | 11.927 | 261.4 | 13.035 | 269.54 | 13.507 | 273.367 | 13.678 | 268.633 | 9.362 | 890.15 | 42.843 | 48.8173
2019-04-27 10:00:00 | 11.703 | 262.04 | 12.453 | 265.935 | 12.607 | 271.333 | 12.821 | 266.967 | 10.12 | 889.467 | 39.907 | 51.8515
2019-04-27 10:15:00 | 11.941 | 273.94 | 12.775 | 279.733 | 12.785 | 283.633 | 13.237 | 279.2 | 10.187 | 889.733 | 38.277 | 52.1577
2019-04-27 10:30:00 | 11.183 | 263.113 | 12.15 | 268.479 | 12.5 | 272.467 | 12.492 | 270.2 | 10.638 | 889.633 | 37.821 | 47.8616
2019-04-27 10:45:00 | 11.89 | 259.553 | 12.922 | 268.557 | 13.166 | 272.633 | 13.153 | 268.9 | 10.69 | 889.95 | 36.4 | 45.7918
2019-04-27 11:00:00 | 11.216 | 266.047 | 12.141 | 275.712 | 12.399 | 279.033 | 13.038 | 276.733 | 11.211 | 889.65 | 33.672 | 47.7323
2019-04-27 11:15:00 | 11.751 | 264.333 | 12.672 | 272.771 | 12.742 | 276.167 | 12.726 | 273.617 | 11.857 | 889.617 | 31.507 | 50.5874
2019-04-27 11:30:00 | 10.366 | 266.64 | 11.411 | 273.409 | 11.645 | 276.5 | 12.024 | 273.05 | 12.024 | 889.683 | 31.141 | 53.2293
2019-04-27 11:45:00 | 10.7 | 268.487 | 11.527 | 276.819 | 11.728 | 280.7 | 11.92 | 278.467 | 11.786 | 889.867 | 27.768 | 53.2634
2019-04-27 12:00:00 | 11.302 | 272.453 | 12.241 | 277.788 | 12.438 | 282.067 | 12.622 | 278.617 | 12.266 | 889.8 | 26.997 | 54.1359
2019-04-27 12:15:00 | 11.131 | 266.053 | 12.22 | 274.077 | 12.194 | 278.3 | 12.503 | 276.367 | 12.216 | 889.483 | 27.603 | 54.0926
2019-04-27 12:30:00 | 10.517 | 276.6 | 11.302 | 279.652 | 11.718 | 283.2 | 12.06 | 279.8 | 12.307 | 889.667 | 28.045 | 54.7882
2019-04-27 12:45:00 | 11.411 | 280.913 | 12.281 | 284.132 | 12.562 | 287.967 | 13.068 | 284.7 | 12.32 | 890 | 29.755 | 55.2736
2019-04-27 13:00:00 | 10.543 | 283.193 | 10.872 | 286.787 | 10.993 | 289.467 | 11.116 | 290.067 | 13.328 | 889.7 | 29.115 | 56.5092
2019-04-27 13:15:00 | 10.41 | 292.893 | 11.037 | 296.862 | 11.288 | 301.5 | 11.679 | 298.533 | 12.822 | 889.733 | 29.299 | 57.8636
2019-04-27 13:30:00 | 11.732 | 274.907 | 12.522 | 279.082 | 12.671 | 285.333 | 13.126 | 282.7 | 12.789 | 889.333 | 31.68 | 60.1374
2019-04-27 13:45:00 | 11.457 | 271.833 | 12.403 | 274.695 | 12.463 | 281.467 | 12.672 | 278 | 12.874 | 889.417 | 31.005 | 63.077
2019-04-27 14:00:00 | 10.443 | 286.267 | 11.391 | 285.286 | 11.58 | 285.4 | 11.655 | 283.367 | 13.162 | 890.2 | 30.104 | 62.6158
2019-04-27 14:15:00 | 9.66 | 284.827 | 10.259 | 284.397 | 10.367 | 286.7 | 10.825 | 284.733 | 13.218 | 889.95 | 29.987 | 60.5687
2019-04-27 14:30:00 | 9.89 | 271.853 | 10.376 | 273.703 | 10.658 | 278.5 | 10.847 | 276.767 | 13.116 | 889.9 | 29.075 | 62.0737
2019-04-27 14:45:00 | 10.534 | 272.953 | 11.185 | 277.707 | 11.344 | 280.433 | 11.392 | 279.733 | 13.774 | 889.717 | 28.771 | 64.901
2019-04-27 15:00:00 | 8.454 | 282.707 | 9.09 | 288.78 | 9.372 | 291.267 | 9.648 | 288.5 | 13.243 | 889.217 | 28.472 | 68.7807
2019-04-27 15:15:00 | 10.458 | 280.58 | 11.19 | 284.936 | 11.436 | 291.367 | 11.484 | 287.033 | 13.533 | 889.867 | 28.44 | 69.8757
2019-04-27 15:30:00 | 9.186 | 272.84 | 9.922 | 273.841 | 9.928 | 276.967 | 9.871 | 271.467 | 13.516 | 889.35 | 29.165 | 70.619
2019-04-27 15:45:00 | 10.314 | 294.947 | 11.33 | 291.135 | 11.37 | 295.4 | 11.709 | 292.233 | 13.326 | 889.733 | 28.949 | 68.2066
2019-04-27 16:00:00 | 9.576 | 298 | 10.234 | 292.309 | 10.378 | 296.467 | 10.802 | 294.4 | 13.454 | 890.2 | 28.8 | 64.3539
2019-04-27 16:15:00 | 9.228 | 284.047 | 9.64 | 287.366 | 9.762 | 289.4 | 9.967 | 284.733 | 13.391 | 889.667 | 27.531 | 56.9221
2019-04-27 16:30:00 | 8.559 | 261.993 | 9.339 | 266.347 | 9.479 | 271.9 | 9.641 | 270.133 | 13.878 | 889.817 | 26.755 | 56.4865
2019-04-27 16:45:00 | 8.984 | 289.927 | 9.774 | 288.798 | 9.844 | 293.5 | 10.249 | 290.2 | 13.887 | 889.567 | 26.981 | 60.2632
2019-04-27 17:00:00 | 8.721 | 279.427 | 9.434 | 280.958 | 9.566 | 285.767 | 9.929 | 284.567 | 14.362 | 889.233 | 25.6 | 55.1854
2019-04-27 17:15:00 | 8.005 | 274.58 | 8.432 | 280.715 | 8.465 | 283.533 | 8.96 | 280.4 | 13.937 | 889.417 | 24.467 | 50.5334
2019-04-27 17:30:00 | 8.296 | 292.9 | 8.503 | 293.429 | 8.817 | 297.6 | 8.978 | 293.167 | 14.474 | 889.883 | 25.275 | 49.9102
2019-04-27 17:45:00 | 8.648 | 289.92 | 9.444 | 292.491 | 9.592 | 296.733 | 10.065 | 293.033 | 15.058 | 889.417 | 25.171 | 52.8484
2019-04-27 18:00:00 | 9.643 | 263.273 | 10.092 | 274.309 | 9.892 | 279.633 | 10.019 | 275.333 | 14.578 | 889.783 | 25.824 | 50.4822
2019-04-27 18:15:00 | 8.449 | 279.813 | 8.778 | 288.251 | 8.717 | 295.3 | 8.937 | 294.533 | 14.312 | 889.617 | 25.904 | 46.2153
2019-04-27 18:30:00 | 7.842 | 268.193 | 8.274 | 282.54 | 8.328 | 287.167 | 8.872 | 284.733 | 14.533 | 889.983 | 26.461 | 44.0367
2019-04-27 18:45:00 | 7.799 | 286.207 | 8.325 | 286.344 | 8.606 | 290.967 | 9.092 | 287.3 | 14.724 | 889.833 | 26.915 | 44.9071
2019-04-27 19:00:00 | 8.317 | 296.353 | 8.632 | 296.053 | 8.859 | 300.533 | 9.333 | 297.233 | 14.808 | 889.8 | 28.227 | 47.662
2019-04-27 19:15:00 | 8.435 | 264.113 | 9.139 | 276.111 | 9.273 | 280.4 | 9.443 | 277.4 | 14.316 | 889.667 | 28.664 | 48.1103
2019-04-27 19:30:00 | 7.301 | 279.4 | 7.948 | 282.954 | 8.199 | 286.5 | 8.55 | 282.567 | 14.574 | 890.333 | 28.061 | 44.3664
2019-04-27 19:45:00 | 7.965 | 264.58 | 8.638 | 277.027 | 8.662 | 283.233 | 8.876 | 280.2 | 14.362 | 889.867 | 28.965 | 42.9694
2019-04-27 20:00:00 | 7.683 | 273.927 | 8.634 | 278.924 | 8.726 | 281.9 | 8.897 | 278.367 | 14.254 | 889.6 | 28.904 | 38.3081
2019-04-27 20:15:00 | 6.678 | 268.793 | 7.288 | 274.725 | 7.578 | 277.433 | 7.762 | 275.867 | 13.816 | 889.55 | 29.528 | 28.817
2019-04-27 20:30:00 | 6.871 | 267.947 | 7.588 | 275.522 | 7.729 | 279.6 | 8.054 | 276.433 | 13.72 | 889.45 | 30.944 | 28.358
2019-04-27 20:45:00 | 6.504 | 261.347 | 7.409 | 268.374 | 7.825 | 274.633 | 8.044 | 271.8 | 13.683 | 889.383 | 32 | 29.8111
2019-04-27 21:00:00 | 6.15 | 267.8 | 7.067 | 270.868 | 7.402 | 275.6 | 7.562 | 271.033 | 13.274 | 889.517 | 33.117 | 32.2206
2019-04-27 21:15:00 | 5.692 | 267.78 | 6.823 | 271.581 | 7.09 | 277.533 | 7.748 | 274.533 | 13.008 | 889.75 | 34.024 | 32.0821
2019-04-27 21:30:00 | 5.563 | 255.613 | 6.792 | 266.537 | 7.324 | 272.133 | 7.661 | 267.6 | 12.666 | 889.717 | 34.776 | 31.7588
2019-04-27 21:45:00 | 5.171 | 258.847 | 6.402 | 262.405 | 6.817 | 269.7 | 7.068 | 266.017 | 12.516 | 889.5 | 35.797 | 31.8931
2019-04-27 22:00:00 | 5.61 | 258.953 | 6.729 | 264.175 | 7.211 | 270.6 | 7.548 | 266.7 | 11.782 | 889.833 | 36.899 | 35.3692
2019-04-27 22:15:00 | 5.835 | 263.647 | 6.866 | 268.423 | 7.296 | 274.033 | 7.652 | 270.067 | 11.786 | 889.567 | 37.056 | 32.4679
2019-04-27 22:30:00 | 5.515 | 269.36 | 6.839 | 271.478 | 7.05 | 276.9 | 7.542 | 272.667 | 11.578 | 889.717 | 37.472 | 32.8189
2019-04-27 22:45:00 | 5.649 | 262.533 | 6.764 | 269.902 | 7.286 | 275.867 | 7.704 | 271.533 | 11.49 | 889.417 | 38.171 | 30.4179
2019-04-27 23:00:00 | 5.031 | 262.447 | 6.52 | 267.839 | 7.287 | 274.033 | 7.656 | 269.667 | 11.528 | 889.817 | 38.493 | 27.8073
2019-04-27 23:15:00 | 4.793 | 261.413 | 6.173 | 265.498 | 6.729 | 274.267 | 7.466 | 270.533 | 11.045 | 889.717 | 39.165 | 29.9639
2019-04-27 23:30:00 | 5.441 | 255.913 | 6.575 | 264.776 | 7.065 | 271.467 | 7.408 | 267.467 | 10.745 | 889.95 | 39.856 | 33.4052
2019-04-27 23:45:00 | 5.457 | 265.087 | 6.812 | 266.065 | 7.304 | 273.2 | 7.711 | 271 | 10.845 | 889.617 | 40.293 | 34.6749