## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-28 00:00:00 | 5.8 | 262.773 | 7.43 | 271.729 | 8.008 | 276.633 | 8.42 | 273.8 | 10.755 | 889.4 | 40.981 | 33.8216
2019-04-28 00:15:00 | 5.793 | 262.84 | 7.227 | 270.796 | 7.741 | 276.467 | 8.232 | 273.133 | 10.697 | 890.075 | 41.584 | 29.0146
2019-04-28 00:30:00 | 5.426 | 252.593 | 6.988 | 263.784 | 7.512 | 269.5 | 8.142 | 266.367 | 10.051 | 889.767 | 42.869 | 30.4094
2019-04-28 00:45:00 | 5.426 | 254.08 | 6.966 | 259.526 | 7.615 | 267.567 | 7.89 | 263.833 | 10.018 | 889.833 | 44.048 | 35.6655
2019-04-28 01:00:00 | 6.045 | 258.347 | 7.667 | 264.585 | 8.089 | 270.5 | 8.777 | 268.933 | 9.714 | 889.792 | 44.603 | 43.0021
2019-04-28 01:15:00 | 6.502 | 251.38 | 8.308 | 265.603 | 9.215 | 270.333 | 9.637 | 266.4 | 9.433 | 889.808 | 44.635 | 56.6499
2019-04-28 01:30:00 | 7.072 | 255.26 | 8.71 | 266.156 | 9.637 | 271.367 | 10.267 | 268 | 9.893 | 889.542 | 44.811 | 74.25
2019-04-28 01:45:00 | 7.805 | 247.887 | 9.415 | 266.681 | 10.363 | 271.633 | 10.88 | 268.567 | 9.587 | 889.625 | 45.003 | 74.6976
2019-04-28 02:00:00 | 8.127 | 257.873 | 10.009 | 271.829 | 11.007 | 276.6 | 11.932 | 272.9 | 9.595 | 890.142 | 45.397 | 69.8771
2019-04-28 02:15:00 | 8.122 | 258.367 | 10.034 | 270.489 | 10.903 | 274.933 | 11.319 | 271.833 | 9.358 | 890.267 | 46.112 | 69.3286
2019-04-28 02:30:00 | 7.738 | 258.767 | 9.776 | 269.156 | 10.795 | 274.7 | 11.414 | 272 | 8.92 | 889.983 | 47.392 | 68.0815
2019-04-28 02:45:00 | 9.016 | 253.593 | 10.557 | 264.819 | 11.308 | 270.233 | 11.981 | 268.1 | 8.804 | 890.267 | 48.32 | 67.1933
2019-04-28 03:00:00 | 9.313 | 246.233 | 11.22 | 261.714 | 11.992 | 268.7 | 12.32 | 266.567 | 8.858 | 889.933 | 49.072 | 67.1699
2019-04-28 03:15:00 | 8.708 | 247.793 | 10.546 | 264.869 | 11.092 | 269.7 | 11.335 | 266.633 | 8.424 | 889.5 | 49.835 | 68.5782
2019-04-28 03:30:00 | 7.331 | 248.847 | 9.04 | 263.556 | 9.714 | 268.167 | 10.277 | 265.767 | 8.854 | 890.083 | 50.197 | 64.5202
2019-04-28 03:45:00 | 8.407 | 267.5 | 10.427 | 272.614 | 11.284 | 280.2 | 11.936 | 278.867 | 8.749 | 890.067 | 49.285 | 67.469
2019-04-28 04:00:00 | 9.416 | 265.18 | 11.218 | 274.88 | 11.658 | 280.333 | 12.2 | 278.333 | 9.404 | 890.083 | 48.069 | 71.8255
2019-04-28 04:15:00 | 7.522 | 261.693 | 9.118 | 269.924 | 9.426 | 275.933 | 9.99 | 274 | 9.133 | 889.742 | 47.963 | 58.1243
2019-04-28 04:30:00 | 7.625 | 261.767 | 9.278 | 271.782 | 10.129 | 278.2 | 10.751 | 275.633 | 8.558 | 890.167 | 49.269 | 64.8165
2019-04-28 04:45:00 | 8.045 | 248.053 | 9.253 | 263.276 | 9.632 | 269.967 | 10.134 | 268.867 | 8.541 | 890.067 | 48.912 | 62.5085
2019-04-28 05:00:00 | 6.499 | 250.68 | 7.773 | 258.404 | 8.308 | 266.2 | 8.84 | 265.517 | 8.2 | 890.142 | 50.325 | 49.8399
2019-04-28 05:15:00 | 6.011 | 250.013 | 7.197 | 254.868 | 7.592 | 261.4 | 7.789 | 260.517 | 8.134 | 889.592 | 51.712 | 41.922
2019-04-28 05:30:00 | 4.489 | 255.24 | 5.558 | 259.976 | 6.264 | 266.733 | 6.694 | 264.333 | 7.646 | 890.083 | 52.912 | 34.0802
2019-04-28 05:45:00 | 5.658 | 238.207 | 7.357 | 243.864 | 8.189 | 251.433 | 8.622 | 249.783 | 7.703 | 889.958 | 52.832 | 43.1797
2019-04-28 06:00:00 | 5.43 | 236.96 | 6.968 | 240.462 | 7.463 | 251.3 | 7.821 | 248.433 | 7.659 | 890.308 | 52.779 | 49.6061
2019-04-28 06:15:00 | 5.636 | 242.867 | 7.014 | 246.039 | 7.939 | 256 | 8.45 | 255.967 | 6.789 | 889.808 | 54.4 | 52.724
2019-04-28 06:30:00 | 5.449 | 239.46 | 7.203 | 244.016 | 7.888 | 251.9 | 8.423 | 249.55 | 7.442 | 889.558 | 53.92 | 68.3004
2019-04-28 06:45:00 | 7.192 | 248.793 | 8.503 | 254.005 | 9.109 | 259.467 | 9.455 | 255.433 | 8.524 | 889.725 | 51.723 | 74.0069
2019-04-28 07:00:00 | 6.778 | 251.28 | 8.316 | 252.829 | 8.841 | 258.15 | 9.409 | 253.95 | 8.217 | 890.158 | 51.184 | 75.2369
2019-04-28 07:15:00 | 7.581 | 243.273 | 8.807 | 245.327 | 9.063 | 251.6 | 8.927 | 247.117 | 8.304 | 889.867 | 50.315 | 65.0183
2019-04-28 07:30:00 | 6.325 | 248.407 | 7.628 | 250.236 | 8.141 | 256.267 | 8.52 | 252.45 | 8.824 | 890.017 | 48.907 | 52.4199
2019-04-28 07:45:00 | 5.459 | 246.087 | 6.42 | 247.002 | 7.092 | 253.733 | 7.299 | 250.617 | 9.345 | 889.783 | 46.752 | 50.7814
2019-04-28 08:00:00 | 6.61 | 243.42 | 7.38 | 243.868 | 7.938 | 251 | 8.159 | 245.6 | 10.222 | 889.992 | 44.512 | 61.3887
2019-04-28 08:15:00 | 6.864 | 245.833 | 7.575 | 246.732 | 8.067 | 252.967 | 8.16 | 248.1 | 10.895 | 889.85 | 42.795 | 65.9598
2019-04-28 08:30:00 | 7.294 | 244.147 | 8.015 | 245.53 | 8.538 | 249.033 | 8.724 | 243.767 | 11.307 | 890.042 | 41.419 | 65.8404
2019-04-28 08:45:00 | 8.169 | 248.5 | 8.781 | 251.891 | 9.027 | 256.917 | 9.087 | 251.05 | 11.574 | 889.633 | 40.909 | 66.8473
2019-04-28 09:00:00 | 9.039 | 248.273 | 9.926 | 252.903 | 10.346 | 257.9 | 10.418 | 254.4 | 12.074 | 890.217 | 40.115 | 70.6381
2019-04-28 09:15:00 | 8.634 | 254.38 | 9.144 | 256.104 | 9.424 | 261.567 | 9.513 | 256.383 | 12.195 | 889.367 | 40.725 | 67.3958
2019-04-28 09:30:00 | 9.282 | 251.56 | 10.464 | 260.229 | 10.739 | 264.783 | 11.133 | 261.1 | 11.924 | 889.825 | 41.104 | 64.4313
2019-04-28 09:45:00 | 9.171 | 247.413 | 9.989 | 255.735 | 9.965 | 260.3 | 9.877 | 254.533 | 12.672 | 889.867 | 39.587 | 69.816
2019-04-28 10:00:00 | 9.988 | 262.967 | 10.603 | 271.304 | 10.817 | 274.6 | 10.851 | 270.1 | 12.443 | 889.967 | 38.581 | 68.7253
2019-04-28 10:15:00 | 10.966 | 260.707 | 12.11 | 268.334 | 12.468 | 272.733 | 12.773 | 270.517 | 12.722 | 889.367 | 39.072 | 66.4557
2019-04-28 10:30:00 | 12.675 | 259.667 | 13.946 | 269.252 | 13.89 | 271.867 | 14.338 | 268.3 | 12.826 | 889.65 | 38.576 | 70.5308
2019-04-28 10:45:00 | 11.016 | 271.773 | 12.015 | 278.476 | 12.315 | 280.567 | 12.526 | 278.333 | 12.486 | 890.15 | 37.875 | 65.9974
2019-04-28 11:00:00 | 11.953 | 276.273 | 12.791 | 281.978 | 13.1 | 286.8 | 13.757 | 283 | 12.895 | 889.8 | 36.176 | 65.2996
2019-04-28 11:15:00 | 12.54 | 279.827 | 13.558 | 281.282 | 13.744 | 283.2 | 14.46 | 280.833 | 13.441 | 890.1 | 34.253 | 69.2078
2019-04-28 11:30:00 | 11.637 | 274.42 | 13.037 | 284.306 | 13.329 | 288.5 | 14.122 | 285.033 | 13.72 | 889.85 | 33.864 | 70.3333
2019-04-28 11:45:00 | 13.213 | 299.973 | 13.928 | 299.544 | 14.643 | 306.333 | 15.129 | 303 | 13.324 | 889.917 | 31.28 | 69.8942
2019-04-28 12:00:00 | 13.321 | 282.44 | 14.135 | 283.321 | 14.161 | 287.7 | 14.472 | 286.267 | 13.656 | 889.65 | 31.141 | 69.9077
2019-04-28 12:15:00 | 13.398 | 279.773 | 14.793 | 281.378 | 14.663 | 282.933 | 14.954 | 280.033 | 13.654 | 889.967 | 31.888 | 69.681
2019-04-28 12:30:00 | 13.099 | 269.16 | 13.839 | 279.158 | 14 | 283.133 | 14.222 | 279.967 | 13.662 | 889.7 | 31.331 | 70.1613
2019-04-28 12:45:00 | 14.444 | 279.767 | 15.622 | 280.068 | 15.55 | 282.067 | 16.2 | 279.6 | 13.678 | 889.983 | 31.163 | 70.2466
2019-04-28 13:00:00 | 12.858 | 269.647 | 14.437 | 277.255 | 14.385 | 279.733 | 14.403 | 279.733 | 14.054 | 889.483 | 28.339 | 69.1751
2019-04-28 13:15:00 | 13.391 | 262.34 | 14.641 | 273.213 | 14.843 | 276.133 | 15.199 | 274.467 | 14.391 | 889.583 | 27.512 | 69.2838
2019-04-28 13:30:00 | 13.887 | 282.007 | 14.975 | 286.389 | 15.219 | 289.367 | 15.643 | 288.167 | 14.812 | 889.5 | 26.696 | 69.5467
2019-04-28 13:45:00 | 11.507 | 272.353 | 12.465 | 280.482 | 12.361 | 284.667 | 12.641 | 282.733 | 14.958 | 890.1 | 25.808 | 70.0306
2019-04-28 14:00:00 | 13.373 | 270.073 | 14.025 | 279.494 | 14.373 | 282.333 | 14.601 | 280.6 | 14.829 | 889.8 | 25.589 | 69.5936
2019-04-28 14:15:00 | 12.571 | 271.6 | 13.637 | 279.119 | 13.975 | 284.9 | 14.381 | 282.7 | 14.824 | 889.983 | 26.003 | 69.4138
2019-04-28 14:30:00 | 11.127 | 269.787 | 12.078 | 278.004 | 12.208 | 280.933 | 12.244 | 277.567 | 14.896 | 889.433 | 24.392 | 69.73
2019-04-28 14:45:00 | 12.092 | 265.987 | 13.04 | 278.113 | 13.137 | 279.9 | 13.629 | 277.033 | 15.834 | 889.667 | 22.736 | 70.2352
2019-04-28 15:00:00 | 12.409 | 260.04 | 13.438 | 268.885 | 13.835 | 274.2 | 13.5 | 272.667 | 15.545 | 889.733 | 23.16 | 70.226
2019-04-28 15:15:00 | 12.42 | 275.86 | 13.571 | 278.199 | 13.625 | 281.4 | 13.84 | 279.067 | 15.811 | 890.45 | 23.435 | 69.6227
2019-04-28 15:30:00 | 12.385 | 296.627 | 13.41 | 296.809 | 13.438 | 301.1 | 14.067 | 299.667 | 15.5 | 889.85 | 23.933 | 70.4406
2019-04-28 15:45:00 | 10.473 | 293.307 | 11.566 | 295.571 | 12.092 | 298.667 | 12.699 | 295.1 | 15.749 | 889.867 | 23.795 | 70.0164
2019-04-28 16:00:00 | 11.007 | 285.527 | 12.068 | 288.267 | 12.449 | 292.333 | 12.647 | 290.1 | 15.576 | 889.45 | 24.301 | 70.847
2019-04-28 16:15:00 | 11.864 | 297.427 | 12.442 | 298.117 | 12.858 | 302 | 13.483 | 301.467 | 15.243 | 889.083 | 24.571 | 70.1642
2019-04-28 16:30:00 | 11.272 | 295.56 | 11.894 | 293.401 | 12.243 | 298.233 | 12.563 | 296.533 | 15.756 | 889.733 | 22.424 | 67.7859
2019-04-28 16:45:00 | 8.944 | 311.373 | 9.534 | 304.604 | 10.591 | 309.7 | 11.04 | 305.767 | 15.576 | 889.283 | 23.376 | 70.5266
2019-04-28 17:00:00 | 10.539 | 283.713 | 11.351 | 282.547 | 11.436 | 284.567 | 11.78 | 283.233 | 15.97 | 889.883 | 22.84 | 70.3646
2019-04-28 17:15:00 | 10.548 | 302.827 | 11.167 | 304.178 | 11.592 | 308.067 | 11.687 | 303.967 | 15.773 | 889.367 | 22.36 | 67.7831
2019-04-28 17:30:00 | 11.528 | 295.667 | 12.307 | 297.323 | 12.716 | 300.9 | 13.075 | 296.833 | 15.868 | 889.7 | 23.315 | 66.7236
2019-04-28 17:45:00 | 10.048 | 304.907 | 10.47 | 302.339 | 10.886 | 307.633 | 11.359 | 304.833 | 15.642 | 889.4 | 23.627 | 66.1516
2019-04-28 18:00:00 | 9.023 | 288.22 | 9.433 | 289.427 | 9.807 | 296.167 | 10.272 | 294.1 | 15.718 | 889.733 | 23.547 | 63.6071
2019-04-28 18:15:00 | 8.994 | 294 | 9.444 | 290.769 | 9.74 | 297.7 | 10.328 | 295.867 | 15.694 | 889.767 | 24.744 | 68.3608
2019-04-28 18:30:00 | 9.628 | 301.267 | 10.619 | 297.02 | 11.001 | 303.367 | 11.77 | 301.267 | 15.281 | 889.467 | 23.731 | 68.8695
2019-04-28 18:45:00 | 10.155 | 304.627 | 10.736 | 299.9 | 11.328 | 305.2 | 11.881 | 302.567 | 15.416 | 889.3 | 24.971 | 68.4006
2019-04-28 19:00:00 | 11.17 | 295.427 | 11.91 | 292.812 | 12.33 | 296.967 | 12.568 | 294.333 | 15.673 | 889.467 | 23.896 | 68.429
2019-04-28 19:15:00 | 10.182 | 278.547 | 11.186 | 279.851 | 11.53 | 284.767 | 11.87 | 283.733 | 15.63 | 889.833 | 24.427 | 65.1284
2019-04-28 19:30:00 | 8.861 | 260.713 | 10.178 | 269.424 | 10.405 | 273.767 | 10.654 | 269.567 | 14.946 | 889.483 | 25.904 | 69.9901
2019-04-28 19:45:00 | 8.666 | 270.047 | 9.665 | 271.817 | 9.738 | 277.1 | 9.989 | 273.7 | 14.808 | 889.467 | 25.949 | 64.4193
2019-04-28 20:00:00 | 8.359 | 292.54 | 8.708 | 295.495 | 9.013 | 299.8 | 9.425 | 296.6 | 14.791 | 889.733 | 25.84 | 64.6474
2019-04-28 20:15:00 | 8.966 | 294.4 | 10.149 | 293.74 | 10.364 | 298.467 | 10.772 | 294.833 | 15.058 | 889.567 | 24.496 | 66.6469
2019-04-28 20:30:00 | 9.608 | 295.973 | 10.803 | 292.233 | 11.066 | 296.367 | 11.582 | 294.5 | 14.541 | 889.883 | 25.213 | 65.8106
2019-04-28 20:45:00 | 7.688 | 295.32 | 8.538 | 294.246 | 8.713 | 299.1 | 9.334 | 296 | 14.549 | 889.8 | 25.573 | 57.5715
2019-04-28 21:00:00 | 8.961 | 295.56 | 9.849 | 294.176 | 10.164 | 299.033 | 10.648 | 296.1 | 14.041 | 889.783 | 27.395 | 53.4119
2019-04-28 21:15:00 | 7.625 | 283.94 | 8.63 | 286.291 | 9.068 | 291.167 | 9.4 | 289.8 | 13.599 | 890.1 | 27.653 | 44.2434
2019-04-28 21:30:00 | 6.91 | 288.18 | 8.126 | 287.474 | 8.691 | 291.233 | 9.189 | 289.2 | 13.164 | 889.617 | 28.144 | 45.7981
2019-04-28 21:45:00 | 6.38 | 274.807 | 7.567 | 278.486 | 7.855 | 282.8 | 8.357 | 280.7 | 13.31 | 889.883 | 28.771 | 36.7136
2019-04-28 22:00:00 | 6.187 | 281.893 | 7.476 | 279.01 | 8.056 | 282.167 | 8.642 | 280.9 | 12.882 | 889.767 | 29.779 | 31.1072
2019-04-28 22:15:00 | 5.988 | 270.6 | 6.831 | 274.11 | 7.305 | 279.633 | 7.717 | 276.633 | 12.955 | 889.65 | 30.84 | 28.4795
2019-04-28 22:30:00 | 5.582 | 264.507 | 6.775 | 272.102 | 7.14 | 277.4 | 7.54 | 274.033 | 12.278 | 889.867 | 31.659 | 28.2074
2019-04-28 22:45:00 | 6.162 | 257.427 | 7.472 | 265.983 | 7.915 | 271.233 | 8.127 | 267.9 | 11.807 | 889.583 | 32.389 | 29.6605
2019-04-28 23:00:00 | 5.611 | 262.78 | 7.21 | 273.152 | 7.933 | 278.533 | 8.277 | 274.133 | 11.895 | 889.833 | 32.552 | 27.5167
2019-04-28 23:15:00 | 5.565 | 266.213 | 7.084 | 275.824 | 7.552 | 279.067 | 8.037 | 276.5 | 11.295 | 889.9 | 33.059 | 29.5987
2019-04-28 23:30:00 | 5.928 | 262.527 | 7.419 | 270.028 | 7.945 | 275 | 8.273 | 272.533 | 11.261 | 889.933 | 33.549 | 26.3862
2019-04-28 23:45:00 | 5.627 | 253.113 | 7.149 | 264.717 | 7.493 | 271.1 | 8.057 | 268.367 | 10.861 | 889.55 | 33.936 | 25.0048