## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-29 00:00:00 | 5.071 | 232.273 | 5.608 | 237.746 | 5.708 | 248.967 | 5.936 | 249.067 | 10.274 | 889.867 | 35.115 | 28.3999
2019-04-29 00:15:00 | 6.045 | 232.167 | 6.737 | 233.053 | 6.605 | 241 | 6.342 | 238.1 | 9.876 | 889.367 | 36.651 | 36.0883
2019-04-29 00:30:00 | 6.567 | 242.7 | 7.931 | 243.702 | 8.102 | 249.033 | 8.054 | 244.5 | 9.893 | 890.017 | 36.869 | 38.3578
2019-04-29 00:45:00 | 5.653 | 235.813 | 6.972 | 236.51 | 7.423 | 243.267 | 7.236 | 239.667 | 9.574 | 889.767 | 37.621 | 41.085
2019-04-29 01:00:00 | 5.551 | 238.733 | 6.921 | 238.198 | 7.385 | 244.833 | 7.414 | 240.033 | 8.641 | 889.783 | 38.693 | 37.1044
2019-04-29 01:15:00 | 5.144 | 249.2 | 5.962 | 250.725 | 6.27 | 257.4 | 6.557 | 253.967 | 8.778 | 889.567 | 39.195 | 24.7654
2019-04-29 01:30:00 | 4.031 | 231.007 | 5.435 | 232.541 | 5.574 | 244.4 | 5.618 | 244.267 | 8.304 | 889.633 | 40.715 | 23.4395
2019-04-29 01:45:00 | 4.536 | 232.967 | 5.612 | 237.05 | 5.518 | 247.867 | 5.981 | 246.05 | 8.157 | 890.108 | 41.248 | 22.0453
2019-04-29 02:00:00 | 4.249 | 233.733 | 6.214 | 235.727 | 6.549 | 245.167 | 6.46 | 242.767 | 7.873 | 889.958 | 42.048 | 15.6076
2019-04-29 02:15:00 | 3.638 | 197.133 | 4.027 | 220.664 | 5.547 | 237.533 | 6.156 | 234.9 | 7.006 | 889.7 | 43.584 | 18.8528
2019-04-29 02:30:00 | 4.589 | 212.52 | 5.606 | 221.921 | 6.09 | 235.367 | 6.012 | 234.433 | 6.651 | 890.242 | 45.077 | 22.2386
2019-04-29 02:45:00 | 5.537 | 222.653 | 6.573 | 229.861 | 6.824 | 236.167 | 6.775 | 232.7 | 7.016 | 889.808 | 46.219 | 28.6408
2019-04-29 03:00:00 | 5.883 | 224.547 | 7.158 | 228.774 | 7.468 | 235.2 | 7.441 | 231.9 | 6.731 | 889.883 | 46.624 | 32.5688
2019-04-29 03:15:00 | 4.933 | 219.36 | 6.928 | 230.968 | 7.714 | 239.933 | 7.796 | 235.167 | 6.472 | 890.158 | 47.36 | 37.1115
2019-04-29 03:30:00 | 6.409 | 211.273 | 6.546 | 223.54 | 7.913 | 238.033 | 7.947 | 234.9 | 5.816 | 889.942 | 49.035 | 45.5459
2019-04-29 03:45:00 | 6.117 | 225.967 | 8.12 | 227.886 | 8.538 | 236.533 | 8.336 | 233.867 | 6.162 | 889.558 | 48.907 | 43.589
2019-04-29 04:00:00 | 5.999 | 226.207 | 7.99 | 229.155 | 8.344 | 236.567 | 8.396 | 233.867 | 6.843 | 890.367 | 48.075 | 34.2315
2019-04-29 04:15:00 | 5.45 | 213.74 | 6.601 | 226.247 | 7.197 | 240.833 | 7.398 | 238.8 | 6.694 | 889.95 | 47.499 | 30.214
2019-04-29 04:30:00 | 6.049 | 214.573 | 7.526 | 219.766 | 7.376 | 227.367 | 7.358 | 225.633 | 5.7 | 889.825 | 49.792 | 31.5605
2019-04-29 04:45:00 | 5.116 | 226.233 | 7.578 | 224.443 | 7.391 | 234.3 | 7.265 | 233.5 | 5.448 | 890.225 | 50.656 | 29.4025
2019-04-29 05:00:00 | 5.824 | 232.06 | 6.97 | 234.52 | 6.984 | 242.7 | 6.864 | 237.6 | 5.825 | 890.025 | 50.592 | 23.5674
2019-04-29 05:15:00 | 5.304 | 215.067 | 6.4 | 219.027 | 6.15 | 231.367 | 6.143 | 233.533 | 5.978 | 889.708 | 50.005 | 20.3037
2019-04-29 05:30:00 | 5.495 | 217.327 | 6.294 | 223.343 | 6.228 | 234.267 | 6.084 | 232.767 | 5.362 | 890.1 | 52.117 | 20.5439
2019-04-29 05:45:00 | 5.656 | 218.907 | 6.677 | 225.058 | 6.387 | 234.567 | 6.176 | 234.033 | 4.971 | 889.792 | 53.472 | 22.0588
2019-04-29 06:00:00 | 6.056 | 217.953 | 6.916 | 226.637 | 6.626 | 234.133 | 6.344 | 231.3 | 4.845 | 890.675 | 53.643 | 20.065
2019-04-29 06:15:00 | 6.097 | 218.907 | 6.778 | 229.11 | 6.63 | 240.833 | 6.365 | 238.367 | 4.523 | 889.625 | 54.347 | 16.5114
2019-04-29 06:30:00 | 5.698 | 224.587 | 6.956 | 231.385 | 6.736 | 240.5 | 6.422 | 239.4 | 4.895 | 889.875 | 54.176 | 21.695
2019-04-29 06:45:00 | 4.953 | 228.767 | 6.771 | 237.941 | 6.899 | 248.733 | 6.405 | 248.233 | 4.669 | 889.717 | 52.619 | 21.7256
2019-04-29 07:00:00 | 5.45 | 235.213 | 6.605 | 241.816 | 6.261 | 251.433 | 6.215 | 250.2 | 5.62 | 890.383 | 50.283 | 25.5257
2019-04-29 07:15:00 | 5.791 | 233.413 | 6.658 | 239.624 | 6.462 | 249.2 | 6.304 | 248.433 | 6.25 | 889.892 | 47.392 | 27.3874
2019-04-29 07:30:00 | 5.737 | 228.127 | 6.912 | 233.389 | 6.824 | 243.167 | 6.571 | 239.8 | 6.274 | 889.742 | 46.784 | 26.6057
2019-04-29 07:45:00 | 5.517 | 231.967 | 6.517 | 236.416 | 6.708 | 246.533 | 6.653 | 244.933 | 7.506 | 890.317 | 43.52 | 19.7992
2019-04-29 08:00:00 | 4.725 | 228.813 | 5.95 | 231.354 | 5.844 | 241.867 | 5.752 | 240.1 | 8.679 | 889.667 | 39.829 | 12.7831
2019-04-29 08:15:00 | 4.106 | 227.827 | 4.736 | 231.668 | 5.153 | 242.6 | 5.33 | 239.467 | 10.006 | 889.933 | 35.621 | 8.524
2019-04-29 08:30:00 | 3.741 | 242.273 | 3.952 | 240.472 | 3.975 | 247.133 | 4.262 | 242.233 | 11.724 | 889.683 | 30.592 | 7.6684
2019-04-29 08:45:00 | 4.096 | 242.54 | 4.167 | 244.241 | 4.298 | 250.567 | 4.47 | 244.8 | 12.59 | 889.667 | 28.421 | 7.6031
2019-04-29 09:00:00 | 4.486 | 249.807 | 4.582 | 249.404 | 4.637 | 253.283 | 4.934 | 246.417 | 13.074 | 889.7 | 26.864 | 8.7798
2019-04-29 09:15:00 | 4.009 | 246.853 | 4.266 | 250.06 | 4.337 | 254.333 | 4.372 | 251.183 | 13.333 | 889.55 | 25.971 | 7.1696
2019-04-29 09:30:00 | 4.238 | 251.82 | 4.289 | 254.399 | 4.398 | 262.033 | 4.547 | 258.717 | 12.909 | 889.267 | 24.947 | 5.7591
2019-04-29 09:45:00 | 4.364 | 306.667 | 4.477 | 297.034 | 4.612 | 301.067 | 4.846 | 296.4 | 13.339 | 889.517 | 22.907 | 6.054
2019-04-29 10:00:00 | 3.946 | 328.84 | 4.062 | 320.634 | 4 | 321.567 | 4.312 | 318.033 | 13.114 | 889.383 | 21.864 | 7.1561
2019-04-29 10:15:00 | 4.562 | 306.22 | 4.732 | 303.255 | 4.796 | 307.633 | 5.317 | 307.267 | 13.899 | 889.683 | 21.525 | 7.3316
2019-04-29 10:30:00 | 3.938 | 317.053 | 4.221 | 312.911 | 4.277 | 316 | 4.762 | 312.733 | 13.612 | 889.617 | 21.328 | 6.8143
2019-04-29 10:45:00 | 4.836 | 288.953 | 5.169 | 294.013 | 5.362 | 296.567 | 5.577 | 290.817 | 13.647 | 889.683 | 21.107 | 7.6898
2019-04-29 11:00:00 | 4.809 | 292.673 | 4.772 | 296.85 | 4.773 | 303.133 | 5.158 | 302.633 | 13.958 | 889.567 | 20.429 | 5.7648
2019-04-29 11:15:00 | 4.517 | 321.867 | 4.534 | 314.999 | 4.759 | 318.533 | 5.187 | 317.933 | 14.908 | 889.517 | 20.028 | 4.4055
2019-04-29 11:30:00 | 5.24 | 331.747 | 5.262 | 319.613 | 5.281 | 318.867 | 5.806 | 313.433 | 14.562 | 889.333 | 20.208 | 4.6741
2019-04-29 11:45:00 | 4.279 | 335.667 | 4.338 | 325.205 | 4.474 | 324.367 | 4.716 | 320.867 | 14.841 | 889.567 | 20.301 | 5.1701
2019-04-29 12:00:00 | 4.608 | 323.24 | 4.556 | 317.621 | 4.751 | 321.1 | 4.841 | 315.9 | 14.912 | 889.467 | 19.86 | 1.6755
2019-04-29 12:15:00 | 3.288 | 270.253 | 3.368 | 269.894 | 3.38 | 280.3 | 3.515 | 273.55 | 15.87 | 889.567 | 19.204 | 1.2684
2019-04-29 12:30:00 | 3.622 | 288.853 | 3.802 | 283.894 | 4.169 | 278.067 | 4.483 | 292.433 | 16.985 | 889.3 | 17.929 | 2.369
2019-04-29 12:45:00 | 4.047 | 304.18 | 3.804 | 326.516 | 3.722 | 328.667 | 3.829 | 329.233 | 15.892 | 889.333 | 18.124 | 4.9754
2019-04-29 13:00:00 | 5.467 | 319.96 | 5.537 | 315.394 | 5.757 | 314.9 | 5.943 | 308.867 | 16.531 | 889.667 | 17.457 | 2.6199
2019-04-29 13:15:00 | 3.912 | 252.06 | 4.013 | 245.714 | 4.06 | 250.283 | 4.189 | 246.567 | 17.264 | 889.8 | 16.959 | 1.3344
2019-04-29 13:30:00 | 1.911 | 235.927 | 2.286 | 313.376 | 2.739 | 317.9 | 2.966 | 324.233 | 18.11 | 889.367 | 16.283 | 0.95713
2019-04-29 13:45:00 | 2.421 | 211.44 | 1.354 | 208.705 | 1.52 | 203.933 | 1.751 | 205.833 | 18.218 | 889.767 | 15.9 | 1.4979
2019-04-29 14:00:00 | 5.778 | 292.113 | 6.009 | 286.57 | 6.115 | 292.7 | 6.158 | 291 | 18.177 | 889.433 | 15.605 | 6.2708
2019-04-29 14:15:00 | 3.864 | 220.02 | 3.595 | 224.276 | 3.674 | 228.567 | 3.987 | 223.483 | 18.623 | 889.733 | 14.956 | 5.7115
2019-04-29 14:30:00 | 1.806 | 239.313 | 1.14 | 236.971 | 1.989 | 224.717 | 2.805 | 209.6 | 19.223 | 889.967 | 13.787 | 5.5048
2019-04-29 14:45:00 | 4.515 | 248.487 | 4.564 | 245.493 | 4.65 | 251.367 | 4.956 | 252.583 | 18.914 | 889.267 | 12.676 | 6.9088
2019-04-29 15:00:00 | 4.713 | 309.347 | 4.826 | 304.951 | 5.168 | 309.7 | 5.364 | 308.6 | 19.194 | 889.533 | 12.229 | 5.1317
2019-04-29 15:15:00 | 2.102 | 165.316 | 1.861 | 163.388 | 2.273 | 182.902 | 2.32 | 174.267 | 19.427 | 889.433 | 12.744 | 4.9427
2019-04-29 15:30:00 | 4.141 | 271.442 | 4.421 | 309.074 | 4.888 | 313.833 | 5.486 | 321.133 | 19.031 | 889.4 | 12.335 | 12.6765
2019-04-29 15:45:00 | 5.633 | 250.107 | 5.831 | 248.208 | 6.096 | 252.833 | 6.135 | 244.533 | 19.594 | 889.7 | 12.289 | 17.1914
2019-04-29 16:00:00 | 3.039 | 160.36 | 2.092 | 170.96 | 1.354 | 185.133 | 1.382 | 192.017 | 19.494 | 889.433 | 11.955 | 2.9567
2019-04-29 16:15:00 | 3.235 | 289.598 | 3.347 | 295.667 | 3.969 | 300.167 | 4.327 | 296.867 | 19.544 | 889.433 | 11.069 | 2.6376
2019-04-29 16:30:00 | 4.2 | 272.587 | 4.609 | 271.161 | 4.956 | 271.8 | 4.914 | 264.817 | 19.306 | 889.367 | 11.113 | 10.7729
2019-04-29 16:45:00 | 6.672 | 303.767 | 6.707 | 299.014 | 6.994 | 301.967 | 7.379 | 298.533 | 19.364 | 889.4 | 12.172 | 10.5469
2019-04-29 17:00:00 | 4.996 | 268.087 | 5.168 | 267.266 | 5.315 | 271.5 | 5.391 | 265.583 | 19.802 | 889.3 | 11.996 | 8.2753
2019-04-29 17:15:00 | 5.861 | 308.653 | 6.39 | 304.505 | 6.606 | 307.267 | 6.644 | 306.667 | 19.368 | 889.467 | 11.755 | 19.1754
2019-04-29 17:30:00 | 4.519 | 316.68 | 4.496 | 311.268 | 4.926 | 319.267 | 5.442 | 321.433 | 19.481 | 889.767 | 11.157 | 11.3456
2019-04-29 17:45:00 | 3.622 | 268.687 | 3.623 | 257.848 | 3.584 | 275.5 | 3.923 | 286 | 19.631 | 889.467 | 10.884 | 8.104
2019-04-29 18:00:00 | 2.336 | 263.187 | 2.264 | 264.924 | 2.534 | 273.667 | 2.915 | 269.833 | 19.889 | 889.567 | 11.108 | 4.4474
2019-04-29 18:15:00 | 6.163 | 264.907 | 6.506 | 277.63 | 6.499 | 292.5 | 6.809 | 298.267 | 19.552 | 889.833 | 11.227 | 6.1265
2019-04-29 18:30:00 | 5.228 | 313.92 | 5.348 | 310.679 | 5.535 | 315.833 | 5.847 | 316.067 | 19.864 | 889.8 | 10.971 | 9.8691
2019-04-29 18:45:00 | 5.703 | 305.692 | 6.471 | 331.26 | 6.52 | 323.967 | 6.666 | 323.067 | 19.718 | 889.9 | 11.359 | 14.1659
2019-04-29 19:00:00 | 5.086 | 250.147 | 5.318 | 306.612 | 5.491 | 322.033 | 5.835 | 332.567 | 19.031 | 889.2 | 12.032 | 15.5124
2019-04-29 19:15:00 | 6.224 | 337.787 | 6.503 | 328.219 | 6.698 | 333.467 | 6.835 | 333.8 | 19.406 | 889.8 | 11.827 | 16.2876
2019-04-29 19:30:00 | 5.95 | 324.4 | 6.011 | 320.474 | 6.266 | 326.433 | 6.495 | 325.333 | 18.739 | 889.667 | 12.183 | 15.3553
2019-04-29 19:45:00 | 5.984 | 334.467 | 6.224 | 328.404 | 6.25 | 333.033 | 6.186 | 331.2 | 18.773 | 889.7 | 12.591 | 12.8549
2019-04-29 20:00:00 | 5.261 | 336.84 | 5.6 | 329.481 | 5.708 | 336.733 | 5.811 | 335.1 | 18.156 | 889.4 | 12.595 | 11.276
2019-04-29 20:15:00 | 4.269 | 341.147 | 4.232 | 334.594 | 4.282 | 337.767 | 4.399 | 334.8 | 18.077 | 889.333 | 12.016 | 9.501
2019-04-29 20:30:00 | 4.597 | 306.48 | 5.052 | 346.775 | 5.105 | 351.133 | 5.055 | 350.367 | 17.944 | 889.3 | 12.319 | 6.6239
2019-04-29 20:45:00 | 3.794 | 338.2 | 4.071 | 344.014 | 4.198 | 347.7 | 4.215 | 346.833 | 17.76 | 889.5 | 12.249 | 3.5379
2019-04-29 21:00:00 | 2.526 | 331.773 | 2.782 | 327.861 | 3.181 | 333.367 | 3.407 | 336.3 | 17.698 | 889.033 | 12.587 | 0.56774
2019-04-29 21:15:00 | 1.486 | 337.533 | 1.978 | 321.289 | 2.476 | 326.533 | 2.897 | 325.167 | 17.468 | 889.433 | 12.704 | 0.15988
2019-04-29 21:30:00 | 1.81 | 3.55 | 2.244 | 5.747 | 2.906 | 12.567 | 3.272 | 12.2 | 17.198 | 889.1 | 12.984 | 0.32189
2019-04-29 21:45:00 | 1.724 | 55.233 | 1.877 | 49.481 | 2.11 | 54.233 | 2.407 | 46.8 | 16.931 | 889.7 | 13.371 | 0.13856
2019-04-29 22:00:00 | 2.372 | 80.027 | 2.09 | 64.825 | 1.899 | 66.267 | 2.044 | 61.533 | 16.548 | 889.533 | 13.221 | 0.30483
2019-04-29 22:15:00 | 2.08 | 100.58 | 1.84 | 87.754 | 1.977 | 88.6 | 2.267 | 73.133 | 16.331 | 889.4 | 13.195 | 0.18901
2019-04-29 22:30:00 | 1.868 | 137.34 | 1.117 | 99.849 | 1.066 | 90.833 | 1.706 | 71.9 | 16.514 | 889.3 | 13.299 | 0.16911
2019-04-29 22:45:00 | 1.159 | 175.433 | 0 | 114.284 | 0 | 96.9 | 0 | 72 | 16.262 | 889.4 | 13.451 | 0.17196
2019-04-29 23:00:00 | 2.34 | 155.713 | 1.384 | 133.391 | 1.036 | 125.6 | 1.508 | 74.267 | 16.631 | 889.733 | 13.315 | 0.17835
2019-04-29 23:15:00 | 3.46 | 189.333 | 3.405 | 186.117 | 3.384 | 186.467 | 3.645 | 176.933 | 16.564 | 889.733 | 13.688 | 0.69351
2019-04-29 23:30:00 | 2.75 | 187.82 | 3.413 | 198.038 | 3.634 | 197.933 | 3.982 | 190.733 | 15.632 | 889.8 | 22.304 | 0.17196
2019-04-29 23:45:00 | 3.171 | 150.347 | 3.102 | 143.942 | 3.194 | 150.8 | 3.332 | 152.1 | 15.36 | 889.733 | 22.144 | 0.12293