## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-30 00:00:00 | 2.234 | 163.833 | 1.984 | 154.392 | 2.207 | 158.7 | 2.943 | 160.233 | 16.134 | 890.117 | 23.477 | 0.1684
2019-04-30 00:15:00 | 2.79 | 188.727 | 1.634 | 171.336 | 1.414 | 156.9 | 2.122 | 141.933 | 15.568 | 889.717 | 23.163 | 0.12009
2019-04-30 00:30:00 | 2.413 | 166.473 | 1.72 | 172.396 | 2.315 | 182.5 | 2.759 | 177.9 | 15.424 | 889.417 | 24.224 | 0.18333
2019-04-30 00:45:00 | 2.443 | 173.067 | 0.557 | 172.507 | 0.809 | 176 | 1.703 | 164 | 15.008 | 889.617 | 26.971 | 0.16769
2019-04-30 01:00:00 | 1.851 | 168.133 | 0.147 | 160.01 | 0.77 | 164.133 | 1.727 | 156.833 | 14.791 | 889.733 | 28.357 | 0.16911
2019-04-30 01:15:00 | 2.197 | 164.133 | 0.243 | 141.515 | 0.497 | 140 | 1.692 | 134.067 | 14.299 | 889.417 | 28.261 | 0.16627
2019-04-30 01:30:00 | 2.179 | 148.1 | 1.996 | 111.132 | 2.459 | 115.3 | 3.01 | 112.233 | 14.145 | 889.633 | 29.291 | 0.088821
2019-04-30 01:45:00 | 2.656 | 131.287 | 3.146 | 98.361 | 2.931 | 102.733 | 3.068 | 96.067 | 13.483 | 889.683 | 28.555 | 0.85126
2019-04-30 02:00:00 | 2.386 | 144.233 | 2.683 | 99.762 | 1.872 | 97.867 | 2.183 | 98.267 | 13.21 | 890.067 | 28.699 | 2.595
2019-04-30 02:15:00 | 1.857 | 152.2 | 2.371 | 105.326 | 2.107 | 98.133 | 2.106 | 96.333 | 12.536 | 889.467 | 27.931 | 1.7984
2019-04-30 02:30:00 | 1.857 | 162.173 | 1.911 | 110.94 | 1.539 | 100.633 | 2.009 | 92.367 | 12.728 | 889.817 | 25.925 | 0.74254
2019-04-30 02:45:00 | 2.257 | 167.947 | 2.021 | 115.531 | 1.384 | 101.033 | 1.702 | 91.167 | 12.622 | 889.933 | 23.397 | 0.13501
2019-04-30 03:00:00 | 2.572 | 186.94 | 1.703 | 127.367 | 1.12 | 101.767 | 2.458 | 78.633 | 11.27 | 889.833 | 24.032 | 0.083847
2019-04-30 03:15:00 | 1.88 | 179.3 | 1.097 | 122.909 | 1.359 | 97.8 | 2.806 | 76.533 | 11.449 | 889.583 | 24.784 | 0.069635
2019-04-30 03:30:00 | 2.508 | 203.28 | 0.83 | 147.024 | 1.077 | 131.733 | 1.85 | 93.033 | 11.616 | 889.6 | 24.875 | 0.20535
2019-04-30 03:45:00 | 3.297 | 214.087 | 0.98 | 155.52 | 1.17 | 121.567 | 2.079 | 91.967 | 11.878 | 889.733 | 25.477 | 0.2018
2019-04-30 04:00:00 | 3.905 | 218.633 | 0.726 | 159.191 | 1.097 | 127.867 | 2.319 | 96 | 10.48 | 889.867 | 26.784 | 0.18333
2019-04-30 04:15:00 | 5.102 | 224.287 | 1.996 | 213.027 | 0.1 | 151.9 | 0.709 | 96.067 | 8.581 | 889.75 | 29.28 | 0.17906
2019-04-30 04:30:00 | 5.813 | 222.733 | 2.725 | 214.445 | 1.42 | 206.033 | 1.047 | 96 | 6.972 | 889.833 | 31.941 | 0.17622
2019-04-30 04:45:00 | 5.131 | 221.167 | 3.015 | 212.287 | 1.957 | 206.967 | 1.746 | 176.067 | 7.089 | 890.05 | 33.013 | 0.17196
2019-04-30 05:00:00 | 4.58 | 224.213 | 1.657 | 220.916 | 0.363 | 215.2 | 0.141 | 186.067 | 8.35 | 889.6 | 32.853 | 0.17054
2019-04-30 05:15:00 | 5.432 | 227.647 | 2.524 | 233.272 | 0.643 | 242.5 | 0.316 | 200.467 | 7.682 | 889.533 | 35.115 | 0.1947
2019-04-30 05:30:00 | 4.73 | 235.233 | 1.602 | 256.365 | 0.253 | 280.6 | 0.853 | 296.4 | 7.656 | 889.6 | 36.029 | 0.20891
2019-04-30 05:45:00 | 4.619 | 240.433 | 2.463 | 259.568 | 1.424 | 280.333 | 1.471 | 297.167 | 7.739 | 890.133 | 35.448 | 0.19754
2019-04-30 06:00:00 | 4.336 | 234.733 | 2.068 | 257.862 | 1.004 | 296.6 | 1.729 | 295.067 | 7.122 | 889.567 | 36.893 | 0.18475
2019-04-30 06:15:00 | 4.474 | 231.9 | 1.794 | 265.431 | 1.46 | 288.133 | 1.476 | 288.967 | 6.989 | 889.7 | 37.299 | 0.18048
2019-04-30 06:30:00 | 5.779 | 230.933 | 3.814 | 243.544 | 2.276 | 270.467 | 1.823 | 281.467 | 5.78 | 889.55 | 39.184 | 0.19185
2019-04-30 06:45:00 | 5.579 | 228.22 | 3.198 | 245.37 | 2.049 | 262.067 | 1.284 | 267.667 | 5.772 | 889.867 | 40.549 | 0.19896
2019-04-30 07:00:00 | 5.68 | 226.36 | 3.224 | 241.675 | 2.18 | 254.733 | 1.686 | 260.967 | 6.373 | 889.767 | 39.76 | 0.21885
2019-04-30 07:15:00 | 5.543 | 224.7 | 3.254 | 233.429 | 1.693 | 241.267 | 1.143 | 244.467 | 7.439 | 889.583 | 37.475 | 0.21459
2019-04-30 07:30:00 | 4.667 | 224.56 | 2.372 | 231.477 | 1.62 | 239.533 | 1.316 | 238 | 8.461 | 889.867 | 35.125 | 0.23164
2019-04-30 07:45:00 | 4.535 | 223.773 | 2.502 | 232.414 | 1.247 | 251 | 1.082 | 238 | 9.054 | 889.633 | 33.301 | 0.24586
2019-04-30 08:00:00 | 4.9 | 228.96 | 4.659 | 222.15 | 3.213 | 235.533 | 2.846 | 236 | 10.353 | 889.617 | 31.301 | 0.28707
2019-04-30 08:15:00 | 3.806 | 221.427 | 4.522 | 215.795 | 3.828 | 224.267 | 3.405 | 223.233 | 11.68 | 889.617 | 29.451 | 0.27144
2019-04-30 08:30:00 | 2.993 | 213.507 | 3.112 | 211.488 | 3.608 | 213.367 | 3.352 | 211.833 | 13.845 | 889.35 | 26.32 | 0.46045
2019-04-30 08:45:00 | 3.873 | 218.167 | 3.65 | 216.207 | 3.612 | 217.733 | 3.724 | 212.533 | 15.164 | 889.6 | 23.637 | 0.46258
2019-04-30 09:00:00 | 3.41 | 214.827 | 3.246 | 213.98 | 3.337 | 218.867 | 3.539 | 217.367 | 16.26 | 889.65 | 22.389 | 0.18262
2019-04-30 09:15:00 | 2.623 | 218.08 | 2.316 | 213.357 | 2.34 | 215.867 | 2.701 | 210.667 | 16.681 | 889.9 | 20.976 | 0.17338
2019-04-30 09:30:00 | 0.113 | 190.613 | 0 | 199.549 | 0 | 212 | 0.759 | 224.567 | 18.414 | 889.267 | 19.013 | 0.17125
2019-04-30 09:45:00 | 1.826 | 60.235 | 1.766 | 36.919 | 2.042 | 45.333 | 2.42 | 50.233 | 18.556 | 889.767 | 17.605 | 1.095
2019-04-30 10:00:00 | 3.236 | 58.648 | 3.211 | 46.403 | 3.16 | 52.467 | 3.293 | 49.533 | 17.331 | 889.867 | 18.768 | 0.58977
2019-04-30 10:15:00 | 2.946 | 72.843 | 3.161 | 61.515 | 3.288 | 67.4 | 3.258 | 66.2 | 17.198 | 889.333 | 19.331 | 2.757
2019-04-30 10:30:00 | 3.866 | 87.04 | 4.081 | 81.163 | 4.125 | 85.433 | 4.001 | 81.933 | 16.981 | 889.367 | 19.317 | 9.0199
2019-04-30 10:45:00 | 3.837 | 92.263 | 3.915 | 83.744 | 3.984 | 87.6 | 4.287 | 82 | 17.252 | 889.467 | 19.235 | 13.1959
2019-04-30 11:00:00 | 5.195 | 95.083 | 4.804 | 88.555 | 4.837 | 94.2 | 5.196 | 89.467 | 18.235 | 889.5 | 18.115 | 12.1287
2019-04-30 11:15:00 | 6.126 | 92.42 | 5.921 | 88.077 | 5.689 | 93.267 | 5.791 | 84.8 | 18.114 | 889.733 | 17.115 | 5.8572
2019-04-30 11:30:00 | 3.937 | 107.273 | 4.131 | 98.596 | 4.29 | 102.367 | 4.114 | 96.733 | 19.189 | 889.8 | 17.355 | 1.4027
2019-04-30 11:45:00 | 2.883 | 57.382 | 3.13 | 49.663 | 3.401 | 56.633 | 3.702 | 55.3 | 19.752 | 889.467 | 16.795 | 1.0992
2019-04-30 12:00:00 | 4.516 | 163.18 | 4.653 | 160.239 | 4.517 | 165.033 | 5.217 | 155.567 | 19.839 | 889.167 | 17.867 | 1.2343
2019-04-30 12:15:00 | 1.224 | 228.73 | 1.148 | 190.705 | 1.813 | 182.358 | 2.141 | 176.633 | 20.856 | 889.7 | 17.408 | 0.47608
2019-04-30 12:30:00 | 1.063 | 189.313 | 0.67 | 181.221 | 0.766 | 161.225 | 0.914 | 168.967 | 20.131 | 889.5 | 17.384 | 0.23662
2019-04-30 12:45:00 | 3.233 | 163.197 | 3.223 | 161.835 | 3.486 | 161.8 | 3.625 | 157 | 20.673 | 889.233 | 17.019 | 0.15277
2019-04-30 13:00:00 | 2.129 | 116.8 | 1.523 | 160.57 | 1.694 | 180.1 | 2.255 | 177.9 | 19.656 | 889.4 | 18.083 | 0.16983
2019-04-30 13:15:00 | 3.419 | 176.293 | 3.456 | 174.307 | 3.326 | 179.733 | 3.458 | 176.8 | 21.177 | 889.8 | 17.557 | 0.16627
2019-04-30 13:30:00 | 1.941 | 191.567 | 2.15 | 198.498 | 2.543 | 199.567 | 3.027 | 193.667 | 20.627 | 889.567 | 18.363 | 0.18191
2019-04-30 13:45:00 | 2.919 | 223.453 | 3.208 | 212.847 | 3.564 | 215 | 3.836 | 207.3 | 20.252 | 889.7 | 19.101 | 5.4969
2019-04-30 14:00:00 | 5.72 | 255.827 | 5.881 | 257.049 | 5.632 | 263.05 | 5.408 | 262.083 | 19.477 | 889.967 | 21.304 | 9.8293
2019-04-30 14:15:00 | 3.767 | 166.32 | 3.755 | 163.394 | 3.587 | 166.7 | 4.034 | 164.4 | 19.885 | 889.683 | 21.931 | 9.8122
2019-04-30 14:30:00 | 3.07 | 87.818 | 3.26 | 100.873 | 3.788 | 112.2 | 4.058 | 107.667 | 19.498 | 889.7 | 21.808 | 2.8423
2019-04-30 14:45:00 | 4.409 | 87.771 | 4.662 | 77.553 | 4.903 | 88.3 | 5.158 | 84.6 | 19.739 | 889.867 | 21.531 | 0.61393
2019-04-30 15:00:00 | 1.606 | 115.423 | 1.727 | 112.968 | 1.701 | 123.967 | 2.188 | 116.833 | 20.26 | 889.167 | 20.613 | 1.1682
2019-04-30 15:15:00 | 2.225 | 81.754 | 2.648 | 89.569 | 2.937 | 78.84 | 3.407 | 81.933 | 20.306 | 889.5 | 20.184 | 8.7727
2019-04-30 15:30:00 | 6.304 | 77.495 | 6.224 | 75.389 | 6.113 | 82.233 | 5.979 | 80.233 | 20.177 | 889.483 | 21.776 | 8.8245
2019-04-30 15:45:00 | 4.2 | 99.747 | 3.926 | 93.237 | 3.816 | 97.567 | 3.69 | 92.4 | 19.148 | 889.683 | 22.901 | 5.9176
2019-04-30 16:00:00 | 4.368 | 105.467 | 4.404 | 100.349 | 4.098 | 107.633 | 4.092 | 101.367 | 19.414 | 889.883 | 22.821 | 4.6237
2019-04-30 16:15:00 | 3.452 | 102.21 | 3.409 | 94.608 | 3.904 | 100 | 3.697 | 90.933 | 19.944 | 890.133 | 21.685 | 2.6895
2019-04-30 16:30:00 | 3.846 | 70.252 | 3.481 | 75.478 | 3.016 | 89.067 | 3.086 | 87.033 | 20.548 | 889.583 | 20.885 | 0.67717
2019-04-30 16:45:00 | 3.417 | 111.697 | 3.493 | 99.094 | 3.72 | 99.967 | 4.01 | 93.9 | 20.998 | 889.467 | 19.981 | 0.30696
2019-04-30 17:00:00 | 1.532 | 75.072 | 1.394 | 71.061 | 1.885 | 72.367 | 2.328 | 54.1 | 21.548 | 889.4 | 18.163 | 1.6535
2019-04-30 17:15:00 | 2.598 | 125.99 | 2.678 | 123.708 | 2.93 | 122.6 | 3.266 | 120.167 | 21.189 | 889.467 | 18.109 | 4.8091
2019-04-30 17:30:00 | 1.366 | 240.487 | 1.009 | 266.024 | 1.136 | 113.907 | 1.502 | 104.05 | 21.873 | 889.433 | 18.328 | 6.7376
2019-04-30 17:45:00 | 4.578 | 75.862 | 4.648 | 66.039 | 4.541 | 73.4 | 4.876 | 67.5 | 21.468 | 889.9 | 19.128 | 4.117
2019-04-30 18:00:00 | 4.043 | 87.843 | 3.944 | 84.705 | 3.925 | 92.367 | 4.187 | 83.767 | 20.818 | 889.833 | 19.904 | 2.4579
2019-04-30 18:15:00 | 2.446 | 99.245 | 2.414 | 106.581 | 2.615 | 112.433 | 2.95 | 110.5 | 20.71 | 889.5 | 20.179 | 0.47395
2019-04-30 18:30:00 | 2.522 | 86.58 | 2.417 | 80.961 | 2.628 | 86.867 | 2.708 | 83.533 | 20.614 | 889.533 | 20.256 | 0.20251
2019-04-30 18:45:00 | 0.705 | 79.305 | 0.19 | 44.43 | 0.799 | 59.233 | 1.572 | 63.267 | 21.756 | 889.267 | 17.848 | 0.17125
2019-04-30 19:00:00 | 1.428 | 64.757 | 0.96 | 45.401 | 1.211 | 45.767 | 1.545 | 39.033 | 20.844 | 889.8 | 18.645 | 0.53435
2019-04-30 19:15:00 | 3.195 | 36.635 | 3.119 | 35.607 | 3.316 | 40.1 | 3.389 | 37.033 | 20.506 | 889.533 | 19.635 | 0.40289
2019-04-30 19:30:00 | 2.633 | 37.962 | 2.413 | 35.516 | 2.559 | 42.9 | 2.862 | 41.8 | 20.802 | 889.633 | 19.315 | 0.15561
2019-04-30 19:45:00 | 2.918 | 58.782 | 2.732 | 51.724 | 2.751 | 53.633 | 2.959 | 51 | 21.373 | 889.2 | 18.432 | 0.20038
2019-04-30 20:00:00 | 2.684 | 68.933 | 2.348 | 60.94 | 2.522 | 62.1 | 2.89 | 57.3 | 20.977 | 889.367 | 18.704 | 0.33041
2019-04-30 20:15:00 | 2.502 | 57.026 | 2.143 | 47.431 | 2.028 | 54.033 | 2.217 | 53.433 | 20.723 | 889.9 | 19.029 | 0.49384
2019-04-30 20:30:00 | 2.8 | 67.485 | 2.624 | 63.484 | 2.804 | 67.367 | 2.96 | 63.3 | 20.164 | 889.5 | 19.816 | 0.54287
2019-04-30 20:45:00 | 2.271 | 72.232 | 2.346 | 70.632 | 2.574 | 75.667 | 2.798 | 69.933 | 19.977 | 889.733 | 20.757 | 2.4507
2019-04-30 21:00:00 | 3.326 | 84.123 | 3.761 | 76.566 | 3.877 | 82.833 | 3.891 | 78.6 | 19.444 | 890.067 | 21.285 | 7.3096
2019-04-30 21:15:00 | 4.049 | 89.83 | 4.247 | 81.061 | 4.054 | 88.367 | 4.003 | 81.267 | 19.235 | 889.983 | 21.616 | 7.9356
2019-04-30 21:30:00 | 4.31 | 90.98 | 5.101 | 81.788 | 4.802 | 86.5 | 4.873 | 82.033 | 19.098 | 889.533 | 21.781 | 6.8548
2019-04-30 21:45:00 | 3.256 | 90.067 | 3.793 | 82.221 | 3.708 | 85.167 | 3.868 | 81.9 | 18.756 | 889.717 | 21.893 | 10.0375
2019-04-30 22:00:00 | 3.153 | 100.19 | 4.121 | 89.458 | 3.682 | 90.867 | 3.539 | 88.733 | 17.885 | 889.483 | 22.24 | 9.1947
2019-04-30 22:15:00 | 3.821 | 97.267 | 3.962 | 90.662 | 2.89 | 99.233 | 2.983 | 92.1 | 17.689 | 889.567 | 21.867 | 11.4323
2019-04-30 22:30:00 | 3.653 | 105.263 | 3.726 | 94.249 | 3.328 | 100.767 | 3.576 | 98.333 | 17.577 | 889.833 | 21.339 | 15.4548
2019-04-30 22:45:00 | 3.967 | 111.35 | 4.652 | 102.556 | 4.24 | 105.8 | 4.699 | 99.7 | 17.368 | 889.533 | 20.621 | 14.438
2019-04-30 23:00:00 | 3.527 | 129.08 | 4.421 | 116.349 | 4.647 | 121.133 | 5.165 | 117.467 | 16.898 | 889.183 | 20.501 | 14.8182
2019-04-30 23:15:00 | 3.889 | 139.98 | 5.522 | 122.868 | 5.71 | 125.833 | 6.334 | 120.9 | 16.193 | 890.167 | 21.392 | 22.5129
2019-04-30 23:30:00 | 4.001 | 133.953 | 5.756 | 120.648 | 5.682 | 127 | 5.859 | 125.8 | 16.481 | 889.95 | 21.573 | 23.0444
2019-04-30 23:45:00 | 3.977 | 133.827 | 5.021 | 122.861 | 4.761 | 130.233 | 5.014 | 126.333 | 16.814 | 889.783 | 21.557 | 32.4004