## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-01 00:00:00 | 4.377 | 140.593 | 5.241 | 129.377 | 5.014 | 135.8 | 4.958 | 131.167 | 15.861 | 889.417 | 21.072 | 32.0046
2019-05-01 00:15:00 | 4.923 | 140.867 | 5.502 | 131.786 | 4.735 | 137.133 | 4.726 | 134.367 | 16.374 | 889.5 | 20.205 | 22.3928
2019-05-01 00:30:00 | 2.868 | 158.96 | 4.567 | 138.913 | 4.699 | 141.833 | 4.98 | 137.033 | 15.512 | 889.933 | 21.019 | 19.3523
2019-05-01 00:45:00 | 2.362 | 165.887 | 4.304 | 140.468 | 4.417 | 143.467 | 4.511 | 138.533 | 14.37 | 890.1 | 22.939 | 15.69
2019-05-01 01:00:00 | 2.33 | 195.533 | 3.762 | 148.864 | 4.338 | 144.7 | 4.164 | 138.7 | 13.808 | 889.883 | 24.043 | 11.1857
2019-05-01 01:15:00 | 4.73 | 242.007 | 3.511 | 204.881 | 2.768 | 172.767 | 2.856 | 156.167 | 12.136 | 889.6 | 26.128 | 3.793
2019-05-01 01:30:00 | 4.217 | 241.14 | 2.84 | 232.151 | 2.652 | 218.933 | 2.93 | 203.533 | 12.24 | 889.767 | 27.6 | 0.87684
2019-05-01 01:45:00 | 6.248 | 227.133 | 6.298 | 228.133 | 5.382 | 232.933 | 4.536 | 223.9 | 11.245 | 889.45 | 29.317 | 5.8536
2019-05-01 02:00:00 | 5.009 | 226.953 | 5.71 | 223.976 | 5.444 | 228.3 | 5.411 | 218.733 | 11.703 | 890.383 | 30.32 | 2.2539
2019-05-01 02:15:00 | 4.623 | 231.287 | 5.545 | 219.879 | 4.495 | 220.9 | 3.88 | 216.567 | 12.488 | 889.767 | 30.144 | 1.3003
2019-05-01 02:30:00 | 4.821 | 249.333 | 5.783 | 228.587 | 4.784 | 228 | 4.383 | 214.833 | 11.703 | 889.667 | 31.824 | 1.9057
2019-05-01 02:45:00 | 4.317 | 248.48 | 5.602 | 233.819 | 5.707 | 232.8 | 5.506 | 224.1 | 11.87 | 890.067 | 32.816 | 4.122
2019-05-01 03:00:00 | 4.728 | 248.047 | 6.894 | 238.347 | 6.898 | 240.5 | 5.784 | 229.767 | 11.411 | 890.167 | 33.771 | 2.9133
2019-05-01 03:15:00 | 3.833 | 124.888 | 3.274 | 144.171 | 2.451 | 154 | 2.744 | 181.033 | 11.707 | 889.683 | 33.755 | 0.81431
2019-05-01 03:30:00 | 1.11 | 187.433 | 1.324 | 179.472 | 1.843 | 184.6 | 2.363 | 174.6 | 12.891 | 889.833 | 32.325 | 4.0026
2019-05-01 03:45:00 | 2.151 | 220.767 | 1.397 | 209.324 | 1.391 | 197.467 | 2.217 | 193.633 | 13.416 | 889.533 | 31.493 | 4.1803
2019-05-01 04:00:00 | 1.81 | 203.907 | 0.85 | 195.316 | 0.616 | 202 | 2.006 | 203.067 | 13.745 | 889.4 | 30.549 | 1.1746
2019-05-01 04:15:00 | 2.618 | 189.647 | 1.879 | 187.164 | 1.515 | 185.467 | 1.77 | 190.9 | 13.804 | 889.3 | 31.029 | 0.13288
2019-05-01 04:30:00 | 2.141 | 199.673 | 1.49 | 193.937 | 1.526 | 205.967 | 2.134 | 202.4 | 13.216 | 889.667 | 31.632 | 0.42847
2019-05-01 04:45:00 | 3.919 | 201.007 | 3.299 | 198.689 | 2.874 | 210.033 | 2.655 | 207.267 | 12.762 | 889.8 | 31.797 | 2.536
2019-05-01 05:00:00 | 4.781 | 199.507 | 3.86 | 205.157 | 3.701 | 215.4 | 4.159 | 221.633 | 12.634 | 889.85 | 31.371 | 4.0914
2019-05-01 05:15:00 | 5.113 | 206.38 | 4.672 | 211.534 | 2.949 | 225.5 | 1.828 | 238.467 | 12.261 | 889.483 | 31.541 | 1.1525
2019-05-01 05:30:00 | 5.727 | 217.047 | 3.328 | 220.765 | 2.622 | 255.167 | 3.242 | 267.933 | 11.528 | 889.833 | 29.819 | 1.7096
2019-05-01 05:45:00 | 5.94 | 226.1 | 4.705 | 229.992 | 3.824 | 239.3 | 3.75 | 236.233 | 11.295 | 889.633 | 28.112 | 5.5232
2019-05-01 06:00:00 | 5.388 | 223.393 | 5.344 | 227.014 | 4.798 | 232.6 | 4.762 | 233.633 | 11.022 | 889.767 | 26.187 | 7.8624
2019-05-01 06:15:00 | 5.589 | 218.6 | 6.677 | 223.85 | 5.933 | 231.5 | 5.185 | 233.067 | 11.028 | 889.8 | 26.875 | 15.0036
2019-05-01 06:30:00 | 6.18 | 231.627 | 6.614 | 240.062 | 6.132 | 249.267 | 5.73 | 248.7 | 11.34 | 889.45 | 25.461 | 15.9622
2019-05-01 06:45:00 | 5.782 | 228.2 | 6.222 | 239.106 | 5.712 | 251.2 | 5.326 | 251.167 | 10.928 | 889.4 | 24.981 | 12.3496
2019-05-01 07:00:00 | 5.76 | 230.5 | 6.088 | 243.64 | 5.601 | 254.833 | 5.308 | 254.283 | 10.414 | 889.25 | 25.573 | 8.3968
2019-05-01 07:15:00 | 5.274 | 223 | 5.078 | 237.071 | 4.569 | 252.533 | 4.228 | 255.2 | 10.203 | 890.15 | 26.688 | 5.0862
2019-05-01 07:30:00 | 4.853 | 219.88 | 5.798 | 225.949 | 4.699 | 241.633 | 4.166 | 244.533 | 10.549 | 889.467 | 26.768 | 5.4294
2019-05-01 07:45:00 | 5.449 | 223.467 | 5.424 | 225.254 | 4.59 | 234.467 | 4.113 | 236.8 | 11.445 | 889.55 | 24.88 | 4.9335
2019-05-01 08:00:00 | 4.256 | 221.773 | 5.009 | 223.259 | 4.444 | 234.4 | 4.307 | 233.267 | 12.724 | 889.633 | 22.715 | 4.586
2019-05-01 08:15:00 | 3.488 | 229.213 | 4.435 | 230.684 | 4.34 | 249.533 | 4.236 | 250.933 | 14.316 | 888.9 | 20.773 | 3.2246
2019-05-01 08:30:00 | 1.972 | 216.667 | 1.79 | 227.136 | 2.558 | 238.967 | 2.902 | 248.4 | 15.481 | 889.333 | 19.139 | 0.15632
2019-05-01 08:45:00 | 2.559 | 254.407 | 2.403 | 246.903 | 2.408 | 253.15 | 2.692 | 245.733 | 17.444 | 889.167 | 16.344 | 1.0616
2019-05-01 09:00:00 | 3.699 | 253 | 3.615 | 251.684 | 3.789 | 256.267 | 3.926 | 251.717 | 18.189 | 889.667 | 15.343 | 2.6575
2019-05-01 09:15:00 | 4.31 | 262.193 | 4.416 | 262.184 | 4.521 | 267.95 | 4.554 | 266.133 | 18.739 | 889.3 | 14.732 | 4.5995
2019-05-01 09:30:00 | 4.344 | 296.573 | 4.566 | 291.093 | 4.506 | 297.067 | 4.877 | 291.733 | 17.952 | 889.167 | 16.093 | 5.2049
2019-05-01 09:45:00 | 4.749 | 277.147 | 4.968 | 276.582 | 4.944 | 279.333 | 5.224 | 278.933 | 18.252 | 889.567 | 16.775 | 12.6495
2019-05-01 10:00:00 | 6.026 | 299.267 | 6.246 | 295.756 | 6.337 | 299.2 | 6.505 | 295.833 | 18.656 | 889.7 | 17.147 | 16.726
2019-05-01 10:15:00 | 5.668 | 285.693 | 6.079 | 283.467 | 5.955 | 289.333 | 5.984 | 290 | 18.535 | 889.4 | 17.303 | 15.4591
2019-05-01 10:30:00 | 5.812 | 297.267 | 5.842 | 293.945 | 6.1 | 299.4 | 6.634 | 296.9 | 18.639 | 889.633 | 18.124 | 13.0361
2019-05-01 10:45:00 | 5.6 | 319.48 | 6.148 | 311.515 | 6.413 | 319.233 | 6.802 | 316.2 | 19.073 | 889.767 | 17.956 | 16.0972
2019-05-01 11:00:00 | 5.79 | 300.133 | 6.015 | 291.746 | 6.18 | 298.3 | 6.404 | 295.967 | 19.231 | 889.067 | 17.796 | 23.7102
2019-05-01 11:15:00 | 6.294 | 313.373 | 6.445 | 305.769 | 6.723 | 310.867 | 7.193 | 307.033 | 19.118 | 889.633 | 18.381 | 30.5807
2019-05-01 11:30:00 | 8.538 | 312.507 | 8.888 | 308.53 | 8.886 | 312.9 | 9.364 | 311.967 | 19.273 | 889.867 | 17.741 | 46.4739
2019-05-01 11:45:00 | 8.221 | 312.067 | 8.805 | 308.278 | 8.947 | 314 | 9.159 | 311.233 | 19.314 | 889.433 | 17.265 | 52.7994
2019-05-01 12:00:00 | 8.37 | 304.347 | 8.727 | 302.588 | 9.138 | 306.933 | 9.585 | 305 | 19.806 | 889.4 | 17.339 | 58.5542
2019-05-01 12:15:00 | 8.322 | 298.04 | 8.789 | 296.24 | 8.952 | 302.3 | 9.459 | 303.1 | 20.331 | 889.533 | 16.756 | 64.1407
2019-05-01 12:30:00 | 9.548 | 310.2 | 10.107 | 305.743 | 10.284 | 309.667 | 10.779 | 307.4 | 20.306 | 889.4 | 15.957 | 74.8198
2019-05-01 12:45:00 | 11.188 | 307.587 | 11.92 | 304.598 | 12.255 | 310.233 | 13.208 | 310.167 | 20.052 | 889.633 | 16.176 | 76.2886
2019-05-01 13:00:00 | 10.776 | 298.893 | 11.532 | 297.723 | 11.616 | 303.3 | 12.013 | 301.867 | 20.264 | 889.367 | 16.128 | 76.4492
2019-05-01 13:15:00 | 10.645 | 299.36 | 11.325 | 298.295 | 11.874 | 301.4 | 12.318 | 302.2 | 20.277 | 889.1 | 16.025 | 75.5396
2019-05-01 13:30:00 | 11.846 | 315.413 | 12.505 | 310.344 | 12.589 | 313.5 | 13.036 | 309.9 | 20.827 | 889.367 | 15.535 | 72.5609
2019-05-01 13:45:00 | 11.612 | 312.627 | 12.201 | 305.397 | 12.521 | 308.833 | 12.884 | 306.9 | 20.706 | 889.567 | 15.505 | 72.556
2019-05-01 14:00:00 | 11.027 | 298.207 | 11.508 | 296.152 | 12.104 | 304.833 | 12.458 | 302.367 | 20.714 | 889.433 | 15.856 | 67.7127
2019-05-01 14:15:00 | 12.16 | 317.373 | 12.516 | 311.931 | 12.853 | 316.533 | 13.129 | 314.067 | 20.431 | 889.3 | 15.811 | 72.524
2019-05-01 14:30:00 | 11.364 | 310.253 | 11.807 | 306.751 | 12.258 | 311.5 | 12.818 | 309.233 | 20.935 | 889.367 | 15.443 | 73.0868
2019-05-01 14:45:00 | 10.009 | 323.427 | 10.525 | 315.015 | 10.825 | 321.1 | 10.969 | 319.767 | 20.281 | 889.367 | 15.947 | 71.0851
2019-05-01 15:00:00 | 9.564 | 322.04 | 10.141 | 316.995 | 10.604 | 323.7 | 10.816 | 321.967 | 20.939 | 889.567 | 15.74 | 65.704
2019-05-01 15:15:00 | 8.045 | 313.027 | 8.186 | 310.072 | 8.607 | 317.1 | 8.928 | 317.267 | 21.048 | 889.633 | 15.472 | 55.427
2019-05-01 15:30:00 | 8.496 | 330.733 | 9.28 | 322.888 | 9.185 | 327.267 | 9.614 | 326.533 | 21.344 | 889.6 | 15.275 | 60.2731
2019-05-01 15:45:00 | 9.659 | 327.533 | 10.185 | 320.447 | 10.345 | 324.7 | 10.582 | 323.667 | 21.194 | 889.4 | 15.571 | 63.8906
2019-05-01 16:00:00 | 8.959 | 326.947 | 9.446 | 318.025 | 9.632 | 323.567 | 9.825 | 320.767 | 20.794 | 889.3 | 16.125 | 63.8927
2019-05-01 16:15:00 | 7.7 | 317.867 | 8.002 | 310.496 | 8.572 | 313.233 | 8.624 | 314.033 | 21.068 | 889.4 | 15.977 | 52.8555
2019-05-01 16:30:00 | 7.775 | 293.747 | 8.359 | 287.489 | 8.497 | 292.983 | 9.112 | 292.467 | 20.744 | 889.367 | 16.015 | 62.7757
2019-05-01 16:45:00 | 9.882 | 315.333 | 10.271 | 310.411 | 10.571 | 315.6 | 11.064 | 316.167 | 20.356 | 889.733 | 16.332 | 55.5336
2019-05-01 17:00:00 | 9.027 | 308.36 | 9.628 | 301.604 | 10.048 | 305.3 | 10.658 | 302.8 | 20.839 | 889.033 | 16.192 | 55.1044
2019-05-01 17:15:00 | 8.867 | 320.307 | 8.888 | 313.486 | 9.094 | 318 | 9.504 | 318.467 | 20.398 | 889.4 | 15.695 | 68.2137
2019-05-01 17:30:00 | 9.477 | 318.693 | 9.991 | 316.72 | 10.326 | 319.467 | 10.478 | 317.067 | 19.939 | 889.467 | 15.556 | 56.1696
2019-05-01 17:45:00 | 8.304 | 316 | 8.892 | 310.589 | 9.08 | 315.067 | 9.272 | 310.9 | 19.894 | 889.667 | 15.781 | 51.7726
2019-05-01 18:00:00 | 8.048 | 310.48 | 8.462 | 303.834 | 8.702 | 309.867 | 8.945 | 309.4 | 19.652 | 888.867 | 16.167 | 60.8593
2019-05-01 18:15:00 | 9.796 | 327.133 | 10.343 | 323.672 | 10.621 | 328.3 | 10.924 | 327.067 | 19.552 | 889.133 | 16.699 | 67.9593
2019-05-01 18:30:00 | 9.1 | 329.6 | 9.546 | 324.37 | 9.723 | 329.433 | 9.955 | 328.033 | 19.281 | 889.667 | 17.577 | 67.0867
2019-05-01 18:45:00 | 8.652 | 329.733 | 9.222 | 320.911 | 9.692 | 324.833 | 10.432 | 323.933 | 18.994 | 889.767 | 18.064 | 57.0741
2019-05-01 19:00:00 | 7.238 | 317.8 | 8.129 | 312.454 | 8.368 | 319.167 | 8.77 | 318.367 | 18.756 | 889.8 | 18.953 | 51.0059
2019-05-01 19:15:00 | 7.629 | 315.733 | 8.323 | 311.069 | 8.921 | 316.667 | 9.286 | 315.633 | 19.01 | 889.567 | 19.133 | 63.0393
2019-05-01 19:30:00 | 8.841 | 323.907 | 9.41 | 318.384 | 9.634 | 322.8 | 9.873 | 322.033 | 18.814 | 889.133 | 20.209 | 72.7038
2019-05-01 19:45:00 | 9.871 | 314.733 | 10.446 | 309.29 | 11.222 | 314.433 | 11.711 | 313.367 | 18.489 | 889.733 | 22.016 | 72.4188
2019-05-01 20:00:00 | 9.875 | 323.573 | 10.58 | 318.578 | 10.746 | 323.467 | 11.052 | 323.667 | 17.985 | 890.067 | 23.659 | 69.2326
2019-05-01 20:15:00 | 8.953 | 317.627 | 9.739 | 312.017 | 9.928 | 319.2 | 10.593 | 317.267 | 17.802 | 889.75 | 24.4 | 60.5453
2019-05-01 20:30:00 | 8.109 | 317.253 | 8.684 | 313.071 | 8.998 | 315.633 | 9.338 | 315.367 | 17.798 | 889.833 | 25.099 | 58.0739
2019-05-01 20:45:00 | 7.864 | 302.227 | 8.499 | 298.624 | 8.659 | 303.167 | 8.907 | 303.533 | 17.448 | 889.55 | 25.277 | 44.9227
2019-05-01 21:00:00 | 6.116 | 311.933 | 6.659 | 304.706 | 7.105 | 311.733 | 7.619 | 311.1 | 17.218 | 889.55 | 25.755 | 34.0582
2019-05-01 21:15:00 | 7.205 | 286.96 | 7.657 | 288.089 | 7.781 | 293.333 | 8.114 | 292.467 | 16.898 | 889.667 | 27.845 | 44.9192
2019-05-01 21:30:00 | 8.077 | 278.48 | 8.898 | 280.458 | 9.12 | 285.233 | 9.582 | 282.633 | 17.014 | 889.767 | 30.445 | 45.9992
2019-05-01 21:45:00 | 6.267 | 283.693 | 6.984 | 283.365 | 7.486 | 288.9 | 7.935 | 285.2 | 16.631 | 889.6 | 30.789 | 41.932
2019-05-01 22:00:00 | 7.447 | 283.347 | 8.189 | 279.257 | 8.469 | 282.967 | 8.701 | 280.9 | 16.914 | 889.683 | 31.312 | 59.2648
2019-05-01 22:15:00 | 8.241 | 280.287 | 9.285 | 282.975 | 9.765 | 288.133 | 10.534 | 287.667 | 16.414 | 890.1 | 32.528 | 66.5531
2019-05-01 22:30:00 | 8.068 | 279.78 | 9.058 | 281.754 | 9.448 | 284.2 | 10.064 | 282 | 16.372 | 889.933 | 33.149 | 59.2279
2019-05-01 22:45:00 | 8.32 | 281.813 | 9.209 | 280.566 | 9.756 | 285.733 | 10.422 | 281.667 | 15.87 | 889.733 | 33.813 | 58.2551
2019-05-01 23:00:00 | 8.029 | 275.547 | 9.026 | 278.228 | 9.196 | 282.7 | 9.601 | 280.7 | 16.044 | 889.95 | 34.328 | 47.5326
2019-05-01 23:15:00 | 8.012 | 274.573 | 8.764 | 278.364 | 8.873 | 283.767 | 9.313 | 280.633 | 15.529 | 889.717 | 34.755 | 54.6298
2019-05-01 23:30:00 | 9.678 | 283.567 | 10.568 | 283.512 | 10.915 | 288.533 | 11.773 | 286.367 | 15.78 | 889.583 | 36.755 | 65.2549
2019-05-01 23:45:00 | 8.604 | 286.653 | 9.465 | 286.627 | 9.811 | 289.433 | 10.322 | 286.867 | 15.395 | 889.7 | 38.616 | 70.2097