## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-02 00:00:00 | 10.162 | 270.013 | 11.367 | 275.862 | 11.638 | 280.067 | 12.215 | 277.767 | 14.77 | 889.525 | 42.339 | 71.5839
2019-05-02 00:15:00 | 9.58 | 266.453 | 10.611 | 270.422 | 10.69 | 276.467 | 11.092 | 273.533 | 14.237 | 889.633 | 46.459 | 71.7004
2019-05-02 00:30:00 | 9.357 | 267.467 | 10.382 | 273.158 | 10.729 | 277.433 | 11.05 | 276.3 | 13.566 | 890.208 | 48.395 | 65.65
2019-05-02 00:45:00 | 8.538 | 267.74 | 9.799 | 273.378 | 10.285 | 278.867 | 10.591 | 276.4 | 13.339 | 889.517 | 49.653 | 61.8818
2019-05-02 01:00:00 | 7.6 | 269.633 | 8.686 | 273.558 | 9.001 | 276.433 | 9.546 | 274.567 | 13.208 | 890.15 | 51.051 | 64.7468
2019-05-02 01:15:00 | 8.85 | 271.873 | 9.964 | 273.822 | 10.113 | 278.633 | 10.556 | 276.033 | 13.164 | 890.008 | 52.784 | 64.5358
2019-05-02 01:30:00 | 8.431 | 267.333 | 9.547 | 271.246 | 9.72 | 274 | 10.204 | 271.467 | 13.051 | 889.758 | 54.128 | 61.847
2019-05-02 01:45:00 | 7.736 | 272.113 | 8.999 | 271.058 | 9.161 | 276.3 | 9.328 | 273.3 | 12.82 | 889.617 | 54.624 | 53.0431
2019-05-02 02:00:00 | 7.436 | 266.407 | 8.248 | 269.901 | 8.416 | 275.3 | 8.622 | 269.833 | 12.932 | 889.917 | 54.597 | 35.1617
2019-05-02 02:15:00 | 6.706 | 268.227 | 7.367 | 273.124 | 7.505 | 278.3 | 7.903 | 276.9 | 12.745 | 889.8 | 54.181 | 25.6927
2019-05-02 02:30:00 | 5.246 | 269.413 | 5.82 | 269.156 | 6.102 | 275.367 | 6.697 | 272.1 | 12.457 | 889.867 | 53.909 | 27.258
2019-05-02 02:45:00 | 5.897 | 286.507 | 6.75 | 283.09 | 7.318 | 286.867 | 7.966 | 284.367 | 12.532 | 889.792 | 54.032 | 27.931
2019-05-02 03:00:00 | 6.248 | 285.173 | 6.923 | 284.272 | 6.984 | 288.133 | 7.497 | 286.267 | 12.699 | 889.792 | 54.043 | 28.066
2019-05-02 03:15:00 | 6.849 | 280.193 | 7.5 | 281.499 | 7.539 | 285.033 | 7.821 | 282 | 12.27 | 889.967 | 54.555 | 28.8646
2019-05-02 03:30:00 | 5.647 | 277.827 | 6.234 | 276.759 | 6.294 | 281.267 | 6.556 | 276.367 | 12.095 | 889.617 | 55.701 | 23.3037
2019-05-02 03:45:00 | 5.856 | 276.453 | 6.594 | 275.308 | 6.802 | 279.3 | 7.195 | 274.067 | 12.157 | 889.767 | 56.715 | 21.7441
2019-05-02 04:00:00 | 5.165 | 270.047 | 5.667 | 267.605 | 5.781 | 272.233 | 6.3 | 268.567 | 11.707 | 889.767 | 57.44 | 15.754
2019-05-02 04:15:00 | 4.252 | 269.66 | 4.629 | 267.877 | 4.664 | 272.733 | 4.879 | 269.967 | 11.874 | 889.817 | 58.085 | 16.2656
2019-05-02 04:30:00 | 4.353 | 258.687 | 4.87 | 255.396 | 5.041 | 260.033 | 5.297 | 256.483 | 11.586 | 890.017 | 58.672 | 15.7199
2019-05-02 04:45:00 | 4.892 | 255.113 | 5.463 | 257.354 | 5.471 | 261.017 | 5.739 | 255.05 | 11.616 | 889.725 | 59.728 | 20.244
2019-05-02 05:00:00 | 5.535 | 259.733 | 6.221 | 260.737 | 6.458 | 264.85 | 6.65 | 259.633 | 11.399 | 889.85 | 60.981 | 25.0425
2019-05-02 05:15:00 | 5.426 | 252.967 | 5.936 | 252.944 | 6.231 | 258.35 | 6.468 | 253.033 | 11.432 | 889.825 | 61.115 | 28.3218
2019-05-02 05:30:00 | 6.278 | 251 | 7.178 | 249.498 | 7.401 | 254.517 | 7.446 | 249.35 | 11.461 | 889.817 | 61.173 | 33.1138
2019-05-02 05:45:00 | 6.232 | 253.96 | 6.958 | 256.192 | 7.427 | 261.4 | 7.667 | 256.917 | 11.128 | 889.967 | 60.693 | 27.6638
2019-05-02 06:00:00 | 6.329 | 265.187 | 6.986 | 266.335 | 7.06 | 271.033 | 7.368 | 267.233 | 11.611 | 889.908 | 60.485 | 34.3914
2019-05-02 06:15:00 | 7.805 | 266.887 | 8.594 | 268.005 | 8.78 | 272.4 | 9.089 | 269.9 | 11.211 | 890.267 | 60.507 | 29.5638
2019-05-02 06:30:00 | 6.94 | 263.26 | 7.808 | 265.685 | 7.959 | 272.867 | 8.357 | 269.733 | 11.528 | 889.733 | 60.715 | 29.6775
2019-05-02 06:45:00 | 6.293 | 260.887 | 7.319 | 263.418 | 7.84 | 269.667 | 8.044 | 265.65 | 11.145 | 889.55 | 60.357 | 36.5849
2019-05-02 07:00:00 | 6.895 | 255.1 | 7.841 | 260.642 | 8.101 | 266.367 | 8.412 | 260.717 | 11.532 | 889.933 | 60.405 | 37.3204
2019-05-02 07:15:00 | 6.556 | 253.827 | 7.382 | 254.599 | 7.944 | 260.3 | 8.411 | 254.417 | 11.211 | 889.65 | 60.661 | 38.7586
2019-05-02 07:30:00 | 6.998 | 252.013 | 7.694 | 249.606 | 7.966 | 253.083 | 8.08 | 247.833 | 11.145 | 889.7 | 60.043 | 37.3701
2019-05-02 07:45:00 | 5.776 | 242.607 | 6.54 | 240.358 | 6.589 | 247.867 | 6.83 | 242.033 | 11.574 | 890.025 | 58.581 | 48.7093
2019-05-02 08:00:00 | 6.818 | 252.067 | 7.723 | 254.718 | 7.965 | 258.583 | 8.173 | 253.067 | 11.536 | 889.717 | 58.843 | 41.5461
2019-05-02 08:15:00 | 5.962 | 256.4 | 6.922 | 254.979 | 7.342 | 261.117 | 7.782 | 257.417 | 11.932 | 889.692 | 58.437 | 28.3452
2019-05-02 08:30:00 | 5.943 | 267.567 | 6.637 | 269.297 | 7.034 | 274.433 | 7.528 | 270.533 | 11.811 | 889.942 | 56.944 | 26.2895
2019-05-02 08:45:00 | 6.66 | 271.9 | 7.426 | 274.509 | 7.439 | 277.133 | 7.868 | 273.7 | 11.911 | 890.017 | 55.333 | 30.0797
2019-05-02 09:00:00 | 7.396 | 267.873 | 7.915 | 272.731 | 7.881 | 277.7 | 7.975 | 275.467 | 12.053 | 889.592 | 54.16 | 40.4831
2019-05-02 09:15:00 | 7.76 | 259.68 | 8.417 | 265.311 | 8.529 | 269.933 | 8.59 | 266 | 12.166 | 889.958 | 55.797 | 50.5767
2019-05-02 09:30:00 | 8.723 | 276.867 | 9.711 | 278.992 | 9.835 | 283.3 | 10.198 | 279.967 | 12.386 | 889.7 | 53.899 | 47.4872
2019-05-02 09:45:00 | 7.592 | 277.46 | 8.571 | 279.021 | 8.639 | 282 | 8.888 | 278 | 12.753 | 890.242 | 52.715 | 30.6965
2019-05-02 10:00:00 | 6.34 | 280.667 | 6.623 | 279.003 | 6.608 | 282.2 | 6.873 | 280.467 | 12.907 | 890.408 | 50.981 | 28.0738
2019-05-02 10:15:00 | 7.605 | 286.493 | 8.097 | 287.657 | 8.241 | 291.967 | 8.335 | 288.267 | 13.166 | 890.017 | 47.029 | 31.3069
2019-05-02 10:30:00 | 6.293 | 281.787 | 6.633 | 284.525 | 6.405 | 289.3 | 6.99 | 289 | 13.164 | 889.667 | 46.853 | 25.2351
2019-05-02 10:45:00 | 6.126 | 286.647 | 6.483 | 285.824 | 6.498 | 288.567 | 6.71 | 286.4 | 13.549 | 889.767 | 45.36 | 18.9181
2019-05-02 11:00:00 | 6.401 | 313.867 | 6.702 | 309.369 | 6.963 | 314.167 | 7.3 | 311.767 | 13.974 | 890.108 | 40.88 | 16.9555
2019-05-02 11:15:00 | 7.146 | 320.573 | 7.105 | 311.838 | 7.287 | 316.767 | 7.551 | 311.933 | 14.879 | 889.733 | 39.936 | 18.7732
2019-05-02 11:30:00 | 6.124 | 308.133 | 6.254 | 302.598 | 6.049 | 308 | 6.549 | 306.233 | 14.52 | 889.717 | 37.589 | 19.4013
2019-05-02 11:45:00 | 5.707 | 286.42 | 5.983 | 283.355 | 5.642 | 286.633 | 6 | 284.067 | 14.891 | 889.117 | 37.605 | 21.1124
2019-05-02 12:00:00 | 6.969 | 268.547 | 7.314 | 274.443 | 7.55 | 279.433 | 7.758 | 279.467 | 14.808 | 889.717 | 38.088 | 19.6685
2019-05-02 12:15:00 | 6.131 | 299.167 | 6.285 | 297.908 | 6.316 | 305.933 | 6.427 | 301.033 | 15.834 | 889.633 | 35.712 | 15.8193
2019-05-02 12:30:00 | 5.523 | 308.04 | 5.83 | 303.929 | 5.707 | 312.5 | 6.146 | 310.733 | 15.409 | 890.1 | 38.28 | 17.4629
2019-05-02 12:45:00 | 7.032 | 319.08 | 7.26 | 316.782 | 7.585 | 319 | 7.691 | 317.5 | 15.597 | 889.633 | 38.883 | 22.3189
2019-05-02 13:00:00 | 5.844 | 306.573 | 6.286 | 313.184 | 6.454 | 318.767 | 6.522 | 316.3 | 15.286 | 889.85 | 38.744 | 24.5956
2019-05-02 13:15:00 | 5.545 | 333.667 | 5.803 | 330.529 | 6.09 | 324.167 | 6.285 | 324.867 | 14.858 | 889.833 | 40.264 | 21.2125
2019-05-02 13:30:00 | 4.708 | 295.813 | 4.777 | 291.956 | 4.712 | 298.333 | 5.579 | 296.4 | 15.697 | 889.55 | 37.083 | 17.8544
2019-05-02 13:45:00 | 5.348 | 291.793 | 5.793 | 295.794 | 5.993 | 299.7 | 6.216 | 302.633 | 15.352 | 889.9 | 36.395 | 21.0115
2019-05-02 14:00:00 | 6.939 | 333.227 | 7.245 | 331.614 | 7.388 | 338.1 | 7.513 | 338.233 | 15.69 | 889.667 | 35.64 | 22.6223
2019-05-02 14:15:00 | 6.967 | 94.634 | 7.512 | 128.497 | 7.059 | 82.4 | 7.561 | 106.067 | 15.58 | 889.583 | 35.872 | 18.5081
2019-05-02 14:30:00 | 5.428 | 4.745 | 5.782 | 106.774 | 5.917 | 15.167 | 5.94 | 38.5 | 14.958 | 890.167 | 37.059 | 20.4757
2019-05-02 14:45:00 | 6.524 | 118.842 | 7.258 | 173.886 | 7.281 | 193.767 | 7.712 | 222.433 | 14.891 | 889.7 | 39.003 | 23.4764
2019-05-02 15:00:00 | 6.115 | 60.336 | 6.478 | 124.269 | 6.403 | 48.167 | 6.521 | 79.3 | 14.741 | 889.917 | 39.155 | 23.6711
2019-05-02 15:15:00 | 5.975 | 27.663 | 5.995 | 38.491 | 6.06 | 26.5 | 6.05 | 25.833 | 14.758 | 890.017 | 38.813 | 27.3135
2019-05-02 15:30:00 | 5.646 | 302.813 | 5.869 | 332.697 | 5.933 | 302.167 | 6.24 | 291.133 | 15.21 | 889.883 | 38.16 | 28.7751
2019-05-02 15:45:00 | 6.705 | 340.76 | 6.668 | 335.555 | 6.934 | 339.433 | 7.3 | 338.633 | 15.093 | 890.2 | 39.432 | 31.5207
2019-05-02 16:00:00 | 8.12 | 314.373 | 8.286 | 309.153 | 8.332 | 315.867 | 8.408 | 314.433 | 15.062 | 890.417 | 38.96 | 37.4796
2019-05-02 16:15:00 | 6.597 | 324.56 | 6.931 | 329.511 | 7.193 | 335.333 | 7.501 | 320.9 | 15.272 | 889.8 | 45.477 | 34.7886
2019-05-02 16:30:00 | 7.79 | 315.667 | 8.022 | 312.134 | 8.254 | 316.5 | 8.683 | 315.9 | 14.724 | 889.867 | 42.496 | 35.8126
2019-05-02 16:45:00 | 7.025 | 319.333 | 7.554 | 315.275 | 7.854 | 318.267 | 8.269 | 315.133 | 14.641 | 889.542 | 44.736 | 31.0404
2019-05-02 17:00:00 | 5.792 | 289.52 | 6.16 | 293.608 | 6.221 | 297.333 | 6.45 | 293.833 | 14.624 | 889.608 | 41.592 | 29.6548
2019-05-02 17:15:00 | 7.166 | 291.387 | 7.537 | 289.71 | 7.876 | 294.233 | 8.083 | 291.133 | 15.478 | 889.733 | 40.309 | 32.0871
2019-05-02 17:30:00 | 7.367 | 310.187 | 7.688 | 305.543 | 7.653 | 311.3 | 8.145 | 306.533 | 15.072 | 889.917 | 39.496 | 31.201
2019-05-02 17:45:00 | 7.099 | 303.2 | 7.298 | 298.785 | 7.446 | 303.4 | 7.824 | 300.3 | 14.974 | 889.45 | 39.123 | 30.241
2019-05-02 18:00:00 | 6.976 | 299.867 | 7.375 | 295.357 | 7.464 | 298.833 | 7.875 | 294.833 | 14.958 | 889.45 | 37.397 | 24.683
2019-05-02 18:15:00 | 6.06 | 300.187 | 6.206 | 296.27 | 6.258 | 299.033 | 6.65 | 296.6 | 15.842 | 889.567 | 33.227 | 20.8729
2019-05-02 18:30:00 | 5.563 | 270.04 | 6.189 | 271.622 | 6.102 | 278.433 | 6.589 | 275.4 | 16.372 | 889.65 | 32.595 | 19.7097
2019-05-02 18:45:00 | 5.112 | 270.513 | 5.392 | 268.758 | 5.466 | 273.333 | 5.799 | 269.95 | 17.439 | 889.717 | 31.949 | 18.6858
2019-05-02 19:00:00 | 6.004 | 297.04 | 6.39 | 293.208 | 6.496 | 297.467 | 6.744 | 296.3 | 16.848 | 889.783 | 33.352 | 19.9342
2019-05-02 19:15:00 | 6.329 | 305.533 | 6.441 | 300.927 | 6.379 | 303.867 | 6.8 | 301.933 | 17.214 | 889.733 | 30.157 | 23.1787
2019-05-02 19:30:00 | 5.459 | 304.973 | 5.775 | 299.804 | 5.785 | 306.433 | 6.02 | 302.533 | 16.331 | 889.667 | 30.693 | 12.776
2019-05-02 19:45:00 | 3.712 | 282.533 | 3.75 | 281.04 | 3.715 | 285.633 | 4.128 | 281 | 16.931 | 889.667 | 31.011 | 9.9195
2019-05-02 20:00:00 | 5.725 | 282.267 | 6.447 | 281.154 | 6.402 | 284.7 | 6.911 | 280.7 | 17.014 | 889.817 | 31.432 | 13.3338
2019-05-02 20:15:00 | 4.513 | 298.013 | 4.834 | 289.687 | 4.686 | 291.7 | 5.239 | 283.833 | 16.898 | 889.783 | 31.629 | 10.4297
2019-05-02 20:30:00 | 5.098 | 286.467 | 5.422 | 284.572 | 5.618 | 288.3 | 5.861 | 285.333 | 17.181 | 889.667 | 32.389 | 12.663
2019-05-02 20:45:00 | 5.25 | 293.867 | 5.753 | 292.24 | 5.718 | 296.2 | 6.39 | 295.033 | 17.181 | 889.883 | 34.248 | 11.2149
2019-05-02 21:00:00 | 4.107 | 280.58 | 4.773 | 281.51 | 4.882 | 284.7 | 5.299 | 280.467 | 16.614 | 889.883 | 35.176 | 6.9245
2019-05-02 21:15:00 | 4.133 | 285.8 | 4.568 | 284.258 | 4.89 | 286.533 | 5.503 | 283.567 | 16.264 | 889.917 | 34.709 | 4.7487
2019-05-02 21:30:00 | 3.426 | 264.047 | 4.335 | 271.754 | 4.495 | 278.233 | 4.975 | 276.233 | 15.863 | 889.883 | 34.472 | 6.5656
2019-05-02 21:45:00 | 3.898 | 268 | 4.892 | 268.126 | 4.859 | 274.867 | 5.152 | 270.2 | 15.678 | 890.133 | 34.664 | 8.0926
2019-05-02 22:00:00 | 3.922 | 259.247 | 4.564 | 265.311 | 4.576 | 271.467 | 4.902 | 267.3 | 15.1 | 889.717 | 35.544 | 8.4074
2019-05-02 22:15:00 | 4.002 | 256.66 | 4.579 | 262.858 | 4.624 | 270.933 | 5.115 | 268.033 | 14.541 | 889.7 | 36.56 | 8.7769
2019-05-02 22:30:00 | 4.136 | 250.513 | 4.645 | 255.67 | 4.829 | 263.233 | 5.293 | 261.55 | 14.378 | 889.833 | 37.493 | 9.9899
2019-05-02 22:45:00 | 4.459 | 242.46 | 5.098 | 253.122 | 5.124 | 262.4 | 5.414 | 260.633 | 14.295 | 889.817 | 38.624 | 11.4998
2019-05-02 23:00:00 | 4.705 | 244.987 | 5.166 | 254.149 | 5.215 | 264.733 | 5.734 | 263.033 | 13.708 | 890.033 | 39.52 | 12.5962
2019-05-02 23:15:00 | 4.782 | 236.7 | 5.73 | 247.116 | 5.699 | 258 | 5.904 | 257.5 | 13.001 | 890 | 40.347 | 13.8816
2019-05-02 23:30:00 | 4.793 | 225 | 5.564 | 237.133 | 5.535 | 251.8 | 5.793 | 252.967 | 12.464 | 889.5 | 41.781 | 17.3854
2019-05-02 23:45:00 | 5.493 | 229.933 | 6.076 | 237.236 | 5.868 | 247.6 | 5.936 | 247.367 | 11.803 | 890.033 | 42.848 | 25.0581