## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-03 00:00:00 | 5.373 | 236.773 | 6.692 | 243.811 | 6.595 | 252.033 | 6.818 | 251.067 | 12.153 | 889.842 | 42.987 | 28.9591
2019-05-03 00:15:00 | 5.503 | 244.1 | 6.488 | 252.129 | 6.738 | 260.567 | 6.882 | 259.1 | 12.42 | 890.1 | 42.229 | 27.9352
2019-05-03 00:30:00 | 5.211 | 241.66 | 6.238 | 250.738 | 6.571 | 259.067 | 6.884 | 259.167 | 12.103 | 889.867 | 42.203 | 26.5837
2019-05-03 00:45:00 | 5.585 | 245.287 | 6.53 | 252.148 | 6.857 | 261.133 | 7.23 | 260.4 | 11.672 | 890.192 | 42.48 | 26.4025
2019-05-03 01:00:00 | 5.253 | 244.473 | 6.641 | 255.188 | 7.107 | 264.067 | 7.613 | 262.533 | 11.895 | 889.917 | 42.667 | 23.2085
2019-05-03 01:15:00 | 4.764 | 246.127 | 6.52 | 256.835 | 7.079 | 265.1 | 7.545 | 263.933 | 12.303 | 889.517 | 43.301 | 25.6863
2019-05-03 01:30:00 | 5.343 | 253.327 | 7.318 | 261.412 | 7.664 | 268.067 | 8.026 | 264.5 | 11.84 | 889.683 | 43.525 | 34.7339
2019-05-03 01:45:00 | 6.194 | 253.74 | 7.886 | 261.51 | 8.118 | 268.167 | 8.565 | 264.033 | 12.514 | 889.75 | 42.416 | 37.8036
2019-05-03 02:00:00 | 5.513 | 257.4 | 7.032 | 264.273 | 7.27 | 271.9 | 8.006 | 268.8 | 12.426 | 889.7 | 42.288 | 36.7605
2019-05-03 02:15:00 | 5.745 | 255.173 | 7.473 | 261.339 | 7.867 | 268.167 | 8.178 | 264.733 | 11.995 | 890.25 | 43.147 | 34.4916
2019-05-03 02:30:00 | 5.255 | 251.593 | 6.842 | 259.024 | 7.422 | 266.533 | 7.88 | 262.1 | 11.774 | 889.917 | 44.555 | 31.5399
2019-05-03 02:45:00 | 5.394 | 246.64 | 6.898 | 256.61 | 7.248 | 265.467 | 7.675 | 262.267 | 11.778 | 889.992 | 45.611 | 28.0738
2019-05-03 03:00:00 | 5.239 | 241.033 | 6.214 | 251.377 | 6.522 | 260.1 | 6.898 | 259.183 | 11.145 | 889.942 | 46.741 | 23.1694
2019-05-03 03:15:00 | 4.807 | 241.3 | 5.764 | 252.812 | 5.899 | 261.767 | 6.352 | 260.633 | 11.028 | 890.333 | 47.808 | 19.5591
2019-05-03 03:30:00 | 4.33 | 242.833 | 5.326 | 256.34 | 5.752 | 267.6 | 6.437 | 266.5 | 10.745 | 889.908 | 48.96 | 15.6623
2019-05-03 03:45:00 | 4.843 | 236.833 | 5.81 | 251.015 | 6.83 | 261.067 | 7.499 | 258.967 | 11.045 | 889.775 | 48.603 | 20.8303
2019-05-03 04:00:00 | 5.111 | 250.387 | 6.917 | 258.875 | 7.398 | 267.667 | 7.952 | 266.067 | 11.507 | 889.883 | 48.709 | 29.1503
2019-05-03 04:15:00 | 5.181 | 255.833 | 7.048 | 263.806 | 7.551 | 272.467 | 8.346 | 269.333 | 11.128 | 889.675 | 48.315 | 36.7043
2019-05-03 04:30:00 | 5.981 | 259.573 | 7.925 | 267.409 | 8.454 | 275.7 | 8.906 | 273.5 | 12.149 | 889.642 | 46.203 | 42.752
2019-05-03 04:45:00 | 6.299 | 265.313 | 7.84 | 271.414 | 8.273 | 277.4 | 8.911 | 274.667 | 12.228 | 889.975 | 45.829 | 39.3085
2019-05-03 05:00:00 | 5.195 | 261.833 | 7.128 | 270.315 | 7.934 | 277.4 | 8.687 | 275.133 | 11.866 | 889.967 | 46.533 | 39.6745
2019-05-03 05:15:00 | 6.034 | 264.107 | 7.748 | 267.451 | 8.197 | 275.2 | 8.824 | 271.8 | 11.907 | 889.817 | 46.357 | 45.4741
2019-05-03 05:30:00 | 5.852 | 256.82 | 7.352 | 265.058 | 7.71 | 271.533 | 8.091 | 267.233 | 11.574 | 889.942 | 46.56 | 36.1785
2019-05-03 05:45:00 | 5.257 | 255.913 | 6.805 | 260.754 | 6.993 | 267.433 | 7.518 | 264.033 | 11.382 | 889.467 | 47.968 | 30.7526
2019-05-03 06:00:00 | 5.218 | 248.487 | 6.695 | 255.023 | 7.006 | 262.733 | 7.457 | 259.733 | 11.061 | 889.825 | 48.944 | 30.673
2019-05-03 06:15:00 | 5.899 | 247.4 | 7.318 | 254.543 | 7.511 | 261.4 | 7.975 | 259.6 | 10.845 | 889.55 | 49.568 | 30.6972
2019-05-03 06:30:00 | 5.466 | 246.92 | 7.056 | 254.764 | 7.199 | 261.067 | 7.653 | 259.417 | 10.559 | 889.758 | 50.096 | 28.2479
2019-05-03 06:45:00 | 5.04 | 239.287 | 6.655 | 252.697 | 6.761 | 259.9 | 7.236 | 258.317 | 10.576 | 890.175 | 50.459 | 24.366
2019-05-03 07:00:00 | 5.009 | 233.367 | 6.339 | 247.561 | 6.469 | 258.433 | 6.655 | 257.233 | 10.203 | 889.583 | 49.877 | 23.3528
2019-05-03 07:15:00 | 5.615 | 227.187 | 6.404 | 238.925 | 6.311 | 255.467 | 6.516 | 257.233 | 9.851 | 890.325 | 49.92 | 26.1403
2019-05-03 07:30:00 | 5.546 | 228.8 | 6.326 | 236.488 | 6.411 | 248.133 | 6.408 | 247.833 | 10.895 | 889.925 | 47.061 | 24.6837
2019-05-03 07:45:00 | 4.866 | 221.68 | 5.901 | 228.698 | 6.1 | 241.967 | 6.246 | 241.333 | 12.007 | 889.633 | 43.851 | 24.2325
2019-05-03 08:00:00 | 4.325 | 229.667 | 5.286 | 227.98 | 5.802 | 236.767 | 6.024 | 235.7 | 12.891 | 889.65 | 41.472 | 22.6024
2019-05-03 08:15:00 | 5.471 | 235.02 | 5.91 | 233.11 | 6.339 | 239.567 | 6.685 | 236.133 | 14.27 | 889.9 | 38.859 | 25.4084
2019-05-03 08:30:00 | 6.503 | 242.7 | 6.999 | 243.314 | 7.164 | 249.333 | 7.153 | 246.15 | 14.824 | 889.283 | 37.163 | 26.8239
2019-05-03 08:45:00 | 6.365 | 246.113 | 6.534 | 251.198 | 6.647 | 256.283 | 6.715 | 251.967 | 15.626 | 889.533 | 35.779 | 22.073
2019-05-03 09:00:00 | 5.26 | 264.747 | 5.609 | 265.079 | 5.778 | 270.067 | 5.958 | 264.45 | 15.811 | 889.933 | 35.411 | 18.7611
2019-05-03 09:15:00 | 5.539 | 258.527 | 5.879 | 262.778 | 5.789 | 268.933 | 5.912 | 261.083 | 15.868 | 889.517 | 35.595 | 15.3148
2019-05-03 09:30:00 | 4.751 | 283.627 | 4.935 | 277.995 | 4.749 | 278.067 | 5.096 | 275.65 | 15.989 | 889.55 | 35.381 | 15.3738
2019-05-03 09:45:00 | 6.368 | 287.333 | 6.757 | 284.353 | 6.725 | 288.1 | 7.209 | 286.133 | 16.164 | 889.783 | 34.629 | 17.8523
2019-05-03 10:00:00 | 6.685 | 309.653 | 6.851 | 303.278 | 7.122 | 305.7 | 7.373 | 302.467 | 16.498 | 889.983 | 33.416 | 22.5811
2019-05-03 10:15:00 | 6.3 | 276.66 | 6.506 | 273.934 | 6.697 | 276.667 | 6.925 | 274.033 | 16.948 | 889.45 | 33.648 | 19.7872
2019-05-03 10:30:00 | 5.848 | 292.993 | 5.827 | 294.151 | 6.093 | 294.1 | 6.432 | 293.367 | 17.214 | 889.9 | 31.405 | 21.3952
2019-05-03 10:45:00 | 5.41 | 277.367 | 5.894 | 277.153 | 5.771 | 279.533 | 6.254 | 278.733 | 17.014 | 889.467 | 30.611 | 18.8272
2019-05-03 11:00:00 | 6.456 | 287.413 | 6.712 | 284.667 | 6.525 | 288.733 | 6.914 | 286.733 | 17.714 | 889.85 | 27.723 | 16.5413
2019-05-03 11:15:00 | 5.457 | 295.393 | 5.897 | 292.639 | 5.924 | 297.567 | 6.351 | 294.833 | 17.489 | 889.75 | 26.243 | 17.5169
2019-05-03 11:30:00 | 4.421 | 278.96 | 4.617 | 276.084 | 4.392 | 280.767 | 4.858 | 279.433 | 17.994 | 889.833 | 24.245 | 14.7556
2019-05-03 11:45:00 | 4.998 | 312.84 | 5.394 | 306.359 | 5.482 | 313.233 | 5.758 | 309.033 | 18.327 | 889.967 | 24.373 | 17.0472
2019-05-03 12:00:00 | 6.953 | 288.46 | 7.701 | 285.067 | 7.973 | 289.967 | 8.263 | 283.967 | 18.823 | 889.517 | 24.117 | 19.1007
2019-05-03 12:15:00 | 5.921 | 291.213 | 6.375 | 291.496 | 6.468 | 296.2 | 6.925 | 290.867 | 18.502 | 889.967 | 24.515 | 16.9385
2019-05-03 12:30:00 | 5.794 | 276.093 | 6.076 | 275.077 | 5.948 | 281 | 6.056 | 281.8 | 18.806 | 889.617 | 23.453 | 21.0036
2019-05-03 12:45:00 | 8.243 | 323.133 | 8.486 | 319.247 | 8.456 | 324.667 | 8.701 | 323.7 | 19.231 | 889.533 | 22.469 | 18.3369
2019-05-03 13:00:00 | 6.09 | 286.247 | 6.268 | 288.859 | 6.679 | 297.9 | 7.053 | 295.933 | 19.127 | 889.433 | 22.491 | 21.1884
2019-05-03 13:15:00 | 4.573 | 304.013 | 5.159 | 317.959 | 5.906 | 322.467 | 6.004 | 319.233 | 18.994 | 889.5 | 22.051 | 19.7182
2019-05-03 13:30:00 | 7.038 | 301.94 | 7.129 | 295.295 | 7.376 | 297.6 | 7.746 | 297.067 | 19.489 | 889.6 | 22.253 | 28.8234
2019-05-03 13:45:00 | 7.128 | 319.093 | 7.291 | 313.232 | 7.494 | 311.367 | 7.749 | 308.567 | 19.46 | 889.817 | 21.955 | 21.938
2019-05-03 14:00:00 | 5.973 | 319.8 | 6.346 | 318.635 | 6.833 | 324.4 | 7.28 | 332.367 | 19.356 | 889.583 | 22.592 | 18.7767
2019-05-03 14:15:00 | 5.384 | 286.227 | 5.898 | 282.41 | 5.924 | 288.533 | 6.008 | 285.3 | 19.535 | 889.583 | 21.96 | 18.9629
2019-05-03 14:30:00 | 5.726 | 299.12 | 6.085 | 292.609 | 6.203 | 294.633 | 6.345 | 291.8 | 20.052 | 889.8 | 21.309 | 18.5373
2019-05-03 14:45:00 | 3.73 | 283.753 | 4.134 | 278.068 | 3.991 | 290.833 | 4.306 | 286.067 | 20.056 | 889.55 | 21.632 | 15.4534
2019-05-03 15:00:00 | 3.522 | 297.353 | 3.237 | 303.148 | 3.289 | 296.033 | 3.981 | 293.1 | 20.644 | 889.483 | 20.428 | 16.6635
2019-05-03 15:15:00 | 5.456 | 308.56 | 5.694 | 307.43 | 5.879 | 313.567 | 5.999 | 309.383 | 21.327 | 889.5 | 20.037 | 12.884
2019-05-03 15:30:00 | 6.588 | 298.693 | 6.895 | 302.265 | 6.758 | 308.433 | 7.2 | 305.8 | 21.148 | 889.633 | 19.044 | 15.0065
2019-05-03 15:45:00 | 4.626 | 305.774 | 5.064 | 311.486 | 5.209 | 290.333 | 5.282 | 287.433 | 21.306 | 889.8 | 20.06 | 11.4906
2019-05-03 16:00:00 | 5.217 | 320.2 | 5.546 | 314.716 | 5.621 | 321.133 | 5.746 | 320.467 | 21.344 | 889.633 | 19.761 | 13.9356
2019-05-03 16:15:00 | 7.369 | 306.787 | 7.395 | 308.653 | 7.417 | 310.733 | 7.878 | 308.5 | 21.502 | 889.467 | 19.625 | 15.3617
2019-05-03 16:30:00 | 5.888 | 307.147 | 5.9 | 303.521 | 6.349 | 308.3 | 6.849 | 306.467 | 21.664 | 889.333 | 19.947 | 15.9288
2019-05-03 16:45:00 | 3.025 | 284.153 | 2.731 | 280.094 | 2.788 | 297.833 | 3.146 | 300.8 | 21.798 | 889.467 | 19.601 | 11.4273
2019-05-03 17:00:00 | 5.805 | 289.413 | 6.437 | 290.564 | 6.714 | 295.867 | 6.86 | 294.767 | 22.123 | 889.7 | 17.816 | 15.8066
2019-05-03 17:15:00 | 5.421 | 302.433 | 5.827 | 297.157 | 5.746 | 299.9 | 5.872 | 297.133 | 21.827 | 889.433 | 18.089 | 14.2497
2019-05-03 17:30:00 | 5.244 | 252.881 | 5.58 | 295.793 | 5.689 | 277.3 | 5.737 | 303.1 | 21.96 | 889.867 | 16.628 | 15.2836
2019-05-03 17:45:00 | 4.278 | 305.52 | 4.574 | 311.096 | 4.433 | 317.333 | 4.75 | 316.467 | 21.768 | 889.567 | 16.069 | 13.4638
2019-05-03 18:00:00 | 6.099 | 291.053 | 6.562 | 300.455 | 6.673 | 292.467 | 7.317 | 301.067 | 22.227 | 889.333 | 16.172 | 15.3269
2019-05-03 18:15:00 | 5.519 | 264.62 | 5.892 | 265.222 | 6.025 | 272.35 | 6.415 | 274 | 22.306 | 889.6 | 15.859 | 14.6377
2019-05-03 18:30:00 | 4.526 | 332.36 | 4.648 | 326.125 | 4.798 | 330.467 | 5.023 | 329.933 | 22.273 | 889.2 | 16.057 | 9.8094
2019-05-03 18:45:00 | 5.06 | 281.987 | 5.63 | 280.143 | 5.329 | 284.4 | 5.639 | 279.567 | 22.414 | 889.233 | 14.516 | 13.5057
2019-05-03 19:00:00 | 6.044 | 293.227 | 6.294 | 293.237 | 6.597 | 298.833 | 6.931 | 298 | 22.168 | 889.5 | 14.624 | 16.3409
2019-05-03 19:15:00 | 3.317 | 303.773 | 3.153 | 297.033 | 3.496 | 304.6 | 3.894 | 304.033 | 22.185 | 889.333 | 14.823 | 12.8335
2019-05-03 19:30:00 | 5.915 | 321.787 | 6.241 | 319.19 | 6.27 | 327.567 | 6.563 | 327.733 | 21.923 | 889.733 | 14.223 | 20.5261
2019-05-03 19:45:00 | 6.663 | 316.2 | 6.728 | 312.064 | 6.769 | 318.067 | 6.971 | 314.633 | 22.227 | 889.2 | 14.08 | 21.457
2019-05-03 20:00:00 | 5.85 | 319.773 | 6.378 | 314.866 | 6.612 | 319.167 | 6.83 | 316.433 | 22.131 | 889.067 | 13.637 | 14.524
2019-05-03 20:15:00 | 5.472 | 322.507 | 5.748 | 316.77 | 5.908 | 321.233 | 6.188 | 319.967 | 21.723 | 889.6 | 14.133 | 23.4835
2019-05-03 20:30:00 | 6.544 | 327.013 | 6.972 | 323.186 | 7.031 | 331.9 | 7.365 | 331.367 | 21.598 | 889.5 | 14.639 | 24.0974
2019-05-03 20:45:00 | 5.294 | 328.653 | 5.563 | 323.573 | 5.876 | 330.7 | 6.42 | 330.733 | 21.073 | 889.6 | 14.807 | 21.4968
2019-05-03 21:00:00 | 5.016 | 332.04 | 5.95 | 325.683 | 6.217 | 331.1 | 6.429 | 328.733 | 20.514 | 889.667 | 15.141 | 14.8139
2019-05-03 21:15:00 | 3.959 | 315.36 | 4.822 | 311.651 | 5.196 | 316.567 | 5.671 | 315.367 | 20.468 | 889.4 | 15.987 | 13.4397
2019-05-03 21:30:00 | 4.073 | 316.547 | 4.95 | 313.73 | 5.436 | 320.3 | 5.778 | 320.133 | 19.873 | 889.333 | 15.691 | 11.2454
2019-05-03 21:45:00 | 3.564 | 304.68 | 4.047 | 305.597 | 4.377 | 314.233 | 4.667 | 313.567 | 19.652 | 889.5 | 16.155 | 7.6841
2019-05-03 22:00:00 | 3.23 | 301.293 | 4.12 | 306.401 | 4.566 | 314.067 | 5.008 | 312.6 | 19.073 | 889.633 | 16.783 | 6.4335
2019-05-03 22:15:00 | 3.246 | 306.12 | 4.172 | 313.181 | 4.5 | 320 | 4.867 | 319.767 | 18.61 | 889.967 | 17.055 | 8.3435
2019-05-03 22:30:00 | 3.28 | 303.053 | 4.14 | 313.075 | 4.811 | 320.7 | 5.504 | 321.6 | 18.285 | 889.6 | 18.128 | 9.8968
2019-05-03 22:45:00 | 3.178 | 305.76 | 4.388 | 317.948 | 4.594 | 327.9 | 4.738 | 328.067 | 17.856 | 889.433 | 19.257 | 5.369
2019-05-03 23:00:00 | 3.076 | 285.173 | 3.175 | 298.967 | 3.273 | 311.5 | 3.76 | 312.267 | 17.494 | 889.333 | 19.747 | 2.148
2019-05-03 23:15:00 | 3.556 | 253.62 | 3.99 | 282.475 | 4.031 | 299.033 | 3.968 | 308.4 | 16.681 | 889.45 | 20.169 | 2.9759
2019-05-03 23:30:00 | 3.777 | 254.5 | 4.094 | 287.742 | 4.474 | 301.2 | 4.722 | 301.367 | 15.697 | 889.433 | 22.125 | 4.6642
2019-05-03 23:45:00 | 3.9 | 255.24 | 3.631 | 287.021 | 4.114 | 309.9 | 4.712 | 318.067 | 15.787 | 889.7 | 22.901 | 6.4839