## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-04 00:00:00 | 4.051 | 258.707 | 3.893 | 288.341 | 4.139 | 309.767 | 4.706 | 316.867 | 15.618 | 889.617 | 23.056 | 10.0268
2019-05-04 00:15:00 | 4.447 | 272.2 | 5.098 | 294.813 | 5.864 | 311.9 | 6.508 | 314.833 | 15.894 | 889.767 | 22.909 | 12.4584
2019-05-04 00:30:00 | 3.374 | 285.92 | 4.254 | 311.623 | 5.026 | 325.633 | 5.311 | 330.733 | 15.851 | 889.433 | 22.504 | 9.3638
2019-05-04 00:45:00 | 2.687 | 310.68 | 3.535 | 323.787 | 4.127 | 333.133 | 4.491 | 334.633 | 16.731 | 889.75 | 21.56 | 4.9754
2019-05-04 01:00:00 | 3.427 | 239.82 | 2.662 | 266.823 | 2.326 | 288.8 | 3.023 | 302.133 | 15.956 | 889.8 | 21.909 | 0.69707
2019-05-04 01:15:00 | 5.244 | 223.553 | 3.635 | 244.552 | 3.006 | 254.067 | 3.091 | 258 | 13.554 | 889.817 | 23.739 | 1.3444
2019-05-04 01:30:00 | 5.671 | 229.813 | 4.899 | 243.42 | 4.168 | 252.5 | 4.034 | 253.833 | 12.805 | 889.85 | 24.805 | 6.604
2019-05-04 01:45:00 | 5.778 | 230 | 5.653 | 241.759 | 5.253 | 249.333 | 4.853 | 245 | 12.436 | 889.5 | 25.776 | 10.23
2019-05-04 02:00:00 | 4.969 | 239.867 | 5.213 | 251.338 | 5.001 | 259.4 | 5.073 | 259.117 | 12.63 | 889.4 | 25.835 | 9.4328
2019-05-04 02:15:00 | 4.725 | 245.413 | 5.048 | 261.865 | 4.831 | 271.333 | 5.057 | 271.333 | 12.772 | 889.783 | 25.696 | 9.6914
2019-05-04 02:30:00 | 5.371 | 233.873 | 5.422 | 253.092 | 5.162 | 268.733 | 5.363 | 271.133 | 11.861 | 889.983 | 26.181 | 9.5763
2019-05-04 02:45:00 | 5.438 | 233.907 | 5.272 | 253.887 | 5.039 | 269.267 | 5.346 | 271.767 | 11.57 | 889.167 | 26.904 | 8.5502
2019-05-04 03:00:00 | 5.692 | 235.8 | 5.2 | 252.931 | 4.913 | 266.733 | 5.143 | 269.533 | 11.549 | 890.067 | 27.197 | 9.5102
2019-05-04 03:15:00 | 5.786 | 236.027 | 5.25 | 252.644 | 4.926 | 267.2 | 5.225 | 270.333 | 11.745 | 889.967 | 27.019 | 8.9894
2019-05-04 03:30:00 | 5.216 | 233.1 | 5.055 | 252.066 | 4.736 | 268.333 | 4.978 | 272.3 | 11.94 | 889.767 | 26.877 | 9.9629
2019-05-04 03:45:00 | 5.459 | 232.793 | 5.711 | 248.288 | 5.279 | 263.033 | 5.437 | 266.8 | 11.461 | 889.65 | 27.483 | 11.8046
2019-05-04 04:00:00 | 5.47 | 239.82 | 5.645 | 254.468 | 5.306 | 269.333 | 5.599 | 272.767 | 11.553 | 889.883 | 27.427 | 11.821
2019-05-04 04:15:00 | 5.895 | 231.46 | 5.9 | 242.218 | 5.222 | 255.067 | 4.998 | 261.933 | 11.457 | 890.233 | 27.509 | 4.6357
2019-05-04 04:30:00 | 2.385 | 267.207 | 3.681 | 258.899 | 3.055 | 272.9 | 3.403 | 284.367 | 10.928 | 889.45 | 28.432 | 4.2492
2019-05-04 04:45:00 | 4.864 | 242.4 | 3.775 | 259.541 | 3.554 | 287.6 | 4.954 | 301.4 | 10.895 | 889.883 | 28.621 | 7.2073
2019-05-04 05:00:00 | 3.812 | 246.427 | 3.471 | 275.528 | 3.901 | 296.733 | 5.009 | 306.433 | 10.911 | 890.25 | 28.424 | 14.4281
2019-05-04 05:15:00 | 3.782 | 263.04 | 4.672 | 288.239 | 5.081 | 303.7 | 5.978 | 306.367 | 11.786 | 889.867 | 28.16 | 18.263
2019-05-04 05:30:00 | 4.76 | 261.4 | 5.482 | 281.283 | 5.77 | 293.133 | 6.388 | 296.733 | 12.411 | 889.783 | 26.915 | 18.5451
2019-05-04 05:45:00 | 5.429 | 263.973 | 5.76 | 278.549 | 5.928 | 289.6 | 6.437 | 292.3 | 12.716 | 889.683 | 26.589 | 14.4771
2019-05-04 06:00:00 | 5.22 | 248.053 | 5.3 | 269.936 | 5.361 | 284.2 | 5.853 | 289.067 | 12.774 | 889.767 | 26.435 | 7.4474
2019-05-04 06:15:00 | 5.723 | 226.673 | 4.602 | 244.987 | 4.109 | 264.8 | 4.37 | 273.767 | 11.005 | 889.917 | 27.936 | 4.8795
2019-05-04 06:30:00 | 5.776 | 225.273 | 5.346 | 235.741 | 4.666 | 246.533 | 4.232 | 252.067 | 9.785 | 890.067 | 30.08 | 9.0349
2019-05-04 06:45:00 | 5.297 | 221.68 | 6.348 | 234.132 | 5.834 | 245.033 | 5.178 | 244 | 9.078 | 889.6 | 31.232 | 14.9596
2019-05-04 07:00:00 | 6.082 | 239.087 | 6.868 | 256.194 | 7.061 | 266.667 | 7.288 | 266.1 | 9.599 | 889.75 | 31.611 | 23.5759
2019-05-04 07:15:00 | 5.84 | 248.207 | 7.12 | 259.618 | 7.004 | 270.567 | 6.995 | 269.167 | 10.803 | 889.65 | 30.459 | 40.8491
2019-05-04 07:30:00 | 5.832 | 262.92 | 7.471 | 267.513 | 7.811 | 272.9 | 8.111 | 268 | 11.195 | 889.7 | 32.344 | 38.2256
2019-05-04 07:45:00 | 6.383 | 259.067 | 7.744 | 261.493 | 8.204 | 263.483 | 8.61 | 260.583 | 11.603 | 889.5 | 36.525 | 49.4597
2019-05-04 08:00:00 | 7.265 | 253.26 | 8.231 | 256.74 | 8.602 | 262.767 | 8.922 | 257.233 | 12.099 | 889.833 | 40.149 | 52.3752
2019-05-04 08:15:00 | 7.136 | 251.687 | 8.133 | 259.855 | 8.636 | 265.783 | 8.97 | 259.2 | 11.978 | 890.025 | 42.469 | 51.6092
2019-05-04 08:30:00 | 7.214 | 254.22 | 8.644 | 259.304 | 8.916 | 262.083 | 9.183 | 259.583 | 11.786 | 889.758 | 43.781 | 48.1714
2019-05-04 08:45:00 | 6.981 | 248.253 | 8.039 | 252.334 | 8.331 | 255.4 | 8.545 | 250.733 | 12.061 | 889.825 | 45.861 | 45.3256
2019-05-04 09:00:00 | 7.518 | 250.933 | 8.307 | 257.931 | 8.784 | 262.733 | 8.906 | 257.217 | 11.786 | 890.217 | 49.003 | 42.9566
2019-05-04 09:15:00 | 8.162 | 255.48 | 8.99 | 260.805 | 9.153 | 265.467 | 9.225 | 259.4 | 12.47 | 889.692 | 47.392 | 51.8728
2019-05-04 09:30:00 | 9.084 | 261.76 | 9.814 | 267.72 | 9.913 | 271.467 | 9.998 | 270.367 | 13.449 | 889.942 | 45.056 | 60.3598
2019-05-04 09:45:00 | 8.448 | 251.82 | 9.273 | 252.359 | 9.236 | 257.583 | 9.291 | 254.983 | 13.995 | 889.95 | 43.824 | 57.0265
2019-05-04 10:00:00 | 9.199 | 247.6 | 9.98 | 252.622 | 10.043 | 258.75 | 9.819 | 254.217 | 14.458 | 890.167 | 43.536 | 49.5748
2019-05-04 10:15:00 | 8.798 | 251.433 | 9.379 | 252.965 | 9.503 | 259.483 | 9.401 | 256.183 | 14.458 | 890.008 | 42.101 | 50.846
2019-05-04 10:30:00 | 9.177 | 256.007 | 9.659 | 263.896 | 9.789 | 265.433 | 9.674 | 259.85 | 14.618 | 889.65 | 40.584 | 48.0528
2019-05-04 10:45:00 | 7.857 | 254.52 | 8.413 | 258.53 | 8.467 | 263.433 | 8.408 | 257.05 | 15.184 | 889.733 | 39.045 | 34.4788
2019-05-04 11:00:00 | 7.556 | 271.413 | 7.842 | 278.011 | 8.08 | 282.467 | 8.428 | 277.967 | 15.723 | 889.95 | 35.264 | 30.7654
2019-05-04 11:15:00 | 7.824 | 286.18 | 7.909 | 287.866 | 8.03 | 294 | 8.315 | 292.1 | 16.355 | 889.533 | 32.808 | 28.1491
2019-05-04 11:30:00 | 7.337 | 294.24 | 7.68 | 294.406 | 7.841 | 297.567 | 8.242 | 294.067 | 16.431 | 889.817 | 32.419 | 33.1089
2019-05-04 11:45:00 | 7.152 | 291.813 | 7.734 | 293.407 | 8.203 | 294.467 | 8.422 | 291.7 | 16.631 | 890.017 | 31.525 | 32.4949
2019-05-04 12:00:00 | 8.179 | 308.133 | 8.258 | 305.384 | 8.6 | 308.567 | 8.813 | 305.467 | 16.981 | 889.517 | 29.936 | 32.6605
2019-05-04 12:15:00 | 8.158 | 317.96 | 8.112 | 314.805 | 7.882 | 317.533 | 8.257 | 314.533 | 16.998 | 889.65 | 29.976 | 40.4042
2019-05-04 12:30:00 | 7.243 | 299 | 7.872 | 298.647 | 8.029 | 303.167 | 8.922 | 298.2 | 16.931 | 889.767 | 30.176 | 44.3429
2019-05-04 12:45:00 | 7.792 | 295.6 | 8.458 | 292.635 | 8.639 | 297.333 | 8.917 | 294.9 | 17.048 | 889.717 | 30.368 | 45.6774
2019-05-04 13:00:00 | 8.822 | 306.98 | 8.916 | 304.51 | 9.194 | 308.967 | 9.522 | 304.8 | 16.918 | 889.817 | 29.717 | 46.459
2019-05-04 13:15:00 | 8.644 | 290.733 | 8.994 | 291.404 | 9.163 | 299.233 | 9.237 | 294.533 | 16.923 | 889.783 | 29.691 | 47.878
2019-05-04 13:30:00 | 7.837 | 317.747 | 7.878 | 313.548 | 7.989 | 316.467 | 8.477 | 311.433 | 16.964 | 889.533 | 29.973 | 43.0682
2019-05-04 13:45:00 | 8.369 | 316.16 | 8.574 | 311.794 | 8.711 | 316.833 | 9.098 | 316.267 | 17.114 | 889.617 | 30.411 | 52.2842
2019-05-04 14:00:00 | 9.391 | 300.747 | 9.897 | 297.301 | 10.161 | 304.4 | 10.66 | 303.167 | 17.531 | 889.633 | 29.333 | 53.1788
2019-05-04 14:15:00 | 9.04 | 327.213 | 9.177 | 320.746 | 9.587 | 324.7 | 10.107 | 325.133 | 17.873 | 889.583 | 29.155 | 53.7089
2019-05-04 14:30:00 | 7.478 | 322.853 | 7.919 | 317.006 | 8.565 | 323.033 | 8.996 | 321.533 | 17.881 | 889.717 | 28.248 | 49.4689
2019-05-04 14:45:00 | 8.348 | 326.28 | 9.018 | 319.299 | 9.352 | 323.1 | 9.667 | 321.667 | 17.823 | 889.933 | 28.483 | 55.1101
2019-05-04 15:00:00 | 10.744 | 324.68 | 10.673 | 318.482 | 10.696 | 321.733 | 11.305 | 319.733 | 18.231 | 889.517 | 28.507 | 55.9379
2019-05-04 15:15:00 | 9.635 | 314.827 | 9.935 | 310.841 | 10.128 | 316 | 10.116 | 313.467 | 18.281 | 889.683 | 28.816 | 53.5774
2019-05-04 15:30:00 | 9.839 | 315.507 | 10.214 | 312.536 | 10.496 | 317.7 | 10.629 | 317.3 | 17.852 | 890.083 | 28.651 | 52.0582
2019-05-04 15:45:00 | 8.618 | 324.573 | 9.22 | 320.807 | 9.888 | 326.067 | 10.201 | 323.367 | 18.244 | 889.983 | 27.832 | 49.0845
2019-05-04 16:00:00 | 8.712 | 319.6 | 9.375 | 318.057 | 9.654 | 321.533 | 10.031 | 322.767 | 18.098 | 889.867 | 27.501 | 42.8706
2019-05-04 16:15:00 | 8.084 | 306.933 | 8.553 | 303.297 | 8.843 | 309.367 | 9.198 | 306.7 | 17.877 | 890.083 | 27.52 | 49.2188
2019-05-04 16:30:00 | 8.256 | 312.56 | 8.794 | 305.287 | 9.368 | 310.9 | 9.934 | 310.1 | 17.868 | 890.083 | 27.368 | 52.3823
2019-05-04 16:45:00 | 9.375 | 299.04 | 10.127 | 298.16 | 10.321 | 301.4 | 10.744 | 299.733 | 17.885 | 890.017 | 27.976 | 50.2143
2019-05-04 17:00:00 | 8.278 | 292.5 | 8.808 | 293.545 | 9.431 | 300.067 | 9.834 | 296.433 | 17.873 | 889.783 | 26.504 | 48.9396
2019-05-04 17:15:00 | 8.862 | 299.24 | 9.149 | 296.521 | 9.482 | 302.067 | 9.774 | 300 | 18.41 | 889.483 | 26.08 | 53.8368
2019-05-04 17:30:00 | 9.783 | 294.52 | 10.703 | 290.92 | 11.094 | 296.1 | 11.294 | 292.367 | 17.781 | 889.733 | 26.669 | 53.424
2019-05-04 17:45:00 | 8.968 | 285.293 | 9.38 | 286.622 | 9.66 | 290.567 | 10.149 | 289.6 | 17.677 | 889.85 | 26.789 | 43.8512
2019-05-04 18:00:00 | 10.605 | 268.247 | 11.225 | 277.278 | 11.133 | 280.8 | 11.43 | 277.7 | 17.856 | 889.883 | 27.32 | 43.7979
2019-05-04 18:15:00 | 8.623 | 290.36 | 9.234 | 290.004 | 9.226 | 295.967 | 9.637 | 292.633 | 17.064 | 890 | 27.736 | 41.1383
2019-05-04 18:30:00 | 9.594 | 296.787 | 10.112 | 291.896 | 10.456 | 297.767 | 11.115 | 292.5 | 17.448 | 889.983 | 26.619 | 38.7394
2019-05-04 18:45:00 | 9.772 | 290.893 | 10.581 | 290.333 | 10.376 | 294.233 | 10.603 | 290.8 | 16.985 | 890 | 28.659 | 39.5857
2019-05-04 19:00:00 | 8.746 | 286.413 | 9.448 | 286.15 | 9.613 | 291.8 | 9.978 | 290.8 | 17.285 | 889.783 | 29.763 | 45.8173
2019-05-04 19:15:00 | 9.896 | 275.36 | 10.524 | 279.396 | 10.654 | 283.667 | 10.781 | 280.1 | 17.164 | 889.933 | 30.504 | 44.7685
2019-05-04 19:30:00 | 10.464 | 276.493 | 11.359 | 280.74 | 11.575 | 286.133 | 11.704 | 284.3 | 16.598 | 889.917 | 31.76 | 41.9234
2019-05-04 19:45:00 | 12.711 | 276.18 | 13.676 | 280.879 | 13.99 | 283.6 | 14.478 | 280.767 | 15.86 | 889.783 | 33.456 | 39.7178
2019-05-04 20:00:00 | 12.223 | 272.433 | 13.657 | 279.858 | 13.86 | 282.7 | 14.574 | 281.133 | 15.058 | 889.683 | 35.259 | 39.2695
2019-05-04 20:15:00 | 12.702 | 272.353 | 14.236 | 278.615 | 14.5 | 282.967 | 14.942 | 281.767 | 14.199 | 889.617 | 37.232 | 38.8879
2019-05-04 20:30:00 | 14.202 | 280.013 | 16.145 | 282.665 | 16.891 | 286.933 | 17.454 | 285.1 | 13.266 | 889.633 | 40.024 | 38.89
2019-05-04 20:45:00 | 13.8 | 265.553 | 15.651 | 275.75 | 16.361 | 279.7 | 16.685 | 277.433 | 12.659 | 889.667 | 42.16 | 38.8872
2019-05-04 21:00:00 | 13.369 | 273.98 | 14.796 | 278.935 | 15.355 | 281.533 | 15.655 | 278.733 | 11.882 | 889.95 | 44.128 | 38.7955
2019-05-04 21:15:00 | 13.266 | 263.24 | 14.907 | 271.97 | 15.747 | 277 | 16.265 | 273.467 | 11.686 | 890.1 | 46.085 | 38.5895
2019-05-04 21:30:00 | 12.421 | 270.78 | 13.605 | 272.724 | 13.948 | 277.5 | 14.117 | 274.233 | 11.595 | 889.983 | 47.563 | 37.6053
2019-05-04 21:45:00 | 11.836 | 266.253 | 13.194 | 274.328 | 13.749 | 277.467 | 14.114 | 273.333 | 11.728 | 889.642 | 48.517 | 36.9331
2019-05-04 22:00:00 | 11.732 | 261.3 | 13.222 | 269.107 | 13.59 | 273.367 | 13.868 | 269.8 | 11.499 | 889.55 | 49.541 | 35.8985
2019-05-04 22:15:00 | 10.867 | 265.153 | 12.187 | 269.9 | 12.74 | 273.833 | 12.822 | 269.967 | 11.282 | 889.692 | 51.061 | 35.3386
2019-05-04 22:30:00 | 13.155 | 262.407 | 15.098 | 269.582 | 15.59 | 275 | 15.876 | 270.5 | 11.161 | 890.133 | 52.768 | 35.8808
2019-05-04 22:45:00 | 11.94 | 263.527 | 13.468 | 269.827 | 14.111 | 271.833 | 14.354 | 267.7 | 10.661 | 889.858 | 53.813 | 35.8559
2019-05-04 23:00:00 | 14.362 | 268.06 | 15.58 | 272.092 | 15.732 | 275.7 | 15.958 | 271.4 | 10.895 | 889.875 | 55.141 | 35.8722
2019-05-04 23:15:00 | 11.588 | 263.34 | 13.08 | 270.183 | 13.418 | 274 | 14.336 | 271.7 | 10.399 | 889.7 | 56.619 | 36.3434
2019-05-04 23:30:00 | 12.994 | 267.133 | 14.038 | 270.316 | 14.583 | 274 | 14.929 | 269.9 | 10.189 | 889.875 | 58.197 | 36.7597
2019-05-04 23:45:00 | 10.54 | 269.907 | 12.126 | 270.412 | 12.426 | 275 | 12.961 | 270.9 | 9.868 | 889.758 | 58.779 | 37.7311