## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-05 00:00:00 | 12.089 | 270.947 | 13.609 | 271.766 | 14.039 | 275.933 | 14.302 | 271.8 | 10.137 | 890.017 | 61.461 | 29.0437
2019-05-05 00:15:00 | 10.981 | 271.4 | 11.938 | 271.612 | 12.498 | 274.567 | 12.918 | 271.033 | 10.07 | 889.817 | 61.792 | 17.4068
2019-05-05 00:30:00 | 11.274 | 264.927 | 12.836 | 268.701 | 13.219 | 275.167 | 13.892 | 270.8 | 9.76 | 889.725 | 62.416 | 33.2417
2019-05-05 00:45:00 | 10.794 | 261.7 | 12.122 | 266.494 | 12.386 | 271.167 | 12.711 | 267 | 9.783 | 889.65 | 63.643 | 39.7455
2019-05-05 01:00:00 | 10.512 | 263.7 | 11.508 | 266.142 | 11.621 | 271.617 | 11.918 | 266.533 | 9.424 | 890.05 | 63.627 | 35.7053
2019-05-05 01:15:00 | 11.264 | 269.307 | 12.54 | 268.937 | 12.991 | 274.033 | 13.699 | 270.067 | 9.224 | 889.6 | 63.445 | 29.895
2019-05-05 01:30:00 | 10.2 | 268.22 | 11.687 | 268.688 | 12.025 | 273.333 | 12.414 | 269.033 | 8.933 | 889.9 | 63.787 | 25.0013
2019-05-05 01:45:00 | 10.615 | 264.1 | 11.84 | 265.849 | 12.212 | 270.6 | 12.435 | 266.333 | 9.133 | 889.767 | 63.616 | 26.696
2019-05-05 02:00:00 | 10.046 | 258.987 | 11.29 | 259.921 | 11.534 | 264.133 | 11.533 | 259.633 | 9.008 | 889.85 | 64.357 | 26.826
2019-05-05 02:15:00 | 10.971 | 258.133 | 11.98 | 259.091 | 12.287 | 264.433 | 12.334 | 260.083 | 8.678 | 890.308 | 65.648 | 32.097
2019-05-05 02:30:00 | 9.375 | 255.633 | 10.51 | 258.649 | 10.688 | 262.067 | 10.444 | 257.917 | 8.758 | 889.558 | 66.955 | 24.1046
2019-05-05 02:45:00 | 8.288 | 257.907 | 9.448 | 264.414 | 9.66 | 268.233 | 9.745 | 262.183 | 8.904 | 890.167 | 67.573 | 26.8388
2019-05-05 03:00:00 | 8.962 | 265.24 | 10.096 | 268.213 | 10.334 | 271.367 | 10.608 | 266.767 | 8.612 | 889.958 | 69.28 | 28.0638
2019-05-05 03:15:00 | 10.687 | 262.02 | 12.167 | 262.538 | 12.444 | 269.2 | 12.888 | 263.267 | 8.09 | 889.542 | 73.899 | 29.5752
2019-05-05 03:30:00 | 7.64 | 265.847 | 8.998 | 268.849 | 9.501 | 272.433 | 9.961 | 266.533 | 8.003 | 889.992 | 70.245 | 34.1342
2019-05-05 03:45:00 | 8.419 | 274.813 | 9.8 | 272.236 | 10.433 | 276.567 | 10.768 | 271.367 | 7.856 | 889.808 | 70.667 | 31.8313
2019-05-05 04:00:00 | 8.749 | 263.28 | 9.96 | 266.369 | 10.788 | 271.3 | 10.913 | 265.933 | 7.93 | 889.808 | 70.048 | 23.5269
2019-05-05 04:15:00 | 8.743 | 259.007 | 10.056 | 260.567 | 10.759 | 265.6 | 11.363 | 259.95 | 7.836 | 889.725 | 69.995 | 20.8296
2019-05-05 04:30:00 | 7.813 | 259.34 | 9.004 | 260.34 | 9.24 | 265.2 | 9.498 | 260.55 | 7.93 | 890.075 | 70.485 | 23.7585
2019-05-05 04:45:00 | 7.58 | 252.893 | 8.714 | 254.806 | 8.844 | 259.717 | 9.035 | 254.5 | 7.539 | 889.308 | 70.325 | 24.5323
2019-05-05 05:00:00 | 6.413 | 254.233 | 7.251 | 251.773 | 7.608 | 256.817 | 7.561 | 252.583 | 7.863 | 889.767 | 69.803 | 31.3744
2019-05-05 05:15:00 | 6.204 | 261.84 | 6.823 | 259.827 | 7.005 | 262.183 | 7.265 | 259.333 | 7.793 | 890.242 | 70.688 | 22.2841
2019-05-05 05:30:00 | 5.492 | 272.92 | 6.146 | 271.248 | 6.267 | 275.733 | 6.588 | 268.633 | 7.726 | 890.367 | 69.877 | 14.4721
2019-05-05 05:45:00 | 4.946 | 273.667 | 5.587 | 268.505 | 5.626 | 273.2 | 5.942 | 268.417 | 7.883 | 889.983 | 69.701 | 12.7234
2019-05-05 06:00:00 | 4.639 | 270.933 | 5.337 | 266.12 | 5.664 | 269.6 | 5.869 | 264.683 | 7.68 | 889.725 | 69.589 | 11.6696
2019-05-05 06:15:00 | 5.936 | 272.147 | 6.573 | 271.756 | 6.656 | 275.833 | 7.001 | 271.033 | 7.372 | 889.775 | 72.912 | 10.5185
2019-05-05 06:30:00 | 4.614 | 256.773 | 5.404 | 260.226 | 5.808 | 262.883 | 6.221 | 258.117 | 7.372 | 889.933 | 72.693 | 15.3575
2019-05-05 06:45:00 | 5.58 | 282.733 | 5.934 | 278.538 | 5.89 | 282.767 | 6.082 | 279 | 7.339 | 889.908 | 72.539 | 15.717
2019-05-05 07:00:00 | 5.43 | 279.2 | 6.109 | 274.785 | 6.329 | 278 | 6.724 | 275.8 | 7.589 | 890.017 | 72.331 | 15.1329
2019-05-05 07:15:00 | 4.999 | 294.253 | 5.673 | 289.429 | 5.807 | 295.033 | 6.278 | 290.567 | 7.219 | 889.808 | 73.403 | 13.3515
2019-05-05 07:30:00 | 4.75 | 282.347 | 5.406 | 281.596 | 5.51 | 285.9 | 5.988 | 281.633 | 7.686 | 889.675 | 73.493 | 17.6327
2019-05-05 07:45:00 | 4.834 | 291.333 | 5.048 | 284.35 | 5.195 | 287.533 | 5.242 | 283.933 | 7.439 | 889.75 | 71.408 | 26.0444
2019-05-05 08:00:00 | 6.203 | 290.267 | 6.731 | 288.373 | 6.649 | 295.167 | 7.09 | 291.367 | 7.643 | 889.817 | 70.309 | 24.8627
2019-05-05 08:15:00 | 6.746 | 293.413 | 7.19 | 288.558 | 7.257 | 292.633 | 7.779 | 289.9 | 7.836 | 889.325 | 69.664 | 30.9338
2019-05-05 08:30:00 | 6.581 | 287.913 | 6.95 | 287.926 | 6.727 | 293.133 | 6.927 | 290.133 | 7.689 | 889.942 | 70.336 | 27.2865
2019-05-05 08:45:00 | 6.019 | 291.933 | 6.542 | 289.967 | 6.646 | 296.3 | 6.801 | 292.133 | 7.456 | 890.2 | 69.984 | 26.9688
2019-05-05 09:00:00 | 6.608 | 301.227 | 7.012 | 296.084 | 6.95 | 301.667 | 7.42 | 295.433 | 7.566 | 889.892 | 66.224 | 21.8478
2019-05-05 09:15:00 | 5.626 | 278.047 | 5.99 | 279.074 | 5.855 | 284.833 | 6.162 | 283.167 | 8.01 | 889.692 | 64.288 | 15.0619
2019-05-05 09:30:00 | 5.136 | 285.027 | 5.57 | 282.715 | 5.438 | 288.8 | 6.085 | 286.2 | 8.184 | 889.858 | 62.789 | 11.7116
2019-05-05 09:45:00 | 4.983 | 287.12 | 5.282 | 284.384 | 5.216 | 288.367 | 5.53 | 283.867 | 8.026 | 890.042 | 62.053 | 14.2227
2019-05-05 10:00:00 | 5.406 | 291.32 | 5.58 | 286.83 | 5.474 | 290.7 | 5.758 | 286.733 | 7.743 | 889.908 | 62.405 | 12.248
2019-05-05 10:15:00 | 5.343 | 302.667 | 5.87 | 294.092 | 5.803 | 298.867 | 6.042 | 294.767 | 7.756 | 889.842 | 61.493 | 12.0974
2019-05-05 10:30:00 | 4.637 | 279.747 | 4.962 | 274.51 | 4.888 | 279.9 | 5.145 | 275.533 | 7.869 | 889.883 | 60.997 | 12.0441
2019-05-05 10:45:00 | 5.206 | 271.933 | 5.274 | 269.669 | 5.16 | 277.867 | 5.444 | 275.067 | 7.889 | 890.025 | 60.613 | 11.3044
2019-05-05 11:00:00 | 4.565 | 284.333 | 4.777 | 281.812 | 4.639 | 287.033 | 4.869 | 286.333 | 7.973 | 890.058 | 60.443 | 9.3944
2019-05-05 11:15:00 | 4.346 | 288.593 | 4.505 | 283.297 | 4.704 | 288.467 | 4.879 | 286.933 | 7.99 | 890.133 | 60.656 | 13.4212
2019-05-05 11:30:00 | 6.336 | 301.147 | 6.649 | 296.634 | 6.68 | 300.4 | 7.034 | 295.267 | 8.17 | 889.792 | 61.211 | 16.79
2019-05-05 11:45:00 | 5.7 | 312.613 | 5.745 | 304.928 | 5.827 | 309.3 | 6.203 | 306.7 | 7.97 | 890.008 | 61.461 | 16.5647
2019-05-05 12:00:00 | 5.481 | 314.573 | 5.868 | 306.172 | 5.851 | 310.933 | 6.396 | 310.233 | 8.28 | 889.7 | 62.485 | 18.7092
2019-05-05 12:15:00 | 5.048 | 313.813 | 5.236 | 306.635 | 5.412 | 310.533 | 5.791 | 306.733 | 7.796 | 889.642 | 64.123 | 19.6202
2019-05-05 12:30:00 | 6.741 | 299.533 | 7.264 | 299.504 | 7.092 | 303.4 | 7.438 | 300.133 | 7.853 | 889.975 | 67.52 | 25.773
2019-05-05 12:45:00 | 6.956 | 305.44 | 7.44 | 300 | 7.414 | 305.533 | 7.937 | 302.567 | 7.696 | 890.108 | 71.504 | 28.2493
2019-05-05 13:00:00 | 6.76 | 304.533 | 7.228 | 300.374 | 7.443 | 304.567 | 7.871 | 302.3 | 7.256 | 890.192 | 77.829 | 24.3618
2019-05-05 13:15:00 | 6.896 | 295.907 | 7.615 | 293.553 | 7.524 | 298.933 | 7.901 | 298.433 | 6.999 | 889.833 | 81.253 | 28.1647
2019-05-05 13:30:00 | 7.074 | 296.893 | 7.384 | 293.414 | 7.526 | 299.2 | 8.139 | 296.7 | 6.847 | 890.092 | 85.557 | 32.2832
2019-05-05 13:45:00 | 6.9 | 298.04 | 7.583 | 293.001 | 7.714 | 297.933 | 8.072 | 295.067 | 6.7 | 889.304 | 86.603 | 29.1581
2019-05-05 14:00:00 | 7.378 | 304.64 | 7.61 | 296.955 | 7.81 | 301.2 | 8.124 | 295.733 | 6.469 | 890.217 | 86.037 | 27.8364
2019-05-05 14:15:00 | 6.089 | 292.667 | 6.578 | 285.234 | 6.643 | 290.633 | 6.901 | 287.933 | 6.708 | 889.917 | 88.821 | 24.9174
2019-05-05 14:30:00 | 6.011 | 294.347 | 6.593 | 288.616 | 6.764 | 292.5 | 6.952 | 291.333 | 6.43 | 889.762 | 88.309 | 26.0366
2019-05-05 14:45:00 | 6.926 | 286.72 | 7.633 | 281.695 | 7.906 | 287.433 | 8.167 | 284.567 | 6.208 | 889.854 | 88.565 | 29.7138
2019-05-05 15:00:00 | 6.718 | 280.747 | 7.585 | 274.967 | 7.764 | 279.4 | 7.944 | 277.167 | 5.898 | 889.988 | 89.045 | 23.0863
2019-05-05 15:15:00 | 5.505 | 281.507 | 5.955 | 276.232 | 6.145 | 279.533 | 6.31 | 276.5 | 6.419 | 890.362 | 88.277 | 16.4603
2019-05-05 15:30:00 | 4.803 | 285.907 | 5.406 | 280.503 | 5.462 | 284.9 | 5.562 | 280.733 | 6.253 | 890.075 | 89.269 | 14.1154
2019-05-05 15:45:00 | 5.768 | 291.933 | 6.408 | 286.643 | 6.431 | 289.933 | 6.617 | 288.733 | 6.195 | 890.079 | 91.264 | 21.8037
2019-05-05 16:00:00 | 6.278 | 284.453 | 6.912 | 281.478 | 7.004 | 287.1 | 7.016 | 285.7 | 6.274 | 890.008 | 85.963 | 20.7002
2019-05-05 16:15:00 | 5.734 | 293.053 | 6.312 | 285.925 | 6.49 | 289.833 | 6.842 | 287.867 | 6.886 | 889.754 | 86.795 | 26.4814
2019-05-05 16:30:00 | 6.148 | 290.133 | 6.902 | 284.469 | 7.051 | 292.1 | 7.421 | 288.6 | 6.922 | 889.992 | 86.069 | 39.8699
2019-05-05 16:45:00 | 6.805 | 302.413 | 7.296 | 295.263 | 7.4 | 299.6 | 7.7 | 296.567 | 6.512 | 890.162 | 86.4 | 38.8858
2019-05-05 17:00:00 | 6.698 | 296.6 | 7.265 | 289.139 | 7.231 | 292.967 | 7.496 | 290.1 | 6.559 | 890.117 | 84.907 | 36.0883
2019-05-05 17:15:00 | 6.039 | 284.333 | 6.73 | 279.767 | 6.911 | 287.567 | 7.062 | 283.933 | 6.492 | 889.717 | 86.645 | 33.209
2019-05-05 17:30:00 | 6.684 | 285.84 | 7.239 | 279.026 | 7.626 | 284.167 | 7.984 | 281.5 | 6.469 | 889.712 | 85.461 | 28.1519
2019-05-05 17:45:00 | 6.274 | 281.253 | 7.28 | 275 | 7.704 | 281.9 | 8.004 | 277.833 | 6.571 | 889.717 | 86.507 | 29.0174
2019-05-05 18:00:00 | 6.502 | 280.48 | 7.279 | 275.511 | 7.461 | 282.733 | 7.68 | 278.167 | 6.943 | 890.258 | 85.493 | 28.7858
2019-05-05 18:15:00 | 5.762 | 279.8 | 6.583 | 274.947 | 6.799 | 279.2 | 7.014 | 276.467 | 6.84 | 890.108 | 86.859 | 28.5811
2019-05-05 18:30:00 | 6.32 | 281.013 | 7.046 | 275.48 | 7.258 | 278.733 | 7.389 | 275.233 | 6.793 | 889.858 | 87.648 | 32.2384
2019-05-05 18:45:00 | 5.653 | 282.48 | 6.462 | 276.863 | 6.659 | 281.9 | 6.786 | 276.367 | 6.694 | 890.129 | 88.352 | 25.4106
2019-05-05 19:00:00 | 5.621 | 281.707 | 6.324 | 274.436 | 6.297 | 279.067 | 6.604 | 274.5 | 6.7 | 890.188 | 87.808 | 21.3724
2019-05-05 19:15:00 | 4.956 | 274.613 | 5.708 | 267.964 | 6.058 | 274.033 | 6.436 | 269.167 | 6.707 | 890.038 | 88.128 | 27.2993
2019-05-05 19:30:00 | 7.545 | 274.267 | 8.608 | 268.788 | 8.676 | 273.733 | 8.926 | 269.55 | 7.289 | 890.05 | 83.84 | 35.7316
2019-05-05 19:45:00 | 6.056 | 276.533 | 6.843 | 271.776 | 7.009 | 277.867 | 7.347 | 273.3 | 7.106 | 889.717 | 81.744 | 27.7675
2019-05-05 20:00:00 | 6.44 | 275.467 | 7.177 | 267.844 | 7.462 | 272.3 | 7.47 | 267.433 | 7.306 | 889.738 | 81.328 | 28.7794
2019-05-05 20:15:00 | 5.583 | 272.667 | 6.631 | 265.554 | 6.854 | 271.767 | 6.988 | 265.417 | 7.522 | 889.912 | 81.509 | 24.474
2019-05-05 20:30:00 | 5.28 | 268.747 | 6.318 | 263.341 | 6.783 | 268.4 | 6.753 | 264.267 | 7.539 | 889.542 | 80.32 | 23.7429
2019-05-05 20:45:00 | 6.007 | 260.78 | 6.656 | 256.62 | 6.872 | 261.633 | 6.859 | 259.217 | 7.826 | 889.8 | 79.536 | 27.6624
2019-05-05 21:00:00 | 5.538 | 260.82 | 6.655 | 257.361 | 7.145 | 263.417 | 7.273 | 259.133 | 7.406 | 889.917 | 80.533 | 30.4165
2019-05-05 21:15:00 | 5.243 | 264.733 | 6.171 | 261.847 | 6.334 | 267.2 | 6.723 | 261.6 | 7.459 | 889.925 | 81.077 | 28.5747
2019-05-05 21:30:00 | 5.976 | 264.953 | 6.808 | 261.413 | 7.172 | 267.45 | 7.312 | 262.583 | 7.706 | 889.975 | 80.352 | 23.8132
2019-05-05 21:45:00 | 5.192 | 268.2 | 6.136 | 263.902 | 6.489 | 270.7 | 6.899 | 266.25 | 7.289 | 889.633 | 80.661 | 21.4712
2019-05-05 22:00:00 | 5.043 | 258.847 | 5.798 | 253.124 | 6.201 | 259.383 | 6.496 | 255.833 | 7.322 | 889.533 | 80.411 | 22.0418
2019-05-05 22:15:00 | 4.609 | 262.253 | 5.623 | 257.293 | 6.092 | 263.183 | 6.12 | 259 | 7.422 | 889.8 | 80.48 | 16.7267
2019-05-05 22:30:00 | 4.082 | 253.133 | 4.645 | 251.137 | 5.081 | 257.683 | 5.161 | 254.117 | 7.406 | 889.858 | 80.229 | 14.0067
2019-05-05 22:45:00 | 4.055 | 253.887 | 4.911 | 251.634 | 5.251 | 255.85 | 5.342 | 251.45 | 7.599 | 889.642 | 79.904 | 16.2144
2019-05-05 23:00:00 | 4.411 | 255.3 | 5.239 | 250.739 | 5.653 | 256.883 | 5.674 | 251.9 | 7.539 | 890.025 | 80.192 | 18.1067
2019-05-05 23:15:00 | 4.788 | 255.88 | 5.506 | 250.849 | 5.848 | 254.95 | 5.844 | 249.883 | 7.289 | 889.783 | 80.032 | 19.2763
2019-05-05 23:30:00 | 4.416 | 253.007 | 5.352 | 247.84 | 5.772 | 255.567 | 5.953 | 252.05 | 7.68 | 890.025 | 80.645 | 16.9044
2019-05-05 23:45:00 | 4.464 | 261.02 | 5.229 | 258.257 | 5.551 | 264.4 | 5.649 | 260.7 | 7.156 | 889.988 | 81.749 | 17.217