## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-06 00:00:00 | 5.389 | 259.98 | 6.188 | 257.877 | 6.47 | 264.05 | 6.484 | 258.4 | 7.372 | 889.671 | 81.723 | 20.2327
2019-05-06 00:15:00 | 5.341 | 264.933 | 6.038 | 259.234 | 6.351 | 264.267 | 6.448 | 260.383 | 7.703 | 890.054 | 81.499 | 25.736
2019-05-06 00:30:00 | 5.361 | 267.373 | 6.222 | 262.098 | 6.516 | 266.933 | 6.686 | 262.3 | 7.446 | 889.771 | 81.563 | 30.0669
2019-05-06 00:45:00 | 6.218 | 271.733 | 7.258 | 266.642 | 7.712 | 272.2 | 7.808 | 268.5 | 7.156 | 889.546 | 81.461 | 26.5873
2019-05-06 01:00:00 | 6.02 | 280.92 | 6.847 | 275.601 | 7.173 | 280.5 | 7.536 | 277.267 | 7.292 | 889.796 | 81.328 | 23.2803
2019-05-06 01:15:00 | 5.465 | 276.6 | 6.504 | 271.236 | 6.959 | 277.833 | 7.245 | 274.4 | 7.306 | 889.933 | 80.693 | 20.4807
2019-05-06 01:30:00 | 5.41 | 267.66 | 6.21 | 265.168 | 6.687 | 271.833 | 7.019 | 266.5 | 7.496 | 889.983 | 80.144 | 22.051
2019-05-06 01:45:00 | 5.399 | 263.26 | 6.189 | 258.804 | 6.647 | 264.717 | 6.728 | 262.517 | 7.599 | 890.067 | 80.048 | 26.8004
2019-05-06 02:00:00 | 5.494 | 261.573 | 6.522 | 256.554 | 7.192 | 263.7 | 7.469 | 260.567 | 7.496 | 889.925 | 79.552 | 27.9103
2019-05-06 02:15:00 | 5.675 | 264.62 | 6.643 | 261.987 | 7.04 | 266.433 | 7.329 | 262.3 | 7.726 | 889.933 | 79.504 | 30.3881
2019-05-06 02:30:00 | 6.776 | 274.773 | 7.424 | 271.191 | 7.816 | 276.967 | 8.066 | 271.467 | 7.68 | 889.858 | 79.52 | 35.9177
2019-05-06 02:45:00 | 6.673 | 274.787 | 7.531 | 269.765 | 8.006 | 275.3 | 8.052 | 270.6 | 7.676 | 889.592 | 79.632 | 35.9554
2019-05-06 03:00:00 | 7.66 | 273.08 | 8.775 | 267.995 | 9.056 | 275.533 | 9.147 | 271.333 | 7.406 | 889.792 | 78.144 | 31.0283
2019-05-06 03:15:00 | 6.452 | 271.2 | 7.812 | 267.795 | 8.298 | 272.233 | 8.538 | 267.6 | 7.472 | 889.567 | 77.947 | 30.494
2019-05-06 03:30:00 | 7.924 | 271.293 | 9.077 | 266.222 | 9.574 | 271.733 | 9.915 | 266.567 | 7.566 | 889.475 | 77.104 | 35.5155
2019-05-06 03:45:00 | 6.718 | 271.667 | 7.738 | 267.418 | 8.283 | 272.067 | 8.53 | 266.767 | 7.456 | 890.042 | 77.675 | 37.1299
2019-05-06 04:00:00 | 6.556 | 265.667 | 7.532 | 262.764 | 7.82 | 268.2 | 7.974 | 264.95 | 7.256 | 889.742 | 76.955 | 33.4691
2019-05-06 04:15:00 | 6.223 | 269.12 | 6.928 | 265.221 | 7.452 | 271.633 | 7.97 | 268.433 | 7.643 | 889.9 | 75.648 | 33.7775
2019-05-06 04:30:00 | 5.378 | 271.907 | 6.336 | 267.758 | 6.728 | 273.167 | 6.979 | 270.867 | 7.446 | 889.75 | 75.76 | 32.3827
2019-05-06 04:45:00 | 6.194 | 268.867 | 7.457 | 261.437 | 7.698 | 266.6 | 7.752 | 264.017 | 7.656 | 889.992 | 75.355 | 34.2706
2019-05-06 05:00:00 | 6.996 | 269.867 | 7.747 | 265.644 | 8.076 | 270.8 | 8.246 | 267.1 | 7.222 | 889.8 | 74.885 | 35.6918
2019-05-06 05:15:00 | 6.398 | 270.413 | 7.5 | 267.064 | 8.156 | 272.267 | 8.524 | 268.7 | 7.239 | 889.383 | 74.704 | 35.3713
2019-05-06 05:30:00 | 6.143 | 272.933 | 7.183 | 268.983 | 7.323 | 273.4 | 7.484 | 269.367 | 7.589 | 889.892 | 75.147 | 40.0475
2019-05-06 05:45:00 | 6.62 | 272.933 | 7.682 | 267.602 | 8.246 | 272.3 | 8.576 | 268.633 | 7.156 | 889.642 | 75.947 | 37.9698
2019-05-06 06:00:00 | 6.482 | 268.667 | 7.219 | 263.069 | 7.632 | 270.067 | 7.918 | 265.633 | 6.956 | 890.167 | 76.16 | 36.391
2019-05-06 06:15:00 | 6.518 | 268.293 | 7.576 | 263.983 | 8.16 | 269.867 | 8.47 | 265.117 | 7.056 | 889.85 | 77.424 | 35.7252
2019-05-06 06:30:00 | 6.514 | 266.613 | 7.422 | 263.413 | 7.842 | 268.8 | 8.168 | 265.85 | 7.372 | 889.817 | 76.704 | 33.2574
2019-05-06 06:45:00 | 5.981 | 266.58 | 7.054 | 263.202 | 7.461 | 269.4 | 7.644 | 265.45 | 7.089 | 890.058 | 75.771 | 33.8457
2019-05-06 07:00:00 | 6.184 | 262.633 | 7.072 | 258.472 | 7.505 | 265.583 | 7.597 | 261.483 | 7.056 | 890.167 | 77.525 | 37.1548
2019-05-06 07:15:00 | 5.62 | 262.187 | 6.517 | 259.774 | 6.925 | 266.667 | 7.297 | 263.05 | 6.922 | 889.917 | 80.752 | 34.1591
2019-05-06 07:30:00 | 6.183 | 262.213 | 7.288 | 259.44 | 7.591 | 265.8 | 7.943 | 261.7 | 7.239 | 889.908 | 80.517 | 34.7247
2019-05-06 07:45:00 | 5.719 | 259.507 | 6.804 | 255.718 | 7.184 | 262.5 | 7.36 | 257.75 | 6.972 | 889.958 | 80.784 | 32.7209
2019-05-06 08:00:00 | 6.346 | 259.787 | 7.213 | 254.997 | 7.49 | 261.9 | 7.681 | 256.783 | 7.222 | 889.95 | 80.565 | 29.1688
2019-05-06 08:15:00 | 5.433 | 259 | 6.152 | 256.927 | 6.632 | 262.25 | 6.802 | 258.3 | 7.122 | 889.625 | 81.141 | 30.0477
2019-05-06 08:30:00 | 5.898 | 262.107 | 6.774 | 256.765 | 7.178 | 260.217 | 7.333 | 254.933 | 7.039 | 889.758 | 80.128 | 30.9807
2019-05-06 08:45:00 | 5.931 | 254.853 | 6.832 | 251.494 | 7.224 | 258.9 | 7.621 | 253.8 | 7.106 | 889.55 | 80.837 | 30.6631
2019-05-06 09:00:00 | 5.89 | 256.773 | 6.613 | 253.894 | 7.109 | 261.2 | 7.061 | 255.483 | 7.289 | 889.917 | 80.96 | 29.1602
2019-05-06 09:15:00 | 6.356 | 254.787 | 7.019 | 251.756 | 7.416 | 256.4 | 7.515 | 252.45 | 7.289 | 890.075 | 78.64 | 29.0359
2019-05-06 09:30:00 | 6.539 | 257.64 | 7.073 | 252.406 | 7.169 | 257.783 | 7.21 | 252.75 | 7.582 | 889.925 | 75.525 | 30.2268
2019-05-06 09:45:00 | 5.566 | 259.267 | 6.407 | 254.644 | 6.597 | 259.817 | 6.484 | 254.717 | 7.909 | 890.025 | 74.165 | 27.6958
2019-05-06 10:00:00 | 5.728 | 270.64 | 6.438 | 264.038 | 6.762 | 269.167 | 7.034 | 265.783 | 7.963 | 889.975 | 73.872 | 28.3068
2019-05-06 10:15:00 | 7.146 | 276.573 | 7.998 | 271.986 | 8.237 | 277.7 | 8.509 | 273.067 | 8.327 | 889.9 | 72.411 | 30.187
2019-05-06 10:30:00 | 6.953 | 279.307 | 7.647 | 272.652 | 7.952 | 276.233 | 7.943 | 272.8 | 8.414 | 890.283 | 73.365 | 31.8902
2019-05-06 10:45:00 | 6.859 | 278.067 | 7.483 | 274.688 | 7.755 | 279.567 | 7.672 | 276.267 | 8.883 | 889.983 | 69.2 | 31.9833
2019-05-06 11:00:00 | 6.484 | 289.413 | 6.88 | 285.242 | 7.247 | 288.867 | 7.302 | 285.633 | 8.58 | 889.792 | 69.312 | 22.2777
2019-05-06 11:15:00 | 5.704 | 295.973 | 6.21 | 290.12 | 6.246 | 294.367 | 6.438 | 292.733 | 8.197 | 890.1 | 71.883 | 15.9572
2019-05-06 11:30:00 | 5.066 | 289.707 | 5.33 | 283.176 | 5.509 | 288.1 | 5.618 | 287.833 | 8.03 | 889.825 | 75.749 | 9.8833
2019-05-06 11:45:00 | 4.818 | 301.96 | 5.081 | 293.998 | 5.356 | 299.3 | 5.568 | 294.667 | 8.4 | 889.75 | 75.595 | 7.7615
2019-05-06 12:00:00 | 4.508 | 311.187 | 5.054 | 301.776 | 5.439 | 306.433 | 5.596 | 302.433 | 8.244 | 889.558 | 78.107 | 8.7918
2019-05-06 12:15:00 | 4.864 | 310.08 | 5.325 | 303.498 | 5.418 | 304.667 | 5.523 | 299.567 | 8.07 | 889.783 | 77.365 | 6.8747
2019-05-06 12:30:00 | 3.945 | 304.533 | 4.405 | 298.266 | 4.586 | 301.367 | 4.782 | 296.067 | 8.795 | 890.217 | 76.219 | 6.0661
2019-05-06 12:45:00 | 3.404 | 283.2 | 4.01 | 279.025 | 4.184 | 284 | 4.159 | 283.6 | 8.574 | 889.833 | 76.384 | 6.1606
2019-05-06 13:00:00 | 4.002 | 295.933 | 4.654 | 289.751 | 4.865 | 295.067 | 5.042 | 292.8 | 8.541 | 890 | 74.485 | 5.1473
2019-05-06 13:15:00 | 4.512 | 333.64 | 4.643 | 339.986 | 4.686 | 344.467 | 4.66 | 341.8 | 8.591 | 890.025 | 77.781 | 4.4254
2019-05-06 13:30:00 | 3.51 | 329.693 | 4.003 | 321.458 | 4.133 | 324.9 | 4.317 | 323 | 8.4 | 889.9 | 77.456 | 2.5374
2019-05-06 13:45:00 | 2.241 | 309.467 | 2.833 | 302.427 | 3.087 | 306.133 | 3.203 | 302.7 | 8.574 | 890.25 | 74.661 | 1.9654
2019-05-06 14:00:00 | 2.915 | 288.88 | 3.227 | 287.343 | 3.507 | 289.233 | 3.797 | 288.667 | 8.954 | 889.975 | 69.403 | 1.7046
2019-05-06 14:15:00 | 3.021 | 297.173 | 3.471 | 295.438 | 3.684 | 299.733 | 3.771 | 298.633 | 9.12 | 890.05 | 66.352 | 1.2016
2019-05-06 14:30:00 | 3.772 | 328.548 | 4.301 | 335.513 | 4.31 | 335.167 | 4.237 | 334.2 | 9.328 | 889.717 | 64.197 | 2.3861
2019-05-06 14:45:00 | 3.963 | 303.047 | 4.313 | 334.44 | 4.35 | 326.533 | 4.282 | 339.033 | 9.516 | 890 | 64.315 | 3.0633
2019-05-06 15:00:00 | 2.342 | 303.4 | 2.666 | 292.473 | 3.015 | 300.367 | 3.343 | 307.367 | 9.528 | 890.033 | 62.059 | 2.4671
2019-05-06 15:15:00 | 3.132 | 329.653 | 3.42 | 323.209 | 3.542 | 327.067 | 3.723 | 322.933 | 9.982 | 889.883 | 62.544 | 1.8375
2019-05-06 15:30:00 | 3.453 | 339.96 | 3.86 | 333.591 | 4.03 | 323.967 | 4.08 | 332.767 | 9.824 | 889.725 | 62.8 | 3.3624
2019-05-06 15:45:00 | 4.405 | 324.853 | 4.671 | 315.37 | 4.725 | 318.267 | 4.647 | 317.133 | 10.176 | 890.033 | 62.88 | 4.9548
2019-05-06 16:00:00 | 4.409 | 325.893 | 4.759 | 319.817 | 4.994 | 324.7 | 5.22 | 322.9 | 10.295 | 889.9 | 62.715 | 7.1121
2019-05-06 16:15:00 | 4.808 | 319.307 | 4.886 | 310.808 | 5.002 | 317.467 | 5.032 | 315.667 | 9.818 | 889.958 | 64.272 | 5.9197
2019-05-06 16:30:00 | 4.828 | 322.747 | 5.146 | 317.33 | 5.388 | 322.9 | 5.361 | 323.333 | 10.224 | 889.75 | 64.565 | 5.1807
2019-05-06 16:45:00 | 1.956 | 325.467 | 2.628 | 312.46 | 3.013 | 318.667 | 3.146 | 321.467 | 10.147 | 889.925 | 65.979 | 2.6263
2019-05-06 17:00:00 | 2.273 | 320.493 | 2.664 | 320.001 | 2.786 | 322 | 2.8 | 314.833 | 10.058 | 889.508 | 65.317 | 2.4777
2019-05-06 17:15:00 | 3.782 | 335.053 | 4.104 | 326.742 | 4.14 | 327.7 | 4.124 | 323.033 | 10.176 | 889.858 | 65.253 | 2.4074
2019-05-06 17:30:00 | 2.66 | 288.64 | 3.067 | 282.508 | 3.256 | 286.4 | 3.172 | 292 | 9.851 | 890 | 65.957 | 1.3629
2019-05-06 17:45:00 | 2.905 | 314.2 | 3.439 | 307.168 | 3.606 | 312.467 | 3.824 | 309.2 | 10.01 | 889.967 | 63.851 | 0.34036
2019-05-06 18:00:00 | 1.88 | 317.413 | 2.168 | 310.704 | 2.379 | 310.1 | 2.555 | 308.667 | 10.308 | 889.8 | 63.584 | 0.16414
2019-05-06 18:15:00 | 1.766 | 310.253 | 2.331 | 298.178 | 2.676 | 303.567 | 2.861 | 304.133 | 10.503 | 889.958 | 63.259 | 0.18262
2019-05-06 18:30:00 | 2.042 | 292.507 | 2.4 | 288.674 | 2.679 | 295.833 | 2.795 | 293.467 | 10.432 | 889.9 | 61.691 | 0.11511
2019-05-06 18:45:00 | 2.127 | 271.78 | 2.604 | 264.423 | 2.681 | 270.467 | 2.644 | 270.133 | 10.216 | 890.192 | 63.504 | 0.11369
2019-05-06 19:00:00 | 2.396 | 291.767 | 2.787 | 283.388 | 2.803 | 288.5 | 3.114 | 282.933 | 10.491 | 889.6 | 63.323 | 0.42634
2019-05-06 19:15:00 | 2.746 | 270.967 | 3.043 | 270.848 | 3.19 | 274.667 | 3.177 | 272.733 | 10.353 | 889.9 | 63.077 | 0.88608
2019-05-06 19:30:00 | 2.519 | 276.427 | 2.829 | 275.878 | 3.063 | 281.367 | 3.167 | 284.233 | 10.776 | 889.867 | 63.104 | 1.3309
2019-05-06 19:45:00 | 2.904 | 278.413 | 3.276 | 269.004 | 3.624 | 274.95 | 3.677 | 271.767 | 10.495 | 889.658 | 63.861 | 1.2868
2019-05-06 20:00:00 | 2.609 | 276.667 | 2.842 | 273.996 | 2.96 | 278.1 | 2.931 | 278.4 | 10.607 | 890.008 | 64.752 | 0.19541
2019-05-06 20:15:00 | 1.264 | 275.04 | 1.516 | 264.748 | 1.756 | 269.467 | 1.879 | 267.167 | 10.349 | 889.342 | 65.179 | 0.18475
2019-05-06 20:30:00 | 1.14 | 284.933 | 1.226 | 282.972 | 1.417 | 286.8 | 1.492 | 276.033 | 10.507 | 890.025 | 65.109 | 0.1208
2019-05-06 20:45:00 | 1.146 | 276.253 | 1.352 | 277.479 | 1.528 | 274.067 | 1.62 | 275.433 | 10.343 | 889.892 | 65.317 | 0.17196
2019-05-06 21:00:00 | 2.292 | 288.84 | 2.701 | 285.104 | 2.915 | 295 | 3.079 | 288.633 | 10.255 | 889.842 | 66.667 | 0.068214
2019-05-06 21:15:00 | 2.144 | 280.933 | 2.884 | 281.452 | 3.115 | 287.533 | 3.232 | 286.5 | 10.541 | 889.558 | 68.272 | 0.073899
2019-05-06 21:30:00 | 2.25 | 286.32 | 2.822 | 282.36 | 3.054 | 285.233 | 3.088 | 281.567 | 10.376 | 889.783 | 68.928 | 0.40147
2019-05-06 21:45:00 | 2.868 | 277.28 | 3.51 | 276.991 | 3.616 | 279.667 | 3.651 | 274.567 | 9.887 | 890.458 | 70.651 | 4.8006
2019-05-06 22:00:00 | 4.166 | 253.24 | 4.75 | 253.102 | 5.09 | 258.433 | 5.028 | 255.717 | 9.964 | 889.892 | 70.571 | 7.9228
2019-05-06 22:15:00 | 3.964 | 249.767 | 4.94 | 250.261 | 5.146 | 257.35 | 5.272 | 255.7 | 9.766 | 889.592 | 68.811 | 6.5102
2019-05-06 22:30:00 | 2.823 | 261.107 | 3.663 | 261.497 | 4.078 | 270.133 | 4.112 | 269.067 | 9.908 | 889.95 | 69.184 | 4.2463
2019-05-06 22:45:00 | 2.08 | 275.573 | 3.017 | 268.332 | 3.408 | 274.2 | 3.564 | 272.033 | 9.735 | 889.708 | 69.467 | 3.4612
2019-05-06 23:00:00 | 2.861 | 270.667 | 3.614 | 269.315 | 3.79 | 276.9 | 3.898 | 272.767 | 9.976 | 890.042 | 70.704 | 2.9901
2019-05-06 23:15:00 | 2.944 | 268.6 | 3.543 | 270.973 | 3.791 | 278.833 | 3.855 | 278.533 | 9.833 | 889.708 | 72.096 | 3.0256
2019-05-06 23:30:00 | 3.023 | 281.267 | 4.133 | 282.578 | 4.442 | 289.467 | 4.673 | 288.567 | 9.495 | 890.325 | 72.619 | 3.648
2019-05-06 23:45:00 | 2.441 | 298.267 | 3.312 | 293.002 | 3.518 | 297.533 | 3.68 | 292.033 | 9.391 | 889.925 | 73.397 | 2.1353