## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-07 00:00:00 | 2.418 | 298.507 | 3.109 | 291.788 | 3.371 | 296.133 | 3.676 | 292.333 | 9.22 | 889.775 | 75.339 | 2.0038
2019-05-07 00:15:00 | 2.044 | 296 | 3.05 | 285.69 | 3.694 | 286.433 | 4.048 | 284.033 | 9.678 | 890.008 | 75.531 | 2.6675
2019-05-07 00:30:00 | 2.786 | 275.64 | 4.175 | 267.842 | 4.701 | 276.567 | 4.676 | 274.533 | 9.241 | 889.45 | 74.997 | 4.7686
2019-05-07 00:45:00 | 3.282 | 271.013 | 4.377 | 267.452 | 4.806 | 275.8 | 4.847 | 273.767 | 9.399 | 889.892 | 73.371 | 6.8818
2019-05-07 01:00:00 | 4.152 | 268.333 | 4.993 | 269.38 | 5.07 | 275.867 | 5.153 | 272.867 | 9.628 | 889.717 | 73.195 | 8.7613
2019-05-07 01:15:00 | 3.854 | 275.72 | 4.723 | 275.326 | 5.035 | 279.9 | 5.226 | 278.6 | 9.283 | 889.883 | 73.488 | 7.078
2019-05-07 01:30:00 | 3.009 | 274.573 | 4.067 | 273.684 | 4.361 | 280.333 | 4.377 | 280.9 | 9.17 | 889.9 | 74.549 | 3.9849
2019-05-07 01:45:00 | 2.841 | 276.653 | 3.742 | 275.34 | 4.01 | 278.933 | 4.162 | 278.333 | 9.554 | 889.842 | 75.387 | 3.1016
2019-05-07 02:00:00 | 3.285 | 276.187 | 4.202 | 274.159 | 4.293 | 279.8 | 4.359 | 276 | 9.058 | 889.692 | 76.752 | 5.6362
2019-05-07 02:15:00 | 3.581 | 272.013 | 4.414 | 268.788 | 4.729 | 274.867 | 4.82 | 270.667 | 9.328 | 889.725 | 77.163 | 4.5796
2019-05-07 02:30:00 | 2.803 | 282.413 | 3.668 | 279.619 | 4.043 | 284.567 | 4.178 | 282.4 | 8.87 | 889.875 | 78.453 | 2.5175
2019-05-07 02:45:00 | 2.985 | 303.133 | 3.866 | 295.491 | 4.154 | 300.533 | 4.362 | 300.1 | 8.949 | 889.925 | 79.371 | 1.0062
2019-05-07 03:00:00 | 1.999 | 291.32 | 2.88 | 288.998 | 3.122 | 296.833 | 3.234 | 299.6 | 9.062 | 889.533 | 80.896 | 0.13785
2019-05-07 03:15:00 | 1.671 | 292.733 | 2.26 | 295.092 | 2.708 | 306.8 | 2.822 | 294.067 | 8.558 | 889.742 | 81.312 | 0.12506
2019-05-07 03:30:00 | 1.146 | 336.84 | 1.308 | 328.141 | 1.844 | 312 | 2.098 | 312 | 8.481 | 889.288 | 83.488 | 0.20464
2019-05-07 03:45:00 | 1.358 | 326.987 | 1.568 | 316.305 | 1.793 | 320.067 | 1.903 | 312.933 | 8.193 | 890.058 | 83.616 | 0.17338
2019-05-07 04:00:00 | 0 | 327.027 | 0 | 315.062 | 1.034 | 320 | 1.117 | 313 | 8.05 | 889.638 | 83.712 | 0.16627
2019-05-07 04:15:00 | 0 | 326.853 | 0 | 314.864 | 0.509 | 320.167 | 1.343 | 313 | 8.461 | 889.829 | 84.8 | 0.16769
2019-05-07 04:30:00 | 0 | 327.107 | 0.067 | 314.868 | 1.32 | 320 | 1.665 | 313 | 7.93 | 890.692 | 84.544 | 0.16911
2019-05-07 04:45:00 | 0 | 326.96 | 0.37 | 314.942 | 1.246 | 320 | 1.518 | 313 | 8.234 | 889.967 | 81.803 | 0.16769
2019-05-07 05:00:00 | 0.714 | 244.893 | 0 | 314.902 | 0.533 | 320 | 1.109 | 312.967 | 8.103 | 889.812 | 82.987 | 0.17054
2019-05-07 05:15:00 | 0.601 | 241.527 | 0.983 | 314.461 | 1.512 | 312.2 | 1.742 | 308.433 | 8.21 | 890.083 | 80.405 | 0.1748
2019-05-07 05:30:00 | 1.443 | 244.553 | 1.611 | 265.004 | 2.196 | 280.067 | 2.45 | 292.933 | 7.946 | 890.35 | 79.792 | 0.19043
2019-05-07 05:45:00 | 0.904 | 244.553 | 1.577 | 264.898 | 2.031 | 280.067 | 2.375 | 291.9 | 7.93 | 889.662 | 80.971 | 0.1883
2019-05-07 06:00:00 | 2.175 | 263.467 | 2.947 | 274.82 | 3.304 | 286 | 3.518 | 284.7 | 8.21 | 889.638 | 83.371 | 1.2257
2019-05-07 06:15:00 | 2.856 | 282.907 | 3.638 | 282.72 | 3.86 | 288.867 | 4.081 | 288.667 | 8.531 | 889.988 | 81.221 | 2.1964
2019-05-07 06:30:00 | 3.135 | 285.12 | 3.81 | 282.98 | 4.029 | 289.367 | 4.279 | 288.933 | 8.244 | 889.808 | 79.776 | 2.5701
2019-05-07 06:45:00 | 3.115 | 282.587 | 4.016 | 281.376 | 4.248 | 286.3 | 4.382 | 282.433 | 8.244 | 890.142 | 78.891 | 2.4387
2019-05-07 07:00:00 | 2.814 | 289.133 | 3.633 | 285.076 | 4.035 | 290.067 | 4.311 | 288.5 | 8.488 | 889.958 | 77.339 | 3.2025
2019-05-07 07:15:00 | 2.848 | 282.493 | 3.698 | 281.196 | 3.874 | 285.8 | 4.109 | 282.7 | 8.25 | 889.75 | 76.896 | 3.3979
2019-05-07 07:30:00 | 3.193 | 278.76 | 4.016 | 277.085 | 4.333 | 281.467 | 4.451 | 280.567 | 8.418 | 890.183 | 76.203 | 2.9417
2019-05-07 07:45:00 | 2.985 | 274.867 | 3.821 | 274.093 | 4.173 | 281 | 4.417 | 278.833 | 8.591 | 889.667 | 75.531 | 3.3468
2019-05-07 08:00:00 | 3.081 | 276.693 | 3.858 | 275.059 | 4.169 | 280.333 | 4.24 | 280.2 | 8.658 | 890.117 | 75.221 | 4.2606
2019-05-07 08:15:00 | 2.823 | 276.627 | 3.548 | 272.526 | 4.144 | 280.467 | 4.416 | 280 | 8.724 | 890.325 | 76.213 | 5.276
2019-05-07 08:30:00 | 3.615 | 284.493 | 4.221 | 280.33 | 4.584 | 284.967 | 4.88 | 283.9 | 8.891 | 890.167 | 72.421 | 5.8984
2019-05-07 08:45:00 | 3.143 | 282.827 | 3.538 | 279.187 | 4.015 | 284.5 | 4.32 | 283.633 | 9.524 | 889.933 | 70.784 | 4.9079
2019-05-07 09:00:00 | 3.31 | 286.48 | 3.582 | 282.191 | 3.936 | 288 | 4.018 | 287.033 | 9.433 | 889.975 | 68.955 | 2.7705
2019-05-07 09:15:00 | 3.231 | 281.733 | 3.424 | 275.964 | 3.639 | 279.633 | 3.664 | 277.467 | 9.412 | 889.833 | 67.099 | 2.3278
2019-05-07 09:30:00 | 3.439 | 282.92 | 3.774 | 277.716 | 3.995 | 280.967 | 4.088 | 278.033 | 9.982 | 889.75 | 65.413 | 3.2579
2019-05-07 09:45:00 | 3.688 | 282.733 | 3.841 | 279.676 | 4.149 | 286.467 | 4.248 | 285.033 | 9.783 | 889.392 | 63.947 | 4.1199
2019-05-07 10:00:00 | 3.998 | 292.573 | 4.379 | 288.623 | 4.57 | 293.1 | 4.716 | 290.267 | 10.189 | 889.517 | 62.837 | 4.932
2019-05-07 10:15:00 | 4.437 | 310.947 | 4.604 | 302.28 | 4.757 | 307.4 | 4.822 | 302.167 | 10.054 | 889.733 | 60.608 | 5.1999
2019-05-07 10:30:00 | 4.727 | 318.4 | 4.952 | 305.866 | 5.054 | 308.433 | 5.406 | 305.2 | 10.795 | 890.108 | 57.712 | 5.4643
2019-05-07 10:45:00 | 3.852 | 309 | 4.022 | 301.568 | 4.216 | 306.033 | 4.449 | 305.767 | 10.928 | 889.95 | 56.619 | 4.2982
2019-05-07 11:00:00 | 3.986 | 296 | 4.415 | 289.627 | 4.466 | 295.533 | 4.792 | 294.133 | 11.111 | 889.808 | 55.061 | 5.6
2019-05-07 11:15:00 | 4.154 | 330.4 | 4.4 | 317.7 | 4.36 | 319.833 | 4.403 | 315.733 | 11.228 | 889.983 | 54.971 | 6.0554
2019-05-07 11:30:00 | 3.837 | 288.44 | 3.777 | 281.935 | 3.828 | 289.333 | 3.909 | 289.9 | 11.349 | 889.792 | 54.565 | 5.261
2019-05-07 11:45:00 | 4.726 | 326.067 | 4.952 | 317.487 | 5.094 | 319.767 | 5.164 | 319.867 | 11.161 | 889.692 | 55.152 | 8.6526
2019-05-07 12:00:00 | 4.362 | 297.253 | 4.629 | 291.956 | 4.741 | 296.833 | 4.76 | 295.133 | 11.595 | 890.083 | 54.613 | 7.6812
2019-05-07 12:15:00 | 4.478 | 281.747 | 4.702 | 275.06 | 4.732 | 279.9 | 4.83 | 278.433 | 11.503 | 889.967 | 52.939 | 5.4977
2019-05-07 12:30:00 | 3.394 | 285.507 | 3.755 | 286.671 | 3.78 | 293.9 | 3.945 | 291.467 | 12.203 | 889.483 | 51.445 | 3.3752
2019-05-07 12:45:00 | 4.215 | 307.08 | 4.469 | 305.216 | 4.791 | 312.533 | 4.936 | 310.333 | 12.507 | 889.967 | 49.403 | 8.5673
2019-05-07 13:00:00 | 4.466 | 305.707 | 4.807 | 298.718 | 4.902 | 305.333 | 5.134 | 304.533 | 12.532 | 890.008 | 50.565 | 10.9342
2019-05-07 13:15:00 | 4.94 | 297.493 | 5.208 | 290.245 | 5.241 | 298.533 | 5.392 | 292.733 | 13.287 | 889.775 | 49.227 | 11.3072
2019-05-07 13:30:00 | 5.712 | 314.52 | 5.951 | 309.507 | 6.113 | 314.733 | 6.326 | 312.2 | 13.074 | 889.708 | 49.173 | 13.1839
2019-05-07 13:45:00 | 5.402 | 302.68 | 5.604 | 297.135 | 5.879 | 303.067 | 6.284 | 302.1 | 13.116 | 889.842 | 47.387 | 11.1332
2019-05-07 14:00:00 | 4.353 | 321.187 | 4.515 | 314.199 | 4.614 | 316.3 | 4.681 | 314.233 | 13.108 | 889.658 | 47.355 | 8.5467
2019-05-07 14:15:00 | 4.614 | 299.827 | 4.786 | 294.261 | 5.011 | 301.3 | 5.203 | 300 | 13.06 | 889.95 | 46.176 | 6.5187
2019-05-07 14:30:00 | 3.962 | 303.467 | 4.208 | 296.599 | 4.507 | 303.867 | 4.707 | 305.9 | 13.466 | 889.742 | 46.549 | 7.8354
2019-05-07 14:45:00 | 4.841 | 289.307 | 5.256 | 285.226 | 5.3 | 291.667 | 5.452 | 289.667 | 13.57 | 889.8 | 46.741 | 11.3804
2019-05-07 15:00:00 | 4.642 | 284.84 | 4.69 | 277.8 | 4.826 | 283.033 | 4.986 | 280.967 | 13.754 | 889.783 | 45.173 | 20.3222
2019-05-07 15:15:00 | 6.868 | 292.027 | 7.315 | 284.528 | 7.776 | 290.733 | 8.005 | 288 | 13.974 | 890.408 | 45.499 | 29.7635
2019-05-07 15:30:00 | 6.395 | 264.853 | 6.889 | 260.022 | 6.953 | 267.733 | 7.022 | 262.117 | 14.341 | 889.683 | 44.117 | 23.659
2019-05-07 15:45:00 | 5.837 | 272.507 | 6.347 | 263.519 | 6.433 | 268.417 | 6.755 | 264.4 | 14.658 | 889.308 | 41.245 | 23.4011
2019-05-07 16:00:00 | 5.012 | 273.92 | 5.535 | 270.184 | 5.61 | 273.017 | 5.411 | 265.383 | 14.604 | 889.858 | 41.275 | 22.5378
2019-05-07 16:15:00 | 5.792 | 309.2 | 6.128 | 304.562 | 6.289 | 310.567 | 6.112 | 306.7 | 14.774 | 889.567 | 41.301 | 24.6254
2019-05-07 16:30:00 | 6.046 | 282.927 | 6.174 | 278.831 | 6.06 | 286.167 | 6.396 | 283.233 | 15.162 | 889.617 | 40.648 | 21.6261
2019-05-07 16:45:00 | 6.066 | 271.787 | 6.302 | 267.828 | 6.477 | 273 | 6.598 | 267.617 | 14.967 | 889.792 | 41.168 | 20.5062
2019-05-07 17:00:00 | 6.589 | 263.053 | 7.296 | 257.332 | 7.454 | 263.75 | 7.217 | 260.467 | 15.231 | 889.767 | 40.867 | 20.3584
2019-05-07 17:15:00 | 5.316 | 281.667 | 5.616 | 276.244 | 5.556 | 279.467 | 5.588 | 275.733 | 14.608 | 889.925 | 42.053 | 16.0716
2019-05-07 17:30:00 | 4.977 | 253.74 | 5.469 | 248.104 | 5.586 | 254.45 | 5.684 | 251.317 | 14.774 | 889.842 | 42.288 | 11.0273
2019-05-07 17:45:00 | 4.808 | 258.173 | 5.047 | 254.905 | 5.217 | 259.95 | 5.097 | 254.333 | 15.079 | 889.583 | 41.037 | 8.1879
2019-05-07 18:00:00 | 4.203 | 266.22 | 4.524 | 263.436 | 4.548 | 268.4 | 4.658 | 262.583 | 15.466 | 889.517 | 38.845 | 5.9801
2019-05-07 18:15:00 | 3.462 | 272.673 | 3.751 | 273.445 | 3.906 | 280 | 3.718 | 277.067 | 15.644 | 889.8 | 37.464 | 2.3335
2019-05-07 18:30:00 | 3.386 | 266.613 | 3.384 | 267.341 | 3.657 | 272.383 | 3.74 | 272.733 | 15.524 | 889.55 | 38.008 | 1.591
2019-05-07 18:45:00 | 2.097 | 261.267 | 1.915 | 261.288 | 2.133 | 272.367 | 2.351 | 275.533 | 15.854 | 889.7 | 37.552 | 0.73757
2019-05-07 19:00:00 | 1.766 | 304.64 | 1.802 | 319.534 | 2.004 | 323.233 | 2.197 | 323.533 | 15.922 | 889.75 | 38.317 | 1.4311
2019-05-07 19:15:00 | 5.446 | 330.573 | 5.715 | 336.066 | 5.75 | 340.7 | 5.716 | 340.9 | 15.726 | 889.617 | 37.512 | 2.8394
2019-05-07 19:30:00 | 1.917 | 66.003 | 2.135 | 59.924 | 2.203 | 51.5 | 2.466 | 46.6 | 14.941 | 889.833 | 42.624 | 0.27925
2019-05-07 19:45:00 | 1.426 | 101.1 | 0.405 | 89.875 | 0 | 38.4 | 0.037 | 37.167 | 14.724 | 889.867 | 42.741 | 0.24444
2019-05-07 20:00:00 | 1.008 | 58.587 | 0.446 | 57.351 | 0.663 | 67.333 | 0.504 | 38.033 | 15.252 | 889.783 | 41.611 | 0.17622
2019-05-07 20:15:00 | 1.884 | 82.233 | 1.942 | 78.034 | 2.183 | 81.6 | 2.292 | 67.233 | 15.008 | 889.825 | 41.344 | 4.2542
2019-05-07 20:30:00 | 7.011 | 22.652 | 7.439 | 24.154 | 7.646 | 20.533 | 7.731 | 6.633 | 14.874 | 889.675 | 46.091 | 22.0979
2019-05-07 20:45:00 | 6.583 | 2.778 | 7.594 | 60.619 | 7.298 | 13.967 | 7.443 | 29.867 | 13.441 | 889.942 | 54.283 | 17.9311
2019-05-07 21:00:00 | 5.608 | 15.25 | 5.714 | 11.033 | 6.006 | 15.5 | 5.745 | 11.3 | 13.053 | 889.992 | 57.173 | 17.0294
2019-05-07 21:15:00 | 6.858 | 13.012 | 7.191 | 9.461 | 7.902 | 13.6 | 7.806 | 10.9 | 13.078 | 889.675 | 55.989 | 21.052
2019-05-07 21:30:00 | 3.514 | 162.545 | 3.913 | 235.814 | 4.267 | 211.6 | 4.382 | 266.833 | 12.407 | 889.617 | 61.52 | 5.0848
2019-05-07 21:45:00 | 3.614 | 260.42 | 4.397 | 260.934 | 4.622 | 268.033 | 4.517 | 266.033 | 12.345 | 890.058 | 62.688 | 1.0147
2019-05-07 22:00:00 | 3.357 | 206.3 | 3.325 | 223.886 | 3.364 | 232.633 | 3.092 | 232.833 | 12.58 | 889.992 | 63.712 | 0.24586
2019-05-07 22:15:00 | 2.139 | 191.913 | 2.465 | 202.79 | 2.38 | 219.033 | 1.968 | 216.967 | 12.361 | 889.692 | 67.819 | 0.19541
2019-05-07 22:30:00 | 2.03 | 169.087 | 2.214 | 200.26 | 1.757 | 219.967 | 1.637 | 217 | 12.061 | 890.217 | 69.451 | 0.22028
2019-05-07 22:45:00 | 2.841 | 155.7 | 2.283 | 158.204 | 1.457 | 156.167 | 1.015 | 185.933 | 12.336 | 889.6 | 65.429 | 0.35813
2019-05-07 23:00:00 | 2.254 | 180.367 | 2.606 | 177.903 | 1.743 | 168.833 | 0.903 | 89.533 | 12.764 | 890.083 | 63.883 | 1.5462
2019-05-07 23:15:00 | 3.415 | 194.893 | 3.487 | 190.557 | 3.67 | 191.467 | 3.934 | 185 | 11.849 | 890.033 | 71.2 | 4.0509
2019-05-07 23:30:00 | 3.918 | 223.96 | 4.337 | 217.634 | 4.68 | 218.6 | 4.607 | 210.067 | 11.916 | 889.867 | 72.981 | 4.1106
2019-05-07 23:45:00 | 4.293 | 227.16 | 5.003 | 219.324 | 5.065 | 217.733 | 4.982 | 206.767 | 12.19 | 889.983 | 72.864 | 9.5095