## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-08 00:00:00 | 5.892 | 232.52 | 6.688 | 227.993 | 6.678 | 230.133 | 6.368 | 222.2 | 11.37 | 890.042 | 73.44 | 18.2267
2019-05-08 00:15:00 | 5.691 | 236.133 | 6.958 | 230.064 | 7.026 | 232.867 | 6.958 | 226.1 | 11.128 | 889.875 | 72.533 | 18.3234
2019-05-08 00:30:00 | 5.197 | 236.033 | 6.294 | 230.725 | 6.551 | 236.8 | 6.458 | 232.3 | 11.261 | 889.892 | 70.027 | 14.7137
2019-05-08 00:45:00 | 4.753 | 228.56 | 5.904 | 227.232 | 6.168 | 234 | 5.962 | 229.967 | 11.257 | 889.8 | 70.528 | 10.5668
2019-05-08 01:00:00 | 4.268 | 225.033 | 5.416 | 223.309 | 5.718 | 229.333 | 5.655 | 226 | 11.045 | 889.917 | 70.944 | 8.7393
2019-05-08 01:15:00 | 3.252 | 212.9 | 4.315 | 215.165 | 4.938 | 221.6 | 4.963 | 218.033 | 10.761 | 889.783 | 72.491 | 12.182
2019-05-08 01:30:00 | 3.539 | 227.333 | 4.679 | 219.952 | 5.659 | 223.7 | 5.871 | 220.267 | 10.728 | 890.2 | 73.568 | 21.7988
2019-05-08 01:45:00 | 4.976 | 226.9 | 6.685 | 222.545 | 7.054 | 230.733 | 6.695 | 229.967 | 10.811 | 890 | 73.483 | 21.5202
2019-05-08 02:00:00 | 4.623 | 222.9 | 5.659 | 222.579 | 6.16 | 227.5 | 6.127 | 223.733 | 10.895 | 889.767 | 71.659 | 19.5939
2019-05-08 02:15:00 | 5.242 | 222.4 | 6.506 | 221.574 | 6.64 | 228.1 | 6.39 | 225.6 | 10.928 | 890.042 | 72.533 | 20.5631
2019-05-08 02:30:00 | 4.959 | 223.58 | 6.267 | 224.008 | 6.81 | 230.367 | 6.698 | 228.433 | 10.091 | 889.708 | 73.184 | 19.9534
2019-05-08 02:45:00 | 4.862 | 228.433 | 6.277 | 228.522 | 6.617 | 235.133 | 6.431 | 231.033 | 10.264 | 889.95 | 73.589 | 19.316
2019-05-08 03:00:00 | 5.19 | 229.727 | 6.403 | 231.207 | 6.653 | 238.267 | 6.492 | 235.367 | 9.672 | 889.683 | 73.195 | 21.4364
2019-05-08 03:15:00 | 5.528 | 244.067 | 6.234 | 245.971 | 6.246 | 254.567 | 6.105 | 253.567 | 9.699 | 889.65 | 69.824 | 21.3916
2019-05-08 03:30:00 | 5.238 | 244.12 | 5.454 | 247.486 | 5.511 | 256.467 | 5.316 | 255.083 | 10.105 | 889.683 | 69.344 | 17.9255
2019-05-08 03:45:00 | 4.92 | 234.093 | 5.69 | 242.027 | 5.743 | 252.067 | 5.707 | 250.917 | 9.162 | 889.925 | 69.888 | 16.4169
2019-05-08 04:00:00 | 4.67 | 231.66 | 5.714 | 235.425 | 5.767 | 244.367 | 5.544 | 241.667 | 9.162 | 889.817 | 72.107 | 19.3573
2019-05-08 04:15:00 | 5.001 | 234.68 | 6.152 | 238.379 | 6.278 | 247.667 | 5.905 | 245.267 | 9.183 | 890.233 | 72.683 | 15.2395
2019-05-08 04:30:00 | 4.301 | 224.107 | 5.052 | 233.411 | 5.126 | 247.033 | 5.012 | 246.667 | 8.666 | 890.092 | 74.069 | 12.8492
2019-05-08 04:45:00 | 4.582 | 218.1 | 5.452 | 227.965 | 5.258 | 242.633 | 5.065 | 244.2 | 8.19 | 889.6 | 76.469 | 16.6003
2019-05-08 05:00:00 | 4.368 | 221.78 | 5.606 | 228.521 | 5.526 | 238 | 5.152 | 238.6 | 7.933 | 889.742 | 76.981 | 18.0363
2019-05-08 05:15:00 | 4.851 | 222.74 | 6.01 | 230.326 | 6.142 | 239.8 | 5.782 | 239.3 | 7.786 | 889.592 | 77.248 | 17.4821
2019-05-08 05:30:00 | 4.623 | 232.073 | 5.575 | 237.918 | 5.786 | 250 | 5.789 | 249.55 | 7.853 | 889.7 | 75.829 | 14.9958
2019-05-08 05:45:00 | 3.967 | 217.353 | 5.192 | 229.375 | 5.12 | 241.967 | 4.947 | 242.467 | 7.796 | 889.733 | 77.024 | 15.5131
2019-05-08 06:00:00 | 5.27 | 212.767 | 5.755 | 220.314 | 5.565 | 232.8 | 5.14 | 233.933 | 7.489 | 889.892 | 78.24 | 15.8648
2019-05-08 06:15:00 | 5.3 | 219.527 | 6.034 | 223.48 | 5.922 | 232 | 5.282 | 231.3 | 7.459 | 889.992 | 77.152 | 16.4418
2019-05-08 06:30:00 | 4.793 | 222.1 | 6.055 | 226.71 | 5.944 | 234.933 | 5.373 | 232.6 | 7.389 | 889.433 | 76.736 | 17.4636
2019-05-08 06:45:00 | 5.342 | 217.88 | 6.476 | 221.611 | 6.41 | 230.267 | 5.882 | 227.9 | 7.499 | 889.725 | 77.109 | 17.777
2019-05-08 07:00:00 | 5.014 | 227.187 | 6.111 | 229.324 | 6.259 | 238.133 | 5.936 | 235.533 | 7.863 | 889.608 | 75.36 | 19.1682
2019-05-08 07:15:00 | 4.967 | 227.02 | 6.358 | 230.456 | 6.442 | 238.8 | 6.192 | 235.033 | 8.548 | 889.883 | 72.651 | 19.3295
2019-05-08 07:30:00 | 4.963 | 229.52 | 6.051 | 232.979 | 6.193 | 242.133 | 6.133 | 240.233 | 9.087 | 889.942 | 70.027 | 18.7966
2019-05-08 07:45:00 | 4.404 | 232.367 | 5.669 | 234.741 | 6.042 | 244.9 | 5.89 | 244.233 | 9.783 | 890.217 | 65.515 | 18.4797
2019-05-08 08:00:00 | 4.577 | 229.827 | 5.357 | 231.018 | 5.852 | 239.833 | 5.74 | 238.8 | 10.607 | 889.725 | 62.773 | 17.7116
2019-05-08 08:15:00 | 4.865 | 232.7 | 5.147 | 228.647 | 5.358 | 234.633 | 5.378 | 230.8 | 11.261 | 889.942 | 58.293 | 16.7211
2019-05-08 08:30:00 | 4.467 | 235.653 | 4.403 | 233.742 | 4.612 | 241.367 | 4.669 | 239.5 | 12.37 | 889.733 | 55.349 | 13.3636
2019-05-08 08:45:00 | 4.555 | 248.927 | 4.843 | 244.747 | 5.132 | 252.583 | 5.223 | 246.483 | 13.206 | 889.833 | 50.784 | 12.0469
2019-05-08 09:00:00 | 5.712 | 267.567 | 5.907 | 260.027 | 5.898 | 265.5 | 5.701 | 258.567 | 13.754 | 890.15 | 48.976 | 12.2395
2019-05-08 09:15:00 | 4.73 | 270.653 | 5.005 | 266.126 | 5.114 | 271.867 | 5.149 | 266.283 | 13.554 | 890.025 | 49.584 | 11.5886
2019-05-08 09:30:00 | 4.661 | 280.693 | 4.941 | 275.49 | 4.871 | 277.4 | 4.963 | 274.05 | 13.633 | 889.8 | 48.619 | 10.8049
2019-05-08 09:45:00 | 5.26 | 286.587 | 5.727 | 281.353 | 5.941 | 285.133 | 6.276 | 281.333 | 13.766 | 889.9 | 48.432 | 10.4936
2019-05-08 10:00:00 | 4.86 | 299.147 | 5.166 | 291.993 | 5.042 | 296.067 | 5.403 | 288.967 | 14.066 | 889.633 | 47.573 | 9.7696
2019-05-08 10:15:00 | 5.43 | 302 | 5.591 | 298.215 | 5.83 | 303.8 | 6.056 | 301.233 | 14.574 | 889.808 | 44.235 | 7.7899
2019-05-08 10:30:00 | 4.587 | 310.533 | 5.096 | 302.909 | 5.234 | 307.8 | 5.455 | 307.967 | 14.591 | 889.75 | 44.405 | 6.0761
2019-05-08 10:45:00 | 4.411 | 317.24 | 4.727 | 316.679 | 4.652 | 318.967 | 5.035 | 313.367 | 15.331 | 889.442 | 40.304 | 4.6983
2019-05-08 11:00:00 | 4.134 | 277.053 | 4.356 | 280.332 | 4.601 | 292.667 | 4.926 | 323 | 15.794 | 889.933 | 37.472 | 4.2264
2019-05-08 11:15:00 | 3.119 | 292.367 | 3.36 | 303.614 | 3.483 | 303.7 | 3.707 | 312.067 | 16.314 | 889.233 | 36.072 | 2.2056
2019-05-08 11:30:00 | 4.37 | 140.388 | 4.923 | 289.067 | 5.048 | 268.4 | 5.11 | 297.167 | 15.82 | 889.617 | 35.325 | 1.2279
2019-05-08 11:45:00 | 3.764 | 284.32 | 3.558 | 282.47 | 3.261 | 298.367 | 3.686 | 310.3 | 16.276 | 889.917 | 34.32 | 0.81573
2019-05-08 12:00:00 | 3.429 | 319.027 | 3.63 | 316.514 | 3.773 | 322.267 | 3.866 | 326.6 | 16.531 | 889.667 | 32.587 | 2.5936
2019-05-08 12:15:00 | 1.742 | 237.13 | 2.299 | 247.314 | 2.45 | 247.767 | 2.646 | 282.533 | 16.714 | 889.75 | 32.739 | 2.4991
2019-05-08 12:30:00 | 3.251 | 170.702 | 3.056 | 174.989 | 3.371 | 177.683 | 3.411 | 189.7 | 17.264 | 890 | 31.357 | 1.5362
2019-05-08 12:45:00 | 2.351 | 93.772 | 2.389 | 87.361 | 2.708 | 63.934 | 2.773 | 44.117 | 16.864 | 889.767 | 32.091 | 1.0872
2019-05-08 13:00:00 | 2.449 | 203.597 | 1.736 | 180.851 | 1.63 | 152.147 | 2.03 | 153.2 | 16.998 | 889.85 | 31.824 | 0.4171
2019-05-08 13:15:00 | 3.099 | 109.79 | 3.22 | 199.088 | 3.435 | 119.235 | 3.068 | 121 | 17.694 | 889.467 | 29.093 | 0.5045
2019-05-08 13:30:00 | 2.817 | 54.889 | 2.778 | 36.842 | 2.885 | 39.1 | 3.098 | 33.667 | 17.973 | 889.75 | 29.157 | 0.3496
2019-05-08 13:45:00 | 2.994 | 43.888 | 3.193 | 28.837 | 3.248 | 29.8 | 3.378 | 34.3 | 18.606 | 890.1 | 27.915 | 20.2625
2019-05-08 14:00:00 | 8.055 | 73.903 | 8.098 | 63.698 | 8.406 | 68.633 | 7.959 | 59.1 | 16.065 | 889.925 | 38.709 | 18.6161
2019-05-08 14:15:00 | 5.035 | 132.593 | 4.928 | 123.505 | 3.795 | 126.633 | 3.161 | 135.367 | 15.626 | 889.65 | 35.952 | 6.8733
2019-05-08 14:30:00 | 3.249 | 199.933 | 3.209 | 200.633 | 3.22 | 203.267 | 3.348 | 200.133 | 16.31 | 889.8 | 33.627 | 1.2968
2019-05-08 14:45:00 | 2.55 | 248.893 | 2.616 | 244.664 | 2.756 | 254.1 | 2.774 | 251.5 | 17.989 | 889.65 | 29.229 | 0.88181
2019-05-08 15:00:00 | 1.87 | 219.05 | 1.782 | 188.032 | 1.99 | 203.485 | 2.104 | 199.994 | 18.864 | 889.767 | 26.552 | 1.1149
2019-05-08 15:15:00 | 2.093 | 132.9 | 2.246 | 126.216 | 2.351 | 132.7 | 2.224 | 123.067 | 19.394 | 889.65 | 25.349 | 0.4974
2019-05-08 15:30:00 | 1.706 | 168.29 | 1.731 | 185.804 | 1.869 | 203.567 | 1.68 | 235.6 | 19.973 | 889.433 | 23.875 | 1.0523
2019-05-08 15:45:00 | 4.386 | 328.787 | 4.73 | 322.748 | 4.849 | 330.233 | 4.976 | 332.6 | 19.285 | 889.517 | 22.325 | 2.5467
2019-05-08 16:00:00 | 5.248 | 47.081 | 5.1 | 45.512 | 5.117 | 47.233 | 5.225 | 37.9 | 19.831 | 889.617 | 21.771 | 1.8027
2019-05-08 16:15:00 | 1.497 | 48.309 | 1.563 | 41.885 | 1.744 | 48.867 | 2.186 | 50.233 | 19.906 | 890.217 | 21.904 | 0.35173
2019-05-08 16:30:00 | 2.743 | 301.52 | 2.809 | 302.959 | 2.807 | 311.367 | 2.736 | 312.033 | 19.202 | 889.833 | 21.331 | 0.51587
2019-05-08 16:45:00 | 2.317 | 197.137 | 1.943 | 175.4 | 1.623 | 100.7 | 1.882 | 164.3 | 20.385 | 889.4 | 19.408 | 0.19256
2019-05-08 17:00:00 | 1.268 | 187.74 | 0.946 | 182.623 | 1.073 | 87.636 | 1.363 | 190.467 | 20.444 | 889.633 | 17.776 | 0.11085
2019-05-08 17:15:00 | 3.698 | 30.544 | 3.797 | 25.469 | 3.874 | 25.233 | 3.923 | 24.933 | 20.877 | 889.467 | 18.619 | 7.9853
2019-05-08 17:30:00 | 10.425 | 195.407 | 11.023 | 189.095 | 11.051 | 191.5 | 11.566 | 191.267 | 18.939 | 889.65 | 32.747 | 47.8439
2019-05-08 17:45:00 | 9.456 | 181.453 | 10.344 | 178.672 | 10.814 | 183.167 | 11.099 | 179.533 | 17.152 | 889.967 | 36.464 | 67.3042
2019-05-08 18:00:00 | 9.989 | 198.9 | 10.24 | 195.527 | 10.257 | 199.933 | 10.329 | 196 | 16.814 | 889.483 | 43.968 | 39.6745
2019-05-08 18:15:00 | 8.764 | 210.14 | 9.116 | 207.747 | 9.34 | 211.467 | 9.671 | 208 | 17.364 | 889.85 | 36.363 | 9.0043
2019-05-08 18:30:00 | 6.553 | 206.28 | 7.244 | 203.708 | 7.492 | 206 | 7.666 | 201.6 | 17.702 | 889.85 | 37.483 | 6.7085
2019-05-08 18:45:00 | 6.777 | 174.993 | 7.036 | 169.443 | 6.98 | 168.733 | 7.164 | 163.7 | 17.314 | 889.4 | 38.848 | 5.6405
2019-05-08 19:00:00 | 6.319 | 140.993 | 6.296 | 132.865 | 5.886 | 137.667 | 5.468 | 132.067 | 16.564 | 889.783 | 35.339 | 4.9391
2019-05-08 19:15:00 | 3.76 | 99.13 | 3.811 | 91.149 | 4.034 | 87.633 | 3.666 | 79.867 | 15.799 | 889.733 | 38 | 5.9524
2019-05-08 19:30:00 | 3.865 | 274.048 | 4.253 | 302.638 | 4.111 | 259.6 | 3.881 | 296.434 | 15.535 | 889.942 | 45.995 | 7.0502
2019-05-08 19:45:00 | 7.888 | 113.907 | 7.36 | 105.212 | 7.005 | 109.033 | 6.914 | 101 | 14.274 | 890.308 | 47.477 | 13.4787
2019-05-08 20:00:00 | 7.046 | 101.763 | 7.107 | 93.079 | 6.652 | 100.033 | 6.445 | 95.167 | 14.608 | 889.883 | 40.773 | 15.0384
2019-05-08 20:15:00 | 4.002 | 122.933 | 4.075 | 114.056 | 3.729 | 109.6 | 3.718 | 107.333 | 15.454 | 889.45 | 36.923 | 31.2756
2019-05-08 20:30:00 | 6.596 | 145.293 | 6.859 | 145.137 | 6.989 | 151.667 | 7.123 | 148.133 | 14.333 | 889.867 | 47.125 | 53.0722
2019-05-08 20:45:00 | 6.101 | 150.033 | 6.622 | 146.305 | 6.186 | 151 | 6.204 | 150.367 | 13.808 | 889.783 | 51.221 | 53.0395
2019-05-08 21:00:00 | 6.072 | 194.74 | 6.761 | 188.791 | 7.151 | 191.4 | 7.49 | 184.6 | 13.447 | 889.708 | 52.512 | 31.007
2019-05-08 21:15:00 | 6.657 | 176.48 | 7.352 | 173.289 | 7.555 | 179.033 | 8.062 | 176.133 | 13.464 | 889.958 | 52.128 | 31.9506
2019-05-08 21:30:00 | 6.642 | 226.733 | 7.056 | 221.019 | 7.403 | 223.967 | 7.603 | 215.967 | 12.941 | 889.817 | 53.685 | 46.2195
2019-05-08 21:45:00 | 8.86 | 218.607 | 10.11 | 214.015 | 10.705 | 217.967 | 11.186 | 213.2 | 12.651 | 889.408 | 57.205 | 67.9252
2019-05-08 22:00:00 | 8.522 | 196.5 | 10.149 | 194.909 | 11.18 | 198.933 | 12.021 | 193.833 | 12.145 | 889.65 | 57.685 | 73.9721
2019-05-08 22:15:00 | 7.779 | 213.273 | 8.904 | 209.687 | 9.673 | 213.033 | 10.224 | 209.1 | 12.049 | 889.583 | 56.939 | 62.9562
2019-05-08 22:30:00 | 7.476 | 221.187 | 8.662 | 217.749 | 9.483 | 220.7 | 9.912 | 216.033 | 12.116 | 889.742 | 56.928 | 66.2547
2019-05-08 22:45:00 | 8.664 | 219.353 | 10.148 | 215.332 | 10.905 | 218.667 | 11.44 | 213.5 | 12.028 | 890.117 | 57.408 | 62.1369
2019-05-08 23:00:00 | 7.014 | 225.747 | 8.451 | 221.856 | 9.395 | 223.967 | 9.871 | 218.767 | 11.886 | 889.75 | 57.739 | 52.6303
2019-05-08 23:15:00 | 7.328 | 222.14 | 8.522 | 218.579 | 9.359 | 222.667 | 9.738 | 217.8 | 11.657 | 889.983 | 59.115 | 54.0969
2019-05-08 23:30:00 | 7.211 | 224.187 | 8.609 | 221.396 | 9.595 | 225.833 | 10.012 | 221.3 | 11.586 | 889.7 | 59.381 | 48.5971
2019-05-08 23:45:00 | 6.515 | 227.733 | 7.685 | 224.452 | 8.507 | 227.033 | 8.955 | 222.533 | 11.461 | 889.933 | 57.739 | 42.899