## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-09 00:00:00 | 5.874 | 220.347 | 7.388 | 216.398 | 8.356 | 220.033 | 8.696 | 215.867 | 11.803 | 890.217 | 57.291 | 34.709
2019-05-09 00:15:00 | 5.684 | 212.767 | 7.453 | 212.312 | 7.978 | 217.067 | 8.229 | 215.133 | 11.757 | 890.4 | 57.472 | 28.7467
2019-05-09 00:30:00 | 5.581 | 216.5 | 7.365 | 214.654 | 7.886 | 219.333 | 7.634 | 215.867 | 11.349 | 889.542 | 58.784 | 29.9483
2019-05-09 00:45:00 | 5.719 | 218.467 | 7.549 | 216.974 | 7.989 | 222.467 | 8.016 | 219.3 | 10.878 | 889.95 | 59.115 | 30.1294
2019-05-09 01:00:00 | 5.732 | 213.633 | 7.543 | 212.115 | 7.891 | 218.167 | 8.031 | 215.667 | 11.311 | 890.042 | 59.413 | 28.1804
2019-05-09 01:15:00 | 5.32 | 223.267 | 6.781 | 224.139 | 7.189 | 232.467 | 7.292 | 229.567 | 10.995 | 889.842 | 59.819 | 24.0534
2019-05-09 01:30:00 | 5.233 | 208.027 | 6.616 | 211.808 | 6.8 | 219.1 | 6.533 | 218.433 | 10.657 | 889.8 | 61.184 | 24.4975
2019-05-09 01:45:00 | 5.596 | 215.433 | 7.008 | 218.162 | 7.224 | 226 | 7.058 | 223.467 | 10.728 | 889.767 | 60.245 | 24.3554
2019-05-09 02:00:00 | 5.522 | 214.747 | 6.708 | 218.574 | 7.157 | 225.7 | 7.23 | 223.2 | 10.566 | 889.467 | 60.203 | 19.4361
2019-05-09 02:15:00 | 4.481 | 199.547 | 5.983 | 207.113 | 6.669 | 216.533 | 6.622 | 216.1 | 10.245 | 889.85 | 61.963 | 16.5171
2019-05-09 02:30:00 | 5.338 | 197.213 | 5.923 | 206.529 | 6.387 | 215.3 | 6.163 | 214.533 | 9.968 | 889.983 | 64.213 | 17.1538
2019-05-09 02:45:00 | 5.658 | 199.287 | 6.252 | 206.821 | 6.726 | 214.7 | 6.928 | 214.7 | 9.845 | 890.275 | 63.584 | 21.4058
2019-05-09 03:00:00 | 5.939 | 205.8 | 6.69 | 210.124 | 7.192 | 218.667 | 7.199 | 217.967 | 9.649 | 889.725 | 63.445 | 25.4205
2019-05-09 03:15:00 | 4.746 | 213.22 | 6.922 | 215.855 | 7.172 | 225.267 | 7.002 | 222.7 | 9.828 | 889.358 | 63.648 | 25.132
2019-05-09 03:30:00 | 5.496 | 221.067 | 7.126 | 223.089 | 7.094 | 232.3 | 7.018 | 229.067 | 9.412 | 889.942 | 63.413 | 23.1588
2019-05-09 03:45:00 | 5.053 | 234.76 | 6.431 | 234.712 | 6.798 | 243.7 | 6.805 | 240.833 | 9.872 | 889.658 | 61.856 | 20.0003
2019-05-09 04:00:00 | 4.702 | 226.093 | 5.747 | 232.196 | 6.502 | 241.233 | 6.418 | 239.767 | 9.72 | 890.05 | 61.472 | 22.6578
2019-05-09 04:15:00 | 5.739 | 213.707 | 6.502 | 220.249 | 6.705 | 232.9 | 6.506 | 235.2 | 9.141 | 889.708 | 63.947 | 29.6072
2019-05-09 04:30:00 | 5.296 | 230.513 | 6.769 | 236.233 | 7.095 | 248.1 | 7.221 | 247.133 | 8.991 | 890.117 | 63.264 | 36.8905
2019-05-09 04:45:00 | 5.306 | 248.6 | 6.865 | 250.022 | 7.22 | 258.667 | 7.652 | 255.683 | 9.733 | 889.783 | 61.611 | 31.299
2019-05-09 05:00:00 | 4.7 | 244.867 | 5.941 | 248.309 | 6.556 | 258.467 | 7.307 | 259.483 | 9.81 | 889.767 | 61.035 | 29.0416
2019-05-09 05:15:00 | 4.933 | 245.76 | 7.063 | 254.33 | 8.108 | 259.967 | 8.494 | 259.983 | 10.114 | 890.133 | 60.608 | 28.5435
2019-05-09 05:30:00 | 6.65 | 257.913 | 8.276 | 255.728 | 8.896 | 263.367 | 9.269 | 260.4 | 10.757 | 889.767 | 56.731 | 29.0117
2019-05-09 05:45:00 | 6.443 | 257.073 | 8.329 | 257.309 | 9.058 | 264.4 | 9.535 | 262.267 | 11.145 | 889.917 | 56.203 | 36.6048
2019-05-09 06:00:00 | 7.615 | 258.913 | 8.926 | 257.064 | 9.559 | 263.967 | 10.012 | 259.133 | 10.859 | 889.7 | 55.888 | 42.9395
2019-05-09 06:15:00 | 7.819 | 261.28 | 9.324 | 257.623 | 9.82 | 263.867 | 10.139 | 261.25 | 10.961 | 889.925 | 55.504 | 47.3969
2019-05-09 06:30:00 | 8.267 | 257.767 | 9.875 | 256.412 | 10.593 | 261.933 | 10.689 | 259.05 | 11.078 | 889.983 | 55.957 | 49.2238
2019-05-09 06:45:00 | 7.543 | 261.967 | 9.124 | 257.106 | 9.527 | 262.6 | 9.665 | 258.767 | 11.228 | 889.717 | 55.728 | 43.3716
2019-05-09 07:00:00 | 7.408 | 257.293 | 8.851 | 254.928 | 9.35 | 259.567 | 9.728 | 258.867 | 11.261 | 889.65 | 54.725 | 42.931
2019-05-09 07:15:00 | 7.562 | 256.933 | 9.141 | 256.373 | 9.757 | 260.717 | 9.978 | 256.417 | 11.766 | 889.95 | 52.741 | 48.8628
2019-05-09 07:30:00 | 8.505 | 259.707 | 9.858 | 257.454 | 10.225 | 263.383 | 10.377 | 260.933 | 12.407 | 890.042 | 51.019 | 50.2221
2019-05-09 07:45:00 | 8.126 | 263.273 | 9.501 | 260.05 | 9.977 | 267.55 | 10.252 | 263.05 | 12.603 | 889.567 | 49.616 | 45.1515
2019-05-09 08:00:00 | 7.424 | 261.2 | 8.696 | 258.889 | 9.277 | 264.4 | 9.586 | 261.533 | 13.628 | 890.158 | 47.845 | 33.8649
2019-05-09 08:15:00 | 7.51 | 265.267 | 8.442 | 263.008 | 8.876 | 270.533 | 9.491 | 267.567 | 13.866 | 889.867 | 45.109 | 32.2974
2019-05-09 08:30:00 | 7.726 | 268.12 | 8.559 | 263.822 | 8.731 | 270.067 | 8.962 | 266.35 | 13.995 | 889.717 | 44.155 | 40.5336
2019-05-09 08:45:00 | 7.684 | 264.313 | 8.277 | 261.551 | 8.466 | 266.267 | 8.512 | 262.9 | 14.758 | 890.092 | 43.173 | 42.1842
2019-05-09 09:00:00 | 7.974 | 268.813 | 8.529 | 263.433 | 8.546 | 266.967 | 8.545 | 263.95 | 15.352 | 889.65 | 40.323 | 40.773
2019-05-09 09:15:00 | 7.873 | 274.84 | 8.284 | 271.802 | 8.371 | 276.967 | 8.655 | 271.9 | 16.056 | 889.95 | 38.752 | 41.193
2019-05-09 09:30:00 | 7.995 | 266.633 | 8.652 | 262.136 | 8.713 | 267.9 | 8.655 | 263.733 | 15.934 | 890.017 | 40.155 | 45.3619
2019-05-09 09:45:00 | 7.698 | 280.387 | 8.277 | 273.058 | 8.539 | 278.1 | 8.74 | 273.9 | 16.581 | 889.683 | 38.373 | 58.0682
2019-05-09 10:00:00 | 9.171 | 272.427 | 10.408 | 268.03 | 10.387 | 274.283 | 10.494 | 272.967 | 16.053 | 889.883 | 38.059 | 61.8229
2019-05-09 10:15:00 | 10.537 | 278.453 | 11.562 | 273.899 | 11.684 | 279.733 | 11.931 | 278.3 | 16.864 | 889.667 | 36.333 | 68.1505
2019-05-09 10:30:00 | 10.043 | 273.2 | 11.517 | 270.426 | 11.798 | 274.917 | 12.014 | 272.033 | 16.648 | 889.6 | 36.712 | 70.0775
2019-05-09 10:45:00 | 11.832 | 278.067 | 12.466 | 273.323 | 12.502 | 279.467 | 12.724 | 275.9 | 16.731 | 889.467 | 35.117 | 70.2196
2019-05-09 11:00:00 | 10.27 | 276.213 | 11.384 | 273.392 | 11.836 | 278.033 | 11.999 | 274.433 | 17.21 | 889.7 | 34 | 69.9382
2019-05-09 11:15:00 | 11.532 | 288.133 | 12.257 | 283.102 | 12.621 | 287.433 | 13.238 | 285.733 | 17.723 | 889.517 | 32.832 | 70.1159
2019-05-09 11:30:00 | 12.45 | 278.787 | 13.2 | 273.99 | 13.52 | 276.3 | 13.558 | 274.033 | 17.677 | 890.1 | 33.155 | 69.5425
2019-05-09 11:45:00 | 10.816 | 290.853 | 11.49 | 285.391 | 11.725 | 287.333 | 12.024 | 283.1 | 18.068 | 889.617 | 31.104 | 68.7161
2019-05-09 12:00:00 | 12.209 | 282.773 | 13.471 | 279.148 | 13.833 | 282.267 | 14.107 | 279.433 | 17.935 | 889.45 | 31.379 | 68.0701
2019-05-09 12:15:00 | 12.373 | 272.74 | 13.237 | 269.912 | 13.802 | 273.7 | 13.81 | 274.667 | 18.214 | 889.717 | 31.24 | 65.7629
2019-05-09 12:30:00 | 12.478 | 287.68 | 13.45 | 281.562 | 13.696 | 284 | 13.937 | 281.6 | 18.452 | 889.433 | 30.184 | 66.5446
2019-05-09 12:45:00 | 11.679 | 284.453 | 12.51 | 278.961 | 12.657 | 284.033 | 13.011 | 279.6 | 18.981 | 889.567 | 28.677 | 66.8387
2019-05-09 13:00:00 | 12.18 | 292.787 | 13.465 | 288.249 | 13.833 | 293.433 | 14.469 | 292.167 | 18.91 | 889.75 | 26.704 | 67.4683
2019-05-09 13:15:00 | 12.276 | 286.067 | 13.196 | 281.406 | 13.378 | 284.267 | 13.764 | 284.067 | 19.027 | 890.05 | 26.744 | 67.8591
2019-05-09 13:30:00 | 11.614 | 285.693 | 12.358 | 284.851 | 12.424 | 290.1 | 12.888 | 288.9 | 19.189 | 889.7 | 24.493 | 65.1277
2019-05-09 13:45:00 | 10.495 | 274.927 | 11.142 | 272.044 | 11.426 | 275.367 | 11.734 | 272.933 | 19.868 | 889.9 | 24.136 | 57.0585
2019-05-09 14:00:00 | 9.24 | 300 | 10.025 | 295.16 | 10.668 | 297.767 | 10.986 | 294.033 | 19.452 | 889.567 | 22.939 | 65.1149
2019-05-09 14:15:00 | 11.322 | 293.027 | 12.053 | 285.781 | 12.369 | 290.5 | 12.614 | 288.8 | 19.818 | 890.05 | 22.059 | 63.0912
2019-05-09 14:30:00 | 12.157 | 279.067 | 13.079 | 276.523 | 13.265 | 280.6 | 13.781 | 278.9 | 20.014 | 889.617 | 21.901 | 62.9583
2019-05-09 14:45:00 | 11.373 | 302.627 | 12.329 | 299.212 | 12.653 | 302.6 | 13.168 | 298.2 | 19.648 | 889.583 | 22.147 | 47.4268
2019-05-09 15:00:00 | 8.282 | 307.84 | 8.619 | 301.1 | 8.718 | 304.267 | 9.023 | 300.433 | 19.406 | 889.6 | 21.877 | 45.2375
2019-05-09 15:15:00 | 10.506 | 289.6 | 11.265 | 283.291 | 11.626 | 286.667 | 12.016 | 283.333 | 19.76 | 889.95 | 21.939 | 58.4327
2019-05-09 15:30:00 | 10.29 | 290.693 | 11.504 | 285.745 | 11.897 | 286.733 | 12.5 | 283.867 | 19.889 | 889.5 | 21.827 | 61.4718
2019-05-09 15:45:00 | 13.357 | 309.2 | 14.376 | 302.39 | 14.963 | 309.3 | 15.436 | 308.2 | 20.714 | 889.533 | 20.667 | 64.2601
2019-05-09 16:00:00 | 14.25 | 303.307 | 15.444 | 298.292 | 15.912 | 302.967 | 16.807 | 303.833 | 19.814 | 889.8 | 23.731 | 61.9046
2019-05-09 16:15:00 | 16.978 | 299.093 | 17.638 | 295.757 | 18.162 | 300.933 | 19.114 | 301.167 | 19.852 | 889.683 | 23.755 | 52.4121
2019-05-09 16:30:00 | 15.836 | 293.053 | 17.289 | 287.729 | 17.893 | 293.167 | 18.459 | 290.433 | 18.914 | 889.467 | 24.816 | 55.6132
2019-05-09 16:45:00 | 14.669 | 292.267 | 16.034 | 287.823 | 16.541 | 292.2 | 16.878 | 290.633 | 19.298 | 889.333 | 25.261 | 53.7117
2019-05-09 17:00:00 | 15.565 | 289.653 | 16.748 | 285.531 | 16.911 | 287.333 | 17.433 | 286.467 | 19.589 | 889.967 | 23.2 | 55.0725
2019-05-09 17:15:00 | 11.275 | 265.827 | 12.242 | 264.168 | 12.547 | 269.35 | 13 | 266.133 | 19.11 | 889.733 | 23.347 | 54.3818
2019-05-09 17:30:00 | 13.574 | 277.42 | 14.903 | 273.54 | 14.785 | 277.267 | 15.271 | 274.633 | 20.027 | 889.567 | 21.211 | 58.9557
2019-05-09 17:45:00 | 15.858 | 286.48 | 16.948 | 281.86 | 17.706 | 285.2 | 18.132 | 282.833 | 19.702 | 889.883 | 22.848 | 64.9344
2019-05-09 18:00:00 | 15.54 | 275.453 | 16.922 | 273.564 | 17.303 | 277.633 | 17.332 | 277.233 | 18.844 | 889.517 | 23.299 | 64.4818
2019-05-09 18:15:00 | 14.618 | 273.76 | 15.461 | 271.538 | 15.889 | 276.967 | 16.113 | 274.45 | 19.377 | 889.8 | 22.453 | 64.0441
2019-05-09 18:30:00 | 15.353 | 267.133 | 16.633 | 263.468 | 17.071 | 267.367 | 17.149 | 263.6 | 19.448 | 890.017 | 23.741 | 63.9595
2019-05-09 18:45:00 | 14.889 | 267.373 | 16.012 | 264.707 | 16.495 | 269.267 | 16.525 | 264.467 | 19.694 | 889.683 | 23.605 | 64.1208
2019-05-09 19:00:00 | 13.92 | 267.96 | 15.353 | 265.658 | 15.641 | 270.767 | 15.939 | 265.967 | 19.273 | 889.917 | 24.472 | 64.7859
2019-05-09 19:15:00 | 12.166 | 271.393 | 13.462 | 267.827 | 13.844 | 271.533 | 14.142 | 268.617 | 19.294 | 889.733 | 23.829 | 62.6166
2019-05-09 19:30:00 | 11.738 | 267.7 | 12.748 | 263.093 | 12.715 | 268.1 | 12.994 | 264.7 | 19.694 | 889.933 | 23.099 | 61.9408
2019-05-09 19:45:00 | 11.433 | 268.4 | 12.011 | 266.01 | 11.944 | 268.667 | 11.952 | 263.5 | 19.656 | 889.55 | 21.973 | 60.6767
2019-05-09 20:00:00 | 10.74 | 275.573 | 11.582 | 271.774 | 11.7 | 276.2 | 12.004 | 272.767 | 19.781 | 889.783 | 21.155 | 57.0287
2019-05-09 20:15:00 | 10.09 | 268.807 | 11.151 | 265.04 | 11.247 | 270.733 | 11.46 | 267.05 | 20.098 | 890.2 | 21.611 | 51.0784
2019-05-09 20:30:00 | 8.276 | 274.693 | 9.356 | 269.284 | 9.818 | 272.817 | 10.014 | 269.983 | 19.294 | 889.983 | 21.645 | 45.5502
2019-05-09 20:45:00 | 7.675 | 268.153 | 8.743 | 264.138 | 9.128 | 269.567 | 9.215 | 267.4 | 19.256 | 889.683 | 21.245 | 43.2501
2019-05-09 21:00:00 | 7.48 | 270.587 | 8.877 | 269.071 | 9.38 | 274.3 | 9.584 | 271.033 | 18.798 | 889.35 | 20.099 | 43.2877
2019-05-09 21:15:00 | 8.974 | 276.52 | 10.663 | 274.524 | 11.109 | 279.367 | 11.718 | 277.733 | 19.389 | 889.333 | 20.176 | 47.5156
2019-05-09 21:30:00 | 8.433 | 273.933 | 10.115 | 271.876 | 10.725 | 276.2 | 11.034 | 275.033 | 18.623 | 890.083 | 21.293 | 53.662
2019-05-09 21:45:00 | 9.646 | 277.8 | 10.847 | 275.197 | 11.602 | 279.133 | 12.038 | 278.233 | 18.706 | 889.767 | 22.357 | 64.1933
2019-05-09 22:00:00 | 9.094 | 275.32 | 10.938 | 273.465 | 11.945 | 277.633 | 12.514 | 274.433 | 18.244 | 890.017 | 22.883 | 68.397
2019-05-09 22:15:00 | 8.684 | 270.08 | 10.388 | 268.521 | 10.828 | 274.067 | 11.294 | 271.4 | 18.164 | 889.483 | 23.229 | 70.3269
2019-05-09 22:30:00 | 9.368 | 272.4 | 11.098 | 269.199 | 11.768 | 273.933 | 12.386 | 271.767 | 18.352 | 890 | 22.907 | 71.2123
2019-05-09 22:45:00 | 9.217 | 267.533 | 10.799 | 265.776 | 11.094 | 271.367 | 11.502 | 267.9 | 18.281 | 889.483 | 23.875 | 70.565
2019-05-09 23:00:00 | 9.244 | 263.027 | 10.58 | 260.707 | 11.238 | 266.033 | 11.463 | 262.2 | 17.864 | 889.517 | 25.005 | 71.056
2019-05-09 23:15:00 | 8.888 | 261.693 | 10.466 | 258.658 | 11.314 | 261.733 | 11.275 | 257.1 | 17.61 | 889.65 | 25.853 | 71.8397
2019-05-09 23:30:00 | 9.268 | 260.007 | 10.737 | 258.024 | 11.224 | 261.817 | 11.402 | 258.367 | 17.435 | 889.65 | 25.995 | 71.8241
2019-05-09 23:45:00 | 9.924 | 261.16 | 12.226 | 259.039 | 13.175 | 264.5 | 13.712 | 260.733 | 17.048 | 889.9 | 26.691 | 71.802