## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-10 00:00:00 | 9.426 | 259.467 | 11.26 | 256.845 | 11.813 | 261.95 | 11.899 | 259.617 | 17.031 | 889.517 | 26.984 | 69.4124
2019-05-10 00:15:00 | 8.847 | 257.12 | 10.472 | 254.975 | 11.416 | 260.517 | 11.868 | 255.8 | 16.814 | 890.017 | 27.765 | 67.7284
2019-05-10 00:30:00 | 9.63 | 253.427 | 10.999 | 253.43 | 11.925 | 257.55 | 12.23 | 255.25 | 16.431 | 889.8 | 28.152 | 67.6175
2019-05-10 00:45:00 | 8.721 | 256.293 | 10.479 | 253.93 | 11.383 | 259.883 | 11.916 | 255.95 | 16.448 | 889.983 | 29.019 | 69.8913
2019-05-10 01:00:00 | 9.809 | 259.54 | 11.214 | 257.233 | 11.884 | 262.6 | 12.464 | 260.033 | 16.314 | 890.133 | 29.36 | 70.469
2019-05-10 01:15:00 | 10.474 | 259.14 | 12.371 | 258.718 | 12.796 | 262.75 | 13.15 | 259.85 | 16.112 | 889.867 | 29.355 | 71.1157
2019-05-10 01:30:00 | 9.005 | 256.727 | 10.581 | 253.462 | 11.234 | 258.883 | 11.714 | 255.483 | 15.904 | 889.733 | 29.821 | 69.281
2019-05-10 01:45:00 | 9.334 | 253.613 | 11.295 | 251.8 | 12.38 | 256.567 | 12.654 | 252.583 | 15.495 | 889.9 | 31.184 | 67.7071
2019-05-10 02:00:00 | 10.858 | 250.913 | 12.767 | 247.877 | 13.648 | 254.45 | 14.047 | 250.417 | 15.728 | 889.883 | 31.536 | 66.7648
2019-05-10 02:15:00 | 10.386 | 250.24 | 12.111 | 250.18 | 13.026 | 254.683 | 13.452 | 250 | 15.172 | 889.483 | 31.981 | 67.2175
2019-05-10 02:30:00 | 9.964 | 249.487 | 11.68 | 249.604 | 12.477 | 255.95 | 13.197 | 251.583 | 15.29 | 889.567 | 32.755 | 67.0917
2019-05-10 02:45:00 | 9.857 | 251.28 | 12.188 | 250.796 | 13.36 | 255.383 | 13.943 | 253.017 | 14.891 | 890.017 | 33.592 | 69.5403
2019-05-10 03:00:00 | 10.793 | 255.287 | 12.748 | 252.274 | 13.66 | 257.833 | 14.305 | 255.167 | 14.774 | 889.633 | 34 | 70.6317
2019-05-10 03:15:00 | 11.148 | 256.26 | 13.001 | 253.131 | 14.29 | 257.917 | 14.951 | 253.9 | 14.891 | 889.467 | 33.632 | 70.673
2019-05-10 03:30:00 | 11.239 | 250.5 | 13.285 | 251.706 | 14.715 | 256.55 | 15.476 | 254.45 | 15.174 | 889.883 | 33.843 | 70.6673
2019-05-10 03:45:00 | 11.906 | 253.393 | 14.023 | 251.541 | 15.075 | 256.483 | 15.526 | 254.017 | 14.791 | 889.783 | 33.816 | 70.8456
2019-05-10 04:00:00 | 12.093 | 259.24 | 13.979 | 254.568 | 15.515 | 260.3 | 16.344 | 257.25 | 14.691 | 889.55 | 34.163 | 70.9735
2019-05-10 04:15:00 | 11.571 | 252.62 | 13.683 | 251.539 | 15 | 254.867 | 15.59 | 250.767 | 14.691 | 889.817 | 34.613 | 70.9565
2019-05-10 04:30:00 | 11.365 | 248.567 | 13.845 | 245.017 | 15.623 | 252.717 | 16.067 | 248.05 | 14.141 | 889.95 | 35.285 | 71.0005
2019-05-10 04:45:00 | 11.242 | 246.787 | 13.192 | 244.695 | 14.387 | 250.2 | 14.979 | 245.967 | 14.437 | 889.633 | 36.251 | 71.0176
2019-05-10 05:00:00 | 9.949 | 243.473 | 12.128 | 241.042 | 13.689 | 247.467 | 14.192 | 242.933 | 14.02 | 889.45 | 36.821 | 71.4731
2019-05-10 05:15:00 | 9.593 | 249.627 | 11.67 | 247.414 | 13.348 | 251.717 | 14.012 | 248.1 | 13.745 | 889.867 | 37.605 | 71.4304
2019-05-10 05:30:00 | 8.812 | 248.5 | 10.656 | 248.151 | 12.25 | 251.2 | 12.998 | 247.817 | 13.57 | 889.883 | 37.933 | 71.7836
2019-05-10 05:45:00 | 10.595 | 244.82 | 12.644 | 242.569 | 13.899 | 247.983 | 14.807 | 243.933 | 13.449 | 889.25 | 37.979 | 71.6187
2019-05-10 06:00:00 | 9.868 | 244.467 | 12.05 | 242.02 | 13.517 | 248.033 | 14.287 | 243.067 | 13.824 | 889.7 | 37.781 | 71.6216
2019-05-10 06:15:00 | 9.353 | 240.1 | 11.536 | 238.622 | 12.602 | 244.833 | 12.806 | 238.767 | 13.356 | 890.117 | 39.173 | 71.5889
2019-05-10 06:30:00 | 9.658 | 233.78 | 12.139 | 234.873 | 13.265 | 241.433 | 13.591 | 237.233 | 13.066 | 889.583 | 40.464 | 71.5008
2019-05-10 06:45:00 | 8.819 | 236.413 | 10.391 | 234.439 | 11.593 | 240.233 | 12.044 | 237.133 | 12.966 | 889.725 | 40.736 | 71.3686
2019-05-10 07:00:00 | 8.38 | 235.64 | 10.01 | 235.055 | 11.267 | 242.567 | 11.522 | 240.1 | 12.945 | 889.517 | 40.251 | 70.1209
2019-05-10 07:15:00 | 9.981 | 247.96 | 11.822 | 247.846 | 13.183 | 254.883 | 13.999 | 250.95 | 13.235 | 890.067 | 37.621 | 71.284
2019-05-10 07:30:00 | 10.35 | 249.74 | 11.669 | 248.534 | 13.34 | 254.7 | 13.992 | 252.383 | 14.674 | 889.883 | 33.493 | 71.2819
2019-05-10 07:45:00 | 10.928 | 250.993 | 12.792 | 249.673 | 13.806 | 255.683 | 14.37 | 253.767 | 15.091 | 890.033 | 33.619 | 71.1469
2019-05-10 08:00:00 | 12.289 | 256.487 | 13.959 | 257.086 | 14.63 | 261.567 | 15.136 | 257.983 | 15.284 | 889.783 | 31.925 | 71.2592
2019-05-10 08:15:00 | 11.615 | 263.12 | 13.115 | 262.417 | 14.384 | 266.733 | 14.873 | 261.783 | 16.314 | 889.55 | 29.757 | 71.4056
2019-05-10 08:30:00 | 13.405 | 263.847 | 14.843 | 262.322 | 15.734 | 266.333 | 16.123 | 262.483 | 17.014 | 889.767 | 27.925 | 71.4091
2019-05-10 08:45:00 | 13.594 | 258.78 | 14.557 | 259.039 | 14.875 | 262.383 | 15.194 | 258.8 | 17.402 | 889.733 | 26.997 | 70.9216
2019-05-10 09:00:00 | 12.706 | 258.347 | 13.627 | 257.276 | 13.935 | 260.633 | 13.811 | 256.5 | 17.731 | 889.85 | 26.437 | 70.8158
2019-05-10 09:15:00 | 14.069 | 261.08 | 15.112 | 259.864 | 15.533 | 263.55 | 15.793 | 260.217 | 17.939 | 889.767 | 25.36 | 70.8584
2019-05-10 09:30:00 | 13.638 | 256.5 | 15.29 | 254.825 | 15.888 | 258.517 | 15.89 | 254.383 | 17.652 | 890.083 | 25.864 | 66.4714
2019-05-10 09:45:00 | 13.437 | 258.667 | 14.45 | 256.792 | 14.806 | 260.8 | 15.107 | 254.233 | 18.739 | 890.033 | 23.933 | 65.4212
2019-05-10 10:00:00 | 13.159 | 255.687 | 14.763 | 255.34 | 15.31 | 259.95 | 15.428 | 255.283 | 19.218 | 889.55 | 23.093 | 58.2707
2019-05-10 10:15:00 | 14.28 | 251.527 | 15.083 | 251.953 | 15.221 | 256.217 | 15.29 | 252.733 | 19.698 | 890.067 | 22.565 | 55.3325
2019-05-10 10:30:00 | 13.709 | 269.18 | 14.572 | 265.528 | 15.061 | 269.367 | 15.151 | 266.867 | 19.914 | 889.883 | 21.584 | 52.4803
2019-05-10 10:45:00 | 15.362 | 261.16 | 16.29 | 259.751 | 16.677 | 264.8 | 16.882 | 260.983 | 19.931 | 889.633 | 20.976 | 50.6243
2019-05-10 11:00:00 | 14.382 | 262.313 | 15.32 | 260.56 | 15.583 | 264.2 | 15.611 | 260.3 | 19.856 | 890.017 | 21.275 | 50.2428
2019-05-10 11:15:00 | 14.335 | 267.653 | 15.418 | 266.507 | 15.829 | 270.183 | 15.875 | 266.083 | 19.898 | 889.683 | 20.711 | 49.8214
2019-05-10 11:30:00 | 15.335 | 270.767 | 16.512 | 266.869 | 16.852 | 272.433 | 16.874 | 267.967 | 19.756 | 889.533 | 20.756 | 50.198
2019-05-10 11:45:00 | 14.608 | 268.48 | 16.399 | 268.072 | 16.961 | 272.867 | 17.036 | 269.4 | 20.073 | 889.883 | 21.261 | 49.4043
2019-05-10 12:00:00 | 14.903 | 275.947 | 16.163 | 271.014 | 16.524 | 273.217 | 16.676 | 269.917 | 20.573 | 889.617 | 20.776 | 44.0779
2019-05-10 12:15:00 | 16.242 | 286.72 | 17.901 | 280.439 | 18.46 | 284.933 | 19.247 | 284.1 | 19.439 | 890.017 | 22.309 | 44.6669
2019-05-10 12:30:00 | 16.929 | 284.867 | 18.612 | 279.572 | 19.204 | 281.533 | 19.52 | 280.667 | 18.944 | 889.55 | 23.355 | 44.0907
2019-05-10 12:45:00 | 13.165 | 275.92 | 14.629 | 271.396 | 15.102 | 272.7 | 15.145 | 269.7 | 19.552 | 889.433 | 22.211 | 45.5928
2019-05-10 13:00:00 | 16.985 | 263.573 | 17.89 | 261.208 | 18.501 | 266.4 | 18.096 | 262.5 | 20.694 | 889.75 | 21.32 | 46.4959
2019-05-10 13:15:00 | 15.007 | 271.427 | 16.571 | 268.658 | 17.034 | 272.667 | 17.144 | 270.233 | 20.527 | 889.95 | 21.723 | 45.0784
2019-05-10 13:30:00 | 16.948 | 268.227 | 18.483 | 265.995 | 18.433 | 269.6 | 18.367 | 266.967 | 20.464 | 889.75 | 22.491 | 45.0485
2019-05-10 13:45:00 | 15.408 | 273.12 | 17.242 | 271.125 | 17.501 | 274.6 | 17.79 | 271.85 | 20.527 | 889.967 | 22.779 | 45.4933
2019-05-10 14:00:00 | 15.292 | 272.927 | 16.796 | 271.223 | 17.43 | 275.967 | 17.878 | 272.767 | 20.21 | 889.867 | 21.944 | 45.6937
2019-05-10 14:15:00 | 15.108 | 267.653 | 16.413 | 267.732 | 17.07 | 271.933 | 17.437 | 268.733 | 20.352 | 889.633 | 21.515 | 47.4943
2019-05-10 14:30:00 | 17.368 | 289.44 | 19.115 | 285.672 | 19.649 | 288.267 | 20.433 | 287.533 | 20.464 | 889.717 | 21.613 | 46.6515
2019-05-10 14:45:00 | 15.711 | 281.767 | 16.899 | 279.3 | 17.265 | 281.833 | 17.779 | 282 | 20.668 | 889.85 | 21.341 | 47.3209
2019-05-10 15:00:00 | 16.305 | 272.82 | 17.806 | 267.103 | 18.23 | 270.917 | 18.355 | 268.25 | 21.331 | 889.217 | 20.311 | 47.0772
2019-05-10 15:15:00 | 16.654 | 263.06 | 17.85 | 263.508 | 18.362 | 266.567 | 18.311 | 262.65 | 21.618 | 889.5 | 18.599 | 45.1245
2019-05-10 15:30:00 | 15.315 | 282.32 | 16.232 | 279.192 | 16.965 | 282.467 | 17.314 | 279.6 | 21.268 | 889.467 | 17.461 | 45.003
2019-05-10 15:45:00 | 16.504 | 277.667 | 17.668 | 272.12 | 18.221 | 276.333 | 18.632 | 271.833 | 21.173 | 889.7 | 17.208 | 44.927
2019-05-10 16:00:00 | 17.025 | 271.593 | 18.84 | 269.174 | 18.818 | 272.5 | 19.113 | 267.867 | 21.481 | 889.633 | 17.501 | 44.6911
2019-05-10 16:15:00 | 16.982 | 280.533 | 18.562 | 277.985 | 18.893 | 279.567 | 19.36 | 275.2 | 21.464 | 889.267 | 18.46 | 44.7373
2019-05-10 16:30:00 | 15.694 | 279.6 | 17.36 | 278.382 | 18.179 | 280 | 19.116 | 277.1 | 21.31 | 889.7 | 18.477 | 44.9625
2019-05-10 16:45:00 | 17.111 | 283.547 | 19.347 | 281.917 | 19.858 | 282.933 | 20.473 | 280.3 | 21.273 | 889.6 | 17.736 | 44.76
2019-05-10 17:00:00 | 18.094 | 274.473 | 19.358 | 272.866 | 20.05 | 276.433 | 20.421 | 274.033 | 21.41 | 889.667 | 15.296 | 44.6719
2019-05-10 17:15:00 | 17.08 | 280.48 | 19.048 | 277.792 | 19.305 | 281.3 | 19.973 | 278.067 | 22.106 | 889.267 | 13.9 | 44.9433
2019-05-10 17:30:00 | 15.395 | 275.32 | 17.207 | 272.65 | 17.704 | 276 | 17.947 | 273.633 | 21.96 | 889.267 | 15.06 | 43.9905
2019-05-10 17:45:00 | 18.281 | 280.16 | 19.615 | 275.635 | 19.949 | 279.633 | 20.711 | 277.367 | 21.964 | 889.7 | 15.917 | 44.9206
2019-05-10 18:00:00 | 16.422 | 271.387 | 18.192 | 271.687 | 18.584 | 273.8 | 18.683 | 271.533 | 21.873 | 889.6 | 15.461 | 45.5082
2019-05-10 18:15:00 | 18.844 | 271.987 | 20.609 | 268.597 | 20.451 | 272.833 | 20.654 | 268.833 | 21.635 | 889.467 | 15.612 | 46.2906
2019-05-10 18:30:00 | 18.364 | 286.373 | 20.34 | 282.102 | 20.735 | 285.933 | 21.284 | 284.4 | 21.606 | 889.6 | 16.087 | 46.9287
2019-05-10 18:45:00 | 17.41 | 288.707 | 18.701 | 285.938 | 19.261 | 289.433 | 20.202 | 285.567 | 21.81 | 889.833 | 16.484 | 46.9962
2019-05-10 19:00:00 | 17.581 | 287.547 | 19.168 | 281.507 | 19.678 | 284.1 | 20.673 | 282.8 | 21.598 | 889.6 | 17.44 | 49.13
2019-05-10 19:15:00 | 17.524 | 281.253 | 19.414 | 277.624 | 19.913 | 280.733 | 20.415 | 279.9 | 21.502 | 889.6 | 18.112 | 50.0552
2019-05-10 19:30:00 | 17.192 | 277.627 | 19.058 | 274.364 | 19.813 | 277.8 | 20.621 | 275.733 | 21.148 | 889.267 | 18.875 | 50.8382
2019-05-10 19:45:00 | 17.947 | 282.053 | 20.059 | 281.407 | 20.72 | 284.467 | 21.361 | 282.433 | 20.748 | 889.567 | 19.272 | 50.4069
2019-05-10 20:00:00 | 16.519 | 284.653 | 18.103 | 281.772 | 18.413 | 285.333 | 19.322 | 282.6 | 20.648 | 889.667 | 19.861 | 52.0476
2019-05-10 20:15:00 | 14.955 | 275.44 | 16.583 | 270.949 | 17.307 | 274.633 | 18.195 | 273.167 | 20.477 | 889.833 | 19.743 | 53.8709
2019-05-10 20:30:00 | 16.144 | 277.56 | 17.495 | 275.811 | 18.038 | 277.933 | 18.588 | 275.9 | 20.194 | 889.8 | 19.801 | 59.3359
2019-05-10 20:45:00 | 14.554 | 271.613 | 16.831 | 268.078 | 17.65 | 272.567 | 17.629 | 269.667 | 19.856 | 889.95 | 20.952 | 62.7857
2019-05-10 21:00:00 | 13.022 | 267.513 | 14.769 | 267.36 | 15.518 | 271.267 | 15.997 | 267.333 | 19.485 | 889.6 | 21.459 | 67.3027
2019-05-10 21:15:00 | 12.047 | 268.093 | 13.433 | 266.5 | 14.514 | 270.4 | 15.439 | 266.4 | 19.144 | 889.567 | 21.757 | 65.8709
2019-05-10 21:30:00 | 13.252 | 269.307 | 15.525 | 268.279 | 16.219 | 272.767 | 16.665 | 270.233 | 18.968 | 889.467 | 19.857 | 64.6161
2019-05-10 21:45:00 | 10.938 | 263.953 | 12.941 | 258.885 | 14.02 | 264.617 | 14.704 | 260.683 | 18.91 | 889.867 | 20.711 | 64.5465
2019-05-10 22:00:00 | 10.895 | 256.893 | 12.298 | 256.275 | 12.863 | 260.25 | 12.849 | 256.033 | 18.374 | 888.617 | 21.997 | 64.1819
2019-05-10 22:15:00 | 9.572 | 256.82 | 11.425 | 255.311 | 12.426 | 258.467 | 12.747 | 255.483 | 18.085 | 889.617 | 23.376 | 63.7869
2019-05-10 22:30:00 | 9.04 | 258.213 | 10.562 | 256.768 | 11.17 | 261.867 | 11.423 | 257.283 | 17.952 | 889.9 | 23.712 | 63.1211
2019-05-10 22:45:00 | 8.56 | 253.78 | 10.454 | 252.33 | 11.376 | 258.05 | 11.799 | 255.683 | 17.964 | 889.717 | 24.056 | 59.7224
2019-05-10 23:00:00 | 8.969 | 247.64 | 10.181 | 247.63 | 10.856 | 253.167 | 10.932 | 248.917 | 17.623 | 889.583 | 23.976 | 49.6217
2019-05-10 23:15:00 | 8.205 | 245.373 | 9.391 | 243.393 | 10.321 | 249.2 | 10.664 | 246.367 | 17.531 | 890.25 | 24.037 | 49.8534
2019-05-10 23:30:00 | 8.657 | 256.547 | 10.11 | 252.065 | 11.046 | 257.45 | 11.36 | 255.017 | 17.444 | 889.467 | 24.307 | 61.1947
2019-05-10 23:45:00 | 11.27 | 264.24 | 13.79 | 264.366 | 14.756 | 267.667 | 15.61 | 265.333 | 17.148 | 889.8 | 23.373 | 60.3996