## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-11 00:00:00 | 13.267 | 115.109 | 16.07 | 125.347 | 16.703 | 91.3 | 16.48 | 69.2 | 15.259 | 889.783 | 24.277 | 44.441
2019-05-11 00:15:00 | 9.826 | 12.472 | 10.157 | 9.664 | 10.768 | 14.967 | 11.046 | 13.867 | 10.786 | 889.9 | 32.005 | 56.3351
2019-05-11 00:30:00 | 9.736 | 71.092 | 10.36 | 66.988 | 10.79 | 70.9 | 11.026 | 68.133 | 10.901 | 890.3 | 28.912 | 52.9443
2019-05-11 00:45:00 | 5.688 | 91.273 | 5.584 | 85.842 | 5.282 | 89.5 | 5.302 | 87.9 | 9.354 | 889.767 | 33.616 | 33.2268
2019-05-11 01:00:00 | 6.386 | 109.87 | 6.269 | 103.081 | 5.959 | 106.9 | 6.11 | 104.5 | 8.535 | 890.05 | 37.643 | 26.8147
2019-05-11 01:15:00 | 6.34 | 129.073 | 6.758 | 124.196 | 6.589 | 131.167 | 6.764 | 125.1 | 8.25 | 889.617 | 40.448 | 35.6719
2019-05-11 01:30:00 | 7.28 | 117.533 | 7.681 | 114.19 | 8.036 | 118.167 | 8.024 | 114.5 | 8.471 | 890.008 | 42.293 | 36.3277
2019-05-11 01:45:00 | 6.08 | 107.767 | 6.205 | 101.239 | 6.534 | 107.1 | 6.296 | 105.067 | 7.873 | 889.992 | 44.725 | 48.3747
2019-05-11 02:00:00 | 8.752 | 118.917 | 9.433 | 111.441 | 9.635 | 115.667 | 9.596 | 111.1 | 7.636 | 889.692 | 45.077 | 50.8872
2019-05-11 02:15:00 | 4.242 | 107.8 | 4.379 | 102.131 | 3.836 | 100.167 | 4.056 | 94.633 | 7.256 | 890.108 | 46.005 | 39.9139
2019-05-11 02:30:00 | 7.43 | 110.723 | 7.13 | 103.853 | 6.643 | 106.1 | 6.963 | 102 | 6.82 | 890.008 | 46.571 | 49.9393
2019-05-11 02:45:00 | 6.491 | 96.94 | 6.62 | 93.634 | 6.027 | 95.733 | 6.238 | 86.967 | 6.383 | 890.342 | 45.515 | 45.2695
2019-05-11 03:00:00 | 5.154 | 96.58 | 5.199 | 94.436 | 5.17 | 95.767 | 5.462 | 91.833 | 5.495 | 889.908 | 47.307 | 48.6298
2019-05-11 03:15:00 | 6.498 | 99.907 | 5.976 | 94.378 | 5.704 | 102.233 | 5.668 | 98.833 | 5.139 | 889.475 | 49.44 | 43.8341
2019-05-11 03:30:00 | 6.14 | 114.353 | 6.564 | 108.621 | 6.48 | 112.367 | 6.666 | 109.2 | 4.57 | 889.517 | 50.336 | 36.2091
2019-05-11 03:45:00 | 6.649 | 119.643 | 7.212 | 111.707 | 7.319 | 118.333 | 7.43 | 113.7 | 4.212 | 889.85 | 52.149 | 31.7218
2019-05-11 04:00:00 | 7.073 | 112.937 | 7.197 | 106.896 | 7.164 | 112.433 | 7.58 | 108.367 | 3.759 | 889.908 | 53.845 | 35.3187
2019-05-11 04:15:00 | 7.78 | 114.933 | 7.858 | 108.946 | 7.764 | 111.967 | 7.449 | 105.967 | 3.405 | 890.125 | 58.432 | 45.9609
2019-05-11 04:30:00 | 7.204 | 109.123 | 7.321 | 102.494 | 7.142 | 108.667 | 7.397 | 104.8 | 2.618 | 890.017 | 67.424 | 52.1236
2019-05-11 04:45:00 | 7.798 | 117.723 | 8.292 | 109.641 | 8.054 | 113 | 7.521 | 107.033 | 1.872 | 889.492 | 71.744 | 59.3742
2019-05-11 05:00:00 | 7.831 | 115.257 | 8.359 | 108.767 | 8.585 | 114.133 | 8.471 | 108.433 | 1.158 | 890.083 | 78.347 | 51.1686
2019-05-11 05:15:00 | 5.742 | 97.617 | 6.127 | 86.292 | 5.989 | 83.867 | 5.791 | 75.5 | 0.898 | 890.158 | 83.819 | 49.1705
2019-05-11 05:30:00 | 6.97 | 16.278 | 7.221 | 14.543 | 7.742 | 18.3 | 7.774 | 16.9 | 0.1 | 890.55 | 87.552 | 18.0839
2019-05-11 05:45:00 | 4.132 | 26.559 | 4.948 | 37.326 | 5.105 | 14.701 | 5.45 | 11.833 | 0.017 | 889.596 | 90.453 | 4.2236
2019-05-11 06:00:00 | 3.345 | 96.501 | 3.299 | 201.005 | 3.318 | 73.5 | 3.283 | 30.267 | -0.598 | 889.742 | 90.773 | 0.77452
2019-05-11 06:15:00 | 2.072 | 26.192 | 2.155 | 1.27 | 2.34 | 30.069 | 2.257 | 18.6 | -0.789 | 889.788 | 90.24 | 0.31549
2019-05-11 06:30:00 | 0.774 | 277.04 | 0.606 | 301.916 | 0.493 | 301.3 | 0.407 | 319.667 | -0.802 | 889.571 | 89.216 | 0.24586
2019-05-11 06:45:00 | 1.611 | 254.153 | 1.596 | 247.449 | 1.696 | 255.167 | 1.671 | 252.417 | -0.518 | 890.054 | 88.427 | 0.26859
2019-05-11 07:00:00 | 3.277 | 234.073 | 3.331 | 230.185 | 3.422 | 235.733 | 3.242 | 233.7 | -0.412 | 889.783 | 89.045 | 3.064
2019-05-11 07:15:00 | 4.046 | 227.753 | 4.16 | 225.23 | 4.4 | 232.567 | 4.413 | 235.433 | -0.302 | 889.929 | 89.493 | 5.3463
2019-05-11 07:30:00 | 2.394 | 299.28 | 2.811 | 288.201 | 3.29 | 297.5 | 3.76 | 301.1 | 0.017 | 889.912 | 86.613 | 7.132
2019-05-11 07:45:00 | 6.555 | 348.24 | 7.175 | 342.222 | 7.662 | 347.167 | 8.129 | 346.367 | 0.898 | 889.975 | 60.336 | 16.7992
2019-05-11 08:00:00 | 5.498 | 331.227 | 5.798 | 337.884 | 6.4 | 343.767 | 6.97 | 330.6 | 1.64 | 890.133 | 45.627 | 25.0901
2019-05-11 08:15:00 | 9.066 | 302.717 | 10.521 | 335.367 | 10.869 | 267.567 | 11.252 | 316.1 | 2.46 | 889.217 | 34.544 | 52.8775
2019-05-11 08:30:00 | 11.118 | 255.987 | 12.585 | 347.382 | 12.67 | 294.233 | 13.148 | 341.2 | 2.659 | 889.983 | 29.571 | 55.1229
2019-05-11 08:45:00 | 12.194 | 282.267 | 13.448 | 323.987 | 13.718 | 246 | 13.611 | 246.967 | 3.054 | 889.6 | 28.173 | 53.4183
2019-05-11 09:00:00 | 11.411 | 181.867 | 13.201 | 305.264 | 13.378 | 180.533 | 13.837 | 224.367 | 3.254 | 889.867 | 26.96 | 51.1644
2019-05-11 09:15:00 | 12.028 | 145.267 | 13.031 | 284.268 | 13.429 | 71.167 | 13.477 | 83 | 3.555 | 889.417 | 24.613 | 51.3683
2019-05-11 09:30:00 | 12.122 | 284.967 | 13.235 | 326.734 | 13.714 | 258.6 | 14.104 | 305.1 | 3.622 | 889.767 | 23.84 | 51.2887
2019-05-11 09:45:00 | 11.508 | 212.127 | 12.446 | 325.424 | 12.561 | 291.233 | 12.893 | 246.8 | 3.902 | 889.5 | 23.016 | 49.0945
2019-05-11 10:00:00 | 9.022 | 108.021 | 10.524 | 193.293 | 10.291 | 117.167 | 10.523 | 95.033 | 4.169 | 889.433 | 22.896 | 48.1487
2019-05-11 10:15:00 | 10.972 | 246.147 | 12.253 | 302.443 | 12.471 | 245.967 | 13.049 | 267.2 | 4.375 | 889.883 | 21.891 | 48.2766
2019-05-11 10:30:00 | 10.762 | 60.202 | 12.313 | 141.598 | 12.252 | 83.367 | 12.313 | 71 | 4.752 | 889.9 | 21.077 | 50.2932
2019-05-11 10:45:00 | 10.576 | 253.187 | 11.245 | 332.765 | 11.644 | 290.1 | 12.122 | 315 | 5.095 | 889.267 | 19.831 | 54.0713
2019-05-11 11:00:00 | 10.111 | 228.241 | 10.894 | 317.883 | 11.345 | 276.067 | 11.312 | 275.967 | 5.087 | 889.467 | 19.987 | 53.468
2019-05-11 11:15:00 | 7.337 | 210.722 | 8.236 | 264.288 | 8.154 | 242.833 | 8.217 | 299.9 | 5.538 | 888.833 | 19.743 | 30.5515
2019-05-11 11:30:00 | 6.898 | 235.288 | 7.655 | 265.708 | 7.627 | 250.1 | 7.968 | 292.1 | 5.752 | 889.367 | 19.472 | 21.6446
2019-05-11 11:45:00 | 8.968 | 289.601 | 9.258 | 286.88 | 9.351 | 267.933 | 9.368 | 232.467 | 5.878 | 889.233 | 19.563 | 15.4747
2019-05-11 12:00:00 | 6.51 | 189.812 | 6.69 | 204.773 | 6.861 | 219.767 | 7.054 | 244.367 | 6.021 | 889.533 | 19.143 | 18.015
2019-05-11 12:15:00 | 5.35 | 238.267 | 5.756 | 255.656 | 5.748 | 244.7 | 5.685 | 258.8 | 6.413 | 889.633 | 18.943 | 15.8769
2019-05-11 12:30:00 | 6.111 | 292.92 | 6.684 | 316.578 | 6.925 | 298.033 | 7.066 | 308.567 | 6.582 | 889.367 | 18.619 | 16.2826
2019-05-11 12:45:00 | 4.424 | 196.191 | 4.8 | 236.49 | 4.974 | 241.4 | 5.286 | 260.867 | 7.072 | 889.367 | 18.524 | 11.1808
2019-05-11 13:00:00 | 6.055 | 209.668 | 6.728 | 261.714 | 7.004 | 229.967 | 7.154 | 287.8 | 7.489 | 889.233 | 17.648 | 16.6152
2019-05-11 13:15:00 | 6.05 | 41.374 | 6.297 | 103.867 | 6.233 | 31.467 | 6.138 | 15.167 | 7.706 | 889.3 | 16.369 | 14.6391
2019-05-11 13:30:00 | 4.478 | 223.577 | 4.982 | 234.775 | 5.586 | 179.168 | 5.821 | 225.433 | 8.197 | 889.6 | 16.272 | 20.6114
2019-05-11 13:45:00 | 6.936 | 53.468 | 6.768 | 25.235 | 6.909 | 28.1 | 6.844 | 38.2 | 8.891 | 889.367 | 14.877 | 16.0176
2019-05-11 14:00:00 | 5.453 | 62.732 | 5.862 | 48.129 | 5.738 | 42.633 | 6.395 | 45.6 | 9.058 | 889.933 | 14.425 | 24.246
2019-05-11 14:15:00 | 5.792 | 59.613 | 6.27 | 49.045 | 6.544 | 53.233 | 6.652 | 51.433 | 9.774 | 889.7 | 14.008 | 22.618
2019-05-11 14:30:00 | 6.475 | 19.378 | 6.586 | 20.168 | 7.206 | 24.967 | 7.527 | 22.5 | 9.822 | 889.433 | 13.877 | 16.316
2019-05-11 14:45:00 | 5.911 | 40.608 | 5.974 | 32.415 | 6.02 | 32.567 | 6.28 | 27.233 | 10.351 | 889.5 | 13.061 | 21.3156
2019-05-11 15:00:00 | 4.97 | 30.405 | 5.127 | 53.794 | 5.453 | 12.033 | 5.519 | 13.867 | 9.98 | 889.067 | 12.112 | 14.7237
2019-05-11 15:15:00 | 7.442 | 15.215 | 7.074 | 14.238 | 7.33 | 21.633 | 6.787 | 19.033 | 9.862 | 889.2 | 11.589 | 13.0844
2019-05-11 15:30:00 | 6.042 | 66.112 | 5.683 | 61.066 | 5.872 | 73.1 | 5.926 | 81.233 | 10.386 | 889.3 | 11.76 | 8.6391
2019-05-11 15:45:00 | 1.428 | 170.04 | 0.736 | 148.779 | 0.887 | 141.069 | 1.878 | 129.1 | 10.372 | 889.333 | 11.791 | 11.416
2019-05-11 16:00:00 | 3.981 | 45.366 | 3.92 | 47.324 | 4.07 | 50.133 | 4.242 | 47.333 | 10.384 | 889.6 | 11.861 | 7.0474
2019-05-11 16:15:00 | 4.525 | 57.223 | 4.711 | 54.496 | 4.914 | 56.3 | 5.177 | 50.9 | 10.995 | 889.333 | 12.075 | 9.0285
2019-05-11 16:30:00 | 3.339 | 82.027 | 3.456 | 52.308 | 3.742 | 27.936 | 4.052 | 23.633 | 10.755 | 889.667 | 12.237 | 6.4946
2019-05-11 16:45:00 | 4.834 | 25.285 | 5.118 | 23.039 | 5.345 | 37.967 | 5.47 | 13.3 | 11.566 | 889.633 | 11.685 | 19.2599
2019-05-11 17:00:00 | 5.88 | 58.672 | 5.855 | 53.994 | 5.901 | 58.6 | 6.262 | 54.633 | 11.295 | 889.333 | 10.965 | 14.2177
2019-05-11 17:15:00 | 4.52 | 80.68 | 4.621 | 73.684 | 4.588 | 79.2 | 4.749 | 74.033 | 10.928 | 889.6 | 11.064 | 2.4685
2019-05-11 17:30:00 | 1.819 | 142.937 | 1.596 | 108.274 | 1.58 | 86.767 | 2.099 | 70.033 | 11.211 | 889.267 | 11.187 | 5.536
2019-05-11 17:45:00 | 5.074 | 60.263 | 5.43 | 57.035 | 5.682 | 63 | 5.914 | 57.167 | 11.824 | 889.133 | 9.464 | 4.2378
2019-05-11 18:00:00 | 2.984 | 82.853 | 3.101 | 79.006 | 3.38 | 85.633 | 3.802 | 79.8 | 11.703 | 888.867 | 9.299 | 4.2392
2019-05-11 18:15:00 | 5.565 | 60.984 | 5.732 | 61.77 | 5.446 | 60.233 | 5.28 | 46.633 | 12.045 | 889 | 8.305 | 3.4484
2019-05-11 18:30:00 | 3.654 | 85.923 | 3.444 | 78.972 | 3.432 | 75.4 | 3.592 | 62.967 | 11.595 | 889.2 | 8.711 | 1.7814
2019-05-11 18:45:00 | 5.244 | 61.67 | 5.586 | 49.096 | 5.705 | 55.533 | 5.962 | 50.6 | 12.474 | 888.8 | 7.884 | 2.4522
2019-05-11 19:00:00 | 3.145 | 59.881 | 3.258 | 59.324 | 3.349 | 67.2 | 3.883 | 63.133 | 11.707 | 888.933 | 8.227 | 3.8399
2019-05-11 19:15:00 | 4.447 | 51.868 | 4.68 | 45.842 | 4.968 | 51.733 | 5.242 | 48.3 | 11.811 | 888.733 | 8.64 | 6.0569
2019-05-11 19:30:00 | 3.978 | 64.47 | 4.139 | 60.019 | 4.376 | 64.133 | 4.649 | 61.767 | 11.899 | 888.8 | 8.736 | 4.905
2019-05-11 19:45:00 | 3.702 | 86.305 | 4.171 | 87.442 | 4.138 | 94.033 | 4.238 | 81.9 | 11.557 | 889.133 | 9.347 | 9.3319
2019-05-11 20:00:00 | 3.946 | 66.863 | 4.29 | 66.702 | 4.405 | 74.367 | 4.468 | 71.767 | 11.445 | 889 | 9.876 | 8.6853
2019-05-11 20:15:00 | 3.946 | 86.2 | 3.912 | 86.413 | 3.797 | 90.167 | 3.902 | 85.467 | 11.161 | 889.233 | 10.305 | 4.0829
2019-05-11 20:30:00 | 3.086 | 79.867 | 3.381 | 74.784 | 3.443 | 77.9 | 3.612 | 73.533 | 10.878 | 888.967 | 10.303 | 3.8719
2019-05-11 20:45:00 | 3.709 | 73.665 | 3.871 | 72.448 | 4.066 | 79 | 4.219 | 74.667 | 11.007 | 889.6 | 10.773 | 2.8224
2019-05-11 21:00:00 | 2.442 | 92.733 | 2.324 | 90.008 | 2.227 | 89.5 | 2.361 | 86.433 | 10.237 | 889.433 | 11.451 | 3.9522
2019-05-11 21:15:00 | 2.934 | 94.073 | 3.145 | 86.512 | 2.683 | 93.6 | 2.425 | 90.4 | 10.195 | 889.533 | 12.296 | 6.0185
2019-05-11 21:30:00 | 3.626 | 96.887 | 3.776 | 91.687 | 3.275 | 94.267 | 3.394 | 86.967 | 9.449 | 889 | 13.293 | 5.9005
2019-05-11 21:45:00 | 3.014 | 84.92 | 3.655 | 80.229 | 3.871 | 82.533 | 3.892 | 79 | 9.295 | 889.4 | 13.528 | 5.4493
2019-05-11 22:00:00 | 2.559 | 95.127 | 2.733 | 90.143 | 2.354 | 91.567 | 2.813 | 82.567 | 8.628 | 889.833 | 14.195 | 4.9661
2019-05-11 22:15:00 | 3.115 | 95.013 | 3.284 | 86.772 | 3.182 | 87.567 | 3.106 | 81.467 | 8.461 | 889.467 | 14.659 | 5.7414
2019-05-11 22:30:00 | 3.042 | 95.19 | 3.416 | 86.96 | 2.613 | 94.133 | 2.781 | 83.867 | 8.133 | 889.467 | 15.392 | 5.9915
2019-05-11 22:45:00 | 3.289 | 90.697 | 3.708 | 80.546 | 3.516 | 85.167 | 4.03 | 80.233 | 8.01 | 889.9 | 15.939 | 5.4955
2019-05-11 23:00:00 | 2.683 | 96.22 | 3.476 | 83.81 | 3.371 | 89.633 | 3.429 | 84.567 | 7.92 | 889.567 | 17.192 | 7.1717
2019-05-11 23:15:00 | 3.562 | 117.23 | 4.201 | 103.741 | 4.058 | 105.2 | 3.705 | 100.8 | 7.492 | 889.633 | 18.229 | 11.735
2019-05-11 23:30:00 | 4.122 | 119.403 | 4.837 | 107.412 | 4.878 | 110.3 | 5.01 | 107.033 | 7.529 | 889.533 | 20.011 | 11.9325
2019-05-11 23:45:00 | 3.449 | 123.063 | 4.002 | 112.724 | 4.141 | 115.467 | 4.671 | 112.967 | 7.239 | 889.95 | 21.68 | 13.8305