## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-12 00:00:00 | 3.534 | 130.347 | 5.031 | 118.076 | 5.452 | 123.233 | 5.803 | 119.1 | 6.601 | 889.8 | 23.077 | 13.2329
2019-05-12 00:15:00 | 4.689 | 119.7 | 5.733 | 110.114 | 6.064 | 115.167 | 6.308 | 112.5 | 7.239 | 889.467 | 22.8 | 19.3942
2019-05-12 00:30:00 | 4.401 | 128.433 | 5.7 | 118.926 | 5.577 | 123.4 | 5.701 | 120.2 | 6.794 | 889.867 | 24.011 | 19.2357
2019-05-12 00:45:00 | 4.802 | 124.24 | 5.778 | 115.541 | 6.038 | 122 | 6.338 | 118.9 | 7.056 | 889.567 | 23.712 | 21.5444
2019-05-12 01:00:00 | 5.323 | 127.553 | 6.185 | 120.974 | 6.289 | 125.9 | 6.446 | 122.9 | 6.466 | 889.867 | 24.491 | 25.8106
2019-05-12 01:15:00 | 5.099 | 111.543 | 5.765 | 104.93 | 5.799 | 109.333 | 6.176 | 104.167 | 6.171 | 889.917 | 24.293 | 23.1226
2019-05-12 01:30:00 | 4.144 | 129.593 | 5.492 | 118.45 | 5.781 | 121.333 | 6.025 | 116.333 | 5.795 | 889.767 | 24.373 | 19.9314
2019-05-12 01:45:00 | 4.155 | 130.167 | 5.716 | 117.378 | 6.158 | 120.4 | 6.617 | 115.5 | 5.995 | 889.583 | 25.189 | 14.5773
2019-05-12 02:00:00 | 3.956 | 140.813 | 4.884 | 125.75 | 4.775 | 129.267 | 4.898 | 127.433 | 5.809 | 889.55 | 25.088 | 14.487
2019-05-12 02:15:00 | 4.128 | 129.473 | 5.22 | 117.911 | 5.475 | 120.8 | 5.953 | 114.433 | 5.745 | 890.083 | 24.133 | 16.5569
2019-05-12 02:30:00 | 4.302 | 141.343 | 5.338 | 123.016 | 5.586 | 124.533 | 5.875 | 119.033 | 5.442 | 889.7 | 25.893 | 12.7902
2019-05-12 02:45:00 | 4.584 | 131.297 | 5.463 | 119.147 | 5.63 | 124.333 | 5.723 | 120.1 | 5.596 | 889.417 | 24.987 | 17.0159
2019-05-12 03:00:00 | 3.994 | 139.93 | 5.284 | 123.806 | 5.354 | 127.3 | 5.688 | 124.8 | 5.65 | 889.817 | 25.883 | 18.9352
2019-05-12 03:15:00 | 4.054 | 134.567 | 5.464 | 121.893 | 5.713 | 123.467 | 6.312 | 119 | 4.646 | 889.667 | 27.504 | 25.5093
2019-05-12 03:30:00 | 3.696 | 133.337 | 5.3 | 123.255 | 5.453 | 126.4 | 5.754 | 123.533 | 5.134 | 889.867 | 25.883 | 23.0565
2019-05-12 03:45:00 | 4.198 | 132.553 | 5.411 | 121.318 | 5.605 | 124.467 | 5.966 | 118.167 | 4.969 | 889.817 | 25.392 | 19.1441
2019-05-12 04:00:00 | 4.117 | 137.183 | 5.004 | 124.66 | 4.673 | 129.933 | 5.493 | 123.7 | 4.981 | 890 | 26.011 | 10.5199
2019-05-12 04:15:00 | 3.91 | 123.293 | 4.625 | 114.787 | 4.93 | 118.6 | 5.162 | 113.633 | 5.762 | 889.917 | 24.219 | 5.7016
2019-05-12 04:30:00 | 2.166 | 136.067 | 3.507 | 108.584 | 3.491 | 109.633 | 3.893 | 103.5 | 3.638 | 889.517 | 28.56 | 3.8122
2019-05-12 04:45:00 | 2.078 | 151.787 | 2.821 | 115 | 2.648 | 112.367 | 2.459 | 103.467 | 4.265 | 889.8 | 28.795 | 1.1071
2019-05-12 05:00:00 | 1.577 | 144.427 | 2.176 | 112.792 | 1.967 | 107.2 | 2.036 | 100.267 | 4.054 | 889.867 | 28.811 | 0.32473
2019-05-12 05:15:00 | 1.214 | 160.433 | 0.746 | 108.595 | 0.877 | 101.467 | 1.383 | 99.1 | 4.206 | 889.633 | 28.699 | 0.28494
2019-05-12 05:30:00 | 2.251 | 215.727 | 0 | 107.277 | 0.07 | 113.867 | 1.387 | 99 | 4.018 | 889.617 | 29.579 | 0.23875
2019-05-12 05:45:00 | 2.275 | 221.873 | 0 | 107.26 | 0 | 99.967 | 1.042 | 98.867 | 3.776 | 889.817 | 30.501 | 0.24159
2019-05-12 06:00:00 | 0.758 | 223.833 | 0 | 107.274 | 0.036 | 100 | 0.903 | 99 | 3.488 | 889.767 | 30.123 | 0.23733
2019-05-12 06:15:00 | 1.844 | 232.2 | 0 | 107.237 | 0.4 | 96.033 | 1.634 | 99 | 3.739 | 889.667 | 32.997 | 0.18688
2019-05-12 06:30:00 | 2.706 | 229.567 | 0 | 107.204 | 0.08 | 121.167 | 2.263 | 123.3 | 3.622 | 889.617 | 33.28 | 0.98271
2019-05-12 06:45:00 | 3.852 | 231.08 | 1.119 | 220.413 | 0.234 | 163.467 | 1.69 | 135.567 | 3.945 | 890.1 | 32.88 | 0.78233
2019-05-12 07:00:00 | 1.477 | 205.407 | 0.17 | 157.422 | 1.707 | 125.1 | 3.04 | 109.467 | 4.058 | 889.767 | 33.136 | 3.8975
2019-05-12 07:15:00 | 0.48 | 122.87 | 2.42 | 80.161 | 3.033 | 85.033 | 3.449 | 82.033 | 4.507 | 889.633 | 28.261 | 4.0495
2019-05-12 07:30:00 | 0.95 | 52.798 | 2.408 | 52.7 | 2.764 | 63.7 | 3.004 | 69.3 | 5.213 | 889.55 | 26.581 | 6.0718
2019-05-12 07:45:00 | 2.563 | 66.227 | 3.19 | 70.95 | 3.409 | 81.133 | 2.886 | 84.833 | 5.194 | 889.817 | 24.464 | 6.7987
2019-05-12 08:00:00 | 2.32 | 77.82 | 2.378 | 81.926 | 2.073 | 96.867 | 2.139 | 100.767 | 5.485 | 889.317 | 25.061 | 4.9605
2019-05-12 08:15:00 | 2.555 | 90.02 | 2.271 | 87.104 | 2.048 | 94.967 | 2.317 | 94.367 | 6.164 | 889.65 | 23.477 | 2.1402
2019-05-12 08:30:00 | 2.377 | 90.733 | 2.173 | 84.188 | 1.997 | 87.567 | 2.062 | 84.1 | 6.922 | 889.7 | 22.133 | 3.0966
2019-05-12 08:45:00 | 2.679 | 102.443 | 2.323 | 94.47 | 2.37 | 99.9 | 2.712 | 94.433 | 6.734 | 890.017 | 21.531 | 7.7615
2019-05-12 09:00:00 | 4.896 | 81.428 | 4.717 | 77.781 | 4.474 | 86.7 | 4.338 | 85 | 7.472 | 889.5 | 20.509 | 19.0119
2019-05-12 09:15:00 | 4.832 | 81.45 | 4.943 | 79.01 | 4.763 | 88.733 | 4.641 | 87.767 | 8.288 | 889.55 | 19.616 | 31.5016
2019-05-12 09:30:00 | 6.798 | 76.323 | 6.81 | 70.042 | 6.871 | 79.267 | 7.045 | 77.2 | 8.912 | 890.067 | 18.595 | 37.0767
2019-05-12 09:45:00 | 6.54 | 83.267 | 6.554 | 79.527 | 6.639 | 86.067 | 6.747 | 83.867 | 9.308 | 889.633 | 17.059 | 32.3628
2019-05-12 10:00:00 | 6.498 | 95.753 | 6.233 | 90.411 | 6.17 | 92.967 | 6.597 | 90.533 | 9.87 | 889.367 | 16.835 | 34.9862
2019-05-12 10:15:00 | 6.437 | 87.8 | 6.324 | 85.55 | 5.939 | 90.467 | 5.736 | 92.7 | 10.203 | 889.467 | 16.883 | 38.4786
2019-05-12 10:30:00 | 7.295 | 86.843 | 7.16 | 81.349 | 7.065 | 86.2 | 7.389 | 82.2 | 10.205 | 889.267 | 18.133 | 41.2555
2019-05-12 10:45:00 | 7.674 | 95.923 | 7.453 | 91.736 | 6.936 | 95.7 | 6.587 | 94.267 | 10.185 | 889.167 | 18.72 | 48.7236
2019-05-12 11:00:00 | 7.395 | 92.65 | 6.779 | 85.107 | 7.027 | 88.067 | 7.621 | 84.833 | 10.093 | 889.367 | 19.469 | 47.3664
2019-05-12 11:15:00 | 7.948 | 86.9 | 8.166 | 84.981 | 7.867 | 88.767 | 8.066 | 84.267 | 10.828 | 889.167 | 19.608 | 48.5267
2019-05-12 11:30:00 | 7.787 | 92.067 | 7.867 | 88.541 | 8.128 | 94.667 | 7.91 | 88.533 | 10.828 | 889.633 | 19.773 | 45.7534
2019-05-12 11:45:00 | 8.59 | 78.152 | 8.976 | 78.076 | 9.091 | 82.233 | 9.059 | 79.7 | 10.811 | 889.7 | 19.515 | 47.1724
2019-05-12 12:00:00 | 8.819 | 85.5 | 8.712 | 80.469 | 8.294 | 87.3 | 8.654 | 83.767 | 11.261 | 889.4 | 18.995 | 50.6854
2019-05-12 12:15:00 | 8.034 | 90.175 | 7.464 | 88.978 | 7.786 | 93.5 | 8.458 | 86.033 | 11.224 | 889.567 | 19.347 | 50.8368
2019-05-12 12:30:00 | 8.273 | 81.568 | 8.048 | 79.482 | 8.326 | 84.2 | 8.48 | 80.833 | 11.428 | 889.367 | 19.773 | 46.5926
2019-05-12 12:45:00 | 8.092 | 89.44 | 7.669 | 83.986 | 7.598 | 90.9 | 8.189 | 85.367 | 11.87 | 889.6 | 18.957 | 41.9234
2019-05-12 13:00:00 | 7.67 | 102.917 | 7.548 | 96.773 | 7.773 | 98.033 | 8.076 | 94.433 | 12.257 | 889.433 | 17.891 | 36.4542
2019-05-12 13:15:00 | 6.958 | 94.31 | 7.283 | 86.611 | 7.186 | 95.1 | 7.554 | 88 | 12.926 | 889.533 | 17.293 | 30.1472
2019-05-12 13:30:00 | 6.485 | 100.9 | 6.775 | 97.95 | 6.891 | 102.833 | 6.799 | 101.933 | 12.336 | 889.633 | 17.323 | 28.1292
2019-05-12 13:45:00 | 6.297 | 99.017 | 6.412 | 91.042 | 6.422 | 96.1 | 6.645 | 89.8 | 13.149 | 889.5 | 17.085 | 29.065
2019-05-12 14:00:00 | 6.693 | 92.227 | 6.81 | 89.682 | 6.618 | 94.733 | 6.966 | 91.067 | 13.758 | 889.333 | 16.504 | 37.0056
2019-05-12 14:15:00 | 7.245 | 97.147 | 7.779 | 90.081 | 7.337 | 98.133 | 7.16 | 91.5 | 13.637 | 889.233 | 17.531 | 35.3201
2019-05-12 14:30:00 | 6.285 | 89.36 | 6.303 | 83.233 | 6.484 | 88.667 | 6.692 | 80.533 | 13.878 | 889.667 | 17.387 | 39.1693
2019-05-12 14:45:00 | 7.647 | 78.863 | 7.939 | 78.084 | 8.046 | 82.6 | 8.081 | 79.667 | 14.824 | 889.133 | 16.203 | 44.2477
2019-05-12 15:00:00 | 7.918 | 87.43 | 7.883 | 82.625 | 7.898 | 88.867 | 8.299 | 80.2 | 14.708 | 889.733 | 15.309 | 39.8941
2019-05-12 15:15:00 | 6.791 | 103.237 | 6.871 | 98.439 | 6.845 | 101.2 | 6.787 | 97.167 | 14.991 | 889.833 | 14.443 | 35.6477
2019-05-12 15:30:00 | 6.85 | 103.82 | 6.969 | 98.193 | 6.901 | 100.133 | 6.826 | 97.267 | 15.887 | 889.7 | 13.875 | 28.1001
2019-05-12 15:45:00 | 6.92 | 81.517 | 7.202 | 76.27 | 7.6 | 83.167 | 7.769 | 80.2 | 15.647 | 889.767 | 13.72 | 30.9182
2019-05-12 16:00:00 | 6.667 | 76.43 | 6.713 | 74.148 | 7.309 | 80.2 | 7.28 | 77.567 | 15.778 | 889.3 | 14.091 | 32.5489
2019-05-12 16:15:00 | 8.456 | 72.847 | 8.938 | 68.199 | 9.147 | 74.133 | 9.445 | 71.1 | 15.944 | 889.767 | 14.224 | 27.5053
2019-05-12 16:30:00 | 6.86 | 88.167 | 7.159 | 84.645 | 7.129 | 90.467 | 7.268 | 83.367 | 16.298 | 889.267 | 13.736 | 27.8286
2019-05-12 16:45:00 | 6.337 | 83.42 | 6.342 | 75.87 | 6.31 | 79.833 | 6.836 | 77.4 | 16.414 | 889.667 | 13.272 | 26.8537
2019-05-12 17:00:00 | 6.589 | 87.007 | 7.091 | 87.05 | 7.26 | 92.267 | 7.376 | 90.667 | 16.648 | 889.033 | 13.171 | 28.3104
2019-05-12 17:15:00 | 6.504 | 104.707 | 6.572 | 103.868 | 6.372 | 103.133 | 6.296 | 98.9 | 16.498 | 889.467 | 12.963 | 31.4731
2019-05-12 17:30:00 | 7.037 | 88.233 | 6.836 | 84.771 | 6.693 | 90.767 | 6.592 | 87.3 | 16.664 | 889.433 | 13.44 | 21.2047
2019-05-12 17:45:00 | 7.14 | 68.113 | 7.445 | 65.849 | 7.92 | 72.867 | 8.094 | 71.267 | 16.564 | 889.667 | 13.187 | 23.2135
2019-05-12 18:00:00 | 6.324 | 87.2 | 6.171 | 83.137 | 5.969 | 89.767 | 6.57 | 81.333 | 16.964 | 890.067 | 13.245 | 20.5446
2019-05-12 18:15:00 | 4.937 | 99.027 | 5.093 | 95.334 | 5.2 | 98.2 | 5.236 | 94.667 | 16.731 | 889.5 | 12.853 | 19.5008
2019-05-12 18:30:00 | 6.064 | 80.88 | 5.827 | 76.817 | 6.202 | 79.033 | 6.45 | 75.4 | 17.098 | 889.833 | 13.035 | 21.1244
2019-05-12 18:45:00 | 6.162 | 73.98 | 6.017 | 64.334 | 6.268 | 68.833 | 6.289 | 67.067 | 16.764 | 889.833 | 13.36 | 22.375
2019-05-12 19:00:00 | 5.955 | 67.713 | 6.305 | 63.376 | 6.774 | 69.967 | 7.111 | 66.7 | 16.781 | 889.6 | 13.189 | 21.7661
2019-05-12 19:15:00 | 5.926 | 87.487 | 5.932 | 81.535 | 6.041 | 86.5 | 6.161 | 82.267 | 16.564 | 889.533 | 13.357 | 18.6701
2019-05-12 19:30:00 | 5.792 | 64.193 | 5.758 | 58.178 | 5.715 | 65.733 | 5.935 | 62.633 | 16.598 | 889.433 | 13.371 | 17.7862
2019-05-12 19:45:00 | 5.324 | 71.653 | 5.371 | 67.542 | 5.5 | 72.6 | 5.72 | 70.133 | 16.448 | 889.8 | 13.747 | 15.6559
2019-05-12 20:00:00 | 5.564 | 75.537 | 5.642 | 71.654 | 5.935 | 79.2 | 5.961 | 73.8 | 15.866 | 889.8 | 13.896 | 14.1275
2019-05-12 20:15:00 | 4.622 | 86.847 | 4.885 | 79.804 | 4.767 | 85.033 | 4.834 | 79.8 | 15.768 | 889.633 | 14.312 | 12.1315
2019-05-12 20:30:00 | 5.2 | 85.32 | 5.506 | 79.628 | 5.57 | 84.333 | 5.508 | 79.533 | 15.464 | 889.7 | 14.936 | 9.938
2019-05-12 20:45:00 | 4.336 | 86.453 | 4.801 | 82.25 | 4.619 | 86.033 | 4.336 | 81.467 | 15.184 | 889.6 | 15.427 | 8.0564
2019-05-12 21:00:00 | 3.858 | 85.333 | 4.315 | 78.104 | 4.394 | 84.933 | 4.372 | 79.767 | 14.641 | 889.567 | 15.992 | 7.2336
2019-05-12 21:15:00 | 3.843 | 83.127 | 4.304 | 78.81 | 4.326 | 83.2 | 4.185 | 79.633 | 13.995 | 889.5 | 16.592 | 5.3285
2019-05-12 21:30:00 | 2.852 | 80.873 | 3.157 | 76.467 | 3.284 | 80.533 | 3.42 | 75.333 | 13.633 | 889.533 | 17.096 | 4.181
2019-05-12 21:45:00 | 3.116 | 88.393 | 3.891 | 79.085 | 3.598 | 85.967 | 3.551 | 81.867 | 13.604 | 889.367 | 17.221 | 3.3418
2019-05-12 22:00:00 | 2.771 | 98.48 | 2.647 | 89.734 | 2.49 | 92.1 | 2.731 | 81.7 | 13.174 | 889.5 | 17.683 | 2.7392
2019-05-12 22:15:00 | 2.421 | 101.2 | 2.551 | 89.598 | 2.5 | 92.933 | 2.587 | 83.9 | 13.212 | 889.7 | 17.995 | 2.546
2019-05-12 22:30:00 | 2.536 | 92.157 | 3.022 | 80.368 | 3.053 | 86 | 3.042 | 83.633 | 12.839 | 889.6 | 18.024 | 2.1672
2019-05-12 22:45:00 | 2.658 | 109.613 | 2.183 | 100.131 | 2.171 | 104.233 | 2.338 | 97.567 | 12.803 | 889.6 | 18.088 | 1.6279
2019-05-12 23:00:00 | 1.854 | 109.873 | 1.454 | 92.687 | 1.377 | 94.633 | 1.501 | 91.1 | 12.578 | 889.5 | 18.485 | 0.74609
2019-05-12 23:15:00 | 1.832 | 145.897 | 2.074 | 113.867 | 2.27 | 115.833 | 2.539 | 108.167 | 12.57 | 889.4 | 19.043 | 0.12648
2019-05-12 23:30:00 | 1.482 | 154.18 | 1.692 | 120.46 | 1.986 | 116.1 | 2.268 | 109.967 | 11.766 | 889.067 | 20.288 | 0.16272
2019-05-12 23:45:00 | 1.854 | 145.273 | 2.146 | 110.564 | 2.679 | 109.7 | 2.991 | 108.567 | 12.066 | 889.133 | 20.328 | 0.090953