## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-13 00:00:00 | 2.178 | 151.887 | 2.27 | 121.912 | 2.47 | 123.467 | 2.733 | 117.4 | 11.961 | 889.633 | 20.035 | 0.23733
2019-05-13 00:15:00 | 2.608 | 199.007 | 0.714 | 148.488 | 1.39 | 142.2 | 1.457 | 134.033 | 11.203 | 889.9 | 21.707 | 0.19896
2019-05-13 00:30:00 | 3.32 | 219.8 | 1.684 | 190.583 | 1.416 | 149.3 | 1.891 | 134.5 | 10.661 | 889.65 | 22.837 | 0.17196
2019-05-13 00:45:00 | 2.988 | 214.7 | 1.45 | 197.884 | 1.189 | 180.067 | 1.55 | 134.967 | 10.861 | 889.617 | 22.443 | 0.17054
2019-05-13 01:00:00 | 4.167 | 221.14 | 1.985 | 200.115 | 1.709 | 188.467 | 1.784 | 138.833 | 10.368 | 889.617 | 26.693 | 0.17906
2019-05-13 01:15:00 | 3.634 | 227.3 | 1.896 | 203.636 | 1.652 | 195 | 2.064 | 162.867 | 10.203 | 889.867 | 25.936 | 0.17693
2019-05-13 01:30:00 | 5.023 | 224.047 | 2.922 | 212.973 | 2.834 | 197.2 | 3.025 | 184.033 | 9.98 | 889.633 | 30.085 | 1.8389
2019-05-13 01:45:00 | 6.473 | 214.94 | 4.858 | 200.347 | 4.435 | 202.067 | 4.213 | 190 | 8.037 | 889.75 | 33.819 | 3.0171
2019-05-13 02:00:00 | 5.783 | 219.353 | 4.5 | 202.393 | 4.165 | 199.133 | 3.868 | 190 | 9.187 | 889.867 | 30.613 | 2.0173
2019-05-13 02:15:00 | 4.696 | 219.967 | 4.796 | 226.494 | 3.632 | 222 | 3.263 | 201.967 | 8.672 | 889.683 | 32.069 | 4.0353
2019-05-13 02:30:00 | 2.992 | 237.12 | 4.158 | 247.374 | 3.996 | 259.933 | 3.57 | 257.333 | 7.53 | 889.667 | 32.835 | 8.6448
2019-05-13 02:45:00 | 4.682 | 250.24 | 6.087 | 255.108 | 5.904 | 266.4 | 5.581 | 265.1 | 8.271 | 889.9 | 30.733 | 13.3373
2019-05-13 03:00:00 | 5.694 | 256.253 | 5.53 | 260.088 | 5.056 | 271.9 | 4.671 | 274.5 | 8.501 | 889.783 | 30.099 | 12.8968
2019-05-13 03:15:00 | 5.757 | 254.54 | 5.661 | 255.689 | 4.962 | 265.733 | 4.409 | 271.633 | 8.72 | 889.967 | 29.189 | 11.6703
2019-05-13 03:30:00 | 5.076 | 259.633 | 5.003 | 264.484 | 4.611 | 275.8 | 4.394 | 274.3 | 8.991 | 889.733 | 28.688 | 12.5934
2019-05-13 03:45:00 | 5.173 | 250.84 | 5.672 | 257.384 | 5.135 | 268 | 4.884 | 266.467 | 9.037 | 889.833 | 27.733 | 15.8527
2019-05-13 04:00:00 | 5.248 | 239.187 | 6.857 | 241.35 | 6.748 | 250.967 | 6.025 | 248.883 | 8.949 | 889.983 | 27.477 | 21.2197
2019-05-13 04:15:00 | 5.022 | 233.067 | 6.797 | 237.237 | 6.843 | 248.433 | 6.428 | 245.7 | 9.099 | 889.5 | 27.52 | 23.1126
2019-05-13 04:30:00 | 5.038 | 235.913 | 6.764 | 238.685 | 7.031 | 249.333 | 6.683 | 247.467 | 8.874 | 889.983 | 27.995 | 28.935
2019-05-13 04:45:00 | 6.322 | 241.853 | 7.992 | 242.95 | 8.048 | 250.667 | 7.534 | 247.833 | 8.912 | 889.833 | 26.651 | 31.6977
2019-05-13 05:00:00 | 5.713 | 248.093 | 7.088 | 250.712 | 6.627 | 257.167 | 6.242 | 256.333 | 9.041 | 889.583 | 26.165 | 27.6048
2019-05-13 05:15:00 | 3.55 | 264.867 | 5.68 | 243.802 | 7.614 | 249.5 | 7.639 | 247.167 | 8.616 | 889.883 | 27.248 | 35.119
2019-05-13 05:30:00 | 5.732 | 235.9 | 8.127 | 239.692 | 8.652 | 249.1 | 8.474 | 245.9 | 8.641 | 889.767 | 27.061 | 45.4152
2019-05-13 05:45:00 | 6.24 | 240.473 | 7.674 | 243.875 | 7.815 | 252.7 | 8.026 | 249.283 | 9.349 | 889.8 | 25.44 | 47.2498
2019-05-13 06:00:00 | 6.708 | 230.273 | 7.935 | 235.916 | 8.039 | 245.033 | 8.06 | 243.567 | 9.537 | 889.533 | 25.051 | 49.3247
2019-05-13 06:15:00 | 6.467 | 235.387 | 7.654 | 238.758 | 7.68 | 247.033 | 7.865 | 245.067 | 9.274 | 889.817 | 25.371 | 50.1596
2019-05-13 06:30:00 | 6.755 | 232.767 | 8.15 | 236.178 | 8.33 | 245 | 8.294 | 241.6 | 9.166 | 889.817 | 25.483 | 51.077
2019-05-13 06:45:00 | 6.495 | 232.04 | 8.06 | 234.292 | 8.445 | 241.933 | 8.353 | 239 | 9.554 | 889.833 | 24.971 | 52.4995
2019-05-13 07:00:00 | 5.95 | 235.713 | 8.554 | 235.118 | 9.646 | 242.867 | 9.654 | 239 | 9.595 | 889.933 | 24 | 63.0337
2019-05-13 07:15:00 | 7.631 | 238.767 | 9.589 | 237.465 | 10.253 | 245.733 | 10.203 | 242.167 | 10.711 | 889.783 | 22.432 | 57.7087
2019-05-13 07:30:00 | 6.499 | 241.933 | 8.38 | 240.141 | 9.207 | 248.3 | 9.149 | 245.4 | 11.395 | 889.717 | 21.552 | 40.1968
2019-05-13 07:45:00 | 5.63 | 251.707 | 7.044 | 249.362 | 7.419 | 255.1 | 7.639 | 251.517 | 12.603 | 889.35 | 20.451 | 18.2047
2019-05-13 08:00:00 | 3.209 | 304.653 | 3.577 | 293.827 | 3.748 | 293.5 | 4.142 | 282.3 | 12.278 | 889.633 | 20.371 | 8.4948
2019-05-13 08:15:00 | 2.081 | 279.773 | 2.246 | 268.372 | 3.11 | 268.9 | 4.012 | 266.967 | 12.622 | 889.333 | 19.329 | 7.3174
2019-05-13 08:30:00 | 2.631 | 268.247 | 2.776 | 262.514 | 3.473 | 265.183 | 3.932 | 260.583 | 14.47 | 889.733 | 17.511 | 10.5533
2019-05-13 08:45:00 | 5.608 | 267.173 | 5.81 | 262.252 | 6.044 | 265.5 | 6.1 | 260.733 | 15.948 | 889.8 | 15.735 | 27.4684
2019-05-13 09:00:00 | 7.428 | 251.653 | 7.883 | 251.89 | 8.026 | 256.45 | 8.186 | 251.133 | 15.918 | 889.4 | 15.38 | 36.2794
2019-05-13 09:15:00 | 8.174 | 263.467 | 8.577 | 262.254 | 8.742 | 266.55 | 8.907 | 262.8 | 16.264 | 889.7 | 14.863 | 44.3436
2019-05-13 09:30:00 | 8.624 | 262.84 | 9.534 | 262.528 | 9.757 | 267.117 | 9.412 | 264.1 | 16.481 | 889.267 | 14.961 | 48.0379
2019-05-13 09:45:00 | 8.514 | 282.853 | 9.179 | 275.372 | 9.238 | 278.467 | 9.362 | 274.6 | 16.322 | 889.5 | 14.993 | 46.2003
2019-05-13 10:00:00 | 8.101 | 264.293 | 8.734 | 262.691 | 8.871 | 266.033 | 8.908 | 260.1 | 16.914 | 889.367 | 14.624 | 47.8432
2019-05-13 10:15:00 | 9.672 | 267.327 | 10.673 | 262.695 | 10.686 | 267.9 | 10.467 | 263.617 | 17.081 | 889.367 | 14.371 | 45.5097
2019-05-13 10:30:00 | 7.464 | 262.193 | 7.966 | 261.82 | 8.458 | 269.283 | 8.497 | 267.167 | 17.118 | 889.833 | 15.033 | 39.4883
2019-05-13 10:45:00 | 8.412 | 281.8 | 9.217 | 278.233 | 9.507 | 281.233 | 9.9 | 279.4 | 17.114 | 889.267 | 15.053 | 39.3526
2019-05-13 11:00:00 | 7.396 | 278.26 | 7.671 | 270.506 | 8.069 | 275.483 | 8.3 | 271.967 | 17.285 | 889.233 | 15.565 | 37.174
2019-05-13 11:15:00 | 7.846 | 278.813 | 8.329 | 273.205 | 8.499 | 277.3 | 8.616 | 271.967 | 17.502 | 889.333 | 15.845 | 35.6108
2019-05-13 11:30:00 | 7.821 | 273.933 | 8.143 | 267.337 | 8.27 | 270.4 | 8.371 | 262.85 | 18.235 | 889.533 | 15.685 | 36.219
2019-05-13 11:45:00 | 7.862 | 281.06 | 8.324 | 278.444 | 8.602 | 281.533 | 8.614 | 277.817 | 18.302 | 889.267 | 15.049 | 36.7413
2019-05-13 12:00:00 | 5.666 | 273.78 | 6.374 | 268.896 | 6.745 | 275.2 | 6.893 | 270.05 | 18.631 | 889.367 | 15.105 | 36.6198
2019-05-13 12:15:00 | 7.433 | 253.933 | 8.566 | 251.604 | 8.801 | 254.8 | 9.022 | 252.217 | 19.656 | 889.867 | 14.932 | 39.2105
2019-05-13 12:30:00 | 8.566 | 277.587 | 8.974 | 273.509 | 9.317 | 277.533 | 9.2 | 273.667 | 19.389 | 889.533 | 14.157 | 51.5424
2019-05-13 12:45:00 | 8.275 | 257.613 | 8.518 | 250.193 | 9.122 | 254.083 | 9.442 | 248.583 | 20.114 | 889.667 | 13.512 | 57.1168
2019-05-13 13:00:00 | 8.37 | 292.827 | 8.677 | 284.797 | 8.802 | 290.033 | 9.13 | 286.617 | 19.31 | 889.4 | 13.04 | 56.08
2019-05-13 13:15:00 | 11.085 | 272.953 | 11.738 | 268.832 | 12.033 | 273.533 | 11.918 | 269.883 | 19.648 | 889.5 | 12.712 | 62.3885
2019-05-13 13:30:00 | 11.337 | 278.88 | 12.137 | 273.741 | 12.34 | 277.6 | 12.542 | 276.633 | 20.202 | 889.767 | 12.169 | 63.3627
2019-05-13 13:45:00 | 10.371 | 290.107 | 10.813 | 284.767 | 11.054 | 289.533 | 11.493 | 287.2 | 19.864 | 889.567 | 11.911 | 56.9683
2019-05-13 14:00:00 | 12.104 | 267.853 | 12.726 | 263.776 | 13.462 | 269.2 | 13.243 | 264.433 | 20.806 | 889.6 | 11.747 | 63.153
2019-05-13 14:15:00 | 11.572 | 274.947 | 12.571 | 273.544 | 13.027 | 276.6 | 13.068 | 271.95 | 20.502 | 889.3 | 11.739 | 62.9995
2019-05-13 14:30:00 | 12.452 | 278.433 | 13.022 | 271.377 | 13.13 | 275.883 | 13.354 | 271.383 | 21.177 | 889.433 | 11.565 | 64.7227
2019-05-13 14:45:00 | 13.072 | 275.067 | 14.346 | 272.228 | 14.388 | 276.233 | 14.384 | 273 | 21.26 | 889.4 | 11.641 | 64.5592
2019-05-13 15:00:00 | 10.079 | 285.667 | 11.243 | 278.695 | 11.635 | 282.867 | 11.808 | 280.633 | 21.018 | 889.533 | 11.457 | 62.5967
2019-05-13 15:15:00 | 11.572 | 267.467 | 12.508 | 263.593 | 12.976 | 269.217 | 13.166 | 266.65 | 21.402 | 889.267 | 11.347 | 58.2217
2019-05-13 15:30:00 | 12.469 | 275.16 | 13.637 | 269.748 | 13.604 | 273.633 | 13.748 | 272.2 | 21.235 | 889.533 | 11.509 | 50.9071
2019-05-13 15:45:00 | 13.067 | 283.133 | 13.976 | 278.614 | 14.478 | 282.033 | 14.854 | 278.417 | 20.864 | 889.5 | 11.553 | 46.1996
2019-05-13 16:00:00 | 13.558 | 284.36 | 14.657 | 280.198 | 14.885 | 284.5 | 15.213 | 281.5 | 21.252 | 889.433 | 11.083 | 45.2936
2019-05-13 16:15:00 | 13.796 | 283.453 | 15.022 | 275.992 | 15.076 | 280.733 | 15.635 | 276.8 | 21.023 | 889.3 | 12.245 | 48.8607
2019-05-13 16:30:00 | 13.433 | 276.333 | 14.257 | 271.152 | 14.581 | 276.1 | 14.995 | 271.333 | 21.481 | 889.3 | 12.255 | 45.8259
2019-05-13 16:45:00 | 13.025 | 274.7 | 14.19 | 269.501 | 14.544 | 275.35 | 14.973 | 272.683 | 21.289 | 889.733 | 12.565 | 46.6281
2019-05-13 17:00:00 | 15.03 | 258.947 | 15.927 | 255.248 | 16.458 | 260.733 | 16.042 | 256.017 | 21.431 | 889.333 | 12.292 | 45.7889
2019-05-13 17:15:00 | 13.13 | 294.573 | 14.199 | 288.107 | 14.775 | 291.867 | 15.431 | 289.067 | 21.285 | 889.533 | 12.203 | 47.9526
2019-05-13 17:30:00 | 12.921 | 273.713 | 13.67 | 271.179 | 14.195 | 274.717 | 14.066 | 272.817 | 22.073 | 889.167 | 12.755 | 49.9038
2019-05-13 17:45:00 | 10.59 | 275.973 | 11.768 | 271.693 | 11.848 | 275.95 | 11.762 | 272 | 21.477 | 889.833 | 13.281 | 48.1494
2019-05-13 18:00:00 | 12.753 | 272.293 | 13.76 | 267.535 | 14.313 | 270.7 | 14.359 | 268.133 | 21.627 | 889.5 | 13.744 | 46.8768
2019-05-13 18:15:00 | 15.032 | 296.053 | 16.453 | 291.356 | 16.92 | 296.567 | 17.371 | 294.167 | 21.364 | 889.4 | 13.632 | 47.662
2019-05-13 18:30:00 | 11.582 | 286.92 | 12.696 | 283.485 | 12.711 | 286.3 | 13.058 | 280.233 | 21.652 | 889.4 | 14.089 | 47.8638
2019-05-13 18:45:00 | 11.618 | 275.56 | 12.989 | 273.299 | 13.291 | 277.85 | 13.684 | 273.467 | 21.514 | 889.667 | 14.768 | 49.6608
2019-05-13 19:00:00 | 15.15 | 274.72 | 16.883 | 269.123 | 17.364 | 273.167 | 17.715 | 268.867 | 21.281 | 889.433 | 14.549 | 49.5038
2019-05-13 19:15:00 | 14.293 | 279.52 | 16.086 | 276.562 | 16.186 | 279.633 | 16.649 | 276.067 | 21.331 | 889.533 | 14.461 | 47.3735
2019-05-13 19:30:00 | 14.158 | 287.56 | 15.237 | 282.64 | 16.287 | 286.967 | 17.025 | 283.533 | 21.423 | 889.633 | 14.444 | 47.8472
2019-05-13 19:45:00 | 14.716 | 284.56 | 16.298 | 280.379 | 16.855 | 285.3 | 17.086 | 284.3 | 20.823 | 889.5 | 15.088 | 50.5334
2019-05-13 20:00:00 | 16.496 | 290.507 | 18.732 | 284.641 | 19.635 | 288.667 | 20.419 | 287.367 | 20.21 | 889.167 | 15.044 | 52.9941
2019-05-13 20:15:00 | 14.736 | 282.92 | 16.838 | 278.233 | 17.559 | 283.967 | 17.944 | 281.7 | 19.606 | 889.433 | 16.065 | 54.8472
2019-05-13 20:30:00 | 15.196 | 288.147 | 17.346 | 285.009 | 18.022 | 288.033 | 19.11 | 286.067 | 19.398 | 889.333 | 16.835 | 59.8461
2019-05-13 20:45:00 | 14.035 | 287.067 | 15.83 | 281.302 | 16.45 | 285.333 | 17.044 | 283.333 | 19.181 | 889.367 | 17.697 | 66.4692
2019-05-13 21:00:00 | 12.544 | 277.4 | 14.228 | 273.014 | 14.62 | 276.8 | 15.023 | 272.867 | 18.839 | 889.717 | 19.455 | 65.9555
2019-05-13 21:15:00 | 15.508 | 275.093 | 17.028 | 268.574 | 17.768 | 273.833 | 18.46 | 270.033 | 18.344 | 889.6 | 22.845 | 66.0116
2019-05-13 21:30:00 | 12.678 | 262.187 | 13.808 | 258.972 | 14.507 | 264.9 | 14.561 | 260.583 | 17.989 | 889.917 | 23.877 | 65.991
2019-05-13 21:45:00 | 13.735 | 259.96 | 15.559 | 255.812 | 16.037 | 261.433 | 16.094 | 257.1 | 17.973 | 889.95 | 24.293 | 65.9917
2019-05-13 22:00:00 | 12.523 | 264.847 | 13.967 | 259.357 | 14.786 | 264.867 | 15.293 | 261.367 | 17.164 | 889.683 | 25.275 | 66.0443
2019-05-13 22:15:00 | 13.02 | 265.973 | 15.025 | 260.38 | 15.472 | 263.8 | 15.555 | 259.7 | 17.485 | 889.833 | 27.24 | 65.9186
2019-05-13 22:30:00 | 11.12 | 256.673 | 12.654 | 254.629 | 13.155 | 257.95 | 13.571 | 253.983 | 16.898 | 889.867 | 28.069 | 65.9797
2019-05-13 22:45:00 | 11.68 | 259.28 | 13.104 | 255.718 | 13.712 | 260.8 | 13.853 | 255.267 | 16.531 | 889.567 | 29.272 | 65.7388
2019-05-13 23:00:00 | 10.776 | 259.553 | 12.13 | 257.539 | 12.614 | 261.6 | 12.744 | 256.817 | 16.581 | 889.517 | 29.443 | 65.8518
2019-05-13 23:15:00 | 13.767 | 290.56 | 15.895 | 286.185 | 16.642 | 289.9 | 17.458 | 288.6 | 16.388 | 889.683 | 30.117 | 65.5363
2019-05-13 23:30:00 | 13.152 | 288.267 | 14.343 | 282.963 | 15.136 | 287.167 | 15.668 | 286.3 | 14.908 | 889.617 | 32.309 | 65.8624
2019-05-13 23:45:00 | 11.326 | 290.507 | 12.498 | 284.78 | 13.34 | 286.4 | 14.203 | 284.967 | 14.316 | 889.933 | 34.123 | 65.8162