## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-14 00:00:00 | 11.882 | 287.88 | 13.378 | 281.389 | 13.997 | 284.833 | 14.748 | 282.033 | 14.324 | 889.817 | 35.949 | 65.8553
2019-05-14 00:15:00 | 11.769 | 279.067 | 13.304 | 275.262 | 13.378 | 279.1 | 13.643 | 277.1 | 13.516 | 889.517 | 37.835 | 64.6914
2019-05-14 00:30:00 | 12.272 | 281.64 | 13.778 | 278.142 | 14.671 | 282.2 | 14.904 | 278.867 | 13.087 | 889.967 | 39.168 | 56.0772
2019-05-14 00:45:00 | 9.706 | 281.107 | 10.762 | 277.473 | 11.48 | 281.633 | 11.935 | 275.9 | 13.07 | 889.667 | 40.381 | 54.0969
2019-05-14 01:00:00 | 11.887 | 282.693 | 13.846 | 276.938 | 14.349 | 281.6 | 14.88 | 277.9 | 12.561 | 889.992 | 42.064 | 54.5047
2019-05-14 01:15:00 | 12.116 | 274.467 | 13.952 | 268.742 | 14.61 | 273.833 | 14.929 | 269 | 12.403 | 889.592 | 43.856 | 55.3006
2019-05-14 01:30:00 | 12.592 | 256.213 | 14.366 | 255.936 | 14.928 | 259.383 | 14.915 | 255.717 | 12.182 | 889.642 | 44.016 | 53.7124
2019-05-14 01:45:00 | 14.047 | 244.787 | 15.916 | 242.582 | 16.982 | 248.467 | 17.159 | 244.1 | 12.32 | 889.833 | 45.056 | 53.3174
2019-05-14 02:00:00 | 12.538 | 249.713 | 14.106 | 248.803 | 15.131 | 253.183 | 15.432 | 248.367 | 12.453 | 889.683 | 46.704 | 53.3081
2019-05-14 02:15:00 | 12.091 | 257.593 | 14.242 | 256.348 | 15.166 | 259.6 | 15.232 | 255.583 | 12.047 | 890.275 | 49.835 | 54.0883
2019-05-14 02:30:00 | 12.824 | 260.833 | 14.836 | 257.462 | 15.868 | 261.133 | 16.166 | 256.267 | 11.474 | 890.042 | 50.549 | 54.7541
2019-05-14 02:45:00 | 12.042 | 265.493 | 13.757 | 261.273 | 14.166 | 266.133 | 14.625 | 260.367 | 11.561 | 889.983 | 49.696 | 56.4403
2019-05-14 03:00:00 | 14.391 | 264.607 | 16.778 | 260.607 | 18.077 | 265.25 | 18.67 | 260.233 | 11.816 | 889.775 | 48.848 | 61.54
2019-05-14 03:15:00 | 14.39 | 266.513 | 16.365 | 265.097 | 17.001 | 267.733 | 17.092 | 262.533 | 11.524 | 889.842 | 48.848 | 64.4022
2019-05-14 03:30:00 | 13.619 | 264.747 | 15.609 | 262.482 | 16.289 | 268.067 | 16.444 | 263.3 | 11.286 | 889.692 | 50.261 | 65.7757
2019-05-14 03:45:00 | 11.727 | 272.733 | 13.223 | 269.982 | 13.66 | 273.633 | 14.112 | 270.567 | 11.42 | 889.575 | 51.957 | 64.7632
2019-05-14 04:00:00 | 13.594 | 275.267 | 15.172 | 271.403 | 15.598 | 274.5 | 16.06 | 271.7 | 11.195 | 890.283 | 53.184 | 64.7561
2019-05-14 04:15:00 | 12.312 | 278.347 | 13.524 | 275.55 | 13.99 | 278.533 | 14.398 | 276.833 | 10.895 | 890.058 | 55.157 | 65.0147
2019-05-14 04:30:00 | 11.996 | 271.933 | 13.724 | 267.43 | 14.115 | 270.3 | 14.458 | 267.267 | 10.645 | 890.158 | 56.635 | 65.0026
2019-05-14 04:45:00 | 13.591 | 263.873 | 15.141 | 259.692 | 15.785 | 266 | 16.039 | 261.2 | 10.895 | 889.6 | 57.557 | 65.0325
2019-05-14 05:00:00 | 13.335 | 263.7 | 15.324 | 261.412 | 15.617 | 265.45 | 16.086 | 260.9 | 10.482 | 889.808 | 58.923 | 64.7966
2019-05-14 05:15:00 | 12.359 | 270.913 | 13.993 | 269.76 | 14.13 | 272.733 | 14.425 | 268.133 | 10.43 | 889.333 | 59.739 | 65.2343
2019-05-14 05:30:00 | 12.291 | 274.173 | 14.044 | 270.771 | 14.562 | 273.6 | 14.843 | 270.733 | 10.222 | 889.917 | 60.795 | 65.1845
2019-05-14 05:45:00 | 12.36 | 273.573 | 13.657 | 269.706 | 13.766 | 274.333 | 13.987 | 271.233 | 10.172 | 889.533 | 62.101 | 64.6744
2019-05-14 06:00:00 | 10.71 | 292.533 | 11.526 | 289.362 | 11.845 | 294.633 | 12.421 | 292.067 | 9.843 | 889.608 | 62.875 | 64.695
2019-05-14 06:15:00 | 12.671 | 302.84 | 14.16 | 297.544 | 14.548 | 303.233 | 15.023 | 302.867 | 9.395 | 889.608 | 61.232 | 67.491
2019-05-14 06:30:00 | 10.682 | 306.693 | 11.583 | 301.382 | 12.116 | 307.367 | 12.648 | 304.133 | 8.624 | 889.942 | 62.912 | 67.5187
2019-05-14 06:45:00 | 10.567 | 306 | 11.7 | 299.125 | 12.31 | 304 | 12.961 | 301.733 | 8.09 | 890.067 | 64.789 | 65.7999
2019-05-14 07:00:00 | 9.346 | 304.467 | 10.397 | 300.049 | 10.844 | 303.233 | 11.125 | 301.133 | 7.823 | 890 | 67.685 | 58.027
2019-05-14 07:15:00 | 7.148 | 306.2 | 7.804 | 299.542 | 8.08 | 304.9 | 8.567 | 302.967 | 7.456 | 890.1 | 74.912 | 36.4862
2019-05-14 07:30:00 | 6.588 | 296.133 | 7.372 | 291.135 | 7.721 | 296.033 | 8.059 | 292.3 | 7.389 | 890.175 | 75.472 | 36.7555
2019-05-14 07:45:00 | 6.42 | 300.533 | 6.818 | 294.108 | 7.441 | 299.733 | 7.776 | 296.233 | 7.039 | 889.558 | 74.731 | 34.0276
2019-05-14 08:00:00 | 5.98 | 311.787 | 6.823 | 302.569 | 7.294 | 307.767 | 7.586 | 304.167 | 6.904 | 889.65 | 77.547 | 28.8597
2019-05-14 08:15:00 | 7.401 | 288.067 | 8.146 | 282.704 | 8.527 | 285.833 | 9.014 | 283.267 | 7.206 | 890.133 | 74.805 | 59.0744
2019-05-14 08:30:00 | 11.354 | 284.96 | 12.209 | 280.219 | 12.483 | 282.533 | 12.465 | 279.533 | 7.849 | 889.883 | 66.939 | 63.8615
2019-05-14 08:45:00 | 11.101 | 282 | 12.114 | 274.727 | 12.555 | 280.067 | 12.969 | 277.933 | 7.889 | 889.842 | 65.691 | 62.9029
2019-05-14 09:00:00 | 11.812 | 276.333 | 13.268 | 267.984 | 13.837 | 272.167 | 14.468 | 267.367 | 7.756 | 889.858 | 65.429 | 56.9697
2019-05-14 09:15:00 | 11.062 | 266.347 | 12.16 | 262.39 | 12.422 | 268.667 | 12.396 | 264.167 | 7.726 | 889.65 | 64.667 | 57.4451
2019-05-14 09:30:00 | 13.044 | 273.36 | 14.752 | 268.207 | 15.271 | 273.233 | 15.748 | 269.633 | 7.97 | 889.65 | 62.043 | 57.5829
2019-05-14 09:45:00 | 13.863 | 269.26 | 15.012 | 265.929 | 15.273 | 268.5 | 15.36 | 264.067 | 8.311 | 889.983 | 60.112 | 45.44
2019-05-14 10:00:00 | 13.01 | 262.693 | 14.549 | 260.999 | 15.025 | 265.1 | 15.073 | 259.483 | 8.454 | 889.625 | 59.675 | 46.6103
2019-05-14 10:15:00 | 11.365 | 264.787 | 13.228 | 264.025 | 13.598 | 269.767 | 13.816 | 265.283 | 8.841 | 890.15 | 58.325 | 46.9891
2019-05-14 10:30:00 | 14.211 | 278.293 | 16.086 | 273.443 | 16.161 | 278.033 | 16.402 | 273.533 | 8.841 | 890.025 | 57.531 | 45.8571
2019-05-14 10:45:00 | 14.902 | 273.013 | 16.61 | 271.323 | 16.97 | 274.833 | 17.415 | 272.6 | 9.216 | 889.492 | 56.315 | 45.5637
2019-05-14 11:00:00 | 15.845 | 266.187 | 17.934 | 266.609 | 18.38 | 270.467 | 18.415 | 266.367 | 9.258 | 889.942 | 54.837 | 43.211
2019-05-14 11:15:00 | 15.882 | 275.333 | 17.237 | 272.152 | 17.82 | 275.4 | 18.34 | 271.567 | 9.391 | 889.642 | 54.32 | 34.7858
2019-05-14 11:30:00 | 16.554 | 272.253 | 18.241 | 269.11 | 18.705 | 272.833 | 19.15 | 270.367 | 10.16 | 890.458 | 52.661 | 30.3966
2019-05-14 11:45:00 | 14.164 | 274.667 | 16.176 | 270.514 | 16.686 | 276.133 | 17.078 | 271.767 | 9.783 | 890.017 | 55.611 | 27.3057
2019-05-14 12:00:00 | 14.838 | 279.253 | 16.254 | 276.026 | 17.259 | 278.867 | 17.571 | 275.367 | 9.195 | 889.358 | 57.051 | 27.5316
2019-05-14 12:15:00 | 16.06 | 273.24 | 17.828 | 269.806 | 18.57 | 273.8 | 18.946 | 269.733 | 9.649 | 890 | 55.035 | 27.7597
2019-05-14 12:30:00 | 16.928 | 271 | 18.526 | 268.085 | 18.73 | 271.733 | 18.925 | 268.2 | 9.745 | 890.25 | 52.592 | 27.3511
2019-05-14 12:45:00 | 14.932 | 280.267 | 16.742 | 275.806 | 17.202 | 278.333 | 17.973 | 275.433 | 9.083 | 889.908 | 53.221 | 25.0695
2019-05-14 13:00:00 | 13.578 | 277.48 | 14.905 | 271.595 | 15.399 | 274.233 | 15.798 | 271.633 | 8.987 | 889.7 | 54.875 | 25.2059
2019-05-14 13:15:00 | 15.336 | 271.033 | 16.733 | 270.826 | 17.21 | 272.567 | 17.377 | 269.2 | 9.366 | 889.7 | 54.267 | 25.0318
2019-05-14 13:30:00 | 18.005 | 274.88 | 20.194 | 273.427 | 20.444 | 277.267 | 21.174 | 274.333 | 10.18 | 889.983 | 48.875 | 25.0148
2019-05-14 13:45:00 | 16.285 | 278.22 | 17.668 | 275.38 | 18.009 | 277.567 | 18.42 | 273.467 | 10.316 | 890.417 | 47.627 | 25.4397
2019-05-14 14:00:00 | 17.03 | 280.253 | 19.114 | 273.502 | 19.399 | 277.333 | 20.354 | 275.3 | 10.724 | 889.708 | 43.035 | 26.0053
2019-05-14 14:15:00 | 19.142 | 280.4 | 20.753 | 277.384 | 21.57 | 279.533 | 22.197 | 276 | 11.311 | 889.7 | 38.187 | 27.592
2019-05-14 14:30:00 | 20.458 | 283.387 | 22.162 | 279.045 | 22.965 | 281.3 | 23.224 | 280.9 | 11.478 | 889.767 | 31.901 | 23.3727
2019-05-14 14:45:00 | 21.438 | 292 | 24.001 | 286.396 | 24.839 | 289.033 | 26.292 | 288.6 | 11.068 | 889.2 | 33.555 | 13.6706
2019-05-14 15:00:00 | 22.317 | 285.2 | 24.457 | 280.171 | 25.034 | 281.333 | 25.938 | 280.533 | 11.011 | 889.908 | 39.331 | 10.0311
2019-05-14 15:15:00 | 22.454 | 282.12 | 25.023 | 280.089 | 24.78 | 281.833 | 25.795 | 280.367 | 11.953 | 889.383 | 30.816 | 1.0097
2019-05-14 15:30:00 | 23.57 | 290.667 | 25.955 | 287.78 | 26.151 | 288.567 | 27.482 | 287.9 | 11.278 | 889.633 | 31.219 | 0.4036
2019-05-14 15:45:00 | 21.372 | 267.98 | 22.887 | 265.557 | 23.096 | 267.9 | 23.95 | 265 | 10.961 | 889.65 | 38.672 | 2.6682
2019-05-14 16:00:00 | 23.018 | 280.32 | 25.622 | 280.785 | 25.838 | 281.833 | 26.851 | 281.433 | 10.807 | 889.833 | 34.797 | 3.3091
2019-05-14 16:15:00 | 21.85 | 281.067 | 24.21 | 277.731 | 24.508 | 278.6 | 24.819 | 277.933 | 11.095 | 889.55 | 33.44 | 6.8833
2019-05-14 16:30:00 | 22.342 | 288.333 | 24.065 | 283.976 | 23.891 | 286.667 | 24.551 | 283.367 | 10.668 | 889.75 | 31.021 | 9.0711
2019-05-14 16:45:00 | 20.977 | 286.2 | 22.819 | 284.352 | 23.075 | 286.333 | 23.569 | 285.1 | 10.861 | 889.667 | 30.619 | 20.5922
2019-05-14 17:00:00 | 20.38 | 293.293 | 21.966 | 287.539 | 22.361 | 290.8 | 22.759 | 289.767 | 10.843 | 889.65 | 30.459 | 27.0115
2019-05-14 17:15:00 | 17.372 | 291.36 | 19.369 | 286.674 | 19.878 | 289.633 | 20.362 | 288 | 9.974 | 889.717 | 32.755 | 25.2152
2019-05-14 17:30:00 | 20.683 | 288.293 | 22.074 | 285.356 | 22.369 | 286.267 | 22.502 | 286.4 | 10.035 | 889.583 | 31.219 | 26.291
2019-05-14 17:45:00 | 17.892 | 291.88 | 19.57 | 289.285 | 19.995 | 292.833 | 20.402 | 291.133 | 10.241 | 889.85 | 30.208 | 25.4362
2019-05-14 18:00:00 | 19.863 | 285.947 | 21.617 | 282.322 | 22.08 | 284.333 | 22.3 | 284.467 | 10.368 | 889.6 | 29.739 | 24.9423
2019-05-14 18:15:00 | 19.325 | 286.933 | 21.135 | 283.985 | 21.627 | 285.467 | 21.961 | 285.4 | 10.297 | 890.033 | 27.445 | 30.4542
2019-05-14 18:30:00 | 19.697 | 284.48 | 22.08 | 281.714 | 22.174 | 285.1 | 22.445 | 283.733 | 10.301 | 889.8 | 25.693 | 29.7671
2019-05-14 18:45:00 | 18.282 | 288.187 | 20.367 | 283.096 | 20.863 | 286.1 | 21.204 | 283.867 | 10.447 | 889.75 | 26.595 | 30.5913
2019-05-14 19:00:00 | 16.623 | 284.76 | 18.617 | 281.223 | 19.069 | 285.433 | 19.524 | 284.067 | 10.345 | 889.517 | 24.368 | 30.0023
2019-05-14 19:15:00 | 16.314 | 278.68 | 17.443 | 276.82 | 18.439 | 278.833 | 19.432 | 277.133 | 9.997 | 889.667 | 27.067 | 32.9383
2019-05-14 19:30:00 | 16.918 | 279.107 | 18.132 | 276.944 | 18.887 | 278.267 | 19.529 | 278.067 | 9.835 | 889.483 | 29.325 | 33.4599
2019-05-14 19:45:00 | 16.325 | 284.467 | 18.158 | 280.837 | 19.022 | 283.433 | 19.683 | 282.4 | 9.616 | 889.85 | 28.187 | 32.7863
2019-05-14 20:00:00 | 15.037 | 285.093 | 16.81 | 279.614 | 17.557 | 280.433 | 17.938 | 281.5 | 9.678 | 890.083 | 26.661 | 34.3445
2019-05-14 20:15:00 | 13.87 | 287.32 | 15.366 | 285.898 | 15.789 | 286.433 | 16.631 | 287.2 | 9.806 | 889.967 | 25.408 | 41.382
2019-05-14 20:30:00 | 12.482 | 283.76 | 13.888 | 280.973 | 14.251 | 283.733 | 14.781 | 283.533 | 9.299 | 890.183 | 27.072 | 43.071
2019-05-14 20:45:00 | 12.571 | 288.133 | 13.742 | 286.76 | 14.379 | 289.067 | 14.783 | 287.533 | 9.408 | 889.717 | 27.32 | 46.1449
2019-05-14 21:00:00 | 11.426 | 284.373 | 12.548 | 280.175 | 13.006 | 283.067 | 13.651 | 280.2 | 8.849 | 889.767 | 28.171 | 50.9142
2019-05-14 21:15:00 | 9.222 | 282.52 | 10.753 | 280.327 | 11.535 | 281.8 | 11.962 | 282.167 | 8.962 | 889.367 | 25.864 | 57.45
2019-05-14 21:30:00 | 7.179 | 267.713 | 8.851 | 264.896 | 9.568 | 267.85 | 10.062 | 264.683 | 8.35 | 889.417 | 28.203 | 55.0981
2019-05-14 21:45:00 | 6.779 | 267.773 | 8.156 | 264.654 | 8.511 | 269.233 | 8.742 | 266 | 8.371 | 889.883 | 29.363 | 42.8493
2019-05-14 22:00:00 | 6.023 | 262.407 | 7.181 | 260.873 | 7.606 | 267.467 | 7.691 | 263.3 | 7.94 | 890.117 | 29.085 | 36.4023
2019-05-14 22:15:00 | 5.394 | 247.333 | 6.133 | 246.984 | 6.668 | 251.8 | 6.856 | 249.55 | 7.639 | 889.833 | 29.043 | 32.8225
2019-05-14 22:30:00 | 5.716 | 246.213 | 6.83 | 246.477 | 7.438 | 252.567 | 7.434 | 249.8 | 7.449 | 889.583 | 29.781 | 38.2121
2019-05-14 22:45:00 | 6.11 | 245.467 | 7.404 | 246.016 | 7.69 | 252.667 | 7.562 | 248.45 | 7.406 | 889.583 | 30.096 | 34.7297
2019-05-14 23:00:00 | 5.542 | 234.42 | 6.958 | 232.4 | 7.202 | 238.433 | 7.134 | 234.267 | 6.916 | 889.7 | 30.805 | 36.175
2019-05-14 23:15:00 | 5.047 | 252.993 | 5.669 | 255.284 | 6.022 | 261.533 | 6.235 | 257.4 | 7.006 | 889.967 | 30.056 | 23.3684
2019-05-14 23:30:00 | 5.112 | 250.627 | 5.514 | 252.869 | 5.656 | 259.6 | 5.708 | 254.733 | 6.44 | 889.633 | 30.669 | 27.6403
2019-05-14 23:45:00 | 5.175 | 246.1 | 6.203 | 243.257 | 6.606 | 248.967 | 6.55 | 244.667 | 6.31 | 889.75 | 32.171 | 34.6863