## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-15 00:00:00 | 6.506 | 242.647 | 7.624 | 244.688 | 7.638 | 251.067 | 7.578 | 246.767 | 5.918 | 889.917 | 33.397 | 39.327
2019-05-15 00:15:00 | 6.113 | 240.447 | 7.187 | 245.873 | 7.536 | 251.767 | 7.566 | 247.583 | 5.869 | 889.817 | 33.92 | 30.4279
2019-05-15 00:30:00 | 5.771 | 225.18 | 7.062 | 231.684 | 7.319 | 240.467 | 7.349 | 236.533 | 4.908 | 889.233 | 34.688 | 30.8635
2019-05-15 00:45:00 | 4.705 | 209.633 | 6.833 | 202.769 | 7.57 | 205.5 | 7.94 | 200.567 | 4.919 | 890.133 | 33.627 | 27.57
2019-05-15 01:00:00 | 5.125 | 205.18 | 6.855 | 202.064 | 7.701 | 206.033 | 8.368 | 202.667 | 5.538 | 889.883 | 34.987 | 18.8641
2019-05-15 01:15:00 | 3.946 | 214.08 | 5.904 | 214.016 | 6.79 | 220.867 | 7.189 | 217.667 | 5.339 | 889.5 | 35.355 | 22.2684
2019-05-15 01:30:00 | 5.697 | 228.393 | 7.23 | 226.302 | 7.782 | 229 | 8.11 | 222.767 | 5.345 | 889.717 | 36.085 | 34.2969
2019-05-15 01:45:00 | 5.729 | 231.68 | 7.454 | 226.917 | 8.289 | 229.833 | 8.671 | 222.6 | 6.632 | 889.683 | 33.093 | 41.0565
2019-05-15 02:00:00 | 6.232 | 222.567 | 8.536 | 217.849 | 9.689 | 220.267 | 10.125 | 215.133 | 6.956 | 889.883 | 31.029 | 48.0343
2019-05-15 02:15:00 | 5.467 | 227.587 | 7.316 | 219.231 | 8.796 | 219.733 | 9.454 | 214.033 | 6.766 | 889.75 | 31.168 | 41.7785
2019-05-15 02:30:00 | 5.026 | 218.233 | 6.534 | 213.536 | 7.947 | 217.367 | 8.684 | 214.1 | 6.872 | 889.917 | 31.264 | 46.9159
2019-05-15 02:45:00 | 5.853 | 216.18 | 7.529 | 219.936 | 9.002 | 225.133 | 9.946 | 220.767 | 6.681 | 889.683 | 32.555 | 62.1831
2019-05-15 03:00:00 | 8.721 | 224.467 | 10.223 | 225.053 | 11.674 | 229.133 | 12.265 | 224.5 | 8.474 | 889.85 | 29.605 | 71.5477
2019-05-15 03:15:00 | 8.519 | 226.84 | 10.595 | 225.02 | 12.078 | 230.633 | 12.473 | 227.667 | 8.564 | 889.9 | 28.448 | 71.321
2019-05-15 03:30:00 | 7.748 | 224.24 | 9.496 | 223.598 | 10.525 | 228.867 | 10.828 | 226.1 | 8.933 | 889.767 | 27.589 | 57.3399
2019-05-15 03:45:00 | 7.177 | 221.513 | 8.508 | 220.996 | 9.436 | 227.633 | 9.61 | 223.833 | 9.099 | 889.667 | 27.76 | 45.6177
2019-05-15 04:00:00 | 6.018 | 219.473 | 7.836 | 215.045 | 8.821 | 219.7 | 9.012 | 216.6 | 8.688 | 889.817 | 28.411 | 42.8983
2019-05-15 04:15:00 | 6.64 | 206.353 | 8.384 | 203.981 | 8.819 | 208.033 | 9.182 | 204.467 | 7.629 | 889.517 | 28.629 | 40.3403
2019-05-15 04:30:00 | 5.742 | 210.147 | 7.4 | 207.423 | 8.031 | 212.7 | 8.312 | 213.133 | 7.532 | 889.517 | 28.827 | 42.6361
2019-05-15 04:45:00 | 5.863 | 221.4 | 7.675 | 222.154 | 8.388 | 230.667 | 8.701 | 228.5 | 6.972 | 889.383 | 30.453 | 46.378
2019-05-15 05:00:00 | 5.721 | 236.18 | 7.338 | 234.916 | 8.301 | 241 | 8.464 | 237.233 | 7.566 | 889.95 | 30.352 | 35.8545
2019-05-15 05:15:00 | 5.454 | 232.453 | 6.863 | 233.379 | 7.489 | 240.4 | 7.506 | 235.9 | 8.18 | 889.483 | 29.285 | 25.9556
2019-05-15 05:30:00 | 4.617 | 234.887 | 6.447 | 234.333 | 7.339 | 241.533 | 7.278 | 237 | 7.712 | 889.717 | 29.499 | 28.2798
2019-05-15 05:45:00 | 5.553 | 219.287 | 7.378 | 222.188 | 7.864 | 228.267 | 7.912 | 224.5 | 8.03 | 889.6 | 29.648 | 26.0316
2019-05-15 06:00:00 | 4.831 | 226.427 | 6.294 | 225.53 | 6.853 | 230.7 | 6.965 | 226 | 7.676 | 889.95 | 29.792 | 15.5479
2019-05-15 06:15:00 | 4.274 | 220.14 | 5.866 | 224.154 | 6.323 | 232.9 | 6.368 | 230.267 | 7.753 | 889.6 | 30.384 | 12.1585
2019-05-15 06:30:00 | 4.18 | 219.107 | 5.034 | 228.585 | 5.529 | 236.933 | 5.699 | 233.9 | 7.553 | 889.7 | 31.317 | 6.0967
2019-05-15 06:45:00 | 3.982 | 224.4 | 4.154 | 226.936 | 4.486 | 238.733 | 4.603 | 237.033 | 7.339 | 889.35 | 32.123 | 4.5057
2019-05-15 07:00:00 | 4.072 | 227.16 | 4.204 | 228.504 | 4.912 | 239.833 | 5.303 | 237.867 | 8.193 | 889.45 | 31.504 | 4.6407
2019-05-15 07:15:00 | 4.453 | 227.44 | 5.076 | 227.935 | 5.404 | 238.067 | 4.666 | 237.267 | 7.903 | 889.667 | 32.549 | 6.415
2019-05-15 07:30:00 | 3.538 | 231.287 | 4.512 | 231.539 | 4.636 | 239.5 | 4.554 | 235.433 | 7.93 | 889.517 | 32.667 | 4.0033
2019-05-15 07:45:00 | 2.537 | 268.147 | 3.11 | 277.842 | 3.196 | 281.467 | 3.314 | 272.867 | 8.394 | 889.65 | 33.459 | 0.29204
2019-05-15 08:00:00 | 2.267 | 222.64 | 2.273 | 221.199 | 2.547 | 230.733 | 1.811 | 236.067 | 9.449 | 889.733 | 31.765 | 0.24088
2019-05-15 08:15:00 | 0.269 | 232.527 | 0 | 224.43 | 0 | 230 | 0 | 231 | 12.224 | 889.7 | 27.04 | 0.17764
2019-05-15 08:30:00 | 0 | 280.747 | 0 | 224.537 | 0 | 308.2 | 0.632 | 227.317 | 11.64 | 889.683 | 25.952 | 0.17196
2019-05-15 08:45:00 | 0.633 | 118.947 | 0.226 | 173.467 | 0.347 | 151.6 | 0.91 | 187.433 | 13.224 | 890.05 | 22.293 | 0.17196
2019-05-15 09:00:00 | 0.24 | 205.313 | 0.174 | 201.47 | 0.556 | 188.5 | 0.829 | 189.2 | 13.872 | 889.333 | 22.469 | 0.16769
2019-05-15 09:15:00 | 0.573 | 211.92 | 0.127 | 249.535 | 0.33 | 262.8 | 0.424 | 266.533 | 14.791 | 889.7 | 22.363 | 0.20038
2019-05-15 09:30:00 | 1.332 | 156.438 | 0.659 | 149.754 | 0.597 | 165.467 | 0.702 | 272.533 | 13.232 | 889.083 | 21.667 | 0.17267
2019-05-15 09:45:00 | 3.02 | 208.764 | 2.712 | 243.876 | 2.958 | 189.333 | 3.057 | 188.8 | 13.201 | 889.533 | 22.861 | 0.3901
2019-05-15 10:00:00 | 2.8 | 15.977 | 2.789 | 25.863 | 2.731 | 5.034 | 2.658 | 40.1 | 14.099 | 890 | 22.557 | 1.4382
2019-05-15 10:15:00 | 3.277 | 18.67 | 3.285 | 132.39 | 3.346 | 96.3 | 3.466 | 95.267 | 14.574 | 889.367 | 21.957 | 1.0957
2019-05-15 10:30:00 | 3.103 | 246.544 | 3.022 | 229.345 | 3.323 | 197.734 | 3.716 | 216.1 | 14.52 | 889.633 | 21.867 | 0.2892
2019-05-15 10:45:00 | 3.552 | 38.591 | 3.459 | 30.47 | 3.829 | 28.533 | 3.674 | 10.067 | 14.574 | 889.667 | 21.301 | 0.92658
2019-05-15 11:00:00 | 3.066 | 128.791 | 3.17 | 186.432 | 3.352 | 189.368 | 3.338 | 117.733 | 15.084 | 889.617 | 20.947 | 1.4822
2019-05-15 11:15:00 | 3.393 | 280.72 | 3.22 | 312.211 | 3.39 | 247.567 | 3.49 | 227.867 | 15.989 | 889.583 | 20.169 | 1.6755
2019-05-15 11:30:00 | 3.678 | 203.693 | 3.619 | 227.433 | 3.891 | 254.133 | 4.309 | 307.133 | 16.348 | 889.633 | 20.312 | 3.054
2019-05-15 11:45:00 | 3.688 | 284.013 | 3.853 | 321.942 | 4.09 | 287.567 | 4.139 | 270.1 | 16.998 | 889.283 | 21.155 | 8.4849
2019-05-15 12:00:00 | 2.702 | 232.734 | 3.158 | 207.528 | 2.996 | 243.9 | 3.263 | 257.233 | 16.948 | 889.9 | 21.192 | 9.0356
2019-05-15 12:15:00 | 4.177 | 334.973 | 4.216 | 316.487 | 4.375 | 284.833 | 4.428 | 317.233 | 17.698 | 889.333 | 20.06 | 9.2942
2019-05-15 12:30:00 | 5.426 | 289.106 | 5.372 | 297.586 | 5.767 | 301.2 | 6.034 | 282.5 | 18.394 | 889.433 | 19.613 | 18.6438
2019-05-15 12:45:00 | 5.725 | 316.56 | 6.099 | 310.274 | 6.075 | 315.367 | 6.146 | 318 | 18.127 | 889.717 | 20.637 | 12.7504
2019-05-15 13:00:00 | 5.587 | 326.747 | 6.43 | 319.22 | 7.08 | 320.4 | 7.814 | 316.9 | 17.618 | 889.6 | 20.956 | 38.3201
2019-05-15 13:15:00 | 12.632 | 289.773 | 13.648 | 288.115 | 13.69 | 292.833 | 14.122 | 290.333 | 20.144 | 889.667 | 20.705 | 65.0105
2019-05-15 13:30:00 | 12.034 | 285.067 | 13.079 | 282.659 | 13.117 | 285.867 | 13.216 | 285.567 | 19.689 | 889.8 | 21.752 | 63.0756
2019-05-15 13:45:00 | 12.622 | 293.373 | 13.659 | 288.426 | 13.776 | 292.667 | 14.523 | 291.167 | 20.635 | 889.8 | 20.952 | 54.968
2019-05-15 14:00:00 | 11.475 | 292.4 | 12.278 | 285.95 | 12.741 | 290.333 | 12.972 | 286.933 | 19.794 | 889.867 | 21.656 | 55.3197
2019-05-15 14:15:00 | 12.01 | 297.093 | 12.596 | 290.694 | 12.758 | 292.4 | 13.121 | 289.933 | 19.939 | 889.667 | 21.203 | 52.4213
2019-05-15 14:30:00 | 12.718 | 290.053 | 13.778 | 284.485 | 14.427 | 287.9 | 14.813 | 286.133 | 20.935 | 889.617 | 19.932 | 51.6127
2019-05-15 14:45:00 | 12.993 | 281.4 | 13.82 | 279.49 | 14.175 | 283.933 | 14.567 | 280.7 | 20.644 | 889.25 | 20.503 | 45.855
2019-05-15 15:00:00 | 14.532 | 289.52 | 16.194 | 286.571 | 16.5 | 290.567 | 17.004 | 287.133 | 21.073 | 889.633 | 20.379 | 45.5011
2019-05-15 15:15:00 | 14.867 | 294.52 | 16.105 | 287.628 | 16.783 | 291.433 | 17.063 | 288.933 | 21.106 | 889.25 | 20.529 | 45.0059
2019-05-15 15:30:00 | 10.729 | 289.413 | 11.749 | 286.759 | 12.012 | 289.467 | 12.398 | 285.7 | 20.86 | 889.633 | 20.711 | 42.7441
2019-05-15 15:45:00 | 13.512 | 274.42 | 14.766 | 269.523 | 15.017 | 274.5 | 15.222 | 270.55 | 21.339 | 889.267 | 19.491 | 36.8791
2019-05-15 16:00:00 | 15.15 | 291.293 | 16.386 | 289.348 | 16.818 | 292.033 | 17.277 | 290.4 | 21.027 | 889.483 | 20.069 | 35.6854
2019-05-15 16:15:00 | 13.266 | 284.413 | 14.312 | 283.39 | 14.612 | 287.333 | 15.004 | 285.867 | 20.964 | 889.55 | 20.604 | 34.3324
2019-05-15 16:30:00 | 14.237 | 288.093 | 15.327 | 284.756 | 15.982 | 287.8 | 15.896 | 286.7 | 20.86 | 889.5 | 20.365 | 34.3992
2019-05-15 16:45:00 | 16.094 | 299.44 | 17.447 | 295.418 | 17.604 | 300.033 | 17.949 | 298.633 | 20.735 | 889.667 | 20.057 | 33.9082
2019-05-15 17:00:00 | 14.725 | 285.573 | 15.95 | 283.591 | 16.267 | 289.867 | 16.802 | 288.433 | 21.231 | 889.567 | 19.879 | 34.3978
2019-05-15 17:15:00 | 14.267 | 303.827 | 15.218 | 297.818 | 15.893 | 302.633 | 16.328 | 299.267 | 20.364 | 889.683 | 20.973 | 34.7261
2019-05-15 17:30:00 | 14.232 | 304.88 | 15.128 | 301.008 | 15.759 | 305.1 | 16.517 | 301.033 | 20.556 | 889.733 | 20.984 | 33.9125
2019-05-15 17:45:00 | 15.584 | 303.413 | 16.473 | 299.507 | 17.03 | 301.9 | 17.156 | 300.267 | 20.352 | 889.767 | 21.397 | 36.3043
2019-05-15 18:00:00 | 12.983 | 309.04 | 13.721 | 303.906 | 14.216 | 307.9 | 15.023 | 305.3 | 20.227 | 889.733 | 22.104 | 41.6541
2019-05-15 18:15:00 | 14.367 | 306.08 | 15.179 | 302.024 | 15.389 | 305.9 | 15.743 | 304.667 | 20.285 | 889.65 | 22.467 | 53.6243
2019-05-15 18:30:00 | 13.495 | 304.08 | 14.672 | 299.549 | 15.104 | 304.867 | 15.876 | 304.233 | 20.131 | 889.283 | 22.485 | 69.902
2019-05-15 18:45:00 | 12.111 | 303.173 | 12.704 | 297.818 | 13.428 | 300.967 | 13.82 | 298.367 | 19.748 | 889.767 | 22.645 | 71.6386
2019-05-15 19:00:00 | 10.651 | 298.947 | 11.737 | 294.484 | 11.891 | 301.033 | 12.223 | 298.933 | 19.618 | 889.4 | 23.027 | 68.6606
2019-05-15 19:15:00 | 11.646 | 297.013 | 12.734 | 292.337 | 12.833 | 298.3 | 13.233 | 295.367 | 19.464 | 889.533 | 22.995 | 66.9652
2019-05-15 19:30:00 | 8.508 | 318.893 | 9.295 | 315.188 | 9.594 | 318.667 | 9.729 | 317.8 | 19.718 | 889.55 | 23.605 | 60.4323
2019-05-15 19:45:00 | 9.002 | 319.04 | 9.625 | 312.195 | 9.751 | 315.6 | 10.161 | 314.5 | 19.168 | 890.05 | 24.144 | 52.4284
2019-05-15 20:00:00 | 9.071 | 322.6 | 9.768 | 313.271 | 10.129 | 316.233 | 10.656 | 313.3 | 18.456 | 889.6 | 26.763 | 56.0808
2019-05-15 20:15:00 | 8.753 | 313.4 | 9.341 | 305.961 | 9.92 | 310 | 10.264 | 307.367 | 18.723 | 890.15 | 26.339 | 60.7364
2019-05-15 20:30:00 | 9.666 | 308.68 | 10.177 | 301.403 | 10.792 | 307.333 | 11.61 | 303.733 | 18.127 | 889.75 | 27.061 | 56.8197
2019-05-15 20:45:00 | 7.898 | 344.027 | 8.527 | 338.425 | 8.902 | 342.267 | 9.047 | 338.7 | 16.848 | 889.567 | 33.715 | 49.7205
2019-05-15 21:00:00 | 9.132 | 338.707 | 10.176 | 333.439 | 10.365 | 338.233 | 10.638 | 337.267 | 15.856 | 889.483 | 37.853 | 60.9361
2019-05-15 21:15:00 | 8.619 | 324.773 | 9.554 | 331.06 | 9.776 | 336.733 | 9.975 | 335.367 | 14.924 | 889.417 | 40.571 | 55.653
2019-05-15 21:30:00 | 7.407 | 321.253 | 8.464 | 315.846 | 9.256 | 319.667 | 9.632 | 318.6 | 14.428 | 889.85 | 42.256 | 39.6574
2019-05-15 21:45:00 | 6.466 | 304.64 | 7.459 | 300.41 | 7.908 | 309 | 8.138 | 306.133 | 14.049 | 889.917 | 44.213 | 31.331
2019-05-15 22:00:00 | 6.314 | 299.027 | 6.97 | 295.548 | 7.523 | 300.8 | 8.07 | 299.733 | 13.26 | 889.917 | 45.925 | 27.6965
2019-05-15 22:15:00 | 6.057 | 287.307 | 6.592 | 284.391 | 6.953 | 291.3 | 7.228 | 289.667 | 12.749 | 889.908 | 47.44 | 21.8307
2019-05-15 22:30:00 | 5.258 | 284.773 | 5.859 | 282.059 | 6.261 | 285.8 | 6.479 | 282.133 | 12.488 | 890.025 | 48.693 | 11.6043
2019-05-15 22:45:00 | 4.384 | 279.733 | 5.046 | 277.484 | 5.345 | 281.633 | 5.492 | 279.1 | 12.316 | 890.108 | 49.525 | 7.9512
2019-05-15 23:00:00 | 3.587 | 282.88 | 4.288 | 280.814 | 4.793 | 282.533 | 5.038 | 280.833 | 12.016 | 889.983 | 50.416 | 4.4922
2019-05-15 23:15:00 | 4.219 | 272.08 | 4.657 | 269.206 | 4.778 | 274.633 | 4.824 | 269.167 | 11.761 | 890.108 | 51.045 | 3.4249
2019-05-15 23:30:00 | 3.35 | 278.4 | 3.886 | 272.043 | 4.252 | 275.267 | 4.376 | 269.767 | 11.178 | 889.583 | 51.92 | 2.8906
2019-05-15 23:45:00 | 2.406 | 272.16 | 2.928 | 274.112 | 3.24 | 278.5 | 3.31 | 275.367 | 10.843 | 889.792 | 52.789 | 4.5988