## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-16 00:00:00 | 2.774 | 216.767 | 2.682 | 221.03 | 2.85 | 231.933 | 3.34 | 239.1 | 10.945 | 890 | 53.237 | 18.2033
2019-05-16 00:15:00 | 7.28 | 266.907 | 8.637 | 264.435 | 9.097 | 268 | 9.39 | 264.867 | 11.984 | 889.767 | 47.211 | 49.0774
2019-05-16 00:30:00 | 6.928 | 256.013 | 8.093 | 253.818 | 8.531 | 257.3 | 8.608 | 254.767 | 13.051 | 889.942 | 43.136 | 60.2489
2019-05-16 00:45:00 | 7.421 | 264.627 | 8.837 | 261.511 | 9.193 | 266.933 | 9.384 | 261.083 | 12.751 | 890.467 | 43.104 | 62.1376
2019-05-16 01:00:00 | 7.941 | 268.593 | 9.334 | 265.981 | 9.735 | 270.833 | 9.875 | 268.667 | 12.753 | 889.858 | 42.8 | 60.8188
2019-05-16 01:15:00 | 8.514 | 276.507 | 10.119 | 273.102 | 10.86 | 278.133 | 11.398 | 274.767 | 12.676 | 890.158 | 43.12 | 55.3674
2019-05-16 01:30:00 | 9.555 | 279.5 | 11.084 | 278.452 | 11.724 | 282.733 | 11.899 | 279.967 | 12.301 | 889.875 | 43.36 | 50.6371
2019-05-16 01:45:00 | 9.726 | 287.933 | 11.073 | 283.428 | 11.331 | 286.067 | 11.696 | 283.2 | 11.99 | 890.042 | 44.091 | 38.8836
2019-05-16 02:00:00 | 8.519 | 294.16 | 9.442 | 288.242 | 10.045 | 291 | 10.418 | 287.6 | 11.561 | 889.925 | 44.613 | 34.5072
2019-05-16 02:15:00 | 6.184 | 297.92 | 7.139 | 292.523 | 7.831 | 295.8 | 8.397 | 291.7 | 11.374 | 889.75 | 46.059 | 22.8198
2019-05-16 02:30:00 | 3.797 | 303.333 | 4.69 | 295.157 | 5.388 | 299 | 5.892 | 296.667 | 11.128 | 889.525 | 46.325 | 18.8563
2019-05-16 02:45:00 | 3.523 | 297.4 | 3.875 | 290.339 | 4.36 | 291.367 | 4.703 | 285.767 | 11.311 | 889.917 | 46.864 | 17.858
2019-05-16 03:00:00 | 2.816 | 322.6 | 3.029 | 309.282 | 3.226 | 307.667 | 3.676 | 306.5 | 10.928 | 890.1 | 47.536 | 11.5098
2019-05-16 03:15:00 | 4.171 | 235.087 | 4.808 | 348.66 | 4.855 | 314.833 | 4.796 | 346.867 | 10.736 | 889.992 | 48.805 | 11.6327
2019-05-16 03:30:00 | 3.551 | 245.581 | 4.041 | 345.024 | 4.214 | 344.967 | 4.228 | 343.133 | 10.11 | 890.183 | 49.957 | 8.4586
2019-05-16 03:45:00 | 3.108 | 94.4 | 3.421 | 281.226 | 3.483 | 246.233 | 3.68 | 338.967 | 9.949 | 890.425 | 50.597 | 4.2002
2019-05-16 04:00:00 | 5.839 | 287.52 | 6.492 | 281.604 | 6.641 | 285.333 | 6.978 | 282.433 | 10.226 | 889.767 | 50.885 | 18.4961
2019-05-16 04:15:00 | 7.562 | 264.087 | 8.79 | 264.951 | 9.264 | 268.033 | 9.931 | 261.933 | 10.784 | 889.758 | 49.707 | 25.0574
2019-05-16 04:30:00 | 11.378 | 254.66 | 13.168 | 253.599 | 13.819 | 257.267 | 14.332 | 253.883 | 10.395 | 889.825 | 50.347 | 25.3473
2019-05-16 04:45:00 | 12.883 | 253.513 | 14.754 | 257.003 | 15.23 | 260.667 | 15.151 | 256.717 | 10.128 | 889.875 | 51.381 | 25.3019
2019-05-16 05:00:00 | 11.463 | 258.28 | 12.888 | 255.736 | 13.213 | 262.3 | 13.484 | 255.367 | 10.137 | 889.883 | 52.347 | 24.7718
2019-05-16 05:15:00 | 10.11 | 251.733 | 11.726 | 249.856 | 12.128 | 253.55 | 12.101 | 247.633 | 10.266 | 889.725 | 53.696 | 25.1697
2019-05-16 05:30:00 | 10.336 | 246.38 | 11.564 | 243.895 | 11.929 | 248.4 | 11.756 | 242.033 | 9.858 | 889.858 | 54.091 | 25.9208
2019-05-16 05:45:00 | 9.684 | 251.993 | 10.75 | 253.331 | 10.974 | 257.817 | 10.851 | 253.933 | 9.704 | 889.725 | 54.421 | 25.9506
2019-05-16 06:00:00 | 13.174 | 261.873 | 14.916 | 263.48 | 15.421 | 267.267 | 15.699 | 263.583 | 9.576 | 889.642 | 54.304 | 26.3954
2019-05-16 06:15:00 | 11.762 | 261.433 | 13.245 | 260.54 | 13.682 | 264.067 | 13.838 | 258.883 | 9.404 | 890.35 | 56 | 25.7154
2019-05-16 06:30:00 | 9.26 | 241.027 | 10.584 | 239.829 | 10.965 | 245.533 | 10.763 | 238.933 | 9.091 | 889.908 | 56.352 | 26.3606
2019-05-16 06:45:00 | 10.632 | 242.187 | 11.574 | 239.055 | 12 | 243.767 | 11.897 | 238.2 | 9.378 | 889.675 | 57.291 | 26.7429
2019-05-16 07:00:00 | 9.606 | 244.947 | 10.637 | 243.832 | 10.801 | 247.95 | 10.74 | 241.717 | 8.662 | 889.9 | 57.909 | 27.543
2019-05-16 07:15:00 | 11.129 | 246.567 | 12.125 | 247.547 | 12.458 | 252.067 | 12.393 | 247.817 | 9.108 | 889.567 | 58.635 | 31.8874
2019-05-16 07:30:00 | 11.53 | 252.173 | 12.948 | 250.74 | 13.068 | 255.283 | 13.06 | 250.5 | 8.347 | 889.792 | 58.021 | 40.4618
2019-05-16 07:45:00 | 9.814 | 252.633 | 10.649 | 249.552 | 11.353 | 252.467 | 11.513 | 245.6 | 8.571 | 889.808 | 57.403 | 40.1179
2019-05-16 08:00:00 | 11 | 249.893 | 12.058 | 244.927 | 12.44 | 249.3 | 12.164 | 243.3 | 8.808 | 889.775 | 55.221 | 39.3505
2019-05-16 08:15:00 | 10.757 | 248.393 | 11.855 | 246.027 | 11.99 | 249.5 | 11.764 | 242.9 | 9.095 | 889.833 | 53.365 | 42.1899
2019-05-16 08:30:00 | 10.76 | 246.94 | 12.065 | 245.832 | 12.443 | 250.85 | 12.149 | 245.95 | 8.591 | 890.192 | 50.219 | 45.224
2019-05-16 08:45:00 | 9.223 | 243.847 | 10.146 | 243.136 | 10.526 | 247.733 | 10.311 | 241.65 | 9.078 | 889.833 | 48.043 | 45.0528
2019-05-16 09:00:00 | 11.208 | 248.287 | 12.121 | 244.562 | 12.138 | 247.283 | 11.912 | 242.3 | 9.851 | 890.2 | 46.747 | 47.0438
2019-05-16 09:15:00 | 11.037 | 258.84 | 11.904 | 255.075 | 12.279 | 260.1 | 12.529 | 253.817 | 10.441 | 890.017 | 44.688 | 45.6653
2019-05-16 09:30:00 | 10.635 | 264.12 | 11.694 | 263.806 | 11.942 | 270 | 12.096 | 264.6 | 9.772 | 889.842 | 45.099 | 44.576
2019-05-16 09:45:00 | 10.14 | 269.893 | 10.948 | 265.669 | 11.084 | 269.25 | 10.903 | 263.1 | 9.424 | 889.867 | 44.72 | 40.9819
2019-05-16 10:00:00 | 10.447 | 267.533 | 10.975 | 265.311 | 11 | 269.9 | 11.038 | 265.05 | 9.22 | 889.475 | 44.464 | 38.7969
2019-05-16 10:15:00 | 9.622 | 271.44 | 10.475 | 269.238 | 10.568 | 272.317 | 10.727 | 267.333 | 9.504 | 889.967 | 44.912 | 39.4826
2019-05-16 10:30:00 | 11.091 | 268.593 | 11.995 | 266.552 | 12.156 | 268.583 | 12.254 | 264.683 | 9.249 | 889.583 | 45.547 | 41.1411
2019-05-16 10:45:00 | 12.36 | 253.86 | 13.337 | 255.829 | 13.435 | 260.583 | 13.377 | 256.283 | 9.078 | 889.95 | 46.336 | 40.8839
2019-05-16 11:00:00 | 9.161 | 266.347 | 10.147 | 266.156 | 10.36 | 269.933 | 10.476 | 266.7 | 9.233 | 890.083 | 45.584 | 33.3696
2019-05-16 11:15:00 | 9.401 | 284.12 | 10.266 | 280.656 | 10.64 | 284.267 | 11.035 | 282.533 | 9.366 | 889.883 | 44.885 | 31.1853
2019-05-16 11:30:00 | 9.933 | 271.307 | 10.97 | 270.542 | 11.143 | 275.467 | 11.158 | 271.967 | 9.387 | 889.608 | 41.501 | 32.0302
2019-05-16 11:45:00 | 9.871 | 278.24 | 10.611 | 277.079 | 10.696 | 279.367 | 11.051 | 277.4 | 9.835 | 889.817 | 37.723 | 30.9317
2019-05-16 12:00:00 | 12.158 | 278.493 | 12.987 | 273.846 | 13.066 | 278.367 | 13.244 | 275.567 | 10.743 | 889.75 | 35.904 | 30.3966
2019-05-16 12:15:00 | 12.887 | 269.313 | 13.801 | 266.587 | 13.938 | 270.567 | 13.993 | 266.133 | 10.38 | 889.817 | 38.245 | 27.0719
2019-05-16 12:30:00 | 11.716 | 263.307 | 12.517 | 261.65 | 12.747 | 267.4 | 12.626 | 262.717 | 11.261 | 889.733 | 38.333 | 27.2687
2019-05-16 12:45:00 | 10.736 | 270.5 | 11.594 | 267.499 | 11.703 | 271.783 | 11.843 | 266.7 | 11.34 | 889.717 | 39.045 | 27.0541
2019-05-16 13:00:00 | 11.445 | 274.753 | 12.176 | 275.61 | 12.305 | 280.133 | 12.402 | 278.333 | 10.893 | 889.767 | 39.747 | 27.0498
2019-05-16 13:15:00 | 12.025 | 275.713 | 12.82 | 272.388 | 13.287 | 276.8 | 13.62 | 274.017 | 10.995 | 889.75 | 37.691 | 27.2929
2019-05-16 13:30:00 | 10.76 | 267.353 | 12.384 | 265.161 | 12.672 | 270.867 | 13.042 | 266.85 | 11.37 | 889.883 | 36.28 | 27.0832
2019-05-16 13:45:00 | 11.412 | 287.373 | 12.152 | 283.484 | 12.483 | 285.3 | 12.761 | 282.867 | 11.166 | 889.55 | 36.469 | 27.2545
2019-05-16 14:00:00 | 10.171 | 291.893 | 11.379 | 288.141 | 11.724 | 296.133 | 11.966 | 292.033 | 11.511 | 889.667 | 36.643 | 27.3959
2019-05-16 14:15:00 | 10.157 | 309.96 | 10.989 | 304.722 | 11.216 | 307.633 | 11.465 | 304.2 | 11.395 | 889.533 | 36.584 | 27.5998
2019-05-16 14:30:00 | 11.015 | 295.253 | 11.894 | 290.978 | 12.351 | 294.067 | 12.632 | 291.167 | 11.495 | 889.55 | 37.187 | 27.3987
2019-05-16 14:45:00 | 9.993 | 281.04 | 11.054 | 278.508 | 11.148 | 282.067 | 11.331 | 278.333 | 11.636 | 889.567 | 36.843 | 27.4805
2019-05-16 15:00:00 | 10.366 | 281.813 | 10.7 | 278.862 | 10.758 | 282.367 | 10.852 | 281.1 | 12.186 | 889.683 | 35.6 | 27.4954
2019-05-16 15:15:00 | 9.33 | 274.647 | 10.171 | 274.862 | 10.63 | 280.367 | 11.213 | 276.667 | 13.024 | 889.6 | 33.92 | 27.2922
2019-05-16 15:30:00 | 9.724 | 282.747 | 10.322 | 278.319 | 10.505 | 283 | 10.725 | 281.067 | 12.995 | 890.05 | 32.272 | 26.8843
2019-05-16 15:45:00 | 12.053 | 305.587 | 12.575 | 298.717 | 12.897 | 303.3 | 13.208 | 300.367 | 13.074 | 889.75 | 29.245 | 27.3348
2019-05-16 16:00:00 | 13.454 | 301.693 | 14.208 | 299.547 | 14.593 | 305.067 | 15.297 | 302.4 | 12.545 | 889.217 | 31.277 | 26.9838
2019-05-16 16:15:00 | 13.152 | 297.28 | 13.609 | 291.28 | 13.863 | 294.767 | 14.611 | 292.533 | 12.07 | 890.05 | 33.211 | 26.7386
2019-05-16 16:30:00 | 12.229 | 297.76 | 13.02 | 292.063 | 13.228 | 297 | 13.857 | 293.067 | 11.82 | 889.767 | 34.987 | 26.9852
2019-05-16 16:45:00 | 10.954 | 295.613 | 12.03 | 291.361 | 12.26 | 294.267 | 12.449 | 292.633 | 11.811 | 889.75 | 35.541 | 31.9215
2019-05-16 17:00:00 | 10.69 | 284.6 | 11.632 | 283.012 | 12.168 | 286.333 | 12.516 | 283.267 | 12.011 | 889.717 | 32.829 | 32.4644
2019-05-16 17:15:00 | 10.582 | 290.147 | 11.975 | 285.998 | 12.076 | 288.767 | 12.574 | 287.333 | 12.053 | 889.867 | 30.611 | 32.2313
2019-05-16 17:30:00 | 12.824 | 306.64 | 13.869 | 301.393 | 14.355 | 307.1 | 14.93 | 302.4 | 11.807 | 889.517 | 31.019 | 32.5617
2019-05-16 17:45:00 | 12.131 | 284.827 | 13.436 | 282.714 | 13.88 | 286.167 | 14.342 | 284.667 | 12.107 | 889.85 | 31.643 | 32.2007
2019-05-16 18:00:00 | 13.58 | 289.48 | 14.323 | 285.476 | 14.729 | 289.767 | 15.115 | 288.5 | 11.761 | 889.633 | 28.773 | 32.7962
2019-05-16 18:15:00 | 11.836 | 297.773 | 12.839 | 295.483 | 13.543 | 297.633 | 14.372 | 295.833 | 11.811 | 890.033 | 28.696 | 38.0764
2019-05-16 18:30:00 | 12.014 | 297.147 | 13.112 | 295.764 | 13.665 | 299.3 | 14.316 | 296.167 | 11.336 | 889.55 | 30.189 | 42.3711
2019-05-16 18:45:00 | 11.371 | 294 | 12.562 | 291.434 | 12.881 | 296.1 | 13.486 | 293.167 | 10.845 | 889.817 | 31.165 | 40.989
2019-05-16 19:00:00 | 12.806 | 298.573 | 13.959 | 292.025 | 14.088 | 296.8 | 14.298 | 291.9 | 10.626 | 890.1 | 32.512 | 40.4135
2019-05-16 19:15:00 | 11.419 | 294.88 | 12.606 | 289.677 | 12.862 | 293.867 | 13.182 | 290.433 | 10.334 | 889.667 | 33.371 | 40.9436
2019-05-16 19:30:00 | 10.183 | 293.507 | 11.729 | 288.113 | 12.523 | 290.367 | 13.446 | 287.4 | 10.609 | 889.633 | 35.715 | 41.6037
2019-05-16 19:45:00 | 10.831 | 293.44 | 11.92 | 287.439 | 12.65 | 290.4 | 13.112 | 286.2 | 10.576 | 889.717 | 36.176 | 42.5857
2019-05-16 20:00:00 | 10.22 | 293.893 | 11.094 | 289.424 | 11.598 | 290.933 | 11.968 | 288.4 | 10.268 | 889.817 | 36.229 | 42.2425
2019-05-16 20:15:00 | 11.52 | 275.067 | 12.767 | 273.292 | 12.889 | 276.767 | 12.978 | 272.067 | 10.37 | 889.683 | 36.491 | 42.7385
2019-05-16 20:30:00 | 11.064 | 275.56 | 11.756 | 272.262 | 11.847 | 274.467 | 12.085 | 272.033 | 9.874 | 889.517 | 37.056 | 47.3728
2019-05-16 20:45:00 | 10.282 | 276.36 | 11.618 | 275.353 | 11.791 | 277.833 | 11.872 | 274.767 | 9.791 | 889.933 | 36.627 | 50.679
2019-05-16 21:00:00 | 10.323 | 273.267 | 11.594 | 271.33 | 11.968 | 275.5 | 12.244 | 272.133 | 9.528 | 889.733 | 36.752 | 53.9213
2019-05-16 21:15:00 | 9.734 | 280.32 | 10.505 | 278.049 | 10.753 | 281.033 | 11.143 | 278.033 | 8.958 | 890.1 | 37.973 | 53.3934
2019-05-16 21:30:00 | 8.202 | 280.147 | 8.95 | 275.523 | 9.353 | 278.133 | 9.456 | 276.267 | 8.82 | 889.667 | 37.717 | 52.4604
2019-05-16 21:45:00 | 9.238 | 290.107 | 10.22 | 284.905 | 10.456 | 288.633 | 10.808 | 285.133 | 8.97 | 889.233 | 37.664 | 55.7233
2019-05-16 22:00:00 | 8.717 | 292.04 | 9.625 | 286.931 | 9.783 | 291.967 | 10.626 | 291.3 | 8.595 | 889.383 | 37.416 | 47.9498
2019-05-16 22:15:00 | 8.443 | 310.547 | 9.179 | 302.73 | 9.552 | 306.8 | 10.164 | 302.933 | 7.803 | 889.8 | 41.048 | 42.737
2019-05-16 22:30:00 | 7.185 | 296.787 | 8.002 | 292.678 | 8.267 | 296.8 | 8.494 | 292.6 | 7.492 | 889.75 | 43.797 | 41.1482
2019-05-16 22:45:00 | 8.684 | 294.16 | 9.759 | 289.829 | 10.097 | 292.367 | 10.693 | 289.567 | 7.582 | 889.917 | 43.632 | 55.7347
2019-05-16 23:00:00 | 10.022 | 297.067 | 11.151 | 293.724 | 11.48 | 298.067 | 11.906 | 294.233 | 7.122 | 890 | 43.541 | 58.3901
2019-05-16 23:15:00 | 8.195 | 290.533 | 9.003 | 284.705 | 9.498 | 288.933 | 9.904 | 284.967 | 6.856 | 890.083 | 44.928 | 57.0919
2019-05-16 23:30:00 | 8.885 | 283.133 | 9.766 | 280.367 | 10.099 | 284.233 | 10.475 | 281.2 | 7.189 | 889.792 | 46.539 | 57.8209
2019-05-16 23:45:00 | 8.809 | 275.867 | 9.727 | 272.881 | 9.775 | 276.233 | 9.654 | 271.067 | 7.156 | 890.133 | 49.723 | 42.9609