## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-17 00:00:00 | 7.659 | 276.453 | 8.381 | 272.413 | 8.72 | 275.667 | 8.621 | 271.4 | 6.588 | 890.283 | 51.365 | 41.76
2019-05-17 00:15:00 | 7.9 | 275 | 8.615 | 270.085 | 8.654 | 272.6 | 8.668 | 268.7 | 6.575 | 890.15 | 52.901 | 42.791
2019-05-17 00:30:00 | 6.619 | 268.473 | 7.313 | 262.667 | 7.587 | 266.55 | 7.652 | 258.667 | 6.486 | 890.175 | 52.517 | 50.9512
2019-05-17 00:45:00 | 8.493 | 265.773 | 9.56 | 262.383 | 9.61 | 266.433 | 9.698 | 262.983 | 6.235 | 889.942 | 50.907 | 48.3548
2019-05-17 01:00:00 | 7.752 | 269.507 | 8.792 | 264.551 | 8.888 | 268.15 | 9.25 | 264.55 | 6.565 | 890.367 | 47.733 | 37.7126
2019-05-17 01:15:00 | 6.226 | 276.48 | 7.013 | 271.033 | 7.18 | 274.3 | 7.51 | 268.767 | 6.413 | 889.608 | 48 | 19.8717
2019-05-17 01:30:00 | 5.761 | 277.227 | 6.299 | 270.499 | 6.55 | 274.9 | 6.727 | 268.933 | 6.568 | 889.492 | 48.117 | 20.6469
2019-05-17 01:45:00 | 5.658 | 273.027 | 6.131 | 269.351 | 6.317 | 273.9 | 6.314 | 269.567 | 6.413 | 889.758 | 46.976 | 20.8445
2019-05-17 02:00:00 | 5.568 | 266.453 | 5.856 | 260.719 | 6.149 | 263.333 | 6.18 | 258.4 | 6.22 | 889.625 | 46.48 | 20.5702
2019-05-17 02:15:00 | 4.922 | 260.373 | 5.138 | 255.737 | 5.305 | 260.2 | 5.232 | 255.067 | 6.535 | 889.875 | 46.251 | 20.7663
2019-05-17 02:30:00 | 5.599 | 263.66 | 6.105 | 256.955 | 6.347 | 261.183 | 6.131 | 255.917 | 6.492 | 889.608 | 45.893 | 16.4247
2019-05-17 02:45:00 | 5.314 | 267.287 | 5.976 | 262.594 | 6.17 | 266.967 | 6.175 | 260.467 | 6.18 | 890.05 | 45.573 | 19.2208
2019-05-17 03:00:00 | 5.67 | 266.32 | 6.153 | 262.684 | 6.63 | 264.567 | 6.607 | 258.433 | 6.22 | 889.983 | 45.2 | 18.3618
2019-05-17 03:15:00 | 5.189 | 284.573 | 5.897 | 279.464 | 6.033 | 283.567 | 6.188 | 279.067 | 6.038 | 890.2 | 44.805 | 16.5292
2019-05-17 03:30:00 | 5.207 | 287.68 | 5.966 | 282.186 | 6.169 | 285.633 | 6.295 | 280.933 | 6.147 | 889.575 | 44.101 | 17.2284
2019-05-17 03:45:00 | 6.005 | 290.827 | 6.628 | 287.965 | 6.797 | 291.333 | 7.049 | 288.167 | 5.985 | 889.817 | 41.824 | 17.8246
2019-05-17 04:00:00 | 5.451 | 290.133 | 6.064 | 284.523 | 6.216 | 288.333 | 6.427 | 286.367 | 5.564 | 889.733 | 38.488 | 12.4925
2019-05-17 04:15:00 | 5.544 | 295.907 | 6.082 | 291.472 | 6.392 | 295.4 | 6.549 | 291 | 5.574 | 889.867 | 36.427 | 11.5517
2019-05-17 04:30:00 | 5.095 | 302.8 | 5.701 | 297.736 | 5.924 | 300.533 | 6.114 | 298.9 | 5.316 | 889.75 | 33.872 | 10.6592
2019-05-17 04:45:00 | 4.042 | 297.2 | 4.823 | 291.509 | 5.169 | 294.333 | 5.567 | 290.9 | 5.614 | 889.817 | 32.677 | 12.1486
2019-05-17 05:00:00 | 4.558 | 301.92 | 5.378 | 295.972 | 5.706 | 301.633 | 6.046 | 297.933 | 5.347 | 889.817 | 31.016 | 13.8653
2019-05-17 05:15:00 | 5.303 | 303.227 | 6.243 | 297.163 | 6.682 | 302.333 | 6.92 | 299.267 | 5.24 | 889.317 | 30.763 | 17.163
2019-05-17 05:30:00 | 4.715 | 296.08 | 5.427 | 291.308 | 5.633 | 293.133 | 5.913 | 287.367 | 4.872 | 889.917 | 30.845 | 20.7962
2019-05-17 05:45:00 | 4.306 | 281.933 | 5.036 | 278.692 | 5.323 | 282 | 5.619 | 276.567 | 4.968 | 889.733 | 31.739 | 20.2767
2019-05-17 06:00:00 | 4.948 | 283.973 | 5.975 | 279.777 | 6.436 | 283.167 | 6.719 | 280.333 | 4.878 | 889.683 | 32.912 | 25.1228
2019-05-17 06:15:00 | 5.205 | 282.987 | 5.956 | 280.235 | 6.36 | 284 | 6.696 | 281.667 | 5.014 | 889.833 | 32.389 | 29.6775
2019-05-17 06:30:00 | 5.921 | 285.427 | 6.748 | 280.245 | 7.279 | 283.533 | 7.69 | 281.5 | 5.057 | 889.9 | 31.363 | 35.0736
2019-05-17 06:45:00 | 6.671 | 285.147 | 7.731 | 280.257 | 8.229 | 283.333 | 8.659 | 280.8 | 5.385 | 889.5 | 30.931 | 44.809
2019-05-17 07:00:00 | 6.865 | 271.393 | 7.887 | 269.715 | 8.209 | 273.167 | 8.45 | 269.833 | 4.971 | 889.967 | 31.005 | 46.2167
2019-05-17 07:15:00 | 7.442 | 269.72 | 8.364 | 268.595 | 8.526 | 272.367 | 8.748 | 268.067 | 5.362 | 889.8 | 30.973 | 46.9194
2019-05-17 07:30:00 | 6.904 | 276.013 | 7.841 | 273.189 | 8.302 | 277.167 | 8.661 | 272.933 | 4.888 | 889.467 | 31.219 | 45.3981
2019-05-17 07:45:00 | 6.867 | 277.027 | 7.671 | 273.736 | 7.989 | 278.767 | 8.238 | 275.033 | 5.057 | 890.117 | 31.448 | 39.6681
2019-05-17 08:00:00 | 5.636 | 277.387 | 6.191 | 272.725 | 6.563 | 276.267 | 6.76 | 271.367 | 5.13 | 889.75 | 31.888 | 20.4622
2019-05-17 08:15:00 | 6.801 | 263.213 | 7.378 | 262.821 | 7.809 | 266.883 | 7.743 | 261.667 | 5.088 | 889.867 | 32.176 | 23.7379
2019-05-17 08:30:00 | 7.688 | 248 | 9.022 | 251.525 | 9.056 | 256.783 | 8.661 | 253.083 | 7.089 | 889.583 | 28.584 | 35.5589
2019-05-17 08:45:00 | 8.468 | 257.76 | 9.135 | 257.218 | 9.288 | 262.117 | 9.172 | 259.817 | 6.769 | 889.567 | 28.323 | 38.2313
2019-05-17 09:00:00 | 7.542 | 270.473 | 8.158 | 265.872 | 8.134 | 266.4 | 7.938 | 259.4 | 6.761 | 889.883 | 29.115 | 35.7934
2019-05-17 09:15:00 | 9.089 | 270.973 | 9.537 | 269.083 | 9.567 | 270.933 | 9.654 | 266.583 | 6.681 | 889.517 | 30.155 | 33.6574
2019-05-17 09:30:00 | 9.22 | 263.813 | 9.706 | 257.359 | 9.516 | 259.567 | 9.065 | 254.017 | 6.694 | 889.683 | 30.571 | 31.2649
2019-05-17 09:45:00 | 9.027 | 259.54 | 9.592 | 261.472 | 9.717 | 266.317 | 9.848 | 261.967 | 7.93 | 889.75 | 27.832 | 27.4847
2019-05-17 10:00:00 | 8.257 | 283.333 | 9.149 | 277.823 | 9.427 | 282.733 | 9.804 | 279.1 | 7.039 | 890.167 | 30.101 | 26.8338
2019-05-17 10:15:00 | 9.406 | 279.76 | 10.31 | 278.819 | 10.622 | 282.767 | 10.601 | 280.2 | 7.022 | 889.383 | 30.733 | 26.6917
2019-05-17 10:30:00 | 8.914 | 284.267 | 9.884 | 279.642 | 10.479 | 281.933 | 10.676 | 280.533 | 7.206 | 890.15 | 30.269 | 26.3457
2019-05-17 10:45:00 | 9.911 | 280.473 | 10.667 | 278.399 | 11.03 | 284.333 | 11.299 | 281.133 | 7.836 | 889.583 | 29.592 | 26.0465
2019-05-17 11:00:00 | 7.68 | 271.427 | 7.804 | 271.044 | 8.045 | 278.833 | 8.155 | 272.767 | 8.04 | 889.783 | 29.736 | 25.665
2019-05-17 11:15:00 | 7.512 | 288.873 | 8.266 | 282.156 | 8.775 | 285.5 | 8.933 | 283.3 | 8.461 | 890.083 | 28.427 | 25.5584
2019-05-17 11:30:00 | 8.764 | 297.693 | 9.392 | 292.319 | 9.81 | 297.2 | 10.408 | 295.533 | 8.434 | 890.05 | 27.013 | 25.4035
2019-05-17 11:45:00 | 8.93 | 290.24 | 9.178 | 288.319 | 9.41 | 291.633 | 9.983 | 288.733 | 8.933 | 889.617 | 25.568 | 25.3672
2019-05-17 12:00:00 | 8.738 | 302.093 | 9.238 | 297.196 | 9.42 | 298 | 9.939 | 294.533 | 8.708 | 889.55 | 25.021 | 25.6706
2019-05-17 12:15:00 | 7.722 | 301.267 | 8.154 | 294.438 | 8.693 | 295.633 | 9.082 | 294.133 | 8.558 | 889.917 | 26.987 | 25.8056
2019-05-17 12:30:00 | 9.82 | 292.587 | 10.393 | 291.071 | 10.506 | 293.9 | 11.133 | 292.9 | 9.806 | 889.533 | 25.771 | 25.6024
2019-05-17 12:45:00 | 11.768 | 281.267 | 12.07 | 279.139 | 12.36 | 281.8 | 12.58 | 279.7 | 9.86 | 889.817 | 24.509 | 25.4539
2019-05-17 13:00:00 | 8.761 | 295.173 | 9.025 | 289.024 | 8.842 | 292.633 | 8.925 | 288.867 | 9.733 | 890.05 | 25.264 | 25.1072
2019-05-17 13:15:00 | 10.43 | 281.353 | 11.053 | 277.891 | 10.88 | 280.267 | 11.224 | 278.9 | 9.791 | 889.933 | 24.573 | 25.4894
2019-05-17 13:30:00 | 10.077 | 288.6 | 11.065 | 283.246 | 11.358 | 284.867 | 11.854 | 282.733 | 9.799 | 889.567 | 25.36 | 25.4767
2019-05-17 13:45:00 | 11.113 | 287.58 | 12.054 | 286.32 | 12.116 | 289.967 | 12.372 | 285.167 | 10.297 | 889.683 | 23.907 | 25.3004
2019-05-17 14:00:00 | 12.182 | 278.707 | 13.475 | 277.537 | 13.952 | 281.933 | 14.301 | 279 | 10.122 | 889.9 | 26.299 | 25.5385
2019-05-17 14:15:00 | 13.009 | 294.387 | 13.45 | 291.151 | 13.988 | 294.4 | 14.73 | 293.467 | 10.26 | 889.767 | 25.485 | 25.429
2019-05-17 14:30:00 | 13.182 | 271.847 | 13.882 | 269.72 | 14.147 | 275.9 | 14.158 | 273 | 11.011 | 889.683 | 24.12 | 25.2805
2019-05-17 14:45:00 | 13.236 | 289.133 | 14.225 | 288.2 | 14.407 | 292 | 15.275 | 289.033 | 10.668 | 889.85 | 26.091 | 24.997
2019-05-17 15:00:00 | 11.42 | 295.867 | 12.063 | 291.636 | 12.739 | 294.867 | 13.093 | 292.5 | 10.297 | 889.683 | 24.005 | 24.3469
2019-05-17 15:15:00 | 10.93 | 286.693 | 11.348 | 286.275 | 11.186 | 289.533 | 11.493 | 288.433 | 10.278 | 889.683 | 24.331 | 24.9288
2019-05-17 15:30:00 | 13.143 | 298.52 | 14.425 | 293.318 | 14.776 | 296.9 | 15.424 | 296.233 | 10.824 | 890 | 24.52 | 24.953
2019-05-17 15:45:00 | 12.11 | 291.28 | 13.253 | 283.407 | 13.99 | 286.2 | 14.54 | 284.433 | 10.672 | 889.483 | 25.525 | 24.7078
2019-05-17 16:00:00 | 13.59 | 293.8 | 15.21 | 286.125 | 15.548 | 288.333 | 16.056 | 284.867 | 10.711 | 889.5 | 24.709 | 24.3724
2019-05-17 16:15:00 | 14.354 | 285.333 | 15.665 | 281.215 | 15.609 | 283.267 | 15.502 | 279.933 | 11.061 | 889.867 | 25.165 | 24.5281
2019-05-17 16:30:00 | 13.617 | 300.493 | 14.657 | 295.217 | 15.64 | 297.533 | 16.311 | 295.567 | 10.328 | 889.7 | 27.845 | 24.6766
2019-05-17 16:45:00 | 14.374 | 293.587 | 15.8 | 287.147 | 16.391 | 290.9 | 16.958 | 289.133 | 10.664 | 889.783 | 27.44 | 24.6773
2019-05-17 17:00:00 | 15.702 | 287.313 | 17.051 | 282.286 | 17.412 | 286.6 | 17.996 | 284.667 | 10.878 | 889.733 | 27.037 | 24.6908
2019-05-17 17:15:00 | 18.202 | 286.667 | 19.475 | 284.228 | 19.642 | 287.333 | 20.055 | 285.367 | 10.347 | 889.667 | 27.36 | 24.6105
2019-05-17 17:30:00 | 13.172 | 282.093 | 14.735 | 281.541 | 15.398 | 284.6 | 15.788 | 283.133 | 9.874 | 889.933 | 29.059 | 24.4044
2019-05-17 17:45:00 | 15.376 | 273.993 | 16.772 | 272.849 | 16.941 | 276.467 | 17.387 | 275.633 | 10.168 | 889.4 | 28.493 | 24.4293
2019-05-17 18:00:00 | 14.444 | 277.447 | 16.481 | 276.467 | 16.97 | 279.9 | 17.391 | 277.967 | 10.795 | 889.8 | 25.592 | 25.0738
2019-05-17 18:15:00 | 14.185 | 278.733 | 15.376 | 279.023 | 15.89 | 283.333 | 16.58 | 280.433 | 10.31 | 889.817 | 27.128 | 25.0873
2019-05-17 18:30:00 | 13.442 | 287.56 | 14.63 | 286.944 | 15.567 | 289.567 | 16.219 | 286.633 | 10.135 | 889.65 | 27.627 | 25.9364
2019-05-17 18:45:00 | 17 | 289.747 | 18.505 | 286.06 | 19.16 | 289.233 | 20.127 | 286.9 | 10.147 | 889.917 | 26.976 | 28.7694
2019-05-17 19:00:00 | 14.227 | 286.48 | 15.573 | 280.638 | 16.303 | 283.867 | 16.904 | 282.233 | 9.087 | 889.9 | 30.168 | 34.67
2019-05-17 19:15:00 | 15.828 | 289.027 | 17.072 | 287.965 | 17.317 | 291.4 | 17.872 | 289.667 | 9.645 | 889.683 | 29.312 | 37.6195
2019-05-17 19:30:00 | 14.19 | 287.587 | 15.655 | 283.454 | 16.174 | 285.933 | 16.716 | 283.667 | 9.383 | 889.75 | 30.581 | 40.9819
2019-05-17 19:45:00 | 15.893 | 283.387 | 17.641 | 279.721 | 18.036 | 283.6 | 18.486 | 280.9 | 9.658 | 889.8 | 27.483 | 42.3341
2019-05-17 20:00:00 | 15.73 | 277.347 | 17.586 | 274.321 | 18.051 | 278.8 | 18.38 | 276.833 | 9.245 | 889.533 | 24.408 | 42.9267
2019-05-17 20:15:00 | 15.945 | 286.413 | 17.941 | 285.363 | 18.611 | 289 | 19.436 | 285.667 | 9.024 | 889.433 | 23.931 | 41.5106
2019-05-17 20:30:00 | 14.494 | 286.173 | 16.431 | 283.314 | 17.015 | 285.833 | 17.699 | 285.367 | 8.799 | 889.717 | 24.739 | 41.6811
2019-05-17 20:45:00 | 16.928 | 279.747 | 19.408 | 278.768 | 20.096 | 283.233 | 20.884 | 282.4 | 8.437 | 889.933 | 22.621 | 40.5655
2019-05-17 21:00:00 | 16.051 | 287.293 | 17.987 | 284.095 | 18.933 | 287.267 | 20.185 | 286.3 | 7.966 | 889.7 | 21.261 | 40.2444
2019-05-17 21:15:00 | 15.675 | 285.587 | 17.821 | 284.459 | 18.848 | 287.867 | 19.732 | 285.267 | 7.609 | 889.467 | 25.325 | 40.3104
2019-05-17 21:30:00 | 16.16 | 297.693 | 17.859 | 293.628 | 18.659 | 298.633 | 19.566 | 295.767 | 7.013 | 889.65 | 33.653 | 40.6487
2019-05-17 21:45:00 | 13.118 | 298.093 | 15.296 | 294.076 | 16.376 | 298.333 | 17.198 | 296.733 | 6.615 | 889.667 | 33.197 | 40.6274
2019-05-17 22:00:00 | 13.101 | 293.813 | 15.292 | 290.956 | 16.196 | 295.467 | 17.344 | 293.067 | 5.815 | 889.783 | 33.291 | 41.0942
2019-05-17 22:15:00 | 14.876 | 294.387 | 16.355 | 292.592 | 17.385 | 295.767 | 18.168 | 293.4 | 5.776 | 889.6 | 35.949 | 40.3801
2019-05-17 22:30:00 | 10.65 | 287.64 | 12.392 | 285.265 | 13.089 | 289.867 | 13.513 | 288.667 | 4.861 | 889.633 | 37.067 | 38.679
2019-05-17 22:45:00 | 13.032 | 288.6 | 14.708 | 285.902 | 15.377 | 288.667 | 15.884 | 287.6 | 4.769 | 889.783 | 37.443 | 36.5274
2019-05-17 23:00:00 | 10.65 | 284.253 | 11.891 | 281.905 | 12.559 | 284.8 | 13.342 | 283.567 | 4.6 | 889.667 | 38.187 | 36.8457
2019-05-17 23:15:00 | 11.045 | 283.173 | 12.932 | 280.995 | 13.673 | 284.067 | 14.193 | 284.633 | 4.249 | 889.358 | 41.197 | 37.4106
2019-05-17 23:30:00 | 10.591 | 276.36 | 11.772 | 274.436 | 12.394 | 278.233 | 12.938 | 276.5 | 3.829 | 890 | 43.291 | 41.6641
2019-05-17 23:45:00 | 11.4 | 280.8 | 12.636 | 280.275 | 13.594 | 284.433 | 14.508 | 282.433 | 3.572 | 889.9 | 43.333 | 39.7647