## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-18 00:00:00 | 10.817 | 283.267 | 12.546 | 280.617 | 13.342 | 282.767 | 14.43 | 282.567 | 3.655 | 890.383 | 39.787 | 40.1399
2019-05-18 00:15:00 | 15.226 | 273.86 | 17.5 | 275.775 | 18.182 | 277.467 | 18.98 | 273.8 | 3.796 | 890.217 | 42.213 | 40.6238
2019-05-18 00:30:00 | 11.744 | 263.6 | 13.489 | 263.136 | 14.309 | 265.517 | 14.852 | 261.767 | 3.572 | 889.4 | 43.579 | 42.0179
2019-05-18 00:45:00 | 12.834 | 265.067 | 14.885 | 264.411 | 15.798 | 268.8 | 16.279 | 265.117 | 3.372 | 890.008 | 43.2 | 46.1364
2019-05-18 01:00:00 | 9.262 | 280.667 | 10.61 | 281.136 | 10.933 | 284.133 | 11.2 | 282.933 | 3.438 | 889.667 | 40.677 | 54.8714
2019-05-18 01:15:00 | 11.757 | 272.467 | 13.3 | 270.856 | 13.742 | 276.267 | 14.54 | 273.233 | 3.119 | 889.792 | 43.701 | 57.0883
2019-05-18 01:30:00 | 12.602 | 282.147 | 14.292 | 279.337 | 15.308 | 282.033 | 16.311 | 278.933 | 2.912 | 889.858 | 46.677 | 56.7473
2019-05-18 01:45:00 | 12.58 | 285.533 | 14.29 | 282.891 | 15.053 | 284.2 | 15.754 | 282.4 | 2.598 | 890.208 | 48.773 | 57.1452
2019-05-18 02:00:00 | 10.552 | 277.653 | 11.931 | 276.825 | 12.778 | 277.967 | 13.524 | 276.633 | 2.537 | 889.725 | 49.792 | 57.6788
2019-05-18 02:15:00 | 11.951 | 272.947 | 13.881 | 268.794 | 14.589 | 273.067 | 15.389 | 271.233 | 2.768 | 889.683 | 51.408 | 56.6002
2019-05-18 02:30:00 | 11.608 | 270.067 | 13.69 | 269.835 | 14.152 | 274.033 | 14.54 | 271.167 | 2.069 | 889.708 | 52.288 | 55.0732
2019-05-18 02:45:00 | 12.741 | 272.373 | 14.513 | 269.568 | 15.13 | 274.167 | 15.632 | 270.933 | 2.048 | 889.808 | 53.883 | 53.0637
2019-05-18 03:00:00 | 11.542 | 267.927 | 13.292 | 270.454 | 14.391 | 272.6 | 15.087 | 269.8 | 1.875 | 889.917 | 53.643 | 52.3098
2019-05-18 03:15:00 | 11.748 | 272.673 | 13.418 | 270.426 | 14.362 | 274.5 | 14.88 | 271.567 | 2.001 | 890.217 | 52.667 | 50.3316
2019-05-18 03:30:00 | 10.979 | 271.667 | 12.294 | 268.945 | 13.228 | 273.133 | 13.759 | 270 | 1.669 | 889.65 | 51.664 | 34.0944
2019-05-18 03:45:00 | 10.71 | 270.98 | 13.03 | 270.817 | 13.843 | 274.933 | 14.577 | 271.6 | 1.459 | 889.775 | 52.619 | 27.1948
2019-05-18 04:00:00 | 12.468 | 266 | 14.442 | 263.241 | 15.635 | 268.167 | 16.467 | 266.167 | 1.479 | 889.717 | 51.963 | 26.8132
2019-05-18 04:15:00 | 10.3 | 268.053 | 12.179 | 263.965 | 13.028 | 268.2 | 13.59 | 266.267 | 1.259 | 890.308 | 52.139 | 25.839
2019-05-18 04:30:00 | 9.473 | 261.773 | 11.344 | 261.908 | 12.63 | 266.4 | 13.127 | 262.483 | 1.356 | 889.733 | 53.083 | 24.5302
2019-05-18 04:45:00 | 9.401 | 264.893 | 11.301 | 263.937 | 12.192 | 268.167 | 12.646 | 265.2 | 1.289 | 889.967 | 53.131 | 24.6467
2019-05-18 05:00:00 | 9.178 | 269.067 | 10.895 | 266.297 | 11.779 | 270.033 | 12.469 | 265.3 | 0.965 | 890.017 | 53.403 | 24.4001
2019-05-18 05:15:00 | 9.152 | 272.78 | 11.091 | 268.728 | 12.025 | 272.9 | 12.911 | 268.433 | 0.948 | 889.583 | 53.317 | 24.3447
2019-05-18 05:30:00 | 10.231 | 268.96 | 12.201 | 264.431 | 13.119 | 268.867 | 13.74 | 265.833 | 0.882 | 889.767 | 52.576 | 24.5856
2019-05-18 05:45:00 | 9.69 | 266.76 | 11.993 | 262.996 | 12.926 | 265.417 | 13.487 | 262.733 | 0.898 | 890.058 | 52.224 | 25.1214
2019-05-18 06:00:00 | 9.251 | 262.087 | 11.62 | 261.276 | 12.452 | 265.333 | 13.595 | 262.4 | 0.599 | 890.342 | 52.763 | 28.6017
2019-05-18 06:15:00 | 10.34 | 261.987 | 12.308 | 259.335 | 13.45 | 263.8 | 14.037 | 260.6 | 0.899 | 889.7 | 52.763 | 30.6673
2019-05-18 06:30:00 | 11.486 | 261.153 | 13.191 | 260.247 | 13.903 | 264.267 | 14.432 | 259.85 | 0.699 | 889.783 | 53.029 | 31.012
2019-05-18 06:45:00 | 10.873 | 265.32 | 12.937 | 262.516 | 13.885 | 267.133 | 14.439 | 263.5 | 0.932 | 889.483 | 52.133 | 30.7682
2019-05-18 07:00:00 | 11 | 266.207 | 12.987 | 263.838 | 13.68 | 268.033 | 14.117 | 264 | 1.559 | 889.792 | 50.8 | 28.7872
2019-05-18 07:15:00 | 10.75 | 266.807 | 12.186 | 266.537 | 13.18 | 269.067 | 13.527 | 265.9 | 1.559 | 889.65 | 49.984 | 28.6117
2019-05-18 07:30:00 | 11.1 | 273.407 | 12.377 | 269.292 | 12.799 | 274.233 | 13.112 | 269.767 | 1.78 | 890.225 | 49.611 | 28.3871
2019-05-18 07:45:00 | 10.505 | 274.3 | 11.346 | 274.773 | 12.153 | 277.667 | 12.454 | 274.3 | 2.184 | 890.125 | 48.603 | 27.9032
2019-05-18 08:00:00 | 10.425 | 277.013 | 11.479 | 274.187 | 11.488 | 277.767 | 11.657 | 274.767 | 2.692 | 889.983 | 47.723 | 28.1917
2019-05-18 08:15:00 | 10.578 | 277.8 | 11.276 | 275.308 | 11.45 | 277.9 | 11.821 | 275.2 | 3.238 | 889.958 | 45.829 | 28.056
2019-05-18 08:30:00 | 10.521 | 281.8 | 11.331 | 279.108 | 11.594 | 281.233 | 11.64 | 279.2 | 3.605 | 889.867 | 44.427 | 23.9489
2019-05-18 08:45:00 | 9.609 | 285.467 | 10.649 | 284.278 | 10.905 | 288.267 | 11.222 | 285.367 | 4.004 | 890.042 | 41.669 | 22.3779
2019-05-18 09:00:00 | 9.613 | 284.267 | 10.228 | 282.598 | 10.396 | 285.667 | 10.665 | 283.833 | 4.636 | 889.533 | 38.368 | 22.4177
2019-05-18 09:15:00 | 8.653 | 293.52 | 9.109 | 291.47 | 9.358 | 294.2 | 9.577 | 292.133 | 4.616 | 889.517 | 37.395 | 22.871
2019-05-18 09:30:00 | 7.389 | 291.947 | 7.911 | 288.462 | 7.951 | 294.333 | 8.418 | 293.5 | 5.004 | 889.75 | 36.816 | 25.7836
2019-05-18 09:45:00 | 6.507 | 295.413 | 6.926 | 300.715 | 7.383 | 313.167 | 7.92 | 307.1 | 5.379 | 889.617 | 34.581 | 25.3566
2019-05-18 10:00:00 | 5.966 | 305.24 | 6.435 | 302.394 | 6.817 | 307.967 | 7.242 | 305.767 | 5.558 | 890.05 | 33.717 | 21.1628
2019-05-18 10:15:00 | 6.31 | 321.48 | 6.337 | 312.136 | 6.53 | 314.333 | 6.71 | 311.1 | 6.03 | 889.717 | 32.432 | 18.4413
2019-05-18 10:30:00 | 5.684 | 304.16 | 5.843 | 300.048 | 5.956 | 304.5 | 6.214 | 303.033 | 6.284 | 889.7 | 31.2 | 16.7608
2019-05-18 10:45:00 | 5.672 | 308.913 | 5.677 | 302.715 | 5.98 | 303.367 | 6.542 | 303.967 | 7.056 | 889.883 | 30.107 | 10.9342
2019-05-18 11:00:00 | 6.075 | 321.293 | 6.178 | 327.642 | 6.334 | 331.267 | 6.439 | 329.967 | 7.322 | 889.767 | 28.373 | 9.7589
2019-05-18 11:15:00 | 4.143 | 295.267 | 4.173 | 295.811 | 4.334 | 301.1 | 4.32 | 300.133 | 7.389 | 889.65 | 27.683 | 5.3925
2019-05-18 11:30:00 | 4.499 | 328 | 4.383 | 322.503 | 4.183 | 328.067 | 4.235 | 316.167 | 7.039 | 889.683 | 26.189 | 3.8491
2019-05-18 11:45:00 | 3.771 | 307.267 | 3.899 | 304.681 | 4.097 | 310.7 | 4.403 | 312.467 | 7.9 | 889.367 | 25.16 | 2.2937
2019-05-18 12:00:00 | 2.903 | 167.233 | 2.528 | 229.609 | 3.061 | 317.9 | 3.652 | 302.5 | 8.006 | 889.883 | 23.784 | 3.2011
2019-05-18 12:15:00 | 2.454 | 169.815 | 1.916 | 214.246 | 2.169 | 205.117 | 2.686 | 228.867 | 8.691 | 889.95 | 23.624 | 3.3283
2019-05-18 12:30:00 | 5.297 | 323 | 5.59 | 325.346 | 5.607 | 329.667 | 5.624 | 327.1 | 8.845 | 889.217 | 20.504 | 3.4434
2019-05-18 12:45:00 | 2.933 | 217.014 | 2.529 | 302.618 | 3.133 | 319.617 | 3.991 | 317.733 | 9.512 | 889.8 | 19.559 | 2.1601
2019-05-18 13:00:00 | 4.073 | 285.187 | 3.964 | 279.808 | 4.162 | 308.3 | 4.413 | 314.867 | 9.724 | 889.4 | 20.247 | 1.9072
2019-05-18 13:15:00 | 3.665 | 245.96 | 4.098 | 256.373 | 4.037 | 269.6 | 4.38 | 272.6 | 9.71 | 889.467 | 20.059 | 4.9455
2019-05-18 13:30:00 | 4.477 | 282.64 | 4.687 | 274.312 | 5.139 | 275.067 | 5.271 | 265.467 | 10.001 | 889.5 | 18.336 | 6.1144
2019-05-18 13:45:00 | 4.782 | 301.88 | 4.996 | 298.857 | 5.192 | 302.733 | 5.166 | 302.367 | 9.499 | 889.3 | 18.157 | 8.2333
2019-05-18 14:00:00 | 7.053 | 320.253 | 7.185 | 314.832 | 7.31 | 319.733 | 7.371 | 318.7 | 9.789 | 889.3 | 17.021 | 8.0486
2019-05-18 14:15:00 | 3.075 | 237.367 | 2.743 | 236.456 | 3.067 | 248.533 | 3.286 | 241.85 | 10.955 | 889.467 | 16.643 | 3.3709
2019-05-18 14:30:00 | 6.429 | 309.707 | 6.707 | 307.802 | 6.785 | 312.467 | 7.122 | 310.667 | 10.399 | 889.467 | 14.767 | 7.8233
2019-05-18 14:45:00 | 1.464 | 195.82 | 1.099 | 182.202 | 1.236 | 230.571 | 1.943 | 205.202 | 10.651 | 889.633 | 15.512 | 4.6208
2019-05-18 15:00:00 | 3.629 | 265.793 | 3.659 | 271.333 | 3.753 | 277.55 | 4.106 | 274.233 | 11.161 | 889.133 | 13.996 | 7.8837
2019-05-18 15:15:00 | 1.736 | 235.049 | 1.8 | 197.743 | 1.919 | 148.91 | 2.516 | 227.002 | 10.928 | 889.3 | 14.48 | 5.0919
2019-05-18 15:30:00 | 5.8 | 315.147 | 6.115 | 308.433 | 6.495 | 314.467 | 6.753 | 311 | 11.64 | 889.3 | 13.644 | 7.6848
2019-05-18 15:45:00 | 2.836 | 149.303 | 2.698 | 155.55 | 2.998 | 180.867 | 3.314 | 167.267 | 11.361 | 889.333 | 14.568 | 5.1644
2019-05-18 16:00:00 | 2.396 | 246.84 | 2.034 | 255.283 | 2.511 | 259.233 | 2.873 | 265.083 | 12.538 | 889.533 | 13.748 | 3.486
2019-05-18 16:15:00 | 4.81 | 255.487 | 5.2 | 260.795 | 5.7 | 263.9 | 5.851 | 262.533 | 12.29 | 889.333 | 13.44 | 4.5022
2019-05-18 16:30:00 | 3.517 | 306.853 | 3.717 | 303.528 | 4.101 | 311.7 | 4.491 | 313.367 | 12.003 | 889.667 | 13.377 | 3.9664
2019-05-18 16:45:00 | 4.653 | 47.729 | 4.713 | 133.034 | 4.453 | 87.367 | 4.558 | 144.134 | 12.418 | 889.267 | 12.456 | 3.4477
2019-05-18 17:00:00 | 3.559 | 319.613 | 3.406 | 312.334 | 3.535 | 301.9 | 4.039 | 307.767 | 12.474 | 889.4 | 11.024 | 1.2343
2019-05-18 17:15:00 | 3.331 | 320.827 | 3.058 | 307.168 | 3.134 | 302.033 | 3.256 | 291.767 | 12.672 | 889.633 | 10.876 | 1.7388
2019-05-18 17:30:00 | 1.889 | 79.084 | 1.237 | 100.795 | 1.836 | 114.167 | 2.418 | 161.2 | 13.016 | 888.8 | 9.781 | 1.4588
2019-05-18 17:45:00 | 2.506 | 74.397 | 1.44 | 78.568 | 0.776 | 87.367 | 1.004 | 76.333 | 13.172 | 889.1 | 9.759 | 0.63809
2019-05-18 18:00:00 | 3.575 | 102.731 | 3.531 | 141.263 | 3.394 | 86.5 | 3.404 | 84.367 | 13.399 | 889.2 | 9.976 | 0.11937
2019-05-18 18:15:00 | 3.364 | 61.999 | 2.884 | 57.808 | 3.123 | 23.667 | 3.289 | 66.8 | 13.27 | 889.3 | 10.144 | 0.12861
2019-05-18 18:30:00 | 3.083 | 70.146 | 2.778 | 38.838 | 2.727 | 45.671 | 2.655 | 40.367 | 13.272 | 888.733 | 9.975 | 0.22312
2019-05-18 18:45:00 | 0.517 | 43.753 | 0.59 | 43.642 | 0.752 | 127.633 | 1.176 | 127.933 | 14.058 | 888.933 | 9.605 | 0.14567
2019-05-18 19:00:00 | 2.865 | 130.94 | 2.468 | 122.012 | 2.744 | 135.333 | 3.035 | 143.533 | 14.283 | 889.067 | 9.146 | 0.15917
2019-05-18 19:15:00 | 0.523 | 126.43 | 0.446 | 109.805 | 0.716 | 105.625 | 1.599 | 98.833 | 14.245 | 889 | 9.501 | 0.17196
2019-05-18 19:30:00 | 0.64 | 108.057 | 0.349 | 59.695 | 0.047 | 74.933 | 0.386 | 53.967 | 14.583 | 889.4 | 8.857 | 0.1279
2019-05-18 19:45:00 | 2.427 | 43.08 | 1.94 | 37.105 | 2.084 | 42.867 | 2.288 | 34.4 | 14.52 | 889.067 | 9.003 | 0.35741
2019-05-18 20:00:00 | 2.967 | 87.373 | 2.491 | 86.934 | 2.359 | 90.7 | 2.671 | 86.8 | 13.787 | 888.9 | 10.045 | 3.1229
2019-05-18 20:15:00 | 4.12 | 76.977 | 4.132 | 71.898 | 4.248 | 75.667 | 4.334 | 71.333 | 13.551 | 889.467 | 11.384 | 4.9569
2019-05-18 20:30:00 | 4.154 | 68.337 | 4.136 | 66.848 | 4.038 | 70.833 | 3.86 | 66.567 | 12.853 | 889.3 | 12.264 | 4.7111
2019-05-18 20:45:00 | 3.267 | 79.5 | 3.104 | 75.427 | 3.215 | 81.933 | 3.482 | 76.3 | 12.949 | 889.533 | 12.565 | 7.65
2019-05-18 21:00:00 | 4.659 | 78.87 | 4.962 | 74.204 | 5.097 | 80 | 5.29 | 76.7 | 12.601 | 889.533 | 13.304 | 13.4489
2019-05-18 21:15:00 | 4.989 | 80.26 | 5.444 | 75.936 | 5.659 | 81.1 | 6.022 | 75.333 | 11.895 | 889.733 | 14.856 | 12.2985
2019-05-18 21:30:00 | 4.441 | 81.507 | 4.959 | 76.01 | 5.048 | 81.9 | 5.323 | 77.333 | 11.261 | 889.567 | 15.523 | 10.0424
2019-05-18 21:45:00 | 4.084 | 80 | 4.592 | 74.84 | 4.826 | 79.267 | 5.22 | 74.433 | 11.245 | 889.333 | 15.669 | 10.7722
2019-05-18 22:00:00 | 4.596 | 85.837 | 5.438 | 78.779 | 5.709 | 83.567 | 5.699 | 78.6 | 10.655 | 889.867 | 15.992 | 10.9292
2019-05-18 22:15:00 | 4.251 | 90.05 | 4.396 | 85.826 | 3.712 | 90.1 | 3.49 | 85.333 | 10.297 | 889.567 | 16.085 | 10.5903
2019-05-18 22:30:00 | 3.58 | 96.54 | 3.905 | 89.367 | 3.083 | 98.7 | 3.285 | 84.967 | 9.991 | 889.233 | 16.68 | 13.2883
2019-05-18 22:45:00 | 3.763 | 102.79 | 4.223 | 97.582 | 3.522 | 102.267 | 3.413 | 96.767 | 9.968 | 889.3 | 17.027 | 22.9712
2019-05-18 23:00:00 | 4.729 | 112.507 | 5.536 | 106.363 | 5.659 | 111.067 | 5.857 | 104.433 | 9.441 | 889.967 | 17.371 | 26.33
2019-05-18 23:15:00 | 5.151 | 120.333 | 6.459 | 112.36 | 7.027 | 116.967 | 7.232 | 109.933 | 9.633 | 889.4 | 17.555 | 21.9103
2019-05-18 23:30:00 | 4.755 | 114.247 | 5.283 | 107.254 | 5.68 | 112.9 | 6.158 | 108.967 | 9.195 | 889.733 | 18.067 | 19.6742
2019-05-18 23:45:00 | 4.241 | 120.633 | 5.549 | 111.988 | 6.316 | 115.633 | 6.78 | 110.567 | 9.27 | 889.633 | 18.211 | 17.1744