## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-19 00:00:00 | 4.258 | 122.94 | 5.417 | 112.283 | 5.976 | 115.5 | 6.394 | 111.167 | 8.774 | 889.1 | 18.475 | 23.1829
2019-05-19 00:15:00 | 5.08 | 104.84 | 5.298 | 96.96 | 4.892 | 98.7 | 4.84 | 93.367 | 9.062 | 889.533 | 18.699 | 36.403
2019-05-19 00:30:00 | 5.567 | 112.873 | 6.649 | 108.588 | 7.162 | 112.333 | 7.671 | 109.867 | 8.317 | 889.133 | 19.229 | 39.6667
2019-05-19 00:45:00 | 5.92 | 114.417 | 7.028 | 108.283 | 7.525 | 111.933 | 7.812 | 107.767 | 7.889 | 889.2 | 18.467 | 37.4412
2019-05-19 01:00:00 | 6.497 | 116.58 | 7.512 | 110.58 | 8.082 | 114.067 | 8.49 | 110.8 | 8.237 | 889.833 | 17.467 | 37.7311
2019-05-19 01:15:00 | 6.289 | 117.213 | 7.244 | 111.493 | 7.878 | 116.533 | 8.5 | 112.1 | 7.909 | 889.833 | 17.517 | 32.9966
2019-05-19 01:30:00 | 5.32 | 122.047 | 6.626 | 113.616 | 7.334 | 117.233 | 7.871 | 112.967 | 8.177 | 889.667 | 17.475 | 27.9018
2019-05-19 01:45:00 | 5.017 | 118.483 | 5.656 | 114.921 | 6.317 | 118.833 | 6.685 | 111.633 | 8.073 | 889.5 | 17.581 | 22.8611
2019-05-19 02:00:00 | 4.799 | 122 | 6.167 | 113.728 | 6.81 | 117.767 | 7.178 | 112.667 | 7.632 | 889.8 | 17.896 | 19.5583
2019-05-19 02:15:00 | 4.521 | 117.497 | 5.65 | 110.82 | 5.995 | 111.9 | 6.448 | 110.2 | 7.526 | 889.6 | 18.056 | 19.8689
2019-05-19 02:30:00 | 4.942 | 117.83 | 6.044 | 112.938 | 6.747 | 118.233 | 7.209 | 111.967 | 7.876 | 889.567 | 18.147 | 19.2009
2019-05-19 02:45:00 | 4.478 | 115.087 | 4.966 | 108.014 | 5.18 | 111.433 | 5.565 | 108.633 | 7.569 | 889.4 | 17.992 | 18.2545
2019-05-19 03:00:00 | 4.716 | 113.4 | 5.353 | 106.732 | 5.171 | 109.3 | 5.177 | 103.067 | 7.522 | 889.633 | 18.227 | 17.2533
2019-05-19 03:15:00 | 4.506 | 111.397 | 5.25 | 102.766 | 4.943 | 105.333 | 4.793 | 100.467 | 7.442 | 889.433 | 18.387 | 15.3504
2019-05-19 03:30:00 | 4.15 | 107.8 | 4.944 | 101.015 | 4.852 | 101.867 | 5.371 | 101.167 | 7.372 | 889.767 | 18.549 | 15.4406
2019-05-19 03:45:00 | 3.878 | 99.397 | 4.211 | 97.959 | 3.877 | 103.667 | 4.126 | 100.4 | 6.704 | 889.567 | 19.213 | 13.6692
2019-05-19 04:00:00 | 3.518 | 99.787 | 3.913 | 93.711 | 3.164 | 98.767 | 3.667 | 97.067 | 6.528 | 889.7 | 19.459 | 11.4003
2019-05-19 04:15:00 | 3.978 | 92.49 | 4.999 | 86.293 | 4.529 | 92.667 | 4.309 | 86.367 | 6.565 | 889.567 | 19.341 | 9.766
2019-05-19 04:30:00 | 3.212 | 102.617 | 3.544 | 92.297 | 3.055 | 102.9 | 3.339 | 96.767 | 5.498 | 889.633 | 20.163 | 5.1182
2019-05-19 04:45:00 | 2.478 | 101.817 | 3.23 | 88.007 | 2.592 | 95.033 | 2.674 | 95.7 | 5.398 | 889.383 | 20.277 | 2.9822
2019-05-19 05:00:00 | 1.664 | 164.007 | 2.752 | 109.918 | 2.804 | 104.667 | 2.688 | 96.833 | 4.673 | 889.8 | 21.344 | 0.78944
2019-05-19 05:15:00 | 1.118 | 192.867 | 0.5 | 122.723 | 1.607 | 99.5 | 1.982 | 84.4 | 3.823 | 889.283 | 22.629 | 0.19612
2019-05-19 05:30:00 | 1.696 | 214.9 | 0 | 134.577 | 0.46 | 118.8 | 1.821 | 95.6 | 4.206 | 889.917 | 23.125 | 0.26149
2019-05-19 05:45:00 | 2.894 | 231.687 | 0 | 187.109 | 0 | 134.867 | 0.773 | 93 | 4.099 | 890.233 | 23.621 | 0.21743
2019-05-19 06:00:00 | 2.542 | 238.967 | 0 | 220.447 | 0 | 135 | 0 | 93.033 | 3.622 | 889.417 | 24.672 | 0.21459
2019-05-19 06:15:00 | 4.254 | 246.007 | 0.732 | 262.983 | 0 | 135 | 0 | 93.033 | 2.14 | 890.083 | 27.533 | 0.21601
2019-05-19 06:30:00 | 3.201 | 255.013 | 0.096 | 259.008 | 0 | 135.167 | 0 | 93 | 3.324 | 889.817 | 26.613 | 0.22312
2019-05-19 06:45:00 | 2.431 | 258.28 | 0 | 258.944 | 0 | 135.417 | 0 | 93 | 4.859 | 889.733 | 24.859 | 0.21459
2019-05-19 07:00:00 | 2.656 | 251.92 | 0 | 258.917 | 0 | 135.05 | 0.037 | 93 | 5.657 | 889.733 | 22.736 | 0.22596
2019-05-19 07:15:00 | 3.364 | 261.973 | 2.519 | 292.479 | 1.233 | 336.8 | 0.779 | 44.785 | 6.07 | 889.9 | 22.763 | 0.2288
2019-05-19 07:30:00 | 2.864 | 284.133 | 2.373 | 300.938 | 1.997 | 315.133 | 1.63 | 340.467 | 5.78 | 889.833 | 22.432 | 0.26007
2019-05-19 07:45:00 | 1.516 | 334.267 | 2.07 | 353.202 | 1.531 | 5.035 | 1.939 | 18.867 | 5.695 | 889.65 | 21.211 | 0.23022
2019-05-19 08:00:00 | 1.75 | 106.973 | 1.409 | 261.011 | 1.466 | 9.667 | 1.744 | 25.067 | 6.195 | 889.467 | 19.216 | 0.18404
2019-05-19 08:15:00 | 1.092 | 34.034 | 0.463 | 36.259 | 1.026 | 46.2 | 2.202 | 60.967 | 6.936 | 889.8 | 17.795 | 1.1717
2019-05-19 08:30:00 | 2.408 | 74.632 | 2.2 | 70.313 | 2.489 | 77.167 | 3.412 | 77.333 | 8.164 | 889.6 | 17.123 | 6.6267
2019-05-19 08:45:00 | 4.783 | 102.833 | 4.893 | 100.25 | 4.777 | 100.9 | 4.944 | 98.267 | 8.728 | 889.4 | 15.741 | 11.2412
2019-05-19 09:00:00 | 5.122 | 98.607 | 4.85 | 93.151 | 4.542 | 96.6 | 5.004 | 88.867 | 9.558 | 889.8 | 14.76 | 19.132
2019-05-19 09:15:00 | 5.238 | 81.11 | 5.228 | 78.709 | 5.198 | 84.1 | 5.498 | 82.167 | 10.31 | 889.4 | 13.731 | 38.4367
2019-05-19 09:30:00 | 8.431 | 78.273 | 8.876 | 71.718 | 9.039 | 77.767 | 9.274 | 74.5 | 11.461 | 889.633 | 12.464 | 55.1698
2019-05-19 09:45:00 | 8.838 | 93.467 | 8.424 | 89.478 | 8.221 | 93.1 | 8.48 | 87.3 | 11.67 | 889.233 | 12.344 | 59.3082
2019-05-19 10:00:00 | 8.463 | 89.673 | 8.145 | 83.356 | 8.381 | 86.933 | 8.463 | 82.633 | 11.766 | 889.233 | 11.811 | 61.9358
2019-05-19 10:15:00 | 8.96 | 90.267 | 9.489 | 83.983 | 9.287 | 88.433 | 9.591 | 82.967 | 12.007 | 889.433 | 11.731 | 58.653
2019-05-19 10:30:00 | 9.611 | 84.682 | 9.874 | 83.686 | 9.613 | 88.867 | 9.351 | 83.5 | 12.22 | 889.7 | 11.891 | 58.1997
2019-05-19 10:45:00 | 9.886 | 87.667 | 9.798 | 85.465 | 9.678 | 89.767 | 9.296 | 83.933 | 12.47 | 889.4 | 12.259 | 58.5301
2019-05-19 11:00:00 | 8.54 | 90.433 | 8.522 | 86.43 | 8.498 | 91.467 | 8.744 | 90.2 | 12.891 | 889.633 | 12.088 | 57.5779
2019-05-19 11:15:00 | 10.069 | 90.213 | 10.328 | 81.328 | 10.497 | 85.867 | 11.009 | 81.733 | 12.82 | 889.467 | 12.227 | 57.2091
2019-05-19 11:30:00 | 10.038 | 97.14 | 9.693 | 90.254 | 9.389 | 94.5 | 9.06 | 89.2 | 13.153 | 890.233 | 11.997 | 47.1511
2019-05-19 11:45:00 | 8.563 | 108.053 | 8.152 | 100.132 | 8.423 | 105.5 | 8.566 | 100.5 | 13.524 | 889.733 | 11.469 | 42.7761
2019-05-19 12:00:00 | 8.335 | 96.293 | 8.513 | 87.07 | 8.716 | 93.333 | 8.762 | 86.733 | 13.654 | 889.767 | 11.331 | 44.0246
2019-05-19 12:15:00 | 9.412 | 91.78 | 9.176 | 85.202 | 9.463 | 89.233 | 9.936 | 84.7 | 14.291 | 889.433 | 11.213 | 45.0059
2019-05-19 12:30:00 | 9.178 | 106.3 | 8.624 | 97.788 | 7.947 | 100.9 | 8.207 | 95 | 14.449 | 888.967 | 10.533 | 46.4789
2019-05-19 12:45:00 | 9.843 | 88.933 | 9.831 | 86.489 | 9.792 | 87.5 | 9.985 | 84.767 | 14.774 | 889.433 | 10.84 | 48.7236
2019-05-19 13:00:00 | 7.561 | 96.5 | 7.862 | 94.499 | 7.766 | 95.567 | 7.742 | 94.133 | 14.758 | 889.067 | 10.192 | 49.2977
2019-05-19 13:15:00 | 8.41 | 88.533 | 8.324 | 86.906 | 8.449 | 93.9 | 8.718 | 84.767 | 15.108 | 889.367 | 10.263 | 48.2041
2019-05-19 13:30:00 | 7.964 | 91.787 | 8.292 | 87.322 | 8.305 | 93.5 | 8.425 | 87.167 | 16.284 | 889.467 | 9.681 | 47.7757
2019-05-19 13:45:00 | 7.56 | 105.5 | 7.466 | 97.354 | 7.103 | 99.767 | 7.606 | 93.133 | 16.198 | 888.8 | 9.325 | 44.291
2019-05-19 14:00:00 | 6.15 | 87.433 | 5.784 | 89.063 | 5.58 | 91.967 | 6.318 | 89.633 | 16.464 | 889.333 | 8.911 | 40.9564
2019-05-19 14:15:00 | 8.557 | 76.293 | 8.918 | 71.197 | 9.256 | 74.367 | 9.508 | 70.867 | 16.681 | 888.867 | 9.325 | 36.2396
2019-05-19 14:30:00 | 6.204 | 88.542 | 6.375 | 83.648 | 6.334 | 83.533 | 6.654 | 79.767 | 17.798 | 889.267 | 8.571 | 43.8512
2019-05-19 14:45:00 | 8.254 | 106.38 | 8.664 | 102.17 | 8.499 | 107 | 8.95 | 102.267 | 17.689 | 889.067 | 8.439 | 40.2906
2019-05-19 15:00:00 | 7.416 | 110.315 | 7.542 | 100.018 | 7.051 | 99.867 | 7.057 | 88.3 | 17.981 | 889.067 | 8.441 | 42.504
2019-05-19 15:15:00 | 6.746 | 86.607 | 6.787 | 79.614 | 7.008 | 83.067 | 7.208 | 77.733 | 17.698 | 889.333 | 8.693 | 45.2752
2019-05-19 15:30:00 | 7.594 | 104.753 | 7.588 | 96.546 | 7.565 | 102.767 | 8.146 | 97.7 | 18.41 | 888.667 | 8.521 | 45.4272
2019-05-19 15:45:00 | 6.564 | 96.887 | 6.609 | 92.749 | 6.37 | 98 | 6.656 | 91.067 | 18.739 | 889.4 | 8.555 | 49.4633
2019-05-19 16:00:00 | 8.214 | 91.267 | 8.457 | 86.595 | 8.513 | 89.833 | 9.17 | 86.1 | 18.506 | 889.4 | 8.503 | 48.3988
2019-05-19 16:15:00 | 7.438 | 90.257 | 6.941 | 85.724 | 7.1 | 91.4 | 7.921 | 85.767 | 18.789 | 888.867 | 8.423 | 52.6438
2019-05-19 16:30:00 | 9.298 | 85.697 | 9.537 | 80.005 | 9.61 | 84.567 | 10.012 | 81.167 | 18.76 | 889.267 | 8.692 | 54.0827
2019-05-19 16:45:00 | 8.185 | 82.1 | 8.377 | 78.053 | 8.542 | 84.733 | 8.835 | 82.433 | 18.323 | 889.067 | 8.759 | 51.9915
2019-05-19 17:00:00 | 9.139 | 84.13 | 9.118 | 77.026 | 9.203 | 83.1 | 9.576 | 79 | 18.81 | 888.933 | 8.647 | 54.0564
2019-05-19 17:15:00 | 10.202 | 81.298 | 10.277 | 77.552 | 10.237 | 80.3 | 10.445 | 76.933 | 19.173 | 889.067 | 8.379 | 57.1544
2019-05-19 17:30:00 | 8.119 | 91.52 | 8.386 | 87.023 | 8.554 | 89.333 | 8.376 | 84.533 | 19.314 | 889.133 | 8.361 | 57.2724
2019-05-19 17:45:00 | 8.785 | 83.157 | 8.418 | 84.205 | 8.433 | 87.9 | 8.768 | 82.8 | 19.248 | 889.067 | 8.268 | 50.2484
2019-05-19 18:00:00 | 9.728 | 72.15 | 9.718 | 66.864 | 9.958 | 71.833 | 10.601 | 68.567 | 19.214 | 889.133 | 8.316 | 50.4943
2019-05-19 18:15:00 | 8.285 | 86.688 | 7.75 | 84.683 | 7.604 | 89.7 | 7.711 | 83.067 | 18.981 | 889 | 8.433 | 48.9637
2019-05-19 18:30:00 | 7.889 | 86.867 | 7.964 | 80.085 | 8.146 | 87.033 | 8.599 | 80.467 | 19.181 | 888.933 | 8.371 | 52.0419
2019-05-19 18:45:00 | 8.315 | 81.347 | 8.078 | 74.978 | 8.369 | 78.533 | 8.652 | 74.167 | 18.918 | 889.2 | 8.585 | 50.2449
2019-05-19 19:00:00 | 7.747 | 85.343 | 7.312 | 83.655 | 6.988 | 88.533 | 7.42 | 84.033 | 18.939 | 889 | 8.405 | 49.6317
2019-05-19 19:15:00 | 8.812 | 76.862 | 8.794 | 74.623 | 9.195 | 78.767 | 9.746 | 74.367 | 19.173 | 889.2 | 8.359 | 47.3564
2019-05-19 19:30:00 | 8.587 | 76.523 | 8.641 | 71.056 | 9.03 | 75.067 | 9.313 | 71.433 | 18.739 | 889 | 8.429 | 43.6998
2019-05-19 19:45:00 | 7.884 | 85.207 | 7.723 | 79.484 | 7.555 | 86.2 | 7.8 | 79.733 | 18.531 | 888.667 | 8.577 | 39.2638
2019-05-19 20:00:00 | 6.93 | 79.01 | 7.187 | 74.957 | 7.576 | 78.067 | 8.056 | 73.933 | 17.894 | 889.333 | 8.627 | 37.7751
2019-05-19 20:15:00 | 5.907 | 78.813 | 6.437 | 73.693 | 6.527 | 78.133 | 7.027 | 74.7 | 17.623 | 889 | 8.691 | 36.4954
2019-05-19 20:30:00 | 6.335 | 76.143 | 6.729 | 70.198 | 7.257 | 76.7 | 7.544 | 73.267 | 17.902 | 889.4 | 8.699 | 30.5359
2019-05-19 20:45:00 | 5.583 | 75.007 | 5.91 | 69.99 | 6.36 | 75.4 | 6.667 | 70.967 | 17.456 | 889.4 | 8.841 | 26.2583
2019-05-19 21:00:00 | 5.3 | 70.553 | 5.833 | 66.634 | 6.208 | 70.6 | 6.424 | 66.867 | 16.714 | 889.133 | 9.075 | 20.2668
2019-05-19 21:15:00 | 4.895 | 73.1 | 5.525 | 69.952 | 5.969 | 74.367 | 6.319 | 70.933 | 16.498 | 889.2 | 9.1 | 18.3994
2019-05-19 21:30:00 | 4.261 | 77.047 | 4.927 | 71.732 | 5.32 | 76.133 | 5.826 | 73.467 | 15.901 | 888.867 | 9.392 | 19.0091
2019-05-19 21:45:00 | 4.58 | 75.227 | 5.184 | 72.512 | 5.734 | 76.5 | 6.126 | 73.767 | 16.056 | 888.933 | 9.481 | 18.8471
2019-05-19 22:00:00 | 5.036 | 84.02 | 5.537 | 77.142 | 6.012 | 81.733 | 6.541 | 76.8 | 15.49 | 889.333 | 9.631 | 18.1933
2019-05-19 22:15:00 | 3.998 | 77.677 | 4.831 | 73.647 | 5.406 | 80.133 | 5.926 | 77.267 | 15.568 | 889 | 9.737 | 15.6715
2019-05-19 22:30:00 | 4.203 | 81.833 | 5.198 | 76.935 | 5.822 | 81.2 | 6.515 | 77.9 | 14.991 | 889.067 | 9.789 | 12.3894
2019-05-19 22:45:00 | 3.275 | 88.467 | 3.869 | 82.494 | 3.764 | 87.867 | 4.011 | 84 | 15.024 | 888.733 | 9.999 | 8.7115
2019-05-19 23:00:00 | 3.439 | 84.733 | 4.045 | 76.126 | 4.239 | 83.467 | 4.728 | 80.9 | 14.891 | 889.067 | 10.199 | 7.6336
2019-05-19 23:15:00 | 2.219 | 90.133 | 2.169 | 83.799 | 2.44 | 88.433 | 3.126 | 84.367 | 14.908 | 889.333 | 10.123 | 5.0848
2019-05-19 23:30:00 | 2.464 | 93.467 | 3.081 | 84.696 | 2.799 | 89.633 | 3.225 | 83.567 | 14.674 | 889.167 | 10.456 | 4.4638
2019-05-19 23:45:00 | 1.842 | 100.733 | 2.249 | 90.011 | 2.472 | 93.133 | 2.718 | 87.933 | 14.145 | 889.633 | 10.624 | 2.519