## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-20 00:00:00 | 1.596 | 109.78 | 1.384 | 98.056 | 1.081 | 100.333 | 1.595 | 84.033 | 14.462 | 889.633 | 10.787 | 2.1473
2019-05-20 00:15:00 | 1.217 | 146.333 | 2.256 | 108.322 | 2.369 | 106.1 | 2.688 | 99 | 13.858 | 889.767 | 11.184 | 2.1047
2019-05-20 00:30:00 | 0.08 | 132.317 | 0.304 | 107.646 | 0.855 | 97.5 | 1.907 | 85.267 | 13.476 | 889.8 | 11.384 | 0.24017
2019-05-20 00:45:00 | 1.422 | 184.527 | 0.534 | 136.057 | 2.27 | 114.4 | 2.703 | 105.133 | 13.041 | 889.933 | 11.76 | 0.13785
2019-05-20 01:00:00 | 1.928 | 199 | 0.287 | 149.219 | 1.349 | 132.633 | 2.075 | 111.6 | 12.68 | 889.667 | 11.789 | 0.26717
2019-05-20 01:15:00 | 2.571 | 219.647 | 0.103 | 186.651 | 0 | 147 | 1.334 | 117 | 12.578 | 889.167 | 11.965 | 0.18333
2019-05-20 01:30:00 | 3.167 | 228.633 | 0 | 186.558 | 0 | 146.933 | 1.081 | 102.033 | 12.232 | 889.5 | 12.389 | 0.17196
2019-05-20 01:45:00 | 3.474 | 245.5 | 0 | 216.146 | 0 | 147 | 0.822 | 102.067 | 10.491 | 889.4 | 13.579 | 0.17196
2019-05-20 02:00:00 | 3.136 | 248.8 | 0 | 220.464 | 0 | 147.033 | 1.152 | 90 | 10.828 | 889.433 | 13.296 | 0.18475
2019-05-20 02:15:00 | 2.598 | 261.293 | 0 | 272.336 | 0.76 | 39.831 | 2.283 | 58.1 | 11.507 | 889.633 | 13.312 | 0.3965
2019-05-20 02:30:00 | 1.681 | 272.56 | 0.363 | 24.744 | 1.38 | 59.717 | 3.145 | 63.433 | 12.353 | 889.467 | 12.483 | 0.6793
2019-05-20 02:45:00 | 2.503 | 244.247 | 0 | 314.908 | 0.067 | 36.667 | 1.451 | 63.733 | 11.778 | 889.133 | 12.947 | 0.18546
2019-05-20 03:00:00 | 4.084 | 228.207 | 0.493 | 280.369 | 0 | 78.7 | 1.484 | 80 | 10.105 | 889.667 | 14.785 | 0.22596
2019-05-20 03:15:00 | 4.711 | 227.373 | 1.367 | 242.749 | 0.03 | 76.133 | 0.342 | 63 | 8.104 | 889.533 | 16.56 | 0.17054
2019-05-20 03:30:00 | 5.354 | 231.753 | 2.169 | 243.382 | 0.599 | 238 | 0.188 | 62.825 | 7.93 | 889.5 | 17.511 | 0.17054
2019-05-20 03:45:00 | 4.375 | 234.773 | 1.809 | 233.924 | 0.707 | 230.933 | 0.894 | 190.133 | 8.716 | 889.433 | 16.6 | 0.17054
2019-05-20 04:00:00 | 3.58 | 230.893 | 0.23 | 221.99 | 0.16 | 120.867 | 1.337 | 114.133 | 8.604 | 889.333 | 16.624 | 0.17338
2019-05-20 04:15:00 | 4.431 | 229.82 | 0.073 | 216.693 | 0 | 109.3 | 1.199 | 99.2 | 9.224 | 889.367 | 16.496 | 0.17196
2019-05-20 04:30:00 | 5.156 | 231.133 | 1.143 | 230.207 | 0 | 124 | 0.914 | 100 | 7.506 | 889.2 | 18.621 | 0.17196
2019-05-20 04:45:00 | 5.566 | 229.307 | 2.416 | 239.418 | 0.526 | 246.5 | 0 | 100 | 6.512 | 889.6 | 19.877 | 0.17338
2019-05-20 05:00:00 | 5.844 | 229.04 | 3.364 | 240.438 | 2.178 | 247.467 | 0.833 | 237.45 | 6.28 | 890.083 | 20.597 | 0.20322
2019-05-20 05:15:00 | 6.166 | 225.407 | 4.571 | 237.028 | 3.248 | 242.333 | 2.186 | 228.2 | 6.363 | 890.067 | 20.949 | 0.19896
2019-05-20 05:30:00 | 6.574 | 226 | 4.628 | 238.364 | 3.217 | 243 | 2.392 | 224 | 6.027 | 890.017 | 21.157 | 0.22596
2019-05-20 05:45:00 | 6.014 | 224.98 | 5.411 | 236.737 | 4.18 | 249.633 | 2.694 | 238.633 | 6.267 | 889.467 | 21.632 | 0.5578
2019-05-20 06:00:00 | 5.834 | 224.593 | 4.371 | 231.76 | 3.412 | 239.967 | 2.297 | 229.467 | 6.008 | 889.683 | 22.277 | 0.18404
2019-05-20 06:15:00 | 5.495 | 224.987 | 4.208 | 234.19 | 2.883 | 241.133 | 1.726 | 240 | 5.988 | 889.35 | 22.475 | 0.23804
2019-05-20 06:30:00 | 4.963 | 223.173 | 2.727 | 228.444 | 1.837 | 231.533 | 0.917 | 223 | 6.048 | 889.783 | 21.824 | 0.20677
2019-05-20 06:45:00 | 5.387 | 216.04 | 3.86 | 215.354 | 3.13 | 210.533 | 2.779 | 199.733 | 6.114 | 889.483 | 22 | 0.18617
2019-05-20 07:00:00 | 5.323 | 211.893 | 3.96 | 205.757 | 3.093 | 197 | 3.118 | 177.733 | 6.969 | 889.983 | 21.173 | 0.1549
2019-05-20 07:15:00 | 4.53 | 203.767 | 4.724 | 196.551 | 3.753 | 187.533 | 3.273 | 173 | 7.522 | 889.617 | 22.043 | 0.28778
2019-05-20 07:30:00 | 4.183 | 197.52 | 4.315 | 180.176 | 3.782 | 172.4 | 3.389 | 158.233 | 9.12 | 889.733 | 24.437 | 0.75746
2019-05-20 07:45:00 | 3.462 | 216.067 | 3.357 | 209.047 | 3.25 | 207.933 | 3.216 | 197.4 | 11.328 | 889.567 | 20.667 | 1.0801
2019-05-20 08:00:00 | 2.56 | 222.633 | 2.946 | 202.42 | 3.04 | 203.167 | 3.184 | 199.233 | 13.468 | 889.567 | 18.744 | 0.18048
2019-05-20 08:15:00 | 1.164 | 278.72 | 0 | 244.526 | 0.343 | 215.967 | 1.778 | 179.1 | 14.545 | 889.6 | 17.304 | 0.21175
2019-05-20 08:30:00 | 0.789 | 241.673 | 0.593 | 212.918 | 1.47 | 203.6 | 2.313 | 189 | 16.598 | 889.633 | 16.296 | 0.16343
2019-05-20 08:45:00 | 0.912 | 212.433 | 0.247 | 190.494 | 0.446 | 186.1 | 1.182 | 182.233 | 18.489 | 889.4 | 15.581 | 0.16485
2019-05-20 09:00:00 | 1.538 | 61.801 | 0.563 | 62.113 | 0.874 | 63.233 | 1.424 | 83.6 | 18.352 | 889.7 | 13.688 | 0.21885
2019-05-20 09:15:00 | 2.5 | 32.203 | 1.776 | 13.372 | 1.894 | 21.133 | 2.16 | 18.8 | 17.302 | 889.8 | 14.448 | 0.14069
2019-05-20 09:30:00 | 3.111 | 24.782 | 3.03 | 21.531 | 3.064 | 31.1 | 3.326 | 34.033 | 16.798 | 889.267 | 14.275 | 0.12293
2019-05-20 09:45:00 | 2.416 | 17.957 | 2.349 | 18.538 | 2.477 | 35.267 | 2.509 | 17.733 | 17.102 | 889.533 | 12.789 | 0.10587
2019-05-20 10:00:00 | 2.179 | 32.595 | 1.938 | 28.426 | 1.876 | 35.3 | 2.422 | 38.4 | 17.91 | 889.667 | 11.76 | 0.099479
2019-05-20 10:15:00 | 2.802 | 200.673 | 2.726 | 257.816 | 3.081 | 169.033 | 3.114 | 86.434 | 18.123 | 889.167 | 10.322 | 0.21388
2019-05-20 10:30:00 | 2.314 | 150.38 | 2.286 | 148.889 | 2.111 | 88.5 | 2.634 | 65.602 | 18.723 | 888.867 | 9.473 | 0.14993
2019-05-20 10:45:00 | 2.951 | 30.709 | 2.837 | 29.291 | 2.663 | 33.867 | 2.741 | 38.233 | 18.456 | 888.867 | 9.236 | 0.12577
2019-05-20 11:00:00 | 2.138 | 40.367 | 1.493 | 36.701 | 1.647 | 44.867 | 2.084 | 43.3 | 18.306 | 888.667 | 9.479 | 0.093795
2019-05-20 11:15:00 | 2.326 | 45.435 | 2.246 | 48.646 | 2.262 | 53.6 | 2.82 | 51.767 | 18.198 | 888.867 | 9.347 | 0.53221
2019-05-20 11:30:00 | 2.317 | 82.583 | 2.219 | 75.691 | 2.647 | 77.933 | 3.367 | 73.733 | 18.898 | 888.867 | 9.289 | 1.6343
2019-05-20 11:45:00 | 3.85 | 74.575 | 3.936 | 74.17 | 3.831 | 75.233 | 3.721 | 76.7 | 18.773 | 888.8 | 9.945 | 2.5957
2019-05-20 12:00:00 | 3.47 | 75.745 | 3.355 | 69.166 | 3.515 | 72.767 | 3.751 | 71.567 | 19.194 | 888.933 | 9.775 | 1.9668
2019-05-20 12:15:00 | 1.787 | 116.262 | 1.606 | 90.448 | 1.345 | 86.767 | 2.296 | 79.667 | 19.327 | 888.967 | 9.991 | 1.0225
2019-05-20 12:30:00 | 3.12 | 47.032 | 2.874 | 38.173 | 2.774 | 22.569 | 3.204 | 26.6 | 20.277 | 888.933 | 9.515 | 1.1262
2019-05-20 12:45:00 | 3.726 | 33.322 | 3.62 | 27.784 | 3.451 | 33.2 | 3.923 | 30.6 | 20.368 | 889.133 | 9.249 | 2.4685
2019-05-20 13:00:00 | 2.803 | 197.588 | 2.874 | 215.042 | 3.259 | 159.069 | 3.404 | 100.234 | 20.644 | 889.133 | 8.899 | 0.75036
2019-05-20 13:15:00 | 2.592 | 77.447 | 2.122 | 66.009 | 1.91 | 73.8 | 2.116 | 70.233 | 21.785 | 889.333 | 8.623 | 0.2082
2019-05-20 13:30:00 | 2.931 | 171.827 | 3.008 | 232.184 | 3.031 | 191.167 | 3.413 | 167.633 | 23.464 | 889.267 | 7.646 | 0.5045
2019-05-20 13:45:00 | 3.38 | 312.907 | 2.912 | 306.65 | 2.967 | 312.767 | 3.142 | 320.3 | 22.656 | 889.267 | 7.723 | 0.13927
2019-05-20 14:00:00 | 3.376 | 31.546 | 2.815 | 69.174 | 2.364 | 43.3 | 2.888 | 49.067 | 24.989 | 888.8 | 7.134 | 0.19683
2019-05-20 14:15:00 | 1.938 | 304.267 | 1.077 | 310.895 | 0.504 | 253.5 | 1.081 | 302.667 | 22.481 | 889.133 | 7.869 | 1.1135
2019-05-20 14:30:00 | 1.92 | 130.267 | 1.719 | 120.761 | 1.959 | 187.8 | 2.887 | 205.902 | 22.764 | 888.933 | 7.771 | 1.8702
2019-05-20 14:45:00 | 1.85 | 177.961 | 2.15 | 174.115 | 2.494 | 137.734 | 3.149 | 119.273 | 23.439 | 888.867 | 7.705 | 2.0557
2019-05-20 15:00:00 | 4.978 | 158.94 | 5.099 | 253.23 | 5.456 | 247.233 | 5.581 | 221.733 | 23.031 | 889.4 | 7.653 | 1.6478
2019-05-20 15:15:00 | 3.215 | 171.201 | 2.845 | 304.73 | 3.069 | 289.3 | 3.627 | 292.367 | 22.798 | 889.4 | 8.207 | 0.40147
2019-05-20 15:30:00 | 2.654 | 318.537 | 2.293 | 324.723 | 2.172 | 319.067 | 2.693 | 309.5 | 23.898 | 888.467 | 7.654 | 0.10943
2019-05-20 15:45:00 | 1.515 | 60.126 | 1.13 | 74.355 | 1.19 | 156.1 | 1.603 | 225.65 | 24.839 | 889 | 7.025 | 0.28209
2019-05-20 16:00:00 | 1.788 | 190.693 | 0.949 | 197.637 | 1.163 | 225.1 | 1.833 | 255.067 | 26.681 | 889.2 | 6.639 | 2.1566
2019-05-20 16:15:00 | 4.492 | 205.402 | 4.761 | 258.177 | 5.09 | 226.8 | 5.09 | 215.2 | 24.61 | 889.133 | 6.975 | 5.0962
2019-05-20 16:30:00 | 3.335 | 54.077 | 3.348 | 66.67 | 3.555 | 41.367 | 4.078 | 41 | 23.918 | 889.2 | 7.346 | 6.6466
2019-05-20 16:45:00 | 6.144 | 216.836 | 6.538 | 212.836 | 6.866 | 239.867 | 7.271 | 246.867 | 24.152 | 888.933 | 7.53 | 9.7291
2019-05-20 17:00:00 | 5.648 | 313.307 | 5.659 | 309.333 | 5.96 | 315.067 | 6.194 | 312.833 | 23.481 | 889.133 | 8.16 | 8.3975
2019-05-20 17:15:00 | 3.672 | 318.773 | 3.746 | 314.047 | 3.682 | 316.967 | 3.875 | 316.433 | 23.548 | 889 | 8.107 | 5.1104
2019-05-20 17:30:00 | 6.014 | 299.613 | 6.057 | 296.185 | 6.062 | 299.233 | 6.214 | 295.433 | 24.002 | 889.2 | 7.901 | 9.9359
2019-05-20 17:45:00 | 3.887 | 274.84 | 4.093 | 266.58 | 4.408 | 270.867 | 4.884 | 264.8 | 24.652 | 889.2 | 7.786 | 11.0792
2019-05-20 18:00:00 | 4.456 | 258.193 | 4.429 | 257.799 | 5.276 | 269.133 | 5.388 | 267.417 | 26.085 | 889 | 7.046 | 5.892
2019-05-20 18:15:00 | 5.033 | 236.469 | 5.742 | 294.444 | 5.682 | 263.633 | 5.735 | 275.133 | 24.635 | 889.133 | 7.275 | 12.1955
2019-05-20 18:30:00 | 4.914 | 276.92 | 5.103 | 283.195 | 5.49 | 263.933 | 5.7 | 286.7 | 24.385 | 888.933 | 7.891 | 12.5365
2019-05-20 18:45:00 | 4.274 | 339.92 | 4.308 | 334.571 | 4.292 | 326.9 | 4.63 | 325.867 | 24.768 | 888.8 | 7.367 | 9.2445
2019-05-20 19:00:00 | 2.663 | 206.987 | 2.572 | 260.104 | 2.338 | 161.503 | 2.872 | 161.033 | 24.294 | 888.8 | 7.567 | 5.0386
2019-05-20 19:15:00 | 4.312 | 321.413 | 4.442 | 312.606 | 4.718 | 317.533 | 5.153 | 315.767 | 24.61 | 888.533 | 7.506 | 7.9363
2019-05-20 19:30:00 | 5.575 | 318.96 | 5.753 | 311.655 | 5.753 | 316.233 | 6.088 | 314.633 | 24.523 | 888.733 | 7.776 | 13.7004
2019-05-20 19:45:00 | 5.872 | 326.64 | 6.052 | 322.101 | 6.084 | 326.8 | 6.339 | 326.5 | 24.398 | 888.467 | 7.542 | 14.0721
2019-05-20 20:00:00 | 5.2 | 315.987 | 5.642 | 309.238 | 5.678 | 312.733 | 5.765 | 314.333 | 24.327 | 889.4 | 7.14 | 10.3558
2019-05-20 20:15:00 | 5.521 | 282.867 | 5.844 | 278.12 | 5.974 | 282.967 | 6.153 | 280.233 | 24.41 | 888.933 | 6.873 | 8.9141
2019-05-20 20:30:00 | 4.498 | 284.2 | 4.751 | 280.315 | 4.824 | 287.167 | 5.16 | 286.233 | 23.902 | 888.733 | 6.35 | 7.122
2019-05-20 20:45:00 | 3.292 | 302.573 | 3.542 | 297.245 | 3.804 | 302.567 | 4.372 | 299.367 | 24.098 | 889.133 | 7.045 | 4.095
2019-05-20 21:00:00 | 3.318 | 297.573 | 3.591 | 293.802 | 3.702 | 298.5 | 4.028 | 297.3 | 23.464 | 889.133 | 7.883 | 1.7849
2019-05-20 21:15:00 | 3.121 | 285.253 | 3.088 | 283.307 | 3.351 | 289.1 | 3.772 | 289.867 | 23.164 | 889.067 | 8.407 | 1.6421
2019-05-20 21:30:00 | 3.077 | 274.067 | 3.03 | 268.898 | 3.018 | 278.167 | 3.493 | 276.6 | 22.998 | 889.2 | 8.835 | 1.7231
2019-05-20 21:45:00 | 3.255 | 264 | 3.101 | 265.247 | 3.089 | 273.667 | 3.395 | 268.9 | 22.364 | 889.133 | 9.629 | 1.7515
2019-05-20 22:00:00 | 4.005 | 246.76 | 3.273 | 256.014 | 3.206 | 266.133 | 3.618 | 266.333 | 20.918 | 889.133 | 10.491 | 2.7392
2019-05-20 22:15:00 | 4.213 | 244.993 | 3.485 | 250.149 | 3.384 | 256.567 | 3.717 | 253.767 | 20.952 | 889.467 | 10.576 | 4.3153
2019-05-20 22:30:00 | 5.716 | 243.787 | 5.715 | 256.182 | 5.084 | 262.333 | 4.954 | 259.467 | 18.898 | 889.5 | 10.467 | 9.4697
2019-05-20 22:45:00 | 5.383 | 251.433 | 5.409 | 262.895 | 5.283 | 270.533 | 5.374 | 267.167 | 18.423 | 889.667 | 10.593 | 11.3513
2019-05-20 23:00:00 | 5.298 | 254.827 | 5.175 | 263.533 | 5.189 | 272.333 | 5.482 | 267.967 | 18.773 | 889.9 | 10.461 | 10.6208
2019-05-20 23:15:00 | 5.196 | 244.433 | 5.148 | 261.957 | 5.084 | 272.867 | 5.428 | 267.5 | 17.777 | 889.2 | 11.056 | 9.6253
2019-05-20 23:30:00 | 5.183 | 239.147 | 5.152 | 258.534 | 5.263 | 268.667 | 5.465 | 267.133 | 17.252 | 889.4 | 11.497 | 9.8627
2019-05-20 23:45:00 | 5.451 | 229.807 | 5.119 | 253.43 | 4.876 | 265.667 | 5.16 | 266.1 | 16.2 | 889.733 | 12.113 | 9.1727