## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-21 00:00:00 | 6.002 | 229.707 | 5.531 | 250.109 | 4.936 | 264.533 | 5.008 | 267.367 | 15.804 | 889.3 | 12.68 | 9.8435
2019-05-21 00:15:00 | 6.076 | 228.553 | 5.807 | 245.456 | 5.191 | 258.933 | 5.162 | 262.367 | 15.112 | 889.667 | 13.096 | 11.5716
2019-05-21 00:30:00 | 6.16 | 223.967 | 6.522 | 235.668 | 5.758 | 247.933 | 5.082 | 250.3 | 15.471 | 889.267 | 13.371 | 11.1211
2019-05-21 00:45:00 | 6.124 | 226.533 | 6.742 | 235.386 | 5.886 | 246.433 | 5.223 | 247.533 | 15.174 | 889.3 | 13.656 | 12.5195
2019-05-21 01:00:00 | 6.205 | 223.2 | 6.937 | 232.876 | 6.169 | 243.2 | 5.428 | 244.067 | 14.791 | 889.467 | 14.339 | 14.8551
2019-05-21 01:15:00 | 6.627 | 225.493 | 7.212 | 230.723 | 6.549 | 239.9 | 5.934 | 239.667 | 14.516 | 889.633 | 14.941 | 15.7597
2019-05-21 01:30:00 | 6.428 | 226.8 | 7.074 | 233.483 | 6.451 | 243.533 | 5.818 | 243.267 | 14.691 | 889.967 | 14.773 | 14.8615
2019-05-21 01:45:00 | 5.978 | 223.96 | 7.09 | 232.475 | 6.339 | 243.667 | 5.726 | 243.833 | 14.258 | 889.133 | 14.811 | 15.2409
2019-05-21 02:00:00 | 6.204 | 226.693 | 6.964 | 237.16 | 6.412 | 248.4 | 5.833 | 248.6 | 14.104 | 889.267 | 15.067 | 14.7713
2019-05-21 02:15:00 | 6.401 | 226.693 | 6.984 | 238.448 | 6.364 | 251.033 | 5.696 | 250.633 | 13.904 | 889.5 | 15.499 | 16.4041
2019-05-21 02:30:00 | 6.338 | 222.92 | 7.663 | 231.306 | 6.669 | 243.767 | 5.808 | 245.033 | 13.574 | 889.767 | 16.005 | 19.2961
2019-05-21 02:45:00 | 6.422 | 222.16 | 7.525 | 227.601 | 6.891 | 238.6 | 6.115 | 237.733 | 13.816 | 889.367 | 16.141 | 16.5932
2019-05-21 03:00:00 | 6.116 | 219.333 | 7.31 | 226.665 | 6.681 | 237.4 | 6.053 | 235.833 | 13.424 | 889.533 | 16.536 | 17.1872
2019-05-21 03:15:00 | 6.312 | 217.767 | 7.336 | 222.63 | 6.645 | 234.767 | 6.094 | 233.8 | 12.968 | 889.3 | 17.139 | 18.2516
2019-05-21 03:30:00 | 6.185 | 216.207 | 7.986 | 217.997 | 6.939 | 225.567 | 6.344 | 225.333 | 12.928 | 889.467 | 17.056 | 19.7601
2019-05-21 03:45:00 | 6.398 | 215.113 | 7.836 | 216.548 | 7.079 | 224.1 | 6.369 | 222.2 | 13.176 | 890 | 17.029 | 15.7696
2019-05-21 04:00:00 | 6.263 | 220.073 | 7.098 | 221.332 | 6.368 | 226.933 | 5.983 | 226.333 | 13.172 | 889.733 | 17.016 | 15.2019
2019-05-21 04:15:00 | 6.471 | 216.36 | 7.448 | 219.48 | 6.54 | 225.833 | 5.837 | 224.467 | 12.947 | 889.467 | 17.277 | 19.7026
2019-05-21 04:30:00 | 6.5 | 217.313 | 8.382 | 214.056 | 7.773 | 219.233 | 6.952 | 216.6 | 12.689 | 889.433 | 17.683 | 23.3009
2019-05-21 04:45:00 | 6.19 | 214.62 | 8.281 | 214.418 | 7.712 | 219 | 7.344 | 216.467 | 12.632 | 889.4 | 18.115 | 21.3618
2019-05-21 05:00:00 | 6.485 | 216.9 | 7.624 | 216.647 | 7.254 | 223 | 6.601 | 221.067 | 12.714 | 889.5 | 18.285 | 19.6628
2019-05-21 05:15:00 | 6.724 | 214.26 | 8.283 | 213.233 | 7.482 | 219.9 | 6.786 | 219.733 | 12.991 | 889.833 | 18.416 | 22.2578
2019-05-21 05:30:00 | 5.516 | 212.367 | 8.491 | 209.313 | 8.541 | 212.633 | 8.016 | 211.2 | 12.349 | 889.467 | 18.883 | 28.876
2019-05-21 05:45:00 | 7.118 | 215.893 | 8.558 | 212.126 | 8.564 | 214.5 | 8.402 | 212.5 | 12.736 | 889.3 | 19.808 | 28.9357
2019-05-21 06:00:00 | 7.554 | 214.173 | 8.878 | 207.085 | 8.203 | 210.767 | 8.206 | 209.3 | 13.039 | 889.567 | 20.696 | 26.1624
2019-05-21 06:15:00 | 7.584 | 215.667 | 8.774 | 209.859 | 8.099 | 211.8 | 7.601 | 208.733 | 13.001 | 889.867 | 21.669 | 23.6434
2019-05-21 06:30:00 | 8.126 | 215.593 | 8.326 | 211.787 | 7.599 | 214.267 | 7.337 | 211.867 | 12.836 | 889.7 | 22.453 | 20.1097
2019-05-21 06:45:00 | 7.616 | 214.56 | 7.98 | 210.82 | 7.459 | 212.067 | 7.267 | 208.333 | 13.301 | 889.433 | 21.931 | 20.2035
2019-05-21 07:00:00 | 6.395 | 212.467 | 8.808 | 203.879 | 8.109 | 207.533 | 7.654 | 203.967 | 13.787 | 889.883 | 21.317 | 23.3577
2019-05-21 07:15:00 | 6.428 | 212.133 | 8.95 | 203.276 | 9.058 | 203.3 | 8.478 | 198.767 | 14.974 | 889.433 | 20.283 | 25.8241
2019-05-21 07:30:00 | 5.792 | 209.68 | 8.1 | 202.345 | 8.451 | 203.333 | 8.268 | 198.4 | 16.464 | 889.633 | 18.659 | 26.4757
2019-05-21 07:45:00 | 5.368 | 213 | 7.364 | 207.623 | 8.315 | 209.367 | 8.175 | 204.1 | 17.473 | 889.8 | 17.464 | 24.3334
2019-05-21 08:00:00 | 4.976 | 212.487 | 5.984 | 208.653 | 7.32 | 210.133 | 7.737 | 205.667 | 18.781 | 889.4 | 16.067 | 19.9705
2019-05-21 08:15:00 | 6.329 | 213.647 | 6.552 | 208.508 | 7.086 | 210 | 7.546 | 205.1 | 19.718 | 889.4 | 14.893 | 16.466
2019-05-21 08:30:00 | 6.086 | 207.76 | 6.588 | 202.818 | 6.884 | 207.167 | 7.392 | 201.7 | 21.194 | 889.367 | 13.755 | 15.4996
2019-05-21 08:45:00 | 6.102 | 207.507 | 6.124 | 201.705 | 6.311 | 201.833 | 6.504 | 196.267 | 21.51 | 889.5 | 12.867 | 16.3509
2019-05-21 09:00:00 | 6.809 | 204.087 | 6.871 | 201.235 | 6.962 | 206.333 | 7.104 | 202.167 | 21.998 | 889.4 | 12.544 | 15.7831
2019-05-21 09:15:00 | 6.51 | 205.6 | 6.413 | 204.421 | 6.331 | 208.1 | 6.481 | 202.867 | 22.398 | 889.467 | 12.44 | 14.2668
2019-05-21 09:30:00 | 5.78 | 208.707 | 5.623 | 206.842 | 5.716 | 209.233 | 5.908 | 203.733 | 22.831 | 889.433 | 12.013 | 8.2035
2019-05-21 09:45:00 | 4.543 | 196.84 | 4.382 | 197.764 | 4.461 | 199.933 | 4.563 | 198.167 | 23.439 | 889.467 | 11.325 | 3.6623
2019-05-21 10:00:00 | 2.765 | 207.867 | 2.706 | 197.661 | 2.916 | 204.133 | 3.302 | 195.533 | 24.377 | 888.933 | 10.587 | 1.328
2019-05-21 10:15:00 | 2.537 | 217.933 | 2.808 | 212.738 | 2.627 | 217.767 | 3.099 | 210.133 | 25.273 | 889.133 | 10.021 | 0.97916
2019-05-21 10:30:00 | 1.459 | 236.52 | 1.124 | 213.504 | 1.15 | 209.617 | 1.853 | 220.867 | 25.527 | 889.133 | 8.78 | 1.3551
2019-05-21 10:45:00 | 2.652 | 206.86 | 2.682 | 208.406 | 2.962 | 209.333 | 3.244 | 204.1 | 25.844 | 889 | 7.976 | 0.44055
2019-05-21 11:00:00 | 2.882 | 245.327 | 2.848 | 241.709 | 2.634 | 249.383 | 3.165 | 247.617 | 25.698 | 888.867 | 8.409 | 0.20109
2019-05-21 11:15:00 | 2.59 | 250.915 | 3.061 | 249.352 | 3.135 | 245.183 | 3.411 | 234.233 | 27.048 | 889.133 | 8.269 | 0.72123
2019-05-21 11:30:00 | 2.759 | 277.627 | 2.17 | 261.177 | 1.974 | 259.017 | 2.566 | 260.6 | 26.381 | 888.8 | 9.262 | 0.50166
2019-05-21 11:45:00 | 2.21 | 241.897 | 2.688 | 305.972 | 2.32 | 287.65 | 2.852 | 276.333 | 26.118 | 888.6 | 9.378 | 0.50735
2019-05-21 12:00:00 | 2.846 | 286.907 | 2.881 | 333.328 | 2.75 | 310.333 | 3.104 | 330.467 | 26.789 | 889.167 | 10.211 | 0.44979
2019-05-21 12:15:00 | 2.976 | 276.947 | 2.907 | 271.383 | 2.966 | 274.2 | 3.313 | 270.533 | 26.906 | 889.267 | 10.274 | 0.58693
2019-05-21 12:30:00 | 2.256 | 175.362 | 1.842 | 274.102 | 1.848 | 230.571 | 2.393 | 293.767 | 27.781 | 889 | 9.559 | 1.0495
2019-05-21 12:45:00 | 3.408 | 217.271 | 3.28 | 248.715 | 2.92 | 198.267 | 3.378 | 236 | 27.827 | 888.933 | 9.299 | 1.2058
2019-05-21 13:00:00 | 2.336 | 240.769 | 1.537 | 184.055 | 0.82 | 185.367 | 1.563 | 192.8 | 27.098 | 888.733 | 9.39 | 1.004
2019-05-21 13:15:00 | 3.283 | 110.245 | 3.346 | 145.976 | 3.259 | 160.102 | 3.386 | 166.433 | 28.077 | 889.133 | 9.35 | 0.39579
2019-05-21 13:30:00 | 3.286 | 64.518 | 3.719 | 50.026 | 3.427 | 53.033 | 3.713 | 56.467 | 28.585 | 888.8 | 9.079 | 0.42634
2019-05-21 13:45:00 | 2.237 | 199.302 | 2.373 | 167.152 | 1.884 | 140.218 | 2.159 | 165.467 | 28.552 | 889.067 | 9.107 | 0.77025
2019-05-21 14:00:00 | 3.272 | 42.582 | 3.362 | 44.47 | 3.544 | 36.233 | 3.87 | 35.267 | 28.389 | 888.933 | 8.989 | 0.86334
2019-05-21 14:15:00 | 2.966 | 64.925 | 1.786 | 87.924 | 1.13 | 134.567 | 1.519 | 42.746 | 28.385 | 889.067 | 8.869 | 0.33112
2019-05-21 14:30:00 | 3.371 | 165.373 | 3.263 | 158.486 | 3.137 | 153.4 | 3.546 | 130.333 | 28.635 | 889.067 | 8.96 | 1.5966
2019-05-21 14:45:00 | 2.279 | 234.273 | 1.223 | 202.821 | 0.443 | 183.35 | 1.024 | 143.5 | 28.773 | 888.667 | 9.085 | 3.7561
2019-05-21 15:00:00 | 2.574 | 69.579 | 2.973 | 102.421 | 2.902 | 53.567 | 3.238 | 45.767 | 29.481 | 889.2 | 8.549 | 4.8247
2019-05-21 15:15:00 | 4.304 | 191.34 | 4.438 | 205.76 | 4.18 | 157.7 | 4.644 | 149.933 | 28.885 | 889.133 | 8.875 | 7.3053
2019-05-21 15:30:00 | 3.638 | 64.72 | 3.728 | 52.667 | 3.724 | 50.7 | 4.092 | 44.833 | 29.281 | 888.867 | 8.356 | 4.6329
2019-05-21 15:45:00 | 4.816 | 91.3 | 4.497 | 88.723 | 4.398 | 92.633 | 4.546 | 87.1 | 28.931 | 889.067 | 8.756 | 3.5273
2019-05-21 16:00:00 | 3.871 | 47.29 | 4.043 | 42.008 | 4.021 | 56.9 | 4.372 | 55.067 | 29.098 | 889.333 | 8.844 | 0.46045
2019-05-21 16:15:00 | 3.71 | 42.822 | 3.968 | 32.064 | 3.815 | 33.333 | 4.025 | 27 | 29.631 | 888.867 | 8.468 | 0.26931
2019-05-21 16:30:00 | 4.078 | 238.976 | 4.069 | 244.951 | 4.166 | 250.3 | 4.619 | 274.2 | 29.981 | 888.733 | 8.111 | 1.0381
2019-05-21 16:45:00 | 2.701 | 233.387 | 2.203 | 245.237 | 2.128 | 236.667 | 2.66 | 238.068 | 29.681 | 889.133 | 8.131 | 0.62317
2019-05-21 17:00:00 | 3.299 | 274.22 | 3.706 | 284.866 | 3.642 | 300.684 | 4.134 | 293.433 | 29.802 | 889.2 | 8.202 | 1.0467
2019-05-21 17:15:00 | 1.124 | 275.8 | 1.037 | 294.799 | 1.489 | 281.667 | 1.891 | 261.717 | 29.935 | 889.4 | 8.067 | 1.1703
2019-05-21 17:30:00 | 2.755 | 242.668 | 2.73 | 287.168 | 2.651 | 286.767 | 2.974 | 279.667 | 30.023 | 888.8 | 7.729 | 0.21175
2019-05-21 17:45:00 | 0.979 | 214.255 | 0.529 | 252.406 | 0.37 | 246.15 | 1.301 | 218.55 | 30.549 | 889.067 | 7.579 | 0.24444
2019-05-21 18:00:00 | 2.192 | 158.117 | 1.633 | 151.2 | 1.03 | 149.967 | 1.557 | 158.433 | 31.425 | 889.333 | 6.948 | 0.34605
2019-05-21 18:15:00 | 2.769 | 318.293 | 2.725 | 290.066 | 2.923 | 304.4 | 3.218 | 297.333 | 30.868 | 889.067 | 6.972 | 0.30767
2019-05-21 18:30:00 | 1.686 | 155.33 | 1.325 | 165.963 | 0.647 | 183.467 | 1.256 | 174.35 | 31.587 | 889 | 6.911 | 0.14496
2019-05-21 18:45:00 | 2.628 | 259.28 | 2.619 | 254.075 | 2.779 | 256.25 | 3.289 | 251.917 | 30.994 | 889 | 7.112 | 0.46258
2019-05-21 19:00:00 | 0.496 | 285.147 | 0.18 | 239.345 | 0.09 | 253.983 | 0.598 | 255.7 | 32.139 | 888.8 | 6.801 | 0.21246
2019-05-21 19:15:00 | 5.377 | 249.6 | 5.298 | 246.716 | 5.262 | 239.5 | 5.293 | 248.9 | 31.012 | 889.133 | 7.029 | 3.2651
2019-05-21 19:30:00 | 4.312 | 239.833 | 4.748 | 238.144 | 4.894 | 245.467 | 5.102 | 242.233 | 30.385 | 889.067 | 7.527 | 15.8257
2019-05-21 19:45:00 | 6.5 | 255.56 | 6.805 | 250.486 | 7.093 | 255.683 | 7.214 | 248.817 | 30.598 | 889 | 7.385 | 54.0549
2019-05-21 20:00:00 | 8.261 | 251.853 | 8.714 | 245.861 | 8.722 | 249.5 | 8.792 | 242.967 | 29.831 | 889.267 | 7.777 | 58.7951
2019-05-21 20:15:00 | 8.731 | 236.08 | 9.306 | 232.002 | 9.575 | 235.033 | 9.572 | 228.867 | 29.481 | 889.267 | 8.12 | 67.8854
2019-05-21 20:30:00 | 8.228 | 238.86 | 9.104 | 235.244 | 9.524 | 238.667 | 9.578 | 232.667 | 28.881 | 888.867 | 8.219 | 72.9048
2019-05-21 20:45:00 | 9.686 | 233.18 | 10.553 | 230.914 | 11.155 | 234.833 | 11.209 | 228.967 | 28.044 | 888.8 | 8.071 | 74.4134
2019-05-21 21:00:00 | 8.875 | 229.633 | 10.286 | 226.098 | 10.895 | 231.633 | 10.925 | 225.967 | 27.177 | 889.267 | 8.52 | 61.0689
2019-05-21 21:15:00 | 8.493 | 235.413 | 9.715 | 229.941 | 10.568 | 234.533 | 10.706 | 228.733 | 26.373 | 889 | 8.804 | 64.2906
2019-05-21 21:30:00 | 7.738 | 232.42 | 9.271 | 229.2 | 10.018 | 234.033 | 10.325 | 228 | 26.331 | 889.067 | 8.875 | 60.8494
2019-05-21 21:45:00 | 7.139 | 233.193 | 8.48 | 229.588 | 9.375 | 233.7 | 9.929 | 227.833 | 25.702 | 888.933 | 8.805 | 52.3766
2019-05-21 22:00:00 | 7.052 | 232.187 | 8.092 | 230.634 | 8.648 | 236.867 | 9.057 | 231.5 | 25.198 | 889.133 | 8.737 | 40.044
2019-05-21 22:15:00 | 5.775 | 232.113 | 7.028 | 231.529 | 7.659 | 238.167 | 7.984 | 232.333 | 24.998 | 888.933 | 9.064 | 30.7036
2019-05-21 22:30:00 | 5.564 | 234.98 | 7.114 | 234.156 | 7.834 | 240.5 | 8.012 | 233.633 | 24.048 | 889.333 | 9.312 | 25.8696
2019-05-21 22:45:00 | 5.224 | 232.707 | 6.345 | 231.959 | 6.644 | 238.067 | 6.931 | 232.967 | 23.906 | 889 | 9.511 | 20.3108
2019-05-21 23:00:00 | 5.226 | 227.4 | 6.115 | 230.344 | 6.405 | 234.133 | 6.766 | 228.3 | 22.244 | 889.233 | 10.276 | 15.5763
2019-05-21 23:15:00 | 4.515 | 221.213 | 5.61 | 224.002 | 6.013 | 228.133 | 6.554 | 221.9 | 20.839 | 889.633 | 11.117 | 13.3267
2019-05-21 23:30:00 | 4.26 | 227.567 | 5.236 | 218.734 | 5.67 | 222.9 | 5.651 | 219.9 | 21.068 | 889.3 | 11.045 | 13.3913
2019-05-21 23:45:00 | 4.727 | 212.72 | 6.08 | 211.927 | 6.862 | 213.533 | 7.01 | 211.233 | 20.598 | 889.467 | 10.907 | 14.1779