## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-22 00:00:00 | 4.144 | 210.847 | 5.172 | 209.032 | 5.95 | 212.767 | 6.125 | 208.6 | 20.652 | 889.433 | 10.941 | 14.448
2019-05-22 00:15:00 | 4.622 | 219.56 | 6.221 | 212.266 | 7.082 | 215.1 | 7.291 | 211.7 | 20.156 | 889.833 | 11.12 | 16.6287
2019-05-22 00:30:00 | 5.754 | 215.027 | 6.822 | 213.407 | 7.458 | 217.833 | 7.775 | 213.067 | 20.614 | 889.167 | 10.856 | 20.6739
2019-05-22 00:45:00 | 5.677 | 214.587 | 7.026 | 216.442 | 7.808 | 220.133 | 8.244 | 214.3 | 19.973 | 889.7 | 11 | 32.1403
2019-05-22 01:00:00 | 5.99 | 215.56 | 7.288 | 217.011 | 8.222 | 221.633 | 8.703 | 216.567 | 20.002 | 889.7 | 10.925 | 39.3107
2019-05-22 01:15:00 | 6.225 | 220.32 | 7.643 | 219.442 | 8.232 | 223.967 | 8.795 | 220.1 | 19.973 | 889.4 | 10.904 | 51.5402
2019-05-22 01:30:00 | 6.721 | 218.593 | 8.481 | 219.017 | 9.109 | 223.8 | 9.384 | 220.367 | 19.948 | 889.833 | 11.347 | 56.0239
2019-05-22 01:45:00 | 5.921 | 244.473 | 6.318 | 232.729 | 7.772 | 230.567 | 8.724 | 225.5 | 20.456 | 889.633 | 11.544 | 55.6736
2019-05-22 02:00:00 | 6.639 | 238.04 | 8.008 | 233.735 | 8.609 | 235.9 | 9.538 | 228.1 | 20.235 | 889.667 | 11.925 | 56.0523
2019-05-22 02:15:00 | 7.676 | 233.793 | 9.23 | 231.814 | 10.26 | 235.433 | 10.84 | 228.767 | 19.864 | 889.633 | 12.155 | 56.5064
2019-05-22 02:30:00 | 7.493 | 228.147 | 9.341 | 225.786 | 10.513 | 230.267 | 11.133 | 224.7 | 19.818 | 889.6 | 12.693 | 63.1843
2019-05-22 02:45:00 | 5.541 | 234.307 | 7.554 | 226.749 | 9.11 | 229.4 | 10.03 | 223.9 | 19.194 | 889.6 | 12.907 | 66.6817
2019-05-22 03:00:00 | 6.032 | 229.507 | 8.459 | 222.308 | 9.965 | 227.4 | 10.43 | 224.133 | 19.856 | 889.667 | 12.896 | 69.1793
2019-05-22 03:15:00 | 7.725 | 216.86 | 9.807 | 216.359 | 11.004 | 222 | 10.889 | 219.7 | 19.573 | 889.5 | 12.957 | 65.8653
2019-05-22 03:30:00 | 6.998 | 218.613 | 9.259 | 216.468 | 10.552 | 222.233 | 10.407 | 220.733 | 19.544 | 888.967 | 12.987 | 60.8543
2019-05-22 03:45:00 | 6.67 | 211.6 | 8.611 | 209.96 | 10.009 | 215.967 | 10.645 | 214.533 | 19.773 | 889.233 | 13.003 | 62.9981
2019-05-22 04:00:00 | 6.522 | 213.227 | 9.11 | 212.161 | 10.35 | 218.133 | 10.607 | 216.067 | 19.506 | 888.8 | 13.024 | 67.1507
2019-05-22 04:15:00 | 6.998 | 214.02 | 9.312 | 213.043 | 10.021 | 219.167 | 10.182 | 217.5 | 19.614 | 889.833 | 12.829 | 56.6585
2019-05-22 04:30:00 | 6.007 | 213.853 | 8.567 | 212.496 | 9.257 | 219.433 | 9.25 | 217.967 | 19.085 | 889.5 | 13.133 | 42.6375
2019-05-22 04:45:00 | 2.67 | 320.867 | 2.544 | 282.664 | 3.655 | 255.75 | 5.423 | 222.35 | 18.423 | 889.667 | 13.649 | 30.7889
2019-05-22 05:00:00 | 5.562 | 219.873 | 6.524 | 216.016 | 7.457 | 218.6 | 7.47 | 215.867 | 19.348 | 889.467 | 12.957 | 37.2358
2019-05-22 05:15:00 | 6.025 | 211.093 | 7.448 | 209.754 | 8.199 | 215 | 8.625 | 216.433 | 18.844 | 889.267 | 13.136 | 41.6953
2019-05-22 05:30:00 | 6.135 | 210.393 | 7.676 | 209.258 | 8.411 | 214.6 | 8.092 | 214.533 | 18.406 | 889.4 | 13.416 | 42.553
2019-05-22 05:45:00 | 6.15 | 208.3 | 7.892 | 207.008 | 7.523 | 212.233 | 7.512 | 211 | 18.164 | 889.733 | 13.779 | 35.4807
2019-05-22 06:00:00 | 5.348 | 214.333 | 7.256 | 213.033 | 7.38 | 221.233 | 6.876 | 221.3 | 17.827 | 890 | 13.904 | 27.2175
2019-05-22 06:15:00 | 5.646 | 217.727 | 6.859 | 222.09 | 6.845 | 232.667 | 6.726 | 230.767 | 17.914 | 889.633 | 13.888 | 22.0794
2019-05-22 06:30:00 | 5.724 | 217.707 | 6.514 | 224.845 | 6.459 | 234.4 | 5.939 | 234.9 | 17.877 | 889.267 | 14.011 | 19.6123
2019-05-22 06:45:00 | 5.751 | 219.147 | 6.389 | 228.65 | 5.973 | 240.233 | 5.293 | 241.5 | 17.344 | 889.567 | 14.251 | 18.4591
2019-05-22 07:00:00 | 5.705 | 217.02 | 6.711 | 222.884 | 6.684 | 234.833 | 6.076 | 234.433 | 17.389 | 889.367 | 14.085 | 15.6403
2019-05-22 07:15:00 | 4.6 | 223.627 | 5.855 | 233.779 | 5.477 | 246.2 | 5 | 247.533 | 18.185 | 889.367 | 13.76 | 10.6081
2019-05-22 07:30:00 | 5.012 | 221.433 | 5.6 | 227.912 | 4.97 | 242.167 | 4.338 | 246.133 | 18.456 | 889.533 | 13.419 | 6.9422
2019-05-22 07:45:00 | 4.416 | 224.233 | 4.468 | 234.788 | 3.621 | 250.8 | 3.45 | 261.533 | 19.673 | 889.7 | 12.704 | 4.4446
2019-05-22 08:00:00 | 4.396 | 212.747 | 4.567 | 218.028 | 3.671 | 229.333 | 3.291 | 235.733 | 20.927 | 889.5 | 12.077 | 5.0578
2019-05-22 08:15:00 | 4.518 | 211.8 | 5.117 | 211.881 | 5.074 | 221.467 | 4.383 | 221.433 | 22.381 | 889.733 | 11.208 | 6.4292
2019-05-22 08:30:00 | 4.622 | 203.913 | 4.619 | 203.334 | 4.694 | 209.633 | 4.42 | 207.667 | 23.564 | 889.267 | 10.485 | 6.0519
2019-05-22 08:45:00 | 4.15 | 199.253 | 4.136 | 195.642 | 4.083 | 200.933 | 4.328 | 197.3 | 24.485 | 889.2 | 10.111 | 4.2947
2019-05-22 09:00:00 | 3.984 | 206.013 | 3.789 | 201.974 | 3.889 | 208.867 | 4.083 | 204.667 | 25.352 | 889 | 9.827 | 2.1935
2019-05-22 09:15:00 | 2.988 | 203.293 | 2.98 | 202.13 | 2.881 | 209.933 | 3.312 | 207.967 | 25.985 | 889.333 | 9.757 | 0.79299
2019-05-22 09:30:00 | 2.331 | 260.533 | 2.009 | 251.293 | 1.741 | 252.6 | 2.417 | 246.75 | 27.052 | 889.4 | 10.222 | 0.12932
2019-05-22 09:45:00 | 0.903 | 239.767 | 1.15 | 236.667 | 1.106 | 237.6 | 1.992 | 233.833 | 27.339 | 889.1 | 10.165 | 0.24728
2019-05-22 10:00:00 | 2.12 | 312.013 | 1.757 | 303.842 | 1.965 | 298 | 2.406 | 298.1 | 26.494 | 889.733 | 11.811 | 0.18688
2019-05-22 10:15:00 | 1.981 | 274.213 | 1.731 | 268.198 | 1.979 | 267.617 | 2.61 | 251.383 | 26.518 | 889.6 | 11.128 | 0.2757
2019-05-22 10:30:00 | 2.681 | 251.08 | 2.662 | 245.22 | 2.715 | 245.5 | 3.239 | 238.45 | 28.027 | 889.267 | 10.624 | 0.083847
2019-05-22 10:45:00 | 2.424 | 235.467 | 1.938 | 225.423 | 1.607 | 222.267 | 1.918 | 213.7 | 28.594 | 889.767 | 10.429 | 0.22028
2019-05-22 11:00:00 | 1.439 | 258.433 | 1.363 | 254.756 | 1.54 | 252.433 | 2.315 | 247.467 | 29.064 | 889.433 | 10.332 | 0.38655
2019-05-22 11:15:00 | 3.415 | 228.167 | 3.426 | 228.472 | 3.994 | 242.467 | 4.517 | 233.667 | 29.881 | 888.867 | 10.01 | 0.76741
2019-05-22 11:30:00 | 2.309 | 253.993 | 2.558 | 243.984 | 3.15 | 251.2 | 3.4 | 249.883 | 29.381 | 889.2 | 10.25 | 0.88252
2019-05-22 11:45:00 | 1.7 | 246.853 | 1.291 | 245.413 | 1.261 | 249.083 | 2.182 | 242.667 | 29.214 | 889.2 | 10.617 | 1.2534
2019-05-22 12:00:00 | 4.737 | 254.893 | 4.707 | 252.131 | 4.99 | 259.467 | 5.072 | 255.583 | 30.198 | 889.4 | 10.467 | 1.8844
2019-05-22 12:15:00 | 2.72 | 265.12 | 3.161 | 259.35 | 3.339 | 268.567 | 3.931 | 260.567 | 29.548 | 889.333 | 10.46 | 1.5789
2019-05-22 12:30:00 | 1.657 | 208.893 | 1.9 | 214.197 | 2.152 | 218.767 | 2.768 | 215.9 | 30.031 | 889.3 | 10.539 | 2.1416
2019-05-22 12:45:00 | 2.707 | 180.593 | 2.408 | 262.872 | 2.931 | 232.967 | 3.167 | 220.8 | 28.948 | 889.4 | 10.589 | 1.8922
2019-05-22 13:00:00 | 2.775 | 65.433 | 2.797 | 71.135 | 2.834 | 54.4 | 3.423 | 50.433 | 29.331 | 889.633 | 10.719 | 0.69493
2019-05-22 13:15:00 | 2.373 | 180.907 | 2 | 185.288 | 2.224 | 236.783 | 2.835 | 227.433 | 29.644 | 889.233 | 10.704 | 2.0116
2019-05-22 13:30:00 | 4.405 | 245.9 | 4.619 | 236.462 | 5.08 | 242.4 | 5.449 | 235.933 | 30.71 | 889 | 9.94 | 3.6495
2019-05-22 13:45:00 | 2.094 | 297.168 | 1.651 | 290.327 | 1.831 | 292 | 2.186 | 281.1 | 31.052 | 888.733 | 9.762 | 2.3555
2019-05-22 14:00:00 | 3.998 | 259.34 | 4.125 | 314.207 | 4.71 | 324.133 | 5.249 | 326.267 | 29.664 | 889.5 | 10.601 | 1.5881
2019-05-22 14:15:00 | 3.971 | 294.233 | 3.801 | 270.384 | 4.074 | 264.569 | 4.468 | 283.633 | 30.027 | 888.933 | 10.218 | 3.7816
2019-05-22 14:30:00 | 6.258 | 282.287 | 6.532 | 277.203 | 6.656 | 280.367 | 6.677 | 274.467 | 30.239 | 888.967 | 10.152 | 8.9538
2019-05-22 14:45:00 | 4.406 | 248.613 | 4.108 | 238.984 | 3.776 | 241.917 | 3.923 | 234.85 | 31.176 | 889 | 9.767 | 5.3236
2019-05-22 15:00:00 | 2.404 | 158.382 | 2.117 | 184.663 | 2.494 | 189.233 | 3.026 | 195.033 | 31.266 | 888.867 | 9.128 | 3.1997
2019-05-22 15:15:00 | 5.831 | 252.527 | 6.196 | 247.612 | 6.724 | 250.5 | 6.89 | 243.317 | 31.295 | 889.133 | 9.475 | 5.7087
2019-05-22 15:30:00 | 2.543 | 223.667 | 2.358 | 208.749 | 2.152 | 207.883 | 2.195 | 180.933 | 31.15 | 889.133 | 9.283 | 1.4332
2019-05-22 15:45:00 | 5.449 | 291.24 | 5.722 | 284.246 | 5.859 | 286.6 | 6.335 | 282.217 | 31.405 | 888.933 | 9.013 | 8.9595
2019-05-22 16:00:00 | 5.861 | 270.967 | 6.112 | 262.576 | 6.156 | 262.467 | 6.348 | 254 | 31.104 | 889 | 9.213 | 12.1095
2019-05-22 16:15:00 | 4.107 | 195.293 | 4.092 | 193.173 | 4.539 | 196.933 | 4.87 | 195.367 | 32.007 | 888.867 | 8.683 | 7.0659
2019-05-22 16:30:00 | 4.126 | 273.04 | 4.277 | 260.435 | 4.635 | 263.033 | 4.954 | 256.117 | 31.536 | 888.6 | 8.779 | 2.1885
2019-05-22 16:45:00 | 5.399 | 319.787 | 5.655 | 322.835 | 6.234 | 324 | 6.488 | 320.3 | 31.748 | 889.267 | 8.419 | 0.85552
2019-05-22 17:00:00 | 3.286 | 121.2 | 3.198 | 118.47 | 2.952 | 129.133 | 3.256 | 129.167 | 30.61 | 888.667 | 9.376 | 1.6073
2019-05-22 17:15:00 | 3.203 | 182.507 | 2.458 | 175.828 | 2.722 | 180.433 | 3.164 | 176.267 | 31.636 | 888.867 | 8.576 | 3.9131
2019-05-22 17:30:00 | 6.894 | 216.973 | 7.106 | 215.807 | 7.449 | 221.7 | 7.367 | 217.433 | 31.528 | 889.267 | 8.76 | 7.9335
2019-05-22 17:45:00 | 1.247 | 227.4 | 0.863 | 250.585 | 0.899 | 226.675 | 1.751 | 238.783 | 31.366 | 888.6 | 9.037 | 0.23591
2019-05-22 18:00:00 | 2.67 | 179.853 | 1.811 | 177.368 | 2.067 | 188.233 | 2.619 | 185.3 | 31.68 | 889.4 | 8.575 | 0.27286
2019-05-22 18:15:00 | 1.767 | 25.064 | 1.38 | 32.086 | 1.516 | 41.233 | 2.334 | 45.267 | 31.079 | 888.733 | 8.447 | 0.72336
2019-05-22 18:30:00 | 2.963 | 23.522 | 2.862 | 26.741 | 2.874 | 33.267 | 3.124 | 32.9 | 32.112 | 889.133 | 7.624 | 2.4877
2019-05-22 18:45:00 | 3.766 | 268.56 | 3.712 | 267.502 | 4.031 | 269.4 | 4.296 | 265.75 | 32.448 | 889 | 6.827 | 9.6104
2019-05-22 19:00:00 | 6.696 | 250.16 | 7.056 | 248.732 | 7.526 | 252.533 | 7.587 | 247.3 | 32.191 | 889 | 6.509 | 29.6889
2019-05-22 19:15:00 | 7.892 | 252.88 | 8.602 | 247.891 | 8.954 | 251.433 | 8.968 | 245.633 | 32.007 | 889.333 | 6.611 | 34.174
2019-05-22 19:30:00 | 5.751 | 283.68 | 6.03 | 280.222 | 6.194 | 284.567 | 6.511 | 278.333 | 31.295 | 888.867 | 6.871 | 25.9911
2019-05-22 19:45:00 | 6.886 | 274.553 | 7.427 | 265.096 | 7.808 | 269.383 | 7.986 | 263.483 | 30.652 | 888.867 | 7.253 | 24.2282
2019-05-22 20:00:00 | 5.267 | 263.947 | 5.731 | 259.992 | 6.029 | 265.067 | 6.163 | 258.8 | 31.077 | 889.267 | 7.392 | 40.3993
2019-05-22 20:15:00 | 7.845 | 256.66 | 8.643 | 252.356 | 8.852 | 257.5 | 8.853 | 252.933 | 30.581 | 889.133 | 7.641 | 37.6607
2019-05-22 20:30:00 | 5.939 | 266.253 | 6.673 | 261.2 | 6.912 | 266.083 | 7.034 | 259.85 | 30.031 | 889.133 | 7.864 | 30.2069
2019-05-22 20:45:00 | 6.366 | 262.953 | 7.375 | 258.182 | 7.784 | 262.75 | 8.108 | 257.05 | 29.681 | 889 | 8.214 | 33.3625
2019-05-22 21:00:00 | 7.093 | 260.027 | 8.035 | 255.24 | 8.493 | 258.867 | 8.797 | 253.6 | 28.794 | 889.267 | 8.456 | 29.4978
2019-05-22 21:15:00 | 6.804 | 248.567 | 7.592 | 245.205 | 8.187 | 250.017 | 8.361 | 245.333 | 29.048 | 889.333 | 8.796 | 26.1496
2019-05-22 21:30:00 | 5.298 | 241.587 | 6.406 | 240.551 | 6.896 | 247.067 | 7.148 | 241.5 | 27.852 | 889.133 | 9.108 | 23.0749
2019-05-22 21:45:00 | 4.988 | 232.013 | 6.302 | 229.935 | 6.659 | 235.1 | 6.619 | 230.1 | 26.952 | 888.8 | 9.553 | 24.7753
2019-05-22 22:00:00 | 5.087 | 229.513 | 6.486 | 228.049 | 7.158 | 232.8 | 7.555 | 227.267 | 26.368 | 889.1 | 10.124 | 28.3509
2019-05-22 22:15:00 | 5.173 | 237.46 | 6.779 | 234.712 | 7.272 | 241.033 | 7.541 | 233.967 | 25.681 | 889.7 | 10.613 | 28.0873
2019-05-22 22:30:00 | 4.681 | 261.587 | 5.856 | 261.965 | 5.874 | 267.567 | 6.05 | 263.167 | 24.844 | 889.267 | 11.135 | 18.3674
2019-05-22 22:45:00 | 4.771 | 242.1 | 5.083 | 250.699 | 4.882 | 259.133 | 5.087 | 259.15 | 24.139 | 889.567 | 11.492 | 10.8965
2019-05-22 23:00:00 | 5 | 244.673 | 5.313 | 250.758 | 5.333 | 257.333 | 5.526 | 256.617 | 24.494 | 889.767 | 11.424 | 13.5271
2019-05-22 23:15:00 | 4.878 | 237.527 | 5.193 | 252.582 | 5.042 | 261.267 | 5.395 | 257.35 | 24.094 | 889.4 | 11.895 | 16.0439
2019-05-22 23:30:00 | 5.39 | 234.107 | 6.192 | 245.426 | 6.321 | 254.1 | 6.377 | 250.85 | 23.364 | 889.867 | 13.136 | 18.5536
2019-05-22 23:45:00 | 5.685 | 236.64 | 6.274 | 246.576 | 6.27 | 255.8 | 6.253 | 254.233 | 23.131 | 889.433 | 14.045 | 21.7632