## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-23 00:00:00 | 5.93 | 247.767 | 7.393 | 253.993 | 7.061 | 267.067 | 7.184 | 267.767 | 23.031 | 889.233 | 14.675 | 40.2451
2019-05-23 00:15:00 | 6.424 | 283.32 | 8.01 | 280.836 | 8.345 | 286.8 | 8.842 | 283.8 | 23.214 | 889.733 | 19.592 | 43.5243
2019-05-23 00:30:00 | 7.245 | 276.773 | 8.583 | 273.655 | 9.025 | 279.567 | 9.656 | 276.567 | 23.606 | 889.783 | 21.533 | 39.0478
2019-05-23 00:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 31.5229
2019-05-23 01:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 43.4007
2019-05-23 01:15:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 54.9709
2019-05-23 01:30:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 55.2778
2019-05-23 01:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 42.3185
2019-05-23 02:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 39.7804
2019-05-23 02:15:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 40.0987
2019-05-23 02:30:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 41.7955
2019-05-23 02:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 42.7079
2019-05-23 03:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 41.7408
2019-05-23 03:15:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 61.5386
2019-05-23 03:30:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 72.0977
2019-05-23 03:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 68.4354
2019-05-23 04:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 63.9617
2019-05-23 04:15:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 62.2499
2019-05-23 04:30:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 58.9536
2019-05-23 04:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 61.8733
2019-05-23 05:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 65.5718
2019-05-23 05:15:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 64.5457
2019-05-23 05:30:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 64.1144
2019-05-23 05:45:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 63.59
2019-05-23 06:00:00 | 6.115 | 275.56 | 7.476 | 272.842 | 7.742 | 277.567 | 8.246 | 274.7 | 23.531 | 889.95 | 23.203 | 64.0824
2019-05-23 06:15:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 64.3518
2019-05-23 06:30:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 63.5296
2019-05-23 06:45:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 63.6192
2019-05-23 07:00:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 62.2904
2019-05-23 07:15:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 62.6635
2019-05-23 07:30:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 61.3702
2019-05-23 07:45:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 63.6632
2019-05-23 08:00:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 67.5024
2019-05-23 08:15:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 66.5886
2019-05-23 08:30:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 59.7544
2019-05-23 08:45:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 51.0507
2019-05-23 09:00:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 41.8872
2019-05-23 09:15:00 | 8.758 | 275.64 | 9.308 | 272.431 | 9.306 | 276.633 | 9.423 | 271.967 | 16.129 | 890.242 | 47.835 | 39.2062
2019-05-23 09:30:00 | 7.506 | 280.747 | 8.149 | 273.791 | 8.391 | 279.067 | 8.873 | 276.767 | 16.564 | 889.517 | 46.565 | 42.0172
2019-05-23 09:45:00 | 8.542 | 281.68 | 9.047 | 274.761 | 9.195 | 281.633 | 9.326 | 279.467 | 17.131 | 889.933 | 45.979 | 41.129
2019-05-23 10:00:00 | 9.796 | 270.287 | 10.542 | 269.784 | 10.602 | 275.433 | 11.041 | 273.117 | 17.698 | 889.867 | 43.691 | 37.6664
2019-05-23 10:15:00 | 11.051 | 267.853 | 12.151 | 266.482 | 12.174 | 270.533 | 12.428 | 265.75 | 17.744 | 890.025 | 43.115 | 38.6186
2019-05-23 10:30:00 | 10.846 | 274.173 | 11.614 | 268.666 | 11.728 | 273.433 | 11.825 | 269.533 | 18.477 | 889.917 | 41.6 | 37.5563
2019-05-23 10:45:00 | 10.182 | 281.88 | 10.77 | 277.719 | 10.945 | 280.633 | 11.408 | 275.967 | 18.285 | 889.892 | 40.88 | 37.6302
2019-05-23 11:00:00 | 11.712 | 292.667 | 12.295 | 289.971 | 12.392 | 294.767 | 12.687 | 292.633 | 18.856 | 889.533 | 39.392 | 37.584
2019-05-23 11:15:00 | 11.224 | 294.267 | 12.27 | 288.494 | 12.577 | 293.567 | 13.232 | 292.833 | 18.573 | 889.475 | 40.491 | 38.3294
2019-05-23 11:30:00 | 11.619 | 283.62 | 12.288 | 280.422 | 12.358 | 283.417 | 12.581 | 280.433 | 18.881 | 889.283 | 40.056 | 38.7301
2019-05-23 11:45:00 | 11.602 | 291.387 | 12.462 | 285.71 | 12.443 | 288.6 | 12.857 | 285.233 | 19.048 | 889.767 | 39.845 | 38.4907
2019-05-23 12:00:00 | 9.975 | 296.027 | 10.349 | 292.889 | 10.644 | 297.867 | 11.313 | 293.7 | 19.498 | 889.9 | 38.92 | 37.6671
2019-05-23 12:15:00 | 11.628 | 296.96 | 12.06 | 292.754 | 12.592 | 299.1 | 13.133 | 297.267 | 19.377 | 890.017 | 39.048 | 37.471
2019-05-23 12:30:00 | 11.817 | 303.44 | 12.692 | 296.639 | 12.963 | 303.9 | 13.279 | 299.1 | 19.444 | 889.8 | 39.147 | 37.4724
2019-05-23 12:45:00 | 12.3 | 303.68 | 12.746 | 298.059 | 12.733 | 303.267 | 13.169 | 301.3 | 19.414 | 889.6 | 39.621 | 37.4746
2019-05-23 13:00:00 | 11.886 | 282.653 | 12.966 | 280.008 | 13.242 | 283.867 | 13.616 | 279.767 | 19.081 | 890.033 | 40.056 | 37.5002
2019-05-23 13:15:00 | 12.981 | 296.04 | 13.564 | 291.966 | 13.854 | 298.967 | 14.518 | 295.8 | 19.135 | 889.4 | 39.589 | 37.7837
2019-05-23 13:30:00 | 12.27 | 305.853 | 12.876 | 299.227 | 13.297 | 303.433 | 14.152 | 301.767 | 18.844 | 889.75 | 40.659 | 37.8682
2019-05-23 13:45:00 | 12.602 | 299.787 | 13.8 | 294.09 | 13.88 | 298.733 | 14.444 | 295.133 | 19.252 | 889.625 | 41.813 | 39.0769
2019-05-23 14:00:00 | 11.814 | 294.667 | 12.927 | 290.705 | 13.114 | 297.1 | 13.978 | 294.233 | 18.573 | 889.967 | 42.528 | 39.0058
2019-05-23 14:15:00 | 13.198 | 290.667 | 14.215 | 287.241 | 14.259 | 289.4 | 14.71 | 288.7 | 17.944 | 889.792 | 43.275 | 38.8936
2019-05-23 14:30:00 | 12.326 | 299.667 | 13.431 | 292.026 | 13.622 | 296.467 | 14 | 292.8 | 18.285 | 889.992 | 42.176 | 38.8055
2019-05-23 14:45:00 | 11.995 | 292.667 | 12.62 | 288.542 | 12.836 | 289.233 | 13.431 | 287.1 | 18.318 | 889.692 | 40.84 | 38.8488
2019-05-23 15:00:00 | 12.312 | 280.333 | 13.299 | 278.019 | 13.572 | 282.383 | 14.05 | 279.267 | 18.656 | 889.917 | 40.251 | 39.8607
2019-05-23 15:15:00 | 13.315 | 307 | 14.222 | 303.06 | 14.831 | 308.133 | 15.332 | 304.967 | 18.573 | 889.558 | 39.405 | 40.0184
2019-05-23 15:30:00 | 11.17 | 307.027 | 11.833 | 302.168 | 12.01 | 306.2 | 12.747 | 302.7 | 18.177 | 889.7 | 36.947 | 41.0651
2019-05-23 15:45:00 | 13.15 | 307.973 | 13.91 | 302.691 | 14.325 | 305.733 | 14.967 | 305.8 | 18.41 | 889.517 | 35.272 | 42.3647
2019-05-23 16:00:00 | 13.91 | 313.867 | 14.704 | 307.629 | 14.948 | 312.033 | 15.648 | 308.433 | 18.556 | 889.75 | 33.067 | 42.3846
2019-05-23 16:15:00 | 14.806 | 306.907 | 15.499 | 299.705 | 15.718 | 304.867 | 16.505 | 303.067 | 18.223 | 889.517 | 32.259 | 42.1082
2019-05-23 16:30:00 | 14.2 | 291.107 | 15.336 | 289.861 | 15.667 | 292.767 | 16.122 | 289.7 | 18.035 | 889.983 | 33.616 | 40.7418
2019-05-23 16:45:00 | 15.393 | 299.027 | 16.092 | 293.818 | 16.702 | 297.1 | 17.295 | 294.933 | 17.756 | 889.417 | 33.104 | 40.6799
2019-05-23 17:00:00 | 15.526 | 289.853 | 16.988 | 283.445 | 17.192 | 287.367 | 17.784 | 286.067 | 17.064 | 889.817 | 34.725 | 41.0772
2019-05-23 17:15:00 | 16.787 | 289.6 | 18.1 | 286.147 | 18.405 | 289.233 | 19.6 | 288.567 | 16.826 | 889.9 | 35.781 | 40.7808
2019-05-23 17:30:00 | 16.908 | 292.213 | 18.622 | 285.519 | 19.315 | 289.3 | 20.057 | 285.567 | 15.614 | 889.383 | 37.611 | 40.1378
2019-05-23 17:45:00 | 17.71 | 277.213 | 19.405 | 274.811 | 19.509 | 279.133 | 20.374 | 276.7 | 15.2 | 889.617 | 39.803 | 39.246
2019-05-23 18:00:00 | 17.608 | 278.92 | 19.355 | 277.572 | 20.058 | 281.4 | 20.821 | 279.133 | 14.658 | 889.7 | 40.021 | 39.0193
2019-05-23 18:15:00 | 18.124 | 278.987 | 20.139 | 277.718 | 20.926 | 279.733 | 21.616 | 277.167 | 14.274 | 890.133 | 38.624 | 39.6382
2019-05-23 18:30:00 | 17.489 | 282.68 | 20.507 | 279.466 | 21.098 | 283.933 | 21.269 | 282.1 | 14.512 | 889.817 | 37.952 | 40.1946
2019-05-23 18:45:00 | 14.922 | 277.853 | 16.775 | 275.513 | 17.251 | 279.633 | 18.062 | 274.467 | 14.191 | 889.25 | 37.709 | 40.8
2019-05-23 19:00:00 | 16.497 | 283.72 | 18.77 | 278.337 | 19.542 | 281.9 | 20.236 | 279.2 | 14.191 | 889.675 | 40.309 | 40.6245
2019-05-23 19:15:00 | 16.229 | 284.56 | 18.08 | 279.991 | 18.568 | 283.4 | 19.149 | 281.1 | 13.226 | 890.017 | 46.213 | 40.5712
2019-05-23 19:30:00 | 15.166 | 272.667 | 17.092 | 270.85 | 17.641 | 275.833 | 18.235 | 271.333 | 12.757 | 889.875 | 49.083 | 40.5797
2019-05-23 19:45:00 | 14.664 | 269.907 | 16.61 | 268.604 | 16.741 | 273.833 | 16.875 | 269.733 | 12.405 | 890.283 | 50.229 | 41.6314
2019-05-23 20:00:00 | 14.61 | 279.827 | 16.182 | 273.839 | 16.611 | 277.8 | 16.843 | 272.5 | 11.92 | 890.067 | 51.856 | 42.7406
2019-05-23 20:15:00 | 13.981 | 269.507 | 15.7 | 265.695 | 16.318 | 270.567 | 16.452 | 266.167 | 11.766 | 890.15 | 52.885 | 41.7586
2019-05-23 20:30:00 | 14.301 | 268.693 | 15.686 | 266.944 | 16.112 | 269.833 | 16.8 | 264.533 | 11.511 | 890.025 | 54.16 | 43.066
2019-05-23 20:45:00 | 14.144 | 270.973 | 15.479 | 268.276 | 15.761 | 273 | 16.322 | 269.8 | 11.553 | 889.842 | 49.829 | 44.0907
2019-05-23 21:00:00 | 12.8 | 273.027 | 14.513 | 268.607 | 14.921 | 272.133 | 14.945 | 268.067 | 11.478 | 890.208 | 47.749 | 45.7896
2019-05-23 21:15:00 | 12.518 | 271.76 | 14.16 | 266.804 | 14.733 | 271.5 | 15.138 | 266.367 | 11.395 | 889.975 | 48.832 | 46.3986
2019-05-23 21:30:00 | 11.076 | 263.513 | 11.955 | 261.194 | 12.109 | 265.967 | 12.19 | 261.3 | 11.21 | 889.717 | 51.472 | 46.5585
2019-05-23 21:45:00 | 11.549 | 262.8 | 12.808 | 260.21 | 13.082 | 265.167 | 13.174 | 262.4 | 11.103 | 890.092 | 50.32 | 45.3711
2019-05-23 22:00:00 | 10.505 | 261.733 | 11.991 | 257.672 | 12.534 | 263.55 | 12.804 | 258.167 | 11.378 | 890.592 | 50.843 | 43.9969
2019-05-23 22:15:00 | 8.76 | 266.487 | 9.562 | 261.894 | 9.938 | 267.233 | 10.126 | 263.383 | 11.303 | 890.225 | 51.211 | 44.1567
2019-05-23 22:30:00 | 8.219 | 265.467 | 9.071 | 263.3 | 9.778 | 266.767 | 9.848 | 263.283 | 11.516 | 889.425 | 51.317 | 44.4083
2019-05-23 22:45:00 | 10.83 | 284.333 | 11.868 | 280.718 | 12.21 | 284.033 | 12.646 | 277.833 | 11.603 | 890.1 | 50.373 | 44.1923
2019-05-23 23:00:00 | 9.736 | 283.373 | 10.834 | 281.6 | 11.035 | 284.5 | 11.437 | 281.167 | 11.199 | 890.467 | 51.051 | 43.9542
2019-05-23 23:15:00 | 10.583 | 270.38 | 11.803 | 269.219 | 12.059 | 274.033 | 12.18 | 271 | 11.261 | 890.308 | 50.667 | 44.4758
2019-05-23 23:30:00 | 11.199 | 287.667 | 12.317 | 283.039 | 12.824 | 286 | 13.347 | 284.267 | 11.145 | 889.758 | 49.723 | 47.2861
2019-05-23 23:45:00 | 10.778 | 286.933 | 12.055 | 284.172 | 12.767 | 287.933 | 13.432 | 285.533 | 10.895 | 889.8 | 50.485 | 47.1155