## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-24 00:00:00 | 12.902 | 292.08 | 14.4 | 286.987 | 14.988 | 291.533 | 15.685 | 288.9 | 10.562 | 890.05 | 48.427 | 47.3493
2019-05-24 00:15:00 | 9.921 | 282.64 | 11.698 | 280.93 | 12.118 | 283.9 | 12.791 | 283.067 | 10.305 | 889.925 | 50.923 | 47.4381
2019-05-24 00:30:00 | 11.821 | 281.76 | 12.836 | 279.969 | 13.244 | 282.667 | 14.014 | 280.733 | 10.218 | 889.85 | 54.715 | 51.2823
2019-05-24 00:45:00 | 9.704 | 278.453 | 10.967 | 276.613 | 11.687 | 281.567 | 11.931 | 277.533 | 10.536 | 889.683 | 55.413 | 51.5083
2019-05-24 01:00:00 | 8.925 | 279.733 | 9.858 | 278.238 | 10.079 | 282.867 | 10.417 | 279.367 | 10.203 | 889.942 | 55.269 | 49.4775
2019-05-24 01:15:00 | 8.723 | 283.373 | 9.439 | 281.297 | 9.757 | 285.833 | 9.948 | 281.5 | 10.316 | 890.025 | 54.187 | 51.9517
2019-05-24 01:30:00 | 9.295 | 284.08 | 10.284 | 281.52 | 10.672 | 284.167 | 10.98 | 280.533 | 10.014 | 890.05 | 52.816 | 54.7463
2019-05-24 01:45:00 | 8.672 | 276.8 | 9.838 | 274.22 | 10.396 | 279.233 | 10.645 | 276.233 | 10.28 | 890.117 | 52.725 | 57.0358
2019-05-24 02:00:00 | 11.104 | 279.533 | 12.79 | 276.657 | 13.102 | 280.767 | 13.427 | 277.633 | 9.599 | 890.133 | 54.72 | 57.5559
2019-05-24 02:15:00 | 11.369 | 280.24 | 12.716 | 279.118 | 12.692 | 282.033 | 13.008 | 278.333 | 9.851 | 889.658 | 56.395 | 56.856
2019-05-24 02:30:00 | 11.033 | 279.453 | 12.321 | 275.304 | 12.483 | 279.2 | 13.074 | 275.4 | 9.316 | 890.083 | 55.669 | 57.1395
2019-05-24 02:45:00 | 9.801 | 268.953 | 11.158 | 265.156 | 11.653 | 270.6 | 11.98 | 266 | 9.158 | 889.75 | 54.469 | 57.7826
2019-05-24 03:00:00 | 11.393 | 270.227 | 13.025 | 265.625 | 13.507 | 271.9 | 13.571 | 266.133 | 9.387 | 889.992 | 54.981 | 57.1125
2019-05-24 03:15:00 | 11.14 | 266.7 | 11.647 | 263.575 | 11.949 | 266.933 | 12.124 | 262.7 | 9.245 | 890.217 | 52.741 | 57.3427
2019-05-24 03:30:00 | 10.88 | 264.513 | 12.263 | 261.899 | 13.195 | 267.6 | 13.381 | 264.5 | 9.433 | 889.717 | 51.995 | 56.9157
2019-05-24 03:45:00 | 11.71 | 269.793 | 13.546 | 267.651 | 14.013 | 272.367 | 14.13 | 267.067 | 9.183 | 890.125 | 50.107 | 57.2084
2019-05-24 04:00:00 | 10.23 | 267.213 | 11.326 | 264.192 | 11.684 | 269.033 | 11.86 | 264.817 | 9.687 | 889.925 | 50.325 | 54.3917
2019-05-24 04:15:00 | 9.315 | 266.4 | 10.513 | 263.456 | 11.123 | 268.333 | 11.236 | 263.467 | 9.199 | 889.7 | 50.027 | 52.7987
2019-05-24 04:30:00 | 10.058 | 263.333 | 11.684 | 262.17 | 12.361 | 266.467 | 12.664 | 261.383 | 8.783 | 889.683 | 51.424 | 51.5786
2019-05-24 04:45:00 | 9.105 | 262.293 | 10.693 | 259.901 | 11.152 | 265.4 | 11.393 | 258.967 | 8.641 | 889.725 | 52.379 | 56.9079
2019-05-24 05:00:00 | 9.846 | 264.16 | 11.778 | 261.84 | 12.474 | 265.133 | 12.893 | 260.533 | 9.041 | 889.633 | 51.781 | 57.6838
2019-05-24 05:15:00 | 10.883 | 267.68 | 12.227 | 264.288 | 12.921 | 268.933 | 13.137 | 266.4 | 8.774 | 889.767 | 49.189 | 58.9202
2019-05-24 05:30:00 | 11.572 | 270.907 | 12.898 | 266.827 | 13.184 | 272.767 | 13.503 | 269.333 | 8.766 | 889.967 | 47.835 | 54.5005
2019-05-24 05:45:00 | 11.17 | 265.893 | 12.56 | 265.782 | 12.679 | 271.433 | 12.85 | 268.333 | 8.774 | 889.833 | 47.808 | 51.6816
2019-05-24 06:00:00 | 10.617 | 276.413 | 11.777 | 274.916 | 12.135 | 279 | 12.578 | 275.733 | 8.87 | 890.125 | 47.829 | 51.0698
2019-05-24 06:15:00 | 11.767 | 278.68 | 12.918 | 277.06 | 13.352 | 280.2 | 13.9 | 276.4 | 8.77 | 890.042 | 45.947 | 52.9401
2019-05-24 06:30:00 | 10.835 | 281.733 | 12.215 | 278.991 | 12.637 | 281.2 | 13.203 | 279 | 8.574 | 890.275 | 45.728 | 54.4237
2019-05-24 06:45:00 | 13.1 | 279.56 | 14.114 | 277.795 | 14.56 | 280.933 | 14.892 | 279.133 | 8.691 | 890.2 | 45.157 | 54.4592
2019-05-24 07:00:00 | 11.116 | 287.72 | 12.63 | 282.764 | 13.342 | 286.2 | 14.028 | 283.6 | 8.754 | 889.617 | 44.944 | 55.6139
2019-05-24 07:15:00 | 11.007 | 287.707 | 12.613 | 286.208 | 13.141 | 287.7 | 13.718 | 285.967 | 8.48 | 889.758 | 44.688 | 56.2833
2019-05-24 07:30:00 | 12.024 | 288.92 | 13.432 | 285.235 | 13.855 | 287.633 | 14.283 | 285.3 | 8.177 | 889.517 | 44.187 | 55.562
2019-05-24 07:45:00 | 10.235 | 283.04 | 11.446 | 280.041 | 11.777 | 281.967 | 12.283 | 279.367 | 8.23 | 889.925 | 44.117 | 56.6187
2019-05-24 08:00:00 | 11.408 | 275.053 | 12.467 | 274.096 | 12.506 | 277.533 | 12.909 | 275.133 | 8.574 | 889.967 | 42.117 | 54.2283
2019-05-24 08:15:00 | 10.73 | 276.953 | 11.76 | 272.808 | 12.011 | 276.833 | 12.324 | 271.167 | 8.995 | 889.567 | 40.171 | 53.4282
2019-05-24 08:30:00 | 10.671 | 268.867 | 12.012 | 268.083 | 12.488 | 272.733 | 12.928 | 269.333 | 9.495 | 889.183 | 38.141 | 53.1021
2019-05-24 08:45:00 | 12.297 | 271.727 | 13.22 | 268.799 | 13.546 | 274.467 | 13.914 | 271.3 | 10.466 | 889.617 | 33.328 | 52.3887
2019-05-24 09:00:00 | 13.74 | 278.333 | 15.048 | 273.678 | 14.911 | 277.067 | 15.493 | 275.233 | 11.228 | 889.933 | 30.467 | 51.0983
2019-05-24 09:15:00 | 14.222 | 280.68 | 15.526 | 279.278 | 15.931 | 282.3 | 16.248 | 280.5 | 11.203 | 889.583 | 29.469 | 50.1354
2019-05-24 09:30:00 | 13.475 | 275.247 | 14.773 | 271.971 | 14.757 | 276.8 | 14.854 | 273.6 | 11.695 | 889.533 | 28.104 | 45.3413
2019-05-24 09:45:00 | 13.612 | 281.44 | 14.392 | 278.109 | 14.637 | 279.433 | 15.092 | 276.467 | 12.032 | 889.783 | 28.259 | 45.1459
2019-05-24 10:00:00 | 13.924 | 277.707 | 14.973 | 275.64 | 15.185 | 278.567 | 15.317 | 276.1 | 12.516 | 889.6 | 26.341 | 45.0307
2019-05-24 10:15:00 | 13.298 | 291.52 | 14.193 | 286.541 | 14.412 | 289.833 | 15.412 | 287.4 | 13.091 | 889.733 | 24.229 | 46.1307
2019-05-24 10:30:00 | 12.924 | 283.52 | 13.84 | 281.027 | 14.042 | 284.833 | 14.512 | 282.767 | 12.853 | 889.6 | 24.872 | 48.3875
2019-05-24 10:45:00 | 12.1 | 286.333 | 13.029 | 283.58 | 13.387 | 286.9 | 13.754 | 284.333 | 13.324 | 889.85 | 25.307 | 50.1212
2019-05-24 11:00:00 | 11.885 | 284.72 | 12.709 | 282.594 | 13.16 | 285.8 | 13.399 | 285.467 | 13.437 | 890.017 | 26.813 | 50.2989
2019-05-24 11:15:00 | 11.838 | 277.92 | 12.371 | 277.432 | 12.547 | 281.4 | 12.85 | 278.7 | 13.445 | 889.617 | 27.557 | 50.9775
2019-05-24 11:30:00 | 11.171 | 287.467 | 11.703 | 280.453 | 12.081 | 282.933 | 12.548 | 281.133 | 14.008 | 890.033 | 26.389 | 50.9782
2019-05-24 11:45:00 | 11.883 | 296.64 | 12.644 | 293.19 | 13.158 | 297.733 | 13.592 | 294.9 | 14.408 | 889.817 | 25.875 | 51.5182
2019-05-24 12:00:00 | 11.272 | 291.72 | 11.851 | 284.481 | 12.381 | 286.9 | 13.076 | 283.667 | 14.104 | 889.85 | 25.101 | 51.5779
2019-05-24 12:15:00 | 12.317 | 289.507 | 13.084 | 287.353 | 13.166 | 291.667 | 13.712 | 289.733 | 14.491 | 889.733 | 24.253 | 51.7747
2019-05-24 12:30:00 | 11.83 | 304.667 | 12.06 | 299.988 | 12.466 | 303.9 | 13.339 | 300.767 | 14.57 | 889.8 | 23.952 | 51.0087
2019-05-24 12:45:00 | 11.353 | 296.2 | 11.882 | 289.472 | 12.433 | 294.5 | 13.127 | 293.367 | 14.941 | 889.733 | 25.845 | 52.6786
2019-05-24 13:00:00 | 10.387 | 298 | 11.086 | 296.786 | 11.554 | 302 | 12.051 | 298.733 | 14.991 | 889.85 | 25.075 | 50.4438
2019-05-24 13:15:00 | 11.732 | 293.307 | 12.5 | 289.076 | 12.767 | 294.3 | 13.227 | 290.4 | 14.962 | 889.567 | 25.064 | 50.252
2019-05-24 13:30:00 | 11.727 | 290.893 | 12.58 | 287.817 | 12.637 | 292.667 | 13.333 | 291.767 | 15.226 | 889.633 | 24.195 | 50.1625
2019-05-24 13:45:00 | 12.455 | 300.093 | 13.201 | 299.098 | 13.123 | 302.367 | 13.483 | 300.433 | 15.533 | 890.033 | 23.52 | 50.8126
2019-05-24 14:00:00 | 10.415 | 280.22 | 11.031 | 276.181 | 11.234 | 278.633 | 11.693 | 275.4 | 16.205 | 889.583 | 23.611 | 51.3342
2019-05-24 14:15:00 | 10.239 | 289.587 | 10.812 | 285.47 | 11.073 | 288.7 | 11.239 | 288.167 | 15.778 | 890.05 | 22.589 | 51.4784
2019-05-24 14:30:00 | 12.553 | 289.747 | 13.448 | 290.999 | 13.572 | 295.567 | 14.197 | 291.333 | 15.887 | 889.783 | 20.631 | 51.3761
2019-05-24 14:45:00 | 12.43 | 303.093 | 13.433 | 299.131 | 13.834 | 304.833 | 14.442 | 300.667 | 15.806 | 889.867 | 20.647 | 51.8614
2019-05-24 15:00:00 | 15.068 | 290.92 | 16.1 | 288.74 | 16.122 | 294.2 | 16.483 | 292.067 | 16.141 | 889.733 | 21.016 | 51.703
2019-05-24 15:15:00 | 13.165 | 283.693 | 13.766 | 281.509 | 14.116 | 282.533 | 14.56 | 280.867 | 15.516 | 889.867 | 21.256 | 51.9033
2019-05-24 15:30:00 | 14.132 | 291.827 | 14.902 | 289.196 | 15.178 | 293.3 | 15.722 | 292.5 | 16.598 | 889.583 | 20.78 | 51.5807
2019-05-24 15:45:00 | 12.46 | 289.307 | 13.892 | 287.132 | 14.171 | 294.567 | 14.676 | 291.167 | 16.414 | 889.15 | 20.168 | 51.7385
2019-05-24 16:00:00 | 12.788 | 299.547 | 13.518 | 294.758 | 14.035 | 298.733 | 14.762 | 296.967 | 15.956 | 889.917 | 21.507 | 52.1506
2019-05-24 16:15:00 | 10.711 | 279.613 | 11.751 | 277.013 | 12.146 | 281.667 | 12.484 | 279.4 | 16.376 | 889.5 | 21.587 | 52.0632
2019-05-24 16:30:00 | 11.847 | 287.933 | 12.594 | 285.001 | 12.997 | 290.767 | 13.689 | 287.2 | 16.248 | 889.883 | 21.867 | 53.2229
2019-05-24 16:45:00 | 13.723 | 294.2 | 15.098 | 289.961 | 15.565 | 294.4 | 16.077 | 291.033 | 16.364 | 889.917 | 21.475 | 56.0417
2019-05-24 17:00:00 | 12.921 | 299.76 | 13.604 | 294.823 | 13.988 | 298.933 | 14.812 | 297.4 | 16.053 | 889.933 | 20.451 | 57.2973
2019-05-24 17:15:00 | 12.734 | 287.453 | 13.359 | 284.408 | 13.878 | 287.233 | 14.414 | 286 | 16.448 | 889.783 | 21.179 | 55.3688
2019-05-24 17:30:00 | 12.523 | 284.307 | 13.604 | 281.676 | 13.832 | 284.6 | 14.223 | 284.867 | 16.196 | 889.767 | 21.888 | 55.243
2019-05-24 17:45:00 | 11.598 | 285.68 | 12.719 | 281.941 | 13.11 | 286.3 | 13.532 | 284.7 | 16.01 | 889.817 | 23.173 | 54.6106
2019-05-24 18:00:00 | 12.04 | 293.253 | 13.176 | 287.625 | 13.43 | 290.333 | 14.003 | 288.567 | 15.668 | 889.95 | 23.928 | 55.6871
2019-05-24 18:15:00 | 10.611 | 285.747 | 11.985 | 281.451 | 11.96 | 282.967 | 12.367 | 281.033 | 15.714 | 889.633 | 23.568 | 55.6104
2019-05-24 18:30:00 | 11.243 | 298.48 | 12.365 | 295.251 | 12.898 | 298.5 | 13.508 | 296.367 | 15.664 | 889.767 | 21.696 | 57.0059
2019-05-24 18:45:00 | 11.57 | 295.427 | 12.673 | 291.378 | 13.339 | 295.3 | 13.917 | 292.867 | 15.433 | 889.95 | 23.709 | 59.1817
2019-05-24 19:00:00 | 10.993 | 276.92 | 11.89 | 274.301 | 12.08 | 279.367 | 12.497 | 276 | 15.618 | 889.65 | 22.517 | 64.6253
2019-05-24 19:15:00 | 10.592 | 291.667 | 11.295 | 287.175 | 11.783 | 289.767 | 12.488 | 288.633 | 15.671 | 889.75 | 22.088 | 65.8674
2019-05-24 19:30:00 | 10.467 | 277.067 | 11.678 | 274.628 | 12.03 | 278.867 | 12.198 | 274.667 | 15.834 | 889.55 | 22.029 | 68.7473
2019-05-24 19:45:00 | 11.116 | 284.187 | 11.932 | 283.076 | 12.578 | 286.767 | 13.302 | 284.733 | 16.048 | 890.033 | 21.44 | 64.2899
2019-05-24 20:00:00 | 10.855 | 286.973 | 11.726 | 282.921 | 11.865 | 286.267 | 12.359 | 286.5 | 15.246 | 889.5 | 20.612 | 57.4969
2019-05-24 20:15:00 | 10.027 | 292.187 | 11.485 | 288.12 | 11.8 | 292.133 | 12.478 | 291.667 | 15.272 | 889.683 | 20.861 | 56.3863
2019-05-24 20:30:00 | 10.205 | 294.427 | 11.12 | 288.586 | 11.617 | 292.633 | 12.361 | 290.233 | 15.16 | 889.567 | 19.773 | 55.523
2019-05-24 20:45:00 | 11.412 | 282.507 | 12.475 | 279.311 | 13.209 | 282.633 | 13.663 | 282.1 | 15.112 | 889.133 | 20.636 | 54.2205
2019-05-24 21:00:00 | 11.577 | 282.133 | 12.822 | 280.077 | 13.238 | 283.133 | 13.591 | 282.233 | 15.008 | 889.617 | 20.147 | 56.8062
2019-05-24 21:15:00 | 9.365 | 281.2 | 10.438 | 278.729 | 10.614 | 283.433 | 11.186 | 280.733 | 14.758 | 889.85 | 22.179 | 56.6251
2019-05-24 21:30:00 | 9.467 | 282.507 | 10.666 | 279.186 | 11.302 | 284 | 12.042 | 282.5 | 14.337 | 889.717 | 22.411 | 54.2901
2019-05-24 21:45:00 | 8.651 | 282.213 | 9.944 | 280.245 | 10.256 | 283.767 | 10.75 | 281.9 | 14.212 | 889.5 | 22.013 | 50.269
2019-05-24 22:00:00 | 7.915 | 279.653 | 9.375 | 277.315 | 9.894 | 281.6 | 10.414 | 280.533 | 13.733 | 890.2 | 22.176 | 47.5767
2019-05-24 22:15:00 | 8.154 | 276.707 | 9.06 | 275.346 | 9.42 | 278.967 | 9.918 | 278.467 | 13.591 | 889.883 | 22.885 | 50.0807
2019-05-24 22:30:00 | 7.79 | 278.547 | 9.067 | 276.392 | 9.652 | 280.1 | 10.23 | 276.967 | 12.978 | 889.75 | 23.669 | 40.3779
2019-05-24 22:45:00 | 6.04 | 280.387 | 7.377 | 277.912 | 7.886 | 281.733 | 8.246 | 278.333 | 12.83 | 889.55 | 24.373 | 36.5466
2019-05-24 23:00:00 | 5.85 | 275.32 | 6.795 | 274.457 | 7.244 | 278.733 | 7.722 | 275.667 | 12.686 | 889.5 | 24.624 | 39.7818
2019-05-24 23:15:00 | 5.526 | 281.133 | 6.625 | 275.477 | 7.086 | 281.067 | 7.65 | 278.633 | 12.48 | 890.05 | 24.48 | 27.9985
2019-05-24 23:30:00 | 5.137 | 284.187 | 6.356 | 280.433 | 6.915 | 283.4 | 7.322 | 283.067 | 12.003 | 889.45 | 24.891 | 30.5352
2019-05-24 23:45:00 | 6.328 | 287.667 | 7.309 | 283.512 | 7.608 | 287.267 | 8.189 | 285.467 | 11.616 | 889.167 | 24.768 | 36.8663