## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-25 00:00:00 | 5.68 | 298.067 | 6.731 | 294.593 | 7.314 | 298.067 | 7.786 | 296 | 11.466 | 889.867 | 25.384 | 32.4757
2019-05-25 00:15:00 | 5.051 | 296 | 6.605 | 291.442 | 7.06 | 296.667 | 7.49 | 294.367 | 11.178 | 889.383 | 26.139 | 29.2995
2019-05-25 00:30:00 | 5.297 | 297.347 | 6.699 | 293.249 | 7.266 | 296.933 | 7.94 | 294.7 | 10.451 | 889.433 | 26.68 | 39.489
2019-05-25 00:45:00 | 6.53 | 304.813 | 7.936 | 299.225 | 8.388 | 304.933 | 8.912 | 301.467 | 10.612 | 889.65 | 26.44 | 39.899
2019-05-25 01:00:00 | 5.154 | 307.453 | 6.838 | 306.996 | 7.516 | 311.633 | 8.23 | 310.5 | 10.149 | 889.533 | 25.8 | 24.4662
2019-05-25 01:15:00 | 3.989 | 305.027 | 5.238 | 302.542 | 5.892 | 309.967 | 6.459 | 306.633 | 10.162 | 889.567 | 24.827 | 7.7558
2019-05-25 01:30:00 | 3.463 | 207.347 | 2.733 | 229.424 | 2.888 | 252.033 | 3.549 | 264.967 | 9.216 | 889.717 | 27.779 | 2.8764
2019-05-25 01:45:00 | 4.25 | 211.86 | 3.906 | 214.95 | 3.819 | 223.733 | 3.723 | 229.167 | 8.36 | 889.35 | 29.856 | 4.6087
2019-05-25 02:00:00 | 5.027 | 214.147 | 4.37 | 222.574 | 4.072 | 233.333 | 3.964 | 236.467 | 9.012 | 890.033 | 29.099 | 7.5121
2019-05-25 02:15:00 | 5.696 | 224.8 | 5.643 | 227.198 | 5.5 | 232.167 | 5.203 | 228.7 | 7.589 | 889.283 | 30.496 | 11.4089
2019-05-25 02:30:00 | 5.072 | 224.913 | 5.28 | 233.787 | 5.23 | 243.067 | 5.2 | 241.8 | 7.432 | 889.8 | 30.917 | 12.3937
2019-05-25 02:45:00 | 5.304 | 223.427 | 6.428 | 226.683 | 6.391 | 234.433 | 6.061 | 230.867 | 6.671 | 889.767 | 32.635 | 19.3949
2019-05-25 03:00:00 | 5.192 | 238.993 | 6.341 | 240.159 | 6.377 | 247.767 | 6.238 | 243.8 | 6.837 | 889.483 | 33.179 | 20.4039
2019-05-25 03:15:00 | 5.286 | 236.56 | 6.338 | 238.675 | 6.5 | 245.867 | 6.228 | 241.067 | 6.72 | 889.733 | 32.901 | 25.0148
2019-05-25 03:30:00 | 5.874 | 246.867 | 6.409 | 250.414 | 6.379 | 255.1 | 6.507 | 251.267 | 6.624 | 889.683 | 32.8 | 25.1086
2019-05-25 03:45:00 | 6.121 | 243.84 | 6.434 | 247.088 | 6.442 | 254.167 | 6.546 | 251.383 | 6.81 | 890 | 33.248 | 25.7545
2019-05-25 04:00:00 | 5.369 | 250.507 | 6.265 | 255.282 | 6.378 | 262.133 | 6.488 | 259.633 | 6.578 | 889.817 | 33.376 | 24.1678
2019-05-25 04:15:00 | 5.231 | 248.253 | 5.872 | 255.64 | 5.939 | 263.6 | 5.906 | 260.667 | 6.535 | 890.2 | 33.661 | 25.1093
2019-05-25 04:30:00 | 6.241 | 253.26 | 6.509 | 258.597 | 6.514 | 265.167 | 6.705 | 262.9 | 6.2 | 889.45 | 33.44 | 15.8002
2019-05-25 04:45:00 | 4.924 | 235.867 | 5.149 | 248.955 | 5.133 | 258.167 | 5.248 | 257.4 | 6.045 | 889.8 | 34.064 | 12.9991
2019-05-25 05:00:00 | 5.239 | 242.227 | 5.37 | 252.628 | 5.285 | 263.133 | 5.562 | 260.767 | 5.379 | 889.55 | 34.672 | 8.6547
2019-05-25 05:15:00 | 4.631 | 237.227 | 4.557 | 251.838 | 4.161 | 267.133 | 4.4 | 270.633 | 5.014 | 889.767 | 35.749 | 7.1071
2019-05-25 05:30:00 | 5.43 | 231.647 | 5.021 | 244.243 | 4.432 | 256 | 4.521 | 259.717 | 4.775 | 890.05 | 35.931 | 6.3461
2019-05-25 05:45:00 | 5.536 | 223.2 | 4.967 | 233.305 | 4.178 | 245.267 | 4.015 | 245.767 | 4.67 | 889.85 | 36.229 | 6.9344
2019-05-25 06:00:00 | 5.858 | 224.833 | 5.643 | 236.036 | 4.704 | 245.633 | 4.385 | 247.733 | 4.354 | 889.467 | 36.875 | 7.2783
2019-05-25 06:15:00 | 5.273 | 223.6 | 5.388 | 236.608 | 4.962 | 246.067 | 4.694 | 244.5 | 3.706 | 889.433 | 37.461 | 7.2179
2019-05-25 06:30:00 | 5.037 | 224.307 | 5.305 | 235.886 | 4.853 | 244.967 | 4.495 | 241.867 | 3.961 | 889.5 | 36.949 | 6.1187
2019-05-25 06:45:00 | 5.237 | 232.1 | 4.882 | 248.498 | 4.486 | 256.933 | 4.139 | 259.5 | 4.802 | 889.733 | 34.869 | 4.554
2019-05-25 07:00:00 | 5.015 | 223.1 | 4.84 | 239.327 | 4.336 | 249.067 | 3.923 | 251.6 | 5.3 | 889.85 | 33.68 | 2.9794
2019-05-25 07:15:00 | 4.348 | 216.48 | 5.058 | 231.841 | 4.226 | 237.933 | 3.757 | 240.267 | 6.433 | 889.467 | 32.432 | 1.9235
2019-05-25 07:30:00 | 3.512 | 213.133 | 4.307 | 228.338 | 3.794 | 238.467 | 3.486 | 236.333 | 7.489 | 889.533 | 30.8 | 1.4979
2019-05-25 07:45:00 | 3.101 | 222.473 | 3.82 | 226.445 | 4.12 | 239.567 | 3.734 | 234.2 | 8.866 | 889.75 | 28.624 | 0.77239
2019-05-25 08:00:00 | 2.828 | 231.213 | 2.862 | 233.788 | 3.031 | 244.1 | 3.026 | 240.967 | 10.776 | 889.917 | 25.776 | 0.17835
2019-05-25 08:15:00 | 2.297 | 250.993 | 2.246 | 249.06 | 2.246 | 251.683 | 2.373 | 245.867 | 12.161 | 889.45 | 22.485 | 0.23804
2019-05-25 08:30:00 | 2.198 | 281.44 | 2.215 | 278.346 | 2.22 | 290 | 2.76 | 293.733 | 11.928 | 889.317 | 20.572 | 0.098769
2019-05-25 08:45:00 | 2.236 | 312.653 | 2.068 | 307.85 | 2.077 | 308.9 | 2.536 | 310.2 | 11.24 | 889.867 | 20.805 | 0.14069
2019-05-25 09:00:00 | 2.296 | 345.107 | 1.876 | 327.529 | 1.94 | 326.667 | 2.432 | 337.267 | 11.466 | 890.033 | 21.515 | 0.24017
2019-05-25 09:15:00 | 1.561 | 174.205 | 1.772 | 235.694 | 1.468 | 138.267 | 2.046 | 294.5 | 12.505 | 889.5 | 20.909 | 0.20749
2019-05-25 09:30:00 | 2.755 | 27.47 | 2.624 | 59.426 | 2.186 | 46 | 2.586 | 60.367 | 12.92 | 889.55 | 20.433 | 0.21814
2019-05-25 09:45:00 | 2.626 | 70.162 | 2.503 | 60.835 | 2.734 | 62.067 | 3.004 | 51.067 | 12.959 | 889.483 | 20.557 | 0.26717
2019-05-25 10:00:00 | 2.76 | 32.768 | 2.53 | 34.815 | 2.585 | 69.433 | 3.114 | 38.2 | 13.276 | 889.467 | 20.832 | 0.11298
2019-05-25 10:15:00 | 2.925 | 99.558 | 2.817 | 78.525 | 2.949 | 48.404 | 3.545 | 46.8 | 13.57 | 889.467 | 21.091 | 0.48532
2019-05-25 10:30:00 | 2.073 | 48.85 | 2.1 | 45.123 | 2.444 | 58.2 | 2.839 | 46.3 | 13.524 | 889.55 | 20.245 | 1.23
2019-05-25 10:45:00 | 2.642 | 90.943 | 3.073 | 73.177 | 3.258 | 73.267 | 3.467 | 60.933 | 13.745 | 889.333 | 19.325 | 2.347
2019-05-25 11:00:00 | 4.356 | 41.456 | 4.028 | 35.363 | 3.973 | 41.867 | 4.202 | 41.333 | 14.02 | 889.033 | 18.699 | 1.6059
2019-05-25 11:15:00 | 3.782 | 115.447 | 3.831 | 112.341 | 3.723 | 110.6 | 4.185 | 109.533 | 14.128 | 889.9 | 18.909 | 1.861
2019-05-25 11:30:00 | 4.689 | 68.854 | 4.557 | 66.503 | 4.41 | 74.033 | 4.569 | 73.4 | 14.558 | 889.667 | 17.907 | 1.4915
2019-05-25 11:45:00 | 3.096 | 79.703 | 3.072 | 63.022 | 3.321 | 77.9 | 3.69 | 67.167 | 14.758 | 889.2 | 17.565 | 4.1739
2019-05-25 12:00:00 | 4.342 | 62.64 | 4.608 | 52.287 | 4.499 | 53.1 | 4.889 | 45.367 | 15.008 | 889.4 | 15.963 | 3.6765
2019-05-25 12:15:00 | 1.746 | 128.79 | 1.527 | 105.097 | 1.899 | 110.15 | 2.453 | 93.333 | 15.096 | 889.5 | 16.069 | 4.3487
2019-05-25 12:30:00 | 4.425 | 54.134 | 4.483 | 47.136 | 4.821 | 55.233 | 5.266 | 54.167 | 15.407 | 889.433 | 14.517 | 5.698
2019-05-25 12:45:00 | 4.347 | 125.133 | 4.621 | 115.024 | 4.809 | 121.867 | 5.055 | 116.967 | 15.673 | 889.4 | 14.459 | 3.5479
2019-05-25 13:00:00 | 3.335 | 113.853 | 3.535 | 105.388 | 3.746 | 109.7 | 3.893 | 107.9 | 15.858 | 889.633 | 14.016 | 3.3233
2019-05-25 13:15:00 | 3.304 | 99.34 | 3.431 | 87.479 | 3.322 | 97.1 | 3.927 | 90.167 | 16.414 | 889.667 | 12.765 | 2.4522
2019-05-25 13:30:00 | 3.17 | 103.008 | 3.274 | 76.519 | 3.293 | 76.904 | 3.723 | 89.5 | 17.768 | 889.533 | 12.288 | 5.2276
2019-05-25 13:45:00 | 2.924 | 133.087 | 2.707 | 114.999 | 2.725 | 120.133 | 3.476 | 112 | 17.139 | 889.833 | 11.773 | 3.2985
2019-05-25 14:00:00 | 2.347 | 140.967 | 2.625 | 90 | 3.089 | 85.442 | 3.492 | 81.333 | 17.118 | 889.333 | 11.893 | 3.5081
2019-05-25 14:15:00 | 3.37 | 81.275 | 3.26 | 74.081 | 3.55 | 72.467 | 3.919 | 60.133 | 17.102 | 889.667 | 10.911 | 4.0517
2019-05-25 14:30:00 | 2.742 | 65.877 | 2.467 | 46.753 | 2.279 | 73.805 | 2.369 | 85.95 | 17.339 | 889.833 | 10.832 | 6.5486
2019-05-25 14:45:00 | 5.197 | 95.047 | 5.158 | 92.861 | 5.654 | 98.767 | 5.985 | 91.4 | 17.998 | 889.3 | 10.491 | 4.4368
2019-05-25 15:00:00 | 2.605 | 76.929 | 2.231 | 73.669 | 2.259 | 81.3 | 2.62 | 81.467 | 18.318 | 889.5 | 10.479 | 3.3439
2019-05-25 15:15:00 | 1.179 | 150.826 | 0.967 | 120.647 | 1.541 | 126.504 | 2.485 | 112.175 | 17.898 | 889.067 | 10.748 | 4.198
2019-05-25 15:30:00 | 2.334 | 151.507 | 2.049 | 183.194 | 1.671 | 143.502 | 1.849 | 90.434 | 17.739 | 889.2 | 10.346 | 8.5908
2019-05-25 15:45:00 | 4.808 | 82.679 | 4.981 | 80.881 | 5.153 | 87.3 | 5.565 | 83.033 | 18.194 | 888.767 | 9.961 | 5.3655
2019-05-25 16:00:00 | 3.457 | 107.313 | 3.54 | 102.899 | 3.612 | 99.733 | 3.67 | 93.033 | 18.423 | 889.033 | 10.191 | 8.5538
2019-05-25 16:15:00 | 4.282 | 52.451 | 4.327 | 53.469 | 4.595 | 56.7 | 5.048 | 51.833 | 18.723 | 889.1 | 10.12 | 6.6964
2019-05-25 16:30:00 | 4.024 | 111.387 | 4.34 | 99.919 | 4.551 | 103.1 | 4.69 | 97.867 | 18.489 | 889.033 | 10.041 | 8.3776
2019-05-25 16:45:00 | 4.871 | 52.435 | 5.128 | 45.67 | 4.992 | 52.033 | 5.362 | 51.933 | 19.01 | 889.067 | 8.947 | 9.3617
2019-05-25 17:00:00 | 4.862 | 66.588 | 5.233 | 58.094 | 5.424 | 64.7 | 5.788 | 63.667 | 19.144 | 889 | 8.923 | 10.2435
2019-05-25 17:15:00 | 6.031 | 59.687 | 5.871 | 56.222 | 5.965 | 57.867 | 6.01 | 55.167 | 19.444 | 889.2 | 8.729 | 12.5024
2019-05-25 17:30:00 | 4.954 | 87.092 | 4.951 | 86.253 | 4.717 | 89.967 | 5.183 | 85.033 | 19.702 | 888.933 | 8.285 | 13.3672
2019-05-25 17:45:00 | 5.805 | 87.26 | 5.876 | 83.458 | 5.768 | 90.367 | 5.817 | 86.833 | 19.694 | 888.8 | 8.403 | 13.2435
2019-05-25 18:00:00 | 4.398 | 70.693 | 4.622 | 67.321 | 4.962 | 67.567 | 5.2 | 61.633 | 19.702 | 889.267 | 8.788 | 18.2374
2019-05-25 18:15:00 | 4.821 | 61.776 | 4.962 | 56.441 | 4.949 | 61.2 | 5.459 | 58.933 | 19.531 | 889.067 | 8.688 | 18.2672
2019-05-25 18:30:00 | 7.084 | 89.683 | 6.631 | 86.492 | 6.315 | 87.067 | 6.477 | 83.533 | 19.91 | 888.8 | 8.94 | 23.9724
2019-05-25 18:45:00 | 5.286 | 70.605 | 5.373 | 63.618 | 5.671 | 67.767 | 6.356 | 59.8 | 19.968 | 888.8 | 8.897 | 21.7327
2019-05-25 19:00:00 | 6.116 | 90.073 | 5.8 | 82.817 | 5.674 | 91.6 | 6.133 | 86 | 20.023 | 888.667 | 9.405 | 30.6652
2019-05-25 19:15:00 | 6.269 | 83.383 | 6.448 | 82.811 | 6.495 | 86.967 | 6.704 | 83 | 19.802 | 889.2 | 9.403 | 27.5238
2019-05-25 19:30:00 | 6.807 | 93.617 | 6.322 | 91.661 | 6.131 | 98.533 | 6.325 | 95.5 | 19.927 | 889.2 | 9.091 | 28.4703
2019-05-25 19:45:00 | 6.655 | 107.38 | 6.584 | 98.363 | 6.619 | 102.7 | 6.693 | 100.067 | 19.698 | 888.8 | 9.039 | 27.6247
2019-05-25 20:00:00 | 5.968 | 103.64 | 5.974 | 96.632 | 5.833 | 100.167 | 5.506 | 89.967 | 19.581 | 889.267 | 9.207 | 28.9556
2019-05-25 20:15:00 | 7.132 | 107.99 | 6.802 | 103.034 | 6.291 | 104.667 | 6.765 | 98.667 | 19.685 | 888.8 | 9.481 | 34.466
2019-05-25 20:30:00 | 6.463 | 99.003 | 6.058 | 94.251 | 5.547 | 98.7 | 5.695 | 91.633 | 19.177 | 888.667 | 9.863 | 39.5004
2019-05-25 20:45:00 | 7.466 | 104.5 | 6.862 | 98.861 | 6.063 | 103.933 | 6.238 | 98.367 | 19.006 | 888.867 | 9.969 | 40.7759
2019-05-25 21:00:00 | 6.464 | 95.583 | 5.969 | 90.259 | 4.907 | 96.233 | 4.772 | 90.433 | 17.96 | 889.3 | 10.231 | 38.7408
2019-05-25 21:15:00 | 6.243 | 100.967 | 6.119 | 97.082 | 5.356 | 99.067 | 5.369 | 99.067 | 18.064 | 889.267 | 10.461 | 37.5151
2019-05-25 21:30:00 | 6.209 | 105.36 | 6.514 | 99.071 | 5.636 | 104.233 | 5.678 | 96.733 | 17.289 | 889.6 | 10.645 | 34.9393
2019-05-25 21:45:00 | 5.828 | 106.407 | 6.293 | 100.138 | 5.141 | 104.233 | 4.975 | 98.767 | 16.848 | 889.367 | 10.8 | 46.9869
2019-05-25 22:00:00 | 6.395 | 103.067 | 6.448 | 97.836 | 5.242 | 99.867 | 5.024 | 97.9 | 16.914 | 889.067 | 10.909 | 48.2432
2019-05-25 22:15:00 | 5.755 | 102.473 | 5.832 | 96.489 | 4.535 | 102.633 | 4.54 | 94.967 | 16.186 | 889.633 | 11.093 | 44.9057
2019-05-25 22:30:00 | 7.192 | 108.613 | 7.357 | 103.366 | 7.096 | 105.7 | 6.43 | 101 | 15.668 | 889.567 | 11.344 | 42.0378
2019-05-25 22:45:00 | 5.657 | 113.4 | 6.396 | 107.558 | 6.653 | 112 | 7.152 | 106.1 | 15.169 | 889.833 | 11.517 | 46.2167
2019-05-25 23:00:00 | 5.784 | 114.967 | 6.25 | 106.883 | 6.616 | 111.933 | 6.673 | 106.167 | 14.924 | 889.7 | 11.768 | 45.818
2019-05-25 23:15:00 | 5.944 | 115.307 | 6.823 | 108.206 | 7.203 | 111.667 | 7.148 | 108.967 | 14.891 | 889.533 | 12.077 | 48.4976
2019-05-25 23:30:00 | 6.63 | 109.673 | 6.792 | 102.377 | 6.013 | 104.733 | 6.104 | 100.733 | 14.52 | 889.567 | 12.315 | 55.6175
2019-05-25 23:45:00 | 6.32 | 101.347 | 6.934 | 94.405 | 6.204 | 99.667 | 5.901 | 95.6 | 14.341 | 889.467 | 12.595 | 55.0831