## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-26 00:00:00 | 6.217 | 115.793 | 7.183 | 107.38 | 7.19 | 111.667 | 7.179 | 104.667 | 13.774 | 889.433 | 12.909 | 39.6915
2019-05-26 00:15:00 | 5.338 | 129.813 | 6.211 | 120.621 | 6.506 | 122.333 | 6.761 | 117.7 | 13.583 | 889.667 | 13.149 | 24.6801
2019-05-26 00:30:00 | 4.215 | 131.26 | 5.426 | 120.59 | 5.86 | 123.033 | 6.16 | 117.833 | 12.947 | 889.533 | 13.651 | 20.9546
2019-05-26 00:45:00 | 4.328 | 133.15 | 5.134 | 123.392 | 5.57 | 125.733 | 5.932 | 123.133 | 12.928 | 889.567 | 13.728 | 22.2464
2019-05-26 01:00:00 | 4.475 | 132.397 | 5.247 | 121.782 | 5.244 | 125.533 | 5.649 | 123.4 | 12.912 | 889.633 | 14.056 | 28.5321
2019-05-26 01:15:00 | 5.887 | 119.5 | 6.73 | 112.528 | 7.06 | 115.867 | 7.349 | 109.467 | 12.553 | 889.9 | 14.243 | 36.4045
2019-05-26 01:30:00 | 5.403 | 122.197 | 6.632 | 114.723 | 6.912 | 118.533 | 7.354 | 114.333 | 12.864 | 889.767 | 14.461 | 27.0435
2019-05-26 01:45:00 | 5.101 | 116.63 | 5.607 | 109.919 | 5.374 | 110.967 | 5.659 | 104.933 | 12.88 | 889.367 | 14.568 | 25.8923
2019-05-26 02:00:00 | 5.16 | 113.457 | 5.845 | 103.917 | 5.357 | 107.533 | 5.287 | 99.9 | 12.762 | 889.667 | 14.571 | 16.8909
2019-05-26 02:15:00 | 4.821 | 108.713 | 5.15 | 103.359 | 4.384 | 106.567 | 4.57 | 102.233 | 12.703 | 889.6 | 14.699 | 3.5329
2019-05-26 02:30:00 | 2.364 | 128.38 | 2.994 | 110.57 | 2.962 | 118.367 | 3.145 | 115.4 | 12.107 | 889.467 | 15.024 | 0.25296
2019-05-26 02:45:00 | 1.617 | 201.4 | 0 | 130.593 | 0.027 | 133 | 1.192 | 121 | 10.978 | 889.567 | 15.789 | 0.20891
2019-05-26 03:00:00 | 3.859 | 220.353 | 2.212 | 207.304 | 1.373 | 195.9 | 1.558 | 122.167 | 10.476 | 889.7 | 16.317 | 0.19043
2019-05-26 03:15:00 | 5.493 | 230.093 | 3.77 | 223.34 | 2.096 | 216.367 | 1.961 | 173.333 | 9.564 | 889.533 | 16.496 | 0.16201
2019-05-26 03:30:00 | 6.075 | 228.26 | 4.576 | 231.233 | 3.509 | 240.667 | 3.228 | 224 | 8.642 | 889.433 | 17.323 | 0.464
2019-05-26 03:45:00 | 2.867 | 220.787 | 2.63 | 245.135 | 2.302 | 248 | 2.538 | 231 | 8.899 | 889.533 | 17.405 | 0.26504
2019-05-26 04:00:00 | 4.436 | 232.813 | 2.935 | 243.189 | 2.422 | 247.867 | 2.554 | 213 | 7.716 | 889.5 | 18.688 | 0.17835
2019-05-26 04:15:00 | 4.577 | 236.233 | 3.287 | 244.249 | 1.661 | 246.9 | 0.638 | 221.067 | 7.372 | 889.4 | 18.464 | 0.4775
2019-05-26 04:30:00 | 2.572 | 209 | 3.111 | 210.468 | 2.682 | 214.667 | 2.314 | 207.133 | 6.972 | 889.633 | 19.496 | 0.20038
2019-05-26 04:45:00 | 1.256 | 198.94 | 0.776 | 146.358 | 0.1 | 107.4 | 0.451 | 234.233 | 8.154 | 889.367 | 19.565 | 0.20038
2019-05-26 05:00:00 | 2.667 | 223.94 | 0.133 | 159.127 | 0 | 68.133 | 1.139 | 77.933 | 8.07 | 889.233 | 20.256 | 0.17551
2019-05-26 05:15:00 | 0.609 | 272.407 | 0.696 | 37.624 | 2.128 | 71.896 | 3.317 | 80.967 | 9.668 | 889.367 | 18.563 | 0.69351
2019-05-26 05:30:00 | 2.151 | 268.7 | 0.62 | 280.479 | 1.18 | 39.735 | 2.115 | 65.133 | 9.799 | 889.7 | 18.315 | 0.16911
2019-05-26 05:45:00 | 2.328 | 298.64 | 1.355 | 231.112 | 1.209 | 57.562 | 2.212 | 42.506 | 10.486 | 889.233 | 17.144 | 0.17977
2019-05-26 06:00:00 | 2.834 | 285.293 | 1.806 | 321.051 | 1.564 | 217.867 | 1.616 | 7.57 | 9.826 | 889.667 | 17.176 | 0.19043
2019-05-26 06:15:00 | 3.85 | 279.973 | 2.906 | 297.483 | 2.43 | 311.433 | 2.424 | 324.067 | 8.996 | 889.5 | 17.965 | 0.18191
2019-05-26 06:30:00 | 2.582 | 311.067 | 2.077 | 338.646 | 1.983 | 243.667 | 1.858 | 58.6 | 10.895 | 889.367 | 16.064 | 0.1883
2019-05-26 06:45:00 | 3.358 | 281.88 | 2.448 | 325.277 | 2.072 | 315.667 | 1.822 | 358.5 | 8.937 | 888.8 | 17.48 | 0.19327
2019-05-26 07:00:00 | 3.158 | 278.107 | 1.92 | 298.856 | 0.433 | 336.367 | 0.282 | 357.667 | 10.205 | 889.233 | 16.321 | 0.18475
2019-05-26 07:15:00 | 2.786 | 293.12 | 1.209 | 306.668 | 0 | 332.5 | 0 | 346.067 | 10.243 | 889.567 | 15.137 | 0.17338
2019-05-26 07:30:00 | 2.535 | 316.333 | 1.436 | 335.61 | 0.2 | 333.167 | 0.574 | 0 | 10.878 | 889.433 | 14.32 | 0.19185
2019-05-26 07:45:00 | 1.658 | 328.133 | 0.703 | 200.664 | 0.794 | 10.342 | 1.549 | 17.033 | 10.845 | 889.367 | 14.012 | 0.19967
2019-05-26 08:00:00 | 0.539 | 329.12 | 0 | 8.031 | 0.499 | 48.929 | 2.156 | 61.167 | 12.378 | 889.8 | 13.085 | 0.21175
2019-05-26 08:15:00 | 1.92 | 83.967 | 1.468 | 77.655 | 1.381 | 82.6 | 1.877 | 81.833 | 12.37 | 889.667 | 12.715 | 0.86618
2019-05-26 08:30:00 | 1.716 | 62.777 | 2.082 | 64.337 | 3.039 | 80.6 | 3.908 | 85.3 | 13.182 | 889.8 | 12.624 | 5.0351
2019-05-26 08:45:00 | 2.639 | 71.033 | 2.978 | 67.507 | 3.303 | 75.5 | 3.946 | 75.6 | 14.195 | 889.433 | 11.603 | 44.5724
2019-05-26 09:00:00 | 9.036 | 101 | 8.797 | 94.551 | 8.016 | 97.167 | 7.862 | 96.633 | 15.291 | 889.6 | 10.957 | 70.1002
2019-05-26 09:15:00 | 9.546 | 91.767 | 9.455 | 88.32 | 9.08 | 92.967 | 8.776 | 90.4 | 15.778 | 889.5 | 11.029 | 61.8612
2019-05-26 09:30:00 | 8.768 | 96.787 | 8.67 | 93.642 | 8.281 | 98.133 | 8.52 | 93.633 | 16.564 | 889.433 | 10.659 | 37.7098
2019-05-26 09:45:00 | 6.455 | 103.227 | 6.217 | 104.229 | 6.172 | 106.167 | 6.726 | 98.9 | 16.564 | 889.533 | 10.603 | 41.6307
2019-05-26 10:00:00 | 7.342 | 112.32 | 7.295 | 106.638 | 7.068 | 111.333 | 7.606 | 110.5 | 16.814 | 889.4 | 10.557 | 36.0293
2019-05-26 10:15:00 | 7.614 | 112.54 | 7.45 | 104.227 | 7.239 | 107 | 7.229 | 101.567 | 16.631 | 889.133 | 10.279 | 26.448
2019-05-26 10:30:00 | 6.49 | 125.253 | 6.893 | 122.164 | 6.916 | 125.367 | 7.367 | 122.1 | 16.698 | 889 | 10.065 | 21.9636
2019-05-26 10:45:00 | 4.649 | 138.107 | 4.613 | 134.17 | 4.78 | 143.367 | 5.052 | 143.3 | 17.181 | 889.133 | 9.737 | 17.3151
2019-05-26 11:00:00 | 6.012 | 105.93 | 6.049 | 105.516 | 5.889 | 107.933 | 5.974 | 108.133 | 17.339 | 889.267 | 9.631 | 26.0003
2019-05-26 11:15:00 | 7.011 | 114.54 | 7.251 | 110.809 | 7.059 | 115.467 | 6.954 | 111.133 | 17.423 | 889.167 | 10.095 | 31.2223
2019-05-26 11:30:00 | 5.987 | 107.567 | 6.324 | 98.892 | 6.536 | 104.467 | 6.484 | 103.767 | 17.739 | 889.567 | 10.121 | 28.8007
2019-05-26 11:45:00 | 5.401 | 121.857 | 5.581 | 119.625 | 5.709 | 125.267 | 6.161 | 118.833 | 18.064 | 888.967 | 10.005 | 33.7199
2019-05-26 12:00:00 | 6.883 | 97.45 | 6.834 | 98.085 | 6.847 | 104.433 | 7.066 | 100.333 | 19.077 | 889 | 9.928 | 40.5108
2019-05-26 12:15:00 | 7.318 | 120.95 | 7.8 | 116.329 | 7.822 | 119.5 | 8.292 | 112.767 | 19.031 | 889.067 | 9.293 | 43.2735
2019-05-26 12:30:00 | 7.415 | 113.813 | 7.331 | 105.912 | 6.955 | 108.667 | 7.404 | 102.633 | 19.148 | 889.133 | 9.416 | 50.8858
2019-05-26 12:45:00 | 8.645 | 111.44 | 8.775 | 106.732 | 8.79 | 113 | 9.009 | 109.133 | 19.452 | 888.733 | 9.877 | 49.1144
2019-05-26 13:00:00 | 6.561 | 117.76 | 7.084 | 111.412 | 7.46 | 116.3 | 7.715 | 110.367 | 19.827 | 888.667 | 9.823 | 51.5537
2019-05-26 13:15:00 | 7.068 | 106.183 | 7.722 | 103.083 | 8.175 | 108.6 | 8.606 | 104.233 | 19.702 | 888.933 | 9.772 | 49.6174
2019-05-26 13:30:00 | 9.032 | 109.497 | 9.557 | 101.347 | 9.719 | 107.267 | 9.929 | 102.667 | 20.281 | 888.6 | 9.528 | 48.2155
2019-05-26 13:45:00 | 7.279 | 97.027 | 7.452 | 94.847 | 7.459 | 99.667 | 7.457 | 98.3 | 20.514 | 888.733 | 9.365 | 49.7155
2019-05-26 14:00:00 | 10.278 | 83.64 | 10.147 | 79.582 | 9.883 | 83.167 | 10.273 | 81.067 | 20.41 | 889.267 | 9.531 | 50.2634
2019-05-26 14:15:00 | 9.43 | 91.18 | 9.514 | 86.845 | 9.806 | 93.433 | 9.776 | 87.5 | 21.023 | 888.933 | 9.593 | 48.715
2019-05-26 14:30:00 | 8.474 | 84.528 | 8.721 | 81.682 | 9.109 | 86.133 | 9.311 | 83.067 | 20.852 | 889.067 | 9.312 | 48.0592
2019-05-26 14:45:00 | 8.871 | 100.553 | 8.945 | 93.181 | 8.476 | 95.667 | 8.71 | 90.567 | 20.706 | 888.667 | 9.181 | 46.8477
2019-05-26 15:00:00 | 11.088 | 80.685 | 11.341 | 76.914 | 11.518 | 81.467 | 11.646 | 78.633 | 20.96 | 889.133 | 9.565 | 46.918
2019-05-26 15:15:00 | 9.811 | 87.997 | 10.159 | 83.743 | 10.702 | 87.3 | 10.834 | 83.5 | 21.227 | 888.867 | 9.407 | 45.3683
2019-05-26 15:30:00 | 11.147 | 89.76 | 10.88 | 84.6 | 10.971 | 91.267 | 11.047 | 86.7 | 21.231 | 888.9 | 9.683 | 45.1764
2019-05-26 15:45:00 | 9.489 | 97.97 | 9.372 | 91.821 | 8.873 | 94.5 | 8.917 | 95.3 | 21.344 | 889.067 | 9.411 | 45.4834
2019-05-26 16:00:00 | 9.162 | 83.177 | 9.257 | 78.51 | 9.285 | 84.633 | 9.488 | 79.967 | 21.318 | 888.867 | 9.511 | 46.508
2019-05-26 16:15:00 | 9.409 | 80.377 | 9.967 | 77.312 | 10.162 | 81.367 | 10.182 | 81.333 | 21.485 | 889.067 | 9.269 | 47.3543
2019-05-26 16:30:00 | 9.628 | 74.172 | 9.788 | 72.436 | 9.992 | 77.167 | 10.326 | 74.867 | 21.848 | 888.733 | 9.396 | 47.7124
2019-05-26 16:45:00 | 7.949 | 85.68 | 8.321 | 79.455 | 8.334 | 83.167 | 8.405 | 80.7 | 21.823 | 888.8 | 8.884 | 48.5111
2019-05-26 17:00:00 | 8.604 | 80.698 | 8.644 | 76.168 | 8.962 | 80.167 | 8.962 | 74.867 | 22.123 | 889.133 | 8.868 | 49.6857
2019-05-26 17:15:00 | 8.054 | 76.513 | 8.094 | 67.214 | 8.558 | 74.167 | 8.773 | 69.567 | 21.823 | 888.6 | 9.103 | 38.733
2019-05-26 17:30:00 | 7.254 | 79.167 | 7.571 | 73.67 | 7.516 | 79.4 | 7.896 | 76.4 | 22.073 | 888.867 | 8.793 | 33.4478
2019-05-26 17:45:00 | 6 | 59.955 | 6.194 | 60.302 | 6.102 | 58.467 | 6.596 | 58.333 | 22.114 | 889.2 | 8.563 | 30.4044
2019-05-26 18:00:00 | 7.066 | 55.8 | 7.039 | 49.654 | 7.058 | 56.2 | 7.165 | 50.933 | 22.464 | 889.267 | 8.5 | 21.7668
2019-05-26 18:15:00 | 5.122 | 58.967 | 5.068 | 56.683 | 5.594 | 63.367 | 5.851 | 59.667 | 22.414 | 889.067 | 8.412 | 26.2014
2019-05-26 18:30:00 | 4.943 | 50.315 | 4.552 | 45.549 | 5.239 | 53.4 | 5.682 | 51.833 | 22.131 | 888.867 | 8.501 | 25.6323
2019-05-26 18:45:00 | 7.075 | 58.667 | 6.483 | 52.059 | 6.401 | 59.167 | 6.705 | 52.833 | 22.414 | 889.4 | 8.173 | 30.2637
2019-05-26 19:00:00 | 6.876 | 74.133 | 6.747 | 68.268 | 6.802 | 73.8 | 7.203 | 66.867 | 22.564 | 889.2 | 8.283 | 34.6387
2019-05-26 19:15:00 | 6.072 | 84.8 | 5.971 | 81.53 | 6.1 | 83.567 | 6.148 | 79.4 | 22.481 | 889.133 | 8.508 | 38.3429
2019-05-26 19:30:00 | 7.073 | 81.857 | 7.273 | 75.645 | 7.275 | 80.667 | 7.586 | 76.433 | 22.235 | 889.133 | 8.811 | 31.38
2019-05-26 19:45:00 | 6.799 | 70.922 | 6.89 | 67.353 | 7.343 | 72.967 | 7.797 | 71.467 | 22.152 | 889.133 | 8.469 | 28.7893
2019-05-26 20:00:00 | 5.657 | 97.323 | 5.525 | 90.319 | 5.275 | 93 | 5.524 | 87.167 | 21.76 | 888.8 | 8.444 | 23.119
2019-05-26 20:15:00 | 5.905 | 84.207 | 6.046 | 79.574 | 6.209 | 84.1 | 6.479 | 80.433 | 21.389 | 888.667 | 8.871 | 21.8322
2019-05-26 20:30:00 | 5.79 | 76.107 | 6.088 | 73.517 | 6.366 | 78.633 | 6.639 | 75.767 | 20.723 | 889 | 9.157 | 17.1119
2019-05-26 20:45:00 | 4.826 | 78.737 | 5.47 | 74.35 | 5.554 | 80.167 | 5.718 | 77.167 | 20.727 | 888.933 | 9.533 | 14.5176
2019-05-26 21:00:00 | 3.949 | 73.543 | 4.716 | 68.396 | 4.848 | 72.867 | 5.224 | 69.467 | 19.831 | 888.8 | 9.613 | 13.8383
2019-05-26 21:15:00 | 4.688 | 77.51 | 5.29 | 72.858 | 5.553 | 79.033 | 5.893 | 75.567 | 19.694 | 889.133 | 9.757 | 16.3295
2019-05-26 21:30:00 | 4.272 | 73.37 | 5.027 | 69.307 | 5.134 | 76.167 | 5.791 | 73.733 | 19.21 | 888.933 | 9.953 | 14.0692
2019-05-26 21:45:00 | 3.804 | 72.612 | 4.749 | 69.841 | 5.027 | 76.1 | 5.606 | 72.267 | 18.856 | 889.2 | 10.185 | 12.0953
2019-05-26 22:00:00 | 4.306 | 83.03 | 5.185 | 76.886 | 5.297 | 81.533 | 5.65 | 76.4 | 18.627 | 889.1 | 10.264 | 13.8376
2019-05-26 22:15:00 | 3.803 | 75.467 | 4.655 | 71.817 | 4.986 | 77.033 | 5.463 | 73 | 18.739 | 889.333 | 10.701 | 12.8087
2019-05-26 22:30:00 | 4.25 | 80.847 | 4.744 | 77.078 | 4.903 | 83.267 | 5.617 | 79 | 17.948 | 889.167 | 11.123 | 11.0749
2019-05-26 22:45:00 | 3.671 | 79.327 | 4.63 | 77.156 | 5.138 | 82.8 | 5.601 | 78.2 | 17.914 | 889.733 | 11.211 | 8.8842
2019-05-26 23:00:00 | 3.424 | 79.47 | 4.405 | 75.447 | 4.687 | 81.167 | 5.073 | 78.1 | 17.877 | 889.633 | 11.931 | 6.9877
2019-05-26 23:15:00 | 3.007 | 78.59 | 3.826 | 74.419 | 3.926 | 78.067 | 4.373 | 76.133 | 17.602 | 889.233 | 12.173 | 5.0628
2019-05-26 23:30:00 | 2.961 | 73.193 | 3.451 | 71.52 | 3.719 | 77.7 | 3.996 | 76.067 | 16.998 | 889.533 | 12.811 | 2.7208
2019-05-26 23:45:00 | 2.818 | 80.497 | 3.515 | 78.783 | 3.408 | 85.3 | 3.33 | 84.3 | 17.335 | 889.8 | 12.877 | 1.2051