## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-27 00:00:00 | 1.6 | 76.893 | 2.789 | 70.464 | 2.856 | 77.833 | 3.132 | 76.7 | 16.664 | 889.967 | 13.355 | 0.545
2019-05-27 00:15:00 | 0.758 | 277.747 | 0.1 | 41.352 | 1.472 | 63.229 | 2.529 | 69.767 | 15.3 | 889.9 | 14.256 | 0.1478
2019-05-27 00:30:00 | 2.686 | 266.573 | 0 | 134.124 | 0 | 72.133 | 1.556 | 65.467 | 15.336 | 889.433 | 14.272 | 0.24728
2019-05-27 00:45:00 | 3.452 | 268.413 | 1.153 | 291.307 | 0.047 | 52.005 | 0.859 | 48.117 | 13.778 | 889.5 | 14.375 | 0.19612
2019-05-27 01:00:00 | 2.937 | 280.987 | 1.136 | 320.512 | 0.366 | 57.533 | 1.461 | 8.804 | 14.174 | 889.033 | 14.592 | 0.17764
2019-05-27 01:15:00 | 4.322 | 252.92 | 1.296 | 277.958 | 0 | 0 | 1.115 | 23.033 | 13.318 | 889.3 | 14.919 | 0.16485
2019-05-27 01:30:00 | 4.904 | 260.987 | 3.166 | 287.949 | 1.955 | 304.233 | 1.071 | 21.059 | 11.953 | 889.433 | 15.768 | 0.13572
2019-05-27 01:45:00 | 5.109 | 261.473 | 3.335 | 289.192 | 2.319 | 313.433 | 2.004 | 282.033 | 11.616 | 889.467 | 16.409 | 0.43984
2019-05-27 02:00:00 | 4.428 | 245.973 | 2.501 | 286.429 | 1.857 | 316.533 | 1.959 | 348.133 | 11.453 | 889.6 | 16.619 | 0.8605
2019-05-27 02:15:00 | 5.065 | 248.2 | 3.482 | 269.485 | 2.586 | 293.6 | 2.858 | 307.867 | 11.395 | 889.833 | 17.019 | 2.5481
2019-05-27 02:30:00 | 5.752 | 241.2 | 4.866 | 257.488 | 3.934 | 281.933 | 3.682 | 298.767 | 11.145 | 889.267 | 16.859 | 3.869
2019-05-27 02:45:00 | 6.303 | 234.567 | 4.952 | 248.742 | 4.074 | 263 | 3.796 | 282.667 | 10.968 | 890 | 16.757 | 6.6672
2019-05-27 03:00:00 | 6.945 | 231.18 | 6.045 | 235.994 | 5.574 | 244.633 | 4.961 | 244.3 | 10.593 | 889.6 | 17.117 | 13.5263
2019-05-27 03:15:00 | 7.729 | 230.047 | 7.321 | 232.098 | 7.185 | 235.7 | 6.948 | 230.867 | 10.826 | 889.433 | 17.053 | 19.439
2019-05-27 03:30:00 | 6.666 | 242.533 | 7.191 | 241.454 | 7.257 | 246.367 | 7.222 | 241.433 | 11.228 | 889.833 | 16.515 | 20.7827
2019-05-27 03:45:00 | 5.833 | 267.467 | 6.439 | 261.803 | 5.926 | 269.6 | 5.932 | 264.567 | 11.161 | 889.667 | 16.501 | 13.7772
2019-05-27 04:00:00 | 4.637 | 234.833 | 5.265 | 241.576 | 4.698 | 248.2 | 4.348 | 244.533 | 11.245 | 889.667 | 16.621 | 10.2044
2019-05-27 04:15:00 | 5.136 | 221.733 | 5.34 | 233.094 | 4.863 | 243.6 | 4.692 | 240.433 | 11.061 | 889.933 | 16.787 | 11.0998
2019-05-27 04:30:00 | 5.466 | 221.847 | 5.451 | 224.906 | 4.887 | 234.067 | 4.753 | 231.033 | 10.018 | 889.633 | 18.259 | 10.2137
2019-05-27 04:45:00 | 5.068 | 220.753 | 6.408 | 220.832 | 5.579 | 226.9 | 5.017 | 224.533 | 9.995 | 889.2 | 18.437 | 7.974
2019-05-27 05:00:00 | 6.033 | 225.233 | 5.298 | 228.18 | 5.11 | 236.033 | 4.905 | 233.233 | 9.445 | 889.567 | 18.949 | 5.1481
2019-05-27 05:15:00 | 4.834 | 222.613 | 4.422 | 230.42 | 4.278 | 238.433 | 4.27 | 234.133 | 9.762 | 889.4 | 19.021 | 2.9943
2019-05-27 05:30:00 | 4.744 | 222.5 | 4.57 | 228.682 | 4.263 | 238.4 | 4.239 | 234.133 | 9.391 | 889.633 | 20.472 | 2.072
2019-05-27 05:45:00 | 4.893 | 222.5 | 4.433 | 229.336 | 4.138 | 238.867 | 3.941 | 237.367 | 8.662 | 889.75 | 21.205 | 2.8657
2019-05-27 06:00:00 | 5.85 | 228.507 | 5.731 | 237.579 | 5.375 | 247.6 | 5.151 | 242.233 | 7.986 | 889.7 | 21.467 | 3.329
2019-05-27 06:15:00 | 5.984 | 222.467 | 4.878 | 227.937 | 4.488 | 236.633 | 4.283 | 233.033 | 8.391 | 889.8 | 20.949 | 2.3854
2019-05-27 06:30:00 | 5.73 | 231.2 | 4.408 | 233.978 | 4.151 | 243.3 | 3.961 | 238.733 | 8.758 | 889.6 | 20.277 | 1.3082
2019-05-27 06:45:00 | 5.439 | 234.833 | 4.064 | 244.948 | 3.702 | 251.933 | 3.559 | 246.867 | 9.204 | 889.6 | 19.896 | 3.2409
2019-05-27 07:00:00 | 5.59 | 249.747 | 5.29 | 260.975 | 5.009 | 266.733 | 4.811 | 260.267 | 9.591 | 889.667 | 19.157 | 7.3046
2019-05-27 07:15:00 | 6.085 | 249.767 | 5.119 | 261.992 | 4.957 | 268.4 | 5.249 | 265.633 | 10.535 | 889.4 | 17.963 | 6.8889
2019-05-27 07:30:00 | 5.664 | 250.453 | 5.857 | 257.446 | 5.386 | 267.067 | 5.382 | 262.933 | 11.382 | 889.833 | 17.1 | 2.4571
2019-05-27 07:45:00 | 1.781 | 221.767 | 2.956 | 241.862 | 3.093 | 262.067 | 2.65 | 258.067 | 12.907 | 889.3 | 15.893 | 0.1343
2019-05-27 08:00:00 | 1.61 | 216.847 | 2.22 | 239.417 | 3.029 | 246.333 | 3.31 | 240.867 | 14.162 | 889.5 | 14.381 | 0.17054
2019-05-27 08:15:00 | 1.053 | 51.303 | 0.429 | 26.252 | 0.177 | 24.467 | 0.625 | 88.033 | 15.742 | 888.933 | 12.843 | 0.17196
2019-05-27 08:30:00 | 1.057 | 340.373 | 0.223 | 340.96 | 0.104 | 320.8 | 1.378 | 341.867 | 15.502 | 889.333 | 12.243 | 0.19185
2019-05-27 08:45:00 | 2.348 | 17.606 | 1.887 | 11.037 | 1.72 | 26.533 | 1.932 | 119.2 | 15.35 | 888.867 | 12.579 | 0.13927
2019-05-27 09:00:00 | 2.687 | 29.598 | 2.346 | 28.24 | 2.384 | 19.167 | 2.472 | 16.533 | 15.008 | 889.667 | 12.967 | 0.18262
2019-05-27 09:15:00 | 2.346 | 74.508 | 2 | 165.996 | 2.066 | 166 | 2.4 | 214.533 | 15.348 | 889.5 | 12.911 | 0.16343
2019-05-27 09:30:00 | 2.861 | 245.301 | 2.698 | 314.483 | 2.776 | 233.833 | 2.858 | 210.4 | 16.331 | 889.3 | 12.735 | 0.60398
2019-05-27 09:45:00 | 2.973 | 129.833 | 2.696 | 152.231 | 2.744 | 82.433 | 3.009 | 94.267 | 16.331 | 889.367 | 12.615 | 0.82923
2019-05-27 10:00:00 | 3.268 | 131.051 | 3.207 | 270.31 | 3.165 | 156.3 | 3.221 | 209.367 | 17.394 | 889.1 | 12.515 | 0.21175
2019-05-27 10:15:00 | 2.385 | 323.667 | 1.904 | 334.78 | 1.59 | 307.333 | 2.095 | 183.367 | 17.727 | 889.433 | 12.505 | 0.13714
2019-05-27 10:30:00 | 2.606 | 230.156 | 2.527 | 229.479 | 2.533 | 179.2 | 2.789 | 193.3 | 18.389 | 889.867 | 12.072 | 0.21885
2019-05-27 10:45:00 | 2.666 | 24.716 | 2.219 | 29.048 | 2.325 | 42.867 | 2.625 | 38.333 | 19.264 | 889.567 | 11.655 | 0.17267
2019-05-27 11:00:00 | 2.206 | 73.101 | 1.994 | 43.963 | 2.605 | 36.2 | 2.987 | 30.267 | 19.631 | 889.667 | 11.451 | 0.11795
2019-05-27 11:15:00 | 2.427 | 50.558 | 2.12 | 33.657 | 2.62 | 37.6 | 2.734 | 37.2 | 20.498 | 889.467 | 11.245 | 1.2449
2019-05-27 11:30:00 | 2.074 | 94.166 | 1.807 | 67.28 | 2.765 | 65.271 | 3.306 | 59.567 | 19.91 | 889.467 | 11.397 | 3.6893
2019-05-27 11:45:00 | 4.378 | 85.08 | 4.467 | 75.305 | 4.514 | 80.433 | 4.594 | 76.867 | 20.139 | 889.567 | 11.187 | 2.779
2019-05-27 12:00:00 | 3.52 | 66.636 | 3.394 | 57.455 | 3.841 | 57.767 | 4.195 | 60.067 | 21.252 | 889.233 | 10.293 | 2.6689
2019-05-27 12:15:00 | 1.607 | 72.509 | 1.5 | 59.288 | 1.639 | 68.067 | 2.2 | 65.533 | 21.835 | 889.267 | 10.285 | 3.9003
2019-05-27 12:30:00 | 2.67 | 119.773 | 2.812 | 116.857 | 2.949 | 106.133 | 3.593 | 98.833 | 22.356 | 889.433 | 10.139 | 6.4434
2019-05-27 12:45:00 | 5.548 | 65.9 | 5.491 | 63.402 | 5.615 | 68.367 | 6.06 | 68.533 | 22.698 | 889.133 | 9.932 | 6.6594
2019-05-27 13:00:00 | 2.732 | 144.848 | 1.982 | 135.236 | 2.197 | 76.01 | 2.772 | 71.233 | 22.964 | 889 | 9.841 | 5.1623
2019-05-27 13:15:00 | 4.365 | 68.007 | 4.212 | 64.255 | 4.021 | 64.633 | 4.155 | 59.267 | 22.714 | 889.333 | 9.797 | 4.3266
2019-05-27 13:30:00 | 2.767 | 71.14 | 2.684 | 42.999 | 3.049 | 47.535 | 3.251 | 48.433 | 23.131 | 889 | 9.539 | 2.7648
2019-05-27 13:45:00 | 1.766 | 119.433 | 1.932 | 113.785 | 2.159 | 109.2 | 2.809 | 101.667 | 22.931 | 888.933 | 9.159 | 1.2932
2019-05-27 14:00:00 | 1.823 | 71.917 | 1.042 | 86.903 | 1.45 | 72.433 | 1.781 | 65.167 | 23.348 | 889.067 | 9.321 | 2.1772
2019-05-27 14:15:00 | 2.526 | 130.033 | 3.086 | 119.979 | 3.012 | 125.8 | 3.336 | 122.167 | 23.148 | 889.133 | 8.724 | 2.5069
2019-05-27 14:30:00 | 2.19 | 187.673 | 1.809 | 179.583 | 1.95 | 113.146 | 3.118 | 33.944 | 24.039 | 888.733 | 8.354 | 1.0914
2019-05-27 14:45:00 | 1.362 | 120.618 | 0.64 | 176.816 | 1.094 | 38.2 | 1.911 | 37.5 | 24.194 | 889.267 | 7.711 | 0.95998
2019-05-27 15:00:00 | 3.398 | 83.131 | 3.073 | 74.873 | 3.216 | 81.8 | 3.813 | 79.933 | 23.968 | 889.2 | 7.567 | 0.18759
2019-05-27 15:15:00 | 1.656 | 96.298 | 1.123 | 87.542 | 0.936 | 90.5 | 1.246 | 92.967 | 24.073 | 889 | 7.803 | 1.2627
2019-05-27 15:30:00 | 2.42 | 75.728 | 2.15 | 65.983 | 2.401 | 64.133 | 2.782 | 63.033 | 24.144 | 888.6 | 7.785 | 4.2989
2019-05-27 15:45:00 | 4.408 | 78.092 | 4.51 | 69.029 | 4.702 | 72.3 | 4.902 | 67.7 | 24.327 | 888.867 | 8.223 | 2.941
2019-05-27 16:00:00 | 3.21 | 85.35 | 3.224 | 92.566 | 3.306 | 100.667 | 3.815 | 96.7 | 24.231 | 889 | 8.364 | 1.5249
2019-05-27 16:15:00 | 3.527 | 72.865 | 3.238 | 64.846 | 3.512 | 75.667 | 3.812 | 78.167 | 23.935 | 888.8 | 8.315 | 2.951
2019-05-27 16:30:00 | 3.594 | 65.778 | 3.653 | 55.186 | 3.606 | 53.067 | 3.784 | 49.3 | 24.731 | 889.067 | 7.765 | 2.7918
2019-05-27 16:45:00 | 2.935 | 23.245 | 2.426 | 67.125 | 2.86 | 52.333 | 3.312 | 47.1 | 24.848 | 888.933 | 7.297 | 2.7598
2019-05-27 17:00:00 | 3.347 | 38.736 | 3.226 | 38.53 | 3.673 | 47.033 | 3.749 | 44.533 | 25.189 | 888.933 | 7.003 | 2.4955
2019-05-27 17:15:00 | 3.208 | 51.744 | 3.133 | 56.981 | 3.094 | 61.933 | 3.636 | 64.167 | 25.056 | 889.333 | 7.136 | 1.2527
2019-05-27 17:30:00 | 1.386 | 95.408 | 0.96 | 45.808 | 1.037 | 43.975 | 1.75 | 44.667 | 25.144 | 889.267 | 7.001 | 4.0438
2019-05-27 17:45:00 | 3.688 | 57.337 | 4.099 | 38.798 | 4.199 | 45.933 | 4.432 | 42.1 | 25.123 | 888.933 | 7.147 | 4.0566
2019-05-27 18:00:00 | 1.828 | 155.08 | 1.551 | 169.558 | 1.794 | 44.389 | 2.344 | 26.068 | 25.36 | 889.067 | 7.664 | 2.2113
2019-05-27 18:15:00 | 3.68 | 72.419 | 3.742 | 75.739 | 3.857 | 78.567 | 4.001 | 75.1 | 24.881 | 889 | 8.139 | 1.6776
2019-05-27 18:30:00 | 2.419 | 51.734 | 2.45 | 29.997 | 2.836 | 36 | 3.121 | 35.767 | 24.744 | 889.133 | 7.769 | 2.3761
2019-05-27 18:45:00 | 1.36 | 61.86 | 1.054 | 28.452 | 1.342 | 53.7 | 1.961 | 50.933 | 24.827 | 888.933 | 7.836 | 2.0038
2019-05-27 19:00:00 | 2.909 | 45.541 | 2.589 | 38.426 | 2.55 | 41.333 | 2.88 | 40.567 | 24.727 | 888.533 | 7.875 | 2.1978
2019-05-27 19:15:00 | 1.994 | 21.819 | 1.524 | 20.896 | 1.92 | 15.367 | 2.569 | 15.567 | 24.718 | 889.133 | 7.869 | 2.3982
2019-05-27 19:30:00 | 3.113 | 65.505 | 3.061 | 63.32 | 3.395 | 70.933 | 3.581 | 65.633 | 25.268 | 888.933 | 7.848 | 3.0206
2019-05-27 19:45:00 | 3.392 | 55.706 | 3.235 | 53.824 | 3.424 | 59.2 | 3.629 | 54.567 | 24.606 | 889.067 | 8.227 | 3.2714
2019-05-27 20:00:00 | 3.408 | 29.495 | 3.482 | 29.605 | 3.728 | 34.767 | 3.938 | 34.2 | 23.952 | 889.267 | 8.555 | 2.8224
2019-05-27 20:15:00 | 2.886 | 55.147 | 2.546 | 49.466 | 2.868 | 55.033 | 3.004 | 49.433 | 24.435 | 889.267 | 8.673 | 2.5843
2019-05-27 20:30:00 | 2.043 | 55.672 | 1.313 | 51.298 | 1.604 | 59.367 | 2.418 | 54.733 | 24.348 | 888.933 | 8.613 | 5.2056
2019-05-27 20:45:00 | 3.812 | 69.613 | 3.757 | 63.704 | 3.754 | 69.767 | 4.07 | 68.233 | 24.118 | 889.2 | 8.801 | 5.6618
2019-05-27 21:00:00 | 3.58 | 80.86 | 3.774 | 73.97 | 3.943 | 79.367 | 4.178 | 75 | 23.331 | 889.133 | 9.327 | 5.1338
2019-05-27 21:15:00 | 3.134 | 75.927 | 3.327 | 71.756 | 3.483 | 76.3 | 3.796 | 71.8 | 23.414 | 888.933 | 9.576 | 4.7061
2019-05-27 21:30:00 | 3.029 | 79.207 | 3.107 | 73.938 | 3.175 | 77.7 | 3.513 | 72.3 | 22.731 | 889 | 9.765 | 4.6706
2019-05-27 21:45:00 | 3.111 | 65.7 | 3.106 | 59.709 | 2.792 | 60.8 | 3.26 | 61.7 | 22.431 | 889.333 | 9.665 | 3.3489
2019-05-27 22:00:00 | 2.092 | 48.923 | 1.935 | 51.324 | 2.224 | 60 | 2.79 | 58.967 | 21.789 | 889.267 | 9.648 | 1.1803
2019-05-27 22:15:00 | 1.246 | 7.142 | 1.848 | 27.728 | 2.728 | 42.4 | 3.215 | 42.6 | 21.268 | 889 | 9.587 | 0.23307
2019-05-27 22:30:00 | 0 | 8.016 | 0.576 | 31.535 | 1.813 | 46.667 | 2.14 | 49.567 | 20.989 | 888.867 | 9.528 | 0.30057
2019-05-27 22:45:00 | 6.368 | 265.487 | 7.948 | 264.432 | 7.801 | 271.567 | 7.495 | 270.367 | 20.114 | 889.667 | 11.424 | 22.0652
2019-05-27 23:00:00 | 6.631 | 289.693 | 7.75 | 287.859 | 8.098 | 293.133 | 8.967 | 292.1 | 20.16 | 889.7 | 14.233 | 40.2145
2019-05-27 23:15:00 | 6.82 | 282.333 | 8.029 | 279.711 | 8.511 | 285.7 | 8.952 | 283.5 | 20.427 | 889.533 | 16.203 | 34.3467
2019-05-27 23:30:00 | 5.689 | 292.293 | 6.547 | 288.241 | 7.211 | 292.467 | 8.048 | 291.667 | 20.402 | 889.1 | 17.651 | 30.9409
2019-05-27 23:45:00 | 5.796 | 293.307 | 6.774 | 288.698 | 7.052 | 291.8 | 7.672 | 289.133 | 19.968 | 889.1 | 19.051 | 37.5122