## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-28 00:00:00 | 6.18 | 277.987 | 7.536 | 270.965 | 7.868 | 276.7 | 8.054 | 271.933 | 19.744 | 889.45 | 20.636 | 40.9315
2019-05-28 00:15:00 | 6.232 | 280.373 | 7.199 | 278.12 | 7.608 | 283.967 | 8.161 | 280.367 | 19.46 | 890.067 | 23.888 | 33.1074
2019-05-28 00:30:00 | 5.814 | 275.533 | 7.21 | 273.202 | 7.758 | 279.3 | 8.361 | 274.367 | 18.639 | 889.383 | 28.413 | 42.1856
2019-05-28 00:45:00 | 6.672 | 281.96 | 7.652 | 278.247 | 8.163 | 284.633 | 8.692 | 281.4 | 18.448 | 889.983 | 29.603 | 49.422
2019-05-28 01:00:00 | 8.097 | 281.013 | 9.27 | 277.994 | 9.699 | 281.767 | 10.156 | 279.767 | 18.452 | 889.6 | 29.344 | 67.4186
2019-05-28 01:15:00 | 9.202 | 275.153 | 10.911 | 271.182 | 11.629 | 276.667 | 12.399 | 273.367 | 18.256 | 889.717 | 31.496 | 65.3039
2019-05-28 01:30:00 | 8.539 | 279.053 | 9.688 | 274.469 | 10.498 | 279.133 | 11.107 | 275.867 | 18.123 | 889.617 | 30.88 | 64.0725
2019-05-28 01:45:00 | 11.227 | 290.373 | 13.226 | 285.006 | 13.638 | 287.567 | 14.709 | 287.267 | 17.477 | 889.483 | 31.261 | 64.8499
2019-05-28 02:00:00 | 9.711 | 283.72 | 11.308 | 279.309 | 12.02 | 283.3 | 12.412 | 279.433 | 17.531 | 890.067 | 31.309 | 66.2461
2019-05-28 02:15:00 | 10.968 | 283.507 | 12.367 | 277.716 | 13.16 | 281.7 | 13.843 | 279.667 | 16.931 | 889.633 | 33.325 | 66.3712
2019-05-28 02:30:00 | 11.404 | 276.507 | 12.999 | 275.463 | 13.643 | 279.233 | 14.025 | 276.033 | 16.848 | 889.85 | 35.309 | 65.1746
2019-05-28 02:45:00 | 10.453 | 278.507 | 11.899 | 278.053 | 12.459 | 280.5 | 13.074 | 279.9 | 16.731 | 889.7 | 37.637 | 66.4067
2019-05-28 03:00:00 | 11.12 | 276.613 | 12.338 | 275.012 | 12.654 | 279.6 | 13.218 | 276.933 | 16.284 | 889.45 | 39.672 | 67.7582
2019-05-28 03:15:00 | 10.434 | 277.347 | 11.748 | 275.254 | 12.456 | 278.467 | 13.252 | 276.167 | 15.58 | 890.017 | 40.819 | 68.7644
2019-05-28 03:30:00 | 10.377 | 277.24 | 11.896 | 275.726 | 12.338 | 280.2 | 12.822 | 278.333 | 15.179 | 890.45 | 42.656 | 69.1332
2019-05-28 03:45:00 | 9.627 | 269.673 | 11.286 | 268.07 | 11.841 | 272.667 | 12.04 | 269.133 | 14.958 | 889.7 | 44.32 | 69.3975
2019-05-28 04:00:00 | 9.081 | 264.453 | 10.576 | 261.215 | 11.506 | 267.467 | 11.94 | 263.117 | 14.524 | 889.717 | 46.363 | 65.7871
2019-05-28 04:15:00 | 8.645 | 256.227 | 10.342 | 253.042 | 11.073 | 259.85 | 11.643 | 256.2 | 14.32 | 890.233 | 48.123 | 65.9449
2019-05-28 04:30:00 | 8.67 | 252.193 | 9.816 | 250.468 | 10.825 | 256.6 | 11.027 | 252.083 | 13.783 | 889.917 | 49.739 | 65.9953
2019-05-28 04:45:00 | 8.506 | 254.913 | 9.618 | 253.262 | 10.321 | 258.317 | 10.458 | 254.917 | 13.66 | 889.883 | 51.712 | 66.3278
2019-05-28 05:00:00 | 8.9 | 253.713 | 10.139 | 250.735 | 10.763 | 255.617 | 10.933 | 253.217 | 13.224 | 889.95 | 52.784 | 66.3897
2019-05-28 05:15:00 | 8.967 | 260.593 | 9.983 | 255.669 | 10.622 | 259.2 | 10.909 | 255.967 | 13.197 | 889.933 | 52.571 | 68.4297
2019-05-28 05:30:00 | 8.713 | 261.487 | 9.91 | 258.924 | 10.421 | 262.117 | 10.638 | 258.167 | 13.099 | 889.958 | 53.312 | 69.1701
2019-05-28 05:45:00 | 8.899 | 256.02 | 10.209 | 253.636 | 10.726 | 260.9 | 11.058 | 254.667 | 12.87 | 889.892 | 54.741 | 67.5657
2019-05-28 06:00:00 | 8.024 | 254.68 | 8.938 | 254.65 | 9.504 | 259.067 | 9.875 | 254.683 | 12.862 | 889.992 | 55.952 | 61.7617
2019-05-28 06:15:00 | 7.399 | 257.973 | 8.696 | 256.696 | 9.064 | 262.117 | 9.225 | 257.783 | 12.582 | 889.892 | 57.392 | 59.3998
2019-05-28 06:30:00 | 8.617 | 249.607 | 9.744 | 246.966 | 10.203 | 251.817 | 10.296 | 246.4 | 12.136 | 889.858 | 58.613 | 62.8844
2019-05-28 06:45:00 | 7.458 | 244.653 | 8.231 | 241.303 | 8.764 | 247.567 | 8.862 | 243.917 | 12.488 | 890.192 | 58.059 | 63.1523
2019-05-28 07:00:00 | 7.01 | 247.98 | 7.895 | 245.197 | 8.375 | 251.233 | 8.508 | 247.967 | 12.07 | 890.058 | 57.936 | 53.1085
2019-05-28 07:15:00 | 6.72 | 257.587 | 7.437 | 256.327 | 7.766 | 260.483 | 7.928 | 257.733 | 12.436 | 889.7 | 57.403 | 46.4057
2019-05-28 07:30:00 | 6.543 | 248.427 | 7.275 | 245.983 | 7.696 | 251.2 | 7.916 | 248.633 | 12.926 | 889.775 | 56.288 | 53.2875
2019-05-28 07:45:00 | 7.173 | 254.013 | 7.872 | 251.003 | 7.997 | 256.05 | 7.958 | 251.467 | 13.099 | 889.425 | 55.531 | 56.1611
2019-05-28 08:00:00 | 7.822 | 248.167 | 8.188 | 244.992 | 8.492 | 249.917 | 8.765 | 246.517 | 12.982 | 889.908 | 55.189 | 58.9692
2019-05-28 08:15:00 | 7.39 | 247.027 | 8.005 | 242.486 | 8.48 | 249.567 | 8.662 | 246.383 | 12.997 | 890.133 | 55.605 | 55.7688
2019-05-28 08:30:00 | 7.837 | 251.547 | 8.383 | 249.442 | 8.538 | 254.5 | 8.638 | 250.117 | 13.733 | 889.958 | 53.131 | 53.7096
2019-05-28 08:45:00 | 7.951 | 265.073 | 8.594 | 261.978 | 8.725 | 266.933 | 8.54 | 260.667 | 14.824 | 889.95 | 50.464 | 45.8067
2019-05-28 09:00:00 | 7.444 | 275 | 8.027 | 270.364 | 8.141 | 273.733 | 8.328 | 268.233 | 15.041 | 889.633 | 49.307 | 46.1591
2019-05-28 09:15:00 | 8.948 | 265.373 | 9.368 | 261.307 | 9.382 | 268.8 | 9.587 | 264.367 | 15.604 | 890.233 | 48.539 | 47.0139
2019-05-28 09:30:00 | 8.112 | 272.933 | 8.388 | 268.456 | 8.679 | 270.733 | 8.721 | 268.017 | 16.001 | 890.3 | 47.248 | 47.6691
2019-05-28 09:45:00 | 7.588 | 285.987 | 8.119 | 285.021 | 8.259 | 287.7 | 8.484 | 284.133 | 16.498 | 890.083 | 45.328 | 52.4888
2019-05-28 10:00:00 | 9.418 | 287.4 | 10.15 | 284.685 | 9.935 | 287.033 | 10.019 | 284.1 | 16.781 | 889.767 | 45.211 | 47.9824
2019-05-28 10:15:00 | 7.482 | 294.133 | 7.76 | 288.201 | 8.122 | 289.8 | 8.556 | 287.2 | 16.531 | 889.725 | 44.336 | 43.6849
2019-05-28 10:30:00 | 7.505 | 276.907 | 7.748 | 275.462 | 7.944 | 280.467 | 8.12 | 274.7 | 17.148 | 889.883 | 43.312 | 42.3349
2019-05-28 10:45:00 | 8.284 | 294.467 | 8.674 | 290.694 | 8.831 | 295.533 | 9.272 | 291.867 | 16.881 | 890.242 | 42.277 | 42.7875
2019-05-28 11:00:00 | 6.966 | 301.56 | 7.325 | 294.464 | 7.62 | 301.633 | 8.046 | 299.733 | 17.768 | 890.233 | 41.128 | 41.0104
2019-05-28 11:15:00 | 7.527 | 294.947 | 7.712 | 293.259 | 7.978 | 297.5 | 8.416 | 294.833 | 17.552 | 889.825 | 40.776 | 34.2763
2019-05-28 11:30:00 | 7.493 | 304.733 | 7.815 | 300.392 | 7.856 | 303.567 | 8.155 | 301.367 | 18.218 | 889.767 | 39.859 | 31.8902
2019-05-28 11:45:00 | 5.911 | 300.933 | 6.056 | 294.036 | 6.542 | 298.533 | 7.078 | 297.067 | 18.723 | 889.783 | 38.555 | 25.8028
2019-05-28 12:00:00 | 6.19 | 308.493 | 6.58 | 292.876 | 6.672 | 298.833 | 6.963 | 304.5 | 18.835 | 889.517 | 37.475 | 18.825
2019-05-28 12:15:00 | 4.218 | 288.133 | 4.727 | 295.59 | 5.33 | 301.233 | 5.624 | 299.333 | 19.118 | 889.817 | 35.088 | 16.7004
2019-05-28 12:30:00 | 5.017 | 303.933 | 5.302 | 297.134 | 5.369 | 299.167 | 5.837 | 294.167 | 19.518 | 889.9 | 34.275 | 18.2495
2019-05-28 12:45:00 | 7.63 | 292.96 | 8.089 | 291.286 | 7.866 | 294.267 | 8.227 | 294.267 | 19.785 | 889.867 | 33.808 | 24.2175
2019-05-28 13:00:00 | 8.098 | 298.293 | 8.224 | 291.442 | 8.239 | 293.333 | 8.493 | 289 | 19.885 | 889.9 | 33.813 | 23.6747
2019-05-28 13:15:00 | 5.979 | 309.867 | 6.295 | 306.401 | 6.496 | 310.933 | 6.799 | 309.2 | 19.773 | 890.067 | 33.12 | 18.9657
2019-05-28 13:30:00 | 5.623 | 262.44 | 5.596 | 259.521 | 5.783 | 266.267 | 5.936 | 262.067 | 21.056 | 889.767 | 30.555 | 26.421
2019-05-28 13:45:00 | 6.276 | 310.973 | 6.539 | 306.107 | 6.78 | 311.767 | 6.849 | 310.2 | 20.394 | 889.417 | 31.933 | 27.1763
2019-05-28 14:00:00 | 6.988 | 317.707 | 7.217 | 314.354 | 7.244 | 309.267 | 7.439 | 308.633 | 20.481 | 889.833 | 31.779 | 29.9362
2019-05-28 14:15:00 | 7.434 | 312.707 | 7.577 | 307.905 | 7.467 | 309.6 | 7.735 | 305.3 | 20.823 | 890.033 | 31.653 | 30.4982
2019-05-28 14:30:00 | 6.322 | 307.173 | 6.497 | 298.827 | 6.601 | 306.4 | 6.918 | 306.8 | 20.802 | 889.6 | 30.664 | 32.1261
2019-05-28 14:45:00 | 7.218 | 300.813 | 7.327 | 293.068 | 7.314 | 297.333 | 7.529 | 296.367 | 20.706 | 889.65 | 30.728 | 45.4805
2019-05-28 15:00:00 | 7.939 | 308.12 | 8.152 | 307.008 | 8.469 | 310.2 | 9.089 | 310.2 | 20.768 | 890.033 | 30.755 | 48.8927
2019-05-28 15:15:00 | 9.096 | 304.667 | 9.929 | 300.297 | 9.929 | 303.333 | 10.509 | 301.2 | 21.327 | 890 | 29.669 | 50.8759
2019-05-28 15:30:00 | 10.402 | 295.56 | 10.779 | 289.911 | 10.837 | 294.4 | 10.887 | 293.633 | 21.356 | 889.883 | 28.747 | 48.0407
2019-05-28 15:45:00 | 6.496 | 304.493 | 6.837 | 296.251 | 6.898 | 297.667 | 7.236 | 292 | 21.777 | 889.4 | 27.731 | 46.8491
2019-05-28 16:00:00 | 9.557 | 307.693 | 10.211 | 304.132 | 10.347 | 310.5 | 10.786 | 308.633 | 21.61 | 889.783 | 27.413 | 55.5166
2019-05-28 16:15:00 | 9.743 | 320.733 | 10.191 | 313.613 | 10.373 | 316.5 | 10.902 | 315.5 | 21.685 | 889.55 | 27.123 | 59.0374
2019-05-28 16:30:00 | 10.198 | 319.587 | 10.592 | 309.001 | 10.876 | 313.433 | 11.412 | 310.933 | 21.518 | 889.717 | 26.285 | 67.0675
2019-05-28 16:45:00 | 9.34 | 296.027 | 9.645 | 294.022 | 10.028 | 298.033 | 10.339 | 295.167 | 21.744 | 889.883 | 25.259 | 66.8487
2019-05-28 17:00:00 | 10.322 | 298.667 | 10.943 | 295.348 | 10.954 | 300.8 | 11.394 | 299.333 | 21.873 | 889.967 | 24.947 | 63.8771
2019-05-28 17:15:00 | 10.091 | 296.387 | 10.893 | 292.676 | 11.102 | 296.367 | 11.703 | 294.233 | 21.856 | 889.767 | 23.573 | 65.0723
2019-05-28 17:30:00 | 11.29 | 303.893 | 12.03 | 299.575 | 12.219 | 304.233 | 12.698 | 301.567 | 21.66 | 889.7 | 23.619 | 62.3991
2019-05-28 17:45:00 | 10.707 | 296.187 | 11.636 | 292.899 | 11.949 | 298.133 | 12.389 | 297.1 | 21.673 | 889.75 | 23.496 | 61.5692
2019-05-28 18:00:00 | 11.905 | 300.907 | 12.59 | 297.337 | 12.878 | 301.167 | 13.219 | 297.5 | 21.352 | 889.667 | 23.024 | 61.0462
2019-05-28 18:15:00 | 11.209 | 301.28 | 11.801 | 297.608 | 12.186 | 302.467 | 12.855 | 298.867 | 21.427 | 889.933 | 22.6 | 60.7314
2019-05-28 18:30:00 | 11.633 | 297.653 | 12.703 | 293.647 | 13.151 | 296.467 | 13.721 | 293.833 | 21.756 | 890.217 | 21.664 | 61.3972
2019-05-28 18:45:00 | 11.961 | 299.28 | 12.972 | 293.857 | 13.693 | 298.033 | 14.255 | 296.033 | 21.031 | 889.633 | 21.816 | 61.3098
2019-05-28 19:00:00 | 12.106 | 284.387 | 12.914 | 281.472 | 13.482 | 286.9 | 13.868 | 286.867 | 20.51 | 889.45 | 21.581 | 61.3596
2019-05-28 19:15:00 | 11.764 | 286.8 | 12.795 | 284.329 | 13.139 | 287.633 | 13.709 | 285.167 | 20.677 | 890.133 | 21.357 | 60.5545
2019-05-28 19:30:00 | 12.396 | 286.453 | 13.368 | 282.532 | 13.924 | 285.667 | 14.544 | 284.333 | 20.531 | 889.75 | 21.544 | 58.9387
2019-05-28 19:45:00 | 13.094 | 293.6 | 14.121 | 292.129 | 14.694 | 296.2 | 15.568 | 293.467 | 20.389 | 890.167 | 21.181 | 57.7932
2019-05-28 20:00:00 | 13.326 | 289.387 | 15.099 | 286.379 | 15.467 | 290.8 | 16.272 | 288.733 | 19.623 | 889.9 | 21.317 | 53.861
2019-05-28 20:15:00 | 14.176 | 290.08 | 15.867 | 285.375 | 16.221 | 288.033 | 17.055 | 286.5 | 19.568 | 889.717 | 21.251 | 51.2198
2019-05-28 20:30:00 | 12.295 | 286.44 | 13.853 | 282.104 | 14.322 | 285.6 | 14.856 | 283.833 | 19.256 | 889.85 | 21.173 | 45.0577
2019-05-28 20:45:00 | 12.288 | 280.2 | 13.643 | 278.186 | 14.382 | 280.767 | 15.11 | 277.633 | 18.906 | 889.333 | 21.341 | 41.6506
2019-05-28 21:00:00 | 12.294 | 284.2 | 14.046 | 281.04 | 14.531 | 286.2 | 15.089 | 283.333 | 19.177 | 889.55 | 21.989 | 41.5902
2019-05-28 21:15:00 | 14.049 | 278.333 | 15.672 | 276.63 | 15.873 | 277.767 | 16.47 | 274.8 | 18.114 | 889.383 | 26.363 | 40.5655
2019-05-28 21:30:00 | 14.758 | 269.36 | 16.438 | 265.59 | 16.942 | 269.233 | 17.032 | 264.883 | 17.46 | 889.45 | 32.005 | 39.4578
2019-05-28 21:45:00 | 14.041 | 272.56 | 15.724 | 269.312 | 15.935 | 272.533 | 16.215 | 269.233 | 16.781 | 889.967 | 35.048 | 39.1842
2019-05-28 22:00:00 | 13.065 | 272.107 | 15.269 | 268.556 | 15.645 | 271.667 | 15.881 | 267.3 | 16.443 | 889.767 | 35.027 | 37.881
2019-05-28 22:15:00 | 13.717 | 271.52 | 15.651 | 268.755 | 16.212 | 273 | 16.889 | 268 | 15.982 | 889.783 | 36.099 | 39.2737
2019-05-28 22:30:00 | 13.831 | 265.733 | 15.569 | 263.955 | 16.215 | 269.3 | 16.841 | 265.333 | 15.198 | 889.55 | 36.883 | 39.2894
2019-05-28 22:45:00 | 13.343 | 267.233 | 15.394 | 266.185 | 16.063 | 271.233 | 16.641 | 267.217 | 15.21 | 889.75 | 36.861 | 38.4921
2019-05-28 23:00:00 | 12.01 | 270.26 | 13.793 | 268.738 | 14.68 | 274.9 | 15.156 | 271.667 | 15.096 | 890.133 | 37.811 | 38.2754
2019-05-28 23:15:00 | 12.05 | 274 | 13.634 | 269.899 | 14.223 | 272.833 | 14.546 | 269.667 | 14.924 | 889.458 | 40.579 | 38.5823
2019-05-28 23:30:00 | 12.255 | 271.787 | 13.413 | 265.208 | 13.857 | 269.15 | 14.462 | 264.733 | 13.912 | 889.658 | 42.075 | 38.8986
2019-05-28 23:45:00 | 10.366 | 263.727 | 11.97 | 260.152 | 12.323 | 265.6 | 12.407 | 262.25 | 14.033 | 889.625 | 43.008 | 38.8282