## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-30 00:00:00 | 8.038 | 265.727 | 9.191 | 264.78 | 9.365 | 269.1 | 9.635 | 267.2 | 15.436 | 889.6 | 36.168 | 58.518
2019-05-30 00:15:00 | 9.059 | 268.84 | 10.318 | 268.321 | 10.488 | 274.167 | 10.98 | 271.3 | 15.728 | 890 | 35.437 | 54.4969
2019-05-30 00:30:00 | 8.402 | 264.813 | 9.382 | 263.987 | 9.538 | 267.667 | 9.86 | 263.1 | 15.504 | 889.45 | 35.493 | 61.437
2019-05-30 00:45:00 | 8.954 | 262.413 | 9.957 | 259.543 | 10.285 | 263.917 | 10.479 | 258.917 | 15.395 | 890.117 | 36.261 | 60.5815
2019-05-30 01:00:00 | 9.843 | 266.04 | 10.421 | 264.797 | 10.821 | 269.433 | 10.903 | 265.167 | 14.991 | 889.7 | 37.443 | 53.0772
2019-05-30 01:15:00 | 8.038 | 266.84 | 9.666 | 265.754 | 9.965 | 269.767 | 9.954 | 265.267 | 14.874 | 890.2 | 37.768 | 50.4943
2019-05-30 01:30:00 | 8.225 | 261.667 | 9.208 | 262.118 | 9.742 | 267.3 | 9.976 | 262.667 | 14.674 | 889.883 | 37.653 | 34.7616
2019-05-30 01:45:00 | 6.582 | 264.787 | 7.658 | 260.403 | 8.014 | 266.733 | 8.162 | 264.017 | 14.924 | 889.233 | 37.512 | 20.7336
2019-05-30 02:00:00 | 5.597 | 283.333 | 6.623 | 278.326 | 7.054 | 281.8 | 7.396 | 279.1 | 14.841 | 889.333 | 38.128 | 27.0456
2019-05-30 02:15:00 | 6.068 | 271.493 | 6.898 | 269.077 | 7.163 | 273 | 7.391 | 267.633 | 14.637 | 889.75 | 39.099 | 30.7746
2019-05-30 02:30:00 | 6.788 | 272.66 | 8.167 | 271.802 | 8.35 | 275.9 | 8.867 | 272.433 | 14.233 | 889.583 | 39.453 | 39.5061
2019-05-30 02:45:00 | 7.35 | 258.367 | 8.625 | 256.09 | 8.871 | 259.833 | 9.038 | 256.017 | 14.333 | 890.017 | 40.589 | 52.9997
2019-05-30 03:00:00 | 7.154 | 249.373 | 8.028 | 246.212 | 8.406 | 252.033 | 8.555 | 246.833 | 13.733 | 889.633 | 41.888 | 52.6089
2019-05-30 03:15:00 | 7.302 | 250.233 | 8.917 | 248.069 | 9.236 | 254.4 | 9.457 | 250.217 | 13.089 | 889.65 | 44.448 | 46.1882
2019-05-30 03:30:00 | 5.655 | 239.66 | 6.851 | 238.964 | 7.568 | 245.833 | 7.908 | 243.317 | 13.435 | 889.925 | 44.405 | 40.5599
2019-05-30 03:45:00 | 5.54 | 245.733 | 6.724 | 247.487 | 7.315 | 256.2 | 7.798 | 251.7 | 13.068 | 889.308 | 43.472 | 37.1705
2019-05-30 04:00:00 | 5.715 | 251.153 | 6.892 | 248.84 | 7.609 | 255.967 | 7.802 | 251.533 | 13.383 | 889.742 | 41.749 | 34.5755
2019-05-30 04:15:00 | 5.823 | 255.333 | 7.079 | 255.755 | 7.535 | 261.633 | 8.232 | 257.25 | 13.372 | 889.708 | 41.488 | 33.3526
2019-05-30 04:30:00 | 7.834 | 288.56 | 9.867 | 284.248 | 10.592 | 289.7 | 11.334 | 287.2 | 14.72 | 889.75 | 38.893 | 43.4732
2019-05-30 04:45:00 | 6.734 | 252.067 | 8.073 | 247.568 | 8.646 | 252.867 | 8.777 | 247.933 | 15.11 | 889.35 | 38.096 | 46.5045
2019-05-30 05:00:00 | 7.319 | 246.533 | 8.568 | 244.892 | 8.832 | 250.233 | 8.685 | 246.067 | 13.941 | 889.708 | 41.557 | 56.8176
2019-05-30 05:15:00 | 8.33 | 254.393 | 9.655 | 252.048 | 10.285 | 256.067 | 10.788 | 252.75 | 14.508 | 889.583 | 36.467 | 52.5677
2019-05-30 05:30:00 | 7.351 | 278.48 | 8.73 | 276.977 | 8.76 | 279.833 | 9.231 | 276 | 15.754 | 889.533 | 31.032 | 24.3511
2019-05-30 05:45:00 | 8.324 | 289.067 | 9.64 | 288.593 | 10.069 | 291.3 | 10.582 | 288.1 | 14.908 | 889.933 | 37.251 | 54.4372
2019-05-30 06:00:00 | 11.116 | 270.273 | 13.118 | 268.281 | 13.523 | 272.233 | 13.803 | 269.3 | 13.637 | 890.208 | 41.259 | 74.4418
2019-05-30 06:15:00 | 9.448 | 268.4 | 10.604 | 263.702 | 11.099 | 270 | 11.444 | 265.867 | 13.466 | 890.258 | 41.163 | 64.5678
2019-05-30 06:30:00 | 7.656 | 278.973 | 9.495 | 277.08 | 10.072 | 280.833 | 10.748 | 277.233 | 13.47 | 889.783 | 40.205 | 60.7421
2019-05-30 06:45:00 | 7.454 | 268.433 | 8.462 | 266.104 | 9.045 | 271.7 | 9.284 | 266.9 | 13.987 | 889.683 | 39.533 | 50.8219
2019-05-30 07:00:00 | 7.802 | 264.74 | 8.414 | 263.322 | 8.936 | 268.8 | 9.59 | 263.9 | 13.933 | 889.817 | 40.325 | 44.2299
2019-05-30 07:15:00 | 8.278 | 256.413 | 8.862 | 255.013 | 9.124 | 261.3 | 9.009 | 256.033 | 13.804 | 889.683 | 39.693 | 36.2815
2019-05-30 07:30:00 | 6.567 | 243.1 | 7.255 | 242.063 | 7.734 | 248.033 | 7.877 | 243.883 | 13.416 | 889.567 | 40.064 | 35.4146
2019-05-30 07:45:00 | 5.982 | 220.293 | 6.989 | 220.251 | 7.374 | 225.767 | 7.491 | 223.2 | 13.628 | 889.667 | 40.725 | 36.1394
2019-05-30 08:00:00 | 6.206 | 215.447 | 7.109 | 214.53 | 7.82 | 216.367 | 8.278 | 213.1 | 13.716 | 889.817 | 39.968 | 40.1022
2019-05-30 08:15:00 | 6.602 | 222.967 | 7.793 | 220.207 | 8.562 | 225 | 8.989 | 220 | 14.299 | 889.992 | 40.619 | 39.4485
2019-05-30 08:30:00 | 7.389 | 216.053 | 7.838 | 214.154 | 8.484 | 217.233 | 9.042 | 213.067 | 14.099 | 889.892 | 42.549 | 32.7095
2019-05-30 08:45:00 | 6.339 | 229.613 | 6.735 | 224.843 | 7.176 | 228.133 | 7.654 | 222.567 | 14.178 | 889.883 | 39.915 | 25.6834
2019-05-30 09:00:00 | 6.115 | 230.267 | 6.603 | 227.354 | 6.976 | 231.967 | 7.085 | 225.733 | 14.674 | 889.467 | 38.277 | 22.0503
2019-05-30 09:15:00 | 6.655 | 244.4 | 7.033 | 240.251 | 7.217 | 243.133 | 7.171 | 236.033 | 16.231 | 889.583 | 34.469 | 29.6392
2019-05-30 09:30:00 | 7.121 | 223.353 | 7.358 | 218.879 | 7.652 | 223.3 | 7.751 | 219.133 | 16.681 | 889.483 | 33.872 | 27.8357
2019-05-30 09:45:00 | 6.526 | 222.76 | 6.759 | 219.366 | 6.982 | 223.533 | 7.049 | 217.567 | 17.235 | 889.6 | 31.371 | 17.519
2019-05-30 10:00:00 | 4.946 | 223.54 | 5.034 | 219.268 | 5.017 | 221.867 | 5.219 | 216.3 | 17.906 | 889.867 | 30.725 | 5.9951
2019-05-30 10:15:00 | 4.078 | 217.847 | 4.197 | 215.069 | 4.42 | 216.6 | 4.626 | 210.367 | 19.052 | 889.95 | 29.061 | 3.1165
2019-05-30 10:30:00 | 3.938 | 235.847 | 4.07 | 227.889 | 4.493 | 233.133 | 4.784 | 225.683 | 18.931 | 889.717 | 28.469 | 3.3908
2019-05-30 10:45:00 | 5.167 | 268.18 | 5.42 | 264.586 | 5.403 | 268.283 | 5.546 | 264.117 | 18.835 | 889.533 | 28.709 | 4.1092
2019-05-30 11:00:00 | 5.422 | 252.74 | 5.602 | 245.975 | 5.529 | 248.433 | 5.768 | 240.317 | 19.614 | 889.883 | 27.099 | 5.9155
2019-05-30 11:15:00 | 3.105 | 238.593 | 3.535 | 241.743 | 3.741 | 253.9 | 4.342 | 253.6 | 18.756 | 890.017 | 27.688 | 4.6727
2019-05-30 11:30:00 | 3.018 | 285.167 | 3.107 | 267.546 | 2.893 | 276.233 | 2.846 | 276.133 | 19.644 | 889.567 | 26.437 | 1.3195
2019-05-30 11:45:00 | 4.403 | 310.493 | 4.209 | 293.528 | 4.348 | 295.667 | 4.556 | 292.3 | 18.21 | 889.233 | 28.352 | 0.80294
2019-05-30 12:00:00 | 1.999 | 251.693 | 1.433 | 243.494 | 1.51 | 265.733 | 2.195 | 269.6 | 19.302 | 889.4 | 28.045 | 2.293
2019-05-30 12:15:00 | 2.546 | 257.767 | 2.485 | 256.945 | 2.906 | 269.917 | 3.437 | 273.633 | 18.623 | 889.583 | 28.413 | 3.0235
2019-05-30 12:30:00 | 2.955 | 239.78 | 3.003 | 236.83 | 2.623 | 236.667 | 2.951 | 230.667 | 18.406 | 889.717 | 29.04 | 1.0794
2019-05-30 12:45:00 | 2.712 | 278.9 | 2.308 | 273.853 | 2.558 | 263.667 | 2.966 | 252.333 | 19.464 | 889.6 | 27.403 | 5.244
2019-05-30 13:00:00 | 3.536 | 210.54 | 3.375 | 207.208 | 3.527 | 211.367 | 3.689 | 204.633 | 20.164 | 889.683 | 26.133 | 3.4356
2019-05-30 13:15:00 | 2.24 | 43.478 | 2.114 | 42.068 | 1.958 | 51.033 | 2.133 | 44.333 | 20.56 | 889.733 | 23.387 | 0.26788
2019-05-30 13:30:00 | 3.426 | 205.673 | 3.485 | 205.709 | 3.717 | 210.133 | 3.999 | 205.35 | 22.035 | 889.7 | 22.592 | 0.37305
2019-05-30 13:45:00 | 4.77 | 282.24 | 4.709 | 290.412 | 4.839 | 295.567 | 4.988 | 293.8 | 20.81 | 889.983 | 22.755 | 1.0445
2019-05-30 14:00:00 | 3.317 | 107.339 | 3.688 | 185.912 | 3.593 | 129.7 | 3.928 | 130.534 | 21.077 | 889.55 | 21.864 | 0.5919
2019-05-30 14:15:00 | 1.302 | 129.483 | 0.626 | 155.883 | 0.633 | 136.833 | 0.766 | 130.933 | 21.914 | 889.467 | 20.349 | 0.17693
2019-05-30 14:30:00 | 4.317 | 284.475 | 4.468 | 306.896 | 4.903 | 307.5 | 5.081 | 305.233 | 21.002 | 889.8 | 21.312 | 1.4147
2019-05-30 14:45:00 | 3.55 | 263.474 | 3.702 | 324.254 | 3.716 | 313.3 | 3.959 | 322.9 | 21.352 | 889.283 | 19.916 | 3.243
2019-05-30 15:00:00 | 2.255 | 135.513 | 0.998 | 143.469 | 0.613 | 167.4 | 1.642 | 181.983 | 21.981 | 888.867 | 18.464 | 0.27925
2019-05-30 15:15:00 | 4.507 | 311.613 | 4.72 | 304.589 | 5.25 | 310.433 | 5.474 | 308.4 | 22.41 | 889.5 | 19.045 | 1.4773
2019-05-30 15:30:00 | 3.65 | 220.953 | 3.716 | 309.645 | 3.939 | 311.2 | 3.984 | 305.933 | 22.864 | 889.6 | 18.512 | 1.7892
2019-05-30 15:45:00 | 2.815 | 205.333 | 2.77 | 206.161 | 3.002 | 282.017 | 3.827 | 286.933 | 22.481 | 889.267 | 17.723 | 4.0694
2019-05-30 16:00:00 | 5.026 | 326.973 | 5.149 | 322.902 | 5.421 | 322.633 | 5.679 | 322.9 | 22.898 | 889.533 | 17.943 | 3.7397
2019-05-30 16:15:00 | 1.192 | 143.862 | 0.627 | 137.184 | 0.817 | 185.933 | 2.172 | 252.767 | 23.014 | 889.8 | 17.079 | 2.2518
2019-05-30 16:30:00 | 3.315 | 301.96 | 3.203 | 323.401 | 3.48 | 316.2 | 3.838 | 327.367 | 22.881 | 889.467 | 16.671 | 2.8899
2019-05-30 16:45:00 | 3.131 | 213.567 | 2.3 | 218.647 | 2.336 | 233.6 | 2.573 | 244.8 | 23.098 | 889.7 | 16.553 | 1.0388
2019-05-30 17:00:00 | 2.475 | 175.487 | 2.484 | 183.664 | 2.212 | 211 | 2.725 | 296.5 | 23.281 | 889.467 | 16.289 | 5.1914
2019-05-30 17:15:00 | 4.926 | 198.64 | 4.884 | 274.046 | 4.791 | 265.633 | 5.129 | 331.7 | 22.31 | 889.167 | 19.663 | 8.9517
2019-05-30 17:30:00 | 3.874 | 318.653 | 3.786 | 324.246 | 4.149 | 300.602 | 4.491 | 321.067 | 22.698 | 889.767 | 17.712 | 6.6744
2019-05-30 17:45:00 | 5.815 | 251.237 | 6.257 | 282.004 | 6.251 | 259.833 | 6.404 | 267.033 | 23.656 | 889.3 | 16.037 | 12.7227
2019-05-30 18:00:00 | 3.456 | 312 | 3.135 | 307.424 | 3.388 | 307.5 | 3.654 | 304.367 | 22.331 | 889.467 | 18.557 | 7.9427
2019-05-30 18:15:00 | 5.004 | 315.933 | 5.238 | 313.723 | 5.484 | 315.667 | 5.676 | 315.2 | 22.731 | 889.267 | 19.177 | 12.5785
2019-05-30 18:30:00 | 5.997 | 329.867 | 6.394 | 325.122 | 6.46 | 330.3 | 6.616 | 328.267 | 22.314 | 889.333 | 19.404 | 12.0647
2019-05-30 18:45:00 | 4.133 | 295.533 | 4.47 | 293.07 | 4.527 | 301.667 | 4.861 | 300.9 | 22.414 | 889.267 | 19.175 | 6.1905
2019-05-30 19:00:00 | 6.147 | 246.348 | 6.546 | 346.184 | 6.684 | 350.1 | 6.656 | 326.1 | 23.464 | 889.367 | 17.119 | 11.4934
2019-05-30 19:15:00 | 3.828 | 10.868 | 3.802 | 18.333 | 3.792 | 19.9 | 4.02 | 17.7 | 22.581 | 889.333 | 18.749 | 30.3156
2019-05-30 19:30:00 | 11.095 | 44.034 | 11.747 | 39.211 | 12.336 | 44.5 | 12.631 | 41.467 | 20.914 | 890.383 | 25.307 | 60.3399
2019-05-30 19:45:00 | 8.429 | 57.318 | 7.924 | 51.409 | 7.112 | 53.133 | 7.329 | 45.767 | 20.835 | 889.3 | 24.885 | 44.512
2019-05-30 20:00:00 | 7.146 | 48.697 | 7.403 | 44.683 | 7.385 | 48.633 | 7.429 | 44.433 | 20.973 | 889.717 | 25.109 | 28.8007
2019-05-30 20:15:00 | 6.791 | 80.133 | 6.973 | 72.923 | 7.053 | 77.9 | 7.314 | 73.2 | 20.848 | 889.967 | 25.28 | 16.51
2019-05-30 20:30:00 | 4.636 | 77.023 | 5.033 | 70.288 | 5.086 | 74.533 | 5.342 | 71.967 | 20.927 | 890 | 25.083 | 11.1808
2019-05-30 20:45:00 | 4.617 | 81.573 | 4.713 | 75.753 | 5.004 | 79.567 | 5.286 | 74.933 | 20.789 | 889.9 | 24.405 | 8.1374
2019-05-30 21:00:00 | 3.97 | 97.017 | 3.72 | 92.769 | 3.232 | 97 | 3.515 | 87.067 | 20.477 | 889.717 | 25.152 | 5.492
2019-05-30 21:15:00 | 2.985 | 113.73 | 2.862 | 105.684 | 2.56 | 108.5 | 2.768 | 100.467 | 20.31 | 889.983 | 25.227 | 2.1914
2019-05-30 21:30:00 | 2.731 | 138.603 | 2.886 | 130.451 | 2.583 | 139.733 | 2.906 | 133.667 | 20.302 | 889.85 | 25.653 | 3.0611
2019-05-30 21:45:00 | 3.094 | 130.023 | 3.377 | 123.052 | 3.252 | 127.533 | 3.759 | 121.267 | 19.631 | 889.883 | 26.197 | 4.267
2019-05-30 22:00:00 | 3.516 | 144.637 | 3.552 | 135.611 | 2.988 | 138.333 | 3.02 | 133.867 | 19.31 | 889.4 | 26.699 | 5.5325
2019-05-30 22:15:00 | 4.196 | 160.473 | 4.23 | 153.478 | 3.881 | 157.3 | 4.114 | 150.467 | 19.348 | 889.8 | 27.328 | 8.8267
2019-05-30 22:30:00 | 3.358 | 164.88 | 3.834 | 154.465 | 3.554 | 156.333 | 3.724 | 152.167 | 18.164 | 890 | 27.931 | 12.4847
2019-05-30 22:45:00 | 3.661 | 174.353 | 4.481 | 158.91 | 4.199 | 161.767 | 4.149 | 156.333 | 18.018 | 889.683 | 28.763 | 12.8215
2019-05-30 23:00:00 | 4.26 | 172.193 | 4.573 | 163.435 | 4.285 | 165.233 | 4.777 | 159.667 | 17.881 | 889.8 | 29.723 | 10.4986
2019-05-30 23:15:00 | 3.699 | 175.667 | 3.786 | 166.899 | 3.623 | 167.9 | 4.01 | 162 | 17.86 | 889.233 | 30.437 | 4.8269
2019-05-30 23:30:00 | 4.42 | 202.873 | 5.133 | 185.848 | 5.216 | 189.2 | 5.756 | 184.3 | 17.231 | 889.8 | 31.28 | 7.1483
2019-05-30 23:45:00 | 4.328 | 208.667 | 5.278 | 199.79 | 5.052 | 201.3 | 5.247 | 193.633 | 16.681 | 889.383 | 32.261 | 7.6031