## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-31 00:00:00 | 5.025 | 220.6 | 6.591 | 216.841 | 6.285 | 215.967 | 6.148 | 210.833 | 15.951 | 889.633 | 32.843 | 7.974
2019-05-31 00:15:00 | 4.69 | 220.627 | 6.273 | 217.24 | 6.043 | 216.933 | 6.044 | 210.833 | 15.758 | 889.85 | 33.547 | 8.455
2019-05-31 00:30:00 | 5.033 | 214.44 | 6.606 | 213.302 | 5.877 | 213.467 | 5.566 | 207.233 | 15.374 | 889.767 | 33.904 | 9.113
2019-05-31 00:45:00 | 5.884 | 217.833 | 7.598 | 216.787 | 6.999 | 216.7 | 6.333 | 211.933 | 14.891 | 889.617 | 34.683 | 11.8565
2019-05-31 01:00:00 | 4.823 | 214.667 | 7.178 | 216.071 | 6.935 | 216.167 | 6.544 | 208.033 | 15.224 | 889.483 | 34.752 | 10.7672
2019-05-31 01:15:00 | 5.386 | 213.633 | 7.585 | 214.18 | 6.726 | 214.867 | 6.52 | 206.5 | 14.741 | 889.75 | 35.205 | 12.835
2019-05-31 01:30:00 | 6.142 | 220.367 | 6.891 | 214.482 | 6.194 | 216.3 | 5.937 | 209.333 | 14.991 | 889.65 | 34.736 | 13.6948
2019-05-31 01:45:00 | 5.93 | 221.8 | 8.013 | 215.033 | 7.377 | 218.4 | 6.813 | 212.667 | 14.808 | 890.05 | 34.603 | 17.0572
2019-05-31 02:00:00 | 5.18 | 224.867 | 7.72 | 218.386 | 8.329 | 216.5 | 7.508 | 212.033 | 14.941 | 889.6 | 34.181 | 21.5366
2019-05-31 02:15:00 | 6.421 | 217.133 | 8.521 | 213.297 | 8.305 | 215.133 | 8.145 | 210.8 | 14.658 | 890.017 | 34.24 | 25.2088
2019-05-31 02:30:00 | 6.422 | 218.533 | 8.664 | 215.03 | 8.607 | 216.833 | 8.8 | 211.7 | 14.941 | 889.55 | 33.461 | 30.1927
2019-05-31 02:45:00 | 6.552 | 221.467 | 8.602 | 219.504 | 8.473 | 223 | 8.364 | 217.033 | 14.891 | 890.15 | 33.317 | 34.4234
2019-05-31 03:00:00 | 6.233 | 218.167 | 8.489 | 217.926 | 8.39 | 221.367 | 8.7 | 217.467 | 14.608 | 889.667 | 33.349 | 35.0871
2019-05-31 03:15:00 | 6.329 | 219.207 | 8.936 | 218.622 | 9.36 | 223.233 | 8.482 | 219.833 | 14.391 | 889.467 | 33.28 | 38.2796
2019-05-31 03:30:00 | 6.786 | 221.96 | 8.931 | 220.949 | 8.602 | 225.7 | 8.378 | 223.267 | 14.224 | 889.733 | 33.12 | 36.9736
2019-05-31 03:45:00 | 6.416 | 222.52 | 8.429 | 223.929 | 8.87 | 229.933 | 9.275 | 225.967 | 14.424 | 889.683 | 32.976 | 42.0186
2019-05-31 04:00:00 | 6.615 | 222.973 | 8.368 | 223.344 | 8.671 | 229.067 | 8.837 | 225.767 | 14.308 | 889.717 | 33.157 | 37.1264
2019-05-31 04:15:00 | 5.824 | 221.187 | 8.047 | 218.863 | 8.259 | 223.9 | 7.99 | 220.267 | 14.508 | 889.833 | 33.557 | 29.8537
2019-05-31 04:30:00 | 5.749 | 219.707 | 8.141 | 218.718 | 8.529 | 224 | 8.105 | 220.333 | 13.508 | 889.9 | 34.341 | 30.6332
2019-05-31 04:45:00 | 6.208 | 219.327 | 8.108 | 218.944 | 7.898 | 225.1 | 7.392 | 222.467 | 13.578 | 889.617 | 34.816 | 29.5283
2019-05-31 05:00:00 | 6.416 | 216.707 | 8.159 | 215.272 | 7.751 | 220.4 | 7.505 | 219.267 | 13.641 | 889.85 | 35.125 | 27.3014
2019-05-31 05:15:00 | 6.414 | 215.36 | 8.199 | 214.8 | 7.657 | 219.633 | 7.389 | 219.233 | 13.628 | 890.35 | 35.253 | 25.6607
2019-05-31 05:30:00 | 6.048 | 214.987 | 7.8 | 216.995 | 7.696 | 223.333 | 7.062 | 220.5 | 12.976 | 889.95 | 35.941 | 24.3177
2019-05-31 05:45:00 | 5.626 | 216.567 | 7.727 | 220.576 | 7.217 | 229.367 | 6.857 | 227.8 | 13.018 | 889.7 | 36.181 | 25.3239
2019-05-31 06:00:00 | 5.919 | 215.987 | 7.785 | 220.672 | 7.262 | 230.633 | 6.835 | 229.633 | 12.743 | 889.817 | 36.544 | 23.9454
2019-05-31 06:15:00 | 5.719 | 219.627 | 7.248 | 225.161 | 7.038 | 234.4 | 6.644 | 232.433 | 12.736 | 889.617 | 35.995 | 23.8388
2019-05-31 06:30:00 | 6.127 | 219.273 | 7.009 | 225.804 | 6.741 | 234.733 | 6.453 | 233.833 | 13.276 | 890 | 34.053 | 22.8646
2019-05-31 06:45:00 | 5.316 | 220.473 | 7.194 | 224.683 | 6.889 | 233.8 | 6.415 | 232.667 | 13.845 | 889.917 | 32.496 | 19.3743
2019-05-31 07:00:00 | 4.471 | 217.1 | 6.524 | 219.193 | 6.228 | 231.4 | 5.94 | 231.3 | 14.641 | 889.767 | 31.173 | 18.4442
2019-05-31 07:15:00 | 5.413 | 218.733 | 7.645 | 216.051 | 7.339 | 225.5 | 6.828 | 223.9 | 15.191 | 889.5 | 29.984 | 23.0735
2019-05-31 07:30:00 | 5.537 | 217.66 | 6.985 | 217.939 | 6.687 | 227.3 | 6.52 | 226.033 | 16.581 | 889.817 | 27.659 | 22.6905
2019-05-31 07:45:00 | 5.608 | 215.927 | 6.607 | 213.588 | 7.156 | 220.3 | 6.842 | 220.267 | 17.76 | 889.583 | 25.92 | 16.2521
2019-05-31 08:00:00 | 5.343 | 218.393 | 5.468 | 214.876 | 5.913 | 222.067 | 5.981 | 221.7 | 18.894 | 889.583 | 23.904 | 14.7585
2019-05-31 08:15:00 | 5.782 | 216.64 | 5.67 | 215.048 | 5.726 | 219.9 | 5.914 | 217.967 | 19.873 | 889.983 | 22.368 | 10.1448
2019-05-31 08:30:00 | 4.569 | 235.607 | 4.632 | 229.34 | 4.854 | 232.75 | 4.953 | 228.033 | 20.985 | 889.333 | 20.189 | 7.5213
2019-05-31 08:45:00 | 4.475 | 222.92 | 4.6 | 221.173 | 4.754 | 224.967 | 5.012 | 220.9 | 21.794 | 889.6 | 19.856 | 4.8255
2019-05-31 09:00:00 | 3.543 | 259.26 | 3.4 | 258.289 | 3.696 | 261.017 | 3.892 | 256.667 | 22.864 | 889.633 | 17.456 | 3.6147
2019-05-31 09:15:00 | 3.091 | 262.407 | 3.173 | 258.754 | 3.373 | 259.533 | 3.518 | 254.517 | 22.394 | 889.967 | 16.925 | 2.8565
2019-05-31 09:30:00 | 3.29 | 271.58 | 3.413 | 263.501 | 3.486 | 266.383 | 3.584 | 261.633 | 22.998 | 889.567 | 16.443 | 1.7217
2019-05-31 09:45:00 | 2.2 | 306.933 | 1.57 | 301.799 | 1.833 | 300.833 | 2.376 | 289.317 | 22.314 | 889.467 | 16.615 | 2.3619
2019-05-31 10:00:00 | 2.806 | 292.413 | 2.542 | 285.981 | 2.678 | 290.05 | 2.791 | 293.7 | 22.748 | 889.5 | 16.541 | 2.7414
2019-05-31 10:15:00 | 3.074 | 256.92 | 3.34 | 276.651 | 3.555 | 290.9 | 3.967 | 317.1 | 22.948 | 889.533 | 16.491 | 3.5848
2019-05-31 10:30:00 | 2.474 | 285.12 | 2.908 | 280.698 | 3.47 | 287.667 | 3.989 | 285.367 | 23.681 | 889.467 | 16.553 | 2.946
2019-05-31 10:45:00 | 5.073 | 316.093 | 5.172 | 311.478 | 5.244 | 302.969 | 5.445 | 305.667 | 23.86 | 889.4 | 15.968 | 10.1647
2019-05-31 11:00:00 | 6.922 | 278.207 | 7.261 | 276.897 | 7.294 | 280.6 | 7.543 | 278.833 | 23.894 | 889.4 | 16.621 | 17.2398
2019-05-31 11:15:00 | 5.505 | 246.053 | 5.553 | 243.533 | 5.694 | 246.3 | 6.054 | 238.117 | 24.677 | 889.6 | 16.068 | 15.5529
2019-05-31 11:30:00 | 5.72 | 235.167 | 5.994 | 233.684 | 6.007 | 240.267 | 6.191 | 235.617 | 25.177 | 889.367 | 15.723 | 17.379
2019-05-31 11:45:00 | 4.868 | 289.493 | 5.236 | 277.451 | 5.555 | 278.617 | 6.081 | 275.017 | 24.118 | 889.667 | 14.637 | 19.3153
2019-05-31 12:00:00 | 7.244 | 277.22 | 7.409 | 278.906 | 7.421 | 282.6 | 7.841 | 279.733 | 24.944 | 889.6 | 14.641 | 19.9456
2019-05-31 12:15:00 | 5.537 | 263.487 | 5.88 | 260.332 | 5.869 | 262.883 | 6.365 | 257.867 | 25.335 | 889.3 | 13.624 | 23.1702
2019-05-31 12:30:00 | 7.884 | 263.853 | 8.164 | 260.635 | 8.325 | 266.1 | 8.676 | 262.533 | 25.464 | 889.733 | 13.144 | 28.2599
2019-05-31 12:45:00 | 6.246 | 315.187 | 6.64 | 310.368 | 7.114 | 316.433 | 7.434 | 310.3 | 25.01 | 889.567 | 13.073 | 20.8466
2019-05-31 13:00:00 | 7.27 | 277.14 | 7.382 | 278.222 | 7.452 | 284.367 | 7.913 | 280.7 | 25.698 | 889.467 | 12.011 | 29.9021
2019-05-31 13:15:00 | 6.896 | 286.6 | 7.532 | 277.531 | 7.711 | 282.467 | 7.941 | 275.933 | 25.968 | 889.767 | 12.173 | 25.817
2019-05-31 13:30:00 | 5.02 | 310.067 | 5.653 | 302.372 | 5.884 | 307.267 | 6.415 | 307.8 | 25.935 | 889.133 | 11.948 | 33.6958
2019-05-31 13:45:00 | 6.253 | 316.067 | 6.935 | 302.215 | 7.047 | 304.6 | 7.274 | 302 | 25.781 | 889.533 | 12.285 | 32.7614
2019-05-31 14:00:00 | 9.455 | 279.693 | 9.858 | 273.481 | 10.028 | 278.933 | 10.136 | 274.367 | 26.331 | 889.567 | 12.012 | 34.4298
2019-05-31 14:15:00 | 8.574 | 277.827 | 8.919 | 274.899 | 9.264 | 280.8 | 9.548 | 274.217 | 26.627 | 889.9 | 11.427 | 37.1449
2019-05-31 14:30:00 | 7.562 | 283.48 | 8.185 | 275.995 | 8.26 | 279.917 | 8.307 | 276.267 | 26.002 | 889.3 | 11.431 | 40.7112
2019-05-31 14:45:00 | 7.768 | 288.84 | 8.361 | 285.82 | 8.309 | 292.4 | 8.681 | 288.4 | 26.227 | 889.733 | 10.636 | 48.6561
2019-05-31 15:00:00 | 7.715 | 298.387 | 8.296 | 290.57 | 8.446 | 293.9 | 8.636 | 291.9 | 26.568 | 889.167 | 11.089 | 47.1603
2019-05-31 15:15:00 | 9.288 | 288.04 | 10.16 | 282.589 | 10.363 | 284.933 | 10.905 | 281.433 | 26.556 | 889.8 | 10.797 | 46.7446
2019-05-31 15:30:00 | 9.292 | 294.133 | 10.031 | 290.265 | 10.063 | 292.7 | 10.325 | 288.867 | 26.664 | 889.867 | 11.309 | 46.1378
2019-05-31 15:45:00 | 10.515 | 292.987 | 10.979 | 287.453 | 10.945 | 290.267 | 11.671 | 287.5 | 27.064 | 889.433 | 11.181 | 46.427
2019-05-31 16:00:00 | 12.592 | 291.12 | 13.851 | 285.932 | 13.918 | 289.767 | 14.133 | 287.033 | 26.552 | 889.833 | 11.46 | 47.1383
2019-05-31 16:15:00 | 12.49 | 285.64 | 13.365 | 285.986 | 13.656 | 290.7 | 14.096 | 289.3 | 26.76 | 889.7 | 11.401 | 46.6992
2019-05-31 16:30:00 | 15.299 | 290.347 | 16.586 | 287.125 | 16.74 | 292.567 | 17.066 | 288.8 | 27.189 | 889.533 | 11.095 | 46.1428
2019-05-31 16:45:00 | 14.203 | 282.053 | 15.341 | 277.201 | 15.596 | 281.267 | 15.72 | 276.267 | 26.485 | 889.433 | 12.173 | 46.4092
2019-05-31 17:00:00 | 13.075 | 270.533 | 13.791 | 264.621 | 13.594 | 269.383 | 14.058 | 266.35 | 26.394 | 889.767 | 13.105 | 46.201
2019-05-31 17:15:00 | 12.392 | 281.12 | 13.559 | 275.677 | 13.418 | 280.483 | 13.822 | 275.45 | 27.048 | 889.267 | 12.673 | 46.6793
2019-05-31 17:30:00 | 12.82 | 288.027 | 13.797 | 288.517 | 14.018 | 292.767 | 14.733 | 288.567 | 26.848 | 889.733 | 12.443 | 47.2776
2019-05-31 17:45:00 | 14.364 | 293.28 | 15.231 | 287.515 | 15.023 | 292.267 | 15.416 | 288.9 | 26.356 | 889.367 | 12.981 | 47.4452
2019-05-31 18:00:00 | 13.394 | 290.307 | 14.418 | 288.264 | 14.802 | 291.933 | 15.386 | 289.633 | 26.077 | 889.1 | 13.712 | 46.7539
2019-05-31 18:15:00 | 15.422 | 294.76 | 16.221 | 288.454 | 16.313 | 291.8 | 17.07 | 289.6 | 26.098 | 889.567 | 14.063 | 46.5542
2019-05-31 18:30:00 | 9.873 | 290.293 | 10.75 | 289.618 | 10.758 | 295.067 | 11.76 | 292.433 | 26.489 | 889.733 | 13.88 | 47.4275
2019-05-31 18:45:00 | 13.052 | 290.973 | 14.486 | 290.534 | 14.601 | 293.8 | 15.249 | 290.733 | 26.523 | 889.333 | 13.563 | 48.8749
2019-05-31 19:00:00 | 13.57 | 289.32 | 14.714 | 285.638 | 15.033 | 287.667 | 15.344 | 284.733 | 26.585 | 889.233 | 13.756 | 50.0267
2019-05-31 19:15:00 | 12.265 | 304.6 | 13.438 | 299.477 | 13.742 | 304.667 | 14.651 | 301.733 | 26.789 | 889.367 | 13.396 | 50.954
2019-05-31 19:30:00 | 14.308 | 305.4 | 15.267 | 300.138 | 16.25 | 303.767 | 16.916 | 301.933 | 26.36 | 889.5 | 13.54 | 51.3136
2019-05-31 19:45:00 | 13.718 | 296 | 15.203 | 293.561 | 16.148 | 296.133 | 16.622 | 295.433 | 25.698 | 890.067 | 14.751 | 50.08
2019-05-31 20:00:00 | 13.228 | 307.413 | 14.752 | 304.595 | 15.286 | 309.6 | 15.749 | 307.433 | 25.339 | 889.567 | 15.021 | 46.314
2019-05-31 20:15:00 | 14.449 | 296.747 | 15.737 | 292.38 | 16.307 | 297.3 | 16.764 | 294.867 | 25.677 | 889.333 | 15.431 | 46.1627
2019-05-31 20:30:00 | 12.465 | 304.347 | 14.236 | 299.222 | 14.911 | 302.967 | 16.025 | 301.533 | 25.289 | 889.567 | 15.551 | 52.7894
2019-05-31 20:45:00 | 13.093 | 305.333 | 14.758 | 300.112 | 15.767 | 304.933 | 16.61 | 303.9 | 25.239 | 889.467 | 16.179 | 56.8759
2019-05-31 21:00:00 | 13.171 | 291.533 | 14.652 | 289.938 | 15.152 | 290.8 | 16.094 | 289.8 | 25.156 | 889.233 | 16.527 | 65.2037
2019-05-31 21:15:00 | 10.633 | 309.853 | 11.593 | 301.951 | 11.999 | 310.067 | 12.348 | 307.333 | 24.381 | 889.767 | 17.384 | 66.8387
2019-05-31 21:30:00 | 9.315 | 299.747 | 10.867 | 294.61 | 11.396 | 301.2 | 12.486 | 299.5 | 23.998 | 889.967 | 18.087 | 64.8946
2019-05-31 21:45:00 | 9.101 | 310.253 | 10.333 | 303.54 | 11.196 | 308.567 | 11.947 | 306.433 | 23.764 | 889.767 | 18.16 | 57.8941
2019-05-31 22:00:00 | 8.071 | 303.2 | 9.354 | 298.877 | 10.409 | 305.067 | 11.229 | 302.433 | 23.531 | 889.367 | 18.456 | 59.0545
2019-05-31 22:15:00 | 7.014 | 293.12 | 8.214 | 290.463 | 8.689 | 296 | 9.742 | 294.167 | 22.981 | 889.9 | 18.373 | 57.3179
2019-05-31 22:30:00 | 7.801 | 285.32 | 8.843 | 282.898 | 9.222 | 288.7 | 9.805 | 287.667 | 22.648 | 889.5 | 18.628 | 47.4531
2019-05-31 22:45:00 | 6.465 | 279.4 | 7.66 | 281.764 | 8.269 | 285.667 | 8.87 | 284.767 | 22.714 | 889.533 | 18.841 | 39.9211
2019-05-31 23:00:00 | 7.112 | 285.907 | 8.366 | 285.736 | 9.01 | 291.5 | 9.58 | 289.033 | 22.402 | 889.233 | 19.184 | 43.5108
2019-05-31 23:15:00 | 5.725 | 292.253 | 7.15 | 290.576 | 8.189 | 296.6 | 9.06 | 294.033 | 21.81 | 889.967 | 19.587 | 38.7536
2019-05-31 23:30:00 | 5.618 | 295.853 | 6.984 | 293.457 | 7.645 | 301.4 | 8.626 | 298.367 | 21.298 | 889.383 | 20.408 | 31.0319
2019-05-31 23:45:00 | 6.754 | 305.773 | 7.895 | 302.819 | 8.308 | 308.7 | 8.999 | 307.4 | 20.973 | 890.05 | 23.117 | 33.0122