## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-06-01 00:00:00 | 5.889 | 305.013 | 6.805 | 303.446 | 7.131 | 309 | 8.11 | 307.667 | 20.914 | 889.85 | 23.771 | 27.4371
2019-06-01 00:15:00 | 5.907 | 302.227 | 7.084 | 299.21 | 7.209 | 307 | 7.946 | 305.433 | 20.656 | 890.133 | 23.696 | 32.6441
2019-06-01 00:30:00 | 6.102 | 301.653 | 7.199 | 297.244 | 7.784 | 302.3 | 8.446 | 301.867 | 19.848 | 889.95 | 24.272 | 32.0849
2019-06-01 00:45:00 | 5.911 | 297.107 | 7.223 | 292.876 | 7.891 | 299.6 | 8.394 | 298 | 19.985 | 890.05 | 23.819 | 27.4343
2019-06-01 01:00:00 | 5.166 | 294.08 | 6.294 | 292.03 | 6.988 | 299.233 | 7.663 | 298.967 | 19.735 | 890.2 | 22.669 | 18.6602
2019-06-01 01:15:00 | 4.086 | 272.333 | 5.308 | 274.661 | 5.554 | 282.6 | 5.889 | 284.967 | 18.789 | 889.667 | 24.699 | 17.2788
2019-06-01 01:30:00 | 5.112 | 247.653 | 5.732 | 262.811 | 6.018 | 273.267 | 6.46 | 274.467 | 18.706 | 889.783 | 25.112 | 20.627
2019-06-01 01:45:00 | 5.232 | 258.32 | 6.064 | 267.253 | 6.487 | 276 | 7.071 | 275.933 | 17.852 | 890.3 | 24.997 | 21.4456
2019-06-01 02:00:00 | 5.179 | 245.693 | 5.522 | 257.198 | 5.772 | 269.4 | 5.973 | 269.633 | 17.989 | 889.817 | 25.261 | 12.9188
2019-06-01 02:15:00 | 5.928 | 227.433 | 5.967 | 233.727 | 5.581 | 243 | 5.443 | 242.5 | 16.398 | 889.933 | 27.504 | 16.4823
2019-06-01 02:30:00 | 6.357 | 227.107 | 7.401 | 230.908 | 6.889 | 237.4 | 6.284 | 235.433 | 15.68 | 889.917 | 28.832 | 18.4264
2019-06-01 02:45:00 | 5.596 | 227.513 | 5.923 | 236.111 | 5.92 | 243.533 | 5.819 | 237.733 | 15.55 | 889.467 | 29.173 | 16.0716
2019-06-01 03:00:00 | 5.434 | 217.707 | 6.039 | 227.511 | 5.618 | 238.333 | 5.418 | 236.6 | 15.547 | 889.8 | 29.051 | 19.7495
2019-06-01 03:15:00 | 6.201 | 220.3 | 7.16 | 222.772 | 6.974 | 231.167 | 6.647 | 230.433 | 15.058 | 889.8 | 29.344 | 25.2287
2019-06-01 03:30:00 | 6.5 | 220.2 | 7.414 | 225.882 | 7.304 | 233.767 | 6.954 | 230.4 | 15.108 | 889.7 | 29.264 | 30.0285
2019-06-01 03:45:00 | 6.417 | 216.133 | 7.4 | 220.448 | 7.216 | 228.133 | 7.179 | 225.633 | 14.941 | 889.583 | 29.291 | 32.6491
2019-06-01 04:00:00 | 5.309 | 215.633 | 8.206 | 212.17 | 8.017 | 215.167 | 7.901 | 212.833 | 14.641 | 890 | 29.648 | 36.3661
2019-06-01 04:15:00 | 5.869 | 213.6 | 8.144 | 214.225 | 8.459 | 218.7 | 8.658 | 215.833 | 14.891 | 889.9 | 29.6 | 46.7681
2019-06-01 04:30:00 | 6.856 | 216.8 | 9.769 | 215.427 | 9.573 | 219.833 | 9.616 | 216.033 | 14.841 | 890 | 29.307 | 61.6274
2019-06-01 04:45:00 | 7.592 | 217.6 | 9.915 | 217.016 | 10.292 | 222.567 | 10.138 | 219.067 | 15.198 | 888.717 | 29.195 | 59.5327
2019-06-01 05:00:00 | 6.497 | 221.2 | 8.78 | 222.536 | 9.762 | 230.033 | 9.85 | 226.633 | 15.081 | 889.983 | 29.424 | 58.4775
2019-06-01 05:15:00 | 6.439 | 222.987 | 8.963 | 225.681 | 10.32 | 232.367 | 10.413 | 229.4 | 15.229 | 889.433 | 29.499 | 62.2442
2019-06-01 05:30:00 | 6.006 | 226.647 | 8.504 | 227.632 | 9.79 | 235.067 | 9.936 | 232.233 | 16.376 | 889.717 | 29.141 | 51.8451
2019-06-01 05:45:00 | 5.785 | 237.167 | 7.461 | 235.305 | 8.495 | 243.933 | 8.791 | 241.3 | 16.481 | 890.15 | 28.763 | 41.3436
2019-06-01 06:00:00 | 4.749 | 234.827 | 6.426 | 238.237 | 7.028 | 246.4 | 7.273 | 242.7 | 16.664 | 889.867 | 28.8 | 25.4582
2019-06-01 06:15:00 | 4.776 | 244.047 | 5.728 | 247.521 | 6.012 | 257.767 | 6.339 | 256.267 | 16.814 | 889.75 | 28.651 | 15.8485
2019-06-01 06:30:00 | 3.788 | 244.893 | 3.886 | 253.592 | 4.1 | 264.733 | 4.646 | 267.167 | 16.981 | 889.25 | 28.323 | 13.2641
2019-06-01 06:45:00 | 3.942 | 246.767 | 3.94 | 251.471 | 4.428 | 259.733 | 5.124 | 257.833 | 17.723 | 889.4 | 26.992 | 12.3838
2019-06-01 07:00:00 | 3.381 | 235.1 | 3.49 | 240.473 | 3.69 | 250.133 | 4.29 | 248 | 18.906 | 889.633 | 24.827 | 11.3435
2019-06-01 07:15:00 | 3.135 | 248.007 | 3.309 | 258.178 | 3.34 | 262.8 | 3.742 | 256.95 | 19.277 | 889.783 | 23.467 | 12.3553
2019-06-01 07:30:00 | 3.603 | 235.887 | 4.358 | 249.971 | 5.284 | 262.6 | 5.968 | 264.117 | 20.035 | 889.667 | 22.677 | 16.7424
2019-06-01 07:45:00 | 5.501 | 252.627 | 6.794 | 260.47 | 7.542 | 270 | 8.282 | 270.9 | 20.468 | 889.75 | 22.008 | 25.9755
2019-06-01 08:00:00 | 6.726 | 266.173 | 7.388 | 265.05 | 7.561 | 270.667 | 8.038 | 267.7 | 21.506 | 889.15 | 21.848 | 39.6802
2019-06-01 08:15:00 | 7.092 | 269.54 | 7.819 | 265.436 | 8.052 | 269.867 | 8.085 | 266.6 | 21.335 | 889.85 | 21.539 | 41.161
2019-06-01 08:30:00 | 7.807 | 271.773 | 8.149 | 271.428 | 8.249 | 277.7 | 8.386 | 275.9 | 21.673 | 890.4 | 21.277 | 44.8645
2019-06-01 08:45:00 | 8.34 | 277.38 | 8.764 | 275.331 | 8.678 | 277.667 | 8.866 | 273.567 | 21.298 | 889.683 | 21.155 | 44.1234
2019-06-01 09:00:00 | 8.036 | 280.947 | 8.279 | 277.663 | 8.256 | 280.667 | 8.449 | 275.033 | 21.752 | 889.667 | 20.717 | 36.7548
2019-06-01 09:15:00 | 8.091 | 278.487 | 9.108 | 278.302 | 9.111 | 284.2 | 9.318 | 280.733 | 21.744 | 889.367 | 19.508 | 37.2891
2019-06-01 09:30:00 | 7.051 | 284.707 | 7.469 | 284.151 | 7.521 | 286.367 | 7.882 | 282.3 | 22.064 | 889.3 | 19.117 | 41.9533
2019-06-01 09:45:00 | 8.173 | 291.947 | 8.651 | 285.923 | 8.678 | 292 | 9.01 | 287.7 | 21.985 | 889.367 | 19.028 | 44.5454
2019-06-01 10:00:00 | 8.464 | 297.867 | 8.626 | 295.046 | 8.849 | 298.633 | 9.348 | 296.4 | 22.531 | 889.567 | 18.412 | 43.5272
2019-06-01 10:15:00 | 6.9 | 291.707 | 7.232 | 286.355 | 7.297 | 291 | 7.883 | 286.533 | 22.548 | 889.5 | 18.272 | 36.7072
2019-06-01 10:30:00 | 8.373 | 314 | 8.938 | 307.496 | 9.072 | 309.8 | 9.388 | 307.2 | 23.048 | 889.5 | 18.901 | 41.9924
2019-06-01 10:45:00 | 8.446 | 296.307 | 8.916 | 294.57 | 9.141 | 299.667 | 9.751 | 298.7 | 22.898 | 889.5 | 18.981 | 43.7411
2019-06-01 11:00:00 | 9.284 | 314.973 | 9.971 | 308.093 | 10.258 | 311.767 | 10.627 | 310.267 | 23.977 | 889.633 | 18.624 | 42.6233
2019-06-01 11:15:00 | 8.338 | 298.107 | 8.782 | 293.023 | 8.875 | 295.8 | 9.315 | 295.133 | 23.668 | 889.467 | 19.323 | 43.3261
2019-06-01 11:30:00 | 8.529 | 319.733 | 8.815 | 306.48 | 9.212 | 310.433 | 9.58 | 307.767 | 23.885 | 889.567 | 19.883 | 42.666
2019-06-01 11:45:00 | 11.93 | 299.693 | 12.397 | 295.289 | 12.628 | 303.167 | 13.453 | 300.767 | 24.218 | 889.6 | 19.992 | 42.8429
2019-06-01 12:00:00 | 11.651 | 300 | 12.953 | 295.167 | 13.017 | 299.6 | 13.013 | 298.167 | 24.752 | 889.367 | 19.285 | 42.8358
2019-06-01 12:15:00 | 14.726 | 305.4 | 15.199 | 299.128 | 15.475 | 303.3 | 15.651 | 301.4 | 24.902 | 889.633 | 18.704 | 42.6766
2019-06-01 12:30:00 | 14.87 | 299.387 | 15.497 | 294.496 | 15.688 | 299.6 | 15.817 | 294.567 | 25.006 | 889.533 | 17.885 | 42.5295
2019-06-01 12:45:00 | 12.4 | 309.173 | 12.745 | 306.277 | 13.076 | 313.367 | 13.946 | 309.133 | 25.064 | 889.333 | 16.349 | 42.8351
2019-06-01 13:00:00 | 10.963 | 302.4 | 11.609 | 297.519 | 12.294 | 300.633 | 12.786 | 300.2 | 25.61 | 889.467 | 15.825 | 42.6283
2019-06-01 13:15:00 | 10.702 | 308.947 | 10.741 | 303.959 | 10.965 | 307.667 | 11.293 | 303.433 | 25.356 | 889.4 | 15.111 | 42.7669
2019-06-01 13:30:00 | 10.006 | 288.093 | 10.524 | 284.374 | 10.822 | 287.867 | 11.085 | 285.267 | 25.506 | 889.8 | 14.791 | 42.5871
2019-06-01 13:45:00 | 11.166 | 282.32 | 12.403 | 283.761 | 12.756 | 289.8 | 13.172 | 287.567 | 26.448 | 889.6 | 15.485 | 42.8685
2019-06-01 14:00:00 | 12.079 | 321.653 | 12.494 | 314.823 | 12.912 | 321.667 | 13.501 | 318.967 | 26.585 | 889.5 | 15.092 | 43.1321
2019-06-01 14:15:00 | 11.466 | 325.88 | 11.827 | 319.593 | 12.377 | 324.367 | 12.642 | 320.633 | 25.968 | 889.767 | 15.457 | 42.6923
2019-06-01 14:30:00 | 12.421 | 318.213 | 12.703 | 311.832 | 12.95 | 314.433 | 13.266 | 314.133 | 25.998 | 889.633 | 15.212 | 42.7804
2019-06-01 14:45:00 | 11.438 | 297.627 | 12.233 | 294.619 | 12.663 | 299.533 | 12.894 | 299.267 | 26.268 | 889.533 | 15.393 | 42.6077
2019-06-01 15:00:00 | 11.491 | 314.347 | 12.22 | 308.545 | 12.455 | 311.933 | 12.834 | 311.033 | 26.252 | 889.867 | 15.215 | 42.6226
2019-06-01 15:15:00 | 11.768 | 303.747 | 12.006 | 297.563 | 12.58 | 302.133 | 13.049 | 300.133 | 26.41 | 889.667 | 14.979 | 42.6205
2019-06-01 15:30:00 | 10.388 | 303.413 | 11.105 | 299.579 | 11.407 | 302.733 | 11.725 | 301.9 | 27.006 | 889.8 | 14.496 | 42.5182
2019-06-01 15:45:00 | 12.496 | 295.573 | 12.975 | 291.412 | 13.433 | 295.1 | 14.145 | 291.567 | 26.644 | 889.533 | 14.84 | 42.8465
2019-06-01 16:00:00 | 12.373 | 299.96 | 13.027 | 294.941 | 13.173 | 300.367 | 13.613 | 296.467 | 26.918 | 889.367 | 13.577 | 42.4386
2019-06-01 16:15:00 | 13.215 | 311.427 | 14.049 | 304.129 | 14.567 | 306.533 | 15.604 | 307.6 | 27.273 | 889.867 | 13.5 | 42.779
2019-06-01 16:30:00 | 11.985 | 307.453 | 12.894 | 299.147 | 13.184 | 303.167 | 13.548 | 301.1 | 27.318 | 889.667 | 12.805 | 42.7186
2019-06-01 16:45:00 | 11.432 | 300.12 | 12.011 | 294.58 | 12.319 | 298.933 | 12.736 | 294.633 | 26.977 | 889.667 | 13.179 | 42.6148
2019-06-01 17:00:00 | 11.165 | 288.08 | 12.369 | 284.47 | 12.82 | 289.5 | 13.322 | 286.8 | 27.294 | 889.733 | 13.148 | 42.5125
2019-06-01 17:15:00 | 12.463 | 292.747 | 13.177 | 289.052 | 13.149 | 296.133 | 13.539 | 292.167 | 27.448 | 889.4 | 12.717 | 42.6539
2019-06-01 17:30:00 | 11.188 | 290.28 | 11.89 | 285.7 | 12.263 | 291.867 | 12.58 | 290.267 | 27.398 | 889.8 | 11.449 | 42.9296
2019-06-01 17:45:00 | 12.347 | 300.533 | 13.176 | 299.204 | 13.48 | 303.7 | 13.965 | 300.633 | 27.331 | 889.667 | 10.709 | 42.7726
2019-06-01 18:00:00 | 12.373 | 287.453 | 13.412 | 283.873 | 13.178 | 287.067 | 13.898 | 283.733 | 27.589 | 889.333 | 11.875 | 42.0101
2019-06-01 18:15:00 | 11.272 | 280.733 | 12.125 | 278.065 | 12.435 | 280 | 13.22 | 278.967 | 27.673 | 889.367 | 11.827 | 41.8161
2019-06-01 18:30:00 | 11.021 | 295.707 | 11.631 | 289.924 | 12.153 | 294.867 | 12.601 | 292.9 | 26.864 | 889.533 | 13.021 | 42.6539
2019-06-01 18:45:00 | 13.122 | 289.76 | 14.028 | 286.312 | 13.96 | 291.833 | 14.636 | 288.733 | 27.239 | 889.367 | 12.593 | 42.7491
2019-06-01 19:00:00 | 11.45 | 301.573 | 12.276 | 295.652 | 12.373 | 300.033 | 12.725 | 297.267 | 26.694 | 889.633 | 11.393 | 42.8621
2019-06-01 19:15:00 | 11.715 | 291.76 | 12.347 | 288.267 | 12.458 | 291.867 | 12.722 | 290.333 | 26.918 | 889.933 | 12.085 | 44.851
2019-06-01 19:30:00 | 12.667 | 295.933 | 13.908 | 292.866 | 14.254 | 297.333 | 14.769 | 294.967 | 26.756 | 889.4 | 12.916 | 47.8233
2019-06-01 19:45:00 | 13.014 | 301.573 | 14.555 | 295.323 | 15.077 | 299.2 | 16.031 | 297.5 | 26.556 | 889.6 | 12.437 | 51.2361
2019-06-01 20:00:00 | 12.875 | 292.027 | 13.514 | 289.779 | 13.881 | 294.6 | 14.601 | 291.267 | 26.302 | 889.367 | 12.615 | 51.0478
2019-06-01 20:15:00 | 10.901 | 284.987 | 11.465 | 283.693 | 12.246 | 288.133 | 12.73 | 285.6 | 26.327 | 889.433 | 13.36 | 51.1103
2019-06-01 20:30:00 | 11.726 | 294.52 | 12.917 | 291.792 | 13.614 | 295.667 | 14.358 | 292.6 | 26.056 | 890.067 | 13.107 | 51.5907
2019-06-01 20:45:00 | 10.563 | 295.907 | 11.755 | 289.837 | 12.048 | 294.433 | 12.541 | 291.233 | 25.877 | 889.6 | 13.752 | 51.6021
2019-06-01 21:00:00 | 12.26 | 298.907 | 13.617 | 291.78 | 14.327 | 297.7 | 15.138 | 295.767 | 25.164 | 889.267 | 15.527 | 51.337
2019-06-01 21:15:00 | 10.095 | 293.867 | 11.76 | 288.877 | 12.609 | 292.767 | 13.52 | 290.367 | 25.073 | 889.5 | 15.937 | 51.607
2019-06-01 21:30:00 | 8.922 | 302.4 | 10.316 | 295.881 | 10.908 | 302.767 | 11.83 | 300.367 | 24.444 | 889.3 | 16.396 | 51.9275
2019-06-01 21:45:00 | 8.254 | 295.68 | 9.9 | 289.779 | 10.545 | 296.733 | 11.461 | 293.533 | 24.139 | 889.433 | 17.088 | 52.1194
2019-06-01 22:00:00 | 7.116 | 297.947 | 8.635 | 293.741 | 9.08 | 299.1 | 10.087 | 297 | 23.789 | 889.2 | 17.412 | 38.5866
2019-06-01 22:15:00 | 5.705 | 295.133 | 6.846 | 293.646 | 7.243 | 298.367 | 8.032 | 296.6 | 23.381 | 889.167 | 16.595 | 28.6749
2019-06-01 22:30:00 | 5.402 | 290.307 | 6.945 | 288.906 | 7.447 | 292.933 | 8.024 | 291.867 | 23.064 | 889.467 | 16.429 | 30.808
2019-06-01 22:45:00 | 5.425 | 283.493 | 6.576 | 281.952 | 7.083 | 287.5 | 7.716 | 286.367 | 22.948 | 889.567 | 15.749 | 29.5084
2019-06-01 23:00:00 | 5.346 | 276.093 | 6.627 | 277.514 | 6.921 | 282.867 | 7.448 | 280.367 | 22.235 | 889.167 | 15.685 | 27.4236
2019-06-01 23:15:00 | 5.674 | 282.4 | 6.876 | 282.055 | 7.146 | 286.3 | 7.586 | 283.4 | 21.918 | 888.867 | 15.468 | 23.1481
2019-06-01 23:30:00 | 5.08 | 273.64 | 6.449 | 276.678 | 6.748 | 282.967 | 7.498 | 280.967 | 21.573 | 889.633 | 15.575 | 21.8222
2019-06-01 23:45:00 | 4.81 | 275.627 | 6.532 | 277.037 | 6.936 | 282.933 | 7.218 | 281.567 | 21.098 | 889.433 | 15.364 | 18.3326